## Query5
IncID | IncDate | Utility | Fatal | Injured | Cause | SecCause | OtherCause
20140103-01 | 2014-01-03 | PG&E | FALSE | FALSE | Underground Splice Failure
20140107-01 | 2014-01-07 | PG&E | FALSE | FALSE | Unknown
20140108-01 | 2014-01-08 | PG&E | FALSE | FALSE | Animal
20140111-01 | 2014-01-11 | PG&E | FALSE | FALSE | Line Failure
20140114-01 | 2014-01-14 | PG&E | FALSE | FALSE | Line Failure
20140115-01 | 2014-01-14 | SCE | FALSE | FALSE | Tree/Line Contact
20140220-01 | 2014-02-20 | PG&E | FALSE | TRUE | Other
20140121-01 | 2014-01-21 | SCE | FALSE | FALSE | Underground Cable Failure
20140205-01 | 2014-02-05 | SDG&E | FALSE | FALSE | Working Overhead
20140625-01 | 2014-06-24 | Comcast | TRUE | FALSE | Vehicle
20140705-01 | 2014-07-05 | PG&E | TRUE | FALSE | Other
20140217-02 | 2014-02-17 | PG&E | FALSE | FALSE | Other |  | Underground Elbow Failure
20140303-03 | 2014-03-03 | PG&E | FALSE | TRUE | Vehicle
20140223-01 | 2014-02-23 | PG&E | FALSE | FALSE | Underground Cable Failure
20140224-01 | 2014-02-24 | PG&E | FALSE | FALSE | Underground Splice Failure
20140226-01 | 2014-02-25 | PG&E | FALSE | FALSE | Underground Cable Failure
20140311-01 | 2014-02-28 | PG&E | FALSE | TRUE | Working Overhead
20140228-02 | 2014-02-28 | SCE | FALSE | FALSE | Falling Tree
20140301-01 | 2014-03-01 | PG&E | FALSE | FALSE | Animal
20140301-02 | 2014-03-01 | SCE | FALSE | FALSE | Other |  | Mylar Balloon
20140504-02 | 2014-05-04 | PG&E | FALSE | TRUE | Other |  | Third-party contact
20140303-02 | 2014-03-03 | SCE | FALSE | FALSE | Falling Tree
20140528-01 | 2014-05-28 | PG&E | FALSE | TRUE | Boom
20140304-01 | 2014-03-04 | PG&E | FALSE | FALSE | Underground Splice Failure
20140310-01 | 2014-03-10 | PG&E | FALSE | FALSE | Other |  | Bushing Failure at Substation
20140310-02 | 2014-03-06 | BVES | FALSE | FALSE | Other |  | Substation Capicitor Bank Failure
20140709-02 | 2014-07-09 | PG&E | FALSE | TRUE | Other
20140314-01 | 2014-03-14 | SCE | FALSE | FALSE | Vehicle
20140314-02 | 2014-03-14 | PG&E | FALSE | FALSE | Switch Malfunction
20140718-01 | 2014-07-18 | PG&E | FALSE | TRUE | Aircraft
20140319-02 | 2014-03-19 | PG&E | FALSE | FALSE | Animal
20140320-01 | 2014-03-20 | SDG&E | FALSE | FALSE | Transformer Malfunction
20140327-01 | 2014-03-26 | SDG&E | FALSE | FALSE | Fire
20140721-01 | 2014-07-21 | PG&E | FALSE | TRUE | Working Overhead
20140329-01 | 2014-03-29 | PG&E | FALSE | FALSE | Tree/Line Contact
20140331-01 | 2014-03-31 | PG&E | FALSE | FALSE | Natural Cause
20140402-01 | 2014-04-02 | PG&E | FALSE | FALSE | Other |  | Broken crossarm
20140407-01 | 2014-04-07 | SCE | FALSE | FALSE | Working Underground
20140412-01 | 2014-04-12 | PG&E | FALSE | FALSE | Fire
20140414-01 | 2014-04-14 | PG&E | FALSE | FALSE | Underground Splice Failure
20140418-01 | 2014-04-18 | PG&E | FALSE | FALSE | Tree/Line Contact
20140422-01 | 2014-04-22 | PG&E | FALSE | FALSE | Overhead Splice Failure
20140727-01 | 2014-07-26 | PG&E | TRUE | FALSE | Falling Tree
20140429-01 | 2014-04-29 | PG&E | FALSE | FALSE | Other |  | Mylar Balloon
20140429-02 | 2014-04-29 | SCE | FALSE | FALSE | Falling Branch
20140429-03 | 2014-04-29 | SCE | FALSE | FALSE | Line Failure
20140429-04 | 2014-04-30 | PG&E | FALSE | FALSE | Underground Splice Failure
20140430-01 | 2014-04-29 | SDG&E | FALSE | FALSE | Natural Cause
20140430-02 | 2014-04-30 | SCE | FALSE | FALSE | Other |  | overloaded pole
20140430-03 | 2014-04-30 | SCE | FALSE | FALSE | Falling Tree
20140501-01 | 2014-05-01 | SCE | FALSE | FALSE | Unknown
20140502-01 | 2014-05-01 | PG&E | FALSE | FALSE | Overhead Splice Failure
20141109-01 | 2014-11-08 | PG&E | TRUE | FALSE | Aircraft
20140806-02 | 2014-08-06 | PG&E | FALSE | TRUE | Tree Trimmer
20140509-01 | 2014-05-08 | SDG&E | FALSE | FALSE | Digin
20140927-01 | 2014-09-27 | PG&E | FALSE | TRUE | Working Overhead
20141005-01 | 2014-10-05 | PG&E | FALSE | TRUE | Antennae
20140513-01 | 2014-05-13 | SDG&E | FALSE | FALSE | Natural Cause
20140514-01 | 2014-05-13 | PG&E | FALSE | FALSE | Underground Splice Failure
20140514-02 | 2014-05-14 | SCE | FALSE | FALSE | Fire
20140514-04 | 2014-05-13 | PG&E | FALSE | FALSE | Vehicle
20140514-05 | 2014-05-13 | PG&E | FALSE | FALSE | Vehicle
20141230-01 | 2014-12-30 | PG&E | TRUE | FALSE | Other |  | Truck bed contact
20140515-02 | 2014-05-14 | SCE | FALSE | FALSE | Other |  | Mylar Balloon
20140516-01 | 2014-05-15 | SCE | FALSE | FALSE | Transformer Malfunction
20141018-01 | 2014-10-28 | PG&E | FALSE | TRUE | Working Overhead
20140517-01 | 2014-05-16 | SCE | FALSE | FALSE | Other |  | DPU Relay Failure
20140801-01 | 2014-08-01 | PP&L | TRUE | FALSE | Aircraft
20140523-02 | 2014-05-23 | PG&E | FALSE | FALSE | Insulator Failure
20141112-01 | 2014-11-07 | PG&E | FALSE | TRUE | Working Underground
20141210-01 | 2014-12-09 | PP&L | FALSE | TRUE | Irrigation Pipe
20140606-01 | 2014-06-06 | PG&E | FALSE | FALSE | Line Failure
20140606-02 | 2014-06-06 | PG&E | FALSE | FALSE | Other |  | Switching Error
20140606-03 | 2014-05-26 | SCE | FALSE | FALSE | Boom
20140612-01 | 2014-06-12 | PG&E | FALSE | FALSE | Animal
20140612-02 | 2014-06-12 | PG&E | FALSE | FALSE | Underground Splice Failure
20140612-03 | 2014-06-12 | PG&E | FALSE | FALSE | Insulator Failure
20140612-04 | 2014-06-12 | PG&E | FALSE | FALSE | Unknown
20140117-01 | 2014-01-17 | SCE | FALSE | TRUE | Working Overhead
20140616-01 | 2014-06-15 | SDG&E | FALSE | FALSE | Underground Cable Failure
20140228-01 | 2014-02-28 | SCE | FALSE | TRUE | Falling Branch
20140617-01 | 2014-06-17 | SCE | FALSE | FALSE | Line Failure
20140303-01 | 2014-03-03 | SCE | FALSE | TRUE | Metal Object
20140209-01 | 2014-02-09 | SCE | TRUE | FALSE | Tree/Line Contact
20140627-01 | 2014-06-27 | PG&E | FALSE | FALSE | Underground Cable Failure
20140701-01 | 2014-07-01 | PG&E | FALSE | FALSE | Insulator Failure
20140217-01 | 2014-02-17 | SCE | TRUE | FALSE | Other |  | Gardener's Conductor Contact
20140705-02 | 2014-07-05 | SCE | FALSE | FALSE | Natural Cause
20140707-01 | 2014-07-07 | BVES | FALSE | FALSE | Other
20140708-01 | 2014-07-07 | PG&E | FALSE | FALSE | Other |  | Fireworks
20140319-01 | 2014-03-19 | SCE | FALSE | TRUE | Working Underground
20140328-01 | 2014-03-28 | SCE | FALSE | TRUE | Working Overhead
20140710-01 | 2014-07-10 | PG&E | FALSE | FALSE | Underground Splice Failure
20140711-01 | 2014-07-11 | PG&E | FALSE | FALSE | Natural Cause
20140715-02 | 2014-07-15 | PG&E | FALSE | FALSE | Working Overhead
20140425-01 | 2014-04-25 | SCE | TRUE | FALSE | Other |  | Balloon
20140504-01 | 2014-05-04 | SCE | TRUE | FALSE | Vehicle
20140510-01 | 2014-05-10 | SCE | FALSE | TRUE | Working Overhead
20140718-03 | 2014-07-18 | PG&E | FALSE | FALSE | Falling Branch
20140719-01 | 2014-07-19 | SCE | FALSE | FALSE | Underground Cable Failure
20140720-01 | 2014-07-20 | MU | FALSE | FALSE | Natural Cause
20140511-01 | 2014-05-11 | SCE | FALSE | TRUE | Other
20140516-02 | 2014-05-15 | SCE | FALSE | TRUE | Line Failure
20140722-02 | 2014-07-22 | PG&E | FALSE | FALSE | Natural Cause
20140723-01 | 2014-07-22 | BVES | FALSE | FALSE | Vehicle
20140724-01 | 2014-07-24 | SCE | FALSE | FALSE | Transformer Malfunction
20140724-02 | 2014-07-24 | PG&E | FALSE | FALSE | Falling Tree
20140725-01 | 2014-07-24 | SCE | FALSE | FALSE | Transformer Malfunction
20140515-01 | 2014-05-15 | SCE | TRUE | FALSE | Line Failure
20140728-01 | 2014-07-28 | SCE | FALSE | FALSE | Natural Cause
20140730-01 | 2014-07-30 | PG&E | FALSE | FALSE | Fire
20140523-01 | 2014-05-23 | SCE | TRUE | FALSE | Aircraft
20140802-01 | 2014-07-28 | SCE | FALSE | FALSE | Fire
20140802-02 | 2014-08-02 | PG&E | FALSE | FALSE | Animal
20140804-01 | 2014-08-03 | SCE | FALSE | FALSE | Underground Cable Failure
20140804-02 | 2014-08-01 | SCE | FALSE | FALSE | Other
20140804-03 | 2014-08-04 | PG&E | FALSE | FALSE | Unknown
20140525-01 | 2014-05-25 | SCE | FALSE | TRUE | Boom
20140615-01 | 2014-06-15 | SCE | FALSE | TRUE | Other
20140616-02 | 2014-06-13 | SCE | FALSE | TRUE | Working Overhead
20140810-01 | 2014-08-10 | PG&E | FALSE | FALSE | Unknown
20140811-01 | 2014-07-15 | SCE | FALSE | FALSE | Unknown
20140620-01 | 2014-06-20 | SCE | FALSE | TRUE | Aircraft
20140715-03 | 2014-07-15 | SCE | TRUE | FALSE | Boom
20140818-01 | 2014-08-18 | PG&E | FALSE | FALSE | Fire
20140818-02 | 2014-08-18 | SCE | FALSE | FALSE | Natural Cause
20140818-03 | 2014-08-18 | SCE | FALSE | FALSE | Fire
20140819-01 | 2014-08-19 | PG&E | FALSE | FALSE | Transformer Malfunction
20140819-02 | 2014-08-19 | PG&E | FALSE | FALSE | Other |  | Mylar balloon
20140822-01 | 2014-08-22 | PG&E | FALSE | FALSE | Underground Splice Failure
20140824-01 | 2014-08-24 | PG&E | FALSE | FALSE | Natural Cause
20140813-01 | 2014-08-13 | SCE | TRUE | FALSE | Tree Trimmer
20140827-01 | 2014-08-27 | PG&E | FALSE | FALSE | Other
20140805-01 | 2014-08-05 | SCE | FALSE | TRUE | Digin
20140902-01 | 2014-09-01 | PG&E | FALSE | FALSE | Underground Splice Failure
20140906-01 | 2014-09-06 | SCE | FALSE | FALSE | Other |  | tracking
20140909-01 | 2014-09-08 | SDG&E | FALSE | FALSE | Fire
20140909-02 | 2014-09-07 | SCE | FALSE | FALSE | Working Overhead
20140909-03 | 2014-09-09 | SCE | FALSE | FALSE | Working Overhead
20140807-01 | 2014-08-07 | SCE | FALSE | TRUE | Other |  | Vandalism
20140912-01 | 2014-05-31 | SDG&E | FALSE | FALSE | Other
20140916-01 | 2014-09-15 | PP&L | FALSE | FALSE | Fire
20140917-01 | 2014-09-17 | PG&E | FALSE | FALSE | Vehicle
20140918-01 | 2014-09-18 | PG&E | FALSE | FALSE | Natural Cause
20140923-01 | 2014-09-22 | SCE | FALSE | FALSE | Unknown
20140812-01 | 2014-08-12 | SCE | FALSE | TRUE | Digin
20140924-02 | 2014-09-24 | PG&E | FALSE | FALSE | Aircraft
20140829-01 | 2014-08-28 | SCE | FALSE | TRUE | Fire
20141003-01 | 2014-10-02 | SCE | FALSE | FALSE | Transformer Malfunction
20141003-02 | 2014-09-01 | PG&E | FALSE | FALSE | Falling Tree
20140909-04 | 2014-09-09 | SCE | FALSE | TRUE | Unknown
20141009-01 | 2014-09-05 | Trans Bay Cable | FALSE | FALSE | Other |  | damage to submarine cable
20140924-01 | 2014-09-24 | SCE | FALSE | TRUE | Working Underground
20141022-01 | 2014-10-22 | SCE | FALSE | FALSE | Unknown
20141024-01 | 2014-10-24 | SCE | FALSE | TRUE | Other |  | Window washing apparatus made contact with pole
20140826-01 | 2014-08-01 | SCE | TRUE | FALSE | Other |  | suicide
20141106-01 | 2014-11-05 | SCE | FALSE | TRUE | Unknown
20141027-01 | 2014-10-26 | SCE | TRUE | FALSE | Other
20141117-01 | 2014-11-16 | SCE | FALSE | TRUE | Unknown
20141116-01 | 2014-11-15 | SDG&E | FALSE | FALSE | Animal
20141207-01 | 2014-12-06 | SCE | FALSE | TRUE | Working Underground
20141125-01 | 2014-11-24 | SDG&E | FALSE | FALSE | Other |  | Proactive De-energization
20141125-02 | 2014-11-25 | SCE | TRUE | FALSE | Tree Trimmer
20141205-01 | 2014-10-25 | PP&L | FALSE | FALSE | Natural Cause
20141216-01 | 2014-12-16 | SCE | FALSE | TRUE | Working Underground
20141208-01 | 2014-12-08 | TBC | FALSE | FALSE | Other |  | Material Defect
20140709-01 | 2014-07-09 | SDG&E | FALSE | TRUE | Metal Object
20141211-01 | 2014-12-11 | PG&E | FALSE | FALSE | Underground Cable Failure
20141215-01 | 2014-12-15 | PG&E | FALSE | FALSE | Natural Cause
20140722-01 | 2014-07-21 | SDG&E | FALSE | TRUE | Working Overhead
20141219-01 | 2014-12-19 | PG&E | FALSE | FALSE | Underground Splice Failure
20141222-01 | 2014-12-22 | SCE | FALSE | FALSE | Circuit Breaker Failure
20141227-01 | 2014-12-26 | SDG&E | FALSE | FALSE | Underground Cable Failure
20140717-01 | 2014-07-17 | SDG&E | TRUE | TRUE | Working Overhead |  | Worker made contact with overhead 12 kV conductors
20150325-01 | 2014-07-07 | SDG&E | FALSE | FALSE | Digin