OS 21 Guidelines – Proposed Revision

October 31, 2007

The GAO conducts a bi-annual vulnerability assessment of physical security.

The GAO conducts a bi-annual vulnerability assessment of hazardous materials.

The GAO establishes and secures the perimeter.

The GAO implements an intrusion detection system for the perimeter of the facility by continuous monitor, alarm system, or video recording system.

The GAO identifies and secures critical areas.

The GAO implements intrusion detection systems for critical areas.

The GAO places barriers around hazardous materials in areas vulnerable to vehicular traffic.

GAO plans for its response to intrusions of various levels seriousness.

The plant establishes an inventory and accountability system for keys and card keys.

The plant establishes procedures for granting access to the site by non-employees.

The plant provides safety orientations for all visitors and contractors.

The plant conducts reasonable background checks on employees and routine on-site contractors prior to beginning work.

The plant installs audible sirens, and/or visible signals where necessary, to alert everyone onsite in case of evacuation.

The plant establishes evacuation procedures.

The plant establishes communication with the local law enforcement, appropriate government agencies, utilities, and switching stations.

The plant posts evacuation area signs.

The plant posts warning signs on the perimeter of the facility for the public in appropriate languages.