INITIAL STUDY/ENVIRONMENTAL CHECKLIST

VALLEY-RAINBOW 500 KV INTERCONNECT PROJECT

| PROJECT INFORMATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. Project Title: |  | Valley-Rainbow 500 kV Interconnect Project |  |  |  |
| 2. Lead Agency Name and Address: |  | California Public Utilities Commission 505 Van Ness Avenue San Francisco, CA 94102 |  |  |  |
| 3. Contact Person and Phone Number: |  | Beth Shipley (415) 703-1729 |  |  |  |
| 4. Project Location: |  | The Project area is in northern San Diego County and southwestern Riverside County. |  |  |  |
| 5. Project Sponsor's Name and Address: |  | San Diego Gas & Electric Company 101 Ash Street San Diego, CA 92101 |  |  |  |
| 6. General Plan Designation: |  | Various |  |  |  |
| 7. Zoning: |  | Various |  |  |  |
| 8. Description of Project: (Describe the entire action involved, including but not limited to later phases of the Project, and any secondary, support, or offsite features necessary for its implementation. Attach additional sheets if necessary.) The Valley-Rainbow Interconnect Project will provide an interconnection between SDG&E’s existing 230-kilovolt (kV) transmission system at the proposed Rainbow Substation on Rainbow Heights Road near the unincorporated community of Rainbow in San Diego County, and Southern California Edison’s (SCE) existing 500 kV transmission system, at the Valley Substation on Menifee Road in the unincorporated community of Romoland in Riverside County. The six major elements of the Project are described as follows: (1) Construction and operation of a new single-circuit 500 kV transmission line; (2) Construction and operation of a new SDG&E 500/230/69 kV substation; (3) Modifications to SCE’s existing Valley Substation; (4) Installation of a second 230 kV circuit on the existing Talega-Escondido 230 kV transmission structures and modifying the existing substations at Talega and Escondido; (5) Rebuild of a 7.7-mile section of the existing 69 kV transmission circuit on new 69 kV wood and steel pole structures adjacent to the existing 230 kV line within the existing Talega-Escondido right-of-way; and (6) Addition of a 230 kV Static Synchronous Compensator (STATCOM) at the existing Mission Substation. Shunt capacitors would be added at the Miguel and Sycamore Canyon substations (230 kV). |  |  |  |  |  |
| 9. Surrounding Land Uses and Setting: (Briefly describe the Project's surroundings.) |  |  |  |  |  |
| Various, including but not limited to vacant undeveloped lands, agriculture, large lot residential, commercial, recreation and biological preserve. |  |  |  |  |  |
| 10: Other public agencies whose approval is required: (e.g., permits, financing approval, or participation agreement) In addition to CPUC approval and implementation of the Project, Table 1 provides anticipated agency approvals, discretionary actions, or permits will be required to implement the Valley-Rainbow 500 kV Interconnect. |  |  |  |  |  |
| ENVIRONMENTAL FACTORS POTENTIALLY AFFECTED: |  |  |  |  |  |
| The environmental factors checked below would be potentially affected by this Project, involving at least one impact that is a "Potentially Significant Impact" as indicated by the checklist on the following pages. |  |  |  |  |  |
| ☒ Land Use and Planning | ☒ Transportation/Circulation |  | ☐ Public Services |  |  |
| ☐ Population and Housing | ☒ Biological Resources |  | ☐ Utilities & Service Systems |  |  |
| ☐ Geological Problems | ☐ Energy and Mineral Resources |  | ☒ Aesthetics |  |  |
| ☒ Water | ☒ Hazards |  | ☒ Cultural Resources |  |  |
| ☒ Air Quality | ☒ Noise |  | ☐ Recreation |  |  |
| ☒ Mandatory Findings of Significance |  |  |  |  |  |
| DETERMINATION (To be completed by the Lead Agency) |  |  |  |  |  |
| I find that the proposed Project could not have a significant effect on the environment, and a negative declaration will be prepared. |  |  |  |  | ☐ |
| I find that although the proposed Project could have a significant effect on the environment, there will not be a significant effect in this case because the mitigation measures described on an attached sheet have been added to the Project. A mitigated negative declaration will be prepared. |  |  |  |  | ☐ |

| I find that the proposed Project may have a significant effect on the environment, and an environmental impact report is required. | ☒ |
| --- | --- |

|  |  | Authorizing Agency |  |  |
| --- | --- | --- | --- | --- |
| Permit, Approval or Consultation | Action Requiring Permit or Consultation | Federal | State | Local |
| ROW permits on public lands Federal Land Policy and Management Act (FLPMA) fo 1976 (PL 94-579) 43 USC 1761-1771 43 CFR 2800 | Construction and operation on public lands administered by the BLM. | BLM |  |  |
| Easement to cross Department of Defense Lands | Construction and operation on land under DOD management | Camp Pendleton – Marine Corps |  |  |
| Easement to cross Indian Lands 25 CFR 169 | Construction and operation on land under BIA management | BIA; concurrence of the Tribal Council |  |  |
| Certificate of Public Convenience and Necessity | Compliance with California Environmental Quality Act |  | CPUC |  |
| 106 Consultation National Historic Preservation Act of 1996, (16 USC 470) (36 CFR Part 800) | Construction and operation on land with sensitive cultural resources | BLM, Camp Pendleton, BIA | California SHPO Concurrence |  |
| Section 7 of the Endangered Species Act Endangered Species Act of 1973 as amended (16 USC 1531 et seq) | Construction and operation within endangered species habitat | BLM, BIA, and Camp Pendleton consultation with USFWS |  |  |
| 404 Permit – Clean Water Act 33 USC 1344 | Placement of dredge or fill materials in waters of the U.S. | Corps of Engineers; EPA and USFWS Concurrence | CDFG Concurrence |  |
| Section 401 Certification – Clean Water Act; Pollution Prevention Plan 33 USC 1344 | General construction | EPA Authorization on Tribal Lands | Regional Water Quality Control Board |  |
| National Pollutant Discharge Elimination System (NPDES) – Storm Water Pollution Prevention Plan 33 USC 1342 | General construction |  | Regional Water Quality Control Board |  |
| Permit to Construct | General construction causing air emissions |  | South Coast Air Quality Management District and San Diego Air Pollution Control District |  |
| 1601 and 1603 Permit – Stream Course Alteration | Alteration of the natural state of any stream |  | CDFG |  |
| Highway Crossing Permit | Construction and operation within, under, or over federal highway ROW | Meet Criteria set by FHWA on Federal Aid Highways | Caltrans |  |
| Encroachment Permit | Construction and operation within, under, or over state highway ROW |  | Caltrans | Riverside County, San Diego County, Cities |

| PROJECT INFORMATION |  |
| --- | --- |
| I find that the proposed Project may have a significant effect(s) on the environment, but at least one effect 1) has been adequately analyzed in an earlier document pursuant to applicable legal standards, and 2) has been addressed by mitigation measures based on the earlier analysis as described on attached sheets, if the effect is a "potentially significant impact" or is "potentially significant unless mitigated." An environmental impact report is required, but it must analyze only the effects that remain to be addressed. | ☐ |
| DETERMINATION (To be completed by the Lead Agency) |  |
| I find that although the proposed Project could have a significant effect on the environment, there will not be a significant effect in this case because all potentially significant effects : | □ |
| 1) have been analyzed adequately in an earlier EIR pursuant to applicable standards and 2) have been avoided or mitigated pursuant to an earlier EIR, including revisions or mitigation measures that are imposed upon the proposed Project. The earlier EIR adequately analyzes the proposed Project, so no additional environmental impact report or negative declaration will be prepared. Signature Date Beth Shipley Printed Name Title |  |

EXPLANATION FOR ENVIRONMENTAL CHECKLIST FORM:

1. A brief explanation is required for all answers except "No Impact" answers that are adequately supported by the information sources a lead agency cites in the parentheses following each question. A "No Impact" answer is adequately supported if the referenced information sources show that the impact simply does not apply to projects like the one involved (e.g., the project falls outside a fault rupture zone). A "No Impact" answer should be explained where it is based on project-specific factors as well as general standards (e.g., the project will not expose sensitive receptors to pollutants, based on a project-specific screening analysis).

2. All answers must take account of the whole action involved, including off-site as well as on-site, cumulative as well as project-level, indirect as well as direct, and construction as well as operational impacts.

3. Once the lead agency has determined that a particular physical impact may occur, then the checklist answers must indicate whether the impact is potentially significant, less than significant with mitigation, or less than significant. "Potentially Significant Impact" is appropriate if there is substantial evidence that an effect may be significant. If there are one or more "Potentially Significant Impact" entries when the determination is made, an EIR is required.

4. "Negative Declaration: Less Than Significant With Mitigation Incorporated" applies where the incorporation of mitigation measures has reduced an effect from "Potentially Significant Impact" to a "Less Than Significant Impact." The lead agency must describe the mitigation measures, and briefly explain how they reduce the effect to a less than significant level (mitigation measures from "Earlier Analyses," may be cross-referenced).

5. Earlier analyses may be used where, pursuant to the tiering, program EIR, or other CEQA process, an effect has been adequately analyzed in an earlier EIR or negative declaration. Section 15063(c)(3)(D). In this case, a brief discussion should identify the following:

a) Earlier Analysis Used. Identify and state where they are available for review.

b) Impacts Adequately Addressed. Identify which effects from the above checklist were within the scope of and adequately analyzed in an earlier document pursuant to applicable legal standards, and state whether such effects were addressed by mitigation measures based on the earlier analysis.

c) Mitigation Measures. For effects that are "Less than Significant with Mitigation Measures Incorporated," describe the mitigation measures which were incorporated or refined from the earlier document and the extent to which they address site-specific conditions for the project.

6. Lead agencies are encouraged to incorporate into the checklist references to information sources for potential impacts (e.g., general plans, zoning ordinances). Reference to a previously prepared or outside document should, where appropriate, include a reference to the page or pages where the statement is substantiated.

7. Supporting Information Sources: A source list should be attached, and other sources used or individuals contacted should be cited in the discussion.

8.The explanation of each issue should identify:

a) the significance criteria or threshold, if any, used to evaluate each question; and

b) the mitigation measure identified, if any, to reduce the impact to less than significant

9. This checklist has been adapted from the form in Appendix G of the State CEQA Guidelines, as amended effective January 1, 2001 and the additional provisions of the CPUC’s Rule 17.1 for implementing CEQA.

| ENVIRONMENTAL ISSUES Refer to Attachment A for a discussion of environmental impacts Discussion of Environmental Impacts | Potentially Significant Impact | Less than Significant Impact With Mitigation Incorporated | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- | --- |
| 1. AESTHETICS – Would the project: |  |  |  |  |
| a) Have a substantial adverse effect on a scenic vista? | ☒ | ☐ | ☐ | ☐ |
| b) Substantially damage scenic resources, including, but not limited to, trees, rock outcroppings, and historic buildings within a state scenic highway? | ☒ | ☐ | ☐ | ☐ |
| c) Substantially degrade the existing visual character or quality of the site and its surroundings? | ☒ | ☐ | ☐ | ☐ |
| d) Create a new source of substantial light or glare which would adversely affect day or nighttime views in the area? | ☐ | ☒ | ☐ | ☐ |
| 2. AGRICULTURE RESOURCES – In determining whether impacts to agricultural resources are significant environmental effects, lead agencies may refer to the California Agricultural Land Evaluation and Site Assessment Model (1997) prepared by the California Department of Conservation as an optional model to use in assessing impacts on agriculture and farmland. Would the project: |  |  |  |  |
| a) Convert Prime Farmland, Unique Farmland, or Farmland of Statewide Importance (Farmland), as shown on the maps prepared pursuant to the Farmland Mapping and Monitoring Program of the California Resources Agency, to non-agricultural use? | ☐ | ☐ | ☒ | ☐ |
| b) Conflict with existing zoning for agricultural use, or a Williamson Act contract? | ☐ | ☐ | ☒ | ☐ |
| c) Would the project involve other changes in the existing environment which, due to their location or nature, could result in conversion of farmland to non-agricultural use? | ☒ | ☐ | ☐ | ☐ |
| 3. AIR QUALITY – Where available, the significance criteria established by the applicable air quality management or air pollution district may be relied upon to make the following determinations. Would the project: |  |  |  |  |
| a) Conflict with or obstruct implementation of the applicable air quality plan? | ☒ | ☐ | ☐ | ☐ |
| b) Violate any air quality standard or contribute substantially to an existing or projected air quality violation? | ☒ | ☐ | ☐ | ☐ |
| c) Result in a cumulatively considerable net increase of any criteria pollutant for which the project region is non-attainment under an applicable federal or state ambient air quality standard (including releasing emissions which exceed quantitative thresholds for ozone precursors)? | ☒ | ☐ | ☐ | ☐ |
| d) Expose sensitive receptors to substantial pollutant concentrations? | ☒ | ☐ | ☐ | ☐ |
| e) Create objectionable odors affecting a substantial number of people? | ☐ | ☐ | ☒ | ☐ |
| 4. BIOLOGICAL RESOURCES – Would the project: |  |  |  |  |
| a) Have a substantial adverse effect, either directly or through habitat modifications, on any species identified as a candidate, sensitive, or special status species in local or regional plans, policies, or regulations, or by the California Department of Fish and Game or U.S. Fish and Wildlife Service? | ☒ | ☐ | ☐ | ☐ |
| b) Have a substantial adverse effect on any riparian habitat or other sensitive natural community identified in local or regional plans, policies, regulations or by the California Department of Fish and Game or U.S. Fish and Wildlife Service? | ☒ | ☐ | ☐ | ☐ |
| c) Have a substantial adverse effect on federally protected wetlands as defined by Section 404 of the Clean Water Act (including, but not limited to, marsh, vernal pool, coastal, etc.) through direct removal, filling, hydrological interruption, or other means? | ☒ | ☐ | ☐ | ☐ |
| d) Interfere substantially with the movement of any native resident or migratory fish or wildlife species or with established native resident or migratory wildlife corridors, or impede the use of native wildlife nursery sites? | ☒ | ☐ | ☐ | ☐ |
| e) Conflict with any local policies or ordinance protecting biological resources, such as a tree preservation policy or ordinance? | ☒ | ☐ | ☐ | ☐ |
| f) Conflict with the provisions of an adopted Habitat Conservation Plan, Natural Community Conservation Plan, or other approved local, regional, or state habitat conservation plan? | ☒ | ☐ | ☐ | ☐ |
| 5. CULTURAL RESOURCES – Would the project: |  |  |  |  |
| a) Cause a substantial adverse change in the significance of a historical resource as defined in §15064.5? | ☒ | ☐ | ☐ | ☐ |
| b) Cause a substantial adverse change in the significance of an archaeological resource pursuant to §15064.5? | ☒ | ☐ | ☐ | ☐ |
| c) Directly or indirectly destroy a unique paleontological resource or site or unique geologic feature? | ☐ | ☒ | ☐ | ☐ |
| d) Disturb any human remains, including those interred outside of formal cemeteries? | ☒ | ☐ | ☐ | ☐ |
| 6. GEOLOGY AND SOILS – Would the project: |  |  |  |  |
| a) Expose people or structures to potential substantial adverse effects, including the risk of loss, injury or death involving: |  |  |  |  |
| i) Rupture of a known earthquake fault, as delineated on the most recent Alquist-Priolo Earthquake Fault Zoning Map issued by the State Geologist for the area or based on other substantial evidence of a known fault? Refer to Division of Mines and Geology Special Publication 42. | ☐ | ☒ | ☐ | ☐ |
| ii) Strong seismic ground shaking? | ☐ | ☒ | ☐ | ☐ |
| iii) Seismic-related ground failure, including liquefaction? | ☐ | ☒ | ☐ | ☐ |
| iv) Landslides? | ☐ | ☒ | ☐ | ☐ |
| b) Result in substantial soil erosion or the loss of topsoil? | ☒ | ☐ | ☐ | ☐ |
| c) Be located on a geologic unit or soil that is unstable, or that would become unstable as a result of the project, and potentially result in on- or offsite landslide, lateral spreading, subsidence, liquefaction or collapse? | ☐ | ☒ | ☐ | ☐ |
| d) Be located on expansive soil, as defined in Table 18-1-B of the Uniform Building Code (1994), creating substantial risks to life or property? | ☐ | ☒ | ☐ | ☐ |
| e) Have soils incapable of adequately supporting the use of septic tanks or alternative wastewater disposal systems where sewers are not available for the disposal of wastewater? | ☐ | ☐ | ☐ | ☒ |
| 7. HAZARDS AND HAZARDOUS MATERIALS – Would the project: |  |  |  |  |
| a) Create a significant hazard to the public or the environment through the routine transport, use, or disposal of hazardous materials? | ☐ | ☒ | ☐ | ☐ |
| b) Create a significant hazard to the public or the environment through reasonably foreseeable upset and accident conditions involving the release of hazardous materials into the environment? | ☐ | ☒ | ☐ | ☐ |
| c) Emit hazardous emissions or handle hazardous or acutely hazardous materials, substances, or waste within one-quarter mile of an existing or proposed school? | ☐ | ☒ | ☐ | ☐ |
| d) Be located on a site which is included on a list of hazardous materials sites compiled pursuant to Government Code Section 65962.5 and, as a result, would it create a significant hazard to the public or the environment? | ☐ | ☐ | ☒ | ☐ |
| e) For a project located within an airport land use plan or, where such a plan has not been adopted, within two miles of a public airport or public use airport, would the project result in a safety hazard for people residing or working in the project area? | ☒ | ☐ | ☐ | ☐ |
| f) For a project within the vicinity of a private airstrip, would the project result in a safety hazard for people residing or working in the project area? | ☒ | ☐ | ☐ | ☐ |
| g) Impair implementation of or physically interfere with an adopted emergency response plan or emergency evacuation plan? | ☐ | ☐ | ☒ | ☐ |
| h) Expose people or structures to a significant risk of loss, injury or death involving wildland fires, including where wildlands are adjacent to urbanized areas or where residences are intermixed with wildlands? | ☐ | ☒ | ☐ | ☐ |
| 8. HYDROLOGY AND WATER QUALITY – Would the project: |  |  |  |  |
| a) Violate any water quality standards or waste discharge requirements? | ☒ | ☐ | ☐ | ☐ |
| b) Substantially deplete groundwater supplies or interfere substantially with groundwater recharge such that there would be a net deficit in aquifer volume or a lowering of the local groundwater table level (e.g., the production rate of pre-existing nearby wells would drop to a level which would not support existing land uses or planned uses for which permits have been granted)? | ☐ | ☐ | ☒ | ☐ |
| c) Substantially alter the existing drainage pattern of the site or area, including through the alteration of the course of a stream or river, in a manner which would result in substantial erosion or siltation on- or offsite? | ☒ | ☐ | ☐ | ☐ |
| d) Substantially alter the existing drainage pattern of the site or area, including through the alteration of the course of a stream or river, or substantially increase the rate or amount of surface runoff in a manner which would result in flooding on- or offsite? | ☐ | ☐ | ☒ | ☐ |
| e) Create or contribute runoff water which would exceed the capacity of existing or planned stormwater drainage systems or provide substantial additional sources of polluted runoff? | ☐ | ☒ | ☐ | ☐ |
| f) Otherwise substantially degrade water quality? | ☐ | ☐ | ☒ | ☐ |
| g) Place housing within a 100-year flood hazard area as mapped on a federal Flood Hazard Boundary or Flood Insurance Rate Map or other flood hazard delineation map? | ☐ | ☐ | ☐ | ☒ |
| h) Place within a 100-year flood hazard area structures which would impede or redirect flood flows? | ☐ | ☐ | ☒ | ☐ |
| i) Expose people or structures to a significant risk of loss, injury or death involving flooding, including flooding as a result of the failure of a levee or dam? | ☐ | ☐ | ☒ | ☐ |
| j) Inundation by seiche, tsunami, or mudflow? | ☐ | ☐ | ☐ | ☒ |
| 9. LAND USE AND PLANNING – Would the project: |  |  |  |  |
| a) Physically divide an established community? | ☒ | ☐ | ☐ | ☐ |
| b) Conflict with any applicable land use plan, policy, or regulation of an agency with jurisdiction over the project (including, but not limited to the general plan, specific plan, local coastal program, or zoning ordinance) adopted for the purpose of avoiding or mitigating an environmental effect? | ☒ | ☐ | ☐ | ☐ |
| c) Conflict with any applicable habitat conservation plan or natural community conservation plan? | ☒ | ☐ | ☐ | ☐ |
| 10. MINERAL RESOURCES – Would the project: |  |  |  |  |
| a) Result in the loss of availability of a known mineral resource that would be of value to the region and the residents of the state? | ☐ | ☐ | ☐ | ☒ |
| b) Result in the loss of availability of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan? | ☐ | ☐ | ☐ | ☒ |
| 11. NOISE – Would the project result in: |  |  |  |  |
| a) Exposure of persons to or generation of noise levels in excess of standards established in the local general plan or noise ordinance, or applicable standards of other agencies? | ☒ | ☐ | ☐ | ☐ |
| b) Exposure of persons to or generation of excessive groundborne vibration or groundborne noise levels? | ☒ | ☐ | ☐ | ☐ |
| c) A substantial permanent increase in ambient noise levels in the project vicinity above levels existing without the project? | ☒ | ☐ | ☐ | ☐ |
| d) A substantial temporary or periodic increase in ambient noise levels in the project vicinity above levels existing without the project? | ☒ | ☐ | ☐ | ☐ |
| e) For a project located within an airport land use plan or, where such a plan has not been adopted, within two miles of a public airport or public use airport, would the project expose people residing or working in the project area to excessive noise levels? | ☒ | ☐ | ☐ | ☐ |
| f) For a project within the vicinity of a private airstrip, would the project expose people residing or working in the project area to excessive noise levels? | ☒ | ☐ | ☐ | ☐ |
| 12. POPULATION AND HOUSING – Would the project: |  |  |  |  |
| a) Induce substantial population growth in an area, either directly (for example, by proposing new homes and businesses) or indirectly (for example, through extension of roads or other infrastructure)? | ☒ | ☐ | ☐ | ☐ |
| b) Displace substantial numbers of existing housing, necessitating the construction of replacement housing elsewhere? | ☐ | ☒ | ☐ | ☐ |
| c) Displace substantial numbers of people, necessitating the construction of replacement housing elsewhere? | ☐ | ☒ | ☐ | ☐ |
| 13. PUBLIC SERVICES |  |  |  |  |
| a) Would the project result in substantial adverse physical impacts associated with the provision of new or physically altered governmental facilities, need for new or physically altered governmental facilities, the construction of which could cause significant environmental impacts, in order to maintain acceptable service ratios, response times or other performance objectives for any of the public services: |  |  |  |  |
| Fire protection? | ☐ | ☒ | ☐ | ☐ |
| Police protection? | ☐ | ☐ | ☐ | ☒ |
| Schools? | ☐ | ☐ | ☐ | ☒ |
| Parks? | ☐ | ☐ | ☐ | ☒ |
| Other public facilities? | ☐ | ☐ | ☒ | ☐ |
| 14. RECREATION |  |  |  |  |
| a) Would the project increase the use of existing neighborhood and regional parks or other recreational facilities such that substantial physical deterioration of the facility would occur or be accelerated? | ☐ | ☐ | ☐ | ☒ |
| b) Does the project include recreational facilities or require the construction or expansion of recreational facilities which might have an adverse physical effect on the environment? | ☐ | ☐ | ☐ | ☒ |
| 15. TRANSPORTATION/TRAFFIC – Would the project: |  |  |  |  |
| a) Cause an increase in traffic which is substantial in relation to the existing traffic load and capacity of the street system (i.e., result in a substantial increase in either the number of vehicle trips, the volume to capacity ratio on roads, or congestion at intersections)? | ☒ | ☐ | ☐ | ☐ |
| b) Exceed, either individually or cumulatively, a level of service standard established by the County Congestion Management Agency for designated roads or highways? | ☐ | ☐ | ☒ | ☐ |
| c) Result in a change in air traffic patterns, including either an increase in traffic levels or a change in location that results in substantial safety risks? | ☒ | ☐ | ☐ | ☐ |
| d) Substantially increase hazards due to a design feature (e.g., sharp curves or dangerous intersections) or incompatible uses (e.g., farm equipment)? | ☒ | ☐ | ☐ | ☐ |
| e) Result in inadequate emergency access? | ☒ | ☐ | ☐ | ☐ |
| f) Result in inadequate parking capacity? | ☒ | ☐ | ☐ | ☐ |
| g) Conflict with adopted policies, plans, or programs supporting alternative transportation (e.g., bus turnouts, bicycle racks)? | ☐ | ☐ | ☐ | ☒ |
| 16. UTILITIES AND SERVICE SYSTEMS – Would the project: |  |  |  |  |
| a) Exceed wastewater treatment requirements of the applicable Regional Water Quality Control Board? | ☐ | ☐ | ☐ | ☒ |
| b) Require or result in the construction of new water or wastewater treatment facilities or expansion of existing facilities, the construction of which could cause significant environmental effects? | ☐ | ☐ | ☐ | ☒ |
| c) Require or result in the construction of new storm water drainage facilities or expansion of existing facilities, the construction of which could cause significant environmental effects? | ☐ | ☐ | ☒ | ☐ |
| d) Have sufficient water supplies available to serve the project from existing entitlements and resources, or are new or expanded entitlements needed? | ☐ | ☐ | ☒ | ☐ |
| e) Result in determination by the wastewater treatment provider which serves or may serve the project that it has adequate capacity to serve the project’s projected demand in addition to the provider/s existing commitments? | ☐ | ☐ | ☐ | ☒ |
| f) Be served by a landfill with sufficient permitted capacity to accommodate the project’s solid waste disposal needs? | ☐ | ☐ | ☒ | ☐ |
| g) Comply with federal, state, and local statutes and regulations related to solid waste? | ☐ | ☐ | ☐ | ☒ |
| 17. MANDATORY FINDINGS OF SIGNIFICANCE |  |  |  |  |
| a) Does the project have the potential to degrade the quality of the environment, substantially reduce the habitat of a fish or wildlife species, cause a fish or wildlife population to drop below self-sustaining levels, threaten to eliminate a plant or animal community, reduce the number or restrict the range of a rare or endangered plant or animal or eliminate important examples of the major periods of California history or prehistory? | ☒ | ☐ | ☐ | ☐ |
| b) Does the project have impacts that are individually limited, but cumulatively considerable? (“Cumulatively considerable” means that the incremental effects of a project are considerable when viewed in connection with the effects of past projects, the effects of other current projects, and the effects of probable future projects)? | ☒ | ☐ | ☐ | ☐ |
| c) Does the project have environmental effects which will cause substantial adverse effects on human beings, either directly or indirectly? | ☒ | ☐ | ☐ | ☐ |