## DG Interconnection Data
Notes:
1) |  |  | Data to be provided for all generation interconnections under 20 MW. Data should reflect all generation installed and in queue.
Customer/Project Information |  |  |  | Location |  |  |  | Technology |  | Facility |  |  |  |  | System Information | [7 empty] | Interconnection Status | [5 empty] | Study Process and Costs
Service Account # | Interconnection Date [if interconnected] | Queue # (if not yet interconnected) | Project Name or Host Customer Name | Address | City | County | Zip | Type | Fuel | System Capacity | Customer Class | Inverter Capacity | NEM Cap qualified (PV and wind) | Interconnection Type | Interconnection Voltage | Station or Transmission Line | Substation ID# | Feeder ID# | Short Circuit Current | Distance of Project to Substation | Generator Still at Site? | Transformer Rating | Interconnection Request Receive Date | Application ID (If applicable) | Placed in Queue Date | Interconnection Status | Proposed On-line Date (as filed with IR) | Current On-line Date (or Installed Date if installed) | Feasibility Study (IFS) Status | Cost of Feasibility Study | Date of IFS Completion | Adverse system impacts found in FS? | If adverse system impacts found in FS, estimated cost for associated system upgrades. | System Impact Study (SIS) or Phase I Cluster Study Status | Cost of SIS Study | Date of SIS Completion | Adverse system impacts found in SIS? | If adverse system impacts found in SIS, estimated cost for associated system upgrades. | Facilities Study (FAS) or Phase II Cluster Study Status | Cost of Facilities Study | Date of FAS Completion | Adverse system impacts found in FAS? | If adverse system impacts found in FAS, estimated cost for associated system upgrades. | Optional Study (OS) Status | Cost of optional study | Final Cost of System upgrades required for interconnection | Rebate Program [If applicable] | Rebate Program ID [If applicable] | Confidential information [If applicable](y/n)?
[10 empty] | [Nameplate CEC-AC kW] |  | [Nameplate CEC-AC kW] | [Nameplate CEC-AC kW] | Rule 21 NEM, Rule 21 non-export, Rule 21 other, SGIP dist., SGIP trans. |  |  |  |  | (A) | (ft) | [yes, no] | (MVA) | [5 empty] | [mm-dd-yyyy] | [Underway, waived, pending or complete] |  |  | (yes, no) | ($) | [Underway, waived, pending or complete] |  |  | (yes, no) | ($) | [Underway, waived, pending or complete] |  |  | [yes, no] | ($) | [Underway, waived, pending or complete] |  | ($) | CSI, SGIP, ERP, NSHP, Other

## System Data
Notes:
1) | All data to be provided for normal operating conditions - do not provide data under configurations during maintenance, faults or other abnormal events.
2) | Insert lines as necessary to add feeders, transformers for substations
3) | Do not provide information on existing generation on the distribution system.
Number | Substation Name | Substation ID | Address | City | County | Zip | Latitude | Longitude | Transformer ID | Design Capacity | Transformer Primary Voltage Rating | Transformer Secondary Voltage Rating | Short Circuit Current at Transformer Secondary | Feeder ID | Feeder Type (Over Head, Under Ground) | Length of Feeder | Design Capacity | 2009 Peak Load | 2009 Min Load | 2009 Peak Load | 2009 Min Load | 2009 Peak Load | 2009 Min Load | 2009 Peak Load | 2009 Min Load | 2009 Peak Load | 2009 Min Load | Peak Load - Type of Reading | Peak Load - Sampling Rate | Minimum Load -Type of Reading | Minimum Load - Sampling Rate
|  | (If different than Substation name) |  |  |  |  | Decimal format |  |  | (MVA) | (kV) | (kV) | (kA) | Include Spares | (OH, UG) | (ft) | (MW) | All Hours |  | June 21 to Sep 20 (5 am - 7 pm) (MW) |  | Sep 21 to Dec 20 (6:30 am - 5 pm) (MW) |  | Dec 21 to March 20 (7 am - 5 pm) (MW) |  | March 21 to June 20 (5 am - 7 pm) (MW) |  | (SCADA, Analog, Human) | (i.e. 10 sec, annual) | (SCADA, Analog, Human) | (i.e. 10 sec, annual)
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 1 | 50 | 69 | 12.5 | 12.2 | Feeder 1 | OH | 5025 | 5 | 4.05 | 1.1 | 4.05 | 0.5 | 2.9565 | 0.792 | 2.025 | 1.1 | 3.564 | 1.023 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 1 | 50 | 69 | 12.5 | 12.2 | Feeder 2 | OH | 8031 | 5 | 3.55 | 0.01 | 3.55 | 0.4 | 2.5205 | 0.0075 | 1.775 | 0.01 | 3.1595 | 0.0097 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 1 | 50 | 69 | 12.5 | 12.2 | Feeder 3 | OH | 2000 | 5 | 3.75 | 0.03 | 3.75 | 0.87 | 2.8125 | 0.0204 | 1.875 | 0.03 | 3.375 | 0.0261 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 1 | 50 | 69 | 12.5 | 12.2 | Feeder 4 | OH | 3502 | 5 | 2.21 | 0 | 2.21 | 0.4 | 1.7459 | 0 | 1.105 | 0 | 1.7017 | 0 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 1 | 50 | 69 | 12.5 | 12.2 | Feeder 5 | OH | 9018 | 5 | 3.22 | 1.2 | 3.22 | 1.67 | 2.2218 | 0.924 | 1.61 | 1.2 | 2.737 | 1.056 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 1 | 50 | 69 | 12.5 | 12.2 | Feeder 6 | OH | 10038 | 5 | 2.79 | 1.08 | 2.79 | 2 | 2.0367 | 0.9612 | 1.395 | 1.08 | 2.4552 | 0.9828 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 1 | 50 | 69 | 12.5 | 12.2 | Feeder 7 | UG | 5293 | 5 | 3.44 | 1.4 | 3.44 | 1.55 | 2.6488 | 1.134 | 1.72 | 1.4 | 3.3368 | 1.33 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 1 | 50 | 69 | 12.5 | 12.2 | Feeder 8 | UG | 12942 | 5 | 2.41 | 0.04 | 2.41 | 0.1 | 1.8075 | 0.0288 | 1.205 | 0.04 | 1.9762 | 0.0388 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 1 | 50 | 69 | 12.5 | 12.2 | Feeder 9 | SPARE | SPARE | 5 | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 1 | 50 | 69 | 12.5 | 12.2 | Feeder 10 | SPARE | SPARE | 5 | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 2 | 50 | 69 | 12.5 | 12.2 | Feeder 1 | UG | 3222 | 5 | 4.7 | 2.15 | 4.7 | 1.1 | 3.384 | 1.634 | 2.35 | 2.15 | 3.854 | 1.7415 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 2 | 50 | 69 | 12.5 | 12.2 | Feeder 2 | UG | 7501 | 5 | 2.75 | 0.95 | 2.75 | 1.01 | 2.1175 | 0.722 | 1.375 | 0.95 | 2.4695 | 0.7885 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 2 | 50 | 69 | 12.5 | 12.2 | Feeder 3 | OH | 1209 | 5 | 2.3 | 0.03 | 2.3 | 0.4 | 1.679 | 0.0237 | 1.15 | 0.03 | 1.9136 | 0.0279 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 2 | 50 | 69 | 12.5 | 12.2 | Feeder 4 | OH | 9582 | 5 | 1.1 | 0.07 | 1.1 | 0.5 | 0.781 | 0.0469 | 0.55 | 0.07 | 0.792 | 0.0637 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 2 | 50 | 69 | 12.5 | 12.2 | Feeder 5 | OH | 8386 | 5 | 4.03 | 0.25 | 4.03 | 0.4 | 2.7001 | 0.1975 | 2.015 | 0.25 | 3.7076 | 0.245 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 2 | 50 | 69 | 12.5 | 12.2 | Feeder 6 | OH | 6367 | 5 | 3.75 | 0.03 | 3.75 | 0.2 | 2.7 | 0.0231 | 1.875 | 0.03 | 3.3375 | 0.0267 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 2 | 50 | 69 | 12.5 | 12.2 | Feeder 7 | OH | 12865 | 5 | 2.59 | 0.58 | 2.59 | 0.87 | 1.8389 | 0.4756 | 1.295 | 0.58 | 2.0979 | 0.5394 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 2 | 50 | 69 | 12.5 | 12.2 | Feeder 8 | OH | 3935 | 5 | 3.22 | 1.2 | 3.22 | 0.98 | 2.415 | 0.852 | 1.61 | 1.2 | 2.9624 | 1.02 | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 2 | 50 | 69 | 12.5 | 12.2 | Feeder 9 | SPARE | SPARE | 5 | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SCADA | 2 seconds | SCADA | 2 seconds
1 | Sample Sub | Sub 001 | 1000 Sample Road, Substation, CA 90000 |  |  |  | 33.3 | -111.1 | Transformer 2 | 50 | 69 | 12.5 | 12.2 | Feeder 10 | SPARE | SPARE | 5 | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SPARE | SCADA | 2 seconds | SCADA | 2 seconds

## System Map Data
Please answer the following questions related to distribution system maps.
1) | Do you have a set of geographic maps of your distribution system? This does not refer to a set of single line diagrams that are not fully geographical.
2) | Does the set of geographic maps encompass the entire distribution system? If not, please specify what it does encompass.
3) | What format is the distribution map in? Hard copy? Digital - AutoCAD? Please provide details. If possible, furnish a typical sample of a hard copy map.
4) | What is the basis of the geographical map you have? Overlay on city map? Overlay on satellite image such as Google Earth? Please provide details.
5) | Is system information provided on the geographic map, such as conductor rating, voltage, current, overhead/underground, substation names, transformer locations and ratings, etc? Please provide details.
6) | Do you have a set of electrical single-line diagrams with the information described in question #5 above? How is the information on the single-line diagrams best applied to the distribution maps discussed above? Please provide details.
7) | What format is the electrical single-line diagram in? Hard copy? Digital - AutoCAD? Please provide details. If possible, furnish a typical sample of a hard copy single line diagram.