## Analysis Summary
Results from Energy Pro | [5 empty] | Calculation to scale results to California RASS data |  |  |  |  | Calculation to scale results to California RASS data | [14 empty] | Breakout of savings fraction by end-use category | [9 empty] | Using RASS usage factors for end use to scale EnergyPro savings | [9 empty] | Using RASS usage factors for end use to scale EnergyPro savings
[7 empty] | Description |  |  |  | Each table below represents a step in arriving at the post-retrofit energy consumption by climate zone. | [14 empty] | End-use TOTALS from ENERGY Pro
Unscaled Results from Energy Pro 5.0.20.0 | [6 empty] | TABLE A1: A Single-family detached home was modeled in EnergyPro by climate zone in PG&E territory. To obtain the percent reduction in annual kWh and therms consumption, the difference between the pre-retrofit energy consumption and the post-retrofit energy consumption was divided by the pre-retrofit consumption [(Pre-retrofit - Post-retrofit)/Pre-retrofit]. To determine the overall household energy savings, both kWh and therms were converted to common units of BTUs. The difference between pre- and post-retrofit energy use was divided by pre-retrofit BTU use to find the overall percentage energy reduction. |  |  |  | TABLE A2: The RASS database was used to determine average electric and natural gas energy use for a typical single family detached owner-occupied home in PG&E's California climate zones. KWh and therm values were converted to BTUs to facilitate comparison by consistent energy units. To obtain the population-weighted average energy use per house in each climate zone, the average energy consumption was multiplied by the percentage of PG&E's single-family owner-occupied units within that climate zone (see Table A4, right column). The population-weighted average is the sum of this product across all climate zones. TABLE A3: RASS annual usage for each climate zone from Table A2 is multiplying by the corresponding percentage of energy saved as predicted by EnergyPro from Table A3. The explanation of population-weighted average is given in the description for Table A2 above. | [7 empty] | TABLE A4: RASS total of detached single-family owner-occupied homes by California climate zone in PG&E territory. The "fraction" column gives the percentage of total PG&E territory homes (per the RASS database) located in each climate zone. The "representative city" is defined in the Title 24 code and used as the location of the home modeled in EnergyPro. TABLE A5: RASS annual usage (TABLE A2) less the energy savings (TABLE A3), by climate zone in PG&E territory. The explanation of population-weighted average is given in the description for Table A2. | [6 empty] | Pre-retrofit |  |  |  |  | Description | [5 empty] | End-use fraction of total Energy Pro energy use |  |  |  |  | Description |  |  |  | Description
| Job | Sheet | kWh | therms | BTUs | [21 empty] | Elec Cool | Elec Fans | Gas Heat | Gas DHW | TABLE A6: Took the pre- and post-retrofit energy usage by end use results from EnergyPro and determined the percent reduction for each category, by California Climate Zone in PG&E territory. Population weighted average uses RASS home population in Table A4 (see population weighted average methodology in description for TABLE A2). | [5 empty] | Elec Cool | Elec Fans | Gas Heat | Gas DHW | total HVAC kWh | TABLE A7: Scaling factor to reduce EnergyPro useage to RASS usage (RASS usage value/EnergyPro usage) |  |  |  | TABLE A8: Energy Savings by scaling EnergyPro cooling and heating fractions by RASS scaling factor and cooling and heating fraction scaling factor (EnergyPRo end use value * scaling factor to reduce EnergyPro to RASS * Reduction in end-use energy from EnergyPro * end-use multiplier to bring EnergyPro end-use in line with RASS end use fraction)
Pre-retrofit | D02wCZ01 | D02wCZ01_2010_0219 ResCalCertsR | 8649.0598 | 1829.1705 | 212427641 | [20 empty] | CZ 1 | 225.8397 | 2283.903 | 1543.4186 | 285.7519 | [6 empty] | 2.611% | 26.41% | 84.38% | 15.62% | 29.02%
| D02wCZ02 | D02wCZ02_2010_0219 ResCalCertsR | 17760.4824 | 1506.3547 | 211234238 | [20 empty] | CZ 2 | 8140.0967 | 3481.0686 | 1228.7635 | 277.5912 | [6 empty] | 45.83% | 19.6% | 81.57% | 18.43% | 65.43%
| D02wCZ03 | D02wCZ03_2010_0219 ResCalCertsR | 9168.3751 | 1170.7091 | 148353402 | [20 empty] | CZ 3 | 1385.0668 | 1643.9912 | 893.4654 | 277.2437 | [6 empty] | 15.11% | 17.93% | 76.32% | 23.68% | 33.04%
| D02wCZ04 | D02wCZ04_2010_0219 ResCalCertsR | 12889.697 | 1178.0726 | 161786907 | [20 empty] | CZ 4 | 4464.529 | 2285.8508 | 904.029 | 274.0437 | [6 empty] | 34.64% | 17.73% | 76.74% | 23.26% | 52.37%
| D02wCZ05 | D02wCZ05_2010_0219 ResCalCertsR | 9907.9364 | 1244.7983 | 158285706 | [20 empty] | CZ 5 | 1918.9537 | 1849.6656 | 968.0772 | 276.721 | [6 empty] | 19.37% | 18.67% | 77.77% | 22.23% | 38.04%
| D02wCZ11 | D02wCZ11_2010_0219 ResCalCertsR | 20949.4894 | 1454.3327 | 216912926 | [20 empty] | CZ 11 | 10803.9601 | 4006.2122 | 1184.6376 | 269.6951 | [6 empty] | 51.57% | 19.12% | 81.46% | 18.54% | 70.69%
| D02wCZ12 | D02wCZ12_2010_0219 ResCalCertsR | 18037.6512 | 1371.9446 | 198738927 | [20 empty] | CZ 12 | 8498.6284 | 3399.7057 | 1099.1567 | 272.7879 | [6 empty] | 47.12% | 18.85% | 80.12% | 19.88% | 65.96%
| D02wCZ13 | D02wCZ13_2010_0219 ResCalCertsR | 25372.4672 | 1170.7206 | 203642918 | [20 empty] | CZ 13 | 14779.0765 | 4454.0736 | 907.7348 | 262.9858 | [6 empty] | 58.25% | 17.55% | 77.54% | 22.46% | 75.8%
| D02wCZ16 | D02wCZ16_2010_0219 ResCalCertsR | 14840.3285 | 2859.1182 | 336547025 | [20 empty] | CZ 16 | 4221.2896 | 4479.7219 | 2566.0708 | 293.0474 | [6 empty] | 28.44% | 30.19% | 89.75% | 10.25% | 58.63%
[7 empty] | Table A1: EnergyPro predicted energy reduction |  |  |  | TABLE A2: RASS annual usage for detached single family owner-occupied homes |  |  |  | TABLE A3: EnergyPro energy savings scaled to RASS average detached single family owner-occupied homes |  |  |  | TABLE A4: RASS detached single family owner-occupied homes population distribution |  |  |  | TABLE A5: Scaled measure energy consumption | [7 empty] | TABLE A6: EnergyPro predicted energy reduction by end use | [10 empty] | TABLE A7: Scaling factor to reduce EnergyPro useage to RASS usage |  |  |  | TABLE A8: Energy Savings by scaling EnergyPro cooling and heating fractions by RASS scaling factor and cooling and heating fraction scaling factor
Population-weighted average end use fraction
[7 empty] | CZ | kWh | therms | BTU | CZ | kWh | therms | BTU | CZ | kWh | therms | BTU |  | Rep. City | Population | Fraction |  | kWh | therms | Post-retrofit |  |  |  |  | CZ | Elec Cool | Elec Fans | Gas Heat | Gas DHW |  | 36.91% | 19.3% | 79.34% | 20.66% |  | CZ | kWh | therms | BTUs | CZ | Elec Cool | Elec Fans | Gas Heat | Gas DHW | Total kWh | Total therms | total BTUs |  | Total kWh | Total therms | total BTUs
Post-retrofit | D02iwCZ01 | D02iwCZ01_2010_0219 ResCalCerts | 7908.8913 | 1452.4997 | 172235110 |  | 1 | 8.558% | 20.59% | 18.92% | 1 | 7376 | 670 | 92166912 | 1 | 631.2227 | 137.9693 | 15950663.9414 | CZ 1 | Arcata | 22799 | 1.084% | CZ 1 | 6744.7773 | 532.0307 | CZ 1 | 23.7617 | 1745.8124 | 1173.2678 | 279.2319 | 1 | 89.48% | 23.56% | 23.98% | 2.282% | [6 empty] | 1 | 0.85281 | 0.36629 | 0.43387 | 1 | 112.0612 | 71.3459 | 78.6091 | 5.317 | 183.4071 | 83.9261 | 9018392.4977 |  | 2.487% | 12.53% | 9.785%
| D02iwCZ02 | D02iwCZ02_2010_0219 ResCalCerts | 11448.6495 | 1193.2753 | 158390319 |  | 2 | 35.54% | 20.78% | 25.02% | 2 | 7224 | 708 | 95448288 | 2 | 2567.311 | 147.1501 | 23474675.1926 | CZ 2 | Santa Rosa | 149910 | 7.126% | CZ 2 | 4656.689 | 560.8499 | CZ 2 | 3238.1149 | 2071.2175 | 921.9371 | 271.3382 | 2 | 60.22% | 40.5% | 24.97% | 2.253% |  | PG&E RASS end-use average* |  |  |  |  | 2 | 0.40675 | 0.47001 | 0.45186 | 2 | 1296.5193 | 89.1576 | 83.6127 | 6.5433 | 1385.6768 | 90.156 | 13743526.1099 |  | 19.18% | 12.73% | 14.4%
| D02iwCZ03 | D02iwCZ03_2010_0219 ResCalCerts | 7694.1196 | 924.9398 | 118746314 |  | 3 | 16.08% | 20.99% | 19.96% | 3 | 5863 | 608 | 80804556 | 3 | 942.7582 | 127.6386 | 15980555.6634 | CZ 3 | Oakland | 498859 | 23.71% | CZ 3 | 4920.2418 | 480.3614 | CZ 3 | 426.0882 | 1128.7142 | 653.939 | 271.0007 | 3 | 69.24% | 31.34% | 26.81% | 2.252% |  | 24% | 3% | 46% | 46% |  | 3 | 0.63948 | 0.51934 | 0.54468 | 3 | 398.7684 | 51.2307 | 72.1243 | 7.2184 | 449.9991 | 79.3427 | 9469665.7582 |  | 7.675% | 13.05% | 11.72%
| D02iwCZ04 | D02iwCZ04_2010_0219 ResCalCerts | 9109.5448 | 936.1915 | 124700920 |  | 4 | 29.33% | 20.53% | 22.92% | 4 | 7485 | 573 | 82838820 | 4 | 2195.1205 | 117.648 | 19254548.9442 | CZ 4 | Sunnyvale | 263900 | 12.54% | CZ 4 | 5289.8795 | 455.352 | CZ 4 | 1584.6858 | 1385.5419 | 668.2879 | 267.9036 | 4 | 64.5% | 39.39% | 26.08% | 2.241% |  | *from the gas and electric RASS Excutive Summary table calculations (see Gas and Electric sheets) |  |  |  |  | 4 | 0.5807 | 0.48639 | 0.51202 | 4 | 1087.4323 | 81.2835 | 66.4801 | 6.6489 | 1168.7159 | 73.1289 | 11300553.4375 |  | 15.61% | 12.76% | 13.64%
| D02iwCZ05 | D02iwCZ05_2010_0219 ResCalCerts | 7769.1319 | 959.4399 | 122452265 |  | 5 | 21.59% | 22.92% | 22.64% | 5 | 7205 | 599 | 84483460 | 5 | 1555.3276 | 137.3152 | 19038294.2669 | CZ 5 | Santa Maria | 64841 | 3.082% | CZ 5 | 5649.6724 | 461.6848 | CZ 5 | 449.9557 | 1179.859 | 688.9465 | 270.4934 | 5 | 76.55% | 36.21% | 28.83% | 2.251% | [6 empty] | 5 | 0.72719 | 0.4812 | 0.53374 | 5 | 694.6344 | 75.729 | 77.877 | 6.6719 | 770.3633 | 84.5489 | 11083369.4958 |  | 10.69% | 14.12% | 13.12%
| D02iwCZ11 | D02iwCZ11_2010_0219 ResCalCerts | 14849.1612 | 1143.4163 | 165006968 |  | 11 | 29.12% | 21.38% | 23.93% | 11 | 9581 | 533 | 85990372 | 11 | 2789.9126 | 113.9481 | 20913990.8198 | CZ 11 | Red Bluff | 154406 | 7.34% | CZ 11 | 6791.0874 | 419.0519 | CZ 11 | 6089.4414 | 2620.4027 | 879.7104 | 263.7059 | 11 | 43.64% | 34.59% | 25.74% | 2.221% | [6 empty] | 11 | 0.45734 | 0.36649 | 0.39643 | 11 | 1402.0357 | 98.5378 | 64.7938 | 4.8868 | 1500.5735 | 69.6806 | 12088015.9162 |  | 15.66% | 13.07% | 14.06%
| D02iwCZ12 | D02iwCZ12_2010_0219 ResCalCerts | 12633.7567 | 1081.5799 | 151264369 |  | 12 | 29.96% | 21.16% | 23.89% | 12 | 8602 | 606 | 89950024 | 12 | 2577.0706 | 128.2566 | 21618628.9992 | CZ 12 | Sacramento | 533754 | 25.37% | CZ 12 | 6024.9294 | 477.7434 | CZ 12 | 4333.8335 | 2160.6061 | 814.8875 | 266.6924 | 12 | 49.01% | 36.45% | 25.86% | 2.235% |  | multiplier to reach PG&E target % ** |  |  |  |  | 12 | 0.47689 | 0.44171 | 0.4526 | 12 | 1291.5088 | 91.8729 | 72.8014 | 5.9943 | 1383.3817 | 78.7957 | 12599667.446 |  | 16.08% | 13% | 14.01%
| D02iwCZ13 | D02iwCZ13_2010_0219 ResCalCerts | 17215.9936 | 931.9203 | 151932995 |  | 13 | 32.15% | 20.4% | 25.39% | 13 | 9292 | 513 | 83004304 | 13 | 2987.0943 | 104.6403 | 20655997.9767 | CZ 13 | Fresno | 263702 | 12.54% | CZ 13 | 6304.9057 | 408.3597 | CZ 13 | 8279.8028 | 2796.8737 | 674.6983 | 257.2219 | 13 | 43.98% | 37.21% | 25.67% | 2.192% |  | 0.65026 | 0.15548 | 0.57979 | 2.2264 |  | 13 | 0.36622 | 0.43819 | 0.4076 | 13 | 1547.7316 | 94.359 | 59.2054 | 5.6231 | 1642.0905 | 64.8285 | 12085663.8781 |  | 17.67% | 12.64% | 14.56%
| D02iwCZ16 | D02iwCZ16_2010_0219 ResCalCerts | 10886.983 | 2230.3783 | 260184211 |  | 16 | 26.64% | 21.99% | 22.69% | 16 | 6258 | 557 | 77052296 | 16 | 1667.0814 | 122.4882 | 17936899.3737 | CZ 16 | Mount Shasta | 151553 | 7.204% | CZ 16 | 4590.9186 | 434.5118 | CZ 16 | 1632.8013 | 3114.8646 | 1944.0803 | 286.298 | 16 | 61.32% | 30.47% | 24.24% | 2.303% |  | **this scales the EnergyPro end-use fraction down (up) to the RASS fraction |  |  |  |  | 16 | 0.42169 | 0.19482 | 0.22895 | 16 | 709.778 | 89.4831 | 70.2555 | 2.9274 | 799.2612 | 73.183 | 10045375.4693 |  | 12.77% | 13.14% | 13.04%
[18 empty] | Population-weighted average saved (per house) |  | TOTAL | 2103724
[14 empty] | Population-weighted average (per house) |  | 2089.7972 | 124.084 | 19538790.9852 | [13 empty] | Population-weighted average
[12 empty] | 7647.3197 | 589.5354 | 85046196.6439 |  | 27.33% | 21.05% | 22.97% |  |  |  |  | Population-weighted average (per house) | 5557.5225 | 465.4514 | [6 empty] | 57.7% | 35.28% | 25.97% | 2.24% | [18 empty] | Population-weighted average (per house) | 13.87% | 12.96% | 13.38%
[23 empty] | Measure max | 6791.0874 | 560.8499
[11 empty] | Base max | 9581 | 708 |  | Savings max | 2987.0943 | 147.1501 | [5 empty] | Measure min | 4590.9186 | 408.3597
[11 empty] | Base min | 5863 | 513 |  | Savings min | 631.2227 | 104.6403

## Output data
Output file summary
Job title convention: D02wCZxx is the pre-retrofit home in CZ xx
D02iwCZxx is the post-retrofit home in CZ xx
Source worksheet
Sum of columns from the corresponding output files |  | Elec Heat | Elec Cool | Elec InLight | Elec OutLight | Elec ProcLight | Elec Recep | Elec Fans | Elec HR | Elec Pumps | Elec Process | Elec DHW |  | Gas Heat | Gas Cool | Gas Process | Gas DHW
Job | Sheet | Btu | Btu | Btu | Btu | Btu | Btu | Btu | Btu | Btu | Btu | Btu |  | Btu | Btu | Btu | Btu
D02wCZ01 | D02wCZ01_2010_0219 ResCalCertsR | 0 | 770565 | 5032985 | 813220 | 0 | 15101145 | 7792677 | 0 | 0 | 0 | 0 |  | 154341861 | 0 | 0 | 28575188
D02wCZ02 | D02wCZ02_2010_0219 ResCalCertsR | 0 | 27774010 | 5032985 | 813220 | 0 | 15101145 | 11877406 | 0 | 0 | 0 | 0 |  | 122876353 | 0 | 0 | 27759119
D02wCZ03 | D02wCZ03_2010_0219 ResCalCertsR | 0 | 4725848 | 5032985 | 813220 | 0 | 15101145 | 5609298 | 0 | 0 | 0 | 0 |  | 89346537 | 0 | 0 | 27724369
D02wCZ04 | D02wCZ04_2010_0219 ResCalCertsR | 0 | 15232973 | 5032985 | 813220 | 0 | 15101145 | 7799323 | 0 | 0 | 0 | 0 |  | 90402895 | 0 | 0 | 27404366
D02wCZ05 | D02wCZ05_2010_0219 ResCalCertsR | 0 | 6547470 | 5032985 | 813220 | 0 | 15101145 | 6311059 | 0 | 0 | 0 | 0 |  | 96807723 | 0 | 0 | 27672104
D02wCZ11 | D02wCZ11_2010_0219 ResCalCertsR | 0 | 36863112 | 5032985 | 813220 | 0 | 15101145 | 13669196 | 0 | 0 | 0 | 0 |  | 118463760 | 0 | 0 | 26969508
D02wCZ12 | D02wCZ12_2010_0219 ResCalCertsR | 0 | 28997320 | 5032985 | 813220 | 0 | 15101145 | 11599796 | 0 | 0 | 0 | 0 |  | 109915672 | 0 | 0 | 27278789
D02wCZ13 | D02wCZ13_2010_0219 ResCalCertsR | 0 | 50426209 | 5032985 | 813220 | 0 | 15101145 | 15197299 | 0 | 0 | 0 | 0 |  | 90773484 | 0 | 0 | 26298576
D02wCZ16 | D02wCZ16_2010_0219 ResCalCertsR | 0 | 14403040 | 5032985 | 813220 | 0 | 15101145 | 15284811 | 0 | 0 | 0 | 0 |  | 256607082 | 0 | 0 | 29304742
Job | Sheet | Btu | Btu | Btu | Btu | Btu | Btu | Btu | Btu | Btu | Btu | Btu |  | Btu | Btu | Btu | Btu
D02iwCZ01 | D02iwCZ01_2010_0219 ResCalCerts | 0 | 81075 | 5032985 | 813220 | 0 | 15101145 | 5956712 | 0 | 0 | 0 | 0 |  | 117326783 | 0 | 0 | 27923190
D02iwCZ02 | D02iwCZ02_2010_0219 ResCalCerts | 0 | 11048448 | 5032985 | 813220 | 0 | 15101145 | 7066994 | 0 | 0 | 0 | 0 |  | 92193711 | 0 | 0 | 27133816
D02iwCZ03 | D02iwCZ03_2010_0219 ResCalCerts | 0 | 1453813 | 5032985 | 813220 | 0 | 15101145 | 3851173 | 0 | 0 | 0 | 0 |  | 65393905 | 0 | 0 | 27100073
D02iwCZ04 | D02iwCZ04_2010_0219 ResCalCerts | 0 | 5406948 | 5032985 | 813220 | 0 | 15101145 | 4727469 | 0 | 0 | 0 | 0 |  | 66828789 | 0 | 0 | 26790364
D02iwCZ05 | D02iwCZ05_2010_0219 ResCalCerts | 0 | 1535249 | 5032985 | 813220 | 0 | 15101145 | 4025679 | 0 | 0 | 0 | 0 |  | 68894651 | 0 | 0 | 27049336
D02iwCZ11 | D02iwCZ11_2010_0219 ResCalCerts | 0 | 20777174 | 5032985 | 813220 | 0 | 15101145 | 8940814 | 0 | 0 | 0 | 0 |  | 87971039 | 0 | 0 | 26370591
D02iwCZ12 | D02iwCZ12_2010_0219 ResCalCerts | 0 | 14787040 | 5032985 | 813220 | 0 | 15101145 | 7371988 | 0 | 0 | 0 | 0 |  | 81488750 | 0 | 0 | 26669241
D02iwCZ13 | D02iwCZ13_2010_0219 ResCalCerts | 0 | 28250687 | 5032985 | 813220 | 0 | 15101145 | 9542933 | 0 | 0 | 0 | 0 |  | 67469833 | 0 | 0 | 25722192
D02iwCZ16 | D02iwCZ16_2010_0219 ResCalCerts | 0 | 5571118 | 5032985 | 813220 | 0 | 15101145 | 10627918 | 0 | 0 | 0 | 0 |  | 194408029 | 0 | 0 | 28629796
Converted units (kWh and therms) |  | Elec Heat | Elec Cool | Elec InLight | Elec OutLight | Elec ProcLight | Elec Recep | Elec Fans | Elec HR | Elec Pumps | Elec Process | Elec DHW |  | Gas Heat | Gas Cool | Gas Process | Gas DHW
Job | Sheet | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | therms | therms | therms | therms
D02wCZ01 | D02wCZ01_2010_0219 ResCalCertsR | 0 | 225.8397 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 2283.903 | 0 | 0 | 0 | 0 |  | 1543.4186 | 0 | 0 | 285.7519
D02wCZ02 | D02wCZ02_2010_0219 ResCalCertsR | 0 | 8140.0967 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 3481.0686 | 0 | 0 | 0 | 0 |  | 1228.7635 | 0 | 0 | 277.5912
D02wCZ03 | D02wCZ03_2010_0219 ResCalCertsR | 0 | 1385.0668 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 1643.9912 | 0 | 0 | 0 | 0 |  | 893.4654 | 0 | 0 | 277.2437
D02wCZ04 | D02wCZ04_2010_0219 ResCalCertsR | 0 | 4464.529 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 2285.8508 | 0 | 0 | 0 | 0 |  | 904.029 | 0 | 0 | 274.0437
D02wCZ05 | D02wCZ05_2010_0219 ResCalCertsR | 0 | 1918.9537 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 1849.6656 | 0 | 0 | 0 | 0 |  | 968.0772 | 0 | 0 | 276.721
D02wCZ11 | D02wCZ11_2010_0219 ResCalCertsR | 0 | 10803.9601 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 4006.2122 | 0 | 0 | 0 | 0 |  | 1184.6376 | 0 | 0 | 269.6951
D02wCZ12 | D02wCZ12_2010_0219 ResCalCertsR | 0 | 8498.6284 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 3399.7057 | 0 | 0 | 0 | 0 |  | 1099.1567 | 0 | 0 | 272.7879
D02wCZ13 | D02wCZ13_2010_0219 ResCalCertsR | 0 | 14779.0765 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 4454.0736 | 0 | 0 | 0 | 0 |  | 907.7348 | 0 | 0 | 262.9858
D02wCZ16 | D02wCZ16_2010_0219 ResCalCertsR | 0 | 4221.2896 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 4479.7219 | 0 | 0 | 0 | 0 |  | 2566.0708 | 0 | 0 | 293.0474
Job | Sheet | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | therms | therms | therms | therms
D02iwCZ01 | D02iwCZ01_2010_0219 ResCalCerts | 0 | 23.7617 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 1745.8124 | 0 | 0 | 0 | 0 |  | 1173.2678 | 0 | 0 | 279.2319
D02iwCZ02 | D02iwCZ02_2010_0219 ResCalCerts | 0 | 3238.1149 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 2071.2175 | 0 | 0 | 0 | 0 |  | 921.9371 | 0 | 0 | 271.3382
D02iwCZ03 | D02iwCZ03_2010_0219 ResCalCerts | 0 | 426.0882 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 1128.7142 | 0 | 0 | 0 | 0 |  | 653.939 | 0 | 0 | 271.0007
D02iwCZ04 | D02iwCZ04_2010_0219 ResCalCerts | 0 | 1584.6858 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 1385.5419 | 0 | 0 | 0 | 0 |  | 668.2879 | 0 | 0 | 267.9036
D02iwCZ05 | D02iwCZ05_2010_0219 ResCalCerts | 0 | 449.9557 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 1179.859 | 0 | 0 | 0 | 0 |  | 688.9465 | 0 | 0 | 270.4934
D02iwCZ11 | D02iwCZ11_2010_0219 ResCalCerts | 0 | 6089.4414 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 2620.4027 | 0 | 0 | 0 | 0 |  | 879.7104 | 0 | 0 | 263.7059
D02iwCZ12 | D02iwCZ12_2010_0219 ResCalCerts | 0 | 4333.8335 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 2160.6061 | 0 | 0 | 0 | 0 |  | 814.8875 | 0 | 0 | 266.6924
D02iwCZ13 | D02iwCZ13_2010_0219 ResCalCerts | 0 | 8279.8028 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 2796.8737 | 0 | 0 | 0 | 0 |  | 674.6983 | 0 | 0 | 257.2219
D02iwCZ16 | D02iwCZ16_2010_0219 ResCalCerts | 0 | 1632.8013 | 1475.0835 | 238.3411 | 0 | 4425.8924 | 3114.8646 | 0 | 0 | 0 | 0 |  | 1944.0803 | 0 | 0 | 286.298