## Sheet1
ISSUE NUMBER 1.
Documentation For Energy Savings From 2006 - 2008 CFLs Installed In 2009
| Draft 2009 Evaluation Report |  |  |  | Final 2009 Evaluation Report
| (Table 8, Page 35) |  |  |  | (Table 8, Page 36)
| Reported Savings |  |  |  | Reported Savings
|  | Gross | Net |  |  | Gross | Net
| GWH | 1479 | 1012 |  | GWH | 2039 | 1286
| MW | 249 | 170 |  | MW | 307 | 199
| MMTherms | 24 | 18 |  | MMTherms | 24 | 18
Difference Between
Final and Draft Reports
Reported Savings
|  |  |  | Gross | Net
|  |  | GWH | 560 | 274
|  |  | MW | 58 | 29
|  |  | MMTherms | 0 | 0
The only difference in energy savings between the draft and final reports for PG&E were the 2006 - 2008 CFLs installed in 2009.
PG&E did not provide the reported savings for the 2006 - 2008 CFLs installed in 2009 in our March 2010 submittal for the 2009 tracking data because the decision to include the energy savings for the 2006 - 2008 CFLs installed in 2009 did not occur until December 2010.
Therefore, the Energy Division calculated the reported energy savings for the 2006 - 2008 CFLs installed in 2009 for Table 8 of the final report.
We need documentation on how the energy savings were calculated and where in the ERT this calculation occurs.
PG&E's estimated ex-ante energy savings from 2006 - 2008 CFLs installed in 2009
|  | Number Of Bulbs From KEMA | From DEER 2008
|  |  | Gross kW/Unit | Gross kWh/Unit | Gross Therms/ Unit | Net kW/Unit | Net kWh/Unit | Net Therms/ Unit
| Res | 15200000 | 0.0047778 | 34.0567 | -0.79667 | 0.0028667 | 20.434 | -0.478
| Non-Res | 762250 | 0.024783 | 138.8565 | -1.6478 | 0.01487 | 83.3139 | -0.9887
Total Energy Savings
[5 empty] | Gross MMTherms |  |  | Net MMTherms.
|  |  | Gross MW | Gross GWH |  | Net MW | Net GWH
| Res |  | 72.6222 | 517.6613 | -12.1093 | 43.5733 | 310.5968 | -7.2656
| Non-Res |  | 18.8905 | 105.8434 | -1.2561 | 11.3343 | 63.506 | -0.75363
| Total |  | 91.5128 | 623.5047 | -13.3654 | 54.9077 | 374.1028 | -8.0192
These results do not match the results shown in the above table.