## Calcs
$ Million
Years |  | 10
MW |  | 2370 | 2370000 | kw
Cost | Levelized $/kW-yr (2018 Start Year) | 218.0949 | 218.0949 | 218.0949 | 218.0949 | 218.0949 | 218.0949 | 218.0949 | 218.0949 | 218.0949 | 218.0949
Discount Rate |  | 6.22%
Risk Factor |  | 25%
Technology |  | CT
Present value of capacity payments ($/kW) |  | 1588.598
Debt equivalence ($/kW) |  | 397.1495
Total debt equivalence ($ Millions) |  | 941.2443
$ Million
Years |  | 20
MW |  | 3741 | 3741000 | kw
Cost | Levelized $/kW-yr (2018 Start Year) | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868 | 277.0868
Discount Rate |  | 6.22%
Risk Factor |  | 25%
Technology |  | CCGT
Present value of capacity payments ($/kW) |  | 3122.1728
Debt equivalence ($/kW) |  | 780.5432
Total debt equivalence ($ Millions) |  | 2920.0121
Estimated Debt Equivalence Resulting From Contracts to Satisfy Local Capacity Requirements
$ Million
Start Year - 2018
|  |  | Debt Equivalence Range: | 941.2443 | -- | 2920.0121
Assumptions:
|  |  | Lower Bound: |  |  |  | Upper Bound:
|  |  | Levelized Cost $/kW-yr | 218.0949 |  |  | Levelized Cost $/kW-yr | 277.0868
|  |  | Years: | 10 |  |  | Years: | 20
|  |  | Discount Rate: | 6.22% |  |  | Discount Rate: | 6.22%
|  |  | Risk Factor: | 25% |  |  | Risk Factor: | 25%
|  |  | Technology: | CT |  |  | Technology: | CCGT

## DD_Levelized Cost
Technology
Levelized $/kW-yr (2018 Start Year) | Combustion Turbine - 49.9 MW | Combustion Turbine - 100 MW | Combustion Turbine - Advanced | Combined Cycle Standard - 2 Turbines, No Duct Firing | Combined Cycle Standard - 2 Turbines, Duct Firing | Combined Cycle Advanced (H Frame)
Merchant Owned
Capital & Financing - Construction | 219.3778 | 209.0351 | 140.3946 | 186.7878 | 184.2072 | 168.999
Insurance | 10.6331 | 10.1307 | 6.8051 | 8.9994 | 8.875 | 8.1421
Ad Valorem Costs | 14.5062 | 13.8208 | 9.2838 | 12.2774 | 12.1077 | 11.1079
Fixed O&M | 32.8217 | 23.8866 | 22.474 | 11.7991 | 11.3668 | 9.8676
Corporate Taxes (w/Credits) | 60.977 | 58.2465 | 39.1375 | 61.3726 | 60.5302 | 55.5425
Fixed Costs | 338.3157 | 315.1197 | 218.0949 | 281.2362 | 277.0868 | 253.6592
IOU Owned
Capital & Financing - Construction | 170.6854 | 162.6207 | 109.2368 | 144.4516 | 142.453 | 130.6952
Insurance | 6.2006 | 5.9076 | 3.9683 | 5.2475 | 5.1749 | 4.7478
Ad Valorem Costs | 11.347 | 10.8109 | 7.262 | 9.603 | 9.4701 | 8.6885
Fixed O&M | 33.318 | 24.2478 | 22.8138 | 11.9775 | 11.5387 | 10.0168
Corporate Taxes (w/Credits) | 31.4063 | 30.0595 | 20.2177 | 33.7132 | 33.252 | 30.5164
Fixed Costs | 252.9573 | 233.6465 | 163.4986 | 204.9928 | 201.8888 | 184.6647
Assumptions
Capital & Operating Costs (2018)
Instant Cost ( $/kW) | 1486.7561 | 1416.5111 | 951.5079 | 1258.246 | 1240.8379 | 1138.4211
Installed Cost ( $/kW) | 1604.8045 | 1528.9821 | 1027.0576 | 1358.1507 | 1339.3604 | 1228.8118
Fixed O&M Cost ( $/kW-Yr) | 28.7177 | 20.8999 | 19.6639 | 10.3237 | 9.9455 | 8.6338
Variable O&M Cost ( $/MWh) | 5.0035 | 5.0053 | 4.4036 | 3.5752 | 3.5752 | 3.1845
Financial
Loan/Debt Term | 12 | 12 | 12 | 12 | 12 | 12
Economic/Book Life | 20 | 20 | 20 | 20 | 20 | 20
Federal Tax Life: | 15 | 15 | 15 | 20 | 20 | 20
State Tax Life: | 15 | 15 | 15 | 20 | 20 | 20
Source: http://www.energy.ca.gov/2010publications/CEC-200-2010-002/count/CEC_COG_Model_Version_2.02-4-5-10x.php
Financial
| Merchant-Owned |  | IOU-Owned
| Cap Structure | Cost of Capital | Cap Structure | Cost of Capital
Equity | 60% | 14.47% | 52% | 11.85%
Debt Financed: | 40% | 7.493% | 48% | 5.399%
Discount Rate (WACC) | 10.46% | 8.769% | 7.696% | 6.051%
Model | Cash Flow |  | Revenue Requirement
Cost Detail
2009$ | Combustion Turbine - 49.9 MW | Combustion Turbine - 100 MW | Combustion Turbine - Advanced | Combined Cycle Standard - 2 Turbines, No Duct Firing | Combined Cycle Standard - 2 Turbines, Duct Firing | Combined Cycle Advanced (H Frame)
Component Cost | 1277 | 1204 | 801 | 1044 | 1021 | 957
Total Overnight Cost | 63722300 | 120400000 | 160200000 | 522000000 | 561550000 | 765600000
% Costs for Materials | -- | -- | -- | -- | -- | --
Technology Cost Escalation | -- | -- | -- | -- | -- | --
Financial Transaction Costs | -- | -- | -- | -- | -- | --
Development Costs | -- | -- | -- | -- | -- | --
Predevelopment Expenses | -- | -- | -- | -- | -- | --
Construction Insurance & Installation | -- | -- | -- | -- | -- | --
Commitment Fee | -- | -- | -- | -- | -- | --
Land Costs
Acreage/MW | -- | -- | -- | -- | -- | --
Acreage/Plant | 8 | 8 | 8 | 25 | 25 | 25
Additional Occupied Acreage | -- | -- | -- | -- | -- | --
Cost per Acre | -- | -- | -- | -- | -- | --
Land Prep Costs/Acre | -- | -- | -- | -- | -- | --
Permitting Costs
Local building permits | -- | -- | -- | -- | -- | --
Environmental permits | 400000 | 2000000 | 4000000 | 5000000 | 5500000 | 8000000
Interconnection Costs
All connection costs | -- | -- | -- | -- | -- | --
Transmission interconnection | -- | -- | -- | -- | -- | --
Fuel / water / sewer costs | -- | -- | -- | -- | -- | --
Note: No AFUDC, difference between installed and instant cost is sales tax @ 7.94%