## 1-Base
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel | Demand (MW) * | bar: 2023
Mid | Load | 2012: 49740; 2013: 50944; 2014: 51706; 2015: 52409; 2016: 53135; 2017: 53869; 2018: 54577; 2019: 55322; 2020: 56033; 2021: 56690; 2022: 57288
Mid | Inc. EE | 2012: 6.5696; 2013: 178.5492; 2014: 394.3348; 2015: 740.1609; 2016: 1094.3187; 2017: 1420.3022; 2018: 1633.1423; 2019: 2019.3079; 2020: 2401.2221; 2021: 2757.7122; 2022: 3102.9008
Mid | Inc. Small PV | 2012: 144.4444; 2013: 288.8889; 2014: 433.3333; 2015: 577.7778; 2016: 722.2222; 2017: 866.6667; 2018: 1011.1111; 2019: 1155.5556; 2020: 1300; 2021: 1300; 2022: 1300
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 49588.9859 | 50476.5619 | 50878.3319 | 51091.0613 | 51318.4591 | 51582.0312 | 51932.7466 | 52147.1366 | 52331.7779 | 52632.2878 | 52885.0992 | 53226.5275 | 53570.1599 | 53916.0109 | 54264.0947 | 54614.4258 | 54967.0186 | 55321.8878 | 55679.048 | 56038.514 | 56400.3008 | 56764.4233 | 57130.8965
0.6456%
Supply (MW) | bar: 2023
Existing Aggregate | Existing Resources | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576
| Resource Additions | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
High Probability | Non-RPS | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base (CAISO MIC) | Imports | 15819 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469
Low | Inc. S-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Event-Based DR | 2103 | 2326 | 2499 | 2537 | 2571 | 2589 | 2591 | 2593 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595
| Resource Retirements | 2342.61 | 4975.6 | 5189.6 | 8090.87 | 8163.01 | 12286.82 | 13055.02 | 13219.11 | 18272.35 | 18278.38 | 18379.09 | 18584.48 | 18739.56 | 19273.74 | 19637.21 | 20586.22 | 21518.99 | 22461 | 23055.94 | 23321.63 | 23395.65 | 23621.01 | 23701.1017
Mid | OTC | 452 | 1126 | 1126 | 3962.27 | 3962.27 | 8085.8 | 8085.8 | 8085.8 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75
Low | Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | All Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other Retirements | 1890.61 | 3849.6 | 4063.6 | 4128.6 | 4200.74 | 4201.02 | 4969.22 | 5133.31 | 5808.6 | 5814.63 | 5915.34 | 6120.73 | 6275.81 | 6809.99 | 7173.46 | 8122.47 | 9055.24 | 9997.25 | 10592.19 | 10857.88 | 10931.9 | 11157.26 | 11237.3517
| NET SUPPLY | 67076.8476 | 68916.8576 | 68875.8576 | 66012.5876 | 65974.4476 | 63197.6376 | 62431.4376 | 62269.3476 | 57218.1076 | 57212.0776 | 57111.3676 | 56905.9776 | 56750.8976 | 56216.7176 | 55853.2476 | 54904.2376 | 53971.4676 | 53029.4576 | 52434.5176 | 52168.8276 | 52094.8076 | 51869.4476 | 51789.3559
Demand (GWh) | bar: 2023
Mid | Load | 2012: 234900; 2013: 237676; 2014: 240638; 2015: 243606; 2016: 246606; 2017: 249578; 2018: 252430; 2019: 255808; 2020: 259106; 2021: 262248; 2022: 265210
Mid | Inc. EE | 2012: 78.3518; 2013: 810.2807; 2014: 1967.5725; 2015: 3628.2104; 2016: 5368.2114; 2017: 6975.3828; 2018: 8087.9193; 2019: 9810.5263; 2020: 11501.4589; 2021: 13186.1632; 2022: 14783.0631
Mid | Inc. Small PV | 2012: 243.7223; 2013: 487.4447; 2014: 731.167; 2015: 974.8894; 2016: 1218.6117; 2017: 1462.3341; 2018: 1706.0564; 2019: 1949.7788; 2020: 2193.5011; 2021: 2193.5011; 2022: 2193.5011
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 234577.9258 | 236378.2746 | 237939.2605 | 239002.9002 | 240019.1769 | 241140.2831 | 242636.0243 | 244047.695 | 245411.0399 | 246868.3356 | 248233.4358 | 249641.9648 | 251058.4861 | 252483.045 | 253915.6872 | 255356.4585 | 256805.4051 | 258262.5732 | 259728.0097 | 261201.7613 | 262683.8754 | 264174.3992 | 265673.3806
0.5674%
| Pumped Load | 9862.4 | 9869.6 | 9879.2 | 9904.8 | 9921.6 | 9938.4 | 9954.4 | 9974.4 | 9991.2 | 10007.2 | 10024 | 10040.3049 | 10056.6364 | 10072.9944 | 10089.379 | 10105.7903 | 10122.2282 | 10138.6929 | 10155.1844 | 10171.7027 | 10188.2479 | 10204.82 | 10221.419
0.1627%
0.33 | RPS Target 33% | 74156.1235 | 74747.8626 | 75259.82 | 75602.3731 | 75932.2004 | 76296.6214 | 76784.936 | 77244.1873 | 77688.5472 | 78164.1748 | 78609.1138 | 79068.5478 | 79530.6104 | 79995.3167 | 80462.6817 | 80932.7205 | 81405.4484 | 81880.8805 | 82359.0323 | 82839.9193 | 83323.5571 | 83809.9611 | 84299.1473
Supply (GWh) | bar: 2023
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET SYSTEM BALANCE (MW) | 17487.8617 | 18440.2957 | 17997.5257 | 14921.5263 | 14655.9885 | 11615.6064 | 10498.691 | 10122.211 | 4886.3297 | 4579.7898 | 4226.2684 | 3679.4501 | 3180.7377 | 2300.7067 | 1589.1529 | 289.8118 | -995.551 | -2292.4302 | -3244.5304 | -3869.6864 | -4305.4932 | -4894.9757 | -5341.5406
|  | 135.3% | 136.5% | 135.4% | 129.2% | 128.6% | 122.5% | 120.2% | 119.4% | 109.3% | 108.7% | 108% | 106.9% | 105.9% | 104.3% | 102.9% | 100.5% | 98.19% | 95.86% | 94.17% | 93.09% | 92.37% | 91.38% | 90.65%
Other User Options
1980-01-01 | If Resource ID not found or missing COD, use this value (mm/dd/yyyy) | bar: 2012 to 2016
2017 | If no COD estimate for approved new facility, use this value (yyyy) | bar: 2012 to 2016
Small PV capacity factor | bar: 2012 to 2016
CED forecast | Use CEC CED forecast or user input? | bar: 2012 to 2016
0.19262 | CEC CED forecast for Small PV capacity factor | bar: 2012 to 2016
0.25 | user input Small PV capacity factor (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, demand-side (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, supply-side (decimal) | bar: 2012 to 2016
* Peak demand on the CAISO system assuming 1-in-2 weather year unless otherwise selected.
Indicates User Option

## 1A-Environmental
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel | Demand (MW) * | bar: 2023
Mid | Load | 2012: 49740; 2013: 50944; 2014: 51706; 2015: 52409; 2016: 53135; 2017: 53869; 2018: 54577; 2019: 55322; 2020: 56033; 2021: 56690; 2022: 57288
Mid | Inc. EE | 2012: 6.5696; 2013: 178.5492; 2014: 394.3348; 2015: 740.1609; 2016: 1094.3187; 2017: 1420.3022; 2018: 1633.1423; 2019: 2019.3079; 2020: 2401.2221; 2021: 2757.7122; 2022: 3102.9008
Mid | Inc. Small PV | 2012: 144.4444; 2013: 288.8889; 2014: 433.3333; 2015: 577.7778; 2016: 722.2222; 2017: 866.6667; 2018: 1011.1111; 2019: 1155.5556; 2020: 1300; 2021: 1300; 2022: 1300
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 49588.9859 | 50476.5619 | 50878.3319 | 51091.0613 | 51318.4591 | 51582.0312 | 51932.7466 | 52147.1366 | 52331.7779 | 52632.2878 | 52885.0992 | 53226.5275 | 53570.1599 | 53916.0109 | 54264.0947 | 54614.4258 | 54967.0186 | 55321.8878 | 55679.048 | 56038.514 | 56400.3008 | 56764.4233 | 57130.8965
0.6456%
Supply (MW) | bar: 2023
Existing Aggregate | Existing Resources | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576
| Resource Additions | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
High Probability | Non-RPS | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
Environmental | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base (CAISO MIC) | Imports | 15819 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469
Low | Inc. S-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Event-Based DR | 2103 | 2326 | 2499 | 2537 | 2571 | 2589 | 2591 | 2593 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595
| Resource Retirements | 2342.61 | 4975.6 | 5189.6 | 8090.87 | 8163.01 | 12286.82 | 13055.02 | 13219.11 | 18272.35 | 18278.38 | 18379.09 | 18584.48 | 18739.56 | 19273.74 | 19637.21 | 20586.22 | 21518.99 | 22461 | 23055.94 | 23321.63 | 23395.65 | 23621.01 | 23701.1017
Mid | OTC | 452 | 1126 | 1126 | 3962.27 | 3962.27 | 8085.8 | 8085.8 | 8085.8 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75
Low | Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | All Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other Retirements | 1890.61 | 3849.6 | 4063.6 | 4128.6 | 4200.74 | 4201.02 | 4969.22 | 5133.31 | 5808.6 | 5814.63 | 5915.34 | 6120.73 | 6275.81 | 6809.99 | 7173.46 | 8122.47 | 9055.24 | 9997.25 | 10592.19 | 10857.88 | 10931.9 | 11157.26 | 11237.3517
| NET SUPPLY | 67076.8476 | 68916.8576 | 68875.8576 | 66012.5876 | 65974.4476 | 63197.6376 | 62431.4376 | 62269.3476 | 57218.1076 | 57212.0776 | 57111.3676 | 56905.9776 | 56750.8976 | 56216.7176 | 55853.2476 | 54904.2376 | 53971.4676 | 53029.4576 | 52434.5176 | 52168.8276 | 52094.8076 | 51869.4476 | 51789.3559
Demand (GWh) | bar: 2023
Mid | Load | 2012: 234900; 2013: 237676; 2014: 240638; 2015: 243606; 2016: 246606; 2017: 249578; 2018: 252430; 2019: 255808; 2020: 259106; 2021: 262248; 2022: 265210
Mid | Inc. EE | 2012: 78.3518; 2013: 810.2807; 2014: 1967.5725; 2015: 3628.2104; 2016: 5368.2114; 2017: 6975.3828; 2018: 8087.9193; 2019: 9810.5263; 2020: 11501.4589; 2021: 13186.1632; 2022: 14783.0631
Mid | Inc. Small PV | 2012: 243.7223; 2013: 487.4447; 2014: 731.167; 2015: 974.8894; 2016: 1218.6117; 2017: 1462.3341; 2018: 1706.0564; 2019: 1949.7788; 2020: 2193.5011; 2021: 2193.5011; 2022: 2193.5011
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 234577.9258 | 236378.2746 | 237939.2605 | 239002.9002 | 240019.1769 | 241140.2831 | 242636.0243 | 244047.695 | 245411.0399 | 246868.3356 | 248233.4358 | 249641.9648 | 251058.4861 | 252483.045 | 253915.6872 | 255356.4585 | 256805.4051 | 258262.5732 | 259728.0097 | 261201.7613 | 262683.8754 | 264174.3992 | 265673.3806
0.5674%
| Pumped Load | 9862.4 | 9869.6 | 9879.2 | 9904.8 | 9921.6 | 9938.4 | 9954.4 | 9974.4 | 9991.2 | 10007.2 | 10024 | 10040.3049 | 10056.6364 | 10072.9944 | 10089.379 | 10105.7903 | 10122.2282 | 10138.6929 | 10155.1844 | 10171.7027 | 10188.2479 | 10204.82 | 10221.419
0.1627%
0.33 | RPS Target 33% | 74156.1235 | 74747.8626 | 75259.82 | 75602.3731 | 75932.2004 | 76296.6214 | 76784.936 | 77244.1873 | 77688.5472 | 78164.1748 | 78609.1138 | 79068.5478 | 79530.6104 | 79995.3167 | 80462.6817 | 80932.7205 | 81405.4484 | 81880.8805 | 82359.0323 | 82839.9193 | 83323.5571 | 83809.9611 | 84299.1473
Supply (GWh) | bar: 2023
Environmental | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET SYSTEM BALANCE (MW) | 17487.8617 | 18440.2957 | 17997.5257 | 14921.5263 | 14655.9885 | 11615.6064 | 10498.691 | 10122.211 | 4886.3297 | 4579.7898 | 4226.2684 | 3679.4501 | 3180.7377 | 2300.7067 | 1589.1529 | 289.8118 | -995.551 | -2292.4302 | -3244.5304 | -3869.6864 | -4305.4932 | -4894.9757 | -5341.5406
|  | 135.3% | 136.5% | 135.4% | 129.2% | 128.6% | 122.5% | 120.2% | 119.4% | 109.3% | 108.7% | 108% | 106.9% | 105.9% | 104.3% | 102.9% | 100.5% | 98.19% | 95.86% | 94.17% | 93.09% | 92.37% | 91.38% | 90.65%
Other User Options
1980-01-01 | If Resource ID not found or missing COD, use this value (mm/dd/yyyy) | bar: 2012 to 2016
2017 | If no COD estimate for approved new facility, use this value (yyyy) | bar: 2012 to 2016
Small PV capacity factor | bar: 2012 to 2016
CED forecast | Use CEC CED forecast or user input? | bar: 2012 to 2016
0.19262 | CEC CED forecast for Small PV capacity factor | bar: 2012 to 2016
0.25 | user input Small PV capacity factor (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, demand-side (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, supply-side (decimal) | bar: 2012 to 2016
* Peak demand on the CAISO system assuming 1-in-2 weather year unless otherwise selected.
Indicates User Option

## 1B-Early SONGS Ret
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel | Demand (MW) * | bar: 2023
Mid | Load | 2012: 49740; 2013: 50944; 2014: 51706; 2015: 52409; 2016: 53135; 2017: 53869; 2018: 54577; 2019: 55322; 2020: 56033; 2021: 56690; 2022: 57288
Mid | Inc. EE | 2012: 6.5696; 2013: 178.5492; 2014: 394.3348; 2015: 740.1609; 2016: 1094.3187; 2017: 1420.3022; 2018: 1633.1423; 2019: 2019.3079; 2020: 2401.2221; 2021: 2757.7122; 2022: 3102.9008
Mid | Inc. Small PV | 2012: 144.4444; 2013: 288.8889; 2014: 433.3333; 2015: 577.7778; 2016: 722.2222; 2017: 866.6667; 2018: 1011.1111; 2019: 1155.5556; 2020: 1300; 2021: 1300; 2022: 1300
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 49588.9859 | 50476.5619 | 50878.3319 | 51091.0613 | 51318.4591 | 51582.0312 | 51932.7466 | 52147.1366 | 52331.7779 | 52632.2878 | 52885.0992 | 53226.5275 | 53570.1599 | 53916.0109 | 54264.0947 | 54614.4258 | 54967.0186 | 55321.8878 | 55679.048 | 56038.514 | 56400.3008 | 56764.4233 | 57130.8965
0.6456%
Supply (MW) | bar: 2023
Existing Aggregate | Existing Resources | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576
| Resource Additions | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
High Probability | Non-RPS | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base (CAISO MIC) | Imports | 15819 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469
Low | Inc. S-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Event-Based DR | 2103 | 2326 | 2499 | 2537 | 2571 | 2589 | 2591 | 2593 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595
| Resource Retirements | 2342.61 | 4975.6 | 5189.6 | 10336.87 | 10409.01 | 14532.82 | 15301.02 | 15465.11 | 20518.35 | 20524.38 | 20625.09 | 20830.48 | 23225.56 | 23759.74 | 24123.21 | 25072.22 | 26004.99 | 26947 | 27541.94 | 27807.63 | 27881.65 | 28107.01 | 28187.1017
Mid | OTC | 452 | 1126 | 1126 | 3962.27 | 3962.27 | 8085.8 | 8085.8 | 8085.8 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75
Modified High | Nuclear | 0 | 0 | 0 | 2246 | 2246 | 2246 | 2246 | 2246 | 2246 | 2246 | 2246 | 2246 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | All Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other Retirements | 1890.61 | 3849.6 | 4063.6 | 4128.6 | 4200.74 | 4201.02 | 4969.22 | 5133.31 | 5808.6 | 5814.63 | 5915.34 | 6120.73 | 6275.81 | 6809.99 | 7173.46 | 8122.47 | 9055.24 | 9997.25 | 10592.19 | 10857.88 | 10931.9 | 11157.26 | 11237.3517
| NET SUPPLY | 67076.8476 | 68916.8576 | 68875.8576 | 63766.5876 | 63728.4476 | 60951.6376 | 60185.4376 | 60023.3476 | 54972.1076 | 54966.0776 | 54865.3676 | 54659.9776 | 52264.8976 | 51730.7176 | 51367.2476 | 50418.2376 | 49485.4676 | 48543.4576 | 47948.5176 | 47682.8276 | 47608.8076 | 47383.4476 | 47303.3559
Demand (GWh) | bar: 2023
Mid | Load | 2012: 234900; 2013: 237676; 2014: 240638; 2015: 243606; 2016: 246606; 2017: 249578; 2018: 252430; 2019: 255808; 2020: 259106; 2021: 262248; 2022: 265210
Mid | Inc. EE | 2012: 78.3518; 2013: 810.2807; 2014: 1967.5725; 2015: 3628.2104; 2016: 5368.2114; 2017: 6975.3828; 2018: 8087.9193; 2019: 9810.5263; 2020: 11501.4589; 2021: 13186.1632; 2022: 14783.0631
Mid | Inc. Small PV | 2012: 243.7223; 2013: 487.4447; 2014: 731.167; 2015: 974.8894; 2016: 1218.6117; 2017: 1462.3341; 2018: 1706.0564; 2019: 1949.7788; 2020: 2193.5011; 2021: 2193.5011; 2022: 2193.5011
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 234577.9258 | 236378.2746 | 237939.2605 | 239002.9002 | 240019.1769 | 241140.2831 | 242636.0243 | 244047.695 | 245411.0399 | 246868.3356 | 248233.4358 | 249641.9648 | 251058.4861 | 252483.045 | 253915.6872 | 255356.4585 | 256805.4051 | 258262.5732 | 259728.0097 | 261201.7613 | 262683.8754 | 264174.3992 | 265673.3806
0.5674%
| Pumped Load | 9862.4 | 9869.6 | 9879.2 | 9904.8 | 9921.6 | 9938.4 | 9954.4 | 9974.4 | 9991.2 | 10007.2 | 10024 | 10040.3049 | 10056.6364 | 10072.9944 | 10089.379 | 10105.7903 | 10122.2282 | 10138.6929 | 10155.1844 | 10171.7027 | 10188.2479 | 10204.82 | 10221.419
0.1627%
0.33 | RPS Target 33% | 74156.1235 | 74747.8626 | 75259.82 | 75602.3731 | 75932.2004 | 76296.6214 | 76784.936 | 77244.1873 | 77688.5472 | 78164.1748 | 78609.1138 | 79068.5478 | 79530.6104 | 79995.3167 | 80462.6817 | 80932.7205 | 81405.4484 | 81880.8805 | 82359.0323 | 82839.9193 | 83323.5571 | 83809.9611 | 84299.1473
Supply (GWh) | bar: 2023
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET SYSTEM BALANCE (MW) | 17487.8617 | 18440.2957 | 17997.5257 | 12675.5263 | 12409.9885 | 9369.6064 | 8252.691 | 7876.211 | 2640.3297 | 2333.7898 | 1980.2684 | 1433.4501 | -1305.2623 | -2185.2933 | -2896.8471 | -4196.1882 | -5481.551 | -6778.4302 | -7730.5304 | -8355.6864 | -8791.4932 | -9380.9757 | -9827.5406
|  | 135.3% | 136.5% | 135.4% | 124.8% | 124.2% | 118.2% | 115.9% | 115.1% | 105% | 104.4% | 103.7% | 102.7% | 97.56% | 95.95% | 94.66% | 92.32% | 90.03% | 87.75% | 86.12% | 85.09% | 84.41% | 83.47% | 82.8%
Other User Options
1980-01-01 | If Resource ID not found or missing COD, use this value (mm/dd/yyyy) | bar: 2012 to 2016
2017 | If no COD estimate for approved new facility, use this value (yyyy) | bar: 2012 to 2016
Small PV capacity factor | bar: 2012 to 2016
CED forecast | Use CEC CED forecast or user input? | bar: 2012 to 2016
0.19262 | CEC CED forecast for Small PV capacity factor | bar: 2012 to 2016
0.25 | user input Small PV capacity factor (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, demand-side (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, supply-side (decimal) | bar: 2012 to 2016
* Peak demand on the CAISO system assuming 1-in-2 weather year unless otherwise selected.
Indicates User Option

## 1C-Early Nuc Ret
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel | Demand (MW) * | bar: 2023
Mid | Load | 2012: 49740; 2013: 50944; 2014: 51706; 2015: 52409; 2016: 53135; 2017: 53869; 2018: 54577; 2019: 55322; 2020: 56033; 2021: 56690; 2022: 57288
Mid | Inc. EE | 2012: 6.5696; 2013: 178.5492; 2014: 394.3348; 2015: 740.1609; 2016: 1094.3187; 2017: 1420.3022; 2018: 1633.1423; 2019: 2019.3079; 2020: 2401.2221; 2021: 2757.7122; 2022: 3102.9008
Mid | Inc. Small PV | 2012: 144.4444; 2013: 288.8889; 2014: 433.3333; 2015: 577.7778; 2016: 722.2222; 2017: 866.6667; 2018: 1011.1111; 2019: 1155.5556; 2020: 1300; 2021: 1300; 2022: 1300
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 49588.9859 | 50476.5619 | 50878.3319 | 51091.0613 | 51318.4591 | 51582.0312 | 51932.7466 | 52147.1366 | 52331.7779 | 52632.2878 | 52885.0992 | 53226.5275 | 53570.1599 | 53916.0109 | 54264.0947 | 54614.4258 | 54967.0186 | 55321.8878 | 55679.048 | 56038.514 | 56400.3008 | 56764.4233 | 57130.8965
0.6456%
Supply (MW) | bar: 2023
Existing Aggregate | Existing Resources | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576
| Resource Additions | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
High Probability | Non-RPS | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base (CAISO MIC) | Imports | 15819 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469
Low | Inc. S-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Event-Based DR | 2103 | 2326 | 2499 | 2537 | 2571 | 2589 | 2591 | 2593 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595 | 2595
| Resource Retirements | 2342.61 | 4975.6 | 5189.6 | 12576.87 | 12649.01 | 16772.82 | 17541.02 | 17705.11 | 22758.35 | 22764.38 | 22865.09 | 23070.48 | 23225.56 | 23759.74 | 24123.21 | 25072.22 | 26004.99 | 26947 | 27541.94 | 27807.63 | 27881.65 | 28107.01 | 28187.1017
Mid | OTC | 452 | 1126 | 1126 | 3962.27 | 3962.27 | 8085.8 | 8085.8 | 8085.8 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75
High | Nuclear | 0 | 0 | 0 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486 | 4486
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | All Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other Retirements | 1890.61 | 3849.6 | 4063.6 | 4128.6 | 4200.74 | 4201.02 | 4969.22 | 5133.31 | 5808.6 | 5814.63 | 5915.34 | 6120.73 | 6275.81 | 6809.99 | 7173.46 | 8122.47 | 9055.24 | 9997.25 | 10592.19 | 10857.88 | 10931.9 | 11157.26 | 11237.3517
| NET SUPPLY | 67076.8476 | 68916.8576 | 68875.8576 | 61526.5876 | 61488.4476 | 58711.6376 | 57945.4376 | 57783.3476 | 52732.1076 | 52726.0776 | 52625.3676 | 52419.9776 | 52264.8976 | 51730.7176 | 51367.2476 | 50418.2376 | 49485.4676 | 48543.4576 | 47948.5176 | 47682.8276 | 47608.8076 | 47383.4476 | 47303.3559
Demand (GWh) | bar: 2023
Mid | Load | 2012: 234900; 2013: 237676; 2014: 240638; 2015: 243606; 2016: 246606; 2017: 249578; 2018: 252430; 2019: 255808; 2020: 259106; 2021: 262248; 2022: 265210
Mid | Inc. EE | 2012: 78.3518; 2013: 810.2807; 2014: 1967.5725; 2015: 3628.2104; 2016: 5368.2114; 2017: 6975.3828; 2018: 8087.9193; 2019: 9810.5263; 2020: 11501.4589; 2021: 13186.1632; 2022: 14783.0631
Mid | Inc. Small PV | 2012: 243.7223; 2013: 487.4447; 2014: 731.167; 2015: 974.8894; 2016: 1218.6117; 2017: 1462.3341; 2018: 1706.0564; 2019: 1949.7788; 2020: 2193.5011; 2021: 2193.5011; 2022: 2193.5011
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 234577.9258 | 236378.2746 | 237939.2605 | 239002.9002 | 240019.1769 | 241140.2831 | 242636.0243 | 244047.695 | 245411.0399 | 246868.3356 | 248233.4358 | 249641.9648 | 251058.4861 | 252483.045 | 253915.6872 | 255356.4585 | 256805.4051 | 258262.5732 | 259728.0097 | 261201.7613 | 262683.8754 | 264174.3992 | 265673.3806
0.5674%
| Pumped Load | 9862.4 | 9869.6 | 9879.2 | 9904.8 | 9921.6 | 9938.4 | 9954.4 | 9974.4 | 9991.2 | 10007.2 | 10024 | 10040.3049 | 10056.6364 | 10072.9944 | 10089.379 | 10105.7903 | 10122.2282 | 10138.6929 | 10155.1844 | 10171.7027 | 10188.2479 | 10204.82 | 10221.419
0.1627%
0.33 | RPS Target 33% | 74156.1235 | 74747.8626 | 75259.82 | 75602.3731 | 75932.2004 | 76296.6214 | 76784.936 | 77244.1873 | 77688.5472 | 78164.1748 | 78609.1138 | 79068.5478 | 79530.6104 | 79995.3167 | 80462.6817 | 80932.7205 | 81405.4484 | 81880.8805 | 82359.0323 | 82839.9193 | 83323.5571 | 83809.9611 | 84299.1473
Supply (GWh) | bar: 2023
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET SYSTEM BALANCE (MW) | 17487.8617 | 18440.2957 | 17997.5257 | 10435.5263 | 10169.9885 | 7129.6064 | 6012.691 | 5636.211 | 400.3297 | 93.7898 | -259.7316 | -806.5499 | -1305.2623 | -2185.2933 | -2896.8471 | -4196.1882 | -5481.551 | -6778.4302 | -7730.5304 | -8355.6864 | -8791.4932 | -9380.9757 | -9827.5406
|  | 135.3% | 136.5% | 135.4% | 120.4% | 119.8% | 113.8% | 111.6% | 110.8% | 100.8% | 100.2% | 99.51% | 98.48% | 97.56% | 95.95% | 94.66% | 92.32% | 90.03% | 87.75% | 86.12% | 85.09% | 84.41% | 83.47% | 82.8%
Other User Options
1980-01-01 | If Resource ID not found or missing COD, use this value (mm/dd/yyyy) | bar: 2012 to 2016
2017 | If no COD estimate for approved new facility, use this value (yyyy) | bar: 2012 to 2016
Small PV capacity factor | bar: 2012 to 2016
CED forecast | Use CEC CED forecast or user input? | bar: 2012 to 2016
0.19262 | CEC CED forecast for Small PV capacity factor | bar: 2012 to 2016
0.25 | user input Small PV capacity factor (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, demand-side (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, supply-side (decimal) | bar: 2012 to 2016
* Peak demand on the CAISO system assuming 1-in-2 weather year unless otherwise selected.
Indicates User Option

## 1D-Low Load
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel | Demand (MW) * | bar: 2023
Low | Load | 2012: 48579; 2013: 48767; 2014: 49145; 2015: 49764; 2016: 50575; 2017: 51361; 2018: 52019; 2019: 52613; 2020: 53144; 2021: 53585; 2022: 53985
Low | Inc. EE | 2012: 5.2557; 2013: 127.4338; 2014: 289.3747; 2015: 545.2452; 2016: 780.2704; 2017: 977.6347; 2018: 1122.5416; 2019: 1335.3258; 2020: 1537.5019; 2021: 1729.7272; 2022: 1925.8603
Low | Inc. Small PV | 2012: 0; 2013: 0; 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 48573.7443 | 48639.5662 | 48855.6253 | 49218.7548 | 49794.7296 | 50383.3653 | 50896.4584 | 51277.6742 | 51606.4981 | 51855.2728 | 52059.1397 | 52421.148 | 52785.6736 | 53152.7341 | 53522.347 | 53894.5301 | 54269.3013 | 54646.6785 | 55026.68 | 55409.324 | 55794.6287 | 56182.6128 | 56573.2948
0.6954%
Supply (MW) | bar: 2023
Existing Aggregate | Existing Resources | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576
| Resource Additions | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
High Probability | Non-RPS | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base (CAISO MIC) | Imports | 15819 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469
Low | Inc. S-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
High | Event-Based DR | 2313.3 | 2558.6 | 2748.9 | 2790.7 | 2828.1 | 2847.9 | 2850.1 | 2852.3 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5
| Resource Retirements | 2342.61 | 4975.6 | 5189.6 | 8090.87 | 8163.01 | 12286.82 | 13055.02 | 13219.11 | 18272.35 | 18278.38 | 18379.09 | 18584.48 | 18739.56 | 19273.74 | 19637.21 | 20586.22 | 21518.99 | 22461 | 23055.94 | 23321.63 | 23395.65 | 23621.01 | 23701.1017
Mid | OTC | 452 | 1126 | 1126 | 3962.27 | 3962.27 | 8085.8 | 8085.8 | 8085.8 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75
Low | Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | All Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other Retirements | 1890.61 | 3849.6 | 4063.6 | 4128.6 | 4200.74 | 4201.02 | 4969.22 | 5133.31 | 5808.6 | 5814.63 | 5915.34 | 6120.73 | 6275.81 | 6809.99 | 7173.46 | 8122.47 | 9055.24 | 9997.25 | 10592.19 | 10857.88 | 10931.9 | 11157.26 | 11237.3517
| NET SUPPLY | 67287.1476 | 69149.4576 | 69125.7576 | 66266.2876 | 66231.5476 | 63456.5376 | 62690.5376 | 62528.6476 | 57477.6076 | 57471.5776 | 57370.8676 | 57165.4776 | 57010.3976 | 56476.2176 | 56112.7476 | 55163.7376 | 54230.9676 | 53288.9576 | 52694.0176 | 52428.3276 | 52354.3076 | 52128.9476 | 52048.8559
Demand (GWh) | bar: 2023
Low | Load | 2012: 229531; 2013: 230699; 2014: 232433; 2015: 235072; 2016: 238447; 2017: 241836; 2018: 244563; 2019: 247605; 2020: 250463; 2021: 253137; 2022: 255744
Low | Inc. EE | 2012: 62.6814; 2013: 682.3628; 2014: 1532.5468; 2015: 2588.1587; 2016: 3728.8629; 2017: 4748.7565; 2018: 5622.4508; 2019: 6426.9215; 2020: 7365.6281; 2021: 8252.9874; 2022: 9080.9141
Low | Inc. Small PV | 2012: 0; 2013: 0; 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 229468.3186 | 230016.6372 | 230900.4532 | 232483.8413 | 234718.1371 | 237087.2435 | 238940.5492 | 241178.0785 | 243097.3719 | 244884.0126 | 246663.0859 | 248451.8891 | 250253.6647 | 252068.5068 | 253896.5101 | 255737.7702 | 257592.383 | 259460.4456 | 261342.0553 | 263237.3105 | 265146.3102 | 267069.1539 | 269005.942
0.7252%
| Pumped Load | 9862.4 | 9869.6 | 9879.2 | 9904.8 | 9921.6 | 9938.4 | 9954.4 | 9974.4 | 9991.2 | 10007.2 | 10024 | 10040.3049 | 10056.6364 | 10072.9944 | 10089.379 | 10105.7903 | 10122.2282 | 10138.6929 | 10155.1844 | 10171.7027 | 10188.2479 | 10204.82 | 10221.419
0.1627%
0.33 | RPS Target 33% | 72469.9531 | 72648.5223 | 72937.0136 | 73451.0836 | 74182.8572 | 74959.1183 | 75565.4292 | 76297.2139 | 76925.0367 | 77509.3482 | 78090.8984 | 78675.8228 | 79265.0193 | 79858.5191 | 80456.3533 | 81058.5534 | 81665.1511 | 82276.1784 | 82891.6674 | 83511.6506 | 84136.1605 | 84765.2302 | 85398.8926
Supply (GWh) | bar: 2023
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET SYSTEM BALANCE (MW) | 18713.4033 | 20509.8914 | 20270.1323 | 17047.5328 | 16436.818 | 13073.1723 | 11794.0792 | 11250.9734 | 5871.1095 | 5616.3048 | 5311.7279 | 4744.3296 | 4224.724 | 3323.4836 | 2590.4006 | 1269.2075 | -38.3337 | -1357.7209 | -2332.6624 | -2980.9963 | -3440.3211 | -4053.6652 | -4524.4389
|  | 138.5% | 142.2% | 141.5% | 134.6% | 133% | 125.9% | 123.2% | 121.9% | 111.4% | 110.8% | 110.2% | 109.1% | 108% | 106.3% | 104.8% | 102.4% | 99.93% | 97.52% | 95.76% | 94.62% | 93.83% | 92.78% | 92%
Other User Options
1980-01-01 | If Resource ID not found or missing COD, use this value (mm/dd/yyyy) | bar: 2012 to 2016
2017 | If no COD estimate for approved new facility, use this value (yyyy) | bar: 2012 to 2016
Small PV capacity factor | bar: 2012 to 2016
CED forecast | Use CEC CED forecast or user input? | bar: 2012 to 2016
0.19262 | CEC CED forecast for Small PV capacity factor | bar: 2012 to 2016
0.25 | user input Small PV capacity factor (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, demand-side (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, supply-side (decimal) | bar: 2012 to 2016
* Peak demand on the CAISO system assuming 1-in-2 weather year unless otherwise selected.
Indicates User Option

## 1E-High Load
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel | Demand (MW) * | bar: 2023
High | Load | 2012: 49843; 2013: 50929; 2014: 52146; 2015: 53149; 2016: 54042; 2017: 54918; 2018: 55843; 2019: 56850; 2020: 57938; 2021: 58917; 2022: 59904
High | Inc. EE | 2012: 6.5696; 2013: 212.7817; 2014: 458.6697; 2015: 844.976; 2016: 1221.5534; 2017: 1571.3084; 2018: 1789.6232; 2019: 2209.7127; 2020: 2624.1551; 2021: 3014.4344; 2022: 3391.2667
High | Inc. Small PV | 2012: 366.6667; 2013: 733.3333; 2014: 1100; 2015: 1466.6667; 2016: 1833.3333; 2017: 2200; 2018: 2566.6667; 2019: 2933.3333; 2020: 3300; 2021: 3300; 2022: 3300
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 49469.7637 | 49982.885 | 50587.3303 | 50837.3573 | 50987.1133 | 51146.6916 | 51486.7101 | 51706.954 | 52013.8449 | 52602.5656 | 53212.7333 | 53602.2649 | 53994.6479 | 54389.9033 | 54788.052 | 55189.1154 | 55593.1146 | 56000.0712 | 56410.0068 | 56822.9433 | 57238.9025 | 57657.9068 | 58079.9782
0.732%
Supply (MW) | bar: 2023
Existing Aggregate | Existing Resources | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576
| Resource Additions | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
High Probability | Non-RPS | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base (CAISO MIC) | Imports | 15819 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469
Low | Inc. S-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Event-Based DR | 1892.7 | 2093.4 | 2249.1 | 2283.3 | 2313.9 | 2330.1 | 2331.9 | 2333.7 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5
| Resource Retirements | 2342.61 | 4975.6 | 5189.6 | 8090.87 | 8163.01 | 12286.82 | 13055.02 | 13219.11 | 18272.35 | 18278.38 | 18379.09 | 18584.48 | 18739.56 | 19273.74 | 19637.21 | 20586.22 | 21518.99 | 22461 | 23055.94 | 23321.63 | 23395.65 | 23621.01 | 23701.1017
Mid | OTC | 452 | 1126 | 1126 | 3962.27 | 3962.27 | 8085.8 | 8085.8 | 8085.8 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75
Low | Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | All Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other Retirements | 1890.61 | 3849.6 | 4063.6 | 4128.6 | 4200.74 | 4201.02 | 4969.22 | 5133.31 | 5808.6 | 5814.63 | 5915.34 | 6120.73 | 6275.81 | 6809.99 | 7173.46 | 8122.47 | 9055.24 | 9997.25 | 10592.19 | 10857.88 | 10931.9 | 11157.26 | 11237.3517
| NET SUPPLY | 66866.5476 | 68684.2576 | 68625.9576 | 65758.8876 | 65717.3476 | 62938.7376 | 62172.3376 | 62010.0476 | 56958.6076 | 56952.5776 | 56851.8676 | 56646.4776 | 56491.3976 | 55957.2176 | 55593.7476 | 54644.7376 | 53711.9676 | 52769.9576 | 52175.0176 | 51909.3276 | 51835.3076 | 51609.9476 | 51529.8559
Demand (GWh) | bar: 2023
High | Load | 2012: 236012; 2013: 239811; 2014: 244730; 2015: 249057; 2016: 253047; 2017: 257123; 2018: 261320; 2019: 266286; 2020: 271538; 2021: 276254; 2022: 280924
High | Inc. EE | 2012: 78.3518; 2013: 958.9575; 2014: 2309.0361; 2015: 4142.3857; 2016: 6021.7143; 2017: 7786.7457; 2018: 8989.4966; 2019: 10907.2218; 2020: 12797.0471; 2021: 14713.2565; 2022: 16493.6667
High | Inc. Small PV | 2012: 618.6798; 2013: 1237.3596; 2014: 1856.0394; 2015: 2474.7192; 2016: 3093.399; 2017: 3712.0788; 2018: 4330.7586; 2019: 4949.4384; 2020: 5568.1182; 2021: 5568.1182; 2022: 5568.1182
Low | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 235314.9684 | 237614.6829 | 240564.9245 | 242439.8951 | 243931.8867 | 245624.1755 | 247999.7448 | 250429.3397 | 253172.8347 | 255972.6252 | 258862.2151 | 261342.8207 | 263847.1972 | 266375.5724 | 268928.1764 | 271505.2413 | 274107.0015 | 276733.6937 | 279385.5567 | 282062.8318 | 284765.7625 | 287494.5947 | 290249.5765
0.9583%
| Pumped Load | 9862.4 | 9869.6 | 9879.2 | 9904.8 | 9921.6 | 9938.4 | 9954.4 | 9974.4 | 9991.2 | 10007.2 | 10024 | 10040.3049 | 10056.6364 | 10072.9944 | 10089.379 | 10105.7903 | 10122.2282 | 10138.6929 | 10155.1844 | 10171.7027 | 10188.2479 | 10204.82 | 10221.419
0.1627%
0.33 | RPS Target 33% | 74399.3476 | 75155.8773 | 76126.2891 | 76736.5814 | 77223.3946 | 77776.3059 | 78554.9638 | 79350.1301 | 80249.9394 | 81168.5903 | 82116.611 | 82929.8302 | 83750.8851 | 84579.8508 | 85416.8032 | 86261.8189 | 87114.9752 | 87976.3503 | 88846.0229 | 89724.0726 | 90610.5798 | 91505.6257 | 92409.292
Supply (GWh) | bar: 2023
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET SYSTEM BALANCE (MW) | 17396.7839 | 18701.3726 | 18038.6273 | 14921.5303 | 14730.2343 | 11792.046 | 10685.6275 | 10303.0936 | 4944.7627 | 4350.012 | 3639.1343 | 3044.2128 | 2496.7497 | 1567.3143 | 805.6956 | -544.3778 | -1881.147 | -3230.1136 | -4234.9892 | -4913.6157 | -5403.5949 | -6047.9592 | -6550.1223
|  | 135.2% | 137.4% | 135.7% | 129.4% | 128.9% | 123.1% | 120.8% | 119.9% | 109.5% | 108.3% | 106.8% | 105.7% | 104.6% | 102.9% | 101.5% | 99.01% | 96.62% | 94.23% | 92.49% | 91.35% | 90.56% | 89.51% | 88.72%
Other User Options
1980-01-01 | If Resource ID not found or missing COD, use this value (mm/dd/yyyy) | bar: 2012 to 2016
2017 | If no COD estimate for approved new facility, use this value (yyyy) | bar: 2012 to 2016
Small PV capacity factor | bar: 2012 to 2016
CED forecast | Use CEC CED forecast or user input? | bar: 2012 to 2016
0.19262 | CEC CED forecast for Small PV capacity factor | bar: 2012 to 2016
0.25 | user input Small PV capacity factor (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, demand-side (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, supply-side (decimal) | bar: 2012 to 2016
* Peak demand on the CAISO system assuming 1-in-2 weather year unless otherwise selected.
Indicates User Option

## 2-No New DSM
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel | Demand (MW) * | bar: 2023
Mid | Load | 2012: 49740; 2013: 50944; 2014: 51706; 2015: 52409; 2016: 53135; 2017: 53869; 2018: 54577; 2019: 55322; 2020: 56033; 2021: 56690; 2022: 57288
None | Inc. EE | 2012: 0; 2013: 0; 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0
None | Inc. Small PV | 2012: 0; 2013: 0; 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0
None | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 49740 | 50944 | 51706 | 52409 | 53135 | 53869 | 54577 | 55322 | 56033 | 56690 | 57288 | 58103.1193 | 58929.8366 | 59768.3167 | 60618.7271 | 61481.2375 | 62356.0201 | 63243.2495 | 64143.1028 | 65055.7597 | 65981.4022 | 66920.2151 | 67872.386
1.423%
Supply (MW) | bar: 2023
Existing Aggregate | Existing Resources | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576
| Resource Additions | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
High Probability | Non-RPS | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base (CAISO MIC) | Imports | 15819 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469
None | Inc. S-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
None | Event-Based DR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Resource Retirements | 2342.61 | 4975.6 | 5189.6 | 8090.87 | 8163.01 | 12286.82 | 13055.02 | 13219.11 | 18272.35 | 18278.38 | 18379.09 | 18584.48 | 18739.56 | 19273.74 | 19637.21 | 20586.22 | 21518.99 | 22461 | 23055.94 | 23321.63 | 23395.65 | 23621.01 | 23701.1017
Mid | OTC | 452 | 1126 | 1126 | 3962.27 | 3962.27 | 8085.8 | 8085.8 | 8085.8 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75
Low | Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | All Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other Retirements | 1890.61 | 3849.6 | 4063.6 | 4128.6 | 4200.74 | 4201.02 | 4969.22 | 5133.31 | 5808.6 | 5814.63 | 5915.34 | 6120.73 | 6275.81 | 6809.99 | 7173.46 | 8122.47 | 9055.24 | 9997.25 | 10592.19 | 10857.88 | 10931.9 | 11157.26 | 11237.3517
| NET SUPPLY | 64973.8476 | 66590.8576 | 66376.8576 | 63475.5876 | 63403.4476 | 60608.6376 | 59840.4376 | 59676.3476 | 54623.1076 | 54617.0776 | 54516.3676 | 54310.9776 | 54155.8976 | 53621.7176 | 53258.2476 | 52309.2376 | 51376.4676 | 50434.4576 | 49839.5176 | 49573.8276 | 49499.8076 | 49274.4476 | 49194.3559
Demand (GWh) | bar: 2023
Mid | Load | 2012: 234900; 2013: 237676; 2014: 240638; 2015: 243606; 2016: 246606; 2017: 249578; 2018: 252430; 2019: 255808; 2020: 259106; 2021: 262248; 2022: 265210
None | Inc. EE | 2012: 0; 2013: 0; 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0
None | Inc. Small PV | 2012: 0; 2013: 0; 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0
None | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 234900 | 237676 | 240638 | 243606 | 246606 | 249578 | 252430 | 255808 | 259106 | 262248 | 265210 | 268448.2539 | 271726.0473 | 275043.8631 | 278402.1899 | 281801.5223 | 285242.3612 | 288725.2132 | 292250.5913 | 295819.0148 | 299431.0094 | 303087.1069 | 306787.8459
1.221%
| Pumped Load | 9862.4 | 9869.6 | 9879.2 | 9904.8 | 9921.6 | 9938.4 | 9954.4 | 9974.4 | 9991.2 | 10007.2 | 10024 | 10040.3049 | 10056.6364 | 10072.9944 | 10089.379 | 10105.7903 | 10122.2282 | 10138.6929 | 10155.1844 | 10171.7027 | 10188.2479 | 10204.82 | 10221.419
0.1627%
0.33 | RPS Target 33% | 74262.408 | 75176.112 | 76150.404 | 77121.396 | 78105.852 | 79081.068 | 80016.948 | 81125.088 | 82207.884 | 83239.464 | 84211.38 | 85274.6231 | 86350.9056 | 87440.3867 | 88543.2276 | 89659.5916 | 90789.6439 | 91933.5517 | 93091.4843 | 94263.613 | 95450.1113 | 96651.1547 | 97866.9209
Supply (GWh) | bar: 2023
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET SYSTEM BALANCE (MW) | 15233.8476 | 15646.8576 | 14670.8576 | 11066.5876 | 10268.4476 | 6739.6376 | 5263.4376 | 4354.3476 | -1409.8924 | -2072.9224 | -2771.6324 | -3792.1417 | -4773.939 | -6146.5991 | -7360.4795 | -9171.9999 | -10979.5525 | -12808.7919 | -14303.5852 | -15481.9321 | -16481.5946 | -17645.7675 | -18678.03
|  | 130.6% | 130.7% | 128.4% | 121.1% | 119.3% | 112.5% | 109.6% | 107.9% | 97.48% | 96.34% | 95.16% | 93.47% | 91.9% | 89.72% | 87.86% | 85.08% | 82.39% | 79.75% | 77.7% | 76.2% | 75.02% | 73.63% | 72.48%
Other User Options
1980-01-01 | If Resource ID not found or missing COD, use this value (mm/dd/yyyy) | bar: 2012 to 2016
2017 | If no COD estimate for approved new facility, use this value (yyyy) | bar: 2012 to 2016
Small PV capacity factor | bar: 2012 to 2016
CED forecast | Use CEC CED forecast or user input? | bar: 2012 to 2016
0.19262 | CEC CED forecast for Small PV capacity factor | bar: 2012 to 2016
0.25 | user input Small PV capacity factor (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, demand-side (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, supply-side (decimal) | bar: 2012 to 2016
* Peak demand on the CAISO system assuming 1-in-2 weather year unless otherwise selected.
Indicates User Option

## 2A-Replicating TPP
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel | Demand (MW) * | bar: 2023
Mid-peak: 1-in-5 | Load | 2012: 52116; 2013: 53377; 2014: 54176; 2015: 54911; 2016: 55674; 2017: 56445; 2018: 57188; 2019: 57969; 2020: 58715; 2021: 59403; 2022: 60029
None | Inc. EE | 2012: 0; 2013: 0; 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0
None | Inc. Small PV | 2012: 0; 2013: 0; 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0
None | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 52116 | 53377 | 54176 | 54911 | 55674 | 56445 | 57188 | 57969 | 58715 | 59403 | 60029 | 60883.5703 | 61750.3062 | 62629.3809 | 63520.9701 | 64425.2519 | 65342.407 | 66272.6187 | 67216.0729 | 68172.9581 | 69143.4654 | 70127.7888 | 71126.125
1.424%
Supply (MW) | bar: 2023
Existing Aggregate | Existing Resources | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576
| Resource Additions | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
High Probability | Non-RPS | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base (CAISO MIC) | Imports | 15819 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469
None | Inc. S-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Event-Based DR | 1892.7 | 2093.4 | 2249.1 | 2283.3 | 2313.9 | 2330.1 | 2331.9 | 2333.7 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5 | 2335.5
| Resource Retirements | 2342.61 | 4975.6 | 5189.6 | 8090.87 | 8163.01 | 12286.82 | 13055.02 | 13219.11 | 18272.35 | 18278.38 | 18379.09 | 18584.48 | 18739.56 | 19273.74 | 19637.21 | 20586.22 | 21518.99 | 22461 | 23055.94 | 23321.63 | 23395.65 | 23621.01 | 23701.1017
Mid | OTC | 452 | 1126 | 1126 | 3962.27 | 3962.27 | 8085.8 | 8085.8 | 8085.8 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75
Low | Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | All Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other Retirements | 1890.61 | 3849.6 | 4063.6 | 4128.6 | 4200.74 | 4201.02 | 4969.22 | 5133.31 | 5808.6 | 5814.63 | 5915.34 | 6120.73 | 6275.81 | 6809.99 | 7173.46 | 8122.47 | 9055.24 | 9997.25 | 10592.19 | 10857.88 | 10931.9 | 11157.26 | 11237.3517
| NET SUPPLY | 66866.5476 | 68684.2576 | 68625.9576 | 65758.8876 | 65717.3476 | 62938.7376 | 62172.3376 | 62010.0476 | 56958.6076 | 56952.5776 | 56851.8676 | 56646.4776 | 56491.3976 | 55957.2176 | 55593.7476 | 54644.7376 | 53711.9676 | 52769.9576 | 52175.0176 | 51909.3276 | 51835.3076 | 51609.9476 | 51529.8559
Demand (GWh) | bar: 2023
Mid-peak: 1-in-5 | Load | 2012: 234900; 2013: 237676; 2014: 240638; 2015: 243606; 2016: 246606; 2017: 249578; 2018: 252430; 2019: 255808; 2020: 259106; 2021: 262248; 2022: 265210
None | Inc. EE | 2012: 0; 2013: 0; 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0
None | Inc. Small PV | 2012: 0; 2013: 0; 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0
None | Inc. D-CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET LOAD | 234900 | 237676 | 240638 | 243606 | 246606 | 249578 | 252430 | 255808 | 259106 | 262248 | 265210 | 268448.2539 | 271726.0473 | 275043.8631 | 278402.1899 | 281801.5223 | 285242.3612 | 288725.2132 | 292250.5913 | 295819.0148 | 299431.0094 | 303087.1069 | 306787.8459
1.221%
| Pumped Load | 9862.4 | 9869.6 | 9879.2 | 9904.8 | 9921.6 | 9938.4 | 9954.4 | 9974.4 | 9991.2 | 10007.2 | 10024 | 10040.3049 | 10056.6364 | 10072.9944 | 10089.379 | 10105.7903 | 10122.2282 | 10138.6929 | 10155.1844 | 10171.7027 | 10188.2479 | 10204.82 | 10221.419
0.1627%
0.33 | RPS Target 33% | 74262.408 | 75176.112 | 76150.404 | 77121.396 | 78105.852 | 79081.068 | 80016.948 | 81125.088 | 82207.884 | 83239.464 | 84211.38 | 85274.6231 | 86350.9056 | 87440.3867 | 88543.2276 | 89659.5916 | 90789.6439 | 91933.5517 | 93091.4843 | 94263.613 | 95450.1113 | 96651.1547 | 97866.9209
Supply (GWh) | bar: 2023
Commercial | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET SYSTEM BALANCE (MW) | 14750.5476 | 15307.2576 | 14449.9576 | 10847.8876 | 10043.3476 | 6493.7376 | 4984.3376 | 4041.0476 | -1756.3924 | -2450.4224 | -3177.1324 | -4237.0927 | -5258.9086 | -6672.1633 | -7927.2225 | -9780.5143 | -11630.4394 | -13502.6611 | -15041.0553 | -16263.6304 | -17308.1578 | -18517.8412 | -19596.269
|  | 128.3% | 128.7% | 126.7% | 119.8% | 118% | 111.5% | 108.7% | 107% | 97.01% | 95.87% | 94.71% | 93.04% | 91.48% | 89.35% | 87.52% | 84.82% | 82.2% | 79.63% | 77.62% | 76.14% | 74.97% | 73.59% | 72.45%
Other User Options
1980-01-01 | If Resource ID not found or missing COD, use this value (mm/dd/yyyy) | bar: 2012 to 2016
2017 | If no COD estimate for approved new facility, use this value (yyyy) | bar: 2012 to 2016
Small PV capacity factor | bar: 2012 to 2016
CED forecast | Use CEC CED forecast or user input? | bar: 2012 to 2016
0.19262 | CEC CED forecast for Small PV capacity factor | bar: 2012 to 2016
0.25 | user input Small PV capacity factor (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, demand-side (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, supply-side (decimal) | bar: 2012 to 2016
* Peak demand on the CAISO system assuming 1-in-2 weather year unless otherwise selected.
Indicates User Option

## 3-High DG
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel | Demand (MW) * | bar: 2023
Mid | Load | 2012: 49740; 2013: 50944; 2014: 51706; 2015: 52409; 2016: 53135; 2017: 53869; 2018: 54577; 2019: 55322; 2020: 56033; 2021: 56690; 2022: 57288
Mid | Inc. EE | 2012: 6.5696; 2013: 178.5492; 2014: 394.3348; 2015: 740.1609; 2016: 1094.3187; 2017: 1420.3022; 2018: 1633.1423; 2019: 2019.3079; 2020: 2401.2221; 2021: 2757.7122; 2022: 3102.9008
High | Inc. Small PV | 2012: 366.6667; 2013: 733.3333; 2014: 1100; 2015: 1466.6667; 2016: 1833.3333; 2017: 2200; 2018: 2566.6667; 2019: 2933.3333; 2020: 3300; 2021: 3300; 2022: 3300
High | Inc. D-CHP | 103.5789 | 207.1579 | 310.7368 | 414.3158 | 517.8947 | 621.4737 | 725.0526 | 828.6316 | 932.2105 | 1035.7895 | 1139.3684 | 1242.9474 | 1346.5263 | 1450.1053 | 1553.6842 | 1657.2632 | 1760.8421 | 1864.4211 | 1968 | 1968 | 1968 | 1968 | 1968
| NET LOAD | 49263.1848 | 49824.9595 | 49900.9284 | 49787.8567 | 49689.4533 | 49627.2241 | 49652.1384 | 49540.7272 | 49399.5674 | 49596.4984 | 49745.7308 | 49794.2446 | 49842.8058 | 49891.4142 | 49940.0701 | 49988.7735 | 50037.5243 | 50086.3227 | 50135.1687 | 50184.0623 | 50233.0036 | 50281.9926 | 50331.0294
0.09752%
Supply (MW) | bar: 2023
Existing Aggregate | Existing Resources | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576 | 50442.4576
| Resource Additions | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
High Probability | Non-RPS | 1055 | 4655 | 4655 | 4655 | 4655 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984 | 5984
High DG | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base (CAISO MIC) | Imports | 15819 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469 | 16469
High | Inc. S-CHP | 87.4211 | 174.8421 | 262.2632 | 349.6842 | 437.1053 | 524.5263 | 611.9474 | 699.3684 | 786.7895 | 874.2105 | 961.6316 | 1049.0526 | 1136.4737 | 1223.8947 | 1311.3158 | 1398.7368 | 1486.1579 | 1573.5789 | 1661 | 1661 | 1661 | 1661 | 1661
High | Event-Based DR | 2313.3 | 2558.6 | 2748.9 | 2790.7 | 2828.1 | 2847.9 | 2850.1 | 2852.3 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5 | 2854.5
| Resource Retirements | 2342.61 | 4975.6 | 5189.6 | 8090.87 | 8163.01 | 12286.82 | 13055.02 | 13219.11 | 18272.35 | 18278.38 | 18379.09 | 18584.48 | 18739.56 | 19273.74 | 19637.21 | 20586.22 | 21518.99 | 22461 | 23055.94 | 23321.63 | 23395.65 | 23621.01 | 23701.1017
Mid | OTC | 452 | 1126 | 1126 | 3962.27 | 3962.27 | 8085.8 | 8085.8 | 8085.8 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75 | 12463.75
Low | Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | All Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other Retirements | 1890.61 | 3849.6 | 4063.6 | 4128.6 | 4200.74 | 4201.02 | 4969.22 | 5133.31 | 5808.6 | 5814.63 | 5915.34 | 6120.73 | 6275.81 | 6809.99 | 7173.46 | 8122.47 | 9055.24 | 9997.25 | 10592.19 | 10857.88 | 10931.9 | 11157.26 | 11237.3517
| NET SUPPLY | 67374.5687 | 69324.2997 | 69388.0208 | 66615.9718 | 66668.6529 | 63981.0639 | 63302.485 | 63228.016 | 58264.3971 | 58345.7881 | 58332.4992 | 58214.5302 | 58146.8713 | 57700.1123 | 57424.0634 | 56562.4744 | 55717.1255 | 54862.5365 | 54355.0176 | 54089.3276 | 54015.3076 | 53789.9476 | 53709.8559
Demand (GWh) | bar: 2023
Mid | Load | 2012: 234900; 2013: 237676; 2014: 240638; 2015: 243606; 2016: 246606; 2017: 249578; 2018: 252430; 2019: 255808; 2020: 259106; 2021: 262248; 2022: 265210
Mid | Inc. EE | 2012: 78.3518; 2013: 810.2807; 2014: 1967.5725; 2015: 3628.2104; 2016: 5368.2114; 2017: 6975.3828; 2018: 8087.9193; 2019: 9810.5263; 2020: 11501.4589; 2021: 13186.1632; 2022: 14783.0631
High | Inc. Small PV | 2012: 618.6798; 2013: 1237.3596; 2014: 1856.0394; 2015: 2474.7192; 2016: 3093.399; 2017: 3712.0788; 2018: 4330.7586; 2019: 4949.4384; 2020: 5568.1182; 2021: 5568.1182; 2022: 5568.1182
High | Inc. D-CHP | 680.5137 | 1361.0274 | 2041.5411 | 2722.0547 | 3402.5684 | 4083.0821 | 4763.5958 | 5444.1095 | 6124.6232 | 6805.1368 | 7485.6505 | 8166.1642 | 8846.6779 | 9527.1916 | 10207.7053 | 10888.2189 | 11568.7326 | 12249.2463 | 12929.76 | 12929.76 | 12929.76 | 12929.76 | 12929.76
| NET LOAD | 233522.4547 | 234267.3323 | 234772.8471 | 234781.0156 | 234741.8212 | 234807.4563 | 235247.7263 | 235603.9258 | 235911.7997 | 236688.5817 | 237373.1681 | 237761.7147 | 238150.8972 | 238540.7168 | 238931.1744 | 239322.2712 | 239714.0082 | 240106.3863 | 240499.4068 | 240893.0705 | 241287.3786 | 241682.3322 | 242077.9322
0.1637%
| Pumped Load | 9862.4 | 9869.6 | 9879.2 | 9904.8 | 9921.6 | 9938.4 | 9954.4 | 9974.4 | 9991.2 | 10007.2 | 10024 | 10040.3049 | 10056.6364 | 10072.9944 | 10089.379 | 10105.7903 | 10122.2282 | 10138.6929 | 10155.1844 | 10171.7027 | 10188.2479 | 10204.82 | 10221.419
0.1627%
0.33 | RPS Target 33% | 73807.8181 | 74051.2517 | 74214.9035 | 74209.1512 | 74190.673 | 74206.7886 | 74346.7977 | 74457.7435 | 74553.7979 | 74804.856 | 75025.2255 | 75148.0652 | 75271.1061 | 75394.3484 | 75517.7925 | 75641.4387 | 75765.2874 | 75889.3388 | 76013.5934 | 76138.0514 | 76262.7131 | 76387.579 | 76512.6494
Supply (GWh) | bar: 2023
High DG | RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NET SYSTEM BALANCE (MW) | 18111.3839 | 19499.3402 | 19487.0924 | 16828.1152 | 16979.1996 | 14353.8398 | 13650.3466 | 13687.2888 | 8864.8297 | 8749.2898 | 8586.7684 | 8420.2856 | 8304.0655 | 7808.6981 | 7483.9933 | 6573.701 | 5679.6012 | 4776.2139 | 4219.8489 | 3905.2653 | 3782.304 | 3507.955 | 3378.8266
|  | 136.8% | 139.1% | 139.1% | 133.8% | 134.2% | 128.9% | 127.5% | 127.6% | 117.9% | 117.6% | 117.3% | 116.9% | 116.7% | 115.7% | 115% | 113.2% | 111.4% | 109.5% | 108.4% | 107.8% | 107.5% | 107% | 106.7%
Other User Options
1980-01-01 | If Resource ID not found or missing COD, use this value (mm/dd/yyyy) | bar: 2012 to 2016
2017 | If no COD estimate for approved new facility, use this value (yyyy) | bar: 2012 to 2016
Small PV capacity factor | bar: 2012 to 2016
CED forecast | Use CEC CED forecast or user input? | bar: 2012 to 2016
0.19262 | CEC CED forecast for Small PV capacity factor | bar: 2012 to 2016
0.25 | user input Small PV capacity factor (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, demand-side (decimal) | bar: 2012 to 2016
0.75 | CHP capacity factor, supply-side (decimal) | bar: 2012 to 2016
* Peak demand on the CAISO system assuming 1-in-2 weather year unless otherwise selected.
Indicates User Option