## Summary_Tech&Trans_MW
| Commercial Interest | Environment | High DG
MW
Discounted Core | 10318.1017 | 10093.8038 | 11145.5489
Commercial Non-Core | 0 | 0 | 0
Generic | 448.3079 | 843.1686 | 0
Total | 10766.4096 | 10936.9724 | 11145.5489
Biogas | 136.2 | 133.2 | 133.2
Biomass | 56.8 | 56.8 | 56.8
Geothermal | 245.0485 | 211 | 211
Hydro | 0 | 0 | 0
Large Scale Solar PV | 4616.4426 | 5063.3686 | 3816.2
Small Solar PV | 2100.7456 | 2077.6538 | 4021.3989
Solar Thermal | 1563.9676 | 1463.95 | 1056.95
Wind | 2047.2053 | 1931 | 1850
Transmission
| Merced - 1 | Merced - 1
Kramer - 1

## Summary_CREZ_MW
CREZ | Commercial Interest | Environment | High DG
MW
Alberta | 450 | 450 | 450
Arizona | 550 | 550 | 550
Baja | 0 | 0 | 0
Barstow | 0 | 0 | 0
British Columbia | 0 | 0 | 0
Carrizo North | 0 | 0 | 0
Carrizo South | 900 | 900 | 300
Colorado | 0 | 0 | 0
Cuyama | 0 | 0 | 0
Distributed Solar - PG&E | 1036.2246 | 1036.2246 | 1650.912
Distributed Solar - SCE | 477.2488 | 477.2488 | 1953.0178
Distributed Solar - SDGE | 277.2804 | 277.2804 | 145.5692
Distributed Solar - Other | 0 | 0 | 0
Fairmont | 0 | 0 | 0
Imperial | 860 | 860 | 860
Inyokern | 0 | 0 | 0
Iron Mountain | 0 | 0 | 0
Kramer | 434.4058 | 62 | 62
Lassen North | 0 | 0 | 0
Lassen South | 0 | 0 | 0
Montana | 0 | 0 | 0
Mountain Pass | 644.95 | 644.95 | 644.95
Nevada C | 316 | 316 | 316
Nevada N | 0 | 0 | 0
New Mexico | 0 | 0 | 0
NonCREZ | 442.65 | 442.65 | 442.65
Northwest | 104 | 104 | 104
Owens Valley | 0 | 0 | 0
Palm Springs | 0 | 0 | 0
Pisgah | 0 | 0 | 0
Remote DG (Brownfield) - PG&E | 0 | 0 | 0
Remote DG (Brownfield) - SCE | 0 | 0 | 0
Remote DG (Brownfield) - SDGE | 0 | 0 | 0
Remote DG (Brownfield) - Other | 0 | 0 | 0
Remote DG (Greenfield) - PG&E | 0 | 0 | 0
Remote DG (Greenfield) - SCE | 0 | 0 | 0
Remote DG (Greenfield) - SDGE | 0 | 0 | 0
Remote DG (Greenfield) - Other | 0 | 0 | 0
Riverside East | 1213.9 | 1285.4686 | 1213.9
Round Mountain | 0 | 0 | 0
San Bernardino - Baker | 0 | 0 | 0
San Bernardino - Lucerne | 42 | 42 | 42
San Diego North Central | 0 | 0 | 0
San Diego South | 0 | 0 | 0
Santa Barbara | 0 | 0 | 0
Solano | 200.2 | 0 | 0
Tehachapi | 2175.7 | 2190.7 | 2175.7
Twentynine Palms | 0 | 0 | 0
Utah-Southern Idaho | 0 | 0 | 0
Victorville | 0 | 0 | 0
Westlands | 148.25 | 774.85 | 148.25
Wyoming | 0 | 0 | 0
Central Valley North | 25 | 55 | 25
El Dorado | 407 | 407 | 0
Merced | 61.6 | 61.6 | 61.6
Los Banos | 0 | 0 | 0
Total | 10766.4096 | 10936.9724 | 11145.5489
Sum of DG | 1790.7538 | 1790.7538 | 3749.4989

## CommercialInterest
CREZ |  | Total GWh Selected from Zone, 2020 | Biogas | Biomass | Geothermal | Hydro | Large Scale Solar PV | Small Solar PV | Solar Thermal | Wind | Total | Biogas | Biomass | Geothermal | Hydro | Large Scale Solar PV | Small Solar PV | Solar Thermal | Wind
All Modes of Delivery
Alberta |  | 1229.904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1229.904 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450
Arizona |  | 1282.7925 | 0 | 0 | 0 | 0 | 1282.7925 | 0 | 0 | 0 | 550 | 0 | 0 | 0 | 0 | 550 | 0 | 0 | 0
Baja |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Barstow |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
British Columbia |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carrizo North |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carrizo South |  | 1930.9581 | 0 | 0 | 0 | 0 | 1930.9581 | 0 | 0 | 0 | 900 | 0 | 0 | 0 | 0 | 900 | 0 | 0 | 0
Colorado |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cuyama |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Solar - PG&E |  | 2068.5984 | 0 | 0 | 0 | 0 | 0 | 2068.5984 | 0 | 0 | 1036.2246 | 0 | 0 | 0 | 0 | 0 | 1036.2246 | 0 | 0
Distributed Solar - SCE |  | 937.0563 | 0 | 0 | 0 | 0 | 0 | 937.0563 | 0 | 0 | 477.2488 | 0 | 0 | 0 | 0 | 0 | 477.2488 | 0 | 0
Distributed Solar - SDGE |  | 580.5814 | 0 | 0 | 0 | 0 | 0 | 580.5814 | 0 | 0 | 277.2804 | 0 | 0 | 0 | 0 | 0 | 277.2804 | 0 | 0
Distributed Solar - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fairmont |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Imperial |  | 2243.2485 | 0 | 0 | 216.81 | 0 | 1436.7276 | 70.122 | 0 | 519.5889 | 860 | 0 | 0 | 30 | 0 | 616 | 30 | 0 | 184
Inyokern |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Iron Mountain |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kramer |  | 1179.3605 | 0 | 0 | 243.2725 | 0 | 397.0654 | 87.7688 | 378.6996 | 72.5542 | 434.4058 | 0 | 0 | 34.0485 | 0 | 170.2426 | 38.0918 | 162.0176 | 30.0053
Lassen North |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lassen South |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Montana |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mountain Pass |  | 1505.9906 | 0 | 0 | 0 | 0 | 699.705 | 0 | 806.2856 | 0 | 644.95 | 0 | 0 | 0 | 0 | 300 | 0 | 344.95 | 0
Nevada C |  | 1549.5345 | 0 | 0 | 1199.682 | 0 | 349.8525 | 0 | 0 | 0 | 316 | 0 | 0 | 166 | 0 | 150 | 0 | 0 | 0
Nevada N |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Mexico |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NonCREZ |  | 1923.2996 | 831.1488 | 385.7028 | 108.405 | 0 | 583.0875 | 14.9555 | 0 | 0 | 442.65 | 118.6 | 51.8 | 15 | 0 | 250 | 7.25 | 0 | 0
Northwest |  | 266.0692 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266.0692 | 104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104
Owens Valley |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Palm Springs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pisgah |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - PG&E |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - SCE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - SDGE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - PG&E |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - SCE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - SDGE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Riverside East |  | 2957.0215 | 0 | 0 | 0 | 0 | 1282.7925 | 32.4898 | 1641.7392 | 0 | 1213.9 | 0 | 0 | 0 | 0 | 550 | 13.9 | 650 | 0
Round Mountain |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
San Bernardino - Baker |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
San Bernardino - Lucerne |  | 118.6018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 118.6018 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42
San Diego North Central |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
San Diego South |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Santa Barbara |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solano |  | 554.9302 | 21.024 | 0 | 0 | 0 | 61.758 | 0 | 0 | 472.1482 | 200.2 | 3 | 0 | 0 | 0 | 30 | 0 | 0 | 167.2
Tehachapi |  | 5622.0066 | 70.08 | 0 | 0 | 0 | 2268.9966 | 261.4075 | 0 | 3021.5225 | 2175.7 | 10 | 0 | 0 | 0 | 970.7 | 125 | 0 | 1070
Twentynine Palms |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utah-Southern Idaho |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victorville |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Westlands |  | 345.751 | 0 | 37.23 | 0 | 0 | 110.8906 | 197.6303 | 0 | 0 | 148.25 | 0 | 5 | 0 | 0 | 47.5 | 95.75 | 0 | 0
Wyoming |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Central Valley North |  | 58.3635 | 0 | 0 | 0 | 0 | 58.3635 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0
El Dorado |  | 951.3211 | 0 | 0 | 0 | 0 | 0 | 0 | 951.3211 | 0 | 407 | 0 | 0 | 0 | 0 | 0 | 0 | 407 | 0
Merced |  | 165.3056 | 32.2368 | 0 | 0 | 0 | 133.0688 | 0 | 0 | 0 | 61.6 | 4.6 | 0 | 0 | 0 | 57 | 0 | 0 | 0
Los Banos |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 27470.695 | 954.4896 | 422.9328 | 1768.1695 | 0 | 10596.0586 | 4250.6102 | 3778.0455 | 5700.3889 | 10766.4096 | 136.2 | 56.8 | 245.0485 | 0 | 4616.4426 | 2100.7456 | 1563.9676 | 2047.2053
Project Status | GWh/yr | MW
Discounted Core | 26253.1607 | 10318.1017
Commercial Non-Core | 0 | 0
Generic | 1217.5343 | 448.3079
Total | 27470.695 | 10766.4096

## Environment
CREZ |  | Total GWh Selected from Zone, 2020 | Biogas | Biomass | Geothermal | Hydro | Large Scale Solar PV | Small Solar PV | Solar Thermal | Wind | Total | Biogas | Biomass | Geothermal | Hydro | Large Scale Solar PV | Small Solar PV | Solar Thermal | Wind
All Modes of Delivery
Alberta |  | 1229.904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1229.904 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450
Arizona |  | 1282.7925 | 0 | 0 | 0 | 0 | 1282.7925 | 0 | 0 | 0 | 550 | 0 | 0 | 0 | 0 | 550 | 0 | 0 | 0
Baja |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Barstow |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
British Columbia |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carrizo North |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carrizo South |  | 1930.9581 | 0 | 0 | 0 | 0 | 1930.9581 | 0 | 0 | 0 | 900 | 0 | 0 | 0 | 0 | 900 | 0 | 0 | 0
Colorado |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cuyama |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Solar - PG&E |  | 2068.5984 | 0 | 0 | 0 | 0 | 0 | 2068.5984 | 0 | 0 | 1036.2246 | 0 | 0 | 0 | 0 | 0 | 1036.2246 | 0 | 0
Distributed Solar - SCE |  | 937.0563 | 0 | 0 | 0 | 0 | 0 | 937.0563 | 0 | 0 | 477.2488 | 0 | 0 | 0 | 0 | 0 | 477.2488 | 0 | 0
Distributed Solar - SDGE |  | 580.5814 | 0 | 0 | 0 | 0 | 0 | 580.5814 | 0 | 0 | 277.2804 | 0 | 0 | 0 | 0 | 0 | 277.2804 | 0 | 0
Distributed Solar - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fairmont |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Imperial |  | 2283.0602 | 0 | 0 | 216.81 | 0 | 1247.8073 | 70.122 | 0 | 748.321 | 860 | 0 | 0 | 30 | 0 | 535 | 30 | 0 | 265
Inyokern |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Iron Mountain |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kramer |  | 144.9187 | 0 | 0 | 0 | 0 | 0 | 0 | 144.9187 | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 62 | 0
Lassen North |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lassen South |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Montana |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mountain Pass |  | 1505.9906 | 0 | 0 | 0 | 0 | 699.705 | 0 | 806.2856 | 0 | 644.95 | 0 | 0 | 0 | 0 | 300 | 0 | 344.95 | 0
Nevada C |  | 1549.5345 | 0 | 0 | 1199.682 | 0 | 349.8525 | 0 | 0 | 0 | 316 | 0 | 0 | 166 | 0 | 150 | 0 | 0 | 0
Nevada N |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Mexico |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NonCREZ |  | 1923.2996 | 831.1488 | 385.7028 | 108.405 | 0 | 583.0875 | 14.9555 | 0 | 0 | 442.65 | 118.6 | 51.8 | 15 | 0 | 250 | 7.25 | 0 | 0
Northwest |  | 266.0692 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266.0692 | 104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104
Owens Valley |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Palm Springs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pisgah |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - PG&E |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - SCE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - SDGE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - PG&E |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - SCE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - SDGE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Riverside East |  | 3123.9446 | 0 | 0 | 0 | 0 | 1449.7156 | 32.4898 | 1641.7392 | 0 | 1285.4686 | 0 | 0 | 0 | 0 | 621.5686 | 13.9 | 650 | 0
Round Mountain |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
San Bernardino - Baker |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
San Bernardino - Lucerne |  | 118.6018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 118.6018 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42
San Diego North Central |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
San Diego South |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Santa Barbara |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solano |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tehachapi |  | 5652.967 | 70.08 | 0 | 0 | 0 | 2268.9966 | 292.3679 | 0 | 3021.5225 | 2190.7 | 10 | 0 | 0 | 0 | 970.7 | 140 | 0 | 1070
Twentynine Palms |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utah-Southern Idaho |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victorville |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Westlands |  | 1635.6697 | 0 | 37.23 | 0 | 0 | 1400.8094 | 197.6303 | 0 | 0 | 774.85 | 0 | 5 | 0 | 0 | 674.1 | 95.75 | 0 | 0
Wyoming |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Central Valley North |  | 120.1215 | 0 | 0 | 0 | 0 | 120.1215 | 0 | 0 | 0 | 55 | 0 | 0 | 0 | 0 | 55 | 0 | 0 | 0
El Dorado |  | 951.3211 | 0 | 0 | 0 | 0 | 0 | 0 | 951.3211 | 0 | 407 | 0 | 0 | 0 | 0 | 0 | 0 | 407 | 0
Merced |  | 165.3056 | 32.2368 | 0 | 0 | 0 | 133.0688 | 0 | 0 | 0 | 61.6 | 4.6 | 0 | 0 | 0 | 57 | 0 | 0 | 0
Los Banos |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 27470.695 | 933.4656 | 422.9328 | 1524.897 | 0 | 11466.9147 | 4193.8017 | 3544.2646 | 5384.4186 | 10936.9724 | 133.2 | 56.8 | 211 | 0 | 5063.3686 | 2077.6538 | 1463.95 | 1931
Project Status | GWh/yr | MW
Discounted Core | 25706.0417 | 10093.8038
Commercial Non-Core | 0 | 0
Generic | 1764.6533 | 843.1686
Total | 27470.695 | 10936.9724

## HighDG
CREZ |  | Total GWh Selected from Zone, 2020 | Biogas | Biomass | Geothermal | Hydro | Large Scale Solar PV | Small Solar PV | Solar Thermal | Wind | Total | Biogas | Biomass | Geothermal | Hydro | Large Scale Solar PV | Small Solar PV | Solar Thermal | Wind
All Modes of Delivery
Alberta |  | 1229.904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1229.904 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450
Arizona |  | 1282.7925 | 0 | 0 | 0 | 0 | 1282.7925 | 0 | 0 | 0 | 550 | 0 | 0 | 0 | 0 | 550 | 0 | 0 | 0
Baja |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Barstow |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
British Columbia |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carrizo North |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carrizo South |  | 617.58 | 0 | 0 | 0 | 0 | 617.58 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0
Colorado |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cuyama |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Solar - PG&E |  | 3401.9827 | 0 | 0 | 0 | 0 | 0 | 3401.9827 | 0 | 0 | 1650.912 | 0 | 0 | 0 | 0 | 0 | 1650.912 | 0 | 0
Distributed Solar - SCE |  | 3741.1274 | 0 | 0 | 0 | 0 | 0 | 3741.1274 | 0 | 0 | 1953.0178 | 0 | 0 | 0 | 0 | 0 | 1953.0178 | 0 | 0
Distributed Solar - SDGE |  | 297.1973 | 0 | 0 | 0 | 0 | 0 | 297.1973 | 0 | 0 | 145.5692 | 0 | 0 | 0 | 0 | 0 | 145.5692 | 0 | 0
Distributed Solar - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fairmont |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Imperial |  | 2243.2485 | 0 | 0 | 216.81 | 0 | 1436.7276 | 70.122 | 0 | 519.5889 | 860 | 0 | 0 | 30 | 0 | 616 | 30 | 0 | 184
Inyokern |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Iron Mountain |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kramer |  | 144.9187 | 0 | 0 | 0 | 0 | 0 | 0 | 144.9187 | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 62 | 0
Lassen North |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lassen South |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Montana |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mountain Pass |  | 1505.9906 | 0 | 0 | 0 | 0 | 699.705 | 0 | 806.2856 | 0 | 644.95 | 0 | 0 | 0 | 0 | 300 | 0 | 344.95 | 0
Nevada C |  | 1549.5345 | 0 | 0 | 1199.682 | 0 | 349.8525 | 0 | 0 | 0 | 316 | 0 | 0 | 166 | 0 | 150 | 0 | 0 | 0
Nevada N |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Mexico |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NonCREZ |  | 1923.2996 | 831.1488 | 385.7028 | 108.405 | 0 | 583.0875 | 14.9555 | 0 | 0 | 442.65 | 118.6 | 51.8 | 15 | 0 | 250 | 7.25 | 0 | 0
Northwest |  | 266.0692 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266.0692 | 104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104
Owens Valley |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Palm Springs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pisgah |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - PG&E |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - SCE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - SDGE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Brownfield) - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - PG&E |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - SCE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - SDGE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remote DG (Greenfield) - Other |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Riverside East |  | 2957.0215 | 0 | 0 | 0 | 0 | 1282.7925 | 32.4898 | 1641.7392 | 0 | 1213.9 | 0 | 0 | 0 | 0 | 550 | 13.9 | 650 | 0
Round Mountain |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
San Bernardino - Baker |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
San Bernardino - Lucerne |  | 118.6018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 118.6018 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42
San Diego North Central |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
San Diego South |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Santa Barbara |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solano |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tehachapi |  | 5622.0066 | 70.08 | 0 | 0 | 0 | 2268.9966 | 261.4075 | 0 | 3021.5225 | 2175.7 | 10 | 0 | 0 | 0 | 970.7 | 125 | 0 | 1070
Twentynine Palms |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utah-Southern Idaho |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victorville |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Westlands |  | 345.751 | 0 | 37.23 | 0 | 0 | 110.8906 | 197.6303 | 0 | 0 | 148.25 | 0 | 5 | 0 | 0 | 47.5 | 95.75 | 0 | 0
Wyoming |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Central Valley North |  | 58.3635 | 0 | 0 | 0 | 0 | 58.3635 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0
El Dorado |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Merced |  | 165.3056 | 32.2368 | 0 | 0 | 0 | 133.0688 | 0 | 0 | 0 | 61.6 | 4.6 | 0 | 0 | 0 | 57 | 0 | 0 | 0
Los Banos |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 27470.695 | 933.4656 | 422.9328 | 1524.897 | 0 | 8823.8571 | 8016.9125 | 2592.9435 | 5155.6865 | 11145.5489 | 133.2 | 56.8 | 211 | 0 | 3816.2 | 4021.3989 | 1056.95 | 1850
Merced - 1
Project Status | GWh/yr | MW
Discounted Core | 27470.695 | 11145.5489
Commercial Non-Core | 0 | 0
Generic | 0 | 0
Total | 27470.695 | 11145.5489