## MW_Summary_Tech&Transmission
Technology Breakout (MW)
Total Out-of-State Renewable Generation | 10639.1807 | 10639.1807 | 10639.1807 | 10639.1807
Scenario / Ranking Score Weighting | Commercial Interest | Commercial Interest | Commercial Interest | Commercial Interest
Scenario Name | Base 33% (Mid-Mid EE) 2024 | Base 33% (Mid-Low EE) 2024 | 33% Comm'l High Load 2024 | High DG + ("Mid-Mid EE") 2030 (40%)
Statewide Retail Sales - Dec 2013 IEPR | 300516 | 300516 | 317781 | 306344.666
Net Short (GWh) | 29813.4616 | 32549.4916 | 35510.9116 | 50388.1286
| Portfolio Totals (MW) | Portfolio Totals (MW) | Portfolio Totals (MW) | Portfolio Totals (MW)
Discounted Core | 9103.4825 | 9173.1791 | 9208.0793 | 14614.4233
Commercial Non-Core | 0 | 0 | 0 | 0
Generic | 2430.1369 | 3538.4113 | 4653.8131 | 6469.017
Total | 11533.6194 | 12711.5904 | 13861.8924 | 21083.4403
Biogas | 20.1 | 20.1 | 23.1 | 23.1
Biomass | 103 | 103 | 103 | 103
Geothermal | 493 | 493 | 493 | 493
Hydro | 0 | 0 | 0 | 0
Large Scale Solar PV | 6280.7763 | 7379.2343 | 7887.2 | 9401.7712
Small Solar PV | 2065.7799 | 2075.5963 | 2113.5893 | 7635.9333
Solar Thermal | 1247.9631 | 1317.6598 | 1349.56 | 1349.56
Wind | 1323 | 1323 | 1892.4431 | 2077.0758
Total | 11533.6194 | 12711.5904 | 13861.8924 | 21083.4403
New Transmission Segments | Kramer - 1 | Kramer - 1 | Kramer - 1 | Kramer - 1
| Riverside East - 1 | Riverside East - 1 | Riverside East - 1 | Riverside East - 1

## MW_Summary_CREZ
CREZ Breakout (MW)
Total Out-of-State Renewable Generation | 10639.1807 | 10639.1807 | 10639.1807 | 10639.1807
Scenario / Ranking Score Weighting | Commercial Interest | Commercial Interest | Commercial Interest | Commercial Interest
Scenario Name | Base 33% (Mid-Mid EE) 2024 | Base 33% (Mid-Low EE) 2024 | 33% Comm'l High Load 2024 | High DG + ("Mid-Mid EE") 2030 (40%)
Load
Inc EE
Net Short (GWh) | 29813.4616 | 32549.4916 | 35510.9116 | 50388.1286
Scenario Name | Base 33% (Mid-Mid EE) 2024 | Base 33% (Mid-Low EE) 2024 | 33% Comm'l High Load 2024 | High DG + ("Mid-Mid EE") 2030 (40%)
| Portfolio Totals (MW) | Portfolio Totals (MW) | Portfolio Totals (MW) | Portfolio Totals (MW)
Discounted Core | 9103.4825 | 9173.1791 | 9208.0793 | 14614.4233
Commercial Non-Core | 0 | 0 | 0 | 0
Generic | 2430.1369 | 3538.4113 | 4653.8131 | 6469.017
Total | 11533.6194 | 12711.5904 | 13861.8924 | 21083.4403
CREZ | MW | MW | MW | MW
Alberta | 300 | 300 | 300 | 300
Arizona | 400 | 400 | 400 | 400
Baja | 100 | 100 | 100 | 100
Barstow | 0 | 0 | 0 | 0
British Columbia | 0 | 0 | 0 | 0
Carrizo North | 0 | 0 | 0 | 0
Carrizo South | 900 | 900 | 900 | 900
Colorado | 0 | 0 | 0 | 0
Cuyama | 0 | 0 | 0 | 0
Distributed Solar - PG&E | 983.5763 | 983.5763 | 983.5763 | 3630.1624
Distributed Solar - SCE | 564.5229 | 564.5229 | 564.5229 | 3104.5939
Distributed Solar - SDGE | 142.5701 | 142.5701 | 142.5701 | 362.257
Distributed Solar - Other | 0 | 0 | 0 | 0
Fairmont | 0 | 0 | 0 | 0
Imperial | 1840 | 1840 | 1840 | 1840
Inyokern | 0 | 0 | 0 | 0
Iron Mountain | 0 | 0 | 0 | 0
Kramer | 642 | 642 | 642 | 642
Lassen North | 0 | 0 | 0 | 0
Lassen South | 0 | 0 | 0 | 0
Montana | 0 | 0 | 0 | 0
Mountain Pass | 657.56 | 657.56 | 657.56 | 657.56
Nevada C | 516 | 516 | 516 | 516
Nevada N | 0 | 0 | 0 | 0
New Mexico | 0 | 0 | 0 | 0
NonCREZ | 184.77 | 184.77 | 191.27 | 457.27
Northwest | 0 | 0 | 0 | 0
Owens Valley | 0 | 0 | 0 | 0
Palm Springs | 0 | 0 | 0 | 0
Pisgah | 0 | 0 | 0 | 0
Remote DG (Brownfield) - PG&E | 0 | 0 | 0 | 0
Remote DG (Brownfield) - SCE | 0 | 0 | 0 | 0
Remote DG (Brownfield) - SDGE | 0 | 0 | 0 | 0
Remote DG (Brownfield) - Other | 0 | 0 | 0 | 0
Remote DG (Greenfield) - PG&E | 0 | 0 | 0 | 0
Remote DG (Greenfield) - SCE | 0 | 0 | 0 | 0
Remote DG (Greenfield) - SDGE | 0 | 0 | 0 | 0
Remote DG (Greenfield) - Other | 0 | 0 | 0 | 0
Riverside East | 2082.8701 | 3260.841 | 3800 | 3800
Round Mountain | 0 | 0 | 0 | 0
San Bernardino - Baker | 0 | 0 | 0 | 0
San Bernardino - Lucerne | 87 | 87 | 87 | 147
San Diego North Central | 0 | 0 | 0 | 0
San Diego South | 0 | 0 | 374.4431 | 384
Santa Barbara | 0 | 0 | 0 | 0
Solano | 0 | 0 | 200.2 | 200.2
Tehachapi | 1653 | 1653 | 1653 | 2762.947
Twentynine Palms | 0 | 0 | 0 | 0
Utah-Southern Idaho | 0 | 0 | 0 | 0
Victorville | 0 | 0 | 0 | 0
Westlands | 475.15 | 475.15 | 505.15 | 774.85
Wyoming | 0 | 0 | 0 | 0
Central Valley North | 0 | 0 | 0 | 100
El Dorado | 0 | 0 | 0 | 0
Merced | 4.6 | 4.6 | 4.6 | 4.6
Los Banos | 0 | 0 | 0 | 0
Total | 11533.6194 | 12711.5904 | 13861.8924 | 21083.4403

## RNS Calc
Renawable Net Short Calculation (GWh)
| All Values in GWh for the Year 2022 | Formula | Base 33% (Mid-Mid EE) 2024 | Base 33% (Mid-Low EE) 2024 | 33% Comm'l High Load 2024 | High DG + ("Mid-Mid EE") 2030 (40%)
1 | Statewide Retail Sales - Octomber 2013 IEPR (prelliminary) |  | 300516 | 300516 | 317781 | 306344.666
2 | Non RPS Deliveries (CDWR, WAPA, MWD) |  | 9272 | 9272 | 9272 | *
3 | Retail Sales for RPS | 1-2=3 | 291244 | 291244 | 308509 | *
4 | Additional Energy Efficiency |  | 26646 | 18355 | 26646 | *
5 | Additional Rooftop PV |  | 0 | 0 | 0 | *
6 | Additional Combined Heat and Power |  | 0 | 0 | 0 | *
7 | Adjusted Statewide Retail Sales for RPS | 3-4-5-6=7 | 264598 | 272889 | 281863 | 269730.0175
8 | Total Renewable Energy Needed For RPS | 7*33% (or 7*40%)=8 | 87317.34 | 90053.37 | 93014.79 | 107892.007
Existing and Expected Renewable Generation
9 | Total In-State Renewable Generation |  | 42908.5576 | 42908.5576 | 42908.5576 | 42908.5576
10 | Total Out-of-State Renewable Generation |  | 10639.1807 | 10639.1807 | 10639.1807 | 10639.1807
11 | Procured DG (not handled in Calculator) |  | 2203.64 | 2203.64 | 2203.64 | 2203.64
12 | SB 1122 (250 MW of Biogas) |  | 1752.5 | 1752.5 | 1752.5 | 1752.5
13 | Total Existing Renewable Generation for CA RPS | 9+10+11+12=13 | 57503.8784 | 57503.8784 | 57503.8784 | 57503.8784
14 | Total RE Net Short to meet 33% RPS In 2022 (GWh) | 8-13=14 | 29813.4616 | 32549.4916 | 35510.9116 | 50388.1286
| Annual Growth Rate of Managed Load (2014-2024) |  |  |  |  | 0.0032068
* left blank because the RNS calculation for this scenario is derived by extrapolating the 2024 "Adjusted Statewide Retail Sales for RPS" that is
embedded in the Scenario Tool; the extrapolation factor used for this calculation is the "annual growth rate of managed load (2014-2024)"
Note on H5: *cell range H5:H9 is left blank because the RNS calculation for this scenario is derived by extrapolating the 2024 "Adjusted Statewide Retail Sales for RPS" that is embedded in the Scenario Tool; the extrapolation factor used for this calculation is the "annual growth rate of managed load" figure in cell G18.
Note on H15: Includes procured DG that has come online and that will come on line
Note on H19: Average annual growth rate of years 2012-2024; derived from the Scenario Tool.