## Table C.1
Table C.1: Renewable Net Short Calculation as of Apr 2016 - 50%
Net Short Calculation Using PG&E Bundled Retail Sales Forecast In Near Term (2016 - 2020) and LTPP Methodology (2021 - 2036)
Variable | Calculation | Item | Deficit from RPS prior to Reporting Year | 2011 Actuals | 2012 Actuals | 2013 Actuals | 2011-2013 | 2014 Actuals | 2015 Actuals | 2016 Forecast | 2014-2016 | 2017 Forecast | 2018 Forecast | 2019 Forecast | 2020 Forecast | 2017-2020 | 2021 Forecast | 2022 Forecast | 2023 Forecast | 2024 Forecast | 2021 - 2024 | 2025 Forecast | 2026 Forecast | 2027 Forecast | 2025 - 2027 | 2028 Forecast | 2029 Forecast | 2030 Forecast | 2028 - 2030 | 2031 Forecast | 2032 Forecast | 2033 Forecast | 2028 - 2030 | 2034 Forecast | 2035 Forecast | 2036 Forecast | 2028 - 2030
|  | Forecast Year |  | - | - | - | CP1 | - | - | - | CP2 | - | - | - | - | CP3 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Annual RPS Requirement
A |  | Bundled Retail Sales Forecast (LTPP)1 |  | 74863.941 | 76205.12 | 75705.039 | 226774.1 | 74546.865 | 72112.848 | 68906.2989 | 215566.0119 | 67126.3171 | 62962.3507 | 57899.4444 | 54211.7261 | 242199.8383 | 79938.3898 | 80411.2223 | 80665.5632 | 80841.1145 | 321856.2898 | 81056.9217 | 81273.305 | 81490.266 | 243820.4927 | 81707.8061 | 81925.9269 | 82144.6301 | 245778.3631 | 82363.917 | 82583.7894 | 82804.2487 | 247751.9551 | 83025.2965 | 83246.9344 | 83469.164 | 249741.395
B |  | RPS Procurement Quantity Requirement (%) |  | 20% | 20% | 20% | 20% | 21.7% | 23.3% | 25% | 23.3% | 27% | 29% | 31% | 33% | 30% | 34.75% | 36.5% | 38.25% | 40% | 37.38% | 41.7% | 43.3% | 45% | 43.33% | 46.7% | 48.3% | 50% | 48.33% | 50% | 50% | 50% | 50% | 50% | 50% | 150% | 83.33%
C | A*B | Gross RPS Procurement Quantity Requirement (GWh) |  | 14972.7882 | 15241.024 | 15141.0078 | 45354.82 | 16176.6697 | 16802.2936 | 17226.5747 | 50205.538 | 18124.1056 | 18259.0817 | 17948.8278 | 17889.8696 | 72221.8847 | 27778.5905 | 29350.0961 | 30854.5779 | 32336.4458 | 120319.7103 | 33800.7364 | 35191.3411 | 36670.6197 | 105662.6971 | 38157.5454 | 39570.2227 | 41072.315 | 118800.0832 | 41181.9585 | 41291.8947 | 41402.1243 | 123875.9776 | 41512.6483 | 41623.4672 | 125203.746 | 208339.8615
D |  | Voluntary Margin of Over-procurement2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E | C+D | Net RPS Procurement Need (GWh) |  | 14972.7882 | 15241.024 | 15141.0078 | 45354.82 | 16176.6697 | 16802.2936 | 17226.5747 | 50205.538 | 18124.1056 | 18259.0817 | 17948.8278 | 17889.8696 | 72221.8847 | 27778.5905 | 29350.0961 | 30854.5779 | 32336.4458 | 120319.7103 | 33800.7364 | 35191.3411 | 36670.6197 | 105662.6971 | 38157.5454 | 39570.2227 | 41072.315 | 118800.0832 | 41181.9585 | 41291.8947 | 41402.1243 | 123875.9776 | 41512.6483 | 41623.4672 | 125203.746 | 208339.8615
RPS-Eligible Procurement
Fa |  | Risk-Adjusted RECs from Online Generation10 |  | 14698.7928 | 14513.1085 | 17211.737 | 46423.6382 | 20206.55 | 21284.6061 | 22951.9176 | 64443.0737 | 22619.2444 | 20528.5789 | 19835.4003 | 18978.4043 | 81961.6278 | 18761.8905 | 16351.1889 | 16013.9005 | 15745.745 | 66872.7248 | 15638.4431 | 15089.0422 | 14830.8863 | 45558.3716 | 14775.6832 | 14210.2158 | 14145.7632 | 43131.6621 | 13373.9235 | 12843.912 | 11620.3095 | 37838.145 | 10630.9978 | 9576.3914 | 8946.0927 | 29153.4818
Faa |  | Forecast Failure Rate for Online Generation (%) |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Fb |  | Risk-Adjusted RECs from RPS Facilities in Development11 |  | 0 | 0 | 0 | 0 | 0 | 0 | 122.0214 | 122.0214 | 981.4431 | 1197.0514 | 2086.8589 | 2155.6224 | 6420.9758 | 2156.3498 | 2034.0251 | 2023.4083 | 2016.6809 | 8230.464 | 2002.3516 | 1991.911 | 1981.5285 | 5975.7911 | 1974.9549 | 1960.9361 | 1950.7255 | 5886.6166 | 1940.5718 | 1901.2398 | 1867.2845 | 5709.0961 | 1208.5032 | 1201.0279 | 1133.3644 | 3542.8954
Fbb |  | Forecast Failure Rate for RPS Facilities in Development (%) |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Fc |  | Pre-Approved Generic RECs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.4056 | 433.1221 | 845.7825 | 1001.7726 | 2325.0827 | 1006.1943 | 1004.3719 | 1002.5997 | 1003.2896 | 4016.4555 | 999.0818 | 997.336 | 995.599 | 2992.0168 | 996.3105 | 992.1509 | 990.4398 | 2978.9011 | 988.7372 | 989.4699 | 985.3576 | 2963.5647 | 983.6804 | 982.0116 | 982.7652 | 2948.4573
Fd |  | Executed REC Sales |  | 0 | 0 | -142.44 | -142.44 | -50 | 0 | -60 | -110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F | Fa + Fb +Fc - Fd | Total RPS Eligible Procurement (GWh)9 |  | 14698.7928 | 14513.1085 | 17069.297 | 46281.1982 | 20156.55 | 21284.6061 | 23013.939 | 64455.0951 | 23645.0931 | 22158.7524 | 22768.0416 | 22135.7993 | 90707.6863 | 21924.4345 | 19389.5859 | 19039.9084 | 18765.7155 | 79119.6444 | 18639.8765 | 18078.2893 | 17808.0137 | 54526.1795 | 17746.9486 | 17163.3027 | 17086.9284 | 51997.1798 | 16303.2325 | 15734.6218 | 14472.9516 | 46510.8059 | 12823.1814 | 11759.4309 | 11062.2222 | 35644.8345
F0 |  | Category 0 RECs |  | 14637.1285 | 13034.8236 | 14148.5642 | 41820.5163 | 16886.0013 | 17393.8654 | 18186.6899 | 52466.5566 | 17991.7256 | 15965.3041 | 15240.0416 | 14385.7579 | 63582.8292 | 13968.0313 | 11581.6736 | 11286.5032 | 11062.3806 | 47898.5887 | 10984.7415 | 10445.8429 | 10201.8173 | 31632.4017 | 10151.2139 | 9620.1951 | 9574.6363 | 29346.0454 | 8890.8856 | 8791.7687 | 8167.5315 | 25850.1858 | 7536.8666 | 7088.1395 | 7082.1966 | 21707.2027
F1 |  | Category 1 RECs |  | 61.6642 | 1478.2849 | 2920.7327 | 4460.6819 | 3270.5487 | 3890.7407 | 4827.249 | 11988.5384 | 5653.3675 | 6193.4483 | 7528.0001 | 7750.0413 | 27124.8571 | 7956.4032 | 7807.9123 | 7753.4052 | 7703.3349 | 31221.0556 | 7655.135 | 7632.4464 | 7606.1964 | 22893.7777 | 7595.7347 | 7543.1076 | 7512.2921 | 22651.1344 | 7412.3469 | 6942.8531 | 6305.4201 | 20660.6201 | 5286.3147 | 4671.2914 | 3980.0256 | 13937.6318
F2 |  | Category 2 RECs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F3 |  | Category 3 RECs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gross RPS Position (Physical Net Short)
Ga | F-E | Annual Gross RPS Position (GWh) |  | -273.9954 | -727.9155 | 1928.2892 | 926.3782 | 3979.8803 | 4482.3125 | 5787.3643 | 14249.557 | 5520.9874 | 3899.6707 | 4819.2139 | 4245.9297 | 18485.8016 | -5854.1559 | -9960.5102 | -11814.6695 | -13570.7303 | -41200.066 | -15160.8598 | -17113.0518 | -18862.606 | -51136.5177 | -20410.5969 | -22406.92 | -23985.3866 | -66802.9034 | -24878.726 | -25557.2729 | -26929.1728 | -77365.1717 | -28689.4669 | -29864.0363 | -114141.5238 | -172695.027
Gb | F/A | Annual Gross RPS Position (%) |  | 19.63% | 19.04% | 22.55% | 20.41% | 27.04% | 29.52% | 33.4% | 29.9% | 35.22% | 35.19% | 39.32% | 40.83% | 37.45% | 27.43% | 24.11% | 23.6% | 23.21% | 24.58% | 23% | 22.24% | 21.85% | 22.36% | 21.72% | 20.95% | 20.8% | 21.16% | 19.79% | 19.05% | 17.48% | 18.77% | 15.44% | 14.13% | 13.25% | 14.27%
Application of Bank
Ha | H - Hc (from previous year) | Existing Banked RECs above the PQR3,4 |  | 0 | -273.9954 | -1032.9045 | 0 | 861.0358 | 4814.8712 | 9272.0613 | 861.0358 | 15032.1964 | 20459.4513 | 24359.1219 | 29178.3358 | 15032.1964 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655
Hb |  | RECs above the PQR added to Bank |  | -273.9954 | -727.9155 | 1928.2892 | 926.3782 | 3979.8803 | 4482.3125 | 5787.3643 | 14249.557 | 5520.9874 | 3899.6707 | 4819.2139 | 4245.9297 | 18485.8016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hc |  | Non-bankable RECs above the PQR |  | 0 | 30.9936 | 34.3489 | 65.3425 | 26.0449 | 25.1224 | 27.2292 | 78.3965 | 93.7326 | 0 | 0 | 0 | 93.7326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H | Ha+Hb | Gross Balance of RECs above the PQR |  | -273.9954 | -1001.9109 | 895.3847 | 926.3782 | 4840.9161 | 9297.1837 | 15059.4255 | 15110.5928 | 20553.1838 | 24359.1219 | 29178.3358 | 33424.2655 | 33517.998 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655
Ia |  | Planned Application of RECs above the PQR towards RPS Compliance5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ib |  | Planned Sales of RECs above the PQR6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
J | H-Ia-Ib | Net Balance of RECs above the PQR3 |  | -273.9954 | -1001.9109 | 895.3847 | 926.3782 | 4840.9161 | 9297.1837 | 15059.4255 | 15110.5928 | 20553.1838 | 24359.1219 | 29178.3358 | 33424.2655 | 33517.998 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655 | 33424.2655
J0 |  | Category 0 RECs |  | 0 | 0 | 0 | 0 | 674.9828 | 1240.5096 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025 | 2175.5025
J1 |  | Category 1 RECs |  | 0 | 0 | 895.3847 | 895.3847 | 4165.9333 | 8056.674 | 12883.9231 | 12883.9231 | 18377.6813 | 22183.6195 | 27002.8333 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763 | 31248.763
J2 |  | Category 2 RECs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expiring Contracts
K |  | RECs from Expiring RPS Contracts12 |  | N/A | N/A | N/A | N/A | N/A | N/A | 17.3563 | 17.3563 | 395.8784 | 2551.7003 | 3244.6276 | 4109.1598 | 10301.3661 | 4486.1759 | 6959.8245 | 7254.1561 | 7530.0051 | 26230.1616 | 7555.5327 | 8084.3296 | 8287.4019 | 23927.2642 | 8334.5416 | 8813.2514 | 8839.6574 | 25987.4503 | 9174.0599 | 9737.4677 | 10900.7679 | 29812.2955 | 12480.4265 | 13317.0661 | 14081.4282 | 39878.9209
Net RPS Position (Optimized Net Short)
La | Ga + Ia – Ib – Hc | Annual Net RPS Position after Bank Optimization (GWh)7 |  | -273.9954 | -758.9091 | 1893.9403 | 861.0358 | 3953.8354 | 4457.1901 | 5760.1351 | 14171.1606 | 5427.2549 | 3899.6707 | 4819.2139 | 4245.9297 | 18392.0691 | -5854.1559 | -9960.5102 | -11814.6695 | -13570.7303 | -41200.066 | -15160.8598 | -17113.0518 | -18862.606 | -51136.5177 | -20410.5969 | -22406.92 | -23985.3866 | -66802.9034 | -24878.726 | -25557.2729 | -26929.1728 | -77365.1717 | -28689.4669 | -29864.0363 | -114141.5238 | -172695.027
Lb | (F + Ia – Ib – Hc)/A | Annual Net RPS Position after Bank Optimization (%)7,8 |  | 19.63% | 19% | 22.5% | 20.38% | 27% | 29.48% | 33.36% | 29.86% | 35.09% | 35.19% | 39.32% | 40.83% | 37.41% | 27.43% | 24.11% | 23.6% | 23.21% | 24.58% | 23% | 22.24% | 21.85% | 22.36% | 21.72% | 20.95% | 20.8% | 21.16% | 19.79% | 19.05% | 17.48% | 18.77% | 15.44% | 14.13% | 13.25% | 14.27%
General Table Notes: Values are shown in GWhs. Fields in grey are protected as Confidential under CPUC Confidentiality Rules.
(1) (Row A) LTPP sales forecast is not representative of PG&E's actual retail sales. Forecasts of retail sales for the first five years of the forecast were generated by PG&E's Load Forecasting and Research team at the beginning of each year, and may be updated throughout the year as additional data becomes available.
(2) (Row D) As a portion of the Bank will be used as VMOP, Row D will remain zero. See 2016 RPS Plan for a description of PG&E's VMOP.
(3) (Rows Ha and J) As PG&E's Alternative RNS incorporates additional risk-adjustments to the results from the Physical Net Short, the Bank sizes indicated in Rows Ha and J appear larger than they are in Rows Ha and J of the Alternative RNS, which shows the stochastically-adjusted Bank size.
(4) (Rows Ha) At the beginning of each compliance period Row Ha subtracts previous compliance non-bankable volumes from the previous compliance period net balance of RECs. For example, the 2021 forecast for Row Ha is equivalent to the Row J in CP3 minus Row Hc in CP3.
(5) (Row Ia) The results in Ia are only applicable within the context of the stochastic model. Please see the Alternative RNS for the application of the bank.
(6) (Row Ib) The purpose of the planned sales is to minimize the non-bankable volumes, but the actual sales could be a combination of bankable and non-bankable volumes.
(7) (Rows La and Lb) Rows La and Lb incorrectly subtract the non-bankable volumes. Although these volumes can not be carried forward, per Decision 12-06-038, these volumes could be used towards meeting compliance in the current period. Therefore, the non-bankable volumes should be included in the Annual Net RPS Position after Bank Optimization.
(8) (Row Lb) Row Lb incorrectly calculates the Annual Net RPS Position after Bank Optimization. PG&E has changed the formula in the Alternative RNS to (Ga+Ia-Ib+E)/A in order to express these values in a comparable way to the Physical Net Short (%) in Row Gb.
(9) (Row F) Row F has subtracted 134 GWh of RECs associated with 2011 generation from the Hay Canyon Wind Facility and the Nine Canyon Wind Phase 3. These RECs are not being used for RPS compliance because they were not retired within the RPS statute’s 36-month REC retirement deadline.
(10) (Row Fa) "Online Generation" includes forecasted volumes from replacement contracts (i.e. ReMAT contracts replacing QF contracts) for facilities that are already online.
(11) (Row Fb) "In Development" includes forecasted volumes from phase-in projects. This is consistent with labeling in the RPS Database (which labels phase-in projects as "In Development" under "Overall Project Status").
(12) (Row K) Row K now includes only expiring volumes from contracts as of April 2016.
(13) (Row B) Assumes a linear trajectory for SB350 implementation, and post-2030 assumes three-year compliance periods.
*Stochastic Results in Rows Ga-Lb reflect a April 2016 stochastic modeling vintage.
†Order Instituting Rulemaking to Integrate and Refine Procurement Policies and Consider Long-Term Procurement Plans, Rulemaking (“R.”) 13-12-010, filed December 19, 2013.

## Table E2
Table E2: Alternate Renewable Net Short Calculation as of Apr 2016
Stochastically-Optimized Net Short Calculation Using PG&E Bundled Retail Sales Forecast and Corrections to Formulas
Variable | Calculation in Energy Division RNS Calculation Template | Revised Calculation Correcting Apparent Errors in Energy Division Template | Item | 2011 Actuals | 2012 Actuals | 2013 Actuals | 2011-2013 | 2014 Actuals | 2015 Actuals | 2016 Forecast | 2014-2016 | 2017 Forecast | 2018 Forecast | 2019 Forecast | 2020 Forecast | 2017-2020 | 2021 Forecast | 2022 Forecast | 2023 Forecast | 2024 Forecast | 2021 - 2024 | 2025 Forecast | 2026 Forecast | 2027 Forecast | 2025 - 2027 | 2028 Forecast | 2029 Forecast | 2030 Forecast | 2028 - 2030 | 2031 Forecast | 2032 Forecast | 2033 Forecast | 2031 - 2033 | 2034 Forecast | 2035 Forecast | 2036 Forecast | 2034 - 2036
|  |  | Forecast Year | - | - | - | CP1 | - | - | - | CP2 | - | - | - | - | CP3 | - | - | - | - | CP4 | - | - | - | CP5 | - | - | - | CP6 | - | - | - | CP7 | - | - | - | CP8
Annual RPS Requirement
A |  |  | Bundled Retail Sales Forecast (Alternate)1 | 74863.941 | 76205.12 | 75705.039 | 226774.1 | 74546.865 | 72112.848 | 68906.2989 | 215566.0119 | 67126.3171 | 60284.9824 | 54828.8466 | 51155.9931 | 233396.1393 | 48226.9788 | 45611.2179 | 44285.7509 | 43549.9391 | 181673.8867 | 43094.4477 | 42750.9399 | 42499.1217 | 128344.5093 | 42456.5427 | 42569.0977 | 42853.1163 | 127878.7566 | 43272.2384 | 43884.8944 | 44775.5333 | 131932.6661 | 45925.7915 | 46392.6449 | 46864.1669 | 139182.6034
B |  |  | RPS Procurement Quantity Requirement (%)2 | 20% | 20% | 20% | 20% | 21.7% | 23.3% | 25% | 23.3% | 27% | 29% | 31% | 33% | 30% | 34.75% | 36.5% | 38.25% | 40% | 37.38% | 41.7% | 43.3% | 45% | 43.33% | 46.7% | 48.3% | 50% | 48.33% | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50%
C | A*B |  | Gross RPS Procurement Quantity Requirement (GWh) | 14972.7882 | 15241.024 | 15141.0078 | 45354.82 | 16176.6697 | 16802.2936 | 17226.5747 | 50205.538 | 18124.1056 | 17482.6449 | 16996.9425 | 16881.4777 | 69485.1707 | 16758.8751 | 16648.0945 | 16939.2997 | 17419.9756 | 67766.245 | 17970.3847 | 18511.157 | 19124.6048 | 55606.1464 | 19827.2054 | 20560.8742 | 21426.5582 | 61814.6377 | 21636.1192 | 21942.4472 | 22387.7666 | 65966.333 | 22962.8958 | 23196.3225 | 23432.0835 | 69591.3017
D |  |  | Voluntary Margin of Over-procurement3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E | C+D |  | Net RPS Procurement Need (GWh) | 14972.7882 | 15241.024 | 15141.0078 | 45354.82 | 16176.6697 | 16802.2936 | 17226.5747 | 50205.538 | 18124.1056 | 17482.6449 | 16996.9425 | 16881.4777 | 69485.1707 | 16758.8751 | 16648.0945 | 16939.2997 | 17419.9756 | 67766.245 | 17970.3847 | 18511.157 | 19124.6048 | 55606.1464 | 19827.2054 | 20560.8742 | 21426.5582 | 61814.6377 | 21636.1192 | 21942.4472 | 22387.7666 | 65966.333 | 22962.8958 | 23196.3225 | 23432.0835 | 69591.3017
RPS-Eligible Procurement
Fa |  |  | Risk-Adjusted RECs from Online Generation4 | 14698.7928 | 14513.1085 | 17211.737 | 46423.6382 | 20206.55 | 21284.6061 | 22951.9176 | 64443.0737 | 22619.2444 | 20528.5789 | 19835.4003 | 18978.4043 | 81961.6278 | 18761.8905 | 16351.1889 | 16013.9005 | 15745.745 | 66872.7248 | 15638.4431 | 15089.0422 | 14830.8863 | 45558.3716 | 14775.6832 | 14210.2158 | 14145.7632 | 43131.6621 | 13373.9235 | 12843.912 | 11620.3095 | 37838.145 | 10630.9978 | 9576.3914 | 8946.0927 | 29153.4818
Faa |  |  | Forecast Failure Rate for Online Generation (%) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Fb |  |  | Risk-Adjusted RECs from RPS Facilities in Development5 | 0 | 0 | 0 | 0 | 0 | 0 | 84.4854 | 84.4854 | 832.5231 | 1048.1314 | 1937.9389 | 2006.2944 | 5824.8878 | 2044.9658 | 2034.0251 | 2023.4083 | 2016.6809 | 8119.08 | 2002.3516 | 1991.911 | 1981.5285 | 5975.7911 | 1974.9549 | 1960.9361 | 1950.7255 | 5886.6166 | 1940.5718 | 1901.2398 | 1867.2845 | 5709.0961 | 1208.5032 | 1201.0279 | 1133.3644 | 3542.8954
Fbb |  |  | Forecast Failure Rate for RPS Facilities in Development (%) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Fc |  |  | Pre-Approved Generic RECs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.4056 | 433.1221 | 845.7825 | 1001.7726 | 2325.0827 | 1006.1943 | 1004.3719 | 1002.5997 | 1003.2896 | 4016.4555 | 999.0818 | 997.336 | 995.599 | 2992.0168 | 996.3105 | 992.1509 | 990.4398 | 2978.9011 | 988.7372 | 989.4699 | 985.3576 | 2963.5647 | 983.6804 | 982.0116 | 982.7652 | 2948.4573
Fd |  |  | Executed REC Sales | 0 | 0 | -142.44 | -142.44 | -50 | 0 | -60 | -110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F | Fa + Fb +Fc - Fd |  | Total RPS Eligible Procurement (GWh)6 | 14698.7928 | 14513.1085 | 17069.297 | 46281.1982 | 20156.55 | 21284.6061 | 22976.403 | 64417.5591 | 23496.1731 | 22009.8324 | 22619.1216 | 21986.4713 | 90111.5983 | 21813.0505 | 19389.5859 | 19039.9084 | 18765.7155 | 79008.2604 | 18639.8765 | 18078.2893 | 17808.0137 | 54526.1795 | 17746.9486 | 17163.3027 | 17086.9284 | 51997.1798 | 16303.2325 | 15734.6218 | 14472.9516 | 46510.8059 | 12823.1814 | 11759.4309 | 11062.2222 | 35644.8345
F0 |  |  | Category 0 RECs | 14650.5736 | 13049.3924 | 14163.1851 | 41863.1511 | 16899.3832 | 17409.4028 | 18200.3882 | 52509.1742 | 18006.3096 | 15979.888 | 15254.6256 | 14400.3643 | 63641.1874 | 13982.6153 | 11596.2576 | 11301.0872 | 11076.9869 | 47956.947 | 10999.3255 | 10460.4269 | 10216.4013 | 31676.1536 | 10165.8202 | 9634.7791 | 9589.2203 | 29389.8196 | 8890.8856 | 8791.7687 | 8167.5315 | 25850.1858 | 7536.8666 | 7088.1395 | 7082.1966 | 21707.2027
F1 |  |  | Category 1 RECs | 48.2192 | 1463.7161 | 2906.1118 | 4418.0471 | 3257.1668 | 3875.2033 | 4776.0148 | 11908.3848 | 5489.8635 | 6029.9443 | 7364.4961 | 7586.107 | 26470.4109 | 7830.4352 | 7793.3283 | 7738.8212 | 7688.7286 | 31051.3134 | 7640.5511 | 7617.8624 | 7591.6124 | 22850.0258 | 7581.1284 | 7528.5237 | 7497.7081 | 22607.3601 | 7412.3469 | 6942.8531 | 6305.4201 | 20660.6201 | 5286.3147 | 4671.2914 | 3980.0256 | 13937.6318
F2 |  |  | Category 2 RECs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F3 |  |  | Category 3 RECs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Step 1 Result: Physical Net Short7
Ga | F-E |  | Annual Gross RPS Position (GWh) | -273.9954 | -727.9155 | 1928.2892 | 926.3782 | 3979.8803 | 4482.3125 | 5749.8283 | 14212.021 | 5372.0674 | 4527.1875 | 5622.1792 | 5104.9935 | 20626.4276 | 5054.1754 | 2741.4914 | 2100.6087 | 1345.7399 | 11242.0154 | 669.4918 | -432.8677 | -1316.5911 | -1079.967 | -2080.2568 | -3397.5714 | -4339.6297 | -9817.458 | -5332.8867 | -6207.8254 | -7914.8151 | -19455.5272 | -10139.7144 | -11436.8915 | -12369.8612 | -33946.4672
Gb | F/A |  | Annual Gross RPS Position (%) | 19.63% | 19.04% | 22.55% | 20.41% | 27.04% | 29.52% | 33.34% | 29.88% | 35% | 36.51% | 41.25% | 42.98% | 38.61% | 45.23% | 42.51% | 42.99% | 43.09% | 43.49% | 43.25% | 42.29% | 41.9% | 42.48% | 41.8% | 40.32% | 39.87% | 40.66% | 37.68% | 35.85% | 32.32% | 35.25% | 27.92% | 25.35% | 23.6% | 25.61%
PG&E's Alternative RNS Table - Stochastic-Adjustment (2011-2033)8
Variable | Calculation in Energy Division RNS Calculation Template | Revised Calculation Correcting Apparent Errors in Energy Division Template | Item | 2011 Actuals | 2012 Actuals | 2013 Actuals | 2011-2013 Actuals | 2014 Actuals | 2015 Actuals | 2016 Forecast | 2014-2016 | 2017 Forecast | 2018 Forecast | 2019 Forecast | 2020 Forecast | 2017-2020 | 2021 Forecast | 2022 Forecast | 2023 Forecast | 2024 Forecast | 2021 - 2024 | 2025 Forecast | 2026 Forecast | 2027 Forecast | 2025 - 2027 | 2028 Forecast | 2029 Forecast | 2030 Forecast | 2028 - 2030 | 2031 Forecast | 2032 Forecast | 2033 Forecast | 2031 - 2033
Step 2 Result: Stochastically-Adjusted Net Short (Physical Net Short + Stochastic Risk-Adjustment)9
Gd |  |  | Stochastically-Adjusted Annual Gross RPS Position (GWh) | -273.9954 | -727.9155 | 1928.2892 | 926.3782 | 3979.8803 | 4482.3125 | 5594.5822 | 14056.775 | 5228.4197 | 4343.0649 | 5351.2183 | 4790.8018 | 19713.5047 | 4655.3547 | 2306.6956 | 1601.9644 | 696.5157 | 9260.5305 | -255.7201 | -1620.0034 | -2802.3371 | -4678.0605 | -3988.9607 | -5704.5735 | -7039.9081 | -16733.4423 | -8059.8587 | -8918.4303 | -10695.2232 | -27673.5121
Ge |  |  | Stochastically-Adjusted Annual Gross RPS Position (%) | 19.63% | 19.04% | 22.55% | 20.41% | 27.04% | 29.52% | 33.12% | 29.81% | 34.79% | 36.2% | 40.76% | 42.37% | 38.22% | 44.4% | 41.56% | 41.87% | 41.6% | 42.4% | 41.11% | 39.51% | 38.41% | 39.68% | 37.3% | 34.9% | 33.57% | 35.25% | 31.37% | 29.68% | 26.11% | 29.02%
Application of Bank
Ha | H - Hc (from previous year) | J - Hc (from previous year) | Existing Banked RECs above the PQR (The Bank at Beg. Of Period)10,11 | 0 | 0 | 0 | 0 | 861.0358 | 4814.8712 | 9272.0613 | 861.0358 | 14838.8321 | 19973.5275 | 24316.6276 | 29667.9637 | 14839.4143 | 34458.9053 | 39114.4054 | 41421.2462 | 43023.3561 | 34459.4875 | 43720.0045 | 43464.2844 | 41844.2811 | 43720.5867 | 39041.944 | 35052.9833 | 29348.4097 | 39042.5262 | 22308.5017 | 14965.1496 | 9475.4077 | 22309.0838
Hb |  |  | RECs above the PQR added to Bank | -273.9954 | -727.9155 | 1928.2892 | 926.3782 | 3979.8803 | 4482.3125 | 5594 | 14056.775 | 5228.4279 | 4343.1001 | 5351.3361 | 4790.9416 | 19713.8057 | 4655.5001 | 2306.8409 | 1602.1098 | 696.6484 | 9261.0992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hc |  |  | Non-bankable RECs above the PQR | 0 | 30.9936 | 34.3489 | 65.3425 | 26.0449 | 25.1224 | 27.2292 | 78.3965 | 93.7326 | 0 | 0 | 0 | 93.7326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H | Ha+Hb |  | Gross Balance of RECs above the PQR | -273.9954 | -727.9155 | 1928.2892 | 926.3782 | 4840.9161 | 9297.1837 | 14866.0613 | 14917.8108 | 20067.2601 | 24316.6276 | 29667.9637 | 34458.9053 | 34553.22 | 39114.4054 | 41421.2462 | 43023.3561 | 43720.0045 | 43720.5867 | 43720.0045 | 43464.2844 | 41844.2811 | 43720.5867 | 39041.944 | 35052.9833 | 29348.4097 | 39042.5262 | 22308.5017 | 14965.1496 | 9475.4077 | 22309.0838
Ia |  |  | Planned Application of RECs above the PQR towards RPS Compliance | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 255.7201 | 1620.0034 | 2802.3371 | 4678.0605 | 3988.9607 | 5704.5735 | 7039.9081 | 16733.4423 | 7343.3521 | 5489.7418 | 5211.3061 | 18044.4
Ib |  |  | Planned Sales of RECs above the PQR12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
J | H-Ia-Ib |  | Net Balance of RECs above the PQR (The Bank at End of Period)10 | -273.9954 | -727.9155 | 1928.2892 | 926.3782 | 4840.9161 | 9297.1837 | 14866.0613 | 14917.8108 | 20067.2601 | 24316.6276 | 29667.9637 | 34458.9053 | 34553.22 | 39114.4054 | 41421.2462 | 43023.3561 | 43720.0045 | 43720.5867 | 43464.2844 | 41844.2811 | 39041.944 | 39042.5262 | 35052.9833 | 29348.4097 | 22308.5017 | 22309.0838 | 14965.1496 | 9475.4077 | 4264.1016 | 4264.6838
J0 |  |  | Category 0 RECs | 0 | 0 | 0 | 0 | 719.0767 | 1325.8976 | 2293.7098 | 4338.6841 | 2293.7098 | 2293.7098 | 2293.7098 | 2293.7098 | 9174.8393 | 2293.7098 | 2293.7098 | 2293.7098 | 2293.7098 | 9174.8393 | 2065.928 | 406 | 0 | 2471.928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
J1 |  |  | Category 1 RECs | -273.9954 | -727.9155 | 1928.2892 | 926.3782 | 4121.8394 | 7971.2861 | 12572.3515 | 10579.1267 | 17773.5502 | 22022.9177 | 27374.2538 | 32165.1955 | 25378.3807 | 36820.6955 | 39127.5364 | 40729.6462 | 41426.2947 | 34545.7474 | 41398.3564 | 41438.2811 | 39041.944 | 36570.5981 | 35052.9833 | 29348.4097 | 22308.5017 | 22309.0838 | 14965.1496 | 9475.4077 | 4264.1016 | 4264.6838
J2 |  |  | Category 2 RECs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| General Table Notes: Values are shown in GWhs. Fields in grey are protected as Confidential under CPUC Confidentiality Rules. |  | Expiring Contracts
K |  |  | RECs from Expiring RPS Contracts13 | N/A | N/A | N/A | N/A | N/A | N/A | 17.3563 | 17.3563 | 395.8784 | 2551.7003 | 3244.6276 | 4109.1598 | 10301.3661 | 4448.6399 | 6810.9045 | 7105.2361 | 7380.6771 | 25745.4576 | 7406.6127 | 7935.4096 | 8138.4819 | 23480.5042 | 8185.2136 | 8664.3314 | 8690.7374 | 25540.2823 | 9588.1397 | 10751.8479 | 12331.5065 | 32671.4941
| (2) (Row D) As a portion of the Bank will be used as VMOP, Row D will remain zero. See 2016 RPS Plan for a description of PG&E's VMOP. |  | Step 3 Result: Stochastically-Optimized Net Short (Stochastically-Adjusted Net Short + Application of Bank)14
La | Ga+Ia-Ib-Hc | Gd+Ia-Ib | Annual Net RPS Position after Bank Optimization (GWh) | -273.9954 | -727.9155 | 1928.2892 | 926.3782 | 3979.8803 | 4482.3125 | 5594.5822 | 14056.775 | 5228.4197 | 4343.0649 | 5351.2183 | 4790.8018 | 19713.5047 | 4655.3547 | 2306.6956 | 1601.9644 | 696.5157 | 9260.5305 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | -716.5066 | -3428.6885 | -5483.9171 | -9629.1121
Lb | (Ff+Ia-Ib-Hc)/A | (Gd+Ia-Ib+E)/A | Annual Net RPS Position after Bank Optimization (%) | 19.63% | 19.04% | 22.55% | 20.41% | 27.04% | 29.52% | 33.12% | 29.81% | 34.79% | 36.2% | 40.76% | 42.37% | 38.22% | 44.4% | 41.56% | 41.87% | 41.6% | 42.4% | 41.7% | 43.3% | 45% | 43.33% | 46.7% | 48.3% | 50% | 48.34% | 48.34% | 42.19% | 37.75% | 42.7%
General Table Notes: Values are shown in GWhs. Fields in grey are protected as Confidential under CPUC Confidentiality Rules.
(1) (Row A) PG&E uses its April 2016 internal bundled retail sales forecast for its procurement decisions.†
(2) (Row B) Assumes a linear trajectory for implementation of SB350 Compliance Period RPS targets post-2020 and three-year compliance periods after 2030.
(3) (Row D) As a portion of the Bank will be used as VMOP, Row D will remain zero. See 2016 RPS Plan for a description of PG&E's VMOP.
(4) (Row Fa) "Online Generation" includes forecasted volumes from replacement contracts (i.e. ReMAT contracts replacing QF contracts) for facilities that are already online.
(5) (Row Fb) "In Development" includes forecasted volumes from phase-in projects. This is consistent with labeling in the RPS Database (which labels phase-in projects as "In Development" under "Overall Project Status").
(6) (Row F) Row F has subtracted 134 GWh of RECs associated with 2011 generation from the Hay Canyon Wind Facility and the Nine Canyon Wind Phase 3. These RECs are not being used for RPS compliance because they were not retired within the RPS statute’s 36-month REC retirement deadline.
(7) (Step 1 Result: Physical Net Short) Rows Ga and Gb represent PG&E’s physical net short based on PG&E’s internal bundled retail sales forecast, as opposed to the LTPP forecast provided in Table C.1.
(8) The stochastic model optimizes procurement from 2023 to 2033.
(9) (Step 2 Result: Stochastically-Adjusted Net Short (Physical Net Short+ Stochastic Risk-Adjustment) PG&E added rows Gd and Ge to the Alternative RNS in order to show the stochastically-adjusted physical net short, which incorporates the risks and uncertainties addressed in the stochastic model. For more details on PG&E's stochastically modeled risks, see the 2016 RPS Plan. This is prior to any application of the Bank.
(10) (Rows Ha and J) As PG&E's Alternative RNS incorporates additional risk-adjustments to the results from the Physical Net Short, the Bank sizes indicated in Rows Ha and J appear smaller than they are in Rows Ha and J of the RNS, which shows the non-stochastically-adjusted Bank size.
(11) (Rows Ha) At the beginning of each compliance period Row Ha subtracts previous compliance non-bankable volumes from the previous compliance period net balance of RECs. For example, the 2021 forecast for Row Ha is equivalent to the Row J in CP3 minus Row Hc in CP3.
(12) (Row Ib) As described in the Plan and Appendix J, PG&E is submitting a sales framework for CPUC approval.
(13) (Row K) Row K now includes only expiring volumes from contracts as of April 2016.
(14) (Step 3 Result: Stochastically-Optimized Net Short (Stochastically-Adjusted Net Short + Application of Bank))
(a) Rows La and Lb represent the optimized net short that results from taking Row Gd (Step 2 Result) and then applying Bank usage. Bank can be used for either (i) compliance purposes (row Ia) or (ii) sales (Row Ib).
(b) Row La in the Alternative RNS does not match Row La in the RNS, because the RNS does not include Row Gd (Stochastically-Adjusted Net Short).
(c) PG&E includes the non-bankable volumes in calculating rows La and Lb. Although these volumes can not be carried forward, per Decision 12-06-038, these volumes could be used towards meeting compliance in the current period. Therefore, the non-bankable volumes should be included in the Annual Net RPS Position after Bank Optimization.
*Stochastic Results in Rows Gd-Lb reflect a April 2016 stochastic modeling vintage.
†Order Instituting Rulemaking to Integrate and Refine Procurement Policies and Consider Long-Term Procurement Plans, Rulemaking (“R.”) 13-12-010, filed December 19, 2013.
** The RNS table differs from the results in the Procurement Detail tab of the RPS Compliance Report in that the RNS table is risk adjusted and the Procurement Detail information is not.