DATA REQUEST

Pacific Gas and Electric Company

Advanced Metering Infrastructure Application No. 05-06-028

Date:		December 16, 2005

Due Date:	December 23, 2005

| To: | J. Michael Reidenbach Susan Dowling Pacific Gas and Electric Company Attorney’s for PG&E Post Office Box 7442 77 Beale Street, San Francisco, CA 94105 | Phone: (415) 973-2491 E-mail: KLM3@pge.com E-mail: DJRo@pge.com E-mail: SEB4@pge.com E-mail: LRN3@pge.com |
| --- | --- | --- |

| From: | Christopher Blunt Project Coordinator, A.05-06-028 Office of Ratepayer Advocates 505 Van Ness Avenue, Room 4101 San Francisco, CA 94102 | Phone: (415) 703-1779 E-mail: pfa@cpuc.ca.gov E-mail: cjb@cpuc.ca.gov E-mail: ctd@cpuc.ca.gov E-mail: kpp@cpuc.ca.gov |
| --- | --- | --- |

Data Request No: PGE A0506028-36

Originated by: Chris Blunt	Phone: (415) 703-1779

Please provide the following information as it becomes available but no later than December 23, 2005.  If you have any questions regarding this data request, please call the originator immediately at the above phone number.

Subject:  Referring to PG&E’s RFP and vendor selection process, discussed in Exhibit 1, Chapter 2, and pp. 2-18 through 2-22 of PG&E’s original application and pp. 1-1 through 1-2 of the Supplemental Testimony submitted on October 13, 2005.

Request No. 1:  Please provide a high-level comparison between the bids of the “short list” of vendors referred to on p. 2-18 that compares the costs of the proposals on a consistent basis (e.g. all best-and final pricing or all "as originally proposed" pricing), as well as the relative strengths and weaknesses of each bidder’s proposal according to the criteria used in PG&E’s selection process.  The requested high level comparison should include a tabular presentation of the installed cost per meter site for the electric AMI and gas meter, each with its pro-rated share of the entire system infrastructure, head end, programmatic and all other costs applied on a consistent basis.
 
Request No. 2:  Please explain why PG&E chose DCSI over the other leading bidders for the electric metering part of the AMI project.  Please include in this explanation PG&E’s reasons for selecting DCSI with Hexagram over CellNet with a PLC provider, in particular. 
 
Request No. 3:  Did PG&E consider any “hybrid” proposals (i.e. using a radio communications system in customer-dense areas and power line communications (PLC) technology in sparsely populated areas?  If so, please explain PG&E’s reasons for choosing an all-PLC system for electric metering over a hybrid system.
 
Request No. 4:  Referring to the costs of DCSI’s proposal that increased after PG&E selected DCSI for the electric metering part of the project:  Would these added costs have altered PG&E’s decision to award the contract to DCSI had they been known to PG&E at the time PG&E made its decision to select DCSI? 
 
Request No. 5:  Referring to PG&E’s response to Request No. 1 in ORA data request PGE A0506028-22:  Was the DCSI proposal the sole electric metering proposal presented to PG&E’s Board, or was DCSI one of two or more alternative proposals presented to the Board for its consideration?