June 30, 1999

Wesley Franklin - Executive Director

California Public Utilities Commission

505 Van Ness Avenue, Room 5222

San Francisco, California  94102-3298

RE:	PacifiCorp’s (U901-E) Plan for Inspections, Record Keeping, and Reporting

D.97-03-070

I.95-02-015/R.96-11-004

As required by California D.97-03-070, Appendix A, dated March 31, 1997, PacifiCorp provides an original and five copies of the attached Plan for Inspections, Record Keeping, and Reporting.  In addition an electronic version has been sent via e-mail to Wade McCartney @ WSM@cpuc.ca.gov.

Should you have any questions regarding this report, please contact Steve Henderson at

(503) 813-6157 or Carole Rockney at (503) 813-6091.

Respectfully submitted on behalf of PacifiCorp

By:	Anne E. Eakin, Vice President

Regulation, PacifiCorp

825 N.E. Multnomah, Suite 800

Portland, Oregon   97232

Telephone: (503) 813-6065

Facsimile:  (503) 813-6060

Enclosure

c:	President Richard A. Bilas, Commissioner Henry M. Duque,

Commissioner Joel Z. Hyatt, Commissioner Josiah L. Neeper,

Commissioner Carl W. Wood

Wade McCartney, Energy Division w/diskette

Brian Schumacher, Energy Division

BEFORE THE PUBLIC UTILITES COMMISSION

OF THE STATE OF CALIFORNIA

Commission Order Instituting Investigation	)

into the rates, charges, services, and		)	I.95-02-015

practices of Pacific Gas and Electric		)	(Filed February 22, 1995)

Company.  (U 39 M)				)

____________________________________

Order Instituting Rulemaking for electric	)	R.96-11-004

distribution facility standard setting.		)	(Filed November 8, 1996)

PACIFICORP’S IMPLEMENTATION PLAN FOR INSPECTIONS

USING INDICES SET FORTH IN APPENDIX A OF D.97-03-070

FOR CALENDAR YEAR 1998

June 30, 1999

PacifiCorp

Inspection and Maintenance Programs

California 1998

The attached sheets demonstrate the status of 1998 Inspections and Corrections in the state of California for PacifiCorp owned facilities.  PacifiCorp has four districts in California: Tulelake, Alturas, Crescent City and Yreka/Mt. Shasta.

# Inspections

All inspections were completed in 1998 for Urban & Rural Patrol, Detail and Intrusive inspection types.  All Districts, except Crescent City, have chosen to upgrade to the Urban plan for their Rural areas, this is reflected by a NA in the attached sheets.  The attached Inspection sheets break down the inspections into three categories: Poles, Street Lights and Equipment.  The information includes the type of equipment, the plan for each inspection category and the actuals of the inspection plan.

# Conditions

Conditions found by the inspections were rated as either an A or B priority, A priority being more severe.  All A priority conditions found by the inspections have been corrected except for 16.  These conditions are in a very inaccessible location.  Each structure requires hand digging, rock holes, and placement by helicopter.  Because of the location, these facilities do not create a public, or employee hazard.  These structures will be replaced before July 30, 1999.  The remaining B priority conditions will be corrected by year-end 2000.  The attached Condition sheets breakdown the conditions into four categories: number of conditions found in 1998, 1998 conditions corrected as of 6/28/99, 1998 conditions currently outstanding, and the final date outstanding conditions will be corrected by.

Dated in Portland, Oregon this 30th day of June, 1999.

Respectfully Submitted,

Anne E. Eakin, Vice President

Regulation

PacifiCorp

825 N.E. Multnomah, Suite 800

Portland, Oregon  97232

Telephone:  (503) 813-6065

Facsimile:  (503) 813-6060

PACIFICORP

CERTIFICATE OF SERVICE

I hereby certify that on this 30th day of June, 1999, I served true copies of  PacifiCorp’s Plan for Inspections, Record Keeping, and Reporting - California I.95-02-015 and R.96-11-004 on the following service lists by first -class postage paid mail.

Dated:	June 30, 1999

____________________________________

Kathleen M. Sauer

Tariff Policy

PacifiCorp