## Poles-St Lights
1999 Inspections - Poles | [5 empty] | Do Not Print
This Column
| Total # | Patrol Urban |  | Patrol Rural |  | FPI Insp | Intrusive
District | of Poles | Plan% | Actual% | Plan% | Actual% | Completed | Plan | Actual
Tulelake | 12919 | 100% | 100% | 50% | 50% | 1251 | 1228 | 1211
Alturas | 3634 | 100% | 100% | 50% | 50% | 1805 | 360 | 339
Crescent City | 8166 | 100% | 100% | 50% | 50% | 1589 | 624 | 556
Yreka/Mt. Shasta | 30691 | 100% | 100% | 50% | 50% | 20985 | 2520 | 2433
California Total | 55410 | 100% | 100% | 50% | 50% | 25630 | 4732 | 4539
1999 Inspections - Street Lights
| # of | Patrol Urban |  | Patrol Rural
District | St. Lgts. | Plan% | Actual% | Plan% | Actual%
TuleLake | 175 | 100% | 100% | 50% | 50%
Alturas | 218 | 100% | 100% | 50% | 50%
Crescent City | 309 | 100% | 100% | 50% | 50%
Yreka/Mt. Shasta | 619 | 100% | 100% | 50% | 50%
California Total | 1321 | 100% | 100% | 50% | 50%
Note on I4: Jerry D Mammenga: DTLTRT and TSTRT reports for 1999 in each District
Note on B4: PacifiCorp: From Year End Activity Report from mapping, which shows total Dist. Poles
Note on G4: PacifiCorp: All Inspections done in a district. Include Safety, Detail, T&T, Dtltrt, Climbing. Ignore Admin
Note on B14: PacifiCorp: Run FP24 for STLITE and STYDLGHT
Note on G5: PacifiCorp: DATA 1
Note on G6: PacifiCorp: DATA2
Note on G7: PacifiCorp: DATA3
Note on G8: PacifiCorp: DATA4
Note on H4: PacifiCorp: From California Inspection Recommendation document
Note on I5: PacifiCorp: DATA5
Note on I6: PacifiCorp: DATA6
Note on I7: PacifiCorp: DATA7
Note on I8: PacifiCorp: DATA8
Note on B15: PacifiCorp: DATA9
Note on B16: PacifiCorp: DATA10
Note on B17: PacifiCorp: DATA11
Note on B18: PacifiCorp: DATA12

## Equipment
1999 Inspections - Equipment
|  | Patrol Urban |  | Patrol Rural |  | Detail U&R
District/Equipment | Type | Plan % | Actual % | Plan % | Actual % | Plan % | Actual*
Tulelake
Transformers | Overhead | 100% | 100% | 50% | 50% | 20% | 258
Switch/Protect Device | Overhead | 100% | 100% | 50% | 50% | 20% | 8
Regs/Caps | Overhead | 100% | 100% | 50% | 50% | 20% | 0
All | Underground | 100% | 100% | 50% | 50% | 20% | 0
Alturas
Transformers | Overhead | 100% | 100% | 50% | 50% | 20% | 236
Switch/Protect Device | Overhead | 100% | 100% | 50% | 50% | 20% | 7
Regs/Caps | Overhead | 100% | 100% | 50% | 50% | 20% | 0
All | Underground | 100% | 100% | 50% | 50% | 20% | 0
Crescent City
Transformers | Overhead | 100% | 100% | 50% | 50% | 20% | 564
Switch/Protect Device | Overhead | 100% | 100% | 50% | 50% | 20% | 30
Regs/Caps | Overhead | 100% | 100% | 50% | 50% | 20% | 0
All | Underground | 100% | 100% | 50% | 50% | 20% | 0
Yreka/Mt. Shasta
Transformers | Overhead | 100% | 100% | 50% | 50% | 20% | 1420
Switch/Protect Device | Overhead | 100% | 100% | 50% | 50% | 20% | 99
Regs/Caps | Overhead | 100% | 100% | 50% | 50% | 20% | 11
All | Underground | 100% | 100% | 50% | 50% | 20% | 86
* After 5 year cycle is complete, total equipment count will be known.
Note on H4: Jerry D Mammenga: get from 7.7.1 report for each I code and all type inspections except safety
Note on A5: PacifiCorp: 650
Note on H6: PacifiCorp: DATA 2
Note on H7: PacifiCorp: DATA 10
Note on H8: PacifiCorp: DATA 18
Note on A10: PacifiCorp: 651
Note on H11: PacifiCorp: DATA 4
Note on H12: PacifiCorp: DATA 12
Note on H13: PacifiCorp: DATA 19
Note on A15: PacifiCorp: 654
Note on H16: PacifiCorp: DATA 6
Note on H17: PacifiCorp: DATA 14
Note on H18: PacifiCorp: data 21
Note on A20: PacifiCorp: 655, 656
Note on H21: PacifiCorp: Data 8
Note on H22: PacifiCorp: DATA16
Note on H23: PacifiCorp: data 23
Note on H9: PacifiCorp: DATA 28
Note on H14: PacifiCorp: DATA 29
Note on H19: PacifiCorp: DATA 30
Note on H24: PacifiCorp: DATA 31