PACIFIC GAS & ELECTRIC COMPANY

GENERAL ORDER 165 COMPLIANCE PLAN FOR 2002

AND ANNUAL COMPLIANCE REPORT FOR 2000

SUBMITTED PURSUANT TO CPUC DECISION NO. 97-03-070

July 2, 2001

PACIFIC GAS & ELECTRIC COMPANY

GENERAL ORDER 165 COMPLIANCE PLAN FOR 2002

AND ANNUAL COMPLIANCE REPORT FOR 2000

Pursuant to Section IV of the California Public Utilities Commission’s (Commission) General Order (G.O.) 165, adopted in Decision No. (D.) 97-03-070, Pacific Gas & Electric Company (PG&E) submits its compliance plan for distribution facilities inspection activities in 2002.  Attached as Appendix A is the Compliance Plan, which describes how PG&E intends to comply in 2002 with the requirements set forth in G.O. 165.  This plan sets forth the anticipated activities PG&E will undertake to comply with G.O. 165.  While events in the field may cause variations in the quarterly schedules for system patrols and inspections, the planned results by the end of the year are anticipated to meet the requirements of G.O. 165.  Attached as Appendix B is the Annual Report for 2000.

As reflected in this Compliance Plan and the Annual Report, PG&E patrols and inspects padmounted facilities on the same schedule as underground facilities.

APPENDIX A

COMPLIANCE PLAN

PATROLS FOR OVERHEAD AND UNDERGROUND FACILITIES

Patrols will be performed in the course of company business by qualified personnel.  The primary lines patrolled will be recorded on patrol maps.  Progress reports will be prepared by operating areas indicating the number of overhead poles and the number of underground enclosures patrolled.  Significant abnormal conditions will be documented on a maintenance tag and entered into a computerized maintenance system.  Maintenance tags will be scheduled for correction in accordance with PG&E’s Electric Preventive Maintenance Plan.  For 2002, PG&E will be patrolling 100% of its electric distribution facilities.

COMPLIANCE PLAN (Cont.)

DETAILED INSPECTIONS SCHEDULED FOR 2002

OVERHEAD FACILITIES

Number of Poles by Area/Division

Jan. - Mar.

Apr. - Jun.

Jul. - Sep.

Oct. - Dec.

| Total |
| --- |
| Central Coast |
| 3,032 | 9,096 | 9,100 | 0 | 21,228 |
| De Anza |
| 2,430 | 2,430 | 2,433 | 2,433 | 9,726 |
| Diablo |
| 3,419 | 3,417 | 3,417 | 3,417 | 13,670 |
| East Bay |
| 0 | 12,072 | 0 | 0 | 12,072 |
| Fresno |
| 10,794 | 16,194 | 16,194 | 10,795 | 53,977 |
| Kern |
| 6,312 | 6,312 | 6,312 | 6,321 | 25,257 |
| Los Padres |
| 5,100 | 5,100 | 5,100 | 5,108 | 20,408 |
| Mission |
| 2,779 | 2,779 | 2,779 | 2,781 | 11,118 |
| North Bay |
| 4,152 | 4,152 | 4,152 | 4,152 | 16,608 |
| North Coast |
| 12,822 | 12,822 | 12,822 | 4,274 | 42,740 |
| North Valley |
| 13,995 | 13,995 | 13,995 | 13,995 | 55,980 |
| Peninsula |
| 4,221 | 4,221 | 4,221 | 4,220 | 16,883 |
| Sacramento |
| 5,351 | 5,351 | 5,351 | 5,354 | 21,407 |
| San Francisco |
| 0 | 800 | 2,400 | 1,210 | 4,410 |
| San Jose |
| 3,397 | 3,397 | 3,397 | 1,131 | 11,322 |
| Sierra |
| 1,500 | 17,796 | 17,796 | 5,933 | 43,025 |
| Stockton |
| 7,500 | 12,600 | 6,000 | 5,500 | 31,600 |
| Yosemite |
| 5,289 | 10,578 | 18,511 | 18,512 | 52,890 |
| Total |
| 92,093 | 143,112 | 133,980 | 95,136 | 464,321 |

COMPLIANCE PLAN (Cont.)

UNDERGROUND FACILITIES

Number of Enclosures

by

Area/Division

Jan. - Mar.

Apr. - Jun.

Jul. - Sep.

Oct. - Dec.

| Total |
| --- |
| Central Coast |
| 525 | 1,575 | 1,580 | 0 | 3,680 |
| De Anza |
| 1,038 | 1,038 | 1,038 | 1,037 | 4,151 |
| Diablo |
| 2,400 | 2,400 | 2,400 | 1,193 | 8,393 |
| East Bay |
| 0 | 1,341 | 1,341 | 450 | 3,132 |
| Fresno |
| 1,314 | 1,971 | 1,971 | 1,317 | 6,573 |
| Kern |
| 1,227 | 1,227 | 1,227 | 1,228 | 4,909 |
| Los Padres |
| 342 | 342 | 342 | 348 | 1374 |
| Mission |
| 2,742 | 2,742 | 2,742 | 2,742 | 10,968 |
| North Bay |
| 991 | 991 | 992 | 991 | 3965 |
| North Coast |
| 2,160 | 2,160 | 2,160 | 720 | 7,200 |
| North Valley |
| 1,060 | 1,060 | 1,055 | 0 | 3,175 |
| Peninsula |
| 1,137 | 1,137 | 1,137 | 1,138 | 4,549 |
| Sacramento |
| 1,282 | 1,282 | 1,282 | 1,282 | 5,128 |
|  | 1282 |
| San Francisco |
| 900 | 1,250 | 1,200 | 840 | 4,190 |
| San Jose |
| 2,391 | 2,391 | 2,391 | 797 | 7,970 |
| Sierra |
| 300 | 1,461 | 1,461 | 487 | 3,709 |
| Stockton |
| 800 | 1,250 | 950 | 1,150 | 4,150 |
| Yosemite |
| 0 | 772 | 900 | 901 | 2573 |
| Total |
| 20,609 | 26,390 | 26,169 | 16,621 | 89,789 |

COMPLIANCE PLAN (Cont.)

INTRUSIVE WOOD POLE INSPECTIONS SCHEDULED FOR 2002

| Number |
| --- |
| of Poles |
| Jan. - Mar. | Apr. - Jun. | Jul. - Sep. | Oct. - Dec. | Total |
| System |
| 15,550 | 15,550 | 16,650 | 39,465 | 87,215 |

PG&E is currently conducting a wood pole test and treat program of all poles over 10 years old.  The program began in November, 1994.

APPENDIX B

2000 ANNUAL REPORT

PATROLS

OVERHEAD PATROLS:

|  | Number of Poles Scheduled for Patrol |
| --- | --- |

Number of Poles not

Patrolled

| Reason patrol was not completed | Date patrol will be completed |
| --- | --- |
| Urban/ Rural | 1,734,647 | 27,888 | The poles indicated as not being patrolled are a result of the following abnormalities in reporting. 1) Poles scheduled for patrols were inspected instead. 2) Poles scheduled for rural patrols in 2000 were completed in 1999. 3) The scheduled patrols in 2000 were based on estimates, the actual number completed was less than the estimate. | No date necessary since requirement was met |

UNDERGROUND PATROLS:

Number of Enclosures Scheduled

for Patrol

Number of Enclosures not

Patrolled

| Reason patrol was not completed | Date patrol will be completed |
| --- | --- |
| Urban/ Rural | 169,043 | 2,886 | Due to local personnel changes, approximately 2,886 enclosures were not patrolled in 2000 because of a misinterpretation of patrol requirements in G.O. 165. Additional training of local personnel on G.O. 165 requirements will be completed in 2001 | No later than 8/31/01 for the 2000/2001 period |

2000 ANNUAL REPORT (Cont.)

DETAILED INSPECTIONS

OVERHEAD FACILITIES:

Area/ Division

Number of Poles Scheduled

| for Inspection | Number of Poles not Inspected |
| --- | --- |

| Reason inspection was not completed | Date inspection will be completed |
| --- | --- |
| Central Coast | 26,911 | 0 |
| De Anza | 9,756 | 0 |
| Diablo | 14,043 | 1,587 | The scheduled inspection numbers were based on estimates. The actual number completed was 12,456. | No date necessary since requirement was met |
| East Bay | 12,481 | 0 |
| Fresno | 53,593 | 0 |
| Kern | 27,690 | 2,455 | The scheduled inspection numbers were based on an estimate. The actual number count was less than the estimate. | No date necessary since requirement was met |
| Los Padres | 20,377 | 0 |
| Mission | 11,458 | 0 |
| North Bay | 16,991 | 4,086 | The scheduled number of poles in a coastal area was based on an estimate, the actual number completed was less than the estimate. | No date necessary since requirement was met |
| North Coast | 33,222 | 0 |
| North Valley | 47,837 | 0 |
| Peninsula | 13,500 | 4,521 | Peninsula Division inadvertently over-scheduled poles for inspection for the year 2000. The 4,521 poles will be inspected by December 2001. | No date necessary since requirement was met |
| Sacramento | 21,892 | 0 |
| San Francisco | 4,410 | 0 |
| San Jose | 12,720 | 20 | The scheduled inspections for 2000 were based on an estimate, the actual number completed was 20 less than the estimate | No date necessary since requirement was met |
| Sierra | 42,184 | 0 |
| Stockton | 31,025 | 0 |
| Yosemite | 43,041 | 0 |
| Total | 443,131 | 12,669 |

2000 ANNUAL REPORT (Cont.)

UNDERGROUND FACILITIES:

Area/ Division

Number of Enclosures Scheduled

for Inspection

Number of Enclosures not

Inspected

| Reason inspection was not completed | Date inspection will be completed |
| --- | --- |
| Central Coast | 3,749 | 0 |
| De Anza | 4,000 | 0 |
| Diablo | 9,812 | 0 |
| East Bay | 4,016 | 0 |
| Fresno | 6,238 | 0 |
| Kern | 7,243 | 4,270 | The scheduled inspection numbers were based on an estimate. The actual number count was less than the estimate. | No date necessary since requirement was met |
| Los Padres | 1,449 | 0 |
| Mission | 7,626 | 0 |
| North Bay | 4,269 | 0 |
| North Coast | 8,310 | 749 | The original goal of 8310 was based on an estimated number of enclosures, the actual number completed was less than the estimate. | No date necessary since requirement was met |
| North Valley | 2,957 | 0 |
| Peninsula | 8,880 | 2,982 | The scheduled inspection numbers were based on an estimate. The actual number count was less than the estimate. | No date necessary since requirement was met |
| Sacramento | 5,769 | 0 |
| San Francisco | 3,612 | 1,182 | The scheduled inspection numbers were based on an estimate. The actual number count was less than the estimate. | No date necessary since requirement was met |
| San Jose | 7,836 | 0 |
| Sierra | 4,444 | 640 |

The scheduled 2000 Underground Inspection units were based on an estimate. The actual count of those units was less by 640.

|  | No date necessary since requirement was met |
| --- | --- |
| Stockton | 3,674 | 0 |
| Yosemite | 2,661 | 0 |
| Total | 96,54596,545 | 9,823 |

2000 ANNUAL REPORT (Cont.)

IDENTIFIED CONDITIONS IN 2000:

Estimated

Corrective Action Required

| No Corrective |
| --- |
| Facilities* | quantity | Grade 1A | Grade 2B | Action Required |
| Number | Percent | Number | Percent | Number | Percent |
| Transformers |
|  | Overhead | 784,957 | 2,830 | 0.4 | 2,850 | 0.4 | 779,277 | 99.2 |
| Underground** | 166,330 | 600 | 0.4 | 2,159 | 1.3 | 163,571 | 98.3 |
|  | Switches/ Disconnects |
|  | Overhead | 144,671 | 920 | 0.6 | 2,348 | 1.6 | 141,403 | 97.8 |
| Underground | 91,165 | 73 | 0.1 | 354 | 0.4 | 90,738 | 99.5 |
|  | Protective Devices |
|  | Overhead | 4,086 | 113 | 2.8 | 824 | 20.2 | 3,149 | 77.0 |
| Underground | 627 | 3 | 0.5 | 27 | 4.3 | 597 | 95.2 |
|  | Voltage Regulation |
|  | Overhead | 13,522 | 152 | 1.1 | 1,202 | 8.9 | 12,168 | 90.0 |
| Underground | N/A | 1 | N/A | 7 | N/A | N/A | N/A |
|  | Conductors & Cables |
|  | Overhead | N/A | 6,665 | N/A | 18,325 | N/A | N/A | N/A |
| Underground | N/A | 1,600 | N/A | 2,663 | N/A | N/A | N/A |

*Multiple conditions at one location are reported in the facility category that is prioritized as the most serious among a ranking of system conditions.  The scheduled repair date is the earliest determined for all the conditions identified at the location.

**Underground categories includes padmounted equipment.

A Grade 1 is defined as a condition requiring urgent and immediate response and continued action until the condition is repaired or no longer presents a potential hazard.

B Grade 2 is defined as a condition requiring timely corrective action to mitigate an existing condition which, at the time of identification, does not present an immediate hazard to third parties, company employees or property.

2000 ANNUAL REPORT (Cont.)

CORRECTIVE ACTION SCHEDULED FOR 2000:

| Facilities | Conditions scheduled | Number of facilities | Number of facilities | Reason why correction was not | Date correction |
| --- | --- | --- | --- | --- | --- |

for

correction

Corrected

| Percentage | Not Corrected |
| --- | --- |

| Percentage | completed |
| --- | --- |

will be

| completed |
| --- |
| Transformers |
|  | Overhead | 2,026 | 2,026 | 100 % | 0 | 0 % |

|  | Underground | 649 | 649 | 100 % | 0 | 0 % |
| --- | --- | --- | --- | --- | --- | --- |

| Switches/ Protective Devices (Disconnects) |
| --- |
|  | Overhead | 2,713 | 2,713 | 100 % | 0 | 0 % |

|  | Underground | 250 | 250 | 100 % | 0 | 0 % |
| --- | --- | --- | --- | --- | --- | --- |

| Regulators/ Capacitors (Voltage Regulation) |
| --- |
|  | Overhead | 911 | 911 | 100 % | 0 | 0 % |

|  | Underground | 7 | 7 | 100 % | 0 | 0 % |
| --- | --- | --- | --- | --- | --- | --- |

| Conductors & Cables |
| --- |
|  | Overhead | 16,658 | 16,658 | 100% | 0 | 0 % |

|  | Underground | 2,062 | 2,062 | 100 % | 0 | 0 % |
| --- | --- | --- | --- | --- | --- | --- |

2000 ANNUAL REPORT (Cont.)

CORRECTIVE ACTION SCHEDULED FOR 2001:

|  | Total Conditions Scheduled for 2001 | Percentage of Grade 2 Conditions Identified in 2000 |
| --- | --- | --- |
| Transformers | 2,327 | 46.5% |
| Switching/Protective Devices | 2,594 | 73.0% |
| Regulators/ Capacitors | 269 | 22.2% |
| Overhead Conductor and Cable | 15,740 | 75.0% |

CORRECTIVE ACTION SCHEDULED FOR 2002:

|  | Total Conditions Scheduled for 2002 | Percentage of Grade 2 Conditions Identified in 2000 |
| --- | --- | --- |
| Transformers | 1,474 | 29.4% |
| Switching/Protective Devices | 484 | 13.6% |
| Regulators/ Capacitors | 57 | 4.7% |
| Overhead Conductor and Cable | 5,032 | 24.0% |

2000 ANNUAL REPORT (Cont.)

INTRUSIVE INSPECTION

WOOD POLES:

Number of Wood Poles by Area/ Division

Wood Poles Scheduled

for Inspection

Wood Poles

not

Inspected

| Reason inspection was not completed | Date inspection will be completed |
| --- | --- |
| Central Coast | 0 | 0 |
| De Anza | 0 | 0 |
| Diablo | 0 | 0 |
| East Bay | 0 | 0 |
| Fresno | 11,500 | 11,500 | Schedule was modified to accommodate 10-year Pole Test and Treat Program | 12/04 |
| Kern | 80,680 | 0 |
| Los Padres | 0 | 0 |
| Mission | 0 | 0 |
| North Bay | 0 | 0 |
| North Coast | 0 | 0 |
| North Valley | 54 | 0 |
| Peninsula | 0 | 0 |
| Sacramento | 0 | 0 |
| San Francisco | 0 | 0 |
| San Jose | 0 | 0 |
| Sierra | 0 | 0 |
| Stockton | 0 | 0 |
| Yosemite | 0 | 0 |
| Total | 92,234 | 11,500 |

2000 ANNUAL REPORT (Cont.)

IDENTIFIED CONDITIONS IN 2000:

Facilities

| Number of | Corrective Action Required | No Corrective Action |
| --- | --- | --- |
|  | Wood | Grade 1A | Grade 2B, | Required |
|  | Poles | Number | Percent | Number | Percent | Number | Percent |

Wood Poles

2,175,438

1,301

0.1

34,755

1.6

2,139,382

98.3

A Grade 1 is defined as a condition requiring urgent and immediate response and continued action until the condition is repaired or no longer presents a potential hazard.

B Grade 2 is defined as a condition requiring timely corrective action to mitigate an existing condition which, at the time of identification, does not present an immediate hazard to third parties, company employees or property.

2000 ANNUAL REPORT (Cont.)

CORRECTIVE ACTION SCHEDULED FOR 2000:

| Facilities | Poles scheduled for | Number of Wood Poles | Number of Wood Poles | Date correction will be |
| --- | --- | --- | --- | --- |
|  | correction | Corrected | Percentage | Not corrected | Percentage | completed |

Wood Poles

10,762

10,757

99.9%

5

| .1% | Work completed as of 5/3/2001 |
| --- | --- |

Reason why correction was not completed:

Current resources were unavailable so a contractor was hired.  The contractor was unable to complete the work prior to 12/31/2000.

CORRECTIVE ACTION SCHEDULED FOR 2001:

| Facilities | Number of Poles Scheduled for Corrective Action in 2001 |
| --- | --- |

Percentage of Grade 2 Poles

Identified in 2000

Wood Poles

10,078

29.0%

CORRECTIVE ACTION SCHEDULED FOR 2002:

| Facilities | Number of Poles Scheduled for Corrective Action in 2002 |
| --- | --- |

Percentage of Grade 2 Poles

Identified in 2000

Wood Poles

10,823

31.1%

2000 ANNUAL REPORT (Cont.)

CORRECTIVE ACTION SCHEDULED FOR 2003:

| Facilities | Number of Poles Scheduled for Corrective Action in 2003 |
| --- | --- |

Percentage of Grade 2 Poles

Identified in 2000

Wood Poles

10,277

29.6%

CORRECTIVE ACTION SCHEDULED FOR 2004:

| Facilities | Number of Poles Scheduled for Corrective Action in 2004 |
| --- | --- |

Percentage of Grade 2 Poles

Identified in 2000

Wood Poles

2,804

8.1%

CORRECTIVE ACTION SCHEDULED FOR 2005:

| Facilities | Number of Poles Scheduled for Corrective Action in 2005 |
| --- | --- |

Percentage of Grade 2 Poles

Identified in 2000

Wood Poles

23,252

66.9%

CORRECTIVE ACTION SCHEDULED FOR 2006:

| Facilities | Number of Poles Scheduled for Corrective Action in 2006 |
| --- | --- |

Percentage of Grade 2 Poles

Identified in 2000

Wood Poles

7,706

22.2%

2002 COMPLIANCE PLAN - APPENDIX A

I.	PATROLS FOR OVERHEAD AND UNDERGROUND FACILITIES	A-1

II.	DETAILED INSPECTIONS	A-2

A.	OVERHEAD FACILITIES	A-2

B.	UNDERGROUND FACILITIES	A-3

III.	INTRUSIVE WOOD POLE INSPECTIONS	A-4

2000 annual rEport - appendix b

I.	PATROLS	B-1

A.	OVERHEAD PATROLS:	B-1

B.	UNDERGROUND PATROLS:	B-1

II.	DETAILED INSPECTIONS	B-2

A.	OVERHEAD FACILITIES:	B-2

B.	UNDERGROUND FACILITIES:	B-3

C.	IDENTIFIED CONDITIONS IN 2000:	B-4

D.	CORRECTIVE ACTION SCHEDULED FOR 2000:	B-5

E.	CORRECTIVE ACTION SCHEDULED FOR 2001:	B-6

F.	CORRECTIVE ACTION SCHEDULED FOR 2002:	B-6

III.	INTRUSIVE INSPECTION	B-7

A.	WOOD POLES:	B-7

B.	IDENTIFIED CONDITIONS IN 2000:	B-8

C.	CORRECTIVE ACTION SCHEDULED FOR 2000:	B-9

D.	CORRECTIVE ACTION SCHEDULED FOR 2001:	B-9

E.	CORRECTIVE ACTION SCHEDULED FOR 2002:	B-9

F.	CORRECTIVE ACTION SCHEDULED FOR 2003:	B-10

G.	CORRECTIVE ACTION SCHEDULED FOR 2004:	B-10

CORRECTIVE ACTION SCHEDULED FOR 2005:	B-10

CORRECTIVE ACTION SCHEDULED FOR 2006:	B-10

# Footnotes

Overhead inspections will be performed on Transformers, Switching/Protective Devices, Regulators/Capacitors, Overhead Conductors and Cables.

Reporting of overhead facilities was converted from miles of line to number of poles starting in 1999.

Underground inspections will be performed on Transformers, Switching/Protective Devices, Regulators/Capacitors, and Padmounted equipment.

Total does not include poles scheduled in prior years and rescheduled into year 2002.  PG&E plans to test and treat a total of approximately 242,000 poles in 2002.  For a complete summary of PG&E’s 10-year Pole Test and Treat program and progress reports, see PG&E’s compliance filings submitted pursuant to Ordering Paragraph 21 of Decision No. 99-06-080 to the Energy Division.

Overhead inspections include inspections of Transformers, Switching/Protective Devices, Regulators/Capacitors, Overhead Conductors and Cables.

Underground inspections include inspections of Transformers, Switching/Protective Devices, Regulators/Capacitors, and Padmounted equipment.

Conditions listed in this section of the Report include conditions identified during patrols and inspections conducted only in 2000.

These values represent the total estimated number of facilities, in each category, for the electric distribution system.  The category labeled Switches/Disconnects includes fuses.  Protective Device category includes reclosures, overhead sectionalizers, underground interrupters, and underground sectionalizers.  The Voltage Regulation category includes boosters, capacitors, regulators and stepdown transformers.

PG&E’s database does not distinguish between overhead and underground reclosures. The total number of facilities listed as overhead reflects both overhead and underground.  Values reported for “Corrective Action Required” include conditions identified for the physical protection of padmounted equipment.

PG&E’s database does not distinguish between overhead and underground voltage regulation facilities.  The total number of facilities listed as overhead reflects both overhead and underground.

In addition to OH conductor, conditions reported in this table include Grounds, Jumpers & Connectors, Pole Hardware, and Guying.

In addition to UG cable, conditions reported in this table include Grounds, Hardware, and Connectors.

Table includes Grade 2 conditions that were identified in year 2000 and prior years.

Represents the latest date that any condition in the respective category is scheduled for completion.  Conditions may be corrected earlier than indicated.

In addition to OH conductor, conditions reported in this table include Grounds, Jumpers & Connectors, Pole Hardware, and Guying.

In addition to UG cable, conditions reported in this table include Grounds, Hardware, and Connectors.

Table includes Grade 2 conditions that were identified in year 2000 and prior years.

In addition to OH conductor, conditions reported in this table include Grounds, Jumpers & Connectors, Pole Hardware, and Guying.  In addition to UG cable, conditions reported in this table include Grounds, Hardware, and Connectors.

Table includes Grade 2 conditions that were identified in year 2000 and prior years.

In addition to OH conductor, conditions reported in this table include Grounds, Jumpers & Connectors, Pole Hardware, and Guying.  In addition to UG cable, conditions reported in this table include Grounds, Hardware, and Connectors.

Total does not include poles scheduled in prior years and rescheduled into year 2000. For a complete summary of PG&E’s 10-year Pole Test and Treat program and progress reports, see PG&E’s compliance filings submitted pursuant to Ordering Paragraph 21 of Decision No. 99-06-080 to the Energy Division.

Represents the latest date that any condition in the respective category is scheduled for completion.  Conditions may be corrected earlier than indicated.

Wood pole corrective conditions include those from all sources of identification and not exclusively the intrusive inspections.  Example: Grade 1 conditions include pole repairs due to car/pole accidents.

Includes poles that may subsequently be determined, after an engineering evaluation, as not needing corrective action.

This value represents the total estimated number of wood poles in the electric distribution system.

Table includes conditions that were identified in year 2000 and prior years.

This does not represent all poles replaced in 2000.  This number does not included all replaced overstressed poles that were not entered into the computerized maintenance system.

Table includes conditions that were identified in year 2000 and prior years.

Table includes conditions that were identified in year 2000 and prior years.

Table includes conditions that were identified in year 2000 and prior years.

Table includes conditions that were identified in year 2000 and prior years.

Table includes conditions that were identified in year 2000 and prior years.

Table includes conditions that were identified in year 2000 and prior years.