June 15, 2001

Wesley Franklin - Executive Director

California Public Utilities Commission

505 Van Ness Avenue, Room 5222

San Francisco, California  94102-3298

RE:	PacifiCorp’s (U901-E) Plan for Inspections, Record Keeping, and Reporting

D.97-03-070

I.95-02-015/R.96-11-004

As required by California D.97-03-070, Appendix A, dated March 31, 1997, PacifiCorp provides an original and five copies of the attached Plan for Inspections, Record Keeping, and Reporting.  This report is also being served on the attached service list of I.95-02-015.  In addition an electronic version has been sent via e-mail to Wade McCartney @ WSM@cpuc.ca.gov.

Should you have any questions regarding this report, please contact Paul Capell at

(503) 813-5334.

Respectfully submitted on behalf of PacifiCorp.

By:	Carole Rockney, Director

Customer and Regulatory Liaison

1900 SW 4th Avenue, Plaza Level

Portland, Oregon   97232

Telephone: (503) 813-7408

Facsimile:  (503) 813- 7313

Enclosure

c:	Wade McCartney, Energy Division w/diskette

Brian Schumacher, Energy Division

BEFORE THE PUBLIC UTILITES COMMISSION

OF THE STATE OF CALIFORNIA

Commission Order Instituting Investigation	)

into the rates, charges, services, and		)	I.95-02-015

practices of Pacific Gas and Electric		)	(Filed February 22, 1995)

Company.  (U 39 M)				)

____________________________________

Order Instituting Rulemaking for electric	)	R.96-11-004

distribution facility standard setting.		)	(Filed November 8, 1996)

PACIFICORP’S (U901-E) IMPLEMENTATION PLAN FOR INSPECTIONS

USING INDICES SET FORTH IN APPENDIX A OF D.97-03-070

FOR CALENDAR YEAR 2000

June 15, 2000

PacifiCorp

Inspection and Maintenance Programs

California 2000

The attached sheets demonstrate the status of 2000 Inspections, Conditions found and Corrections in the state of California for PacifiCorp owned facilities.  PacifiCorp has four districts in California: Tulelake, Alturas, Crescent City and Yreka/Mt. Shasta.

# Inspections

All inspections were completed in 2000 for Urban & Rural Patrol, Detail and Intrusive inspection types.  The attached Inspection sheets break down the inspections into three categories: Poles, Street Lights and Equipment.  The information includes the type of equipment, the plan for each inspection category and the actuals of the inspection plan.

# Conditions

Conditions found by the inspections were rated as either A or B priority, A priority requiring more immediate action.  All A priority conditions have been corrected.  The B priority conditions that have not been corrected as of June 5, 2001, will be corrected by the end of 2001 or 2002 depending on the date found.

The attached conditions work papers break down the conditions into four categories:

- number of conditions found in 2000;

- 1999 conditions corrected as of June 5, 2001;

- conditions currently outstanding;

- the final date outstanding conditions will be corrected by.

Dated in Portland, Oregon this 15th day of June 2001.

Respectfully Submitted,

Carole Rockney, Director

Customer and Regulatory Liaison

1900 SW 4th Avenue, Plaza Level

Portland, Oregon   97232

Telephone: (503) 813-7408

Facsimile:  (503) 813- 7313

PACIFICORP

CERTIFICATE OF SERVICE

I hereby certify that on this 15th day of June, 2001, I served true copies of PacifiCorp's (U901-E) Plan for Inspections, Record Keeping, and Reporting - California I.95-02-015 on the following service list by first -class postage paid mail.

Dated:	June 15 2001

____________________________________

Kathleen M. Sauer

Regulatory Liaison

PacifiCorp