##### San Diego Gas & Electric – Distribution Management and Strategies Department

##### San Diego Gas & Electric – Distribution Management and Strategies Department

EleCTRIC SYSTEM RELIABILITY

ANNUAL REPORT

2002

Prepared for

California Public Utilities Commission

February 14, 2003

EXECUTIVE SUMMARY

This Electric System Reliability Annual Report for 2002 has been prepared in response to CPUC Decision 96-09-045.  This Decision established additional reliability recording, calculation, and reporting requirements for SDG&E.

The data in this report is presented in tabular form.  All statistics and calculations include forced transmission, substation, and distribution outages, and exclude planned outages.  Forced outages are those that are not prearranged.  For the purposes of this report, sustained outages are those outages that lasted 5 minutes or more in duration, while momentary outages are those outages that lasted less than 5 minutes in duration.

The reliability indicators that are tracked are as follows:

- SAIDI (System Average Interruption Duration Index) - minutes of sustained outages per customer per year.

- SAIFI (System Average Interruption Frequency Index) - number of sustained outages per customer per year.

- MAIFI (Momentary Average Interruption Frequency Index) - number of momentary outages per customer per year.

The measurement of each reliability performance indicator excludes CPUC major events and events that are the direct result of failures in the ISO-controlled bulk power market, or non-SDG&E owned transmission and distribution facilities.  A Major Event is defined in CPUC Decision 96-09-045 as an event that meets at least one of the following criteria:

- The event is caused by earthquake, fire, or storms of sufficient intensity to give rise to a state of emergency being declared by the government, or

- Any other disaster not in (a) that affects more than 15% of the system facilities or 10% of the utility’s customers, whichever is less for each event.

A summary of 2002 performance follows:

The CPUC Major Events that were declared in 2002 are shown in the following table.

In 2002, no customer within SDG&E’s territory experienced more than one sustained primary outage per month on a rolling annual average basis.  This analysis excludes CPUC Major Events.

TABLE OF CONTENTS

HISTORICAL SYSTEM RELIABILITY DATA	1

TEN LARGEST OUTAGE EVENTS IN 2002*	2

TEN LARGEST OUTAGE EVENTS IN 2001*	3

TEN LARGEST OUTAGE EVENTS IN 2000*	4

TEN LARGEST OUTAGE EVENTS IN 1999*	5

TEN LARGEST OUTAGE EVENTS IN 1998*	6

TEN LARGEST OUTAGE EVENTS IN 1997*	7

TEN LARGEST OUTAGE EVENTS IN 1996*	8

TEN LARGEST OUTAGE EVENTS IN 1995*	9

TEN LARGEST OUTAGE EVENTS IN 1994*	10

TEN LARGEST OUTAGE EVENTS IN 1993*	11

EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 2002	12

EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 2001	13

EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 1997 through 2000	13

EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 1996	13

EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 1995	13

EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 1993 through 1994	13

CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 2002	13

CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 2001	13

CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 2000	13

CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 1999	13

CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 1998	13

CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 1997	13

CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 1993 THROUGH 1996	13

# HISTORICAL SYSTEM RELIABILITY DATA

# TEN LARGEST OUTAGE EVENTS IN 2002*

*Based on SAIDI impact.

# TEN LARGEST OUTAGE EVENTS IN 2001*

*Based on SAIDI impact.

# TEN LARGEST OUTAGE EVENTS IN 2000*

*Based on SAIDI impact.

# TEN LARGEST OUTAGE EVENTS IN 1999*

*Based on SAIDI impact.

# TEN LARGEST OUTAGE EVENTS IN 1998*

*Based on SAIDI impact.

# TEN LARGEST OUTAGE EVENTS IN 1997*

*Based on SAIDI impact.

# TEN LARGEST OUTAGE EVENTS IN 1996*

*Based on SAIDI impact.

# TEN LARGEST OUTAGE EVENTS IN 1995*

*Based on SAIDI impact.

# TEN LARGEST OUTAGE EVENTS IN 1994*

*Based on SAIDI impact.

# TEN LARGEST OUTAGE EVENTS IN 1993*

*Based on SAIDI impact.

# EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 2002

### EXTRACTED FROM THE TEN LARGEST OUTAGE EVENTS

# EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 2002

### EXTRACTED FROM THE TEN LARGEST OUTAGE EVENTS

# EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 2002

### EXTRACTED FROM THE TEN LARGEST OUTAGE EVENTS

# EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 2002

### EXTRACTED FROM THE TEN LARGEST OUTAGE EVENTS

# EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 2001

### EXTRACTED FROM THE TEN LARGEST OUTAGE EVENTS

# EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 2001

### EXTRACTED FROM THE TEN LARGEST OUTAGE EVENTS

# EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 1997 through 2000

### EXTRACTED FROM THE TEN LARGEST OUTAGE EVENTS

There were no CPUC Major Events from 1997 through 2000.

# EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 1996

### EXTRACTED FROM THE TEN LARGEST OUTAGE EVENTS

# EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 1995

### EXTRACTED FROM THE TEN LARGEST OUTAGE EVENTS

# EXCLUDABLE CPUC MAJOR EVENT DETAILS FOR 1993 through 1994

### EXTRACTED FROM THE TEN LARGEST OUTAGE EVENTS

There were no CPUC Major Events from 1993 through 1994.

# CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 2002

- Data is based upon station outages as reported through SDG&E’s Outage Management System.

# CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 2001

- Data is based upon station outages as reported through SDG&E’s Outage Management System.

# CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 2000

- Data is based upon station outages as reported through SDG&E’s Outage Management System.

# CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 1999

- Data is based upon station outages as reported through SDG&E’s Outage Management System.

# CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 1998

- Data is based upon station outages as reported through SDG&E’s Outage Management System.

# CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 1997

- Data is based upon station outages as reported through SDG&E’s Outage Management System.

# CUSTOMERS EXPERIENCING MORE THAN 12 SUSTAINED OUTAGES IN A ROLLING 12-MONTH PERIOD (EXCLUDING CPUC MAJOR EVENTS) FOR 1993 THROUGH 1996

| Year | District | Circuit Number | Number of Customers Experiencing >12 Sustained Outages |
| --- | --- | --- | --- |
| 1993 | N/A | N/A | None |
| 1994 | N/A | N/A | None |
| 1995 | N/A | N/A | None |
| 1996 | N/A | N/A | None |

Data for years 1993 through 1994 is based on complete circuit outages due to historical data limitations.

Data for 1995-1996 is based upon station outages as reported through SDG&E’s Outage Management System.