## Sheet1
Data Dictionary
2026-03-30
The files "HourlyLoad_AllRegions_V2025E_2224_Mon_20##.csv" contain the following components explicitly modeled in SERVM. Each hourly strip is 8760 hours and in leap years February 29 is included and December 31 is dropped. Weather years 2000-2024 are represented. Median peak and energy are consistent with the 2025 IEPR demand forecast Planning Scenario (no Known loads). CAISO = PGE + SCE + SDGE. SCE includes VEA load. All strips with weekday/weekend dependence start with Monday as January 1 regardless of calendar year.
Heading | Type | Description | Weather Year dependence | Alignment with IEPR (for California regions)
Load | Load | Consumption Load = modeled system load and excludes impacts from load modifiers | Yes | Median Consumption peak tuned downward such that modeled median Managed peak matches the IEPR. Median Consumption energy tuned to match IEPR.
Modified Load | Load | Same as (Consumption) Load | Yes | n/a
Net Load | Load | Managed Load = Consumption Load net of impacts from all load modifiers | Yes | Median Managed peak and energy tuned to match IEPR.
AAEE | Load Modifier | Additional Achievable Energy Efficiency | No | IEPR hourly strip recreated in model as-is (but with leap year and Monday start adjustment described above).
AAFS | Load Modifier | Additional Achievable Energy Efficiency | No | IEPR hourly strip recreated in model as-is (but with leap year and Monday start adjustment described above).
BTMPV | Load Modifier | Behind The Meter Solar PV | Yes | IEPR monthly installed capacity adjusted such that modeled median annual production matches the IEPR for each IEPR Forecast Zone. For non-California regions, the monthly installed capacity is extrapolated from FERC recent year historical trends.
BTMStorageShapeCharge | Load Modifier | Behind The Meter Storage charging | No | Charging portion of IEPR hourly strip recreated in model as-is (but with leap year and Monday start adjustment described above). Res and Non-Res components combined.
BTMStorageShapeDischarge | Load Modifier | Behind The Meter Storage discharging | No | Discharging portion of IEPR hourly strip recreated in model as-is (but with leap year and Monday start adjustment described above). Res and Non-Res components combined.
CLIM_CHG_nou | Load Modifier | Climate effects increasing load | No | Load increase portion of IEPR hourly strip recreated in model as-is (but with leap year and Monday start adjustment described above).
CLIM_CHG_gen | Load Modifier | Climate effects decreasing load | No | Load increase portion of IEPR hourly strip recreated in model as-is (but with leap year and Monday start adjustment described above).
DATA_CEN | Load Modifier | Data center forecast effects | No | IEPR hourly strip recreated in model as-is (but with leap year and Monday start adjustment described above).
EV | Load Modifier | Electric Vehicle charging | No | IEPR hourly strip recreated in model as-is (but with leap year and Monday start adjustment described above). Baseline, AATE, Light, Medium, Heavy Duty components all combined.