## 38MMT_2026_PSP_2019IEPR_study_8
Case Number | Region Description | Load Forecast Uncertainty | Iterations | Probability | Weather Year | Load (MWh) | Charging Load (MWh) | Total Generation | Purchases | Direct Purchases | Energy Sales | Scheduled Hydro | Total IS Generation | Renewable Generation | Reg Up Supplied | Reg Down Supplied | Spin Supplied | Non Spin Supplied | Reg Up Loss of Reserve Energy | Reg Down Loss of Reserve Energy | Spin Loss of Reserve Energy | Non Spin Loss of Reserve Energy | EUE_Capacity | EUE_MultiHour | Curtailed Energy | LOLE_Capacity | LOLE_MultiHour | LOLH_Capacity | LOLH_MultiHour | LOLP_Capacity | Interruptible Calls | Reg Up Reserves Shortage Days Count | Reg Up Reserves Shortage Hours Count | Reg Down Reserves Shortage Days Count | Reg Down Reserves Shortage Hours Count | Spinning Reserves Shortage Days Count | Spinning Reserves Shortage Hours Count | Quick Start Reserves Shortage Days Count | Quick Start Reserves Shortage Hours Count | Curtail Days Count | Curtail Hours Count | System EFOR | System EFORd | Iteration Percentage with EUE_Capacity | Energy Margin | Spin Margin | Non-Spin Margin | Max Reg Down | Max Reg Up | Max Spin | Max LF | Max Non Spin | System Losses (MWh)
1 | CAISO | 0 | 50 | 0.019147 | 1998 | 253095120 | 30069148 | 267680576 | 18381550 | 7090866 | 9150592 | 39201740 | 1714.24 | 120497336 | 7592835 | 96964816 | 87697624 | 195635824 | 0 | 0 | 0 | 7328.71 | 0 | 0 | 836656.75 | 0 | 0 | 0 | 0 | 0 | 91.25 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3 | 18.42 | 94.68 | 272.28 | 3.04 | 1.68 | 0 | 44366192 | 29.57 | 0 | 0 | 1773.41 | 1773.41 | 5320.23 | 1773.41 | 0
2 | CAISO | 1.5 | 50 | 0.012086 | 1998 | 256891504 | 30085426 | 270241792 | 19412112 | 7091057 | 9021608 | 39204136 | 2310.32 | 120497336 | 7706726 | 97818016 | 87333992 | 195344160 | 0 | 0 | 0 | 12911.35 | 153.14 | 0 | 745049.88 | 0.06 | 0 | 0.14 | 0 | 0 | 91.76 | 0 | 0 | 0 | 0 | 0 | 0 | 12.52 | 27.86 | 87.52 | 246.44 | 3.01 | 1.7 | 0.54 | 49967776 | 30.13 | 0 | 0 | 1800.01 | 1800.01 | 5400.03 | 1800.01 | 0
3 | CAISO | -1.5 | 50 | 0.012086 | 1998 | 249298640 | 30082106 | 265047056 | 17452188 | 7091925.5 | 9258804 | 39202568 | 1421.5 | 120497336 | 7478942 | 96171552 | 88267152 | 196120768 | 0 | 0 | 0 | 4015.59 | 14.72 | 0 | 950110 | 0.02 | 0 | 0.04 | 0 | 0 | 90.82 | 0 | 0 | 0 | 0 | 0 | 0 | 6.52 | 12.1 | 98.6 | 298.36 | 3.02 | 1.66 | 0.34 | 39202808 | 29.39 | 0 | 0 | 1746.81 | 1746.81 | 5240.42 | 1746.81 | 0
4 | CAISO | 2.5 | 50 | 0.00334 | 1998 | 259422432 | 30148972 | 272037504 | 20101988 | 7090366 | 9002748 | 39204848 | 4895.58 | 120497336 | 7782655 | 98371320 | 87135096 | 195129792 | 0 | 0 | 0 | 18000.67 | 998.08 | 0 | 655174.75 | 0.22 | 0 | 0.56 | 0 | 0.01 | 93.77 | 0 | 0 | 0 | 0 | 0 | 0 | 14.18 | 32.54 | 81.66 | 222.98 | 3.02 | 1.73 | 0.88 | 57470272 | 30.21 | 0 | 0 | 1817.74 | 1817.74 | 5453.23 | 1817.74 | 0
5 | CAISO | -2.5 | 50 | 0.00334 | 1998 | 246767696 | 30050272 | 263267328 | 16850128 | 7091520 | 9329557 | 39201988 | 1375.58 | 120497336 | 7403014.5 | 95463664 | 88782480 | 196959424 | 0 | 0 | 0 | 3123.46 | 0 | 0 | 1059920.88 | 0 | 0 | 0 | 0 | 0 | 90.96 | 0 | 0 | 0 | 0 | 0 | 0 | 5.42 | 9.16 | 106.18 | 325.46 | 2.95 | 1.62 | 0 | 36920420 | 29.03 | 0 | 0 | 1729.07 | 1729.07 | 5187.22 | 1729.07 | 0
6 | CAISO | 0 | 50 | 0.019147 | 1999 | 251131040 | 30558326 | 264727488 | 19722480 | 7241085.5 | 9094423 | 31544068 | 1394.58 | 126949288 | 7533912 | 95749544 | 89016040 | 197940352 | 0 | 0 | 0 | 2447.47 | 0 | 0 | 905787.44 | 0 | 0 | 0 | 0 | 0 | 90.79 | 0 | 0 | 0 | 0 | 0 | 0 | 2.12 | 4.48 | 102.66 | 314.46 | 3.09 | 1.69 | 0 | 35416280 | 26.14 | 0 | 0 | 1687.15 | 1687.15 | 5061.46 | 1687.15 | 0
7 | CAISO | 1.5 | 50 | 0.012086 | 1999 | 254897936 | 30596512 | 266835184 | 21025682 | 7243477.5 | 8847997 | 31544404 | 1350.02 | 126949288 | 7646922.5 | 96385528 | 88334032 | 197267936 | 0 | 0 | 0 | 2695.24 | 0 | 0 | 760386.13 | 0 | 0 | 0 | 0 | 0 | 90.94 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7 | 5.3 | 95.46 | 279.58 | 3.1 | 1.71 | 0 | 44331360 | 27.38 | 0 | 0 | 1712.46 | 1712.46 | 5137.39 | 1712.46 | 0
8 | CAISO | -1.5 | 50 | 0.012086 | 1999 | 247364000 | 30296248 | 262308672 | 18559930 | 7240330.5 | 9397527 | 31544068 | 1264.14 | 126949288 | 7420905.5 | 95042712 | 89543632 | 198465280 | 0 | 0 | 0 | 1975.72 | 0 | 0 | 1049599.63 | 0 | 0 | 0 | 0 | 0 | 90.73 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3 | 3.96 | 113.9 | 356.8 | 3.01 | 1.63 | 0 | 31893882 | 27.15 | 0 | 0 | 1661.85 | 1661.85 | 4985.54 | 1661.85 | 0
9 | CAISO | 2.5 | 50 | 0.00334 | 1999 | 257409248 | 30583474 | 268321808 | 21815370 | 7244393 | 8708609 | 31544682 | 1355.12 | 126949288 | 7722260 | 96925648 | 87833904 | 196507232 | 0 | 0 | 0 | 2991.63 | 0 | 0 | 678737.44 | 0 | 0 | 0 | 0 | 0 | 90.79 | 0 | 0 | 0 | 0 | 0 | 0 | 3.56 | 6.44 | 89.14 | 257.7 | 3.12 | 1.74 | 0 | 47875952 | 28.65 | 0 | 0 | 1729.33 | 1729.33 | 5188 | 1729.33 | 0
10 | CAISO | -2.5 | 50 | 0.00334 | 1999 | 244852752 | 30220684 | 260750096 | 17885112 | 7240488 | 9659716 | 31543834 | 813.94 | 126949288 | 7345566 | 94638352 | 89715800 | 198789904 | 0 | 0 | 0 | 1421.59 | 0 | 0 | 1141054.25 | 0 | 0 | 0 | 0 | 0 | 90.44 | 0 | 0 | 0 | 0 | 0 | 0 | 2.32 | 3.74 | 118.1 | 374.14 | 3.01 | 1.62 | 0 | 28600288 | 29.12 | 0 | 0 | 1644.98 | 1644.98 | 4934.93 | 1644.98 | 0
11 | CAISO | 0 | 50 | 0.019147 | 2000 | 252629760 | 29979710 | 266597920 | 19706552 | 7041501 | 9568737 | 30793418 | 1099.06 | 123762504 | 7578874.5 | 97872896 | 87817552 | 196508448 | 0 | 0 | 0 | 2960.15 | 0 | 0 | 1166225.25 | 0 | 0 | 0 | 0 | 0 | 90.5 | 0 | 0 | 0 | 0 | 0 | 0 | 3.78 | 6.84 | 98.26 | 324.76 | 3.03 | 1.7 | 0 | 53666440 | 30.94 | 0 | 0 | 1718.25 | 1718.25 | 5154.75 | 1718.25 | 0
12 | CAISO | 1.5 | 50 | 0.012086 | 2000 | 256419264 | 30008592 | 269183680 | 20686826 | 7041305 | 9449390 | 30793448 | 1427.9 | 123762504 | 7692555.5 | 98840816 | 87212616 | 195750272 | 0 | 0 | 0 | 5097.51 | 9.84 | 0 | 1033118.44 | 0.04 | 0 | 0.04 | 0 | 0 | 90.88 | 0 | 0 | 0 | 0 | 0 | 0 | 5.56 | 11.42 | 88.22 | 292.24 | 3.05 | 1.74 | 0.94 | 58670248 | 30.39 | 0 | 0 | 1744.03 | 1744.03 | 5232.08 | 1744.03 | 0
13 | CAISO | -1.5 | 50 | 0.012086 | 2000 | 248840368 | 29978854 | 263845424 | 18917072 | 7041782.5 | 9667069 | 30793456 | 877.64 | 123762504 | 7465190.5 | 97082960 | 88334984 | 196938976 | 0 | 0 | 0 | 1813.26 | 0 | 0 | 1316513 | 0 | 0 | 0 | 0 | 0 | 90.48 | 0 | 0 | 0 | 0 | 0 | 0 | 2.68 | 4.2 | 105.98 | 359.24 | 3.05 | 1.7 | 0 | 49268840 | 32.11 | 0 | 0 | 1692.48 | 1692.48 | 5077.43 | 1692.48 | 0
14 | CAISO | 2.5 | 50 | 0.00334 | 2000 | 258945504 | 29975944 | 270922272 | 21265228 | 7041739.5 | 9364821 | 30793444 | 1478.9 | 123762504 | 7768345 | 99238216 | 86912208 | 195440016 | 0 | 0 | 0 | 5057.92 | 22.78 | 0 | 941469.19 | 0.04 | 0 | 0.04 | 0 | 0 | 90.86 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4 | 12.1 | 83.18 | 269.8 | 3.05 | 1.76 | 0.88 | 63767096 | 30.33 | 0 | 0 | 1761.21 | 1761.21 | 5283.62 | 1761.21 | 0
15 | CAISO | -2.5 | 50 | 0.00334 | 2000 | 246314032 | 29875516 | 261992448 | 18475750 | 7041891 | 9882682 | 30793464 | 858.72 | 123762504 | 7389403 | 96659888 | 88582368 | 197141456 | 0 | 0 | 0 | 1524.28 | 0 | 0 | 1436326.13 | 0 | 0 | 0 | 0 | 0 | 90.44 | 0 | 0 | 0 | 0 | 0 | 0 | 2.52 | 3.74 | 112.76 | 386.6 | 3.02 | 1.67 | 0 | 44761392 | 33.15 | 0 | 0 | 1675.3 | 1675.3 | 5025.89 | 1675.3 | 0
16 | CAISO | 0 | 50 | 0.019147 | 2001 | 254428496 | 29691204 | 266802080 | 20988604 | 6979375 | 10162088 | 20752364 | 822.54 | 122498856 | 7632823 | 101655560 | 86260832 | 194249920 | 0 | 0 | 0 | 1905.67 | 0 | 0 | 486743.47 | 0 | 0 | 0 | 0 | 0 | 90.18 | 0 | 0 | 0 | 0 | 0 | 0 | 4.96 | 6.98 | 75.02 | 200.78 | 3.05 | 1.8 | 0 | 66840296 | 32.07 | 0 | 0 | 1609.42 | 1609.42 | 4828.25 | 1609.42 | 0
17 | CAISO | 1.5 | 50 | 0.012086 | 2001 | 258245008 | 29584648 | 269550112 | 21860084 | 6977760 | 10128641 | 20752320 | 680.68 | 122498856 | 7747312.5 | 102633632 | 85710008 | 193157248 | 0 | 0 | 0 | 2535.3 | 27.52 | 0 | 428235.56 | 0.02 | 0 | 0.04 | 0 | 0 | 90.18 | 0 | 0 | 0 | 0 | 0 | 0 | 6.42 | 10.1 | 72.66 | 183.84 | 3.06 | 1.84 | 0.22 | 76484760 | 30.25 | 0 | 0 | 1633.56 | 1633.56 | 4900.67 | 1633.56 | 0
18 | CAISO | -1.5 | 50 | 0.012086 | 2001 | 250612112 | 29748796 | 263828768 | 20340038 | 6983082.5 | 10236295 | 20752384 | 759.36 | 122498856 | 7518334 | 100761552 | 86646368 | 194826336 | 0 | 0 | 0 | 1773.46 | 0 | 0 | 553189.38 | 0 | 0 | 0 | 0 | 0 | 90.18 | 0 | 0 | 0 | 0 | 0 | 0 | 3.44 | 5.34 | 79.7 | 221.98 | 3.04 | 1.78 | 0 | 59425220 | 31.81 | 0 | 0 | 1585.28 | 1585.28 | 4755.83 | 1585.28 | 0
19 | CAISO | 2.5 | 50 | 0.00334 | 2001 | 260789248 | 29552328 | 271578688 | 22261180 | 6975767 | 10072515 | 20752292 | 933.1 | 122498856 | 7823639.5 | 103235904 | 85560952 | 192891584 | 0 | 0 | 0 | 5133.54 | 5 | 0 | 400072 | 0.02 | 0 | 0.02 | 0 | 0 | 90.56 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7 | 15.08 | 68.54 | 173.32 | 3.06 | 1.86 | 0.08 | 83113976 | 29.24 | 0 | 0 | 1649.65 | 1649.65 | 4948.96 | 1649.65 | 0
20 | CAISO | -2.5 | 50 | 0.00334 | 2001 | 248067808 | 29703320 | 262023072 | 19717354 | 6983657 | 10347442 | 20752416 | 922.86 | 122498856 | 7442004 | 100244000 | 86902400 | 195170848 | 0 | 0 | 0 | 2219.49 | 0 | 0 | 603962.56 | 0 | 0 | 0 | 0 | 0 | 90.24 | 0 | 0 | 0 | 0 | 0 | 0 | 2.96 | 5.36 | 84.68 | 241.44 | 3.06 | 1.77 | 0 | 56078324 | 32.11 | 0 | 0 | 1569.18 | 1569.18 | 4707.55 | 1569.18 | 0
21 | CAISO | 0 | 50 | 0.019147 | 2002 | 252884576 | 30078948 | 266157792 | 19902892 | 7156138.5 | 9455305 | 24548356 | 988.86 | 126500144 | 7586515 | 98236720 | 87944344 | 196315776 | 0 | 0 | 0 | 2252.78 | 0 | 0 | 796558.13 | 0 | 0 | 0 | 0 | 0 | 90.58 | 0 | 0 | 0 | 0 | 0 | 0 | 2.76 | 5.02 | 94.5 | 278.28 | 3.04 | 1.75 | 0 | 56802096 | 28.81 | 0 | 0 | 1639.52 | 1639.52 | 4918.56 | 1639.52 | 0
22 | CAISO | 1.5 | 50 | 0.012086 | 2002 | 256677824 | 30075560 | 268439456 | 21113988 | 7155380 | 9257905 | 24548598 | 1675.86 | 126500144 | 7700313.5 | 98946096 | 87375928 | 195695296 | 0 | 0 | 0 | 4132.98 | 0 | 0 | 696116.13 | 0 | 0 | 0 | 0 | 0 | 91.08 | 0 | 0 | 0 | 0 | 0 | 0 | 4.48 | 9.14 | 88.9 | 250.76 | 3.06 | 1.77 | 0 | 64837628 | 26.07 | 0 | 0 | 1664.11 | 1664.11 | 4992.34 | 1664.11 | 0
23 | CAISO | -1.5 | 50 | 0.012086 | 2002 | 249091264 | 30040580 | 263204064 | 19251756 | 7157905 | 9597507 | 24548364 | 1228.1 | 126500144 | 7472720 | 97506464 | 88172416 | 196579504 | 0 | 0 | 0 | 2243.84 | 0 | 0 | 882867.31 | 0 | 0 | 0 | 0 | 0 | 90.72 | 0 | 0 | 0 | 0 | 0 | 0 | 3.44 | 5.48 | 98.7 | 300.22 | 3.03 | 1.71 | 0 | 53254220 | 28.59 | 0 | 0 | 1614.93 | 1614.93 | 4844.78 | 1614.93 | 0
24 | CAISO | 2.5 | 50 | 0.00334 | 2002 | 259206608 | 30080412 | 270452960 | 21498808 | 7154938.5 | 9186934 | 24548544 | 1929.66 | 126500144 | 7776177.5 | 99682144 | 86984272 | 195082496 | 0 | 0 | 0 | 6312.51 | 2.16 | 0 | 631288.31 | 0.02 | 0 | 0.02 | 0 | 0 | 91.44 | 0 | 0 | 0 | 0 | 0 | 0 | 6.88 | 13.88 | 83.06 | 229.9 | 3.06 | 1.79 | 0.08 | 70112032 | 26.48 | 0 | 0 | 1680.51 | 1680.51 | 5041.52 | 1680.51 | 0
25 | CAISO | -2.5 | 50 | 0.00334 | 2002 | 246562448 | 30006842 | 261396624 | 18737198 | 7158224 | 9765777 | 24548340 | 1392.68 | 126500144 | 7396854.5 | 96943112 | 88492776 | 197064672 | 0 | 0 | 0 | 2230.42 | 0 | 0 | 955501.31 | 0 | 0 | 0 | 0 | 0 | 90.76 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4 | 5.22 | 101.12 | 317.36 | 3.05 | 1.7 | 0 | 47483632 | 28.46 | 0 | 0 | 1598.53 | 1598.53 | 4795.59 | 1598.53 | 0
26 | CAISO | 0 | 50 | 0.019147 | 2003 | 255412432 | 30216398 | 268061456 | 20342190 | 7011487 | 9071519 | 28087412 | 1155.84 | 122536104 | 7662353.5 | 99524088 | 86922680 | 195411840 | 0 | 0 | 0 | 3361.95 | 0 | 0 | 713176.06 | 0 | 0 | 0 | 0 | 0 | 90.42 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3 | 10.56 | 82.56 | 229.98 | 3.04 | 1.76 | 0 | 61134184 | 29.24 | 0 | 0 | 1662.63 | 1662.63 | 4987.88 | 1662.63 | 0
27 | CAISO | 1.5 | 50 | 0.012086 | 2003 | 259243664 | 30246124 | 270767552 | 21213296 | 7010839.5 | 8866944 | 28087416 | 958.1 | 122536104 | 7777290.5 | 100103016 | 86657544 | 195227568 | 0 | 0 | 0 | 5294.72 | 0 | 0 | 633392.44 | 0 | 0 | 0 | 0 | 0 | 90.51 | 0 | 0 | 0 | 0 | 0 | 0 | 8.22 | 14.68 | 75.38 | 202.26 | 3.05 | 1.78 | 0 | 66765412 | 27.96 | 0 | 0 | 1687.57 | 1687.57 | 5062.7 | 1687.57 | 0
28 | CAISO | -1.5 | 50 | 0.012086 | 2003 | 251581248 | 30158306 | 265106048 | 19708306 | 7011240.5 | 9256839 | 28087434 | 910.06 | 122536104 | 7547419 | 98781176 | 87400208 | 195823856 | 0 | 0 | 0 | 3101.68 | 0 | 0 | 827585.88 | 0 | 0 | 0 | 0 | 0 | 90.46 | 0 | 0 | 0 | 0 | 0 | 0 | 5.16 | 8.9 | 88.12 | 259.56 | 3.03 | 1.73 | 0 | 56026988 | 30.34 | 0 | 0 | 1637.69 | 1637.69 | 4913.06 | 1637.69 | 0
29 | CAISO | 2.5 | 50 | 0.00334 | 2003 | 261797792 | 30216774 | 272857920 | 21571144 | 7010169.5 | 8833381 | 28087346 | 1155.04 | 122536104 | 7853911.5 | 100825000 | 86236496 | 194470368 | 0 | 0 | 0 | 7727.84 | 0 | 0 | 589745.5 | 0 | 0 | 0 | 0 | 0 | 90.65 | 0 | 0 | 0 | 0 | 0 | 0 | 9.82 | 19.34 | 72.1 | 189.78 | 3.06 | 1.8 | 0 | 75127584 | 28.29 | 0 | 0 | 1704.19 | 1704.19 | 5112.58 | 1704.19 | 0
30 | CAISO | -2.5 | 50 | 0.00334 | 2003 | 249027136 | 30185040 | 263592736 | 18800130 | 7010401 | 9322742 | 28087450 | 973.4 | 122536104 | 7470797 | 98169656 | 87798368 | 196270912 | 0 | 0 | 0 | 1992.69 | 0 | 0 | 866777.88 | 0 | 0 | 0 | 0 | 0 | 90.32 | 0 | 0 | 0 | 0 | 0 | 0 | 3.32 | 5.48 | 94.36 | 279.36 | 3.02 | 1.71 | 0 | 52129688 | 31.12 | 0 | 0 | 1621.06 | 1621.06 | 4863.19 | 1621.06 | 0
31 | CAISO | 0 | 50 | 0.019147 | 2004 | 254077792 | 29890208 | 267803232 | 19702578 | 6992793.5 | 9849010 | 26552238 | 1007.5 | 125159968 | 7622314.5 | 98758472 | 87229688 | 196257632 | 0 | 0 | 0 | 1674.39 | 0 | 0 | 679994.81 | 0 | 0 | 0 | 0 | 0 | 90.18 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8 | 4.56 | 88.22 | 246.42 | 3.09 | 1.77 | 0 | 62411204 | 29.45 | 0 | 0 | 1647.72 | 1647.72 | 4943.16 | 1647.72 | 0
32 | CAISO | 1.5 | 50 | 0.012086 | 2004 | 257888928 | 29969312 | 270895936 | 20308328 | 6991296 | 9750379 | 26552238 | 1159.48 | 125159968 | 7736648 | 99825344 | 86759336 | 195119760 | 0 | 0 | 0 | 3869.93 | 0 | 0 | 585329.94 | 0 | 0 | 0 | 0 | 0 | 90.5 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4 | 9.84 | 83.36 | 221.62 | 3.06 | 1.79 | 0 | 73934752 | 28.12 | 0 | 0 | 1672.44 | 1672.44 | 5017.31 | 1672.44 | 0
33 | CAISO | -1.5 | 50 | 0.012086 | 2004 | 250266592 | 29904514 | 264903568 | 18892434 | 6993759.5 | 9824728 | 26552240 | 1047.46 | 125159968 | 7507979.5 | 97903328 | 87760016 | 196963904 | 0 | 0 | 0 | 1547.89 | 0 | 0 | 792369.5 | 0 | 0 | 0 | 0 | 0 | 90.28 | 0 | 0 | 0 | 0 | 0 | 0 | 2.42 | 3.98 | 94.12 | 278.86 | 3.06 | 1.73 | 0 | 54578200 | 30.63 | 0 | 0 | 1623 | 1623 | 4869.01 | 1623 | 0
34 | CAISO | 2.5 | 50 | 0.00334 | 2004 | 260429680 | 29930616 | 272746784 | 20875266 | 6991243.5 | 9728191 | 26552238 | 1009.62 | 125159968 | 7812870 | 100445880 | 86441560 | 194413840 | 0 | 0 | 0 | 4724.63 | 0 | 0 | 523234 | 0 | 0 | 0 | 0 | 0 | 90.6 | 0 | 0 | 0 | 0 | 0 | 0 | 7.12 | 12.82 | 78.28 | 205.6 | 3.07 | 1.8 | 0 | 74076384 | 27.82 | 0 | 0 | 1688.91 | 1688.91 | 5066.74 | 1688.91 | 0
35 | CAISO | -2.5 | 50 | 0.00334 | 2004 | 247725776 | 29881228 | 262882384 | 18484894 | 6995743 | 9873332 | 26552238 | 933.58 | 125159968 | 7431758 | 97358264 | 88086512 | 197337888 | 0 | 0 | 0 | 1025.22 | 0 | 0 | 881031.38 | 0 | 0 | 0 | 0 | 0 | 90.34 | 0 | 0 | 0 | 0 | 0 | 0 | 2.34 | 3.04 | 98.12 | 301.34 | 3.04 | 1.7 | 0 | 48601816 | 31.19 | 0 | 0 | 1606.53 | 1606.53 | 4819.58 | 1606.53 | 0
36 | CAISO | 0 | 50 | 0.019147 | 2005 | 253370336 | 29771850 | 268463360 | 18527860 | 6887978.5 | 9722052 | 31033744 | 1077.36 | 121780416 | 7601089.5 | 99009480 | 87050848 | 195137056 | 0 | 0 | 0 | 2525.3 | 0 | 0 | 1013451.75 | 0 | 0 | 0 | 0 | 0 | 90.36 | 0 | 0 | 0 | 0 | 0 | 0 | 4.84 | 7.9 | 83.16 | 289 | 2.99 | 1.73 | 0 | 56669604 | 33.1 | 0 | 0 | 1655.73 | 1655.73 | 4967.2 | 1655.73 | 0
37 | CAISO | 1.5 | 50 | 0.012086 | 2005 | 257170832 | 29736538 | 270828672 | 19620310 | 6888078 | 9560566 | 31034274 | 1168.38 | 121780416 | 7715107 | 99863344 | 86478512 | 194435200 | 0 | 0 | 0 | 4272.41 | 0 | 0 | 867598.5 | 0 | 0 | 0 | 0 | 0 | 90.68 | 0 | 0 | 0 | 0 | 0 | 0 | 6.48 | 11.68 | 79.48 | 258.9 | 3.02 | 1.75 | 0 | 65435224 | 31.86 | 0 | 0 | 1680.57 | 1680.57 | 5041.71 | 1680.57 | 0
38 | CAISO | -1.5 | 50 | 0.012086 | 2005 | 249569728 | 29719056 | 265358816 | 17947942 | 6891253 | 9783001 | 31033824 | 921.76 | 121780416 | 7487073.5 | 98045152 | 87507760 | 195755520 | 0 | 0 | 0 | 1877.39 | 0 | 0 | 1124690 | 0 | 0 | 0 | 0 | 0 | 90.4 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2 | 5.18 | 87.46 | 313.3 | 2.98 | 1.7 | 0 | 50034104 | 32.95 | 0 | 0 | 1630.9 | 1630.9 | 4892.7 | 1630.9 | 0
39 | CAISO | 2.5 | 50 | 0.00334 | 2005 | 259704544 | 29792652 | 272773056 | 20078194 | 6886342 | 9435778 | 31034166 | 725.2 | 121780416 | 7791115.5 | 100368816 | 86311744 | 194167280 | 0 | 0 | 0 | 3612.08 | 0 | 0 | 803108.94 | 0 | 0 | 0 | 0 | 0 | 90.26 | 0 | 0 | 0 | 0 | 0 | 0 | 6.14 | 10.86 | 77.12 | 243.76 | 3.03 | 1.77 | 0 | 65487880 | 31.26 | 0 | 0 | 1697.13 | 1697.13 | 5091.38 | 1697.13 | 0
40 | CAISO | -2.5 | 50 | 0.00334 | 2005 | 247036048 | 29693526 | 263767968 | 17239680 | 6890198 | 9951380 | 31033716 | 788.2 | 121780416 | 7411064 | 97488368 | 87804784 | 196115168 | 0 | 0 | 0 | 770.53 | 0 | 0 | 1215392.63 | 0 | 0 | 0 | 0 | 0 | 90.16 | 0 | 0 | 0 | 0 | 0 | 0 | 2.26 | 3.14 | 90.28 | 330.98 | 3 | 1.7 | 0 | 45360992 | 34.01 | 0 | 0 | 1614.34 | 1614.34 | 4843.02 | 1614.34 | 0
41 | CAISO | 0 | 50 | 0.019147 | 2006 | 254538400 | 30523444 | 271210432 | 17267798 | 7067922.5 | 9634820 | 36833824 | 4204.22 | 122374616 | 7636137.5 | 98269632 | 87303520 | 195195648 | 0 | 0 | 0 | 12941.32 | 802.4 | 0 | 848778.5 | 0.26 | 0 | 0.46 | 0 | 0.01 | 93.06 | 0 | 0 | 0 | 0 | 0 | 0 | 9.32 | 22.12 | 85.7 | 245.74 | 3.05 | 1.73 | 0.92 | 61954200 | 27.05 | 0 | 0 | 1769.75 | 1769.75 | 5309.24 | 1769.75 | 0
42 | CAISO | 1.5 | 50 | 0.012086 | 2006 | 258356448 | 30523150 | 273867520 | 18182228 | 7066096.5 | 9502322 | 36828712 | 6349.5 | 122374616 | 7750679 | 99038552 | 87001136 | 194888512 | 0 | 0 | 0 | 16980.43 | 1904.04 | 0 | 734314.25 | 0.58 | 0 | 1.18 | 0 | 0.01 | 94.68 | 0 | 0 | 0 | 0 | 0 | 0 | 10.1 | 25.92 | 79.16 | 220.92 | 3.07 | 1.75 | 0.94 | 71083768 | 27.4 | 0 | 0 | 1796.29 | 1796.29 | 5388.88 | 1796.29 | 0
43 | CAISO | -1.5 | 50 | 0.012086 | 2006 | 250720320 | 30496800 | 268642976 | 16296705 | 7068458.5 | 9828542 | 36827452 | 2604.52 | 122374616 | 7521595 | 97588736 | 87553488 | 195303440 | 0 | 0 | 0 | 9912.53 | 240.7 | 0 | 961201.63 | 0.08 | 0 | 0.16 | 0 | 0 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9 | 18.4 | 90.84 | 269.44 | 3.02 | 1.69 | 0.82 | 53773880 | 29.49 | 0 | 0 | 1743.2 | 1743.2 | 5229.6 | 1743.2 | 0
44 | CAISO | 2.5 | 50 | 0.00334 | 2006 | 260901888 | 30565616 | 275530240 | 18961660 | 7065261 | 9408079 | 36823452 | 9802.4 | 122374616 | 7827039 | 99492136 | 86931104 | 195093952 | 0 | 0 | 0 | 18321.11 | 5103.94 | 0 | 685171.88 | 0.86 | 0 | 2.36 | 0 | 0.03 | 96.43 | 0 | 0 | 0 | 0 | 0 | 0 | 10.72 | 27.34 | 74.34 | 206.28 | 3.06 | 1.77 | 1 | 85032800 | 27.93 | 0 | 0 | 1813.99 | 1813.99 | 5441.98 | 1813.99 | 0
45 | CAISO | -2.5 | 50 | 0.00334 | 2006 | 248174944 | 30511414 | 266760688 | 15833854 | 7070446.5 | 9919350 | 36827112 | 2195.3 | 122374616 | 7445233 | 97011504 | 87957328 | 195775648 | 0 | 0 | 0 | 6540.13 | 207.32 | 0 | 1057957.88 | 0.12 | 0 | 0.26 | 0 | 0 | 91.48 | 0 | 0 | 0 | 0 | 0 | 0 | 5.92 | 13.28 | 95.36 | 289.14 | 3.06 | 1.7 | 0.44 | 52249604 | 30.6 | 0 | 0 | 1725.5 | 1725.5 | 5176.51 | 1725.5 | 0
46 | CAISO | 0 | 50 | 0.019147 | 2007 | 252389280 | 30214490 | 265703120 | 20385466 | 7057752 | 9738548 | 21807608 | 1578.7 | 127164320 | 7571657.5 | 98787400 | 87809728 | 196187168 | 0 | 0 | 0 | 4118.35 | 5.28 | 0 | 802463.81 | 0.02 | 0 | 0.04 | 0 | 0 | 90.64 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7 | 10.54 | 92.9 | 280.9 | 3.05 | 1.75 | 0.14 | 56416544 | 25.9 | 0 | 0 | 1702.55 | 1702.55 | 5107.65 | 1702.55 | 0
47 | CAISO | 1.5 | 50 | 0.012086 | 2007 | 256175136 | 30285632 | 268101568 | 21531092 | 7055475.5 | 9507921 | 21807600 | 2679.1 | 127164320 | 7685233 | 99515856 | 87512688 | 196124800 | 0 | 0 | 0 | 8003.05 | 340.36 | 0 | 718290.13 | 0.12 | 0 | 0.26 | 0 | 0 | 91.34 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4 | 16.14 | 88.56 | 258.62 | 3.08 | 1.79 | 0.78 | 65667856 | 23.93 | 0 | 0 | 1728.09 | 1728.09 | 5184.27 | 1728.09 | 0
48 | CAISO | -1.5 | 50 | 0.012086 | 2007 | 248603456 | 30131340 | 262947216 | 19574324 | 7059725 | 9948994 | 21807612 | 1413.56 | 127164320 | 7458083.5 | 97968480 | 88022344 | 196740800 | 0 | 0 | 0 | 2322.41 | 0 | 0 | 895931.13 | 0 | 0 | 0 | 0 | 0 | 90.36 | 0 | 0 | 0 | 0 | 0 | 0 | 4.38 | 6.92 | 97.94 | 306.36 | 3.06 | 1.73 | 0 | 50420244 | 27 | 0 | 0 | 1677.01 | 1677.01 | 5031.04 | 1677.01 | 0
49 | CAISO | 2.5 | 50 | 0.00334 | 2007 | 258699072 | 30300246 | 269961344 | 22122536 | 7054567 | 9446827 | 21807608 | 2998.3 | 127164320 | 7760947.5 | 100133240 | 87237656 | 195589568 | 0 | 0 | 0 | 9415.64 | 169.04 | 0 | 691000.38 | 0.14 | 0 | 0.24 | 0 | 0 | 91.64 | 0 | 0 | 0 | 0 | 0 | 0 | 8.18 | 19.22 | 84.96 | 249.48 | 3.1 | 1.82 | 1 | 69918264 | 23.14 | 0 | 0 | 1745.11 | 1745.11 | 5235.34 | 1745.11 | 0
50 | CAISO | -2.5 | 50 | 0.00334 | 2007 | 246079568 | 30117254 | 261303680 | 18855944 | 7060095 | 10047748 | 21807616 | 964.82 | 127164320 | 7382366.5 | 97499864 | 88310544 | 197190480 | 0 | 0 | 0 | 2102.86 | 0 | 0 | 973557 | 0 | 0 | 0 | 0 | 0 | 90.34 | 0 | 0 | 0 | 0 | 0 | 0 | 3.66 | 5.82 | 102.78 | 328.4 | 3.1 | 1.74 | 0 | 47271856 | 26.46 | 0 | 0 | 1659.99 | 1659.99 | 4979.96 | 1659.99 | 0
51 | CAISO | 0 | 50 | 0.019147 | 2008 | 254432576 | 30131630 | 267676048 | 20767870 | 7221588.5 | 10086868 | 19285488 | 1336.82 | 128381048 | 7632952 | 99512528 | 88630384 | 197367104 | 0 | 0 | 0 | 4626.98 | 0 | 0 | 1013041 | 0 | 0 | 0 | 0 | 0 | 90.86 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3 | 11.5 | 108.9 | 360.02 | 3.05 | 1.79 | 0 | 58915048 | 23.6 | 0 | 0 | 1657.98 | 1657.98 | 4973.93 | 1657.98 | 0
52 | CAISO | 1.5 | 50 | 0.012086 | 2008 | 258249056 | 29994776 | 270193888 | 21741132 | 7216751 | 9973045 | 19285448 | 1683.28 | 128381048 | 7747447 | 100367680 | 88328784 | 196781968 | 0 | 0 | 0 | 6752.24 | 0 | 0 | 933503.19 | 0 | 0 | 0 | 0 | 0 | 91.24 | 0 | 0 | 0 | 0 | 0 | 0 | 7.88 | 15.58 | 105.9 | 338 | 3.08 | 1.83 | 0 | 68852016 | 21.11 | 0 | 0 | 1682.85 | 1682.85 | 5048.54 | 1682.85 | 0
53 | CAISO | -1.5 | 50 | 0.012086 | 2008 | 250616096 | 30096108 | 264654592 | 20234896 | 7222654.5 | 10222642 | 19285514 | 1471.28 | 128381048 | 7518457 | 98649376 | 89068360 | 198131024 | 0 | 0 | 0 | 3860.97 | 0 | 0 | 1175886.38 | 0 | 0 | 0 | 0 | 0 | 90.66 | 0 | 0 | 0 | 0 | 0 | 0 | 4.86 | 9.38 | 116.9 | 390.24 | 3.06 | 1.76 | 0 | 54357248 | 25.35 | 0 | 0 | 1633.11 | 1633.11 | 4899.32 | 1633.11 | 0
54 | CAISO | 2.5 | 50 | 0.00334 | 2008 | 260793408 | 29992148 | 271979392 | 22311684 | 7216928.5 | 9859795 | 19285426 | 2216.8 | 128381048 | 7823775 | 101024528 | 87984776 | 196164064 | 0 | 0 | 0 | 8074.07 | 0 | 0 | 861328.19 | 0 | 0 | 0 | 0 | 0 | 91.73 | 0 | 0 | 0 | 0 | 0 | 0 | 9.14 | 18.2 | 100.44 | 316.36 | 3.07 | 1.84 | 0 | 74103072 | 19.72 | 0 | 0 | 1699.43 | 1699.43 | 5098.28 | 1699.43 | 0
55 | CAISO | -2.5 | 50 | 0.00334 | 2008 | 248071760 | 30141794 | 261587040 | 20919862 | 7228800.5 | 10239597 | 19285536 | 1759.34 | 128381048 | 7442129 | 97897096 | 89200968 | 201248864 | 0 | 0 | 0 | 3255.81 | 0 | 0 | 1281100 | 0 | 0 | 0 | 0 | 0 | 90.72 | 0 | 0 | 0 | 0 | 0 | 0 | 4.32 | 7.48 | 120.12 | 415.44 | 3.06 | 1.72 | 0 | 51626376 | 27.92 | 0 | 0 | 1616.53 | 1616.53 | 4849.58 | 1616.53 | 0
56 | CAISO | 0 | 50 | 0.019147 | 2009 | 254348288 | 29857540 | 268450464 | 19746540 | 7074872 | 10270049 | 22847634 | 967.54 | 125922096 | 7630426 | 100519136 | 87644168 | 195572960 | 0 | 0 | 0 | 3087.1 | 0 | 0 | 794413.31 | 0 | 0 | 0 | 0 | 0 | 90.34 | 0 | 0 | 0 | 0 | 0 | 0 | 6.42 | 10.52 | 101.34 | 293.94 | 3.03 | 1.77 | 0 | 62568800 | 27.72 | 0 | 0 | 1691.94 | 1691.94 | 5075.82 | 1691.94 | 0
57 | CAISO | 1.5 | 50 | 0.012086 | 2009 | 258163520 | 29818090 | 271236192 | 20462656 | 7073234 | 10110186 | 22847428 | 1074.42 | 125922096 | 7744881.5 | 101227744 | 87291072 | 195242160 | 0 | 0 | 0 | 4736.44 | 0 | 0 | 678721.88 | 0 | 0 | 0 | 0 | 0 | 90.64 | 0 | 0 | 0 | 0 | 0 | 0 | 8.26 | 14.54 | 95.74 | 263.76 | 3.03 | 1.79 | 0 | 67356480 | 26.49 | 0 | 0 | 1717.32 | 1717.32 | 5151.96 | 1717.32 | 0
58 | CAISO | -1.5 | 50 | 0.012086 | 2009 | 250533120 | 29836096 | 265794320 | 18874606 | 7075852.5 | 10428101 | 22847608 | 901.02 | 125922096 | 7515971 | 99630120 | 88322096 | 196449984 | 0 | 0 | 0 | 3065.3 | 0 | 0 | 945938.56 | 0 | 0 | 0 | 0 | 0 | 90.52 | 0 | 0 | 0 | 0 | 0 | 0 | 5.06 | 8.5 | 111.3 | 328.98 | 3.01 | 1.74 | 0 | 56894640 | 27.02 | 0 | 0 | 1666.56 | 1666.56 | 4999.68 | 1666.56 | 0
59 | CAISO | 2.5 | 50 | 0.00334 | 2009 | 260707024 | 29939036 | 273289312 | 20965366 | 7070662.5 | 10052759 | 22847302 | 1655.82 | 125922096 | 7821183.5 | 101957808 | 87098224 | 194978112 | 0 | 0 | 0 | 6550.09 | 0 | 0 | 625005.75 | 0 | 0 | 0 | 0 | 0 | 91.02 | 0 | 0 | 0 | 0 | 0 | 0 | 10.64 | 19.14 | 91.32 | 247.48 | 3.05 | 1.82 | 0 | 75713232 | 26.92 | 0 | 0 | 1734.24 | 1734.24 | 5202.72 | 1734.24 | 0
60 | CAISO | -2.5 | 50 | 0.00334 | 2009 | 247989600 | 29827588 | 263985264 | 18316640 | 7076956.5 | 10549630 | 22847758 | 630.04 | 125922096 | 7439665.5 | 99081920 | 88469888 | 196803280 | 0 | 0 | 0 | 2374.63 | 0 | 0 | 1010456.38 | 0 | 0 | 0 | 0 | 0 | 90.22 | 0 | 0 | 0 | 0 | 0 | 0 | 4.14 | 7.16 | 114.9 | 350.88 | 3.03 | 1.73 | 0 | 52038368 | 28.55 | 0 | 0 | 1649.64 | 1649.64 | 4948.92 | 1649.64 | 0
61 | CAISO | 0 | 50 | 0.019147 | 2010 | 252580752 | 29500844 | 267481696 | 18759746 | 7001905.5 | 10383982 | 26281016 | 753.86 | 123760360 | 7577397 | 99462824 | 87840448 | 196471728 | 0 | 0 | 0 | 2605.02 | 0 | 0 | 776215.81 | 0 | 0 | 0 | 0 | 0 | 90.36 | 0 | 0 | 0 | 0 | 0 | 0 | 4.6 | 7.58 | 102.64 | 305.12 | 3.01 | 1.74 | 0 | 54708536 | 30.75 | 0 | 0 | 1650.24 | 1650.24 | 4950.73 | 1650.24 | 0
62 | CAISO | 1.5 | 50 | 0.012086 | 2010 | 256369472 | 29482420 | 270259072 | 19565900 | 6999851 | 10307995 | 26281562 | 1590.22 | 123760360 | 7691056 | 100353136 | 87397176 | 195749600 | 0 | 0 | 0 | 4405.96 | 0 | 0 | 663388.31 | 0 | 0 | 0 | 0 | 0 | 91.08 | 0 | 0 | 0 | 0 | 0 | 0 | 5.98 | 10.78 | 99.48 | 280.04 | 3.05 | 1.78 | 0 | 63618720 | 30.47 | 0 | 0 | 1675 | 1675 | 5024.99 | 1675 | 0
63 | CAISO | -1.5 | 50 | 0.012086 | 2010 | 248792080 | 29483346 | 264761984 | 17983982 | 7004208 | 10548253 | 26282014 | 718.78 | 123760360 | 7463738 | 98597192 | 88309712 | 197152880 | 0 | 0 | 0 | 1945.72 | 0 | 0 | 924961.5 | 0 | 0 | 0 | 0 | 0 | 90.34 | 0 | 0 | 0 | 0 | 0 | 0 | 3.44 | 5.94 | 109.12 | 336.24 | 3.02 | 1.72 | 0 | 48973732 | 31.94 | 0 | 0 | 1625.49 | 1625.49 | 4876.47 | 1625.49 | 0
64 | CAISO | 2.5 | 50 | 0.00334 | 2010 | 258895264 | 29424018 | 272452224 | 19794052 | 6998190 | 10317405 | 26281548 | 1591.74 | 123760360 | 7766832 | 100966176 | 87206528 | 195095312 | 0 | 0 | 0 | 6059.1 | 0 | 0 | 606305.63 | 0 | 0 | 0 | 0 | 0 | 91.14 | 0 | 0 | 0 | 0 | 0 | 0 | 6.82 | 14 | 95.74 | 259 | 3.07 | 1.82 | 0 | 69737808 | 29.56 | 0 | 0 | 1691.5 | 1691.5 | 5074.5 | 1691.5 | 0
65 | CAISO | -2.5 | 50 | 0.00334 | 2010 | 246266208 | 29480092 | 263049168 | 17365776 | 7004948.5 | 10653340 | 26282268 | 584.58 | 123760360 | 7387965 | 98141656 | 88545872 | 197412704 | 0 | 0 | 0 | 1511.08 | 0 | 0 | 1018644.38 | 0 | 0 | 0 | 0 | 0 | 90.28 | 0 | 0 | 0 | 0 | 0 | 0 | 3.56 | 5.24 | 112.14 | 357.52 | 3.02 | 1.71 | 0 | 43470744 | 30.88 | 0 | 0 | 1608.99 | 1608.99 | 4826.96 | 1608.99 | 0
66 | CAISO | 0 | 50 | 0.019147 | 2011 | 252770624 | 30343046 | 268623360 | 18030682 | 7247612 | 9487105 | 32399468 | 1419.62 | 126661568 | 7583105 | 96715664 | 89641440 | 198084736 | 0 | 0 | 0 | 2710 | 0 | 0 | 1299364.25 | 0 | 0 | 0 | 0 | 0 | 90.82 | 0 | 0 | 0 | 0 | 0 | 0 | 5.06 | 7.26 | 109.02 | 356.04 | 3.02 | 1.68 | 0 | 48774728 | 26.19 | 0 | 0 | 1664.7 | 1664.7 | 4994.12 | 1664.7 | 0
67 | CAISO | 1.5 | 50 | 0.012086 | 2011 | 256562176 | 30418724 | 271162400 | 19058918 | 7247536.5 | 9347048 | 32399808 | 1949.2 | 126661568 | 7696850.5 | 97569872 | 89125800 | 197437504 | 0 | 0 | 0 | 4205.13 | 0 | 0 | 1139408.38 | 0 | 0 | 0 | 0 | 0 | 91.32 | 0 | 0 | 0 | 0 | 0 | 0 | 7.3 | 11.26 | 101.02 | 319.42 | 3.07 | 1.73 | 0 | 53476872 | 26.14 | 0 | 0 | 1689.68 | 1689.68 | 5069.03 | 1689.68 | 0
68 | CAISO | -1.5 | 50 | 0.012086 | 2011 | 248979104 | 30278372 | 266295152 | 16939046 | 7248298.5 | 9737470 | 32401568 | 892.14 | 126661568 | 7469360 | 95904408 | 90199264 | 198725200 | 0 | 0 | 0 | 1083.39 | 0 | 0 | 1486021.75 | 0 | 0 | 0 | 0 | 0 | 90.42 | 0 | 0 | 0 | 0 | 0 | 0 | 3.24 | 4.36 | 117.22 | 397.72 | 3 | 1.65 | 0 | 41440428 | 28.19 | 0 | 0 | 1639.73 | 1639.73 | 4919.2 | 1639.73 | 0
69 | CAISO | 2.5 | 50 | 0.00334 | 2011 | 259089952 | 30384550 | 272941056 | 19686794 | 7246832 | 9299679 | 32399914 | 2198.12 | 126661568 | 7772680 | 98041616 | 88994088 | 197335104 | 0 | 0 | 0 | 4559.52 | 0 | 0 | 1099063.13 | 0 | 0 | 0 | 0 | 0 | 91.5 | 0 | 0 | 0 | 0 | 0 | 0 | 6.82 | 11.6 | 97.9 | 302.58 | 3.09 | 1.75 | 0 | 55812524 | 25.32 | 0 | 0 | 1706.32 | 1706.32 | 5118.97 | 1706.32 | 0
70 | CAISO | -2.5 | 50 | 0.00334 | 2011 | 246451360 | 30224912 | 264673008 | 16268310 | 7247673.5 | 9880901 | 32401782 | 562.76 | 126661568 | 7393528.5 | 95425712 | 90590784 | 199018272 | 0 | 0 | 0 | 898.98 | 0 | 0 | 1630251.25 | 0 | 0 | 0 | 0 | 0 | 90.2 | 0 | 0 | 0 | 0 | 0 | 0 | 3.14 | 3.94 | 121.02 | 425.16 | 2.96 | 1.62 | 0 | 38925496 | 29.31 | 0 | 0 | 1623.09 | 1623.09 | 4869.26 | 1623.09 | 0
71 | CAISO | 0 | 50 | 0.019147 | 2012 | 254767040 | 30175992 | 263719488 | 23295294 | 7073017 | 8368781 | 20750358 | 4773.06 | 125642952 | 7642991.5 | 98290232 | 88787216 | 198720128 | 0 | 0 | 0 | 7800.85 | 59.94 | 0 | 775148 | 0.06 | 0 | 0.08 | 0 | 0 | 92.6 | 0 | 0 | 0 | 0 | 0 | 0 | 7.56 | 16.46 | 99.2 | 295.7 | 3.08 | 1.79 | 1 | 55066088 | 25.69 | 0 | 0 | 1733.81 | 1733.81 | 5201.45 | 1733.81 | 0
72 | CAISO | 1.5 | 50 | 0.012086 | 2012 | 258588512 | 30265200 | 266259552 | 24391454 | 7071605 | 8202997 | 20750354 | 4483.74 | 125642952 | 7757636.5 | 99243616 | 88413120 | 198265536 | 0 | 0 | 0 | 11328.03 | 217.38 | 0 | 664950.69 | 0.06 | 0 | 0.16 | 0 | 0 | 92.78 | 0 | 0 | 0 | 0 | 0 | 0 | 9.98 | 23.52 | 91.66 | 267.76 | 3.11 | 1.81 | 0.36 | 62663872 | 27.24 | 0 | 0 | 1759.82 | 1759.82 | 5279.47 | 1759.82 | 0
73 | CAISO | -1.5 | 50 | 0.012086 | 2012 | 250945568 | 30093960 | 260849872 | 22594304 | 7073502.5 | 8582910 | 20750144 | 3280.4 | 125642952 | 7528347 | 97457280 | 89164176 | 199418320 | 0 | 0 | 0 | 5001.44 | 30.74 | 0 | 894151.5 | 0.02 | 0 | 0.04 | 0 | 0 | 91.59 | 0 | 0 | 0 | 0 | 0 | 0 | 5.28 | 10.48 | 104.64 | 327.22 | 3.07 | 1.74 | 0.94 | 49469168 | 26.82 | 0 | 0 | 1707.81 | 1707.81 | 5123.43 | 1707.81 | 0
74 | CAISO | 2.5 | 50 | 0.00334 | 2012 | 261136208 | 30311280 | 267556592 | 25507826 | 7071256 | 8080532.5 | 20750350 | 5973.74 | 125642952 | 7834067 | 99544408 | 88406552 | 198453248 | 0 | 0 | 0 | 12831.52 | 513.42 | 0 | 606943.75 | 0.18 | 0 | 0.44 | 0 | 0.01 | 93.56 | 0 | 0 | 0 | 0 | 0 | 0 | 10.6 | 24.78 | 88.82 | 251.98 | 3.13 | 1.83 | 0.96 | 68170592 | 27.3 | 0 | 0 | 1777.16 | 1777.16 | 5331.48 | 1777.16 | 0
75 | CAISO | -2.5 | 50 | 0.00334 | 2012 | 248397824 | 30095320 | 259094944 | 22039246 | 7075445 | 8725358 | 20750222 | 2871.02 | 125642952 | 7451918.5 | 96937896 | 89461144 | 199786416 | 0 | 0 | 0 | 3941.23 | 0 | 0 | 989786.31 | 0 | 0 | 0 | 0 | 0 | 91.37 | 0 | 0 | 0 | 0 | 0 | 0 | 4.62 | 8.74 | 109.6 | 347.9 | 3.07 | 1.72 | 0 | 44924308 | 28.19 | 0 | 0 | 1690.47 | 1690.47 | 5071.41 | 1690.47 | 0
76 | CAISO | 0 | 50 | 0.019147 | 2013 | 254658016 | 30293444 | 266868608 | 21342634 | 7085597 | 9613098 | 18655732 | 2039.88 | 128292376 | 7639717.5 | 99862144 | 87736952 | 196108080 | 0 | 0 | 0 | 5711.42 | 117.34 | 0 | 730998.5 | 0.08 | 0 | 0.14 | 0 | 0 | 91.32 | 0 | 0 | 0 | 0 | 0 | 0 | 5.78 | 12.38 | 102.8 | 281.84 | 3.09 | 1.8 | 0.76 | 66118896 | 26.66 | 0 | 0 | 1702.06 | 1702.06 | 5106.17 | 1702.06 | 0
77 | CAISO | 1.5 | 50 | 0.012086 | 2013 | 258477808 | 30374180 | 269846784 | 21988110 | 7083316 | 9432229 | 18655748 | 1221.78 | 128292376 | 7754314.5 | 100624616 | 87462672 | 195749344 | 0 | 0 | 0 | 6579.3 | 4.24 | 0 | 632437.19 | 0.02 | 0 | 0.02 | 0 | 0 | 90.84 | 0 | 0 | 0 | 0 | 0 | 0 | 8.02 | 16.02 | 96.38 | 256.12 | 3.12 | 1.85 | 0.64 | 71563696 | 24.08 | 0 | 0 | 1727.59 | 1727.59 | 5182.76 | 1727.59 | 0
78 | CAISO | -1.5 | 50 | 0.012086 | 2013 | 250838080 | 30268912 | 264190640 | 20469926 | 7086615.5 | 9800963 | 18655728 | 1492.6 | 128292376 | 7525124 | 99152152 | 87997656 | 196412000 | 0 | 0 | 0 | 4254.78 | 9.22 | 0 | 837681.63 | 0.02 | 0 | 0.02 | 0 | 0 | 91.18 | 0 | 0 | 0 | 0 | 0 | 0 | 4.82 | 9.46 | 109.42 | 315.22 | 3.04 | 1.78 | 0.14 | 58851168 | 29.23 | 0 | 0 | 1676.53 | 1676.53 | 5029.58 | 1676.53 | 0
79 | CAISO | 2.5 | 50 | 0.00334 | 2013 | 261024416 | 30378888 | 271913888 | 22330646 | 7081568 | 9348112 | 18655748 | 2678.66 | 128292376 | 7830710 | 101352128 | 87171336 | 195286592 | 0 | 0 | 0 | 10553.81 | 4.44 | 0 | 573202.81 | 0.02 | 0 | 0.02 | 0 | 0 | 92.06 | 0 | 0 | 0 | 0 | 0 | 0 | 10.12 | 22.86 | 95.02 | 245.3 | 3.08 | 1.85 | 0.68 | 76602896 | 23.12 | 0 | 0 | 1744.61 | 1744.61 | 5233.83 | 1744.61 | 0
80 | CAISO | -2.5 | 50 | 0.00334 | 2013 | 248291488 | 30236772 | 262683200 | 19657532 | 7086596 | 9991084 | 18655728 | 1968.12 | 128292376 | 7448724 | 98565040 | 88335480 | 196814480 | 0 | 0 | 0 | 3413.17 | 0 | 0 | 906523.06 | 0 | 0 | 0 | 0 | 0 | 91.22 | 0 | 0 | 0 | 0 | 0 | 0 | 3.56 | 6.68 | 113.58 | 334.64 | 3.05 | 1.74 | 0 | 53721068 | 29.27 | 0 | 0 | 1659.51 | 1659.51 | 4978.52 | 1659.51 | 0
81 | CAISO | 0 | 50 | 0.019147 | 2014 | 257296624 | 30215764 | 262795248 | 26364186 | 7118017 | 8129332 | 13539702 | 3429.08 | 125496536 | 7718874 | 100608624 | 87656136 | 196343664 | 0 | 0 | 0 | 6550.13 | 4.06 | 0 | 634323.88 | 0.02 | 0 | 0.02 | 0 | 0 | 91.69 | 0 | 0 | 0 | 0 | 0 | 0 | 6.96 | 14.1 | 85.5 | 251.46 | 3.06 | 1.82 | 0.04 | 72358672 | 24.26 | 0 | 0 | 1664.39 | 1664.39 | 4993.18 | 1664.39 | 0
82 | CAISO | 1.5 | 50 | 0.012086 | 2014 | 261156032 | 30210668 | 265552240 | 27183262 | 7117592 | 7928153.5 | 13539672 | 3578.92 | 125496536 | 7834657 | 101546000 | 87215240 | 195553856 | 0 | 0 | 0 | 8633.31 | 120.2 | 0 | 556946.44 | 0.06 | 0 | 0.1 | 0 | 0 | 91.8 | 0 | 0 | 0 | 0 | 0 | 0 | 9.28 | 19.46 | 78.92 | 226.54 | 3.1 | 1.87 | 0.82 | 78820176 | 23.94 | 0 | 0 | 1689.36 | 1689.36 | 5068.08 | 1689.36 | 0
83 | CAISO | -1.5 | 50 | 0.012086 | 2014 | 253437152 | 30241728 | 259959072 | 25572680 | 7119049 | 8242869 | 13539740 | 3814.2 | 125496536 | 7603094 | 99619704 | 88184728 | 197307104 | 0 | 0 | 0 | 4672.73 | 0 | 0 | 727730 | 0 | 0 | 0 | 0 | 0 | 91.82 | 0 | 0 | 0 | 0 | 0 | 0 | 5.28 | 10.32 | 92.16 | 278.58 | 3.1 | 1.82 | 0 | 62779804 | 24.23 | 0 | 0 | 1639.43 | 1639.43 | 4918.28 | 1639.43 | 0
84 | CAISO | 2.5 | 50 | 0.00334 | 2014 | 263728960 | 30247454 | 267260672 | 27934312 | 7115818.5 | 7821413.5 | 13539671 | 5010.98 | 125496536 | 7911847 | 102133472 | 87047648 | 195413952 | 0 | 0 | 0 | 11804.55 | 250.54 | 0 | 511725.19 | 0.16 | 0 | 0.3 | 0 | 0 | 92.97 | 0 | 0 | 0 | 0 | 0 | 0 | 11.26 | 23.92 | 72.98 | 206.62 | 3.11 | 1.89 | 0.94 | 86658248 | 23.55 | 0 | 0 | 1706 | 1706 | 5118.01 | 1706 | 0
85 | CAISO | -2.5 | 50 | 0.00334 | 2014 | 250864144 | 30199794 | 258248576 | 24815152 | 7119946.5 | 8310875 | 13539759 | 3783.52 | 125496536 | 7525903.5 | 99041832 | 88391088 | 197773856 | 0 | 0 | 0 | 2850.86 | 0 | 0 | 807284.31 | 0 | 0 | 0 | 0 | 0 | 91.23 | 0 | 0 | 0 | 0 | 0 | 0 | 4.06 | 7.24 | 98.56 | 300.8 | 3.07 | 1.8 | 0 | 55142264 | 23.96 | 0 | 0 | 1622.78 | 1622.78 | 4868.35 | 1622.78 | 0
86 | CAISO | 0 | 50 | 0.019147 | 2015 | 256270272 | 30667408 | 260163776 | 27879172 | 6803993.5 | 7577265 | 11350882 | 4873.9 | 122315320 | 7688083 | 101351152 | 86902344 | 197568320 | 0 | 0 | 0 | 5331.5 | 116.22 | 0 | 330497.5 | 0.1 | 0 | 0.14 | 0 | 0 | 91.2 | 0 | 0 | 0 | 0 | 0 | 0 | 4.96 | 10.84 | 67.02 | 166.8 | 3.1 | 1.82 | 0.88 | 75224128 | 26.49 | 0 | 0 | 1659.77 | 1659.77 | 4979.33 | 1659.77 | 0
87 | CAISO | 1.5 | 50 | 0.012086 | 2015 | 260114336 | 30619792 | 263199328 | 28529686 | 6802200.5 | 7509439.5 | 11350843 | 8080.74 | 122315320 | 7803402 | 102462528 | 86393120 | 196631504 | 0 | 0 | 0 | 9570.08 | 2397.9 | 0 | 288456.63 | 0.52 | 0 | 1.36 | 0 | 0.02 | 93.24 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5 | 17.5 | 63.14 | 155.8 | 3.12 | 1.86 | 1 | 90565232 | 27.64 | 0 | 0 | 1684.67 | 1684.67 | 5054.01 | 1684.67 | 0
88 | CAISO | -1.5 | 50 | 0.012086 | 2015 | 252426208 | 30509720 | 257034112 | 27114156 | 6806046 | 7630129.5 | 11351050 | 3665.34 | 122315320 | 7572763 | 100412712 | 87034552 | 197904320 | 0 | 0 | 0 | 3234.83 | 15.52 | 0 | 386626.84 | 0.04 | 0 | 0.04 | 0 | 0 | 90.56 | 0 | 0 | 0 | 0 | 0 | 0 | 3.22 | 7.08 | 71.7 | 189.7 | 3.1 | 1.8 | 0.36 | 67977256 | 26.43 | 0 | 0 | 1634.88 | 1634.88 | 4904.63 | 1634.88 | 0
89 | CAISO | 2.5 | 50 | 0.00334 | 2015 | 262677040 | 30597432 | 265094256 | 29076444 | 6801678 | 7442963.5 | 11350809 | 9343.5 | 122315320 | 7880283 | 103145344 | 86160064 | 196092000 | 0 | 0 | 0 | 12824.75 | 2802.66 | 0 | 256170.61 | 0.66 | 0 | 1.64 | 0 | 0.02 | 94.3 | 0 | 0 | 0 | 0 | 0 | 0 | 10.4 | 24.22 | 58.44 | 141.1 | 3.12 | 1.89 | 0.98 | 98773904 | 25.28 | 0 | 0 | 1701.27 | 1701.27 | 5103.81 | 1701.27 | 0
90 | CAISO | -2.5 | 50 | 0.00334 | 2015 | 249863568 | 30466868 | 255108432 | 26599932 | 6806201 | 7743223.5 | 11351078 | 3664.44 | 122315320 | 7495880.5 | 99821680 | 87286088 | 198208816 | 0 | 0 | 0 | 2728.11 | 0 | 0 | 439347.31 | 0 | 0 | 0 | 0 | 0 | 90.58 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 6.34 | 75.32 | 207.62 | 3.11 | 1.79 | 0 | 62542992 | 27.7 | 0 | 0 | 1618.28 | 1618.28 | 4854.84 | 1618.28 | 0
91 | CAISO | 0 | 50 | 0.019147 | 2016 | 255589760 | 30271174 | 265726624 | 22651972 | 7064929 | 8948691 | 20178882 | 1340.72 | 127108576 | 7667671.5 | 99068112 | 87696024 | 198142992 | 0 | 0 | 0 | 3513.75 | 10.38 | 0 | 632405.63 | 0.02 | 0 | 0.02 | 0 | 0 | 90.74 | 0 | 0 | 0 | 0 | 0 | 0 | 4.86 | 8.86 | 85.38 | 236.16 | 3.08 | 1.76 | 0.38 | 64572716 | 27.49 | 0 | 0 | 1664.5 | 1664.5 | 4993.49 | 1664.5 | 0
92 | CAISO | 1.5 | 50 | 0.012086 | 2016 | 259423648 | 30317558 | 268540736 | 23427216 | 7063908.5 | 8742210 | 20178854 | 1308.36 | 127108576 | 7782687 | 99839776 | 87365776 | 197523808 | 0 | 0 | 0 | 3430.64 | 0 | 0 | 546957.13 | 0 | 0 | 0 | 0 | 0 | 90.64 | 0 | 0 | 0 | 0 | 0 | 0 | 5.98 | 10.6 | 75.72 | 209.32 | 3.07 | 1.77 | 0 | 69391480 | 26.15 | 0 | 0 | 1689.46 | 1689.46 | 5068.39 | 1689.46 | 0
93 | CAISO | -1.5 | 50 | 0.012086 | 2016 | 251755904 | 30203182 | 262995360 | 21708998 | 7065046 | 9076940 | 20178904 | 1110.28 | 127108576 | 7552657.5 | 98129272 | 88219304 | 198800224 | 0 | 0 | 0 | 2046.07 | 0 | 0 | 731822.75 | 0 | 0 | 0 | 0 | 0 | 90.36 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1 | 5.34 | 94.68 | 270.6 | 3.11 | 1.76 | 0 | 59348980 | 29.91 | 0 | 0 | 1639.53 | 1639.53 | 4918.59 | 1639.53 | 0
94 | CAISO | 2.5 | 50 | 0.00334 | 2016 | 261979472 | 30326094 | 270505536 | 23874180 | 7062977.5 | 8628330 | 20178836 | 2274.44 | 127108576 | 7859363.5 | 100474128 | 87008448 | 196896384 | 0 | 0 | 0 | 7051.17 | 94.92 | 0 | 507401.69 | 0.06 | 0 | 0.1 | 0 | 0 | 91.43 | 0 | 0 | 0 | 0 | 0 | 0 | 9.32 | 18.08 | 73.46 | 199.5 | 3.09 | 1.82 | 0.74 | 76900280 | 26.75 | 0 | 0 | 1706.11 | 1706.11 | 5118.33 | 1706.11 | 0
95 | CAISO | -2.5 | 50 | 0.00334 | 2016 | 249200064 | 30086172 | 261419520 | 21008520 | 7066013 | 9397998 | 20178912 | 1062.78 | 127108576 | 7475978 | 97701816 | 88359664 | 199281056 | 0 | 0 | 0 | 1907.39 | 0 | 0 | 808342.63 | 0 | 0 | 0 | 0 | 0 | 90.32 | 0 | 0 | 0 | 0 | 0 | 0 | 2.68 | 4.9 | 96.34 | 285.2 | 3.08 | 1.73 | 0 | 54187912 | 28.79 | 0 | 0 | 1622.88 | 1622.88 | 4868.66 | 1622.88 | 0
96 | CAISO | 0 | 50 | 0.019147 | 2017 | 258053728 | 30363078 | 272526176 | 19260592 | 7082043 | 9643821 | 31409810 | 4783.46 | 125824656 | 7741593 | 98769472 | 87503056 | 196108288 | 0 | 0 | 0 | 11058.78 | 1201.32 | 0 | 807944.38 | 0.38 | 0 | 0.76 | 0 | 0.01 | 93.28 | 0 | 0 | 0 | 0 | 0 | 0 | 9.48 | 21.24 | 88.96 | 264.88 | 3.03 | 1.73 | 0.96 | 69928336 | 29.38 | 0 | 0 | 1751.07 | 1751.07 | 5253.22 | 1751.07 | 0
97 | CAISO | 1.5 | 50 | 0.012086 | 2017 | 261924448 | 30437036 | 275206752 | 20135288 | 7082109 | 9381891 | 31409862 | 9301.56 | 125824656 | 7857714.5 | 99696592 | 87271088 | 195613024 | 0 | 0 | 0 | 14372.73 | 5806.26 | 0 | 685031.13 | 0.96 | 0 | 2.7 | 0 | 0.03 | 96.05 | 0 | 0 | 0 | 0 | 0 | 0 | 11.18 | 25.28 | 82.64 | 236.32 | 3.03 | 1.77 | 1 | 87340944 | 29.13 | 0 | 0 | 1777.34 | 1777.34 | 5332.02 | 1777.34 | 0
98 | CAISO | -1.5 | 50 | 0.012086 | 2017 | 254182880 | 30284320 | 269804416 | 18363148 | 7083195.5 | 9850805 | 31409764 | 2532.38 | 125824656 | 7625470.5 | 97864960 | 87830496 | 196306624 | 0 | 0 | 0 | 7268.53 | 307.62 | 0 | 931573.75 | 0.14 | 0 | 0.3 | 0 | 0 | 91.72 | 0 | 0 | 0 | 0 | 0 | 0 | 6.42 | 13.84 | 97.04 | 291.7 | 3.1 | 1.77 | 0.98 | 64156444 | 31.26 | 0 | 0 | 1724.81 | 1724.81 | 5174.42 | 1724.81 | 0
99 | CAISO | 2.5 | 50 | 0.00334 | 2017 | 264505024 | 30491014 | 277122144 | 20696870 | 7080374 | 9270066 | 31409926 | 12250.46 | 125824656 | 7935133 | 100346928 | 87088784 | 195510624 | 0 | 0 | 0 | 17877.47 | 9409.68 | 0 | 641176.56 | 1.32 | 0 | 3.82 | 0 | 0.04 | 97.87 | 0 | 0 | 0 | 0 | 0 | 0 | 12.54 | 30.72 | 81.46 | 226.68 | 3.03 | 1.78 | 1 | 96112480 | 27.78 | 0 | 0 | 1794.85 | 1794.85 | 5384.55 | 1794.85 | 0
100 | CAISO | -2.5 | 50 | 0.00334 | 2017 | 251602352 | 30300178 | 267934912 | 17922748 | 7082741 | 9987341 | 31409720 | 1397.64 | 125824656 | 7548054 | 97301536 | 88265976 | 196969040 | 0 | 0 | 0 | 5269.79 | 70.48 | 0 | 1049075.38 | 0.04 | 0 | 0.08 | 0 | 0 | 90.9 | 0 | 0 | 0 | 0 | 0 | 0 | 5.62 | 11.78 | 102.12 | 317 | 3.08 | 1.73 | 0.68 | 58890192 | 31.84 | 0 | 0 | 1707.3 | 1707.3 | 5121.89 | 1707.3 | 0
DP: Weighted Average | CAISO | Generic | Generic | 1 | Generic | 254236239.7959 | 30128299.8298 | 266822837.8705 | 20685939.1793 | 7065039.7556 | 9399094.6226 | 25392618.9292 | 2161.4897 | 124931452 | 7627066.2765 | 98955513.4339 | 87757545.0014 | 196462971.7137 | 0 | 0 | 0 | 5079.5492 | 250.2037 | 0 | 808942.1662 | 0.064249 | 0 | 0.14462 | 0 | 0.0014755 | 91.1735 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8844 | 11.4922 | 92.628 | 276.1435 | 3.0544 | 1.7557 | 0.26258 | 60000515.8055 | 28.1131 | 0 | 0 | 1685.3304 | 1685.3304 | 5055.9911 | 1685.3304 | 0