## FinalMapping_bySub
Updating the Incremental Generic Resources mapped based on additional In-development resources identified by CAISO staff.
MW amounts adjusted will be studied by the CAISO as in-development resources instead of generic incremental resources. Total MW at substations are unchanged | [12 empty] | Adjustments to Generic Resources to Account for CAISO Identified In-Development Resources, Shifted to In-Develoment
|  |  |  | 22-23 TPP 38 MMT Proposed Base Case Final Mapped Total Resources |  |  | CPUC Identified In-Development Resources |  |  | Incremental Generic Resources | [5 empty] | Updated Incremental Generic Resources |  |  | Updated CPUC and PTO Identified In-Development Resources
Transmisison Area | Substation | Voltage | Resource Type | FCDS (MW) | EODS (MW) | Total (MW) | FCDS (MW) | EODS (MW) | Total (MW) | FCDS (MW) | EODS (MW) | Total (MW) | FCDS | EODS | Total | FCDS | EODS | Total | FCDS (MW) | EODS (MW) | Total (MW)
PG&E Fresno Study Area | Alpaugh | 115 | Biomass/Biogas | 3 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 3 |  |  |  | 3 | 0 | 3 | 0 | 0 | 0
SCE Northern Area | Antelope | 230 | Distributed Solar | 3 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 3 |  |  | 0 | 3 | 0 | 3 | 0 | 0 | 0
SCE Northern Area | Antelope | 230 | Li_Battery | 438.8 | 0 | 438.8 | 155 | 0 | 155 | 283.8 | 0 | 283.8 | -259.7 |  | -259.7 | 24.1 | 0 | 24.1 | 414.7 | 0 | 414.7
SCE Northern Area | Antelope | 230 | Solar | 450 | 497 | 947 | 3 | 56 | 59 | 447 | 441 | 888 | -144.6 |  | -144.6 | 302.4 | 441 | 743.4 | 147.6 | 56 | 203.6
PG&E East Kern Study Area | Arco | 230 | Li_Battery | 75.64 | 0 | 75.64 | 63 | 0 | 63 | 12.64 | 0 | 12.64 |  |  |  | 12.64 | 0 | 12.64 | 63 | 0 | 63
PG&E East Kern Study Area | Arco | 230 | Solar | 125 | 28 | 153 | 125 | 0 | 125 | 0 | 28 | 28 |  |  |  | 0 | 28 | 28 | 125 | 0 | 125
SDG&E Study Area | Bannister | 230 | Geothermal | 600 | 0 | 600 | 0 | 0 | 0 | 600 | 0 | 600 |  |  |  | 600 | 0 | 600 | 0 | 0 | 0
SCE Metro Study Area | Barre | 230 | Li_Battery | 10 | 0 | 10 | 1.3 | 0 | 1.3 | 8.7 | 0 | 8.7 | -8.7 |  | -8.7 | 0 | 0 | 0 | 10 | 0 | 10
East of Pisgah Study Area | Beatty(VEA system) | 138 | Geothermal | 440 | 0 | 440 | 0 | 0 | 0 | 440 | 0 | 440 |  |  | 0 | 440 | 0 | 440 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Bellota | 115 | Biomass/Biogas | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 4 |  |  |  | 4 | 0 | 4 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Bellota | 115 | Li_Battery | 132 | 0 | 132 | 132 | 0 | 132 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 132 | 0 | 132
SCE Northern Area | Big Creek Hydro Facilities | 230 | Biomass/Biogas | 6 | 0 | 6 | 0 | 0 | 0 | 6 | 0 | 6 |  |  | 0 | 6 | 0 | 6 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Birds Landing | 230 | In-State Wind | 120 | 0 | 120 | 0 | 0 | 0 | 120 | 0 | 120 |  |  |  | 120 | 0 | 120 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Bridgeville | 115 | Biomass/Biogas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Bridgeville | 115 | In-State Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
PG&E Fresno Study Area | Cabrillo | 115 | In-State Wind | 99 | 0 | 99 | 99 | 0 | 99 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 99 | 0 | 99
SCE North of Lugo (NOL) Study Area | Calcite | 230 | Li_Battery | 250 | 0 | 250 | 0 | 0 | 0 | 250 | 0 | 250 |  |  | 0 | 250 | 0 | 250 | 0 | 0 | 0
SCE North of Lugo (NOL) Study Area | Calcite | 230 | Solar | 50 | 350 | 400 | 0 | 0 | 0 | 50 | 350 | 400 |  |  | 0 | 50 | 350 | 400 | 0 | 0 | 0
PG&E East Kern Study Area | Caliente | 230 | Biomass/Biogas | 2 | 0 | 2 | 0 | 0 | 0 | 2 | 0 | 2 |  |  |  | 2 | 0 | 2 | 0 | 0 | 0
SDG&E Study Area | Capistrano | 138 | Li_Battery | 200 | 0 | 200 | 0 | 0 | 0 | 200 | 0 | 200 |  |  |  | 200 | 0 | 200 | 0 | 0 | 0
East of Pisgah Study Area | Carpenter Canyon (fka Gamebird) | 230 | Li_Battery | 40 | 0 | 40 | 0 | 0 | 0 | 40 | 0 | 40 |  |  | 0 | 40 | 0 | 40 | 0 | 0 | 0
East of Pisgah Study Area | Carpenter Canyon (fka Gamebird) | 230 | Solar | 150 | 60 | 210 | 0 | 0 | 0 | 150 | 60 | 210 |  |  | 0 | 150 | 60 | 210 | 0 | 0 | 0
PG&E East Kern Study Area | Cholame | 70 | In-State Wind | 60 | 0 | 60 | 0 | 0 | 0 | 60 | 0 | 60 |  |  |  | 60 | 0 | 60 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Cloverdale | 115 | Biomass/Biogas | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 4 |  |  |  | 4 | 0 | 4 | 0 | 0 | 0
SCE Eastern Study Area | Colorado River | 500 | Li_Battery | 523 | 0 | 523 | 523 | 0 | 523 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 523 | 0 | 523
SCE Eastern Study Area | Colorado River | 230 | Li_Battery | 250 | 0 | 250 | 200 | 0 | 200 | 50 | 0 | 50 | -50 |  | -50 | 0 | 0 | 0 | 250 | 0 | 250
SCE Eastern Study Area | Colorado River | 500 | Solar | 100 | 518 | 618 | 62.5 | 518 | 580.5 | 37.5 | 0 | 37.5 | -37.5 |  | -37.5 | 0 | 0 | 0 | 100 | 518 | 618
SCE Eastern Study Area | Colorado River | 230 | Solar | 100 | 350 | 450 | 100 | 0 | 100 | 0 | 350 | 350 |  | -350 | -350 | 0 | 0 | 0 | 100 | 350 | 450
SCE North of Lugo (NOL) Study Area | Control | 115 | Geothermal | 40 | 0 | 40 | 30 | 0 | 30 | 10 | 0 | 10 | -10 |  | -10 | 0 | 0 | 0 | 40 | 0 | 40
SCE North of Lugo (NOL) Study Area | Coolwater | 115 | Li_Battery | 100 | 0 | 100 | 0 | 0 | 0 | 100 | 0 | 100 |  |  | 0 | 100 | 0 | 100 | 0 | 0 | 0
SCE North of Lugo (NOL) Study Area | Coolwater | 115 | Solar | 0 | 148.96 | 148.96 | 0 | 0 | 0 | 0 | 148.96 | 148.96 |  |  | 0 | 0 | 148.96 | 148.96 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Cortina | 115 | Biomass/Biogas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Cortina | 115 | In-State Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Curtis | 115 | Biomass/Biogas | 9 | 0 | 9 | 0 | 0 | 0 | 9 | 0 | 9 |  |  |  | 9 | 0 | 9 | 0 | 0 | 0
SCE Eastern Study Area | Delaney | 500 | Li_Battery | 490.109 | 0 | 490.109 | 0 | 0 | 0 | 490.109 | 0 | 490.109 |  |  | 0 | 490.109 | 0 | 490.109 | 0 | 0 | 0
SCE Eastern Study Area | Delaney | 500 | Solar | 400 | 610 | 1010 | 0 | 0 | 0 | 400 | 610 | 1010 |  |  | 0 | 400 | 610 | 1010 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Delevan | 230 | In-State Wind | 50 | 33 | 83 | 0 | 0 | 0 | 50 | 33 | 83 |  |  |  | 50 | 33 | 83 | 0 | 0 | 0
East of Pisgah Study Area | Desert View | 230 | Li_Battery | 40 | 0 | 40 | 0 | 0 | 0 | 40 | 0 | 40 |  |  | 0 | 40 | 0 | 40 | 0 | 0 | 0
East of Pisgah Study Area | Desert View | 230 | Solar | 50 | 50 | 100 | 0 | 0 | 0 | 50 | 50 | 100 |  |  | 0 | 50 | 50 | 100 | 0 | 0 | 0
SCE Eastern Study Area | Devers | 230 | In-State Wind | 105.5 | 0 | 105.5 | 105.5 | 0 | 105.5 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 105.5 | 0 | 105.5
SCE Eastern Study Area | Devers | 230 | Li_Battery | 405 | 0 | 405 | 403 | 0 | 403 | 2 | 0 | 2 | -2 |  | -2 | 0 | 0 | 0 | 405 | 0 | 405
SDG&E Study Area | ECO | 230 | In-State Wind | 600 | 0 | 600 | 0 | 0 | 0 | 600 | 0 | 600 |  |  |  | 600 | 0 | 600 | 0 | 0 | 0
East of Pisgah Study Area | Eldorado | 500 | OOS Wind, New Tx | 1062 | 0 | 1062 | 0 | 0 | 0 | 1062 | 0 | 1062 |  |  | 0 | 1062 | 0 | 1062 | 0 | 0 | 0
East of Pisgah Study Area | Eldorado | 500 | OOS Wind, Ext Tx | 136 | 0 | 136 | 136 | 0 | 136 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 136 | 0 | 136
East of Pisgah Study Area | Eldorado | 230 | Li_Battery | 308 | 0 | 308 | 0 | 0 | 0 | 308 | 0 | 308 | -308 |  | -308 | 0 | 0 | 0 | 308 | 0 | 308
East of Pisgah Study Area | Eldorado | 230 | Solar | 0 | 300 | 300 | 0 | 0 | 0 | 0 | 300 | 300 |  | -249.2 | -249.2 | 0 | 50.8 | 50.8 | 0 | 249.2 | 249.2
SDG&E Study Area | Encina | 115 | Li_Battery | 60 | 0 | 60 | 0 | 0 | 0 | 60 | 0 | 60 |  |  |  | 60 | 0 | 60 | 0 | 0 | 0
SDG&E Study Area | Escondido | 230 | Li_Battery | 189 | 0 | 189 | 0 | 0 | 0 | 189 | 0 | 189 |  |  |  | 189 | 0 | 189 | 0 | 0 | 0
SCE Metro Study Area | Etiwanda | 230 | Li_Battery | 101 | 0 | 101 | 0 | 0 | 0 | 101 | 0 | 101 |  |  | 0 | 101 | 0 | 101 | 0 | 0 | 0
PG&E East Kern Study Area | Gates | 230 | Li_Battery | 165 | 0 | 165 | 0 | 0 | 0 | 165 | 0 | 165 |  |  |  | 165 | 0 | 165 | 0 | 0 | 0
PG&E East Kern Study Area | Gates | 230 | Solar | 50 | 377 | 427 | 50 | 0 | 50 | 0 | 377 | 377 |  |  |  | 0 | 377 | 377 | 50 | 0 | 50
PG&E North of Greater Bay Study Area | Geysers | 230 | Geothermal | 79 | 0 | 79 | 0 | 0 | 0 | 79 | 0 | 79 |  |  |  | 79 | 0 | 79 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Glenn | 230 | In-State Wind | 100 | 68 | 168 | 0 | 0 | 0 | 100 | 68 | 168 |  |  |  | 100 | 68 | 168 | 0 | 0 | 0
SCE Northern Area | Goleta | 230 | Biomass/Biogas | 3.74 | 0 | 3.74 | 2.3 | 0 | 2.3 | 1.44 | 0 | 1.44 |  |  | 0 | 1.44 | 0 | 1.44 | 2.3 | 0 | 2.3
SCE Northern Area | Goleta | 230 | Li_Battery | 70 | 0 | 70 | 70 | 0 | 70 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 70 | 0 | 70
PG&E East Kern Study Area | Gregg | 230 | Biomass/Biogas | 3 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 3 |  |  |  | 3 | 0 | 3 | 0 | 0 | 0
SDG&E Study Area | Hassayampa | 500 | Li_Battery | 269 | 0 | 269 | 0 | 0 | 0 | 269 | 0 | 269 |  |  |  | 269 | 0 | 269 | 0 | 0 | 0
SDG&E Study Area | Hassayampa | 500 | Solar | 200 | 671 | 871 | 0 | 0 | 0 | 200 | 671 | 871 |  |  |  | 200 | 671 | 871 | 0 | 0 | 0
PG&E Fresno Study Area | Helm | 230 | Li_Battery | 89 | 0 | 89 | 0 | 0 | 0 | 89 | 0 | 89 |  |  |  | 89 | 0 | 89 | 0 | 0 | 0
PG&E Fresno Study Area | Helm | 230 | Solar | 65 | 120 | 185 | 0 | 0 | 0 | 65 | 120 | 185 |  |  |  | 65 | 120 | 185 | 0 | 0 | 0
PG&E Fresno Study Area | Henrietta | 115 | Li_Battery | 49 | 0 | 49 | 10 | 0 | 10 | 39 | 0 | 39 |  |  |  | 39 | 0 | 39 | 10 | 0 | 10
PG&E Fresno Study Area | Henrietta | 115 | Solar | 15 | 88 | 103 | 0 | 0 | 0 | 15 | 88 | 103 |  |  |  | 15 | 88 | 103 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Higgins | 115 | Biomass/Biogas | 25 | 0 | 25 | 0 | 0 | 0 | 25 | 0 | 25 |  |  |  | 25 | 0 | 25 | 0 | 0 | 0
SCE Metro Study Area | Hinson | 230 | Li_Battery | 200 | 0 | 200 | 0 | 0 | 0 | 200 | 0 | 200 |  |  | 0 | 200 | 0 | 200 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Humboldt | 115 | Li_Battery | 15 | 0 | 15 | 0 | 0 | 0 | 15 | 0 | 15 |  |  |  | 15 | 0 | 15 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Humboldt | 115 | Offshore Wind | 0 | 120 | 120 | 0 | 0 | 0 | 0 | 120 | 120 |  |  |  | 0 | 120 | 120 | 0 | 0 | 0
SDG&E Study Area | Imperial Valley | 230 | Li_Battery | 50 | 0 | 50 | 40 | 0 | 40 | 10 | 0 | 10 |  |  |  | 10 | 0 | 10 | 40 | 0 | 40
SDG&E Study Area | Imperial Valley | 230 | Solar | 100 | 200 | 300 | 0 | 0 | 0 | 100 | 200 | 300 |  |  |  | 100 | 200 | 300 | 0 | 0 | 0
East of Pisgah Study Area | Innovation | 230 | In-State Wind | 139 | 0 | 139 | 0 | 0 | 0 | 139 | 0 | 139 |  |  | 0 | 139 | 0 | 139 | 0 | 0 | 0
East of Pisgah Study Area | Innovation | 230 | Li_Battery | 125 | 0 | 125 | 0 | 0 | 0 | 125 | 0 | 125 |  |  | 0 | 125 | 0 | 125 | 0 | 0 | 0
East of Pisgah Study Area | Innovation | 230 | Solar | 145 | 200 | 345 | 0 | 0 | 0 | 145 | 200 | 345 |  |  | 0 | 145 | 200 | 345 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Jessup | 115 | Biomass/Biogas | 5 | 0 | 5 | 0 | 0 | 0 | 5 | 0 | 5 |  |  |  | 5 | 0 | 5 | 0 | 0 | 0
SCE Metro Study Area | Johanna | 230 | Li_Battery | 50 | 0 | 50 | 50 | 0 | 50 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 50 | 0 | 50
PG&E North of Greater Bay Study Area | Kelso | 230 | In-State Wind | 52 | 48 | 100 | 0 | 0 | 0 | 52 | 48 | 100 |  |  |  | 52 | 48 | 100 | 0 | 0 | 0
PG&E East Kern Study Area | Kern Oil | 115 | Distributed Solar | 10 | 0 | 10 | 0 | 0 | 0 | 10 | 0 | 10 |  |  |  | 10 | 0 | 10 | 0 | 0 | 0
PG&E East Kern Study Area | Kettleman | 70 | Li_Battery | 10 | 0 | 10 | 0 | 0 | 0 | 10 | 0 | 10 |  |  |  | 10 | 0 | 10 | 0 | 0 | 0
SCE North of Lugo (NOL) Study Area | Kramer | 115 | Li_Battery | 75 | 0 | 75 | 75 | 0 | 75 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 75 | 0 | 75
SCE North of Lugo (NOL) Study Area | Kramer | 115 | Solar | 90 | 0 | 90 | 90 | 0 | 90 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 90 | 0 | 90
SCE North of Lugo (NOL) Study Area | Kramer | 230 | Li_Battery | 234 | 0 | 234 | 199 | 0 | 199 | 35 | 0 | 35 | -35 |  | -35 | 0 | 0 | 0 | 234 | 0 | 234
SCE North of Lugo (NOL) Study Area | Kramer | 230 | Solar | 135 | 246 | 381 | 91 | 245 | 336 | 44 | 1 | 45 | -44 | -1 | -45 | 0 | 0 | 0 | 135 | 246 | 381
SCE Metro Study Area | Laguna Bell | 230 | Li_Battery | 500 | 0 | 500 | 0 | 0 | 0 | 500 | 0 | 500 |  |  | 0 | 500 | 0 | 500 | 0 | 0 | 0
PG&E East Kern Study Area | Lamont | 115 | Distributed Solar | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 4 |  |  |  | 4 | 0 | 4 | 0 | 0 | 0
PG&E East Kern Study Area | Lamont | 115 | Li_Battery | 95 | 0 | 95 | 0 | 0 | 0 | 95 | 0 | 95 |  |  |  | 95 | 0 | 95 | 0 | 0 | 0
PG&E East Kern Study Area | Lamont | 115 | Solar | 0 | 105 | 105 | 0 | 0 | 0 | 0 | 105 | 105 |  |  |  | 0 | 105 | 105 | 0 | 0 | 0
PG&E Fresno Study Area | Le Grand | 115 | Biomass/Biogas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
PG&E East Kern Study Area | Lerdo | 115 | Distributed Solar | 5 | 0 | 5 | 0 | 0 | 0 | 5 | 0 | 5 |  |  |  | 5 | 0 | 5 | 0 | 0 | 0
PG&E Fresno Study Area | Los Banos | 230 | In-State Wind | 186 | 0 | 186 | 0 | 0 | 0 | 186 | 0 | 186 |  |  |  | 186 | 0 | 186 | 0 | 0 | 0
PG&E Fresno Study Area | Los Banos | 230 | Li_Battery | 80 | 0 | 80 | 0 | 0 | 0 | 80 | 0 | 80 |  |  |  | 80 | 0 | 80 | 0 | 0 | 0
PG&E Fresno Study Area | Los Banos | 230 | Solar | 0 | 190 | 190 | 0 | 0 | 0 | 0 | 190 | 190 |  |  |  | 0 | 190 | 190 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Los Esteros | 115 | Biomass/Biogas | 5 | 0 | 5 | 0 | 0 | 0 | 5 | 0 | 5 |  |  |  | 5 | 0 | 5 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Los Esteros | 115 | Distributed Solar | 10 | 0 | 10 | 0 | 0 | 0 | 10 | 0 | 10 |  |  |  | 10 | 0 | 10 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Los Esteros | 115 | Li_Battery | 90 | 0 | 90 | 0 | 0 | 0 | 90 | 0 | 90 |  |  |  | 90 | 0 | 90 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Martin (San Francisco H) | 115 | Distributed Solar | 19 | 0 | 19 | 0 | 0 | 0 | 19 | 0 | 19 |  |  |  | 19 | 0 | 19 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Martin (San Francisco H) | 115 | Li_Battery | 90 | 0 | 90 | 0 | 0 | 0 | 90 | 0 | 90 |  |  |  | 90 | 0 | 90 | 0 | 0 | 0
PG&E Fresno Study Area | McCall | 230 | Li_Battery | 100 | 0 | 100 | 0 | 0 | 0 | 100 | 0 | 100 |  |  |  | 100 | 0 | 100 | 0 | 0 | 0
PG&E Fresno Study Area | McCall | 230 | Solar | 0 | 100 | 100 | 0 | 0 | 0 | 0 | 100 | 100 |  |  |  | 0 | 100 | 100 | 0 | 0 | 0
East of Pisgah Study Area | Mead | 230 | OOS Wind, Ext Tx | 350 | 0 | 350 | 350 | 0 | 350 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 350 | 0 | 350
PG&E North of Greater Bay Study Area | Mendocino | 115 | Li_Battery | 5 | 0 | 5 | 0 | 0 | 0 | 5 | 0 | 5 |  |  |  | 5 | 0 | 5 | 0 | 0 | 0
PG&E Fresno Study Area | Mendota | 115 | Solar | 160 | 0 | 160 | 160 | 0 | 160 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 160 | 0 | 160
PG&E Fresno Study Area | Merced | 115 | Biomass/Biogas | 5 | 0 | 5 | 0 | 0 | 0 | 5 | 0 | 5 |  |  |  | 5 | 0 | 5 | 0 | 0 | 0
PG&E Fresno Study Area | Merced | 115 | Distributed Solar | 10 | 0 | 10 | 0 | 0 | 0 | 10 | 0 | 10 |  |  |  | 10 | 0 | 10 | 0 | 0 | 0
PG&E East Kern Study Area | Mesa | 115 | Li_Battery | 50 | 0 | 50 | 0 | 0 | 0 | 50 | 0 | 50 |  |  |  | 50 | 0 | 50 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Metcalf | 230 | Biomass/Biogas | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 4 |  |  |  | 4 | 0 | 4 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Metcalf | 230 | Distributed Solar | 35 | 0 | 35 | 0 | 0 | 0 | 35 | 0 | 35 |  |  |  | 35 | 0 | 35 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Metcalf | 230 | Li_Battery | 75 | 0 | 75 | 75 | 0 | 75 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 75 | 0 | 75
PG&E East Kern Study Area | Midway | 230 | Li_Battery | 60 | 0 | 60 | 0 | 0 | 0 | 60 | 0 | 60 |  |  |  | 60 | 0 | 60 | 0 | 0 | 0
PG&E East Kern Study Area | Midway | 115 | Li_Battery | 89 | 0 | 89 | 0 | 0 | 0 | 89 | 0 | 89 |  |  |  | 89 | 0 | 89 | 0 | 0 | 0
PG&E East Kern Study Area | Midway | 230 | Solar | 0 | 125 | 125 | 0 | 0 | 0 | 0 | 125 | 125 |  |  |  | 0 | 125 | 125 | 0 | 0 | 0
PG&E East Kern Study Area | Midway | 115 | Solar | 0 | 100 | 100 | 0 | 0 | 0 | 0 | 100 | 100 |  |  |  | 0 | 100 | 100 | 0 | 0 | 0
East of Pisgah Study Area | Mohave | 500 | Li_Battery | 228.0034 | 0 | 228.0034 | 0 | 0 | 0 | 228.0034 | 0 | 228.0034 |  |  | 0 | 228.0034 | 0 | 228.0034 | 0 | 0 | 0
East of Pisgah Study Area | Mohave | 500 | Solar | 0 | 568 | 568 | 0 | 0 | 0 | 0 | 568 | 568 |  |  | 0 | 0 | 568 | 568 | 0 | 0 | 0
SCE Northern Area | Moorpark | 230 | Li_Battery | 500 | 0 | 500 | 0 | 0 | 0 | 500 | 0 | 500 |  |  | 0 | 500 | 0 | 500 | 0 | 0 | 0
SCE Northern Area | Moorpark | 230 | Solar | 0 | 500 | 500 | 0 | 0 | 0 | 0 | 500 | 500 |  |  | 0 | 0 | 500 | 500 | 0 | 0 | 0
PG&E East Kern Study Area | Morro Bay (Proposed) | 500 | Offshore Wind | 1588 | 0 | 1588 | 0 | 0 | 0 | 1588 | 0 | 1588 |  |  |  | 1588 | 0 | 1588 | 0 | 0 | 0
PG&E Fresno Study Area | Moss Landing | 500 | Li_Battery | 400 | 0 | 400 | 400 | 0 | 400 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 400 | 0 | 400
PG&E East Kern Study Area | Mustang | 230 | Solar | 100 | 0 | 100 | 100 | 0 | 100 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 100 | 0 | 100
PG&E East Kern Study Area | Olive | 115 | Li_Battery | 10 | 0 | 10 | 0 | 0 | 0 | 10 | 0 | 10 |  |  |  | 10 | 0 | 10 | 0 | 0 | 0
PG&E East Kern Study Area | Olive | 115 | Solar | 0 | 40 | 40 | 0 | 0 | 0 | 0 | 40 | 40 |  |  |  | 0 | 40 | 40 | 0 | 0 | 0
SDG&E Study Area | Otay Mesa | 230 | Li_Battery | 150 | 0 | 150 | 150 | 0 | 150 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 150 | 0 | 150
PG&E North of Greater Bay Study Area | Palermo | 230 | Biomass/Biogas | 5 | 0 | 5 | 0 | 0 | 0 | 5 | 0 | 5 |  |  |  | 5 | 0 | 5 | 0 | 0 | 0
SCE Eastern Study Area | Palo Verde | 500 | OOS Wind, Ext Tx | 124 | 0 | 124 | 119 | 0 | 119 | 5 | 0 | 5 |  |  | 0 | 5 | 0 | 5 | 119 | 0 | 119
SCE Eastern Study Area | Palo Verde | 500 | OOS Wind, New Tx | 438 | 0 | 438 | 0 | 0 | 0 | 438 | 0 | 438 |  |  | 0 | 438 | 0 | 438 | 0 | 0 | 0
PG&E Fresno Study Area | Panoche | 230 | Li_Battery | 110 | 0 | 110 | 0 | 0 | 0 | 110 | 0 | 110 |  |  |  | 110 | 0 | 110 | 0 | 0 | 0
PG&E Fresno Study Area | Panoche | 230 | Solar | 0 | 180 | 180 | 0 | 0 | 0 | 0 | 180 | 180 |  |  |  | 0 | 180 | 180 | 0 | 0 | 0
SCE Northern Area | Pastoria | 230 | Li_Battery | 80 | 0 | 80 | 0 | 0 | 0 | 80 | 0 | 80 |  |  | 0 | 80 | 0 | 80 | 0 | 0 | 0
SCE Northern Area | Pastoria | 230 | Solar | 0 | 106.875 | 106.875 | 0 | 0 | 0 | 0 | 106.875 | 106.875 |  |  | 0 | 0 | 106.875 | 106.875 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Pit 1 | 230 | Biomass/Biogas | 5 | 0 | 5 | 0 | 0 | 0 | 5 | 0 | 5 |  |  |  | 5 | 0 | 5 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Pittsburg | 230 | Li_Battery | 200 | 0 | 200 | 200 | 0 | 200 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 200 | 0 | 200
PG&E North of Greater Bay Study Area | Placerville | 115 | Biomass/Biogas | 3 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 3 |  |  |  | 3 | 0 | 3 | 0 | 0 | 0
SCE Eastern Study Area | Redbluff | 230 | Li_Battery | 430.1536 | 0 | 430.1536 | 104 | 0 | 104 | 326.1536 | 0 | 326.1536 | -326 |  | -326 | 0.15358 | 0 | 0.15358 | 430 | 0 | 430
SCE Eastern Study Area | Redbluff | 230 | Solar | 662 | 238 | 900 | 662 | 206 | 868 | 0 | 32 | 32 |  | -32 | -32 | 0 | 0 | 0 | 662 | 238 | 900
SCE North of Lugo (NOL) Study Area | Roadway | 115 | Li_Battery | 159.94 | 0 | 159.94 | 0 | 0 | 0 | 159.94 | 0 | 159.94 | -110 |  | -110 | 49.94 | 0 | 49.94 | 110 | 0 | 110
SCE North of Lugo (NOL) Study Area | Roadway | 115 | Solar | 0 | 220.92 | 220.92 | 0 | 0 | 0 | 0 | 220.92 | 220.92 |  | -110 | -110 | 0 | 110.92 | 110.92 | 0 | 110 | 110
PG&E North of Greater Bay Study Area | Round Mountain | 230 | Biomass/Biogas | 22 | 0 | 22 | 0 | 0 | 0 | 22 | 0 | 22 |  |  |  | 22 | 0 | 22 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Round Mountain | 230 | In-State Wind | 115 | 210 | 325 | 0 | 0 | 0 | 115 | 210 | 325 |  |  |  | 115 | 210 | 325 | 0 | 0 | 0
SCE Northern Area | Santa Clara | 230 | Li_Battery | 121 | 0 | 121 | 111 | 0 | 111 | 10 | 0 | 10 | -5.1 |  | -5.1 | 4.9 | 0 | 4.9 | 116.1 | 0 | 116.1
PG&E Fresno Study Area | Semitropic | 115 | Biomass/Biogas | 3 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 3 |  |  |  | 3 | 0 | 3 | 0 | 0 | 0
PG&E Fresno Study Area | Semitropic | 115 | Distributed Solar | 9 | 0 | 9 | 0 | 0 | 0 | 9 | 0 | 9 |  |  |  | 9 | 0 | 9 | 0 | 0 | 0
PG&E East Kern Study Area | Shafter | 115 | Distributed Solar | 3 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 3 |  |  |  | 3 | 0 | 3 | 0 | 0 | 0
SDG&E Study Area | Silvergate | 230 | Li_Battery | 200 | 0 | 200 | 0 | 0 | 0 | 200 | 0 | 200 |  |  |  | 200 | 0 | 200 | 0 | 0 | 0
East of Pisgah Study Area | Sloan Canyon (fka Bob) | 230 | In-State Wind | 303 | 0 | 303 | 0 | 0 | 0 | 303 | 0 | 303 |  |  | 0 | 303 | 0 | 303 | 0 | 0 | 0
SCE Northern Area | Springville | 230 | Biomass/Biogas | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 4 |  |  | 0 | 4 | 0 | 4 | 0 | 0 | 0
PG&E East Kern Study Area | Stockdale | 230 | Distributed Solar | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 4 |  |  |  | 4 | 0 | 4 | 0 | 0 | 0
SDG&E Study Area | Sycamore | 230 | LDES, PSH | 500 | 0 | 500 | 0 | 0 | 0 | 500 | 0 | 500 |  |  |  | 500 | 0 | 500 | 0 | 0 | 0
SDG&E Study Area | Sycamore | 138 | Li_Battery | 300 | 0 | 300 | 0 | 0 | 0 | 300 | 0 | 300 |  |  |  | 300 | 0 | 300 | 0 | 0 | 0
PG&E East Kern Study Area | Temblor | 115 | Distributed Solar | 6 | 0 | 6 | 0 | 0 | 0 | 6 | 0 | 6 |  |  |  | 6 | 0 | 6 | 0 | 0 | 0
PG&E East Kern Study Area | Templeton | 230 | In-State Wind | 188 | 0 | 188 | 0 | 0 | 0 | 188 | 0 | 188 |  |  |  | 188 | 0 | 188 | 0 | 0 | 0
PG&E North of Greater Bay Study Area | Tesla | 230 | In-State Wind | 100 | 100 | 200 | 80 | 0 | 80 | 20 | 100 | 120 |  |  |  | 20 | 100 | 120 | 80 | 0 | 80
PG&E North of Greater Bay Study Area | Thermalito | 230 | In-State Wind | 40 | 40 | 80 | 0 | 0 | 0 | 40 | 40 | 80 |  |  |  | 40 | 40 | 80 | 0 | 0 | 0
PG&E Fresno Study Area | Tranquility | 230 | Li_Battery | 75 | 0 | 75 | 40 | 0 | 40 | 35 | 0 | 35 |  |  |  | 35 | 0 | 35 | 40 | 0 | 40
PG&E Fresno Study Area | Tranquility | 230 | Solar | 166 | 133 | 299 | 106 | 94 | 200 | 60 | 39 | 99 |  |  |  | 60 | 39 | 99 | 106 | 94 | 200
East of Pisgah Study Area | Trout Canyon (fka Crazy Eyes) | 230 | Li_Battery | 455 | 0 | 455 | 65 | 0 | 65 | 390 | 0 | 390 |  |  | 0 | 390 | 0 | 390 | 65 | 0 | 65
East of Pisgah Study Area | Trout Canyon (fka Crazy Eyes) | 230 | Solar | 425 | 718 | 1143 | 34 | 91 | 125 | 391 | 627 | 1018 |  |  | 0 | 391 | 627 | 1018 | 34 | 91 | 125
East of Pisgah Study Area | Valley (VEA) | 138 | Li_Battery | 40 | 0 | 40 | 0 | 0 | 0 | 40 | 0 | 40 |  |  | 0 | 40 | 0 | 40 | 0 | 0 | 0
East of Pisgah Study Area | Valley (VEA) | 138 | Solar | 0 | 50 | 50 | 0 | 0 | 0 | 0 | 50 | 50 |  |  | 0 | 0 | 50 | 50 | 0 | 0 | 0
SCE Northern Area | Vestal | 230 | Li_Battery | 300 | 0 | 300 | 230 | 0 | 230 | 70 | 0 | 70 | -70 |  | -70 | 0 | 0 | 0 | 300 | 0 | 300
SCE Northern Area | Vestal | 230 | Solar | 350 | 266 | 616 | 350 | 0 | 350 | 0 | 266 | 266 |  | -4.6 | -4.6 | 0 | 261.4 | 261.4 | 350 | 4.6 | 354.6
SCE North of Lugo (NOL) Study Area | Victor | 230 | Biomass/Biogas | 2.7 | 0 | 2.7 | 2.7 | 0 | 2.7 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 2.7 | 0 | 2.7
SCE North of Lugo (NOL) Study Area | Victor | 230 | Distributed Solar | 7 | 0 | 7 | 0 | 0 | 0 | 7 | 0 | 7 |  |  | 0 | 7 | 0 | 7 | 0 | 0 | 0
SCE North of Lugo (NOL) Study Area | Victor | 230 | Li_Battery | 50 | 0 | 50 | 50 | 0 | 50 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 50 | 0 | 50
SCE North of Lugo (NOL) Study Area | Victor | 230 | Solar | 110 | 105.3943 | 215.3943 | 100 | 0 | 100 | 10 | 105.3943 | 115.3943 | -3.1 |  | -3.1 | 6.9 | 105.3943 | 112.2943 | 103.1 | 0 | 103.1
SCE Northern Area | Vincent | 230 | Li_Battery | 808.59 | 0 | 808.59 | 0 | 0 | 0 | 808.59 | 0 | 808.59 | -224.8 |  | -224.8 | 583.79 | 0 | 583.79 | 224.8 | 0 | 224.8
SCE Northern Area | Vincent | 230 | Solar | 0 | 1003 | 1003 | 0 | 0 | 0 | 0 | 1003 | 1003 |  | -1.3 | -1.3 | 0 | 1001.7 | 1001.7 | 0 | 1.3 | 1.3
SCE Eastern Study Area | Vista | 230 | Biomass/Biogas | 3 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 3 |  |  | 0 | 3 | 0 | 3 | 0 | 0 | 0
SCE Metro Study Area | Walnut | 230 | Li_Battery | 300 | 0 | 300 | 0 | 0 | 0 | 300 | 0 | 300 |  |  | 0 | 300 | 0 | 300 | 0 | 0 | 0
PG&E Fresno Study Area | Westley | 230 | Biomass/Biogas | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 4 |  |  |  | 4 | 0 | 4 | 0 | 0 | 0
PG&E Fresno Study Area | Westley | 230 | Li_Battery | 100 | 0 | 100 | 5 | 0 | 5 | 95 | 0 | 95 |  |  |  | 95 | 0 | 95 | 5 | 0 | 5
PG&E Fresno Study Area | Westley | 230 | Solar | 41 | 119 | 160 | 41 | 9 | 50 | 0 | 110 | 110 |  |  |  | 0 | 110 | 110 | 41 | 9 | 50
PG&E East Kern Study Area | Wheeler Ridge | 115 | Li_Battery | 67 | 0 | 67 | 0 | 0 | 0 | 67 | 0 | 67 |  |  |  | 67 | 0 | 67 | 0 | 0 | 0
PG&E East Kern Study Area | Wheeler Ridge | 115 | Solar | 100 | 75.321 | 175.321 | 100 | 0 | 100 | 0 | 75.321 | 75.321 |  |  |  | 0 | 75.321 | 75.321 | 100 | 0 | 100
PG&E East Kern Study Area | Wheeler Ridge | 230 | Solar | 200 | 0 | 200 | 200 | 0 | 200 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 200 | 0 | 200
SCE Northern Area | Whirlwind | 230 | In-State Wind | 92.9 | 0 | 92.9 | 0 | 0 | 0 | 92.9 | 0 | 92.9 |  |  | 0 | 92.9 | 0 | 92.9 | 0 | 0 | 0
SCE Northern Area | Whirlwind | 230 | Li_Battery | 1216.62 | 0 | 1216.62 | 108 | 0 | 108 | 1108.62 | 0 | 1108.62 | -751.8 |  | -751.8 | 356.82 | 0 | 356.82 | 859.8 | 0 | 859.8
SCE Northern Area | Whirlwind | 230 | Solar | 450 | 978.995 | 1428.995 | 248 | 207.1 | 455.1 | 202 | 771.895 | 973.895 | -202 | -254.8 | -456.8 | 0 | 517.095 | 517.095 | 450 | 461.9 | 911.9
SCE Northern Area | Whirlwind | 230 | LDES, PSH | 500 | 0 | 500 | 0 | 0 | 0 | 500 | 0 | 500 |  |  | 0 | 500 | 0 | 500 | 0 | 0 | 0
SCE Northern Area | Windhub | 230 | In-State Wind | 182.1 | 0 | 182.1 | 182.1 | 0 | 182.1 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 182.1 | 0 | 182.1
SCE Northern Area | Windhub | 230 | Li_Battery | 1015.205 | 0 | 1015.205 | 150 | 0 | 150 | 865.205 | 0 | 865.205 | -504.3 |  | -504.3 | 360.905 | 0 | 360.905 | 654.3 | 0 | 654.3
SCE Northern Area | Windhub | 230 | Solar | 501 | 1153 | 1654 | 375.7 | 0 | 375.7 | 125.3 | 1153 | 1278.3 | -125 | -246.3 | -371.3 | 0.3 | 906.7 | 907 | 500.7 | 246.3 | 747
PG&E North of Greater Bay Study Area | Wyandotte | 115 | Biomass/Biogas | 3.6 | 0 | 3.6 | 0 | 0 | 0 | 3.6 | 0 | 3.6 |  |  |  | 3.6 | 0 | 3.6 | 0 | 0 | 0