## ReadMe
This Baseline file contains 3 tabs, in addition to this ReadMe
(1) Baseline_All_CA_Regions_11_2022
(2) NEW UNITS
(3) All Regions_ReferenceOnly
Baseline_All_CA_Regions_11_2022 - Tab
BASELINE units include those online or in development, consistent with the definition in the IRP.
This tab is the Nov 2022 Modeling Baseline.
The Baselines will be used in CPUC modeling until a new baseline is published.
The baseline is expected to remain static until the next full baseline revision. (~one year)
Other CPUC Energy Division lists dynamically tracks In Development resources based on the best available and constantly changing data (e.g. as LSEs continue to contract for additional IRP resources and report such contracting to the CPUC.)
Field Definitions for Baseline_All_CA_Regions_11_2022 - Tab
UnitID | Online Resources (If CAISO, unitID=CAISO ID), If not Online, then name is a proxy name with no underscores or spaces
Unit_Name | Name (Source: CAISO Master Generating Capability List, or if resource is In Development, then source is best available name from CPUC IRP Filings - may not match CAISO Interconnection Queue Name)
Unit Category | Technology type (Source: CAISO Master Generating Capability List; plus if fixed/tracking source = CPUC RPS Database, and if resource is In Development, then source is technology from CPUC IRP Filings) AAEE=energy efficiency from IRP plans; DR = Tariffed DR Programs and new DR programs from IRP filings, but not 3rd party aggregator programs (see annual NQC list for 3rd party DR)
Capmax | Maximum Capacity (Souce: NDC from the CAISO Master Generating Capability List, or if resource is In Development, then source is Nameplate from CPUC IRP Filings)
Insvdt | In Service Date (Source: Original CAISO Master Generating Capability List, or prior CPUC filings if unavailable)
retdt | Date the unit is forecasted to retire or close.
Sept NQC | Based on October 2022 NQC. If = N/A, then resource is not on CPUC NQC List or retired or not yet online; If = 0, then energy only (or retired or net yet online)
Region | LADWP<SMUD<TID<IID<PGE<SCE<SDGE; (CAISO Resources, even if first point of interconnection is outside state of CA, CAISO Resourcs=SCE+PG&E+SDGE). There are other regions modeled in PCM modeling, but those regions are not included in this Caligfornia centric BASELINE file. Data for other regions can be taken from the WECC 2032 Anchor Data Set.
NEW UNITS TAB
The NEW UNITS tab contains a list of units that are added to the November BASELINE list, incremental to what was published to the CPUC website in September 2021.
Prior Baseline = (Sept 2021) available here: https://www.cpuc.ca.gov/industries-and-topics/electrical-energy/electric-power-procurement/long-term-procurement-planning/2019-20-irp-events-and-materials/unified-ra-and-irp-modeling-datasets-2019
The NEWUNITS tab includes units that are one of the following:
(1) were on prior baseline as "in development" and have since come online and now have a CAISO resource ID (field Resource New Online Since Sept 2021=TRUE), or
(2) were previously in development and are still in development (field Resource In Development as of 11/2022 = TRUE), or
(3) are new additional units that are in development based on IRP filings (field Resource In Development as of 11/2022=TRUE)
Note about In Development: New units in development may not represent the full capacity expected by the unit's interconnection queue position, but rather reflects the aggregated volume of capacity shown in IRP filings.
Field Definitions for NEWUNITS Tab
Unit Name from Baseline_All_CA_Regions_11_2022 Tab | see definition above
Unit Category Baseline_All_CA_Regions_11_2022 Tab | see definition above
capmax from Baseline_All_CA_Regions_11_2022 Tab | see definition above
Resource In Development as of 11/2022 | True = new resource not online as of October 2022 NQC list but still in development per IRP Plans
Resource New Online Since Sept 2021 Baseline | True = new resource online since last baseline, may not include new resources added as "TG" resources into the CAISO

## NEWUNITS
Unit Name from Baseline_All_CA_Regions_11_2022 Tab | Unit Category from Baseline_All_CA_Regions_11_2022 Tab | capmax from Baseline_All_CA_Regions_11_2022 Tab | Resource In Development as of 11/2022 | Resource New Online Since Sept 2021 Baseline
ALMASL_2_GS7SR7 | Solar_1Axis | 132 |  | TRUE
ALTWD_2_AT3WD3 | Wind | 9.8 |  | TRUE
AMCOR | Battery Storage | 10 | TRUE
ARLINGTONENERGYCENTERSOLAR | Paired_Solar_1Axis | 233 | TRUE
ARLNTN_2_ASUSR1 | Solar_1Axis | 131 |  | TRUE
ATHOS_5_AP2X2 | Solar_1Axis | 200 |  | TRUE
BAHIA_2_LKHSR1 | Solar_1Axis | 5 |  | TRUE
BEAUMONTESS | Battery Storage | 100 | TRUE
BGSKYN_2_ASSR1B | Solar_1Axis | 17 |  | TRUE
BGSKYN_2_ASSR3A | Solar_1Axis | 15 |  | TRUE
BGSKYN_2_ASSR3B | Solar_1Axis | 5 |  | TRUE
BIGSKY_2_AS2BT1 | Battery Storage | 127 |  | TRUE
BODEGAENERGY | Battery Storage | 10 | TRUE
CABALLEROCASTORAGE | Battery Storage | 99.7 | TRUE
CAMDEN_6_RDDBM1 | Biomass/Wood | 0.55 |  | TRUE
CANYONCOUNTRYESS | Battery Storage | 80 | TRUE
CENT40_1_C40SR1 | Solar_1Axis | 40 |  | TRUE
CENTPD_2_BMSSX2 | Hybrid_Solar_1Axis | 224 |  | TRUE
CENTPD_2_BMSX2 | Hybrid_BattStorage | 112 |  | TRUE
CHAPARRAL SOLAR AND STORAGE | Paired_SOLAR_1AXIS | 102 | TRUE
CHARMN_2_PGONG1 | Biomass/Wood | 19.87 |  | TRUE
CLINESCO_3_PVDYN | Wind | 129.94 |  | TRUE
CLINESCO_3_WBDYN | Wind | 194.28 |  | TRUE
COLPIN_6_COLLNS | Biomass/Wood | 3.3 |  | TRUE
CONTRL_1_QF | Cogen | 2.9 |  | TRUE
CORBYENERGYSTORAGE | Battery Storage | 300 | TRUE
CRIMSN_2_CRMBT1 | Battery Storage | 200 |  | TRUE
DAGGETTSOLAR | Paired_Solar_1Axis | 482 | TRUE
DRACKR_2_DSUBT4 | Battery Storage | 47 |  | TRUE
DREWSR_2_BHSSR1 | Solar_1Axis | 100 |  | TRUE
DSRTSN_2_DS2X2 | Battery Storage | 230 |  | TRUE
DURNMESA_3_WBDYN | Wind | 105.08 |  | TRUE
EDWARD_2_E23SB1_LESR | Battery Storage | 12 | TRUE
EDWARD_2_ES2BT3_SUN | Solar_1Axis | 85 |  | TRUE
EDWARD_2_ESSSB1 | Paired_Solar_1Axis | 116 | TRUE
EDWARD_2_ESSSB2 | Paired_Solar_1Axis | 132 | TRUE
ESNHWR_2_WC1BT1 | Battery Storage | 3 |  | TRUE
ESTWND_2_OPPWD1 | Wind | 57.14 |  | TRUE
FISHLAKEGEOTHERMAL | Geothermal | 13 | TRUE
GOALLINESTORAGE | Battery Storage | 50 | TRUE
GOLETA_6_TR2BM2 | Biogas | 1.99 |  | TRUE
GONZAGAWIND | Wind | 76.35 | TRUE
GRADYW_5_GDYWD1 | Wind | 200 |  | TRUE
GREENVALLEY | Battery Storage | 16 | TRUE
GRNITE_6_ESCBT1 | Battery Storage | 3 |  | TRUE
GRNLF1_1_PL1X2 | CT | 60 |  | TRUE
HARDWK_6_STWBM1 | Biogas | 1 |  | TRUE
HERDLN_6_BYHSR1 | Solar_1Axis | 5 |  | TRUE
INTERSECTOBERONSOLAR | Hybrid_Solar_1Axis | 250 | TRUE
INTERSECTOBERONSTORAGE | Hybrid_BattStorage | 125 | TRUE
JANCRK_6_RCABT1 | Battery Storage | 1.75 |  | TRUE
JAWBNE_2_SRWWD2 | Wind | 30.2 |  | TRUE
JOANEC_2_STABT2 | Battery Storage | 20 |  | TRUE
JOHANN_2_OCEBT3 | Battery Storage | 6 |  | TRUE
KOLAENERGYSTORAGE | Battery Storage | 400 | TRUE
KYCORA_6_KMSBT1 | Battery Storage | 1 |  | TRUE
LECONT_2_LESBT1 | Battery Storage | 125 |  | TRUE
LNCSTR_6_SOLAR2 | Battery Storage | 8.25 |  | TRUE
MIDSUN_1_PL1X2 | CT | 9.6 |  | TRUE
MOORPK_2_ACOBT1 | Battery Storage | 1.95 |  | TRUE
MOSSLANDING3 | Battery Storage | 350 | TRUE
MSSION_2_QF | Cogen | 2 |  | TRUE
MTWIND_1_MVPWD1 | Wind | 66.6 |  | TRUE
NIGHTHAWKSTORAGE | Battery Storage | 300 | TRUE
NORTHCENTRALVALLEY | Battery Storage | 150 | TRUE
OASIS_6_AR8SR1 | Solar_Fixed | 1.5 | TRUE
OASIS_6_AR8SR2 | Solar_Fixed | 1.5 | TRUE
OASIS_6_AR8SR3 | Solar_Fixed | 1 | TRUE
OASIS_6_LPPSR1 | Solar_Fixed | 3 |  | TRUE
ORMATGEOTHERMAL | Geothermal | 126 | TRUE
OTAY_6_ECVBT1 | Battery Storage | 3 |  | TRUE
OTAY_6_ECVBT2 | Battery Storage | 3 |  | TRUE
PAULSELLENERGYCENTERSTORAGE | Steam | 20 | TRUE
PAULSELLSOLARENERGYCENTER | Paired_Solar_1Axis | 40 | TRUE
PEASE_1_TBEBT1 | Battery Storage | 5 |  | TRUE
POBLANOENERGYSTORAGE | Battery Storage | 100 | TRUE
POMONAENERGYSTORAGE | Battery Storage | 40 | TRUE
PRCTVY_1_MIGBT1 | Battery Storage | 2 |  | TRUE
PUTHCR_1_PCNSB1 | Solar_1Axis | 3 |  | TRUE
RAVAMESATORAGE | Battery Storage | 6 | TRUE
RCPASTORAGE | Battery Storage | 10 | TRUE
RECTOR_2_IVANPV | Solar_Fixed | 3.5 |  | TRUE
REDCLOUD_3_PVDYN | Wind | 138 | TRUE
RESISTATION | DR | 11.6 | TRUE
SANBORNESS3 | Battery Storage | 500 | TRUE
SANBRN_2_ES1BT3_SUN | Solar_1Axis | 18 |  | TRUE
SANBRN_2_ES2SB3_SUN | Solar_1Axis | 24 |  | TRUE
SANBRN_2_ESABT1 | Battery Storage | 100 |  | TRUE
SANBRN_2_ESBBT1 | Battery Storage | 100 |  | TRUE
SANTAPAULAE | Battery Storage | 15 | TRUE
SCARLT_2_SSABT1 | Paired_BattStorage | 190 | TRUE
SCARLT_2_SSASR1 | Paired_SOLAR_1AXIS | 400 | TRUE
SEARLS_1_TS3SR1 | Solar_Fixed | 2 | TRUE
SEAWEST_6_LAPOS | Wind | 13 |  | TRUE
SISPRG_2_DS3BT4 | Paired_BattStorage | 280 | TRUE
SLATE_2_SLASR2_SUN | Solar_1Axis | 46.5 |  | TRUE
SLATE_2_SLASR3_LESR | Battery Storage | 33.8 |  | TRUE
SLATE_2_SLASR3_SUN | Solar_1Axis | 33.7 |  | TRUE
SLATE_2_SLASR4_SUN | Solar_1Axis | 13 | TRUE
SLATE_2_SLASR5_LESR | Battery Storage | 10 |  | TRUE
SLATE_2_SLASR5_SUN | Solar_1Axis | 16 |  | TRUE
SPRGVL_2_EXETPV | Solar_Fixed | 3.5 |  | TRUE
SPRGVL_2_LINDPV | Solar_Fixed | 4 |  | TRUE
SPRGVL_2_PORTPV | Solar_Fixed | 3.5 |  | TRUE
SUNCAT_2_A1ABT1 | Battery Storage | 47 |  | TRUE
SUNCAT_2_A1BBT1 | Battery Storage | 63 |  | TRUE
SUNCAT_2_A2ABT2 | Battery Storage | 132 |  | TRUE
TECOLOTE_3_WBDYN | Wind | 271.68 |  | TRUE
TOWNSITE_2_MEADDYN_LESR | Battery Storage | 90 |  | TRUE
TOWNSITE_2_MEADDYN_SUN | Solar_1Axis | 90 |  | TRUE
TUMBLEWEED | Battery Storage | 69 | TRUE
ULTPCH_1_UCSBT1 | Battery Storage | 10 |  | TRUE
USWPFK_6_FRICK | Wind | 10 |  | TRUE
VALTNE_2_TRSBT1 | Battery Storage | 70 |  | TRUE
VENWD_1_WIND2 | Wind | 16 |  | TRUE
VIKINGPCCSOLAR | Hybrid_Solar_1Axis | 150 | TRUE
VIKINGPCCSTORAGE | Hybrid_BattStorage | 70 | TRUE
VISTRA_5_DALBT4 | Battery Storage | 100 |  | TRUE
WILLMS_6_ARBBM1 | Biomass/Wood | 3 |  | TRUE
Willow Springs Solar 3 | Paired_Solar_1Axis | 72 | TRUE
WISTER_2_WISSR1 | Solar_Fixed | 20 |  | TRUE
WSTWND_2_M89WD1_WIND | Wind | 82.65 |  | TRUE
WSTWND_2_M90BT1 | Battery Storage | 15.79 |  | TRUE
WSTWND_2_M90WD2_LESR | Battery Storage | 150 |  | TRUE
WSTWND_2_M90WD2_WIND | Wind | 75 |  | TRUE