## Cover
2020-03-16
This file contains two tabs:
Dashboard_RSP | Static snapshot of RESOLVE Results Viewer Dashboard for the RSP case (46MMT_20200207_2045_2GWPRM_NOOTCEXT_RSP_PD)
CompareDispatchToServm | Comparison of annual energy and emissions by category for years modeled in SERVM (2020, 2022, 2026, 2030)
Includes sensitivities on summer evening import constraint in SERVM (matching RESOLVE RA import constraint or relaxing in 1.5 GW steps for certain years)

## Dashboard_RSP
KEY SUMMARY STATS
| Active Scenario Name | 46MMT_20200207_2045_2GWPRM_NOOTCEXT_RSP_PD
| Present Value Portfolio Metrics | Unit
| PV Revenue Requirement | $MM | 907474.6753
| PV Total Resource Cost | $MM | 1012219.6199
| Levelized Revenue Requirement | $MM | 48336.5985
| Levelized Total Resource Cost | $MM | 53915.8334
| Levelized Average Rate | cts/kWh | 20.3609
| Annual Portfolio Metrics | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Revenue Requirement | $MM/yr |  | 0 | 0 | 0 | 0 | 0 | 41338.9055 | 43977.2558 | 43367.985 | 42772.8114 | 42735.8603 | 0 | 40436.5677 | 0 | 0 | 0 | 41132.8857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60318.1947
| Total Resource Cost | $MM/yr |  | 0 | 0 | 0 | 0 | 0 | 44672.5954 | 47468.0868 | 46988.7735 | 46503.8631 | 46593.8191 | 0 | 44529.1421 | 0 | 0 | 0 | 45680.2098 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68593.9979
| Average Rate | cts/kWh |  | 0 | 0 | 0 | 0 | 0 | 19.9244 | 21.2059 | 20.8445 | 20.5403 | 20.537 | 0 | 19.5135 | 0 | 0 | 0 | 20.2214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.5019
| Greenhouse Gas Emissions including BTM CHP | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 43.0913 | 40.1588 | 37.7098 | 37.3347 | 39.2801 | 0 | 40.9667 | 0 | 0 | 0 | 37.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.2515
| Effective RPS (incl. banked RECs) | % of Retail Sales |  | 0% | 0% | 0% | 0% | 0% | 44.07% | 47.09% | 51.46% | 53% | 56.88% | 0% | 63.32% | 0% | 0% | 0% | 59.86% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 97.41%
| Renewable Curtailment incl. Storage Losses | % of RPS Gen. |  | 0% | 0% | 0% | 0% | 0% | 2.238% | 3.265% | 4.734% | 6.485% | 6.053% | 0% | 4.747% | 0% | 0% | 0% | 7.859% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 19.1%
Selected Resource Summary
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Gas | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biomass | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1146.85
| Geothermal | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2308.1
| Hydro (Small) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 1949.9 | 1949.9 | 2736.9 | 0 | 2736.9 | 0 | 0 | 0 | 2836.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4836.9
| Wind OOS New Tx | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 606.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3000
| Offshore Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 2000 | 4000 | 6000 | 8000 | 8000 | 0 | 8000 | 0 | 0 | 0 | 11017.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77112
| Customer Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Battery Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 152.45 | 2453.09 | 2453.09 | 2453.09 | 3298.87 | 0 | 6127.18 | 0 | 0 | 0 | 8873.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54269.64
| Pumped Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 973.48 | 0 | 0 | 0 | 973.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 973.48
| Shed DR | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 222.24 | 222.24 | 222.24 | 222.24 | 0 | 222.24 | 0 | 0 | 0 | 222.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 222.24
| Gas Capacity Not Retained | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -29.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5167.57
| In-State Renewables | MW |  | 0 | 0 | 0 | 0 | 0 | 2000 | 4034 | 7949.9 | 9949.9 | 10736.9 | 0 | 10736.9 | 0 | 0 | 0 | 13854.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85403.85
| Out-Of-State Renewables | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 606.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3000
| Selected Battery Duration |  |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Pumped Hydro | hr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9999 | 0 | 0 | 0 | 11.9999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9999
| Li Battery | hr |  | 0 | 0 | 0 | 0 | 0 | 3.9999 | 4 | 4 | 3.9765 | 4 | 0 | 4 | 0 | 0 | 0 | 2.7621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5479
| BTM Li Battery | hr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Flow Battery | hr |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: Optimized duration is a cumulative value reflecting all power and energy capacity built through the reported year.
Total Resource Summary
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Nuclear | MW |  | 0 | 0 | 0 | 0 | 0 | 2935 | 2935 | 2935 | 2935 | 1785 | 0 | 635 | 0 | 0 | 0 | 635 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 635
| CHP | MW |  | 0 | 0 | 0 | 0 | 0 | 2296.02 | 2296.02 | 2296.02 | 2296.02 | 2296.02 | 0 | 2296.02 | 0 | 0 | 0 | 2296.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas | MW |  | 0 | 0 | 0 | 0 | 0 | 27562.34 | 25113.34 | 25113.34 | 25113.34 | 25113.34 | 0 | 25113.34 | 0 | 0 | 0 | 25083.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19945.77
| Coal | MW |  | 0 | 0 | 0 | 0 | 0 | 480 | 480 | 480 | 480 | 480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydro (Large) | MW |  | 0 | 0 | 0 | 0 | 0 | 7070.1 | 7070.1 | 7070.1 | 7070.1 | 7070.1 | 0 | 7070.1 | 0 | 0 | 0 | 7069.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7069.51
| Hydro (NW scheduled imports) | MW |  | 0 | 0 | 0 | 0 | 0 | 2851.77 | 2851.77 | 2851.77 | 2851.77 | 2851.77 | 0 | 2851.77 | 0 | 0 | 0 | 2851.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2851.77
| Biomass | MW |  | 0 | 0 | 0 | 0 | 0 | 902.65 | 902.65 | 902.65 | 902.65 | 902.65 | 0 | 902.65 | 0 | 0 | 0 | 900.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2047.6
| Geothermal | MW |  | 0 | 0 | 0 | 0 | 0 | 1851.31 | 1851.31 | 1851.31 | 1851.31 | 1851.31 | 0 | 1851.31 | 0 | 0 | 0 | 1851.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4159.41
| Hydro (Small) | MW |  | 0 | 0 | 0 | 0 | 0 | 974.03 | 974.03 | 974.03 | 974.03 | 974.03 | 0 | 974.03 | 0 | 0 | 0 | 974.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 974.03
| Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 7356.56 | 7490.31 | 9406.21 | 9406.21 | 10193.21 | 0 | 10193.21 | 0 | 0 | 0 | 10293.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12293.21
| Wind OOS New Tx | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 606.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3000
| Offshore Wind | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 16310.33 | 18765.85 | 20887.45 | 22887.45 | 22887.45 | 0 | 22887.45 | 0 | 0 | 0 | 25904.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91999.45
| Customer Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 9827.31 | 11136.82 | 12284.27 | 13303.04 | 14288.23 | 0 | 16155.51 | 0 | 0 | 0 | 20066.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34857.67
| Battery Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 1845.79 | 4614.39 | 4717.3 | 4886.7 | 6073.42 | 0 | 9065.05 | 0 | 0 | 0 | 12137.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57534.15
| Pumped Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 1599.2 | 1599.2 | 1599.2 | 1599.2 | 1599.2 | 0 | 2572.68 | 0 | 0 | 0 | 2572.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2572.68
| Shed DR | MW |  | 0 | 0 | 0 | 0 | 0 | 2195.45 | 2417.69 | 2417.69 | 2417.69 | 2417.69 | 0 | 2417.69 | 0 | 0 | 0 | 2417.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2417.69
| Shift DR | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydrogen Load | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450.41
| In-State Renewables | MW |  | 0 | 0 | 0 | 0 | 0 | 35752 | 39650.78 | 44835.73 | 47854.5 | 49626.69 | 0 | 51493.97 | 0 | 0 | 0 | 58520.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144861.18
| Out-Of-State Renewables | MW |  | 0 | 0 | 0 | 0 | 0 | 1470.19 | 1470.19 | 1470.19 | 1470.19 | 1470.19 | 0 | 1470.19 | 0 | 0 | 0 | 2076.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4470.19
| Battery Storage Penetration | % of peak load |  | 0% | 0% | 0% | 0% | 0% | 3.736% | 9.245% | 9.359% | 9.634% | 11.92% | 0% | 17.08% | 0% | 0% | 0% | 22.69% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 93.65%
| Gas capacity not retained (total, cumulative) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.52 | 29.52 | 29.52 | 29.52 | 29.52 | 29.52 | 29.52 | 29.52 | 29.52 | 29.52 | 29.52 | 29.52 | 29.52 | 29.52 | 29.52 | 5167.57
| Gas capacity not retained (economic, incremental) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5138.05
| Gas capacity not retained (economic, cumulative) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5167.57
Annual Energy Balance
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| CHP | GWh |  | 0 | 0 | 0 | 0 | 0 | 10881.0553 | 10881.0553 | 10881.0553 | 10881.0553 | 10881.0553 | 0 | 10881.0553 | 0 | 0 | 0 | 10881.0553 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nuclear | GWh |  | 0 | 0 | 0 | 0 | 0 | 23611.1228 | 23611.1228 | 23611.1228 | 23611.1228 | 14359.7459 | 0 | 5108.369 | 0 | 0 | 0 | 5108.369 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5108.369
| Hydro | GWh |  | 0 | 0 | 0 | 0 | 0 | 18669.7881 | 18669.7883 | 18669.7883 | 18669.7892 | 18669.7875 | 0 | 18669.7853 | 0 | 0 | 0 | 18668.233 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18668.2341
| Hydro (NW scheduled imports) | GWh |  | 0 | 0 | 0 | 0 | 0 | 10364.4795 | 10756.9437 | 10580.4668 | 10325.5493 | 10665.1915 | 0 | 11131.8334 | 0 | 0 | 0 | 11311.0391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7953.0201
| Gas | GWh |  | 0 | 0 | 0 | 0 | 0 | 53768.2771 | 46416.0528 | 39819.3694 | 36513.6152 | 40302.5462 | 0 | 44978.5218 | 0 | 0 | 0 | 38652.6148 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30223.8355
| Coal | GWh |  | 0 | 0 | 0 | 0 | 0 | 1331.5097 | 811.998 | 591.2621 | 420.3212 | 422.1879 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pipeline Biogas | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Renewables | GWh |  | 0 | 0 | 0 | 0 | 0 | 101515.7976 | 110807.6427 | 122772.1822 | 128447.0578 | 133213.3973 | 0 | 138734.676 | 0 | 0 | 0 | 154100.1533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 366454.4758
| Storage Losses | GWh |  | 0 | 0 | 0 | 0 | 0 | -651.7525 | -1385.0585 | -1777.8123 | -2060.0281 | -2319.3589 | 0 | -3213.4286 | 0 | 0 | 0 | -4183.4089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -23323.319
| Curtailment | GWh |  | 0 | 0 | 0 | 0 | 0 | -1181.135 | -1452.9456 | -2967.1738 | -4956.0556 | -4383.8383 | 0 | -1974.7608 | 0 | 0 | 0 | -5540.7559 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -41830.9355
| Imports (unspecified) | GWh |  | 0 | 0 | 0 | 0 | 0 | 25649.5336 | 26939.8425 | 27408.088 | 29638.0273 | 31011.4911 | 0 | 32318.5156 | 0 | 0 | 0 | 30527.1963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1530.2542
| Exports | GWh |  | 0 | 0 | 0 | 0 | 0 | -2095.5057 | -2138.1503 | -3966.5636 | -5404.6002 | -4538.4201 | 0 | -3735.6058 | 0 | 0 | 0 | -6315.5243 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20046.329
| Load | GWh |  | 0 | 0 | 0 | 0 | 0 | 242188.0714 | 244541.3416 | 247401.0988 | 249495.3018 | 251190.5904 | 0 | 253790.1941 | 0 | 0 | 0 | 257009.8535 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 382590.2016
Cost Summary
| Revenue Requirement and TRC | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Non-Modeled Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 35599.7943 | 37545.9553 | 37042.6833 | 36358.3912 | 35918.3974 | 0 | 32888.9391 | 0 | 0 | 0 | 33263.0404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35762.4112
| Non-Modeled Costs (Scenario Specific) | $MM |  | 0 | 0 | 0 | 0 | 0 | 1774.2124 | 1847.6631 | 1884.8365 | 1922.2598 | 1953.1241 | 0 | 1995.117 | 0 | 0 | 0 | 2066.4045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2771.3294
| Baseline Thermal Fleet Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 329.1889 | 301.9684 | 301.9684 | 301.9684 | 301.9684 | 0 | 301.9684 | 0 | 0 | 0 | 301.5641 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 233.8909
| New Renewables Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 152.9428 | 306.61 | 720.4207 | 859.7413 | 981.0134 | 0 | 981.0134 | 0 | 0 | 0 | 1404.1587 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10058.2561
| New Storage Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 106.276 | 558.0183 | 558.9997 | 560.9963 | 687.7663 | 0 | 1226.7903 | 0 | 0 | 0 | 1259.4554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7939.0331
| New Thermal Fleet Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| New DR Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 20.0208 | 20.0208 | 20.0208 | 20.0208 | 0 | 20.0208 | 0 | 0 | 0 | 20.0208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.0208
| New CAISO Transmission Fixed Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2560.3196
| Total Operating Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 3376.4911 | 3397.0198 | 2839.0557 | 2749.4335 | 2873.5699 | 0 | 3022.7188 | 0 | 0 | 0 | 2817.2389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 972.9336
| Total Revenue Requirement | $MM |  | 0 | 0 | 0 | 0 | 0 | 41338.9055 | 43977.2558 | 43367.985 | 42772.8114 | 42735.8603 | 0 | 40436.5677 | 0 | 0 | 0 | 41132.8857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60318.1947
| Customer Costs (Scenario Specific) | $MM |  | 0 | 0 | 0 | 0 | 0 | 3333.6899 | 3490.831 | 3620.7885 | 3731.0517 | 3857.9588 | 0 | 4092.5743 | 0 | 0 | 0 | 4547.3242 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8275.8033
| Total Resource Cost | $MM |  | 0 | 0 | 0 | 0 | 0 | 44672.5954 | 47468.0868 | 46988.7735 | 46503.8631 | 46593.8191 | 0 | 44529.1421 | 0 | 0 | 0 | 45680.2098 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68593.9979
| Total Retail Sales | GWh |  | 0 | 0 | 0 | 0 | 0 | 207479.2917 | 207382.0875 | 208054.758 | 208238.346 | 208092.2926 | 0 | 207223.928 | 0 | 0 | 0 | 203412.579 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 294207.2037
| Average Rate (cts/kWh) | cts/kWh |  | 0 | 0 | 0 | 0 | 0 | 19.9244 | 21.2059 | 20.8445 | 20.5403 | 20.537 | 0 | 19.5135 | 0 | 0 | 0 | 20.2214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.5019
| Operating Cost Breakdown | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Variable Operating Costs for CAISO Resources | $MM |  | 0 | 0 | 0 | 0 | 0 | 2875.3329 | 2565.0206 | 2333.7458 | 2236.5972 | 2303.059 | 0 | 2394.3105 | 0 | 0 | 0 | 2301.365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1812.6971
| Incremental Biogas Costs | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Market Purchases (incl Carbon Allowance) | $MM |  | 0 | 0 | 0 | 0 | 0 | 710.2193 | 1031.2532 | 744.3185 | 800.1646 | 830.3009 | 0 | 849.705 | 0 | 0 | 0 | 801.0122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59.8609
| Market Revenues | $MM |  | 0 | 0 | 0 | 0 | 0 | -93.4724 | -80.9274 | -121.5976 | -169.8519 | -140.3681 | 0 | -97.7927 | 0 | 0 | 0 | -159.6095 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -764.6237
| Energy Credit for OOS Renewables Contracted to CAISO | $MM |  | 0 | 0 | 0 | 0 | 0 | -115.5886 | -118.3267 | -117.411 | -117.4765 | -119.4219 | 0 | -123.5041 | 0 | 0 | 0 | -125.5288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -135.0008
| Total CAISO Operating Cost | $MM |  | 0 | 0 | 0 | 0 | 0 | 3376.4911 | 3397.0198 | 2839.0557 | 2749.4335 | 2873.5699 | 0 | 3022.7188 | 0 | 0 | 0 | 2817.2389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 972.9336
RPS Summary
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| RPS Target | % of Retail Sales |  | 0% | 0% | 0% | 0% | 0% | 33.02% | 35.7% | 38.36% | 41.02% | 43.7% | 0% | 49.06% | 0% | 0% | 0% | 59.86% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 80.2%
| RPS-Eligible Generation (w/o banked RECs) | % of Retail Sales |  | 0% | 0% | 0% | 0% | 0% | 44.07% | 47.09% | 51.46% | 53% | 54.42% | 0% | 55.43% | 0% | 0% | 0% | 59.86% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 97.41%
| Banked RECs | % of Retail Sales |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 2.456% | 0% | 7.893% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Effective RPS (with banked RECs) | % of Retail Sales |  | 0% | 0% | 0% | 0% | 0% | 44.07% | 47.09% | 51.46% | 53% | 56.88% | 0% | 63.32% | 0% | 0% | 0% | 59.86% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 97.41%
| Renewable Curtailment (scheduled and subhourly) | % of RPS Gen. |  | 0% | 0% | 0% | 0% | 0% | 1.513% | 1.837% | 3.088% | 4.668% | 4.05% | 0% | 1.971% | 0% | 0% | 0% | 4.558% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 12.31%
| Renewable Curtailment incl. Storage Losses | % of RPS Gen. |  | 0% | 0% | 0% | 0% | 0% | 2.238% | 3.265% | 4.734% | 6.485% | 6.053% | 0% | 4.747% | 0% | 0% | 0% | 7.859% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 19.1%
| Marginal RPS Cost | $/MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RPS Renewables excl. Pipeline Biogas | GWh |  | 0 | 0 | 0 | 0 | 0 | 86252.9283 | 92911.7679 | 102663.1685 | 106437.2114 | 109366.0407 | 0 | 111344.7546 | 0 | 0 | 0 | 119369.1166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 303416.4866
| Pipeline Biogas Generation | GWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nonmodeled RPS Renewables | GWh |  | 0 | 0 | 0 | 0 | 0 | 2847.6088 | 2847.6088 | 2847.6088 | 2847.6088 | 2847.6088 | 0 | 2847.6088 | 0 | 0 | 0 | 2847.6088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1307.9556
| SB100% | % of Retail Sales |  | 0% | 0% | 0% | 0% | 0% | 67.77% | 70.88% | 74.92% | 76.25% | 73.35% | 0% | 70.15% | 0% | 0% | 0% | 74.76% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 105.6%
Greenhouse Gas Summary
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| GHG Emissions Target | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 52.5124 | 51.0512 | 49.5899 | 48.1287 | 46.6675 | 0 | 43.745 | 0 | 0 | 0 | 37.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.2515
| CAISO BTM CHP Emissions | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 5.4974 | 5.5016 | 5.5047 | 5.5054 | 5.5045 | 0 | 5.4977 | 0 | 0 | 0 | 5.4804 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GHG Emissions Target, net of BTM CHP | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 47.015 | 45.5496 | 44.0853 | 42.6233 | 41.1629 | 0 | 38.2473 | 0 | 0 | 0 | 32.4196 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.2515
| CAISO Generator Emissions | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 26.616 | 23.1269 | 20.4745 | 19.1442 | 20.5026 | 0 | 21.6367 | 0 | 0 | 0 | 19.3539 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.5965
| Import Emissions | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 10.978 | 11.5303 | 11.7307 | 12.6851 | 13.2729 | 0 | 13.8323 | 0 | 0 | 0 | 13.0656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65495
| Total CAISO Emissions | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 43.0913 | 40.1588 | 37.7098 | 37.3347 | 39.2801 | 0 | 40.9667 | 0 | 0 | 0 | 37.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.2515
| Marginal GHG Cost | $/tCO2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 440.9
| CARB Floor Carbon Price | $/tCO2 |  | 0 | 0 | 0 | 0 | 0 | 15.2488 | 16.0005 | 16.837 | 17.706 | 18.6244 | 0 | 20.5924 | 0 | 0 | 0 | 25.2476 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54.0886
| Total GHG Abatement Cost | $/tCO2 |  | 0 | 0 | 0 | 0 | 0 | 15.2488 | 16.0005 | 16.837 | 17.706 | 18.6244 | 0 | 20.5924 | 0 | 0 | 0 | 129.7576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.9886
| Total RESOLVE Footprint Emissions (most of WECC) | MMtCO2/Yr |  | 0 | 0 | 0 | 0 | 0 | 166.764 | 161.6218 | 158.8039 | 159.3621 | 162.7502 | 0 | 159.993 | 0 | 0 | 0 | 157.8326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 149.8912
Planning Reserve Margin Summary
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Peak Load | MW |  | 0 | 0 | 0 | 0 | 0 | 49406.66 | 49913.84 | 50404.99 | 50722.62 | 50968.36 | 0 | 53083.14 | 0 | 0 | 0 | 53486.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61433
| Reserve Margin Requirement | % |  | 0% | 0% | 0% | 0% | 0% | 15% | 15% | 15% | 15% | 15% | 0% | 15% | 0% | 0% | 0% | 15% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 15%
| Total Reserve Margin Requirement | MW |  | 0 | 0 | 0 | 0 | 0 | 56817.659 | 57400.916 | 57965.7385 | 58331.013 | 58613.614 | 0 | 61045.611 | 0 | 0 | 0 | 61509.383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70647.95
| Firm Capacity | MW |  | 0 | 0 | 0 | 0 | 0 | 40129.67 | 37826.83 | 37826.83 | 37826.83 | 36684.7 | 0 | 35072.14 | 0 | 0 | 0 | 35043.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30104.21
| CCGT | MW |  | 0 | 0 | 0 | 0 | 0 | 14247.68 | 15453.96 | 15453.96 | 15453.96 | 15453.96 | 0 | 15453.96 | 0 | 0 | 0 | 15453.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14411.15
| Peaker | MW |  | 0 | 0 | 0 | 0 | 0 | 8334.04 | 8334.04 | 8334.04 | 8334.04 | 8334.04 | 0 | 8334.04 | 0 | 0 | 0 | 8306.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4434.82
| Steam Turbine | MW |  | 0 | 0 | 0 | 0 | 0 | 3731.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHP | MW |  | 0 | 0 | 0 | 0 | 0 | 1455.68 | 1455.68 | 1455.68 | 1455.68 | 1455.68 | 0 | 1455.68 | 0 | 0 | 0 | 1455.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydro (small + large) | MW |  | 0 | 0 | 0 | 0 | 0 | 5644.65 | 5644.65 | 5644.65 | 5644.65 | 5644.65 | 0 | 5644.65 | 0 | 0 | 0 | 5644.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5644.15
| Nuclear | MW |  | 0 | 0 | 0 | 0 | 0 | 2279.91 | 2279.91 | 2279.91 | 2279.91 | 1137.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Coal | MW |  | 0 | 0 | 0 | 0 | 0 | 470.43 | 470.43 | 470.43 | 470.43 | 470.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Geothermal | MW |  | 0 | 0 | 0 | 0 | 0 | 1140.41 | 1140.41 | 1140.41 | 1140.41 | 1140.41 | 0 | 1140.41 | 0 | 0 | 0 | 1140.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1597.2
| Biomass | MW |  | 0 | 0 | 0 | 0 | 0 | 630.05 | 630.05 | 630.05 | 630.05 | 630.05 | 0 | 630.05 | 0 | 0 | 0 | 628.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1603.56
| Shed DR | MW |  | 0 | 0 | 0 | 0 | 0 | 2195.45 | 2417.69 | 2417.69 | 2417.69 | 2417.69 | 0 | 2417.69 | 0 | 0 | 0 | 2417.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2417.69
| Import Capacity | MW |  | 0 | 0 | 0 | 0 | 0 | 5000 | 5000 | 5000 | 5000 | 5000 | 0 | 5000 | 0 | 0 | 0 | 5000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
| Hoover and Palo Verde | MW |  | 0 | 0 | 0 | 0 | 0 | 1457 | 1457 | 1457 | 1457 | 1457 | 0 | 1457 | 0 | 0 | 0 | 1457 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1457
| Other Firm Imports | MW |  | 0 | 0 | 0 | 0 | 0 | 3543 | 3543 | 3543 | 3543 | 3543 | 0 | 3543 | 0 | 0 | 0 | 3543 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3543
| Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 3174.24 | 5898.8 | 5963.12 | 6090.58 | 7238.71 | 0 | 10879.52 | 0 | 0 | 0 | 11083.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23688.71
| Battery (incl. BTM) | MW |  | 0 | 0 | 0 | 0 | 0 | 1575.04 | 4299.59 | 4363.91 | 4491.38 | 5639.51 | 0 | 8306.84 | 0 | 0 | 0 | 8510.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21116.03
| Pumped Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 1599.2 | 1599.2 | 1599.2 | 1599.2 | 1599.2 | 0 | 2572.68 | 0 | 0 | 0 | 2572.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2572.68
| Variable Renewable ELCC (Incl. BTM) | MW |  | 0 | 0 | 0 | 0 | 0 | 8513.75 | 8675.29 | 9329.75 | 9413.6 | 9690.2 | 0 | 10093.94 | 0 | 0 | 0 | 10382.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11855.02
| Total Available Capacity | MW |  | 0 | 0 | 0 | 0 | 0 | 56817.66 | 57400.92 | 58119.7 | 58331.01 | 58613.61 | 0 | 61045.6 | 0 | 0 | 0 | 61509.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70647.94
| Actual Reserve Margin | % |  | 0% | 0% | 0% | 0% | 0% | 15% | 15% | 15.31% | 15% | 15% | 0% | 15% | 0% | 0% | 0% | 15% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 15%
| Marginal PRM Cost | $/kW-yr. |  | 0 | 0 | 0 | 0 | 0 | 531.388 | 1222.6017 | 0 | 5.4508 | 271.899 | 0 | 258.9108 | 0 | 0 | 0 | 14.8253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9697
| Marginal Solar ELCC | % |  | 0% | 0% | 0% | 0% | 0% | 2.374% | 1.989% | 1.986% | 1.982% | 2.361% | 0% | 2.434% | 0% | 0% | 0% | 2.421% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.565%
| Marginal Wind ELCC | % |  | 0% | 0% | 0% | 0% | 0% | 32.31% | 32.52% | 32.46% | 32.39% | 21.15% | 0% | 21.8% | 0% | 0% | 0% | 21.69% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 25.58%
Local Capacity Requirement Summary
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Total LCR Deficiency | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Storage | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total New Local Capacity | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Marginal LCR Cost | $/kW-yr. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Need for New Transmission
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| New Transmission for Selected Resources (within CAISO) | MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135547.17
| New Transmission Cost (within CAISO) | $MM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2560.3196
Annual Weights (for levelization)
|  | Unit |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Annual Weights |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0.95238 | 0.90703 | 0.86384 | 1.2145 | 0 | 2.1706 | 0 | 0 | 0 | 4.9706 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6952

## CompareDispatchToServm
Columns marked with green correspond to RSP PD case
Added 2 GW to RESOLVE PRM constraint and tested sensitivities in SERVM relaxing the RA import constraint in 1.5 GW steps
Case | 46 MMT No OTC PRM+2 GW
Year | 2020 | 2020 | 2022 | 2022 | 2026 | 2026 | 2026 | 2026 | 2030 | 2030 | 2030
Model | RESOLVE | SERVM | RESOLVE | SERVM | RESOLVE | SERVM | SERVM | SERVM | RESOLVE | SERVM | SERVM
RA Import Limit * | 3.5 GW | 5.0 GW | 3.5 GW | 5.0 GW | 3.5 GW | 3.5 GW | 5.0 GW | 6.5 GW | 3.5 GW | 3.5 GW | 5.0 GW
Category | CAISO Energy Balance (GWh)
CHP | 10881.0553 | 10145.2523 | 10881.0553 | 9812.2238 | 10881.0553 | 10270 | 10196 | 10157 | 10881.0553 | 10614 | 10574
Nuclear | 23611.1228 | 25710.6 | 23611.1228 | 25710.6 | 5108.369 | 5563 | 5563 | 5563 | 5108.369 | 5136 | 5136
Hydro In-state | 22996.4397 | 25391.7055 | 22996.4399 | 25390.9077 | 22996.4369 | 25392 | 25392 | 25392 | 22994.8846 | 25391 | 25391
Hydro From NW | 10364.4795 | 11000 | 10580.4668 | 11000 | 11131.8334 | 11000 | 11000 | 11000 | 11311.0391 | 11000 | 11000
CCGT | 51970.4003 | 45267.0284 | 38558.6079 | 42112.8112 | 44496.0614 | 47798 | 47168 | 46758 | 38563.7691 | 48723 | 48420
Peaker | 1655.4466 | 1892.103 | 1175.1082 | 2688.6403 | 450.0226 | 6842 | 6676 | 6583 | 69.4849 | 8209 | 8107
Reciprocating Engine | 142.4302 | 98.6782 | 85.6533 | 64.2715 | 32.4379 | 77 | 73 | 71 | 19.3607 | 116 | 116
Coal | 1331.5097 | 1580.4163 | 591.2621 | 1136.0153 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Steam | 0 | 1317.041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BTM PV | 18632.7938 | 18578.9915 | 23291.2262 | 23225.3271 | 30631.1942 | 30556 | 30556 | 30556 | 38045.6177 | 37949 | 37949
Solar | 41391.1096 | 39696.5822 | 54229.1421 | 52455.3607 | 59499.4567 | 56892 | 56892 | 56892 | 68248.5581 | 65177 | 65177
Wind | 18526.6147 | 13810.0557 | 24072.5733 | 18829.9808 | 26432.3715 | 19631 | 19631 | 19631 | 29214.5978 | 20508 | 20508
Geothermal | 13041.7128 | 13588.3431 | 13041.7128 | 13390.9529 | 13041.7128 | 13793 | 13779 | 13775 | 13041.7128 | 13596 | 13598
Biomass | 6778.05 | 6206.422 | 6778.05 | 5740.2967 | 6778.05 | 5951 | 5935 | 5932 | 6763.7712 | 5333 | 5339
Pumped Storage Roundtrip Losses | -303.3918 | -954.2471 | -582.0423 | -859.0235 | -912.6369 | -1322 | -1324 | -1326 | -1478.0097 | -1307 | -1308
Battery Storage Roundtrip Losses | -348.3607 | -464.8783 | -1195.77 | -1216.1736 | -2300.7917 | -2259 | -2259 | -2258 | -2705.3992 | -2304 | -2304
Curtailment | -1181.135 | -118.9976 | -2967.1738 | -411.1076 | -1974.7608 | -262 | -260 | -260 | -5540.7559 | -1055 | -1057
Imports (unspecified) | 25649.5336 | 29973.7212 | 27408.088 | 21407.1301 | 32318.5156 | 25360 | 26247 | 26801 | 30527.1963 | 16635 | 17031
Exports | -2095.5057 | -743.3905 | -3966.5636 | -3519.615 | -3735.6058 | -2427 | -2402 | -2401 | -6315.5243 | -7612 | -7563
Load | 242188.0714 | 241974.4444 | 247401.0988 | 246957.2981 | 253790.1941 | 252857 | 252862 | 252866 | 257009.8535 | 255836 | 255838
Case | 46 MMT No OTC PRM+2 GW
Year | 2020 | 2020 | 2022 | 2022 | 2026 | 2026 | 2026 | 2026 | 2030 | 2030 | 2030
Model | RESOLVE | SERVM | RESOLVE | SERVM | RESOLVE | SERVM | SERVM | SERVM | RESOLVE | SERVM | SERVM
RA Import Limit * | 3.5 GW | 5.0 GW | 3.5 GW | 5.0 GW | 3.5 GW | 3.5 GW | 5.0 GW | 6.5 GW | 3.5 GW | 3.5 GW | 5.0 GW
Category | CAISO GHG Emissions (MMtCO2/Yr)
CAISO Generator Emissions | 26.616 | 25.3499 | 20.4745 | 23.3322 | 21.6367 | 27.44 | 27.07 | 26.84 | 19.3539 | 28.79 | 28.6
Unspecified Import Emissions | 10.978 | 12.8288 | 11.7307 | 9.1623 | 13.8323 | 10.85 | 11.23 | 11.47 | 13.0656 | 7.12 | 7.29
CAISO Emissions w/o BTM CHP | 37.594 | 38.1786 | 32.2052 | 32.4944 | 35.469 | 38.29 | 38.3 | 38.31 | 32.4196 | 35.91 | 35.89
CAISO BTM CHP Emissions | 5.4974 | 5.5 | 5.5047 | 5.5 | 5.4977 | 5.5 | 5.5 | 5.5 | 5.4804 | 5.5 | 5.5
CAISO Emissions w/ BTM CHP | 43.0913 | 43.6786 | 37.7098 | 37.9944 | 40.9667 | 43.79 | 43.8 | 43.81 | 37.9 | 41.41 | 41.39
Emissions Delta |  | 0.58728 |  | 0.28459 |  | 2.8233 | 2.8333 | 2.8433 |  | 3.51 | 3.49
CAISO Generation and Imports (GWh)
Zero-GHG ** | 151413.9297 | 151701.1865 | 169889.1841 | 169737.5063 | 166695.6292 | 162508 | 162503 | 162496 | 178688.8613 | 171812 | 171866
GHG-emitting | 91630.3757 | 90274.2403 | 78699.7747 | 77221.0923 | 88178.0927 | 90347 | 90360 | 90370 | 80060.8664 | 84297 | 84248
* CAISO shares of Hoover, Palo Verde, and Intermountain are outside the limit (thus 3.5 GW is consistent with a total limit of 5 GW)
** Zero-GHG energy net of storage losses, exports, curtailment