## 46MMT_CEC BusBar Assignment
Portfolio: 46MMT_20201015_2045_RSP_2019IEPR
Source: RESOLVE Portfolio Analytics Tab ("2020-10-29-All_Portfolios_For_Busbar_Mapping.xlsx"; tab "Portfolio Analytics_Base"; Row 466 "Selected Renewables by Location (Fully Deliverable)" and Row 539 "Selected Renewables by Location (Energy Only)")
| RESOLVE Resource | Tx Deliv. Zone | FCDS Renewable Resource Summary by Location (MW) | EO Renewable Resource Summary by Location (MW) | Total MW | SUBSTATION | FCDS MW ASSIGNED | EO MW ASSIGNED | Total MW Assigned | CEC NOTES
| InState_Biomass | None | 0 | 0 | 0
| Greater_Imperial_Geothermal | Greater_Imperial-SCADSNV | 0 | 0 | 0
| Inyokern_North_Kramer_Geothermal | Greater_Kramer-Inyokern_North_Kramer | 0 | 0 | 0
| Northern_California_Ex_Geothermal | Northern_California_Ex | 0 | 0 | 0
| Pacific_Northwest_Geothermal | N/A | 0 | 0 | 0
| Riverside_Palm_Springs_Geothermal | SCADSNV-Riverside_Palm_Springs | 0 | 0 | 0
| Solano_Geothermal | Solano-Sacramento_River | 0 | 0 | 0
| Southern_Nevada_Geothermal | SCADSNV-Mountain_Pass_El_Dorado | 0 | 0 | 0
| Carrizo_Solar | SPGE-Kern_Greater_Carrizo-Carrizo | 0 | 0 | 0
| Carrizo_Wind | SPGE-Kern_Greater_Carrizo-Carrizo | 187 | 0 | 187
[6 empty] | Templeton 230kV | 187 | 0 | 187
| Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos-SPGE | 0 | 0 | 0
| Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos-SPGE | 173 | 0 | 173
[6 empty] | Los Banos 230kV | 173 | 0 | 173 | Assign this Wind Resource and MW to Westlands Tx Zone
| Distributed_Solar | None | 0 | 0 | 0
| Distributed_Wind | #N/A | 0 | 0 | 0
| Greater_Imperial_Solar | Greater_Imperial-SCADSNV |  | 547.9 | 547.9
[6 empty] | Imperial Valley 230kV |  | 333 | 333
[6 empty] | Ocotillo Express 230kV |  | 215 | 215
| Greater_Imperial_Wind | Greater_Imperial-SCADSNV | 0 | 0 | 0
| Greater_Kramer_Wind | Greater_Kramer | 0 | 0 | 0
| Humboldt_Wind | Sacramento_River-Humboldt | 0 | 34 | 34
[6 empty] | Bridgeville 115kV | 0 | 34 | 34
| Inyokern_North_Kramer_Solar | Greater_Kramer-Inyokern_North_Kramer | 0 | 0 | 0
| Kern_Greater_Carrizo_Solar | SPGE-Kern_Greater_Carrizo | 0 | 700 | 700
[6 empty] | Arco 230kV | 0 | 144 | 144
[6 empty] | Midway 230kV | 0 | 139.6115 | 139.6115
[6 empty] | Renfro 115kV | 0 | 143.375 | 143.375
[6 empty] | Stockdale 230kV | 0 | 143.8867 | 143.8867
[6 empty] | Wheeler Ridge 230kV | 0 | 128.7546 | 128.7546
| Kern_Greater_Carrizo_Wind | SPGE-Kern_Greater_Carrizo | 20 | 0 | 20
[6 empty] | Cholame 70 kV | 20 | 0 | 20 | Assign to Cholame Sub to reduce gentie distance. May require local upgrade to connect project(s)
| Kramer_Inyokern_Ex_Solar | Kramer_Inyokern_Ex | 0 | 0 | 0
| Kramer_Inyokern_Ex_Wind | Kramer_Inyokern_Ex | 0 | 0 | 0
| Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 248 | 0 | 248
[6 empty] | El Dorado 230kV | 83 | 0 | 83
[6 empty] | EL Dorado 500kV | 165 | 0 | 165
| North_Victor_Solar | North_Victor-Greater_Kramer | 300 | 0 | 300
[6 empty] | Victor 230kV | 215 | 0 | 215
[6 empty] | Coolwater 230kV | 85 | 0 | 85
| Northern_California_Ex_Solar | Northern_California_Ex | 0 | 0 | 0
| Northern_California_Ex_Wind | Sacramento_River | 766.9 | 0 | 766.9
[6 empty] | Glenn 230kV | 354 | 0 | 354
[6 empty] | Delevan 230kV | 83 | 0 | 83
[6 empty] | Thermalito 230kV | 178 | 0 | 178
[6 empty] | Rio Oso 230kV | 152 | 0 | 152
| NW_Ext_Tx_Wind | Sacramento_River | 530.12 | 0 | 530.12
[6 empty] | Round Mountain 500kV | 530 |  | 530
| Riverside_Palm_Springs_Solar | SCADSNV-Riverside_Palm_Springs |  | 0
[6 empty] | Colorado River 500kV |  | 0 | 0
[6 empty] | Red Bluff 500kV |  | 0 | 0
| Sacramento_River_Solar | Sacramento_River | 0 | 0 | 0
| Sacramento_River_Wind | N/A | 0 | 0 | 0
| SCADSNV_Solar | SCADSNV | 276 | 330 | 606
[6 empty] | Mohave 500kV | 238 | 330 | 568
| SCADSNV_Wind | SCADSNV | 0 | 0 | 0
| Solano_Solar | Solano-Sacramento_River | 57 | 0 | 57
[6 empty] | Vaca-Dixon & Gc Yard 230kV | 57 | 0 | 57
| Solano_subzone_Solar | Solano-Sacramento_River-Solano_subzone | 0 | 0 | 0
| Solano_subzone_Wind | Solano-Sacramento_River-Solano_subzone | 0 | 0 | 0
| Solano_Wind | Solano-Sacramento_River | 462 | 0 | 462
[6 empty] | Lakeville 230kV | 194 | 0 | 194
[6 empty] | Tulucay 230kV | 20 | 0 | 20
[6 empty] | Vaca-Dixon & GC Yard 230kV | 146 | 0 | 146
[6 empty] | Shilo III 230kV | 72 | 0 | 72
[6 empty] | Lone Tree 230kV | 30 | 0 | 30
| Southern_California_Desert_Ex_Solar | Southern_California_Desert_Ex |  | 0 | 0 |  |  |  |  | -862
[6 empty] | Innovation 230kV |  |  | 0
[6 empty] | Desert View 230kV |  |  | 0
[6 empty] | Crazy Eyes 230kV |  |  | 0
[6 empty] | El Dorado 230kV |  |  | 0
[6 empty] | El Dorado 500kV |  |  | 0
Mohave 500kV
| Southern_California_Desert_Ex_Wind | Southern_California_Desert_Ex | 0 | 0 | 0
| Southern_Nevada_Solar | SCADSNV-GLW_VEA | 624 | 0 | 624
[6 empty] | Innovation 230kV | 137
[6 empty] | Desert View 230kV | 106
[6 empty] | Crazy Eyes 230kV | 381
| Southern_Nevada_Wind | SCADSNV-GLW_VEA | 0 | 0 | 0
| SW_Ext_Tx_Wind | SCADSNV-Riverside_Palm_Springs | 0 | 0 | 0
| Tehachapi_Solar | Tehachapi | 3880 | 800 | 4680 |  |  |  |  | +623
[6 empty] | WindHub 230kV | 956 | 197 | 1153
[6 empty] | Whirlwind 230kV | 1059 | 218 | 1277
[6 empty] | Antelope 230kV | 1034 | 213 | 1247
[6 empty] | Vincent 230kV | 831 | 172 | 1003 | Replaced Pearblossom 230kV with Vincent 230kV
| Tehachapi_Ex_Solar | Tehachapi_Ex | 0 | 0 | 0
| Tehachapi_Wind | Tehachapi | 275 | 0 | 275
[6 empty] | WindHub 230kV | 275 | 0 | 275
| Westlands_Ex_Solar | Westlands_Ex |  | 0 | 0 |  |  |  |  | -1779
[6 empty] | Coburn 230kV |  | 0 | 0
[6 empty] | Diablo Canyon 500kV |  | 0 | 0
[6 empty] | Goleta 230kV |  | 0 | 0
| Westlands_Ex_Wind | N/A | 0 | 0 | 0
| Westlands_Solar | Central_Valley_North_Los_Banos-SPGE | 1423 | 0 | 1423 |  |  |  |  | +955
[6 empty] | Gates 230kV | 151 | 0 | 151
[6 empty] | Helm 230kV | 176 | 0 | 176
[6 empty] | Henrietta 230kV | 163 | 0 | 163
[6 empty] | Mc Call 230kV | 204 | 0 | 204
[6 empty] | Mc Mullin 230kV | 190 | 0 | 190
[6 empty] | Panoche 230kV | 160 | 0 | 160
[6 empty] | Gates 500kV | 379 | 0 | 379 | Excess Allocated - Gates 500kV
| Cape_Mendocino_Offshore_Wind | N/A | 0 | 0 | 0
| Del_Norte_Offshore_Wind | N/A | 0 | 0 | 0
| Diablo_Canyon_Offshore_Wind_Ext_Tx | N/A | 0 | 0 | 0
| Diablo_Canyon_Offshore_Wind | N/A | 0 | 0 | 0
| Humboldt_Bay_Offshore_Wind | N/A | 0 | 0 | 0
| Morro_Bay_Offshore_Wind | N/A | 0 | 0 | 0
| Utah_Solar | N/A | 0 | 0 | 0
| Arizona_Solar | SCADSNV-Riverside_Palm_Springs | 772 | 1580 | 2352
[6 empty] | Hassayampa 500kV | 298.5 | 571 | 869.5
[6 empty] | Hoodoo Wash Switchyard 500kV |  |  | 0
[6 empty] | Delaney-Colorado 500kV | 473.5 | 1008 | 1481.5
| New_Mexico_Solar | N/A | 0 | 0 | 0
| Baja_California_Solar | N/A | 0 | 0 | 0
| Baja_California_Wind | Greater_Imperial-SCADSNV | 495 | 0 | 495
[6 empty] | East County 500kV | 495 | 0 | 495
| Pacific_Northwest_Wind | N/A | 0 | 0 | 0
| Idaho_Wind | N/A | 0 | 0 | 0
| Utah_Wind | N/A | 0 | 0 | 0
| Wyoming_Wind | SCADSNV-Mountain_Pass_El_Dorado | 1062 | 0 | 1062
[6 empty] | El Dorado 500kV | 1062 |  | 1062
| Arizona_Wind | N/A | 0 | 0 | 0
| New_Mexico_Wind | SCADSNV-Riverside_Palm_Springs | 0
[6 empty] | Palo Verde 500kV | 0 | 0 | 0 | SunZia/Devers-Palo Verde 500kV
| Pisgah_Solar |  | 201 | 0 | 201
[6 empty] | Calcite | 140 | 0 | 140
[6 empty] | Lugo | 47 | 0 | 47
[6 empty] | Pisgah 230kV | 14 | 0 | 14
| Pumped Hydro Storage |  | 627 | 0 | 627
[6 empty] | Lee Lake 500kV | 627 | 0 | 627

## 38MMT_CEC BusBar Assignment
Portfolio: 38MMT_20201015_2045_RSP_2019IEPR
Source: RESOLVE Portfolio Analytics Tab ("2020-10-29-All_Portfolios_For_Busbar_Mapping.xlsx"; tab "Portfolio Analytics_Sens 1"; Row 466 "Selected Renewables by Location (Fully Deliverable)" and Row 539 "Selected Renewables by Location (Energy Only)")
| RESOLVE Resource | Tx Deliv. Zone | FCDS Renewable Resource Summary by Location (MW) | EO Renewable Resource Summary by Location (MW) | Total MW | SUBSTATION | FCDS MW ASSIGNED | EO MW ASSIGNED | Total MW Assigned | CEC NOTES
| InState_Biomass | None | 0 | 0 | 0
| Greater_Imperial_Geothermal | Greater_Imperial-SCADSNV | 0 | 0 | 0
| Inyokern_North_Kramer_Geothermal | Greater_Kramer-Inyokern_North_Kramer | 0 | 0 | 0
| Northern_California_Ex_Geothermal | Northern_California_Ex | 0 | 0 | 0
| Pacific_Northwest_Geothermal | N/A | 0 | 0 | 0
| Riverside_Palm_Springs_Geothermal | SCADSNV-Riverside_Palm_Springs | 0 | 0 | 0
| Solano_Geothermal | Solano-Sacramento_River | 57 | 0 | 57
[6 empty] | Sonoma 3 230kV | 57 | 0 | 57 | PG&E 230kV
| Southern_Nevada_Geothermal | SCADSNV-Mountain_Pass_El_Dorado | 0 | 0 | 0
| Carrizo_Solar | SPGE-Kern_Greater_Carrizo-Carrizo | 0 | 0 | 0 |  |  | 0 | 0
| Carrizo_Wind | SPGE-Kern_Greater_Carrizo-Carrizo | 287 | 0 | 287
[6 empty] | Templeton 230kV | 287 | 0 | 287
| Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos-SPGE | 0 | 0 | 0 |  |  | 0 | 0
| Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos-SPGE | 173 | 0 | 173
[6 empty] | Los Banos 230kV | 173 | 0 | 173 | Assign this Wind Resource and MW to Westlands Tx Zone
| Distributed_Solar | None | 0 | 0 | 0
| Distributed_Wind | #N/A | 0 | 0 | 0
| Greater_Imperial_Solar | Greater_Imperial-SCADSNV | 600 | 547.9 | 1147.9 |  |  |  |  | +600
[6 empty] | Imperial Valley 230kV | 365 | 332 | 697
[6 empty] | Ocotillo Express 230kV | 235 | 216 | 451
| Greater_Imperial_Wind | Greater_Imperial-SCADSNV | 0 | 0 | 0
| Greater_Kramer_Wind | Greater_Kramer | 0 | 0 | 0
| Humboldt_Wind | Sacramento_River-Humboldt | 0 | 34 | 34
[6 empty] | Bridgeville 115kV | 0 | 34 | 34
| Inyokern_North_Kramer_Solar | Greater_Kramer-Inyokern_North_Kramer | 0 | 0 | 0
| Kern_Greater_Carrizo_Solar | SPGE-Kern_Greater_Carrizo | 101.32 | 700 | 801.32
[6 empty] | Arco 230kV | 21 | 144 | 165
[6 empty] | Midway 230kV | 20 | 140 | 160
[6 empty] | Renfro 115kV | 21 | 143 | 164
[6 empty] | Stockdale 230kV | 21 | 144 | 165
[6 empty] | Wheeler Ridge 230kV | 18 | 129 | 147
| Kern_Greater_Carrizo_Wind | SPGE-Kern_Greater_Carrizo | 20 | 0 | 20
[6 empty] | Cholame 70 kV | 20 | 0 | 20 | Assign to Cholame Sub to reduce gentie distance. May require local upgrade to connect project(s)
| Kramer_Inyokern_Ex_Solar | Kramer_Inyokern_Ex | 0 | 0 | 0
| Kramer_Inyokern_Ex_Wind | Kramer_Inyokern_Ex | 0 | 0 | 0
| Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 248 | 0 | 248
[6 empty] | El Dorado 230kV | 83 | 0 | 83
[6 empty] | EL Dorado 500kV | 165 | 0 | 165
| North_Victor_Solar | North_Victor-Greater_Kramer | 300 | 0 | 300
[6 empty] | Victor 230kV | 215 | 0 | 215
[6 empty] | Coolwater 230kV | 85 | 0 | 85
| Northern_California_Ex_Solar | Northern_California_Ex | 396.9 | 0 | 396.9
[6 empty] | Brighton 230kV | 156 | 0 | 156
[6 empty] | Logan Creek 230kV | 241 | 0 | 241
| Northern_California_Ex_Wind | Sacramento_River | 766.9 | 0 | 766.9
[6 empty] | Glenn 230kV | 354 | 0 | 354
[6 empty] | Delevan 230kV | 83 | 0 | 83
[6 empty] | Thermalito 230kV | 178 | 0 | 178
[6 empty] | Rio Oso 230kV | 152 | 0 | 152
| NW_Ext_Tx_Wind | Sacramento_River | 530.12 | 940.46 | 1470.58 | Round Mountain 500kV | 530.12 | 940 | 1470.12
| Riverside_Palm_Springs_Solar | SCADSNV-Riverside_Palm_Springs | 0 | 0 | 0
| Sacramento_River_Solar | Sacramento_River | 0 | 261 | 261 |  |  |  |  | -665 EO
[6 empty] | Delevan 230kV | 0 | 39 | 39
[6 empty] | Glenn 230kV | 0 | 54 | 54
[6 empty] | Palmero 230kV | 0 | 51 | 51
[6 empty] | Rio Oso 230kV | 0 | 64 | 64
[6 empty] | Thermalito 230kV | 0 | 53 | 53
| Sacramento_River_Wind | N/A | 0 | 0 | 0
| SCADSNV_Solar | SCADSNV | 410 | 330 | 740 |  |  |  |  | +410
[6 empty] | Mohave 500kV | 410 | 330 | 740
| SCADSNV_Wind | SCADSNV | 0 | 0 | 0
| Solano_Solar | Solano-Sacramento_River | 0 | 622 | 622
[6 empty] | Fulton 230kV | 0 | 159 | 159
[6 empty] | Contra Costa 230kV | 0 | 156 | 156
[6 empty] | Tulucay 230kV | 0 | 137 | 137
[6 empty] | Vaca-Dixon & GC Yard 230kV | 0 | 170 | 170
| Solano_subzone_Solar | Solano-Sacramento_River-Solano_subzone | 0 | 0 | 0
| Solano_subzone_Wind | Solano-Sacramento_River-Solano_subzone | 0 | 0 | 0
| Solano_Wind | Solano-Sacramento_River | 462 | 0 | 462
[6 empty] | Lakeville 230kV | 194 | 0 | 194
[6 empty] | Tulucay 230kV | 20 | 0 | 20
[6 empty] | Vaca-Dixon & GC Yard 230kV | 146 | 0 | 146
[6 empty] | Shilo III 230kV | 72 | 0 | 72
[6 empty] | Lone Tree 230kV | 30 | 0 | 30
| Southern_California_Desert_Ex_Solar | Southern_California_Desert_Ex |  | 0 | 0 |  |  |  |  | -862
[6 empty] | Innovation 230kV |  | 0 | 0
[6 empty] | Desert View 230kV |  | 0 | 0
[6 empty] | Crazy Eyes 230kV |  | 0 | 0
[6 empty] | El Dorado 230kV |  | 0 | 0
[6 empty] | El Dorado 500kV |  | 0 | 0
Mohave 500kV
| Southern_California_Desert_Ex_Wind | Southern_California_Desert_Ex | 0 | 0 | 0
| Southern_Nevada_Solar | SCADSNV-GLW_VEA | 182 | 0 | 182 |  |  |  |  | +182
[6 empty] | Innovation 230kV | 40
[6 empty] | Desert View 230kV | 31
[6 empty] | Crazy Eyes 230kV | 111
| Southern_Nevada_Wind | SCADSNV-GLW_VEA | 442.03 | 0 | 442.03
[6 empty] | Innovation 230kV | 97 | 0 | 97
[6 empty] | Desert View 230kV | 75 | 0 | 75
[6 empty] | Crazy Eyes 230kV | 270 | 0 | 270
| SW_Ext_Tx_Wind | SCADSNV-Riverside_Palm_Springs | 0 | 500 | 500
[6 empty] | Palo Verde 500kV |  | 500 | 500 | SunZia/Devers-Palo Verde 500kV
[8 empty] | 0 | 0
| Tehachapi_Solar | Tehachapi | 3856 | 800 | 4656 |  |  | 0 | 0 | +623
[6 empty] | WindHub 230kV | 950 | 197 | 1147
[6 empty] | Whirlwind 230kV | 1053 | 218 | 1271
[6 empty] | Antelope 230kV | 1027 | 213 | 1240
[6 empty] | Vincent 230kV | 826 | 172 | 998 | Replaced Pearblossom 230kV with Vincent 230kV
| Tehachapi_Ex_Solar | Tehachapi_Ex | 0 | 0 | 0
| Tehachapi_Wind | Tehachapi | 275 | 0 | 275
[6 empty] | WindHub 230kV | 275 | 0 | 275
| Westlands_Ex_Solar | Westlands_Ex |  | 0 | 0 |  |  |  |  | -1779
[6 empty] | Coburn 230kV |  | 0 | 0
[6 empty] | Diablo Canyon 500kV |  | 0 | 0
[6 empty] | Goleta 230kV |  | 0 | 0
| Westlands_Ex_Wind | N/A | 0 | 0 | 0
| Westlands_Solar | Central_Valley_North_Los_Banos-SPGE | 1423 | 665 | 2088 |  |  |  |  | +955 +665 EO
[6 empty] | Gates 230kV | 57 | 100 | 157
[6 empty] | Helm 230kV | 57 | 112 | 169
[6 empty] | Henrietta 230kV | 57 | 106 | 163
[6 empty] | Mc Call 230kV | 526 | 124 | 650
[6 empty] | Mc Mullin 230kV | 58 | 118 | 176
[6 empty] | Panoche 230kV | 58 | 105 | 163
[6 empty] | Gates 500kV | 610 |  | 610
| Cape_Mendocino_Offshore_Wind | N/A | 0 | 0 | 0
| Del_Norte_Offshore_Wind | N/A | 0 | 0 | 0
| Diablo_Canyon_Offshore_Wind_Ext_Tx | N/A | 0 | 0 | 0
| Diablo_Canyon_Offshore_Wind | N/A | 0 | 0 | 0
| Humboldt_Bay_Offshore_Wind | N/A | 0 | 0 | 0
| Morro_Bay_Offshore_Wind | N/A | 0 | 0 | 0
| Utah_Solar | N/A | 0 | 0 | 0
| Arizona_Solar | SCADSNV-Riverside_Palm_Springs | 446.89 | 1463 | 1909.89 |  |  |  |  | -330
[6 empty] | Hassayampa 500kV | 58.5 | 463 | 521.5
Hoodoo Wash Switchyard 500kV
[6 empty] | Delaney-Colorado 500kV | 58.5 | 1000 | 1058.5
| New_Mexico_Solar | N/A | 0 | 0 | 0
| Baja_California_Solar | N/A | 0 | 0 | 0
| Baja_California_Wind | Greater_Imperial-SCADSNV | 495 | 0 | 495
[6 empty] | East County 500kV | 495 | 0 | 495
| Pacific_Northwest_Wind | N/A | 0 | 0 | 0
| Idaho_Wind | N/A | 0 | 0 | 0
| Utah_Wind | N/A | 0 | 0 | 0
| Wyoming_Wind | SCADSNV-Mountain_Pass_El_Dorado | 1500 |  | 1500
[6 empty] | El Dorado 500kV | 1500 |  | 1500 | -1500 EO +1500 FD
| Arizona_Wind | N/A | 0 | 0 | 0
| New_Mexico_Wind | SCADSNV-Riverside_Palm_Springs | 945 | 582.98 | 1527.98
[6 empty] | Palo Verde 500kV | 945 | 583 | 1528 | SunZia/Devers-Palo Verde 500kV
| Pisgah_Solar |  | 201 | 0 | 201
[6 empty] | Calcite | 140 | 0 | 140
[6 empty] | Lugo | 47 | 0 | 47
[6 empty] | Pisgah 230kV | 14 | 0 | 14
| Pumped Hydro | Pumped Hydro Storage | 1843 |  | 1843
[6 empty] | Lee Lake 500kV | 500 |  | 500
[6 empty] | Red Bluff | 1343 |  | 1343

## 30MMT_CEC BusBar Assignment
Portfolio: | 30MMT_20201015_2045_OSWSens_2019IEPR
Source: RESOLVE Portfolio Analytics Tab ("2020-10-29-All_Portfolios_For_Busbar_Mapping.xlsx"; tab "Portfolio Analytics_Sens 2"; Row 466 "Selected Renewables by Location (Fully Deliverable)" and Row 539 "Selected Renewables by Location (Energy Only)")
| RESOLVE Resource | Tx Deliv. Zone | FCDS Renewable Resource Summary by Location (MW) | EO Renewable Resource Summary by Location (MW) | Total MW | SUBSTATION | FCDS MW ASSIGNED | EO MW ASSIGNED | Total MW Assigned | NOTES
| InState_Biomass | None | 0 | 0 | 0
| Greater_Imperial_Geothermal | Greater_Imperial-SCADSNV | 0 | 0 | 0
| Inyokern_North_Kramer_Geothermal | Greater_Kramer-Inyokern_North_Kramer | 0 | 0 | 0
| Northern_California_Ex_Geothermal | Northern_California_Ex | 0 | 0 | 0
| Pacific_Northwest_Geothermal | N/A | 0 | 0 | 0
| Riverside_Palm_Springs_Geothermal | SCADSNV-Riverside_Palm_Springs | 0 | 0 | 0
| Solano_Geothermal | Solano-Sacramento_River | 0 | 0 | 0
| Southern_Nevada_Geothermal | SCADSNV-Mountain_Pass_El_Dorado | 0 | 0 | 0
| Carrizo_Solar | SPGE-Kern_Greater_Carrizo-Carrizo | 0 | 0 | 0
| Carrizo_Wind | SPGE-Kern_Greater_Carrizo-Carrizo | 287 | 0 | 287
[6 empty] | Templeton 230kV | 287 | 0 | 287
| Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos-SPGE | 0 | 0 | 0
| Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos-SPGE | 173 | 0 | 173
[6 empty] | Los Banos 230kV | 173 | 0 | 173 | Assign this Wind Resource and MW to Westlands Tx Zone
| Distributed_Solar | None | 0 | 0 | 0
| Distributed_Wind | #N/A | 0 | 0 | 0
| Greater_Imperial_Solar | Greater_Imperial-SCADSNV | 600 | 548 | 1148 |  |  |  |  | +600 FD
[6 empty] | Imperial Valley 230kV | 300 | 333 | 633
[6 empty] | Ocotillo Express 230kV | 300 | 215 | 515
| Greater_Imperial_Wind | Greater_Imperial-SCADSNV | 0 | 0 | 0
| Greater_Kramer_Wind | Greater_Kramer | 0 | 0 | 0
| Humboldt_Wind | Sacramento_River-Humboldt | 0 | 34 | 34
[6 empty] | Bridgeville 115kV | 0 | 34 | 34
| Inyokern_North_Kramer_Solar | Greater_Kramer-Inyokern_North_Kramer | 0 | 0 | 0
| Kern_Greater_Carrizo_Solar | SPGE-Kern_Greater_Carrizo | 0 | 0 | 0
| Kern_Greater_Carrizo_Wind | SPGE-Kern_Greater_Carrizo | 20 | 0 | 20
[6 empty] | Cholame 70 kV | 20 | 0 | 20 | Assign to Cholame Sub to reduce gentie distance. May require local upgrade to connect project(s)
| Kramer_Inyokern_Ex_Solar | Kramer_Inyokern_Ex | 0 | 0 | 0
| Kramer_Inyokern_Ex_Wind | Kramer_Inyokern_Ex | 0 | 0 | 0
| Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 248 | 0 | 248
[6 empty] | El Dorado 230kV | 83 | 0 | 83
[6 empty] | EL Dorado 500kV | 165 | 0 | 165
| North_Victor_Solar | North_Victor-Greater_Kramer | 300 | 0 | 300
[6 empty] | Victor 230kV | 215 | 0 | 215
[6 empty] | Coolwater 230kV | 85 | 0 | 85
| Northern_California_Ex_Solar | Northern_California_Ex | 0 | 0 | 0
| Northern_California_Ex_Wind | Sacramento_River | 766.9 | 0 | 766.9
[6 empty] | Glenn 230kV | 354 | 0 | 354
[6 empty] | Delevan 230kV | 83 | 0 | 83
[6 empty] | Thermalito 230kV | 178 | 0 | 178
[6 empty] | Rio Oso 230kV | 152 | 0 | 152
| NW_Ext_Tx_Wind | Sacramento_River | 587.12 | 912.88 | 1500
[6 empty] | Round Mountain 500kV | 587 | 913 | 1500
| Riverside_Palm_Springs_Solar | SCADSNV-Riverside_Palm_Springs | 0 | 0 | 0
| Sacramento_River_Solar | Sacramento_River | 0 | 0 | 0
| Sacramento_River_Wind | N/A | 0 | 0 | 0
| SCADSNV_Solar | SCADSNV | 80 | 330 | 410
[6 empty] | Mohave 500kV | 80 | 330 | 410
| SCADSNV_Wind | SCADSNV | 0 | 0 | 0
| Solano_Solar | Solano-Sacramento_River | 0 | 0 | 0
| Solano_subzone_Solar | Solano-Sacramento_River-Solano_subzone | 0 | 0 | 0
| Solano_subzone_Wind | Solano-Sacramento_River-Solano_subzone | 0 | 0 | 0
| Solano_Wind | Solano-Sacramento_River | 462 | 0 | 462
[6 empty] | Lakeville 230kV | 194
[6 empty] | Tulucay 230kV | 20
[6 empty] | Vaca-Dixon & GC Yard 230kV | 146
[6 empty] | Shilo III 230kV | 72
[6 empty] | Lone Tree 230kV | 30
| Southern_California_Desert_Ex_Solar | Southern_California_Desert_Ex |  | 0 | 0 |  |  |  |  | -862
Innovation 230kV
Desert View 230kV
Crazy Eyes 230kV
El Dorado 230kV
El Dorado 500kV
Mohave 500kV
| Southern_California_Desert_Ex_Wind | Southern_California_Desert_Ex | 0 | 0 | 0
| Southern_Nevada_Solar | SCADSNV-GLW_VEA | 182 | 0 | 182 |  |  |  |  | +182
[6 empty] | Innovation 230kV | 40
[6 empty] | Desert View 230kV | 31
[6 empty] | Crazy Eyes 230kV | 111
| Southern_Nevada_Wind | SCADSNV-GLW_VEA | 442.03 | 0 | 442.03
[6 empty] | Innovation 230kV | 97
[6 empty] | Desert View 230kV | 75
[6 empty] | Crazy Eyes 230kV | 270
| SW_Ext_Tx_Wind | SCADSNV-Riverside_Palm_Springs | 0 | 234 | 234
[6 empty] | Palo Verde 500kV | 234 |  |  | SunZia/Devers-Palo Verde 500kV
| Tehachapi_Solar | Tehachapi | 3880 | 800 | 4680 |  |  |  |  | +623
[6 empty] | WindHub 230kV | 959 | 197 | 1156
[6 empty] | Whirlwind 230kV | 1045 | 218 | 1263
[6 empty] | Antelope 230kV | 1024 | 213 | 1237
[6 empty] | Vincent 230kV | 852 | 172 | 1024 | Replaced Pearblossom 230kV with Vincent 230kV
| Tehachapi_Ex_Solar | Tehachapi_Ex | 0 | 0 | 0
| Tehachapi_Wind | Tehachapi | 275 | 0 | 275
[6 empty] | WindHub 230kV | 275 | 0 | 275
| Westlands_Ex_Solar | Westlands_Ex |  | 0 | 0 |  |  |  |  | -1696
Coburn 230kV
Diablo Canyon 500kV
Goleta 230kV
| Westlands_Ex_Wind | N/A | 0 | 0 | 0
| Westlands_Solar | Central_Valley_North_Los_Banos-SPGE | 728 | 0 | 728 |  |  |  |  | +1696 +872
Gates 230kV
Helm 230kV
Henrietta 230kV
Mc Call 230kV
Mc Mullin 230kV
Panoche 230kV
[6 empty] | Gates 500kV | 728
| Cape_Mendocino_Offshore_Wind | N/A | 0 | 0 | 0
| Del_Norte_Offshore_Wind | N/A | 0 | 0 | 0
| Diablo_Canyon_Offshore_Wind_Ext_Tx | N/A | 0 | 0 | 0
| Diablo_Canyon_Offshore_Wind | N/A | 4419.2 | 0 | 4419.2
[6 empty] | Diablo Canyon 500kV | 4419 | 0 | 4419
| Humboldt_Bay_Offshore_Wind | N/A | 1607.04 | 0 | 1607.04
[6 empty] | Humboldt 230KV | 1607 | 0 | 1607
| Morro_Bay_Offshore_Wind | N/A |  | 0 | 0
|  |  | 2324 |  |  | Morro Bay 230kV | 2324 | 0 | 2324
| Utah_Solar | N/A | 0 | 0 | 0
| Arizona_Solar | SCADSNV-Riverside_Palm_Springs | 0 | 1910 | 1910
[6 empty] | Hassayampa 500kV | 0 | 537 | 537
[6 empty] | Hoodoo Wash Switchyard 500kV | 0 |  | 0
[6 empty] | Delaney-Colorado 500kV | 0 | 1373 | 1373
| New_Mexico_Solar | N/A | 0 | 0 | 0
| Baja_California_Solar | N/A | 0 | 0 | 0
| Baja_California_Wind | Greater_Imperial-SCADSNV | 495 |  | 495
[6 empty] | East County 500kV | 495 |  | 495
| Pacific_Northwest_Wind | N/A | 0 | 0 | 0
| Idaho_Wind | N/A | 0 | 0 | 0
| Utah_Wind | N/A | 0 | 0 | 0
| Wyoming_Wind | SCADSNV-Mountain_Pass_El_Dorado | 0 | 1500 | 1500
[6 empty] | El Dorado 500kV | 0 | 1500 | 1500
[8 empty] | 0 | 0
| Arizona_Wind | N/A | 0 | 0 | 0
| New_Mexico_Wind | SCADSNV-Riverside_Palm_Springs | 1392 | 108 | 1500
[6 empty] | Palo Verde 500kV | 1392 | 108 | 1500 | SunZia/Devers-Palo Verde 500kV
| Pisgah_Solar |  | 201 | 0 | 201
[6 empty] | Calcite | 140 | 0 | 140
[6 empty] | Lugo | 47 | 0 | 47
[6 empty] | Pisgah 230kV | 14 | 0 | 14
| Pumped Hydro | Pumped Hydro Storage | 1495 |  | 1495
[6 empty] | Lee Lake 500kV | 0 | 590 | 590
[6 empty] | Red Bluff | 0 | 905 | 905