## IEPR-based Input Summary
SERVM Zones | Year | SERVM modeled Energy CONSUMPTION w/ gross up, Mid (GWh) = [NetEnergyForLoad + CommittedPV - LDEV - TOU - BTMStorageLosses] | SERVM modeled Peak CONSUMPTION w/ gross up, Mid (MW) = [Consumption Peak + Climate + SVP or Vernon + BTM Storage Peak Reduction - Load Modifying Demand Response]; Does not include + TOU + LDEV - AAEE - CommittedPV - AAPV] | Committed BTMPV only Installed Capacity w/ gross up, Mid (MW) | Committed BTMPV only energy production w/ gross up, Mid (GWh) | AAPV only Installed Capacity w/ gross up, MidMid (MW) | AAPV only energy production w/ gross up, MidMid (GWh) | AAEE energy "production" grossed up, MidMid (GWh) | LDEV energy load w/ gross up, Mid (GWh) | TOU energy load w/ gross up, Mid (GWh)
IID | 2018 | 4049.9764 | 1087.2669 | 72.4326 | 120.9764 | 0 | 0 | 0 | 0 | 0
IID | 2019 | 4092.4988 | 1105.5297 | 80.7325 | 141.4988 | 0 | 0 | 0 | 0 | 0
IID | 2020 | 4167.9078 | 1120.5914 | 88.6049 | 155.9078 | 7.1351 | 7.0983 | 0 | 0 | 0
IID | 2021 | 4242.6911 | 1134.6053 | 96.2942 | 169.6911 | 14.8356 | 20.9758 | 0 | 0 | 0
IID | 2022 | 4329.5368 | 1153.438 | 103.2687 | 182.5368 | 23.2678 | 36.0101 | 0 | 0 | 0
IID | 2023 | 4408.4827 | 1172.4599 | 111.0349 | 195.4827 | 31.5269 | 51.4413 | 0 | 0 | 0
IID | 2024 | 4486.2855 | 1190.1753 | 118.0225 | 208.2855 | 40.4058 | 67.2636 | 0 | 0 | 0
IID | 2025 | 4568.3872 | 1206.3116 | 126.0574 | 221.3872 | 49.2536 | 83.5222 | 0 | 0 | 0
IID | 2026 | 4639.4527 | 1222.895 | 135.2057 | 236.4527 | 57.7331 | 99.3092 | 0 | 0 | 0
IID | 2027 | 4708.7392 | 1239.994 | 145.6751 | 253.7392 | 66.0754 | 114.5618 | 0 | 0 | 0
IID | 2028 | 4777.5754 | 1257.665 | 157.6215 | 273.5754 | 74.2633 | 129.4692 | 0 | 0 | 0
IID | 2029 | 4838.2996 | 1270.9882 | 171.2582 | 296.2996 | 82.5001 | 144.221 | 0 | 0 | 0
IID | 2030 | 4896.137 | 1284.9997 | 186.6349 | 322.137 | 90.5542 | 158.7663 | 0 | 0 | 0
LADWP | 2018 | 28853.6555 | 6510.9873 | 336.8134 | 573.6555 | 0 | 0 | 474.2395 | 0 | 0
LADWP | 2019 | 29259.4423 | 6616.2249 | 372.469 | 646.4423 | 0 | 0 | 973.1026 | 0 | 0
LADWP | 2020 | 29687.0033 | 6703.6404 | 401.334 | 703.0033 | 17.9118 | 17.7617 | 1449.5573 | 0 | 0
LADWP | 2021 | 30253.9826 | 6779.7593 | 429.8521 | 752.9826 | 32.8164 | 48.0963 | 1938.8884 | 0 | 0
LADWP | 2022 | 30873.3136 | 6882.3022 | 458.2867 | 802.3136 | 46.8596 | 74.8058 | 2418.5997 | 0 | 0
LADWP | 2023 | 31245.4362 | 6986.9271 | 490.8661 | 855.4362 | 60.256 | 99.996 | 2967.5959 | 0 | 0
LADWP | 2024 | 31772.1231 | 7088.5067 | 525.6754 | 914.1231 | 74.0728 | 124.9205 | 3499.6118 | 0 | 0
LADWP | 2025 | 32167.069 | 7178.443 | 566.1355 | 980.069 | 87.6071 | 149.815 | 4033.323 | 0 | 0
LADWP | 2026 | 32724.9282 | 7273.2105 | 608.9337 | 1052.9282 | 101.8235 | 175.0267 | 4561.6755 | 0 | 0
LADWP | 2027 | 33138.4817 | 7356.0013 | 656.7869 | 1132.4817 | 116.7435 | 201.42 | 5071.4417 | 0 | 0
LADWP | 2028 | 33565.159 | 7445.6454 | 711.7713 | 1223.159 | 131.3443 | 227.9913 | 5558.2419 | 0 | 0
LADWP | 2029 | 33959.4098 | 7537.7715 | 773.5599 | 1326.4098 | 145.4132 | 253.6362 | 6028.6644 | 0 | 0
LADWP | 2030 | 34337.4071 | 7631.0755 | 840.6449 | 1440.4071 | 158.9893 | 278.2135 | 6524.8852 | 0 | 0
PGE_Bay | 2018 | 47192.1317 | 9208.1881 | 1581.7545 | 2687.2127 | 0 | 0 | 443.2934 | 657.6097 | 0
PGE_Bay | 2019 | 47596.432 | 9308.5676 | 1857.8327 | 3170.5486 | 0 | 0 | 905.7941 | 882.3016 | 0
PGE_Bay | 2020 | 48340.1918 | 9497.5105 | 2149.1643 | 3679.8525 | 24.5916 | 24.6447 | 1374.7923 | 1107.883 | 0
PGE_Bay | 2021 | 48982.7036 | 9659.5555 | 2425.7567 | 4182.8819 | 48.1755 | 69.3912 | 1861.6659 | 1368.7931 | 6.1079
PGE_Bay | 2022 | 49686.4257 | 9829.3343 | 2648.758 | 4618.9093 | 74.9527 | 116.2288 | 2338.2043 | 1658.8019 | 7.9106
PGE_Bay | 2023 | 50234.3832 | 9962.4594 | 2836.0167 | 4971.2089 | 101.2276 | 165.0697 | 2901.4765 | 1962.3693 | 8.1955
PGE_Bay | 2024 | 50791.1414 | 10099.2509 | 3013.6073 | 5280.8873 | 128.5174 | 214.2417 | 3408.1456 | 2218.5036 | 8.4961
PGE_Bay | 2025 | 51396.0334 | 10241.0966 | 3180.0672 | 5569.0147 | 155.4071 | 263.6644 | 3900.8072 | 2449.0258 | 8.7301
PGE_Bay | 2026 | 51878.3132 | 10362.6922 | 3342.7012 | 5842.2179 | 181.4514 | 311.6604 | 4377.2283 | 2621.2123 | 8.9942
PGE_Bay | 2027 | 52326.3457 | 10484.9561 | 3506.1241 | 6113.8041 | 206.916 | 358.1133 | 4840.4383 | 2772.0373 | 9.2566
PGE_Bay | 2028 | 52702.4322 | 10581.1968 | 3675.5533 | 6391.8786 | 232.0126 | 403.4479 | 5275.8065 | 2942.2586 | 9.5619
PGE_Bay | 2029 | 53072.6919 | 10678.6132 | 3853.1441 | 6681.9829 | 256.942 | 448.0866 | 5677.3708 | 3117.4395 | 9.7693
PGE_Bay | 2030 | 53421.7269 | 10777.6615 | 4041.222 | 6988.0509 | 281.7086 | 492.2386 | 6074.6946 | 3303.757 | 10.0332
PGE_Valley | 2018 | 61761.9292 | 13076.3066 | 2471.6444 | 4153.764 | 0 | 0 | 511.9775 | 851.2247 | 0
PGE_Valley | 2019 | 62103.7138 | 13149.9358 | 2900.7473 | 4900.8173 | 0 | 0 | 1038.4383 | 1136.0541 | 0
PGE_Valley | 2020 | 62933.7143 | 13340.3021 | 3343.8405 | 5688.0778 | 38.2356 | 37.9498 | 1564.5605 | 1420.0848 | 0
PGE_Valley | 2021 | 63781.6392 | 13526.5673 | 3766.2283 | 6465.5757 | 74.9113 | 106.8534 | 2108.7395 | 1751.2086 | 7.8144
PGE_Valley | 2022 | 64756.2421 | 13735.0465 | 4107.3261 | 7139.5963 | 116.5419 | 178.9771 | 2642.0605 | 2120.6982 | 10.1133
PGE_Valley | 2023 | 65490.2837 | 13890.6248 | 4391.7432 | 7684.0827 | 157.3613 | 254.1794 | 3269.4571 | 2506.1679 | 10.4666
PGE_Valley | 2024 | 66224.8904 | 14055.8697 | 4661.1543 | 8162.8776 | 199.772 | 329.9073 | 3833.8732 | 2830.3683 | 10.8393
PGE_Valley | 2025 | 67060.8147 | 14230.8803 | 4911.212 | 8608.0912 | 241.5969 | 406.008 | 4386.8509 | 3123.7517 | 11.1354
PGE_Valley | 2026 | 67770.3577 | 14393.0766 | 5156.9272 | 9030.3772 | 282.114 | 479.9274 | 4925.7244 | 3344.5486 | 11.4763
PGE_Valley | 2027 | 68464.784 | 14566.6642 | 5408.0056 | 9450.1639 | 321.6983 | 551.4472 | 5454.7131 | 3539.9638 | 11.8209
PGE_Valley | 2028 | 69064.6796 | 14701.8229 | 5667.7512 | 9880.2659 | 360.6724 | 621.2568 | 5955.6092 | 3760.1764 | 12.22
PGE_Valley | 2029 | 69655.5229 | 14838.4402 | 5940.1244 | 10328.5469 | 399.4294 | 690.0077 | 6417.837 | 3986.7522 | 12.4935
PGE_Valley | 2030 | 70217.791 | 14982.0727 | 6228.0305 | 10801.463 | 437.941 | 757.9867 | 6874.7959 | 4227.4729 | 12.8384
SCE | 2018 | 108123.6553 | 24803.7382 | 2674.8501 | 4705.178 | 0 | 0 | 924.9106 | 1114.4105 | 0
SCE | 2019 | 108938.2328 | 25022.2125 | 3060.9481 | 5415.9229 | 0 | 0 | 1880.9847 | 1482.7708 | 0
SCE | 2020 | 110046.6395 | 25353.3524 | 3475.6622 | 6152.3573 | 66.6081 | 67.2153 | 2881.1761 | 1851.1215 | 0
SCE | 2021 | 111743.0021 | 25786.3086 | 3934.1322 | 6954.2778 | 136.487 | 196.5474 | 3942.2774 | 2275.5187 | 8.0401
SCE | 2022 | 113400.5277 | 26172.5327 | 4384.2911 | 7782.1573 | 210.3577 | 332.2241 | 4997.1609 | 2739.8255 | 10.3631
SCE | 2023 | 115241.5526 | 26634.7583 | 4789.1197 | 8552.362 | 282.0548 | 468.627 | 6253.982 | 3222.718 | 10.714
SCE | 2024 | 116656.2008 | 26993.6339 | 5181.3361 | 9265.4256 | 351.0726 | 599.7805 | 7443.7307 | 3628.2704 | 11.1025
SCE | 2025 | 117954.0087 | 27336.3273 | 5552.9703 | 9943.2486 | 419.3117 | 727.1662 | 8616.8748 | 3997.4885 | 11.3456
SCE | 2026 | 119073.3829 | 27634.8184 | 5911.9276 | 10587.3447 | 485.758 | 851.4421 | 9748.6033 | 4278.6606 | 11.6634
SCE | 2027 | 120226.6341 | 27945.8665 | 6262.7769 | 11209.4893 | 549.8977 | 971.2083 | 10884.492 | 4527.5403 | 11.9695
SCE | 2028 | 121309.236 | 28208.929 | 6605.9508 | 11814.1843 | 613.7908 | 1088.1021 | 11986.5224 | 4809.7973 | 12.2985
SCE | 2029 | 122341.8247 | 28476.1913 | 6942.0156 | 12402.3908 | 677.3335 | 1203.8687 | 13053.1856 | 5096.6708 | 12.5029
SCE | 2030 | 123337.2082 | 28752.6366 | 7292.474 | 12996.5342 | 739.7506 | 1317.6466 | 14107.8629 | 5398.2338 | 12.7887
SDGE | 2018 | 21683.395 | 4688.3289 | 1124.8307 | 1907.6187 | 0 | 0 | 175.2134 | 336.4067 | 0
SDGE | 2019 | 21908.7892 | 4754.5476 | 1328.538 | 2302.4167 | 0 | 0 | 368.8987 | 449.2434 | -0.017733
SDGE | 2020 | 22123.1426 | 4825.3988 | 1503.968 | 2650.3823 | 14.4875 | 14.6531 | 572.2506 | 562.0457 | 0.030148
SDGE | 2021 | 22375.7322 | 4895.7899 | 1619.8411 | 2911.1872 | 24.2267 | 37.3657 | 785.7344 | 692.6232 | 0.24047
SDGE | 2022 | 22848.4545 | 5004.3818 | 1683.5708 | 3064.8115 | 40.9718 | 62.8167 | 1001.7029 | 836.8923 | 0.45042
SDGE | 2023 | 23140.7753 | 5083.5725 | 1749.4429 | 3173.3031 | 57.5497 | 94.2311 | 1263.4823 | 987.4156 | 0.6792
SDGE | 2024 | 23459.6923 | 5165.0476 | 1815.3686 | 3283.241 | 75.0192 | 126.2465 | 1509.4142 | 1114.7782 | 0.92308
SDGE | 2025 | 23734.2123 | 5240.0496 | 1887.4479 | 3398.9276 | 91.8175 | 158.2247 | 1759.3146 | 1230.345 | 1.1126
SDGE | 2026 | 23970.5209 | 5306.863 | 1968.209 | 3528.3442 | 107.7917 | 188.6155 | 2011.1238 | 1317.8352 | 1.3244
SDGE | 2027 | 24172.2892 | 5367.2744 | 2060.8535 | 3676.9446 | 123.1393 | 217.491 | 2267.4346 | 1395.0488 | 1.5411
SDGE | 2028 | 24359.6525 | 5418.2862 | 2169.558 | 3851.7485 | 138.3351 | 245.5171 | 2520.8611 | 1481.8487 | 1.7841
SDGE | 2029 | 24531.5065 | 5468.6254 | 2299.4351 | 4061.5541 | 153.2542 | 272.9971 | 2772.5858 | 1569.2428 | 1.948
SDGE | 2030 | 24691.2726 | 5517.0724 | 2458.1637 | 4318.5613 | 167.8549 | 299.7817 | 3028.9344 | 1661.8768 | 2.1657
SMUD | 2018 | 17123.9466 | 4394.6061 | 273.5563 | 474.9466 | 0 | 0 | 147.1902 | 0 | 0
SMUD | 2019 | 17361.5642 | 4460.7401 | 308.3092 | 536.5642 | 0 | 0 | 299.7881 | 0 | 0
SMUD | 2020 | 17598.9275 | 4516.4871 | 345.2716 | 599.9275 | 14.1794 | 14.0497 | 455.8903 | 0 | 0
SMUD | 2021 | 17909.8495 | 4571.709 | 384.25 | 666.8495 | 30.4127 | 42.0562 | 625.648 | 0 | 0
SMUD | 2022 | 18247.3354 | 4643.2053 | 420.3865 | 732.3354 | 50.1622 | 75.148 | 802.7055 | 0 | 0
SMUD | 2023 | 18554.9875 | 4721.5427 | 456.4089 | 794.9875 | 69.7079 | 110.8508 | 1004.1728 | 0 | 0
SMUD | 2024 | 18873.8715 | 4793.4924 | 491.0511 | 855.8715 | 89.721 | 146.6711 | 1190.079 | 0 | 0
SMUD | 2025 | 19173.9564 | 4860.7797 | 523.3359 | 912.9564 | 109.5487 | 182.5291 | 1361.9589 | 0 | 0
SMUD | 2026 | 19448.0176 | 4930.9984 | 552.8432 | 965.0176 | 128.9753 | 217.6586 | 1520.4914 | 0 | 0
SMUD | 2027 | 19716.5128 | 5001.2497 | 579.3562 | 1011.5128 | 148.0789 | 251.9593 | 1666.0588 | 0 | 0
SMUD | 2028 | 19988.9483 | 5073.2617 | 602.5307 | 1051.9483 | 166.7773 | 285.421 | 1794.2625 | 0 | 0
SMUD | 2029 | 20250.9527 | 5143.9055 | 623.2633 | 1086.9527 | 185.1048 | 318.0133 | 1909.0036 | 0 | 0
SMUD | 2030 | 20495.2129 | 5212.6298 | 644.4789 | 1120.2129 | 203.0233 | 349.7327 | 2025.5479 | 0 | 0
TID | 2018 | 2841.829 | 632.6783 | 50.2434 | 86.829 | 0 | 0 | 0 | 0 | 0
TID | 2019 | 2875.1991 | 639.4594 | 55.1981 | 96.1991 | 0 | 0 | 0 | 0 | 0
TID | 2020 | 2906.2559 | 646.0503 | 59.5799 | 104.2559 | 2.2823 | 2.2614 | 0 | 0 | 0
TID | 2021 | 2952.9341 | 652.6618 | 64.1079 | 111.9341 | 4.6959 | 6.5718 | 0 | 0 | 0
TID | 2022 | 3002.2999 | 662.2366 | 68.2334 | 119.2999 | 7.3801 | 11.2405 | 0 | 0 | 0
TID | 2023 | 3044.6959 | 671.8185 | 72.7689 | 126.6959 | 9.9771 | 16.0289 | 0 | 0 | 0
TID | 2024 | 3088.392 | 680.4021 | 77.2934 | 134.392 | 12.6755 | 20.8209 | 0 | 0 | 0
TID | 2025 | 3130.615 | 689.1843 | 82.3963 | 142.615 | 15.351 | 25.6526 | 0 | 0 | 0
TID | 2026 | 3169.941 | 698.1869 | 88.1587 | 151.941 | 17.9614 | 30.3769 | 0 | 0 | 0
TID | 2027 | 3208.5267 | 707.4364 | 94.6739 | 162.5267 | 20.4993 | 34.9516 | 0 | 0 | 0
TID | 2028 | 3249.5375 | 716.957 | 102.0344 | 174.5375 | 22.967 | 39.3734 | 0 | 0 | 0
TID | 2029 | 3288.1435 | 724.7425 | 110.3392 | 188.1435 | 25.4138 | 43.6942 | 0 | 0 | 0
TID | 2030 | 3324.4525 | 731.8526 | 119.6196 | 203.4525 | 27.7858 | 47.9028 | 0 | 0 | 0