PACIFIC GAS & ELECTRIC COMPANY

GENERAL ORDER 165 COMPLIANCE PLAN FOR 2000

AND ANNUAL COMPLIANCE REPORT FOR 1998

SUBMITTED PURSUANT TO CPUC DECISION NO. 97-03-070

July 1, 1999

PACIFIC GAS & ELECTRIC COMPANY

GENERAL ORDER 165 COMPLIANCE PLAN FOR 2000

AND ANNUAL COMPLIANCE REPORT FOR 1998

Pursuant to Section IV of the California Public Utilities Commission’s (Commission) General Order (G.O.) 165, adopted in Decision No. (D.) 97-03-070, Pacific Gas & Electric Company (PG&E) submits its compliance plan for distribution facilities inspection activities in 2000.  Attached as Appendix A is the Compliance Plan, which describes how PG&E intends to comply in 2000 with the requirements set forth in G.O. 165.  This plan sets forth the anticipated activities PG&E will undertake to comply with G.O. 165.  While events in the field may cause variations in the quarterly schedules for system patrols and inspections, the planned results by the end of the year are anticipated to meet the requirements of G.O. 165.  Attached as Appendix B is the Annual Report for 1998.

As reflected in this Compliance Plan and the Annual Report, PG&E patrols and inspects padmounted facilities on the same schedule as underground facilities.

APPENDIX A

COMPLIANCE PLAN

# PATROLS FOR OVERHEAD AND UNDERGROUND FACILITIES

Patrols will be performed in the course of company business by qualified personnel.  The primary lines patrolled will be recorded on patrol maps.  Progress reports will be prepared by operating areas indicating the number of overhead poles and the number of underground enclosures patrolled.  Abnormal conditions will be documented on a maintenance tag and entered into a computerized maintenance system.  For 2000, PG&E will be patrolling 100% of both its urban and rural electric distribution facilities.

COMPLIANCE PLAN (Cont.)

# DETAILED INSPECTIONS SCHEDULED FOR 2000

## OVERHEAD FACILITIES

| Number of Poles by Area/Division |  | Jan. - Mar. | Apr. - Jun. | Jul. - Sep. | Oct. - Dec. | Total |
| --- | --- | --- | --- | --- | --- | --- |
| Central Coast |  | 5,383 | 8,073 | 8,073 | 5,382 | 26,911 |
| De Anza |  | 1,516 | 3,090 | 3,090 | 2,060 | 9,756 |
| Diablo |  | 3,637 | 3,500 | 3,600 | 3,306 | 14,043 |
| East Bay |  | 6,250 | 6,231 | 0 | 0 | 12,481 |
| Fresno |  | 5,359 | 21,437 | 21,438 | 5,359 | 53,593 |
| Kern |  | 6,923 | 6,923 | 6,922 | 6,922 | 27,690 |
| Los Padres |  | 5,094 | 5,094 | 5,094 | 5,095 | 20,377 |
| Mission |  | 2,862 | 2,863 | 2,865 | 2,868 | 11,458 |
| North Bay |  | 3,398 | 5,097 | 5,098 | 3,398 | 16,991 |
| North Coast |  | 8,306 | 8,306 | 8,305 | 8,305 | 33,222 |
| North Valley |  | 13,309 | 14,189 | 17,180 | 3,159 | 47,837 |
| Peninsula |  | 3,375 | 3,375 | 3,375 | 3,375 | 13,500 |
| Sacramento |  | 5,473 | 5,473 | 5,473 | 5,473 | 21,892 |
| San Francisco |  | 0 | 800 | 2,400 | 1,210 | 4,410 |
| San Jose |  | 3,180 | 3,180 | 3,180 | 3,180 | 12,720 |
| Sierra |  | 9,437 | 11,152 | 12,957 | 8,638 | 42,184 |
| Stockton |  | 0 | 9,300 | 13,950 | 7,775 | 31,025 |
| Yosemite |  | 4,300 | 12,920 | 12,920 | 12,901 | 43,041 |
| Total |  | 87,802 | 131,003 | 135,920 | 88,406 | 443,131 |

COMPLIANCE PLAN (Cont.)

## UNDERGROUND FACILITIES

| Number of Enclosures by Area/Division |  | Jan. - Mar. | Apr. - Jun. | Jul. - Sep. | Oct. - Dec. | Total |
| --- | --- | --- | --- | --- | --- | --- |
| Central Coast |  | 739 | 1,150 | 1,200 | 660 | 3,749 |
| De Anza |  | 1,084 | 1,093 | 1,093 | 730 | 4,000 |
| Diablo |  | 2,524 | 2,615 | 2,481 | 2,192 | 9,812 |
| East Bay |  | 700 | 2,000 | 1,316 | 0 | 4,016 |
| Fresno |  | 624 | 2,495 | 2,495 | 624 | 6,238 |
| Kern |  | 1,812 | 1,812 | 1,812 | 1,807 | 7,243 |
| Los Padres |  | 363 | 363 | 363 | 360 | 1449 |
| Mission |  | 1,905 | 1,905 | 1,908 | 1,908 | 7,626 |
| North Bay |  | 853 | 1,281 | 1,282 | 853 | 4,269 |
| North Coast |  | 2,077 | 2,077 | 2,078 | 2,078 | 8,310 |
| North Valley |  | 415 | 917 | 795 | 830 | 2957 |
| Peninsula |  | 2,220 | 2,220 | 2,220 | 2,220 | 8,880 |
| Sacramento |  | 1,440 | 1,440 | 1,440 | 1,449 | 5,769 |
| San Francisco |  | 800 | 1,000 | 1,050 | 762 | 3,612 |
| San Jose |  | 1,959 | 1,959 | 1,959 | 1,959 | 7,836 |
| Sierra |  | 300 | 1,830 | 1,830 | 484 | 4,444 |
| Stockton |  | 0 | 1,101 | 1,653 | 920 | 3,674 |
| Yosemite |  | 267 | 798 | 798 | 798 | 2661 |
| Total |  | 20,082 | 28,056 | 27,773 | 20,634 | 96,545 |

COMPLIANCE PLAN (Cont.)

# INTRUSIVE WOOD POLE INSPECTIONS SCHEDULED FOR 2000

| Number |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| of Poles |  | Jan. - Mar. | Apr. - Jun. | Jul. - Sep. | Oct. - Dec. | Total |
| System |  | 19,500 | 21,560 | 21,620 | 29,554 | 92,234 |

PG&E is currently conducting a wood pole test and treat program of all poles over 10 years old.  The program began in November, 1994.

APPENDIX B

1998 ANNUAL REPORT

# PATROLS

## OVERHEAD PATROLS:

|  | Miles of Line Scheduled for Patrol | Miles of Line not Patrolled | Reason patrol was not completed | Date patrol will be completed |
| --- | --- | --- | --- | --- |
| Urban/ Rural | 61,069 | 0 |  |  |

## UNDERGROUND PATROLS:

|  | Number of Enclosures Scheduled for Patrol | Number of Enclosures not Patrolled | Reason patrol was not completed | Date patrol will be completed |
| --- | --- | --- | --- | --- |
| Urban/ Rural | 148,137 | 3,760 | Patrol or inspections of these rural enclosures were completed in 1997. | Dec. 1999 |

1998 ANNUAL REPORT (Cont.)

# DETAILED INSPECTIONS

## OVERHEAD FACILITIES:

| Area/ Division | Miles of Line Scheduled for Inspection | Miles of Line not Inspected | Reason inspection was not completed | Date inspection will be completed |
| --- | --- | --- | --- | --- |
| Central Coast | 1,116 | 0 |  |  |
| De Anza | 286 | 6 | Scheduled for 1999 | Jan. 1999 |
| Diablo | 424 | 0 |  |  |
| East Bay | 318 | 0 |  |  |
| Fresno | 2,078 | 0 |  |  |
| Kern | 1,570 | 43 | Circuit rearrangement reduced yearly schedule resulting in transfer to 1999 | Sept. 1999 |
| Los Padres | 861 | 0 |  |  |
| Mission | 358 | 0 |  |  |
| North Bay | 524 | 0 |  |  |
| North Coast | 1,917 | 16 | Schedule was based on miles reported in DEDSA, the miles reported as a result of the actual inspection were 16 miles less. |  |
| North Valley | 1,825 | 0 |  |  |
| Peninsula | 456 | 125 | 1998 schedule was an estimate and found to be in error when mileage was calculated during actual inspection performed in 1998 |  |
| Sacramento | 956 | 0 |  |  |
| San Francisco | 140 | 0 |  |  |
| San Jose | 453 | 0 |  |  |
| Sierra | 1,495 | 139 | Circuit rearrangement reduced yearly schedule resulting in transfer to 1999 | June 1999 |
| Stockton | 1,006 | 0 |  |  |
| Yosemite | 2,041 | 8 | 1 mile is the result of a mileage discrepancy due to changes in DEDSA. The remaining 7 miles were due to load transfers. | June 1999 |
| Total | 17,824 | 337 |

1998 ANNUAL REPORT (Cont.)

## UNDERGROUND FACILITIES:

| Area/ Division | Number of Enclosures Scheduled for Inspection | Number of Enclosures not Inspected | Reason inspection was not completed | Date inspection will be completed |
| --- | --- | --- | --- | --- |
| Central Coast | 3,487 | 0 |  |  |
| De Anza | 4,000 | 0 |  |  |
| Diablo | 3,462 | 0 |  |  |
| East Bay | 2,700 | 0 |  |  |
| Fresno | 6,712 | 151 | Scheduled enclosures were based on an estimate, actual count was 151 less. |  |
| Kern | 4,841 | 3,854 | An enclosure count error was identified in 1997, the actual enclosures completed in 1997 were 7,243. The 3,854 enclosures not inspected in 1998 had been inspected in 1997 |  |
| Los Padres | 1,975 | 0 |  |  |
| Mission | 7,433 | 0 |  |  |
| North Bay | 4,318 | 74 | Schedule was based on an estimated number of enclosures, the 74 fewer enclosures reported was a result of the actual inspection. |  |
| North Coast | 7,239 | 0 |  |  |
| North Valley | 2,018 | 0 |  |  |
| Peninsula | 5,017 | 1,382 | The circuit miles identified for inspections in 1998 were inspected. However, the 1998 schedule of number of enclosures was based on an estimate and found to be in error when the number of enclosures were physically counted during the inspections. |  |
| Sacramento | 5,577 | 0 |  |  |
| San Francisco | 4,000 | 0 |  |  |
| San Jose | 9,616 | 1,495 | The circuit miles identified for inspections in 1998 were inspected. However, the 1998 schedule of number of enclosures was based on an estimate and found to be in error when the number of enclosures were physically counted during the inspections. |  |
| Sierra | 4,462 | 0 |  |  |
| Stockton | 3,999 | 1,243 | The inspection of these enclosures was rescheduled to 1999. | Dec. 1999 |
| Yosemite | 2,466 | 0 |  |  |
| Total | 83,322 | 8,199 |

1998 ANNUAL REPORT (Cont.)

## IDENTIFIED CONDITIONS IN 1998:

|  | Estimated | Corrective Action Required | No Corrective |
| --- | --- | --- | --- |
| Facilities* | quantity | Grade 1A | Grade 2B | Action Required |
|  |  | Number | Percent | Number | Percent | Number | Percent |
| Transformers |  |  |  |  |  |  |  |
| Overhead | 782,843 | 4,186 | 0.5 % | 4,848 | 0.6 % | 773,809 | 98.8 % |
| Underground** | 163,443 | 880 | 0.5 % | 5,228 | 3.2 % | 157,335 | 96.3 % |
| Switches/ Disconnects |  |  |  |  |  |  |  |
| Overhead | 141,996 | 667 | 0.5 % | 1,612 | 1.1 % | 139,717 | 98.4 % |
| Underground | 86,417 | 118 | 0.1 % | 785 | 0.9 % | 82,461 | 99.0 % |
| Protective Devices |  |  |  |  |  |  |  |
| Overhead | N/A | 626 | N/A | 2,674 | N/A | N/A | N/A |
| Underground | N/A | 39 | N/A | 398 | N/A | N/A | N/A |
| Voltage Regulation |  |  |  |  |  |  |  |
| Overhead | 15,216 | 190 | 1.2 % | 1,257 | 8.3 % | 13,769 | 90.5 % |
| Underground | N/A | 29 | N/A | 33 | N/A | N/A | N/A |
| Wire & Connectors |  |  |  |  |  |  |  |
| Overhead | N/A | 9,317 | N/A | 35,316 | N/A | N/A | N/A |
| Enclosures |  |  |  |  |  |  |  |
| Underground | 244,000 | 2,885 | 1.2 % | 13,536 | 5.5 % | 227,579 | 93.3 % |

*Multiple conditions that are at one location are reported in the facility category that is the most serious condition with the earliest scheduled repair date.

**Underground categories includes padmounted equipment.

A Grade 1 is defined as a condition requiring urgent and immediate response and continued action until the condition is repaired or no longer presents a potential hazard.

B Grade 2 is defined as a condition requiring timely corrective action to mitigate an existing condition which, at the time of identification, does not present an immediate hazard to third parties, company employees or property.

1998 ANNUAL REPORT (Cont.)

## CORRECTIVE ACTION SCHEDULED FOR 1998:

| Facilities | Conditions scheduled | Number of facilities | Number of facilities | Reason why correction was not | Date correction |
| --- | --- | --- | --- | --- | --- |
|  | for correction | Corrected | Percentage | Not Corrected | Percentage | completed | will be completed |
| Transformers |  |  |  |  |  |  |  |
| Overhead | 3,404 | 3,370 | 99 % | 34 | 1 % | Priority and type of corrective action required were re-evaluated. | Mar. 2001 |
| Underground | 4,135 | 4,083 | 99 % | 52 | 1 % | Priority and type of corrective action required were re-evaluated. | June 2000 |
| Switches/ Protective Devices (Disconnects) |  |  |  |  |  |  |  |
| Overhead | 3,284 | 3,257 | 99 % | 27 | 1 % | Priority and type of corrective action required were re-evaluated. | June 2001 |
| Underground | 772 | 762 | 99 % | 10 | 1 % | Priority and type of corrective action required were re-evaluated. | Mar. 2000 |
| Regulators/ Capacitors (Voltage Regulation) |  |  |  |  |  |  |  |
| Overhead | 1,199 | 1,199 | 100 % | 0 | 0 % |  |  |
| Underground | 30 | 30 | 100 % | 0 | 0 % |  |  |
| Overhead Conductors & Cables (Connectors) |  |  |  |  |  |  |  |
| Overhead | 26,014 | 25,768 | 99 % | 246 | 1 % | Priority and type of corrective action required were re-evaluated. | June 2001 |
| Enclosures |  |  |  |  |  |  |  |
| Underground | 10,740 | 10,696 | 99 % | 44 | 1 % | Priority and type of corrective action required were re-evaluated. | Mar. 2001 |

1998 ANNUAL REPORT (Cont.)

## CORRECTIVE ACTION SCHEDULED FOR 1999:

|  | Total Conditions Scheduled for 1999 | Percentage of Total Conditions Found in 1998 |
| --- | --- | --- |
| Transformers | 6,057 | 80 % |
| Switching/Protective Devices | 2,729 | 67 % |
| Regulators/ Capacitors | 203 | 17 % |
| Overhead Conductor and Cable, and enclosures - UG | 26,888 | 73 % |

## CORRECTIVE ACTION SCHEDULED FOR 2000:

|  | Total Conditions Scheduled for 2000 | Percentage of Total Conditions Found in 1998 |
| --- | --- | --- |
| Transformers | 1,926 | 26 % |
| Switching/Protective Devices | 829 | 20 % |
| Regulators/ Capacitors | 64 | 5.2 % |
| Overhead Conductor and Cable, and enclosures - UG | 7,712 | 21 % |

1998 ANNUAL REPORT (Cont.)

# INTRUSIVE INSPECTION

## WOOD POLES:

| Number of Wood Poles by Area/ Division | Wood Poles Scheduled for Inspection | Wood Poles not Inspected | Reason inspection was not completed | Date inspection will be completed |
| --- | --- | --- | --- | --- |
| Central Coast | 137,828 | 73,032 | Schedule adjusted to match the availability and resources of qualified contractors | June 2000 |
| De Anza | 0 | 0 |  |  |
| Diablo | 0 | 0 |  |  |
| East Bay | 0 | 0 |  |  |
| Fresno | 0 | 0 |  |  |
| Kern | 0 | 0 |  |  |
| Los Padres | 0 | 0 |  |  |
| Mission | 0 | 0 |  |  |
| North Bay | 3,372 | 0 |  |  |
| North Coast | 215,848 | 197,458 | Schedule adjusted to match the availability and resources of qualified contractors | Dec. 2001 |
| North Valley | 79,507 | 78,726 | Schedule adjusted to match the availability and resources of qualified contractors | Dec. 2000 |
| Peninsula | 0 | 0 |  |  |
| Sacramento | 36,433 | 0 |  |  |
| San Francisco | 0 | 0 |  |  |
| San Jose | 0 | 0 |  |  |
| Sierra | 42,012 | 0 |  |  |
| Stockton | 0 | 0 |  |  |
| Yosemite | 0 | 0 |  |  |
| Total | 515,000 | 349,216 |

1998 ANNUAL REPORT (Cont.)

## IDENTIFIED CONDITIONS IN 1998:

| Facilities | Number of | Corrective Action Required | No Corrective Action |
| --- | --- | --- | --- |
|  | Wood | Grade 1A | Grade 2B | Required |
|  | Poles | Number | Percent | Number | Percent | Number | Percent |
| Wood Poles | 2,200,000 | 1,549 | 0.07 % | 30,326 | 1.4 % | 2,168,125 | 98.5 % |

A Grade 1 is defined as a condition requiring urgent and immediate response and continued action until the condition is repaired or no longer presents a potential hazard.

B Grade 2 is defined as a condition requiring timely corrective action to mitigate an existing condition which, at the time of identification, does not present an immediate hazard to third parties, company employees or property.

1998 ANNUAL REPORT (Cont.)

## CORRECTIVE ACTION SCHEDULED FOR 1998:

| Facilities | Poles scheduled for | Number of Wood Poles | Number of Wood Poles | Date correction will be |
| --- | --- | --- | --- | --- |
|  | correction | Corrected | Percentage | Not corrected | Percentage | completed |
| Wood Poles | 10,646 | 9,964 | 93.6 % | 682 | 6.4 % | June 2001 |

Reason why correction was not completed:

Scheduled for replacement or reinforcement with other poles as part of an ongoing pole replacement / reinforcement program.  Repair priority and type of corrective action required were re-evaluated.

## CORRECTIVE ACTION SCHEDULED FOR 1999:

| Facilities | Number of Poles Scheduled for Corrective Action in 1999 | Percentage of Poles Identified in 1998 Needing Corrective Action |
| --- | --- | --- |
| Wood Poles | 25,247 | 79 % |

## CORRECTIVE ACTION SCHEDULED FOR 2000:

| Facilities | Number of Poles Scheduled for Corrective Action in 2000 | Percentage of Poles Identified in 1998 Needing Corrective Action |
| --- | --- | --- |
| Wood Poles | 9,460 | 30 % |

2000 COMPLIANCE PLAN - APPENDIX A

I.	PATROLS FOR OVERHEAD AND UNDERGROUND FACILITIES	A-1

II.	DETAILED INSPECTIONS	A-2

A.	OVERHEAD FACILITIES	A-2

B.	UNDERGROUND FACILITIES	A-3

III.	INTRUSIVE WOOD POLE INSPECTIONS	A-4

1998 annual rEport - appendix b

I.	PATROLS	B-1

A.	OVERHEAD PATROLS:	B-1

B.	UNDERGROUND PATROLS:	B-1

II.	DETAILED INSPECTIONS	B-2

A.	OVERHEAD FACILITIES:	B-2

B.	UNDERGROUND FACILITIES:	B-3

C.	IDENTIFIED CONDITIONS IN 1998:	B-4

D.	CORRECTIVE ACTION SCHEDULED FOR 1998:	B-5

E.	CORRECTIVE ACTION SCHEDULED FOR 1999:	B-6

F.	CORRECTIVE ACTION SCHEDULED FOR 2000:	B-6

III.	INTRUSIVE INSPECTION	B-7

A.	WOOD POLES:	B-7

B.	IDENTIFIED CONDITIONS IN 1998:	B-8

C.	CORRECTIVE ACTION SCHEDULED FOR 1998:	B-9

D.	CORRECTIVE ACTION SCHEDULED FOR 1999:	B-9

E.	CORRECTIVE ACTION SCHEDULED FOR 2000:	B-9

# Footnotes

Overhead inspections will be performed on Transformers, Switching/Protective Devices, Regulators/Capacitors, Overhead Conductors and Cables.

Reporting of overhead facilities will be converted from miles of line to number of poles starting in 1999.

Underground inspections will be performed on Transformers, Switching/Protective Devices, Regulators/Capacitors, and Padmounted equipment.

Total does not include poles scheduled in prior years and rescheduled into year 2000

These tables represent 100% of both the urban and rural electric distribution system where a detailed inspection was not performed.

Overhead inspections include inspections of Transformers, Switching/Protective Devices, Regulators/Capacitors, Overhead Conductors and Cables.

Underground inspections include inspections of Transformers, Switching/Protective Devices, Regulators/Capacitors, and Padmounted equipment.

Conditions listed in this section of the Report include conditions identified during patrols and inspections conducted in 1998.

In addition to OH conductor, conditions reported in this table include Grounds, Pole Hardware, and Guying.

In addition to Enclosures, conditions reported in this table include Grounds, Wires, and Connectors.

Table includes conditions that were identified in 1997 & 1998.

Represents the latest date that any condition in the respective category is scheduled for completion.  Conditions may be corrected earlier than indicated.

In addition to OH conductor, conditions reported in this table include Grounds, Pole Hardware, and Guying.

In addition to enclosures, conditions reported in this table include Grounds, Wires, and Connectors.

Table includes conditions that were identified in 1997 & 1998

In addition to OH conductor, conditions reported in this table include Grounds, Pole Hardware, and Guying.  In addition to enclosures, conditions reported in this table include Grounds, Wires, and Connectors.

Table includes conditions that were identified in 1997 & 1998

In addition to OH conductor, conditions reported in this table include Grounds, Pole Hardware, and Guying.  In addition to enclosures, conditions reported in this table include Grounds, Wires, and Connectors.

Represents the latest date that any condition in the respective category is scheduled for completion.  Conditions may be corrected earlier than indicated.

Wood pole corrective conditions include those from all sources of identification and not exclusively the intrusive inspections.  Example: Grade 1 conditions include pole repairs due to car/pole accidents.

Table includes conditions that were identified in 1997 & 1998.

Table includes conditions that were identified in 1997 & 1998.

Table includes conditions that were identified in 1997 & 1998.