Attachment D

# Proposed University of California Energy Efficiency Projects

| Project | Organization | Estimated kW Savings | Estimated Annual kWh Savings | Project Cost/Minimum Incentive Required |
| --- | --- | --- | --- | --- |
| Cancer Center New 270,000 gsf research and clinical building using efficient technologies including variable air volume and advanced lighting. | UCSD | 550 | 2,890,000 | $4,530,000 |
| BioEngineering Building New 105,000 gsf building with VAV and efficient lighting. | UCSD | 210 | 1,220,000 | $1,760,000 |
| Install CO2 tracking to reduce outside air loads in a dozen auditoriums; will reduce fan, pump and chiller load. | UCD | 100 | 200,000 | $150,000/$75,000 |
| Install two TES ice systems for load shifting | UCD | 200 | Minor savings | $150,000 each |
| Retrofit 20-30 electric chillers with TES | UCD | 2,000 – 4,000 | Minor savings |  |
| Install 2,000-ton electric chiller and equipment for responding to PX price signals. | UCD | 3,000 on peak when PX price is high | 3,000,000 | $3,000,000/$1,500,000 |
| Subtotal |  | 6,060 – 8,060 | 7,110,000 | $9,740,000/$8,165,000 |
| Cogen/Self-gen Installation of a 27 MW/115,000 lb/hr (gross) cogen system for internal use of all output; reduces demand on SDG&E grid by 25,240 kW peak and 22,600 kW average. | UCSD | 25,240 | 195,000,000 | $28,000,000 |
| Install cogen plant to heat dolphin tanks at Long Marine Lab | UCSC | 290 | 2,050,000 | $750,000 |
| Subtotal for cogen |  | 25,530 | 197,050,000 | $28,750,000 |
| Total |  | 31,300 – 33,300 | 204,160,000 | $38,490,000/$36,915,000 |

Z:\ftp\gopher-data\cbee\summer-iniative\UC projects.doc