## CSU SUMMARY
| kW | kWh | Project
Campus | Savings | Savings/YR | Cost Estimate
Bakersfield | 25 | 219420 | 152663
Chico | 2589 | 2808826 | 1950000
Dominguez Hills | 34 | 427600 | 230000
Hayward | 473 | 2275000 | 536000
Long Beach | 1647 | 6225583 | 4976856
Pomona | 1480 | 3934713 | 5465000
San Diego | 14000 | 230000000 | 19000000
San Francisco | 2300 | 4980000 | 2989000
San Jose | 1425 | 2900000 | 2510016
San Luis Obispo | 2246 | 9367369 | 5907545
San Marcos | 400 | 1500786 | 2075000
TOTALS | 26619 | 264639297 | 45792080

## CSU BAKERSFIELD
CALIFORNIA STATE UNIVERSITY BAKERSFIELD
|  |  | kW | kWh | Project
Building Name | Project Type | Project Description | Savings | Savings/YR | Cost Estimate
Class Room Office Buiding | Ground Source Heat Pump for Building | Install ground source heat pump in lieu of conventional HVAC system | 25 | 219420 | 152663
|  | TOTALS | 25 | 219420 | 152663

## CSU CHICO
CALIFORNIA STATE UNIVERSITY CHICO
|  |  | kW | kWh | Project
Building Name | Project Type | Project Description | Savings | Savings/YR | Cost Estimate
| Chiller Replacement | Replace a 1972 vintage 1250 ton, .9 kW/ton, chiller with a new energy effificient chiller | 525 | 1100000 | 450000
Holt Hall | Variable air volume (VAV) conversion and coil replacement | Replace 1972 vintage single duct reheat system and 10 degree chilled water coils with a VAV system and 20 degree chilled water coils | 180 | 278000 | 600000
Merriam Library | Variable air volume (VAV) conversion and coil replacement | Replace 1958 vintage multiple fan, sigle duct, system with a VAV system and 20 degree chilled water coils. | 1884 | 1430826 | 900000
|  | TOTALS | 2589 | 2808826 | 1950000

## CSU DOMINGUEZ HILLS
CALIFORNIA STATE UNIVERSITY DOMINGUEZ HILLS
|  |  | kW | kWh | Project
Building Name | Project Type | Project Description | Savings | Savings/YR | Cost Estimate
Campus Swimming Pool | Variable speed drive (VSD) installation on a constant speed motor | Install VSD on 30 HP motor which can be turned down 16 hours out of the day | 15 | 87600 | 30000
Campus Gym | Energy Management System | Install system to Control HVAC and lighting systems for periods of low or non occupancy | 19 | 340000 | 200000
|  | TOTALS | 34 | 427600 | 230000

## CSU HAYWARD
CALIFORNIA STATE UNIVERSITY HAYWARD
|  | kW | kWh | Project
Project Type | Project Description | Savings | Savings/YR | Cost Estimate
Lighting Project |  | 390 | 1930000 | 400000
HVAC Fan Motor replacement | Replacement of 102 HVAC fan motors that are over 10 years old and inefficient | 83 | 345000 | 136000
| TOTALS | 473 | 2275000 | 536000

## CSU LONG BEACH
CALIFORNIA STATE UNIVERSITY LONG BEACH
|  |  |  | kW | kWh | Project
Building # | Building Name | Project Type | Project Description | Savings | Savings/YR | Cost Estimate
1 | Brotman Hall | HVAC | VFD Conversion, Installation of Premium Efficiency Motors, Dual Duct CV to VAV Conversion and Elimination of HW Pumps | 155 | 587474 | 337800
2 | Student Health | HVAC | VFD Conversion, Installation of Premium Efficiency Motors, Dual Duct CV to VAV Conversion. | 21 | 76458 | 33000
22 | ED-1 | HVAC | VFD Conversion, Installation of Premium Efficiency Motors, Dual Duct CV to VAV Conversion and Elimination of HW & CHW Pumps | 13 | 80961 | 33000
2 | Student Health | Lighting | Lighting Retrofit | 25 | 91570 | 80040
9 | Psychology | Lighting | Lighting Retrofit | 126 | 470348 | 330150
10 | Liberal Arts 5 | Lighting | Lighting Retrofit | 90 | 339161 | 277740
11 | Liberal Arts 4 | Lighting | Lighting Retrofit | 16 | 58868 | 42060
12 | Liberal Arts 3 | Lighting | Lighting Retrofit | 21 | 80030 | 49800
13 | Liberal Arts 2 | Lighting | Lighting Retrofit | 6 | 22275 | 7740
14 | Liberal Arts 1 | Lighting | Lighting Retrofit | 30 | 111280 | 52560
15 | Faculty Office 3 | Lighting | Lighting Retrofit | 31 | 114870 | 121590
16 | Faculty Office 2 | Lighting | Lighting Retrofit | 10 | 38227 | 42030
19 | Library West | Lighting | Lighting Retrofit | 247 | 927574 | 1071294
20 | Library East | Lighting | Lighting Retrofit | 15 | 56453 | 49980
21 | MMC | Lighting | Lighting Retrofit | 6 | 20490 | 24450
22 | Education 1 | Lighting | Lighting Retrofit | 33 | 123094 | 73770
23 | Education 2 | Lighting | Lighting Retrofit | 32 | 120937 | 69000
24 | MHB | Lighting | Lighting Retrofit | 51 | 191475 | 116100
25 | LAB | Lighting | Lighting Retrofit | 54 | 202440 | 96930
26 | Studio Theater | Lighting | Lighting Retrofit | 52 | 194274 | 161670
27 | University Theater | Lighting | Lighting Retrofit | 8 | 28358 | 26070
28 | UTC | Lighting | Lighting Retrofit | 20 | 73076 | 71010
36 | Faculty Office 4 | Lighting | Lighting Retrofit | 33 | 125269 | 38640
37 | Peterson Hall 1 | Lighting | Lighting Retrofit | 28 | 105829 | 83760
38 | Peterson Hall 2 | Lighting | Lighting Retrofit | 38 | 141907 | 123540
39 | Peterson Hall 3 | Lighting | Lighting Retrofit | 54 | 203993 | 190140
41 | Microbiology | Lighting | Lighting Retrofit | 57 | 215117 | 109410
42 | Animal House | Lighting | Lighting Retrofit | 9 | 52800 | 21780
45 | Faculty Office 5 | Lighting | Lighting Retrofit | 38 | 142687 | 37080
46 | SSPA | Lighting | Lighting Retrofit | 38 | 142043 | 146910
50 | VEC | Lighting | Lighting Retrofit | 14 | 52511 | 173850
51 | Engineering 2 | Lighting | Lighting Retrofit | 11 | 41449 | 49470
52 | Engineering 3 | Lighting | Lighting Retrofit | 14 | 51187 | 55992
53 | Engineering 4 | Lighting | Lighting Retrofit | 16 | 60630 | 49404
55 | TE-2 | Lighting | Lighting Retrofit | 23 | 84975 | 65010
56 | Engineering Technology | Lighting | Lighting Retrofit | 92 | 346265 | 283866
57 | Plant Ops | Lighting | Lighting Retrofit | 20 | 74014 | 35790
72 | Performing Arts | Lighting | Lighting Retrofit | 12 | 44433 | 17550
83 | Engineering Computer | Lighting | Lighting Retrofit | 73 | 275067 | 245730
84 | North Campus Center | Lighting | Lighting Retrofit | 15 | 55714 | 81150
|  |  | TOTALS | 1647 | 6225583 | 4976856

## CSU POMONA
CALIFORNIA STATE POLYTECHNIC UNIVERSITY, POMONA
|  |  | kW | kWh | Project
Building Name | Project Type | Project Description | Savings | Savings/YR | Cost Estimate
CLA BUILDING - Building 98 | Connect buildig to the central plant chilled water loop | Replace current building HVAC system with connection to new cooling central plant that will be completed later this year | 280 | 817600 | 865000
| Central Chilled Water Plant | This $13.8 million Thermal energy storage and chiller enhancment project is scheduled for completion by the end of this year. There are needs for additional equipment and infrastructure that will allow tie in into additional buildings | 1200 | 3117113 | 4600000
|  | TOTALS | 1480 | 3934713 | 5465000

## SAN DIEGO STATE
SAN DIEGO STATE UNIVERSITY
|  |  | kW | kWh | Project
Building Name | Project Type | Project Description | Savings (max generation) | Savings/YR | Cost Estimate
| Cogeneration System | Campus is will issue notice to construct a 10 to 14 mW cogeneration system by August of 2000. | 14000 | 230000000 | 19000000
|  | TOTALS | 14000 | 230000000 | 19000000

## San Francisco
SAN FRANCISCO STATE UNIVERSITY
|  |  | kW | kWh | Project
Building Name | Project Type | Project Description | Savings | Savings/YR | Cost Estimate
| Variable Frequency Drive (VFD) installation for air handlers | 62 VFD's will be installed to reduce demand during peak periods and in concert with building occupancy | 1100 | 1980000 | 589000
| Energy Management System (EMS) Upgrade | Replace 1970's vintage EMS which has not been connected to all of the facilitites. | 1200 | 3000000 | 2400000
|  | TOTALS | 2300 | 4980000 | 2989000

## San Jose State
SAN JOSE STATE UNIVERSITY
| kW | kWh | Project
Project Description | Savings | Savings/YR | Cost Estimate
Central plant Load Side Improvements | 1425 | 2900000 | 2510016
TOTALS | 1425 | 2900000 | 2510016

## CSU SAN LUIS OBISPO
CALIFORNIA POLYTECHNIC STATE UNIVERISTY SAN LUIS OBISPO
|  | kW | kWh | Project
| Project Description | Savings | Savings/YR | Cost Estimate
| HVAC | 647 | 3343110 | 2259519
| Lighting | 1297 | 4702426 | 2893840
| Lighting controls | 302 | 1321833 | 754186
| Totals | 2246 | 9367369 | 5907545

## CSU SAN MARCOS
CALIFORNIA STATE UNIVERSITY SAN MARCOS
|  | kW | kWh | Project
Project Type | Project Description | Savings | Savings/YR | Cost Estimate
Install Variable Speed Drives (VSD) | Install VSD and control valves on Chill water and Hot water building distribution systems for three buildings. | 20 | 63286 | 75000
Thermal Energy Storage | Install a 16,000 ton hour thermal energy storage tank by summer of 2001 | 380 | 1437500 | 2000000
| TOTALS | 400 | 1500786 | 2075000