## Report Cover
Pacific Gas and Electric Company Monthly Report On Interruptible Load and Demand Response
Programs for June 2012
2012-07-23

## Cover Page
Pacific Gas and Electric Company (“PG&E”) hereby submits this report on Interruptible Load and Demand Response Programs for June 2012. This report is being served on the Energy Division Director and the service list for A.11-03-001.
http://www.pge.com/mybusiness/energysavingsrebates/demandresponse/cs/

## Program MW
UTILITY NAME: Pacific Gas and Electric Company
Monthly Program Enrollment and Estimated Load Impacts
|  | 2 | 2 |  | 3 | 3 |  | 4 | 4 |  | 5 | 5 |  | 6 | 6 |  | 7 | 7
| January |  |  | February |  |  | March |  |  | April |  |  | May |  |  | June
Programs | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Eligible Accounts as of Jan 1, 2012
Interruptible/Reliability
BIP - Day Of | 230 | 70.84 | 189.1313 | 230 | 75.946 | 189.1313 | 230 | 81.443 | 189.1313 | 233 | 177.3363 | 191.5982 | 233 | 180.2721 | 191.5982 | 229 | 173.3301 | 188.309 | 10396
OBMC | 28 | 0 | 0 | 28 | 0 | 0 | 28 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | 26 | 0 | 0 | N/A
SLRP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
SmartAC - Commercial | 6343 | 0 | 1.8395 | 6326 | 0 | 1.8345 | 6283 | 0 | 1.8221 | 6239 | 0 | 1.8093 | 6140 | 2.456 | 1.7806 | 6043 | 3.0215 | 1.7525 | 593312
SmartAC - Residential | 157106 | 0 | 78.553 | 156761 | 0 | 78.3805 | 155969 | 0 | 77.9845 | 154484 | 0 | 77.242 | 152529 | 45.7587 | 76.2645 | 151777 | 60.7108 | 75.8885 | 3000000
Sub-Total Interruptible | 163707 | 70.84 | 269.5238 | 163345 | 75.946 | 269.3463 | 162510 | 81.443 | 268.9379 | 160982 | 177.3363 | 270.6495 | 158928 | 228.4868 | 269.6433 | 158075 | 237.0624 | 265.95
Price Response
AMP - Day Ahead | 291 | 0 | 61.6745 | 291 | 0 | 61.6745 | 290 | 0 | 61.4626 | 291 | 0 | 61.6745 | 291 | 44 | 44 | 286 | 44 | 44 | 596031
AMP - Day Of | 1501 | 0 | 152.3665 | 1504 | 0 | 152.671 | 1468 | 0 | 149.0167 | 1457 | 0 | 147.9001 | 1426 | 132 | 151 | 1430 | 137.5 | 151 | 596031
CBP - Day Ahead | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 580 | 34.551 | 35.7358 | 596031
CBP - Day Of | 0 | 0 | 82.3378 | 0 | 0 | 81.6232 | 0 | 0 | 81.6232 | 0 | 0 | 81.6232 | 0 | 83.9475 | 81.385 | 394 | 26.026 | 80.988 | 596031
DBP | 1037 | 16.7994 | 56.7239 | 1028 | 17.1676 | 56.2316 | 1028 | 17.2704 | 56.2316 | 1028 | 17.7844 | 56.2316 | 1025 | 42.1275 | 56.0675 | 1020 | 43.554 | 55.794 | 10396
PDP (200 kW or above) | 1701 | 0 | 31.9958 | 1657 | 0 | 31.1682 | 1645 | 0 | 30.9424 | 1653 | 0 | 31.0929 | 1648 | 31.0813 | 30.9989 | 1646 | 33.9734 | 30.9613 | 286311
PDP (20 - 200 kW) | 3912 | 0 | 13.1834 | 4186 | 0 | 14.1068 | 4195 | 0 | 14.1372 | 4215 | 0 | 14.2046 | 4229 | 7.7814 | 14.2517 | 4228 | 9.3016 | 14.2484 | 0
PeakChoice - Best Effort - Day Ahead | 116 | 0 | 1.624 | 112 | 0 | 1.568 | 111 | 0 | 1.554 | 111 | 0 | 1.554 | 111 | 0.9213 | 1.554 | 111 | 1.0656 | 1.554 | 110349
PeakChoice - Best Effort - Day Of | 45 | 0 | 0.36 | 44 | 0 | 0.352 | 44 | 0 | 0.352 | 44 | 0 | 0.352 | 42 | 0.4368 | 0.336 | 42 | 0.5082 | 0.336 | 110349
PeakChoice - Committed - Day Ahead | 107 | 0 | 3.959 | 105 | 0 | 3.885 | 105 | 0 | 3.885 | 105 | 0 | 3.885 | 102 | 2.703 | 3.774 | 102 | 3.1824 | 3.774 | 110349
PeakChoice - Committed - Day Of | 15 | 0 | 15.705 | 15 | 0 | 15.705 | 15 | 0 | 15.705 | 15 | 0 | 15.705 | 15 | 12.1275 | 15.705 | 14 | 11.34 | 14.658 | 110349
SmartRateTM - Residential | 22014 | 0 | 5.2834 | 21934 | 0 | 5.2642 | 21928 | 0 | 5.2627 | 21845 | 0 | 5.2428 | 21751 | 4.3502 | 5.2202 | 21470 | 4.294 | 5.1528 | 3000000
Sub-Total Price Response | 30739 | 16.7994 | 425.2134 | 30876 | 17.1676 | 424.2495 | 30829 | 17.2704 | 420.1724 | 30764 | 17.7844 | 419.4657 | 30640 | 361.4764 | 404.2923 | 31323 | 349.2962 | 438.2022
Total All Programs | 194446 | 87.6394 | 694.7371 | 194221 | 93.1136 | 693.5959 | 193339 | 98.7134 | 689.1103 | 191746 | 195.1207 | 690.1152 | 189568 | 589.9632 | 673.9357 | 189398 | 586.3586 | 704.1522
|  | 8 | 8 |  | 9 | 9 |  | 10 | 10 |  | 11 | 11 |  | 12 | 12 |  | 13 | 13
| July |  |  | August |  |  | September |  |  | October |  |  | November |  |  | December
Programs | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Service Accounts | Ex Ante Estimated MW 1 | Ex Post Estimated MW 2 | Eligible Accounts as of Jan 1, 2012
Interruptible/Reliability
BIP - Day of | [18 empty] | 10396
OBMC | [18 empty] | N/A
SLRP | [18 empty] | N/A
SmartAC™ - Commercial | [18 empty] | 593312
SmartAC™ - Residential | [18 empty] | 3000000
Sub-Total Interruptible |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Price Response
AMP - Day Ahead | [18 empty] | 596031
AMP - Day Of | [18 empty] | 596031
CBP - Day Ahead | [18 empty] | 596031
CBP - Day Of | [18 empty] | 596031
DBP | [18 empty] | 10396
PDP | [18 empty] | 286311
PeakChoice - Best Effort - Day Ahead | [18 empty] | 110349
PeakChoice - Best Effort - Day Of | [18 empty] | 110349
PeakChoice - Committed - Day Ahead | [18 empty] | 110349
PeakChoice - Committed - Day Of | [18 empty] | 110349
SmartRate™ - Residential | [18 empty] | 3000000
Sub-Total Price Response |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Total All Programs |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
1 Ex Ante Estimated MW = In compliance with Decision 08-04-050, the values presented herein are based on the June 1st, 2012 Load Impact Report for Demand Response. The values reported are calculated by using the monthly ex ante average load impact per customer multiplied by the number of currently enrolled service accounts for the reporting month, where the ex ante average load impact is the average hourly load impact for an event that would occur from 1 - 6 pm on the system peak day of the month.
2 Ex Post Estimated MW = In compliance with Decision 08-04-050, the values presented herein are based on the June 1st, 2012 Load Impact Report for Demand Response. The values reported are calculated by using the annual ex post average load impact per customer multiplied by the number of currently enrolled service accounts for the reporting month, where the ex post load impact per customer is the average load impact per customer for those customers that may have participated in an event(s) during all actual event hours in the preceding year when or if events occurred. New programs report "n/a", as there were no prior events.
3 The May ILP Report the Smart Rate Commercial program was eliminated from all ILP Report worksheets as the Program no longer Exists.
NOTE: Readers should exercise caution in interpreting or using the estimated MW values found in this report in either the ex post or ex ante columns. Ex post estimates reflect historic event(s) that have taken place during specific time periods and actual weather conditions by a mix of customers that participated on event day(s). Ex ante forecasts account for variables not included in the Ex post estimate such as normalized weather conditions, expected customer mix during events, expected time of day which events occur, expected days of the week which events occur, and other lesser effects etc. An Ex ante forecast reflects forecast impact estimates that would occur between 1 pm and 6pm during a specific DR program’s operating season, based on 1-in-2 (normal) weather conditions if all DR programs were called simultaneously on the system peak day. In either case, MW estimates in this report will vary from estimates filed in the PG&E’s annual April 1st Compliance Filing pursuant to Decision D.08-04-050 and reporting documents that may be supplied to other agencies e.g. CAISO, FERC, NERC, etc. MW estimates found in the Monthly ILP Report are not used by PG&E for operational reporting, resource planning, and cost effectiveness analysis or in developing regulatory filings.
NOTE 2: PDP large C&I customers have been separated from PDP small and medium business customers due to the large difference in load impacts and the large difference in the enrollments.

## Ex Ante LI & Eligibility Stats
Program Eligibility and Average Load Impacts
| Average Ex Ante Load Impact kW / Customer | [11 empty] | Eligible Accounts as of Jan 1, 2012 |  | When to apply the ex ante load impacts
Program | January | February | March | April | May | June | July | August | September | October | November | December |  | Eligibility Criteria (Refer to tariff for specifics) | 2 - 6 pm | All other hours
BIP - Day Of | 308 | 330.2 | 354.1 | 761.1 | 773.7 | 756.9 | 787.1 | 800.4 | 842.6 | 810.2 | 341 | 313 | 10396 | Bundled, DA and CCA non-residential customer service accounts that have at least an average monthly demand of 100 kW
OBMC | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Bundled, DA and CCA non-residential customer accounts with interval meters that must be able to reduce electric load such that the entire load on the PG&E circuit or dedicated substation that provides service to that customer is reduced to or below MLLs for the entire duration of each and every RO operation
SLRP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Bundled-service customers taking service under Schedules A-10, E-19 or E-20 & minimum average monthly demand of 100 kilowatts (kW). Customers must commit to minimum 15% of baseline usage, with a minimum load reduction of 100 kW.
SmartAC - Commercial | 0 | 0 | 0 | 0 | 0.4 | 0.5 | 0.7 | 0.5 | 0.5 | 0.3 | 0 | 0 | 593312 | SMB customers taking service under applicable rate schedules equipped with central or packaged DX air conditioning equipment
SmartAC - Residential | N/A | N/A | N/A | N/A | 0.3 | 0.4 | 0.6 | 0.5 | 0.5 | 0.2 | N/A | N/A | 3000000 | Residential customers taking service under applicable rate schedules equipped with central or packaged DX air conditioning equipment
AMP - Day Ahead | 0 | 0 | 0 | 0 | 214.2 | 214.2 | 214.2 | 214.2 | 214.2 | 214.2 | 0 | 0 | 596031 | Non-residential customers on a C&I, partial standby, or Ag rate schedules, except those who receive electric power from third parties (other than DA), billed via net metering or full standby services.
AMP - Day Of | 0 | 0 | 0 | 0 | 114.6 | 114.6 | 114.6 | 114.6 | 114.6 | 114.6 | 0 | 0 | 596031 | Non-residential customers on a commercial, industrial, partial standby, or agricultural rate schedules, except those who receive electric power from third parties (other than DA), billed via net metering or full standby services.
CBP - Day Ahead | 0 | 0 | 0 | 0 | 74.6 | 74.6 | 74.6 | 74.6 | 74.6 | 74.6 | 0 | 0 | 596031 | Non-residential customers on a C&I, partial standby, or Ag rate schedule, except those who receive electric power from third parties (other than DA), billed via net metering or full standby services.
CBP - Day Of | 0 | 0 | 0 | 0 | 81.9 | 81.9 | 82 | 82 | 82 | 82 | 0 | 0 | 596031 | Non-residential customers on a C&I, partial standby, or Ag rate schedule, except those who receive electric power from third parties (other than DA), billed via net metering or full standby services.
DBP | 16.2 | 16.7 | 16.8 | 17.3 | 41.1 | 42.7 | 43.3 | 41.8 | 42.5 | 42.3 | 16.7 | 14.2 | 10396 | Non-residential Customers > 200 kW on a demand TOU rate schedule, cannot be on rate schedule AG-R, AG-V or S. Eligible customers include PG&E Bundled, Direct Access (DA; ESP), and Community Choice Aggregation Service. Non-residential Customers' accounts < 200 kW may participate as aggregated group for service accounts with same Federal Taxpayer ID Number.
PDP (200 kW or above) | 0 | 0 | 0 | 0 | 18.86 | 20.64 | 20.62 | 20.36 | 19.44 | 18.5 | 0 | 0 | 286311 | Default beginning May 1, 2010 for bundled C&I Customers > 200kW Maximum Demand; default begins February 1st, 2011 for large bundled Ag customers and default beginning November 1, 2011: bundled C&I Customers with < 200 kW Maximum Demand and 12 months on Interval Meter.
PDP (20 - 200 kW) | 0 | 0 | 0 | 0 | 1.84 | 2.2 | 3.27 | 2.61 | 2.36 | 0.88 | 0 | 0
PeakChoice - Best Effort - Day Ahead | 0 | 0 | 0 | 0 | 8.3 | 9.6 | 9.2 | 9.2 | 9.8 | 9.4 | 0 | 0 | 110349 | Bundled-Service Customers on a demand time-of-use (TOU) rate schedule, except those who are on net metering, standby, AG-R or AG-V rate schedules. Must be able to reduce at least 10 kW.
PeakChoice - Best Effort - Day Of | 0 | 0 | 0 | 0 | 10.4 | 12.1 | 12.3 | 11.9 | 11.9 | 11.5 | 0 | 0 | 110349 | Bundled-Service Customers on a demand time-of-use (TOU) rate schedule, except those who are on net metering, standby, AG-R or AG-V rate schedules. Must be able to reduce at least 10 kW.
PeakChoice - Committed - Day Ahead | 0 | 0 | 0 | 0 | 26.5 | 31.2 | 32.2 | 31.6 | 30.3 | 29.9 | 0 | 0 | 110349 | Bundled-Service Customers on a demand time-of-use (TOU) rate schedule, except those who are on net metering, standby, AG-R or AG-V rate schedules. Must be able to reduce at least 10 kW.
PeakChoice - Committed - Day Of | 0 | 0 | 0 | 0 | 808.5 | 810 | 817.1 | 159.2 | 154.9 | 150.1 | 0 | 0 | 110349 | Bundled-Service Customers on a demand time-of-use (TOU) rate schedule, except those who are on net metering, standby, AG-R or AG-V rate schedules. Must be able to reduce at least 10 kW.
SmartRateTM - Residential | N/A | N/A | N/A | N/A | 0.2 | 0.2 | 0.30345 | 0.1988 | 0.2 | 0.1 | 0 | 0 | 3000000 | A voluntary rate supplement to residential customers' OAS. Available to Bundled-Service customers served on a single family residential electric rate schedule. No longer available to Business Customers beginning January 2010
The average ex ante load impacts per customer are based on the load impacts filing on June 1, 2012 (D.08-04-050). Estimated Average Ex Ante Load Impact kW/Customer = Average kW / Customer, under 1-in-2 weather conditions, of an event that would occur from 1 - 6 pm (or 2 - 6 pm for PDP) for April through October, and 4 - 7 pm for November through March, on the system peak day of the month.

## Ex Post LI & Eligibility Stats
Program Eligibility and Average Load Impacts
| Average Ex Post Load Impact kW / Customer | [11 empty] | Eligible Accounts as of Jan 1, 2012
Program | January | February | March | April | May | June | July | August | September | October | November | December |  | Eligibility Criteria (Refer to tariff for specifics)
BIP - Day Of | 822.31 | 822.31 | 822.31 | 822.31 | 822.31 | 822.31 | 822.31 | 822.31 | 822.31 | 822.31 | 822.31 | 822.31 | 10396 | Bundled, DA and CCA non-residential customer service accounts that have at least an average monthly demand of 100 kW
OBMC | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | N/A | Bundled, DA and CCA non-residential customer accounts with interval meters that must be able to reduce electric load such that the entire load on the PG&E circuit or dedicated substation that provides service to that customer is reduced to or below MLLs for the entire duration of each and every RO operation
SLRP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | N/A | Bundled-service customers taking service under Schedules A-10, E-19 or E-20 & minimum average monthly demand of 100 kilowatts (kW). Customers must commit to minimum 15% of baseline usage, with a minimum load reduction of 100 kW.
SmartAC - Commercial | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 0.29 | 593312 | SMB customers taking service under applicable rate schedules equipped with central or packaged DX air conditioning equipment
SmartAC - Residential | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 3000000 | Residential customers taking service under applicable rate schedules equipped with central or packaged DX air conditioning equipment
AMP - Day Ahead | 211.94 | 211.94 | 211.94 | 211.94 | 211.94 | 211.94 | 211.94 | 211.94 | 211.94 | 211.94 | 211.94 | 211.94 | 596031 | Non-residential customers on a C&I, partial standby, or Ag rate schedules, except those who receive electric power from third parties (other than DA), billed via net metering or full standby services.
AMP - Day Of | 101.51 | 101.51 | 101.51 | 101.51 | 101.51 | 101.51 | 101.51 | 101.51 | 101.51 | 101.51 | 101.51 | 101.51 | 596031 | Non-residential customers on a commercial, industrial, partial standby, or agricultural rate schedules, except those who receive electric power from third parties (other than DA), billed via net metering or full standby services.
CBP - Day Ahead | 90.7 | 90.7 | 90.7 | 90.7 | 90.7 | 90.7 | 90.7 | 90.7 | 90.7 | 90.7 | 90.7 | 90.7 | 596031 | Non-residential customers on a C&I, partial standby, or Ag rate schedule, except those who receive electric power from third parties (other than DA), billed via net metering or full standby services.
CBP - Day Of | 79.4 | 79.4 | 79.4 | 79.4 | 79.4 | 79.4 | 79.4 | 79.4 | 79.4 | 79.4 | 79.4 | 79.4 | 596031 | Non-residential customers on a C&I, partial standby, or Ag rate schedule, except those who receive electric power from third parties (other than DA), billed via net metering or full standby services.
DBP | 54.7 | 54.7 | 54.7 | 54.7 | 54.7 | 54.7 | 54.7 | 54.7 | 54.7 | 54.7 | 54.7 | 54.7 | 10396 | Non-residential Customers > 200 kW on a demand TOU rate schedule, cannot be on rate schedule AG-R, AG-V or S. Eligible customers include PG&E Bundled, Direct Access (DA; ESP), and Community Choice Aggregation Service. Non-residential Customers' accounts < 200 kW may participate as aggregated group for service accounts with same Federal Taxpayer ID Number.
PDP (200 kW or above) | 18.81 | 18.81 | 18.81 | 18.81 | 18.81 | 18.81 | 18.81 | 18.81 | 18.81 | 18.81 | 18.81 | 18.81 | 286311 | Default beginning May 1, 2010 for bundled C&I Customers > 200kW Maximum Demand; default begins February 1st, 2011 for large bundled Ag customers and default beginning November 1, 2011: bundled C&I Customers with < 200 kW Maximum Demand and 12 months on Interval Meter.
PDP (20 - 200 kW) | 3.37 | 3.37 | 3.37 | 3.37 | 3.37 | 3.37 | 3.37 | 3.37 | 3.37 | 3.37 | 3.37 | 3.37
PeakChoice - Best Effort - Day Ahead | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 110349 | Bundled-Service Customers on a demand time-of-use (TOU) rate schedule, except those who are on net metering, standby, AG-R or AG-V rate schedules. Must be able to reduce at least 10 kW.
PeakChoice - Best Effort - Day Of | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 110349 | Bundled-Service Customers on a demand time-of-use (TOU) rate schedule, except those who are on net metering, standby, AG-R or AG-V rate schedules. Must be able to reduce at least 10 kW.
PeakChoice - Committed - Day Ahead | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 110349 | Bundled-Service Customers on a demand time-of-use (TOU) rate schedule, except those who are on net metering, standby, AG-R or AG-V rate schedules. Must be able to reduce at least 10 kW.
PeakChoice - Committed - Day Of | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 110349 | Bundled-Service Customers on a demand time-of-use (TOU) rate schedule, except those who are on net metering, standby, AG-R or AG-V rate schedules. Must be able to reduce at least 10 kW.
SmartRateTM - Residential | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 3000000 | A voluntary rate supplement to residential customers' OAS. Available to Bundled-Service customers served on a single family residential electric rate schedule. No longer available to Business Customers beginning January 2010
The average ex post load impacts per customer are based on the load impacts filing on April 2, 2012 (D.08-04-050). Estimated Average Ex Post Load Impact kW / Customer = Average kW / Customer service account over all actual event hours for the preceeding year when or if events occurred. Some programs may experience no events or few events while other programs may operate regularly depending on event triggers. For existing programs, the average ex post load impact per customer SAID remains constant across all months. The average load impact is "n/a" for programs having no prior events.

## TA-TI Distribution
Detailed Breakdown of MWs To Date in TA/Auto DR/TI Programs
2012 | January |  |  |  | February |  |  |  | March |  |  |  | April |  |  |  | May |  |  |  | June
Price Responsive | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs
AMP - Day Ahead |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
AMP - Day Of |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0.237 | 0.237 |  | 0 | 0.237 | 0.237 |  | 0 | 0.237 | 0.237 |  | 0 | 0.237 | 0.237
CBP - Day Ahead |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0.258 | 0 | 0.258 |  | 0.258 | 0 | 0.258 |  | 0.258 | 0 | 0.258 |  | 0.258 | 0 | 0.258
CBP - Day Of |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0.258 | 0 | 0.258 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 1.0649 | 1.0649
DBP |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 4.29 | 0 | 4.29 |  | 5.21 | 0 | 5.21 |  | 5.21 | 0 | 5.21 |  | 5.21 | 0 | 5.21
PDP |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 2.5 | 0 | 2.5 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
PeakChoice - Best Effort - Day Ahead |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0.01675 | 0 | 0.01675 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
PeakChoice - Best Effort - Day Of |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0.01675 | 0.037 | 0.05375 |  | 0 | 0.037 | 0.037 |  | 0 | 0.037 | 0.037 |  | 0 | 0.037 | 0.037
PeakChoice - Committed - Day Ahead |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0.01675 | 0 | 0.01675 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
PeakChoice - Committed - Day Of |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0.01675 | 0 | 0.01675 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
SmartRate™ - Residential |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
Total |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 7.373 | 0.274 | 7.647 |  | 5.468 | 0.274 | 5.742 |  | 5.468 | 0.274 | 5.742 |  | 5.468 | 1.3389 | 6.8069
Interruptible/Reliability
BIP - Day of |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
OBMC |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
SLRP |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
SmartAC™ - Commercial |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
SmartAC™ - Residential |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
Total |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
Total Technology MWs |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 7.373 | 0.274 | 7.647 |  | 5.468 | 0.274 | 5.742 |  | 5.468 | 0.274 | 5.742 |  | 5.468 | 1.3389 | 6.8069
General Program
TA (may also be enrolled in TI and AutoDR) | 0.3581 |  |  |  | 0.7395 |  |  |  | 0.8361 |  |  |  |  | 1.7415 |  |  | 3.0825 |  |  |  | 3.4425
Total | 0.3581 | 0 | 0 | 0 | 0.7395 | 0 | 0 | 0 | 0.8361 | 0 | 0 | 0 | 0 | 1.7415 | 0 | 0 | 3.0825 | 0 | 0 | 0 | 3.4425 | 0 | 0 | 0
Total TA MWs | 0.3581 | N/A | N/A | N/A | 0.7395 | N/A | N/A | N/A | 0.8361 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 3.0825 | N/A | N/A | N/A | 3.4425 | N/A | N/A | N/A
2012 | July |  |  |  | August |  |  | July | September |  |  | July | October |  |  | July | November |  |  | July | December |  |  | July
Price Responsive | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs | TI Verified MWs | Total Technology MWs
AMP - Day Ahead |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
AMP - Day Of |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
CBP - Day Ahead |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
CBP - Day Of |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
DBP |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
PDP |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
PeakChoice - Best Effort - Day Ahead |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
PeakChoice - Best Effort - Day Of |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
PeakChoice - Committed - Day Ahead |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
PeakChoice - Committed - Day Of |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
SmartRate™ - Commercial |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
SmartRate™ - Residential |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Interruptible/Reliability
BIP - Day of |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
OBMC |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
SLRP |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
SmartAC™ - Commercial |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
SmartAC™ - Residential |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Total Technology MWs |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
General Program
TA (may also be enrolled in TI and AutoDR)
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total TA MWs | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A

## DREBA Expenses 2012-14
2012-2014 Program Expenditures
| Cost Item | Program-to-Date Total Expenditures 2012 | January | February | March | April | May | June | July | August | September | October | November | December | Year-to Date 2012 Expenditures | Program-to-Date Total Expenditures 2012-2014 | 3-Year Funding | Fundshift Adjustments | Percent Funding
Category 1: Reliability Programs
BASEINTERRUP | Base Interruptible Program (BIP) | 0 | January: 6300.19; February: 9488.61; March: 11675.63; April: 8932.05; May: 31787.6; June: 8007.87 | 76191.95 | 76191.95 | 666349 |  | 11.43%
OBMC/SLRP | Optional Bidding Mandatory Curtailment / Scheduled Load Reduction (OBMC / SLRP) | 0 | January: 1371.68; February: 2057.06; March: 3755.03; April: 1451.59; May: 1828.14; June: 1216.24 | 11679.74 | 11679.74 | 413532 |  | 2.824%
| Budget Category 1 Total | 0 | 7671.87 | 11545.67 | 15430.66 | 10383.64 | 33615.74 | 9224.11 | 0 | 0 | 0 | 0 | 0 | 0 | 87871.69 | 87871.69 | 1079881 | 0 | 8.137%
Category 2: Price-Responsive Programs
DEMAND BIDD | Demand Bidding Program (DBP) | 0 | January: 12525.03; February: 19283.3; March: 23796.23; April: 17945.56; May: 70456.38; June: 17427.28 | 161433.78 | 161433.78 | 3216000 |  | 5.02%
CAPACIT BIDD | Capacity Bidding Program (CBP) | 0 | January: 24553.58; February: 31198.54; March: 29580.3; April: 29176.04; May: 58936.51; June: 91639.16 | 265084.13 | 265084.13 | 11563485 |  | 2.292%
PEAK CHOICE | Peak Choice (1) | 0 | January: 30447.31; February: 41323.73; March: 40158.45; April: 39365.72; May: 46659.2; June: 35375.82 | 233330.23 | 233330.23 | 1750000 |  | 13.33%
| Smart AC | 0 | January: 102694.97; February: 120377.31; March: -94089.62; April: 426507.96; May: 143393.81; June: 206633.5 | 905517.93 | 905517.93 | 19353335 |  | 4.679%
| Budget Category 2 Total | 0 | 170220.89 | 212182.88 | -554.64 | 512995.28 | 319445.9 | 351075.76 | 0 | 0 | 0 | 0 | 0 | 0 | 1565366.07 | 1565366.07 | 35882820 | 0 | 4.362%
Category 3: DR Provider/Aggregator Managed Programs
AGGR MAN PFO | Aggregator Managed Portfolio (AMP) | 0 | January: 24375.6; February: 30776.86; March: 29340.29; April: 28805.39; May: 50888.34; June: 81756.53 | 245943.01 | 245943.01 | 1187700 |  | 20.71%
| Budget Category 3 Total | 0 | 24375.6 | 30776.86 | 29340.29 | 28805.39 | 50888.34 | 81756.53 | 0 | 0 | 0 | 0 | 0 | 0 | 245943.01 | 245943.01 | 1187700 | 0 | 20.71%
Category 4: Emerging & Enabling Programs
AUTO DR | Auto DR | 0 | January: 43310.02; February: 54004.3; March: 50868.28; April: 50024.38; May: 64742.26; June: 87001.18 | 349950.42 | 349950.42 | 26297459 |  | 1.331%
EMRGTEK | DR Emerging Technology | 0 | January: 18904.67; February: 22445.48; March: 22538.44; April: 19680.81; May: 25394.54; June: 19472.94 | 128436.88 | 128436.88 | 3749238 |  | 3.426%
| Budget Category 4 Total | 0 | 62214.69 | 76449.78 | 73406.72 | 69705.19 | 90136.8 | 106474.12 | 0 | 0 | 0 | 0 | 0 | 0 | 478387.3 | 478387.3 | 30046697 | 0 | 1.592%
Category 5: Pilots
C&I INTM RSC | IRR Phase 2 | 0 | January: 13353.6; February: 15482.18; March: 15217.72; April: 14159.1; May: 17858.76; June: 12012.19 | 88083.55 | 88083.55 | 2458336 |  | 3.583%
| T&D DR | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0 | 0 | 2458336 |  | 0%
PHEV/EV PILO | Plug-in Hybrid EV/EV (incl. HAN-EV) | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0 | 0 | 3000000 |  | 0%
| Budget Category 5 Total | 0 | 13353.6 | 15482.18 | 15217.72 | 14159.1 | 17858.76 | 12012.19 | 0 | 0 | 0 | 0 | 0 | 0 | 88083.55 | 88083.55 | 7916672 | 0 | 1.113%
Category 6: Evaluation, Measurement and Verification
EM&V_01 | DRMEC | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0 | 0 | 14520981 |  | 0%
| DR Research Studies | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 10802.47 | 10802.47 | 10802.47 | 1200000 |  | 0.9002%
| Budget Category 6 Total | 0 | 0 | 0 | 0 | 0 | 0 | 10802.47 | 0 | 0 | 0 | 0 | 0 | 0 | 10802.47 | 10802.47 | 15720981 | 0 | 0.06871%
Category 7: Marketing, Education and Outreach
| Statewide Marketing (1) | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0 | 0 | 3500000 |  | 0%
DR CORE MKT | DR Core Marketing and Outreach (2) | 0 | January: 48816.13; February: 86252.2; March: 101581.96; April: 86759.6; May: 68759.5; June: 86773.03 | 478942.42 | 478942.42 | 13000000 |  | 3.684%
| SmartAC ME&O (3) |  | January: 6381.19; February: 11920.73; March: 10909.19; April: 216934.22; May: 460584.5; June: 462101.29 | 1168831.12 | 1168831.12 | 0
DR CORE E&T | Education and Training | 0 | January: 863.41; February: 5525.58; March: 19296.46; April: 4940.49; May: 5923.41; June: 4151.55 | 40700.9 | 40700.9 | 771993 |  | 5.272%
| Budget Category 7 Total | 0 | 56060.73 | 103698.51 | 131787.61 | 308634.31 | 535267.41 | 553025.87 | 0 | 0 | 0 | 0 | 0 | 0 | 1688474.44 | 1688474.44 | 17271993 | 0 | 9.776%
Category 8: DR System Support Activities
INTERACT | InterAct / DR Forecasting Tool (4) | 0 | January: 75329.01; February: 144538.96; March: 1016990.86; April: 135530.06; May: 132501.91; June: 154356.72 | 1659247.52 | 1659247.52 | 14407887 |  | 11.52%
DR ONLN EROL | DR Enrollment & Support | 0 | January: 47964.84; February: 72082.64; March: 125633.87; April: 74269.32; May: 118012.01; June: 98135.06 | 536097.74 | 536097.74 | 15787400 |  | 3.396%
| Notifications (4) | 0 | January: 3500; February: -3500; March: 235.34; April: 3738.4; May: 1626.58; June: -1371.72 | 4228.6 | 4228.6 | 7427715 |  | 0.05693%
| DR Integration Policy & Planning | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0 | 0 | 3893342 |  | 0%
| Budget Category 8 Total | 0 | 126793.85 | 213121.6 | 1142860.07 | 213537.78 | 252140.5 | 251120.06 | 0 | 0 | 0 | 0 | 0 | 0 | 2199573.86 | 2199573.86 | 41516344 | 0 | 5.298%
Category 9: Integrated Programs and Activities (Including Technical Assistance) (1)
TECHNOL INCV | Technology Incentives - IDSM | 0 | January: 23960.1; February: 30036.02; March: 28213.83; April: 25873.22; May: 33087.23; June: 24459.73 | 165630.13 | 165630.13 | 3538000 |  | 4.681%
PEAK_01 | PEAK | 0 | January: 0; February: 0; March: 0; April: 90190.85; May: 39522.93; June: 34856.75 | 164570.53 | 164570.53 | 560000 |  | 29.39%
INTGRTED MKT | Integrated Marketing & Outreach | 0 | January: 150.45; February: 2321.78; March: 1225.06; April: 23442.68; May: 61184.47; June: 36675.49 | 124999.93 | 124999.93 | 304500 |  | 41.05%
INTGRTED E&T | Integrated Education & Training | 0 | January: 39.52; February: 93.74; March: 85.25; April: 57.08; May: 77.48; June: 108.72 | 461.79 | 461.79 | 61000 |  | 0.757%
INTG SALES T | Integrated Sales Training | 0 | January: 49.8; February: 118.19; March: 107.52; April: 71.95; May: 97.68; June: 137.05 | 582.19 | 582.19 | 76000 |  | 0.766%
INTG ENE AUD | Integrated Energy Audits | 0 | January: 68708.71; February: -56802.98; March: 6491.02; April: 5292.28; May: 7473.9; June: 5811.93 | 36974.86 | 36974.86 | 1264000 |  | 2.925%
| Integrated Emerging Technology | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0 | 0 | 440000 |  | 0%
| Budget Category 9 Total | 0 | 92908.58 | -24233.25 | 36122.68 | 144928.06 | 141443.69 | 102049.67 | 0 | 0 | 0 | 0 | 0 | 0 | 493219.43 | 493219.43 | 6243500 |  | 7.9%
Category 10: Special Projects
EM&V_01 | DR-HAN Integration (excl. HAN-EV) | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0 | 0 | 20020000 |  | 0%
PERM LOAD_01 | Permanent Load Shifting | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0 | 0 | 15000000 |  | 0%
| Budget Category 10 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35020000 | 0 | 0%
| Recovery of Capital Costs Authorized Prior to 2009 | 0 | January: 75201.7962; February: 74953.2749; March: 74705; April: 74546; May: 74208; June: 73959 | 447573.0711 | 447573.0711 | 0 |  | N/A
| Total Incremental Cost | #REF! | 628801.6062 | 713977.5049 | 1518316.11 | 1377694.75 | 1515005.14 | 1551499.78 | 0 | 0 | 0 | 0 | 0 | 0 | 7305294.8911 | 7305294.8911 | 191886588 | 0 | 3.807%
| Technical Assistance & Technology Incentives (TA&TI) Identified as of June 2012. |  | January: 226831
(1) Authorized funding for 2012 only.
(2) The expenditures listed are in support of PG&E's DR programs for large commercial, industrial and agricultural customers, excluding the aggregator-managed programs. Disclosure complies with OP 24 of D.12-04-045. The 2012-14 approved budget for DR Core Marketing and Outreach includes funding for SmartAC marketing, education and outreach activities.
(3) The budget for SmartAC marketing, education, and outreach costs are included in the 2012-14 approved budget for DR Core Marketing and Outreach; however, the expenses are separated to differentiate the ME&O efforts targeting residential and small commercial customers. SmartAC is now closed to non-residential customers.
(4) The January-May expenditures for the InterAct/DR Forecasting Tool and Notifications activities were revised in the June report. Previously, the Notifications expenditures were included in the InterAct/DR Forecasting Tool category in error.

## Event Summary
Year-to-Date Event Summary
Program Category | Event No. | Event Date | Trigger | Load Reduction MW | Beginning | End | Program Tolled Hours (Annual)
Category 1: Emergency Programs
Base Interruptible Program (BIP)
SmartAC
SmartRate Residential
Category 2: Price Responsive Programs
Critical Peak Pricing (CPP)
Demand Bidding Program (DBP)
Peak Choice
Peak Day Pricing (PDP)
Category 3: DR Aggregator Managed Programs
Capacity Bidding Program (CBP)
Aggregator Managed Portfolio (AMP)

## Incentives 2012-14
Annual Total Cost
Cost Item | January | February | March | April | May | June | July | August | September | October | November | December | Year-to-Date Total Cost
Program Incentives
Automatic Demand Response (AutoDR) | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0
Aggregator Managed Portfolio (AMP) | January: 0; February: 0; March: 0; April: 0; May: 0; June: 1629242.5 | 1629242.5
Base Interruptible Program (BIP)1 | January: 2008319.34; February: 1673328.2; March: 1799871.93; April: 1946172.92; May: 1949135.61; June: 2076070.07 | 11452898.07
Capacity Bidding Program (CBP) | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0
Demand Bidding Program (DBP) | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0
Optional Binding Mandatory Curtailment / Scheduled Load Reduction Program (OBMC / SLRP)1 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0
Technology Incentive (TI) | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0
PeakChoice | January: 0; February: 0; March: 0; April: 0; May: 54.61; June: 0 | 54.61
Smart AC™ Ancillary Service Pilot | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0 | 0
Smart AC | January: 0; February: 11250; March: 0; April: 0; May: -50; June: 0 | 11200
Total Cost of Incentives | 2008319.34 | 1684578.2 | 1799871.93 | 1946172.92 | 1949140.22 | 3705312.57 | 0 | 0 | 0 | 0 | 0 | 0 | 13093395.18
Revenues from Penalties | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1Amounts reported are for incentives costs that are not recorded in the Demand Response Expenditures Balancing Account.