## Report Cover - Public
Pacific Gas and Electric Company Monthly Report On Interruptible Load and Demand Response
Programs for August 2019
2019-09-23
Public

## Cover Page
Pacific Gas and Electric Company (“PG&E”) hereby submits this report on Interruptible Load and Demand Response Programs for August 2019. This report is being sent to the Energy Division via EnergyDivisionCentralFiles@cpuc.ca.gov and served on the service list for A.11-03-001
http://www.pge.com/mybusiness/energysavingsrebates/demandresponse/cs/

## Program MW
UTILITY NAME: Pacific Gas and Electric Company
Monthly Program Enrollment and Estimated Load Impacts
|  | 2 | 2 |  | 3 | 3 |  | 4 | 4 |  | 5 | 5 |  | 6 | 6 |  | 7 | 7
| January |  |  | February |  |  | March |  |  | April |  |  | May |  |  | June
PROGRAMS | Service Accounts 5 | Ex Ante Estimated MW | Ex Post Estimated MW | Service Accounts 5 | Ex Ante Estimated MW | Ex Post Estimated MW | Service Accounts 5 | Ex Ante Estimated MW | Ex Post Estimated MW | Service Accounts 5 | Ex Ante Estimated MW | Ex Post Estimated MW | Service Accounts | Ex Ante Estimated MW 6 | Ex Post Estimated MW | Service Accounts | Ex Ante Estimated MW | Ex Post Estimated MW | Eligible Accounts as of Jan 1, 2019
PILOT PROGRAMS 1
SSP II (Load Decrease)
Non-Residential 4 | 34 | N/A | N/A | 36 | N/A | N/A | 37 | N/A | N/A | 39 | N/A | N/A | 39 | N/A | N/A | 39 | N/A | N/A | N/A
Residential | 0 | N/A | N/A | 0 | N/A | N/A | 0 | N/A | N/A | 0 | N/A | N/A | 0 | N/A | N/A | 0 | N/A | N/A | N/A
XSP (Load Increase)
Non-Residential | 9 | N/A | N/A | 9 | N/A | N/A | 9 | N/A | N/A | 10 | N/A | N/A | 10 | N/A | N/A | 11 | N/A | N/A | N/A
Residential | 0 | N/A | N/A | 0 | N/A | N/A | 0 | N/A | N/A | 0 | N/A | N/A | 0 | N/A | N/A | 0 | N/A | N/A | N/A
INTERUPTIBLE RELIABILITY PROGRAMS 3
BIP - Day Of | 420 | 208.6637 | 217.999 | 419 | 215.0415 | 217.48 | 420 | 224.496 | 217.999 | 423 | 241.2263 | 219.5562 | 430 | 258.6428 | 223.1895 | 453 | 286.6368 | 235.1275 | 10935
OBMC | 16 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | 16 | 0 | 0 | N/A
SLRP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
SmartACTM - Commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
SmartACTM - Residential | 108211 | 0 | 33.5454 | 107354 | 0 | 33.2797 | 106475 | 0 | 33.0072 | 105533 | 0 | 32.7152 | 104475 | 31.5963 | 32.3873 | 103390 | 51.329 | 32.0509 | N/A
Sub-Total Interruptible | 108647 | 208.6637 | 251.5444 | 107789 | 215.0415 | 250.7597 | 106911 | 224.496 | 251.0063 | 105972 | 241.2263 | 252.2714 | 104921 | 290.2391 | 255.5767 | 103859 | 337.9658 | 267.1784
PRICE-RESPONSIVE PROGRAMS 2
CBP - Day Ahead | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 427 | 17.203 | 18.9332 | 563 | 22.6822 | 24.9634 | 603881
PDP (200 kW or above) | 1543 | 8.4702 | 21.5557 | 1428 | 7.8389 | 19.9492 | 1410 | 7.7401 | 19.6977 | 1401 | 8.1234 | 19.572 | 1373 | 8.2613 | 19.1808 | 1361 | 7.4856 | 19.0132 | 7299
PDP (above 20 kW & below 200 kW) | 29937 | 0 | 4.4905 | 27979 | 0 | 4.1968 | 27691 | 0 | 4.1536 | 27355 | 0 | 4.1033 | 26871 | -5.3742 | 4.0306 | 25348 | 0.25348 | 3.8022 | 95833
PDP (20 kW or below) | 105256 | 0 | 0 | 104326 | 0 | 0 | 103605 | 0 | 0 | 102598 | 0 | 0 | 100269 | 0 | 0 | 92203 | 0 | 0 | 315414
SmartRateTM - Residential | 88309 | 2.012 | 14.1294 | 77281 | 1.7958 | 12.365 | 76503 | 1.7778 | 12.2405 | 66544 | 3.5011 | 10.647 | 66552 | 6.1164 | 10.6483 | 66531 | 8.5526 | 10.645 | N/A
Sub-Total Price Response | 225045 | 10.4822 | 40.1757 | 211014 | 9.6348 | 36.511 | 209209 | 9.5179 | 36.0918 | 197898 | 11.6245 | 34.3223 | 195492 | 26.2065 | 52.793 | 186006 | 38.9739 | 58.4237
Total All Programs | 333692 | 219.1459 | 291.7201 | 318803 | 224.6763 | 287.2707 | 316120 | 234.0138 | 287.0981 | 303870 | 252.8508 | 286.5936 | 300413 | 316.4456 | 308.3697 | 289865 | 376.9397 | 325.6022
|  | 8 | 8 |  | 9 | 9 |  | 10 | 10 |  | 11 | 11 |  | 12 | 12 |  | 13 | 13
| July |  |  | August |  |  | September |  |  | October |  |  | November |  |  | December
Programs | Service Accounts | Ex Ante Estimated MW | Ex Post Estimated MW | Service Accounts | Ex Ante Estimated MW | Ex Post Estimated MW | Service Accounts | Ex Ante Estimated MW | Ex Post Estimated MW | Service Accounts | Ex Ante Estimated MW | Ex Post Estimated MW | Service Accounts | Ex Ante Estimated MW | Ex Post Estimated MW | Service Accounts | Ex Ante Estimated MW | Ex Post Estimated MW | Eligible Accounts as of Jan 1, 2019
PILOT PROGRAMS 1
SSP II (Load Decrease)
Non-Residential 4 | 39 | N/A | N/A | 39 | N/A | N/A | [12 empty] | N/A
Residential | 0 | N/A | N/A | 0 | N/A | N/A | [12 empty] | N/A
XSP (Load Increase)
Non-Residential | 11 | N/A | N/A | 11 | N/A | N/A | [12 empty] | N/A
Residential | 0 | N/A | N/A | 0 | N/A | N/A | [12 empty] | N/A
INTERUPTIBLE RELIABILITY PROGRAMS 3
BIP - Day of | 506 | 309.4799 | 262.6369 | 514 | 309.7941 | 266.7893 | [12 empty] | 10935
OBMC | 16 | 0 | 0 | 16 | 0 | 0 | [12 empty] | N/A
SLRP | 0 | 0 | 0 | 0 | 0 | 0 | [12 empty] | N/A
SmartACTM - Commercial | 0 | 0 | 0 | 0 | 0 | 0 | [12 empty] | N/A
SmartACTM - Residential | 102180 | 53.1848 | 31.6758 | 100727 | 49.2278 | 31.2254 | [12 empty] | N/A
Sub-Total Interruptible | 102702 | 362.6648 | 294.3127 | 101257 | 359.0219 | 298.0146
PRICE-RESPONSIVE PROGRAMS 2
CBP - Day Ahead | 726 | 29.2492 | 32.1908 | 797 | 32.1096 | 35.339 | [12 empty] | 603881
PDP (200 kW or above) | 1287 | 8.9961 | 17.9794 | 1285 | 8.0298 | 17.9515 | [12 empty] | 7299
PDP (above 20 kW & below 200 kW) | 25031 | 0.75093 | 3.7546 | 24767 | 0.24767 | 3.715 | [12 empty] | 95833
PDP (20 kW or below) | 91869 | 0 | 0 | 90698 | 0 | 0 | [12 empty] | 315414
SmartRateTM - Residential | 66501 | 9.2684 | 10.6402 | 66427 | 8.5437 | 10.6283 | [12 empty] | N/A
Sub-Total Price Response | 185414 | 48.2646 | 64.565 | 183974 | 48.9308 | 67.6338
Total All Programs | 288116 | 410.9293 | 358.8778 | 285231 | 407.9527 | 365.6484
NOTES:
Readers should exercise caution in interpreting or using the estimated MW values found in this report in either the Ex Post or Ex Ante columns. Ex post estimates reflect historic event(s) that have taken place during specific time periods and actual weather conditions by a mix of customers that participated on event day(s). Ex Ante forecasts account for variables not included in the Ex Post estimate such as normalized weather conditions, expected customer mix during events, expected time of day which events occur, expected days of the week which events occur, and other lesser effects etc. An Ex Ante forecast reflects forecast impact estimates that would occur between 1 pm and 6pm during a specific DR program’s operating season, based on 1-in-2 (normal) weather conditions if all DR programs were called simultaneously on the system peak day. In either case, MW estimates in this report will vary from estimates filed in the PG&E’s annual April Compliance Filing pursuant to Decision 08-04-050 and reporting documents that may be supplied to other agencies e.g. CAISO, FERC, NERC, etc. MW estimates found in the Monthly ILP Report are not used by PG&E for operational reporting, resource planning, and cost effectiveness analysis or in developing regulatory filings.
Ex Ante Estimated MW = In compliance with Decision 08-04-050, the values presented herein are based on the April 2, 2019 (R.13-09-011) Load Impact Report for Demand Response. The values reported are calculated by using the monthly Ex Ante average load impact per customer multiplied by the number of currently enrolled service accounts for the reporting month, where the Ex Ante average load impact is the average hourly load impact for an event that would occur from 1 - 6 pm on the system peak day of the month. The Ex Ante Estimated MW value for the aggregator program, e.g., CBP are the monthly nominated MW during the event season May through October and Zero non-event season months November through April.
Ex Post Estimated MW = In compliance with Decision 08-04-050, the values presented herein are based on the April 2, 2019 (R.13-09-011) Load Impact Report for Demand Response. The values reported are calculated by using the annual Ex Post average load impact per customer multiplied by the number of currently enrolled service accounts for the reporting month, where the Ex Post load impact per customer is the average load impact per customer for those customers that may have participated in an event(s) during all actual event hours in the preceding year when or if events occurred. New programs report "n/a", as there were no prior events.
1 For Pilot Program SSP II (Load Decrease) and XSP Pilot Program (Load Increase), in the absence of a formal load impact evaluation, PG&E estimates SSP 950 kW and XSP 2860 kW.
2 There are some SmartRateTM Residential customers (<.05%) not reflected in the summary or rate code count as program eligibility is being confirmed.
3 BIP customers that dual participate in PDP are not counted towards the 300 MW BIP cap. The BIP program actual capacity is below the 300 MW cap.
4 Revised February Non-residential SSP II (Load Decrease) Service Account count.
5 Data was revised due to true-up for BIP enrollments from January through April.
6 Negative number in May for PDP (above 20 kW & below 200 kW) is due to the event window not lining up with the RA measurement window.

## Ex Ante LI & Eligibility Stats
Program Eligibility and Ex Ante Average Load Impacts 1
| Average Ex Ante Load Impact kW / Customer | [11 empty] | Eligible Accounts as of Jan 1, 2019 | Eligibility Criteria (Refer to tariff for specifics)
Program | January | February | March | April | May | June | July | August | September | October | November | December
BIP - Day Of | 496.8184 | 513.2255 | 534.5142 | 570.275 | 601.4948 | 632.7524 | 611.6204 | 602.7122 | 575.2579 | 576.1136 | 537.3134 | 519.2744 | 10900 | Bundled, DA and CCA non-residential customer service accounts that have at least an average monthly demand of 100 kW.
OBMC | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Not Available | Bundled, DA and CCA non-residential customer accounts with interval meters that must be able to reduce electric load such that the entire load on the PG&E circuit or dedicated substation that provides service to that customer is reduced to or below Maximum Load Levels (MLLs) for the entire duration of each and every RO operation.
SLRP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Not Available | Bundled-service customers taking service under Schedules A-10, E-19 or E-20 & minimum average monthly demand of 100 kilowatts (kW). Customers must commit to minimum 15% of baseline usage, with a minimum load reduction of 100 kW.
SmartACTM - Commercial | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Not Available | Small and medium business customers taking service under applicable rate schedules equipped with central or packaged DX air conditioning equipment. Closed to new enrollment.
SmartACTM - Residential | N/A | N/A | N/A | N/A | 0.30243 | 0.49646 | 0.5205 | 0.48873 | 0.4314 | 0.17788 | N/A | N/A | Not Available | Residential customers taking service under applicable rate schedules equipped with central or packaged DX air conditioning equipment.
CBP - Day Ahead | N/A | N/A | N/A | N/A | 40.2881 | 40.2881 | 40.2881 | 40.2881 | 40.2881 | 40.2881 | N/A | N/A | 5.4 Million | PG&E customers receiving bundled service, Community Choice Aggregation (CCA) service, or Direct Access (DA) service and being billed on a PG&E residential, commercial, industrial, or agricultural electric rate schedule.
PDP (200 kW or above) | 5.4894 | 5.4894 | 5.4894 | 5.7983 | 6.017 | 5.5001 | 6.99 | 6.2489 | 6.2532 | 5.9246 | 5.4894 | 5.4894 | 7000 | Default beginning on: May 1, 2010 for bundled C&I Customers >200kW Maximum Demand; February 1st, 2011 for large bundled Ag customers; November 2014 for bundled C&I Customers with <200 kW Maximum Demand and 12 consecutive months of interval data.
PDP (above 20 kW & below 200 kW) | 0 | 0 | 0 | 0 | -0.2 | 0.01 | 0.03 | 0.01 | 0 | -0.06 | 0 | 0 | 90000
PDP (20 kW or below) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315000
SmartRateTM - Residential | 0.022784 | 0.023238 | 0.023238 | 0.052613 | 0.091905 | 0.12855 | 0.13937 | 0.12862 | 0.121 | 0.064221 | 0.023548 | 0.023548 | Not Available | A voluntary rate supplement to residential customers' otherwise applicable schedule. Available to Bundled-Service customers served on a single family residential electric rate schedule.
The average ex ante load impacts per customer are based on the load impacts filing on April 2, 2019 (R.13-09-011). Estimated Average Ex Ante Load Impact kW/Customer = Average kW / Customer, under 1-in-2 weather conditions, of an event that would occur at 4 - 9 pm on the PG&E system peak day of the month.

## Ex Post LI & Eligibility Stats
Program Eligibility and Ex Post Average Load Impacts 1
Program | Average Ex Post Load Impact kW / Customer | [11 empty] | Eligible Accounts as of Jan 1, 2019 | Eligibility Criteria (Refer to tariff for specifics)
| January | February | March | April | May | June | July | August | September | October | November | December
BIP - Day Of | 519.0453 | 519.0453 | 519.0453 | 519.0453 | 519.0453 | 519.0453 | 519.0453 | 519.0453 | 519.0453 | 519.0453 | 519.0453 | 519.0453 | 10900 | Bundled, DA and CCA non-residential customer service accounts that have at least an average monthly demand of 100 kW.
OBMC | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Not Available | Bundled, DA and CCA non-residential customer accounts with interval meters that must be able to reduce electric load such that the entire load on the PG&E circuit or dedicated substation that provides service to that customer is reduced to or below Maximum Load Levels (MLLs) for the entire duration of each and every RO operation.
SLRP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Not Available | Bundled-service customers taking service under Schedules A-10, E-19 or E-20 & minimum average monthly demand of 100 kilowatts (kW). Customers must commit to minimum 15% of baseline usage, with a minimum load reduction of 100 kW.
SmartACTM - Commercial | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Not Available | Small and medium business customers taking service under applicable rate schedules equipped with central or packaged DX air conditioning equipment. Closed.
SmartACTM - Residential | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | Not Available | Residential customers taking service under applicable rate schedules equipped with central or packaged DX air conditioning equipment.
CBP - Day Ahead | 44.34 | 44.34 | 44.34 | 44.34 | 44.34 | 44.34 | 44.34 | 44.34 | 44.34 | 44.34 | 44.34 | 44.34 | 5.4 Million | PG&E customers receiving bundled service, Community Choice Aggregation (CCA) service, or Direct Access (DA) service and being billed on a PG&E residential, commercial, industrial, or agricultural electric rate schedule.
PDP (200 kW or above) | 13.97 | 13.97 | 13.97 | 13.97 | 13.97 | 13.97 | 13.97 | 13.97 | 13.97 | 13.97 | 13.97 | 13.97 | 7000 | Default beginning on: May 1, 2010 for bundled C&I Customers >200kW Maximum Demand; February 1st, 2011 for large bundled Ag customers; November 2014 for bundled C&I Customers with <200 kW Maximum Demand and 12 consecutive months of interval data.
PDP (above 20 kW & below 200 kW) | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 90000
PDP (20 kW or below) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 315000
SmartRateTM - Residential | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | Not Available | A voluntary rate supplement to residential customers' otherwise applicable schedule. Available to Bundled-Service customers served on a single family residential electric rate schedule.
The average ex post load impacts per customer are based on the load impacts filing on April 2, 2019 (R.13-09-011). Estimated Average Ex Post Load Impact kW / Customer = Average kW / Customer service account from the typical event for the preceeding year if events occurred. Some programs may experience no events or few events while other programs may operate regularly depending on event triggers. For existing programs, the average ex post load impact per customer SA_ID remains constant across all months. The average load impact is "N/A" for programs having no prior events.

## TA-TI Distribution
2019 Detailed Breakdown of MWs To Date in TA/Auto DR/TI Programs
| JANUARY |  |  |  | FEBRUARY |  |  |  | MARCH |  |  |  | APRIL |  |  |  | MAY |  |  |  | JUNE
PROGRAM | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs
PILOT PROGRAMS
SSP II (Load Decrease)
Non-Residential | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
Residential | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
XSP (Load Increase)
Non-Residential | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
Residential | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
PRICE-RESPONSIVE PROGRAMS
CBP | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
PDP | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0.008 | 0 | 0.008 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
SmartRate™ - Residential | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
SmartAC™ - Commercial | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
SmartAC™ - Residential | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
DRAM 2 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
Total | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0.008 | 0 | 0.008 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
INTERUPTIBLE RELIABILITY PROGRAMS
BIP - Day of | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
OBMC | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
SLRP | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
Total | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
TOTAL TECHNOLOGY MWs | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0 | N/A | 0.008 | 0 | 0.008 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
GENERAL PROGRAM
TA (may also be enrolled in TI and AutoDR) | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A
Total | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A
TOTAL TA MWs | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A
| JULY |  |  |  | AUGUST |  |  |  | SEPTEMBER |  |  |  | OCTOBER |  |  |  | NOVEMBER |  |  |  | DECEMBER
PROGRAM | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs | TA Identified MWs | Auto DR Verified MWs 1 | TI Verified MWs | Total Technology MWs
PILOT PROGRAMS
SSP II (Load Decrease)
Non-Residential | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
Residential | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
XSP (Load Increase)
Non-Residential | N/A | 0.508 | 0 | 0.508 | N/A | 0 | 0 | 0
Residential | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
PRICE-RESPONSIVE PROGRAMS
CBP | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
PDP | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
SmartRate™ - Residential | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
SmartAC™ - Commercial | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
SmartAC™ - Residential | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
DRAM 2 | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
Total | N/A | 0.508 | 0 | 0.508 | N/A | 0 | 0 | 0
INTERUPTIBLE RELIABILITY PROGRAMS
BIP - Day of | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
OBMC | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
SLRP | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
Total | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
TOTAL TECHNOLOGY MWs | N/A | 0 | 0 | 0 | N/A | 0 | 0 | 0
GENERAL PROGRAM
TA (may also be enrolled in TI and AutoDR) | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A
Total | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A
TOTAL TA MWs | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A
1ADR Non-Residential MWs are verified after installation of the equipment and customers have been paid 60% incentive for customers >200 kW. Actual performance is measured after the first full year of DR program participation and the remaining 40% incentive is paid based on performance values. Office and Retail <499 kW excepted and paid at 100%. Unable to verify Residential MWs.
2As approved in the disposition letter issued September 24, 2015 to advice letter 4618-E-A, customers participating in DRAM are eligible to receive ADR incentives but PG&E is unable to determine the capacity associated with these ADR-enabled devices.

## DREBA 2018-22
2018 Program Expenditures 1
| Cost Item | 2017 Expenditures | 2018 Expenditures | January | February | March | April | May | June | July | August | September | October | November | December | Year-to-Date 2019 Expenditures | Program-to-Date 2019 Admin Expenditures | 2018-22 Funding 3 | Fund shift Adjustments | Percent Funding 3
Category 1: Supply‐Side DR Programs
BASEINTERRUP | AC Cycling: Smart AC | 0 | 4906618.76 | 243947.86 | 183027.86 | 293765.33 | 435861.17 | 223581.44 | 199564.57 | 434733.59 | 91447.06 |  |  |  |  | 2105928.88 | 7012547.64 | 31978000 |  | 22.89%
| Base Interruptible Program (BIP) | 0 | 353890.6 | 23165.5 | 29855.89 | 29287.91 | 28870.01 | 25891.57 | 27014.61 | 24222.78 | 26222.24 |  |  |  |  | 214530.51 | 568421.11 | 161770000 |  | 26.32%
OBMC/SLRP | Capacity Bidding Program (CBP) | 0 | 411485.41 | 26308.44 | 32621.17 | 31902.43 | 30312.81 | 28744.8 | 33020.34 | 26796.02 | 27129.04 |  |  |  |  | 236835.05 | 648320.46 | 20518000 |  | 15.01%
| Budget Category 1 Total | 0 | 5671994.77 | 293421.8 | 245504.92 | 354955.67 | 495043.99 | 278217.81 | 259599.52 | 485752.39 | 144798.34 |  |  |  |  | 2557294.44 | 8229289.21 | 214266000 | 0 | 3.841%
Category 2: Load Modifying DR Programs
CAPACIT BIDD | OMBC/SLRP | 0 | 6617.57 | 677.45 | 311.97 | 701.03 | 88.14 | 413.6 | 395.17 | 226.67 | 706.11 |  |  |  |  | 3520.14 | 10137.71 | 63000 |  | 16.09%
| Permanent Load Shifting (PLS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 |  | 0%
| Budget Category 2 Total | 0 | 6617.57 | 677.45 | 311.97 | 701.03 | 88.14 | 413.6 | 395.17 | 226.67 | 706.11 |  |  |  |  | 3520.14 | 10137.71 | 63000 | 0 | 16.09%
Category 3: DRAM and Rule 24/32
| DRAM Phase 4 | 6547.57 | 117660.87 | 5485.33 | 19066.86 | 17268.37 | 7717.84 | 16050.51 | 18280.41 | 9574.71 | 14828.31 |  |  |  |  | 108272.34 | 232480.78 | 6000000 |  | 3.875%
AGGR MAN PFO | Rule 24 O&M | 0 | 978544.03 | 85897.87 | 84095.82 | 216073.07 | 118213.39 | 124668.57 | 106282.79 | 113058.9 | 120979.87 |  |  |  |  | 969270.28 | 1947814.31 | 12931000 |  | 15.06%
| Budget Category 3 Total | 6547.57 | 1096204.9 | 91383.2 | 103162.68 | 233341.44 | 125931.23 | 140719.08 | 124563.2 | 122633.61 | 135808.18 |  |  |  |  | 1077542.62 | 2180295.09 | 18931000 | 0 | 11.52%
0
Category 4: Emerging & Enabling Programs
AUTO DR | Auto DR4 | 0 | 2289175.92 | 160228.99 | 152867.44 | 138107.28 | 169590.06 | 37009.53 | 295576.19 | 122077.4 | 129023.51 |  |  |  |  | 1204480.4 | 3493656.32 | 20446000 |  | 17.64%
EMRGTEK | DR Emerging Technology | 0 | 612928.11 | 71805.08 | 46598.76 | 39294.38 | 36473.32 | 33486.23 | 23205.66 | 23326.37 | 39514.31 |  |  |  |  | 313704.11 | 926632.22 | 7230000 |  | 12.82%
| Budget Category 4 Total | 0 | 2902104.03 | 232034.07 | 199466.2 | 177401.66 | 206063.38 | 70495.76 | 318781.85 | 145403.77 | 168537.82 |  |  |  |  | 1518184.51 | 4420288.54 | 27676000 | 0 | 15.97%
Category 5: Pilots
C&I INTM RSC | Supply Side Pilot | 0 | 531947.31 | 33773.8 | 65589.44 | 149473.4 | 87891.01 | 83686.46 | 145351.94 | 86330.91 | 54587.59 |  |  |  |  | 706684.55 | 1238631.86 | 6337000 |  | 22.05%
| Excess Supply | 0 | 402118.98 | 23102.32 | 29515.82 | 32192.73 | 24450.51 | 21365.76 | 35813.85 | 25133.96 | 33025.51 |  |  |  |  | 224600.46 | 626719.44 | 1813000 |  | 52.23%
PHEV/EV PILO | Local Capacity Planning Areas and Disadvantaged Communities Pilot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 1000000 |  | 0%
| Budget Category 5 Total | 0 | 934066.29 | 56876.12 | 95105.26 | 181666.13 | 112341.52 | 105052.22 | 181165.79 | 111464.87 | 87613.1 |  |  |  |  | 931285.01 | 1865351.3 | 9150000 | 0 | 20.39%
Category 6: Marketing, Education, and Outreach (ME&O)
EM&V_01 | DR Core Marketing & Outreach | 0 | 2117477.48 | 22923.8 | 25282.69 | 43391.38 | 28179.14 | 117648.87 | 102055.54 | 113864.13 | 85890.53 |  |  |  |  | 539236.08 | 2656713.56 | 12221000 |  | 21.74%
| Education and Training | 0 | 59671.64 | 4870.56 | 2303.77 | 7495.27 | 7494.45 | 746.01 | 9199.18 | 1823.33 | 4482.93 |  |  |  |  | 38415.5 | 98087.14 | 1350000 |  | 7.266%
| Budget Category 6 Total | 0 | 2177149.12 | 27794.36 | 27586.46 | 50886.65 | 35673.59 | 118394.88 | 111254.72 | 115687.46 | 90373.46 |  |  |  |  | 577651.58 | 2754800.7 | 13571000 | 0 | 20.3%
Category 7: Portfolio Support (includes EM&V, Systems Support, and Notifications)
DR CORE MKT | DR Measurement and Evaluation (DRMEC) | 0 | 828689.35 | 198258.18 | 233061.89 | 141913.12 | 145780.38 | 83596.96 | 67901.18 | 68476.84 | 20016.7 |  |  |  |  | 959005.25 | 1787694.6 | 11777000 |  | 15.18%
| DR Integration Policy & Planning | 0 | 1659482.8 | 106174.5 | 126824.13 | 173796.51 | 107567.99 | 145037.33 | 131755.67 | 84224.98 | 130097.53 |  |  |  |  | 1005478.64 | 2664961.44 | 8386000 |  | 31.78%
| Support for Market Activities | 0 | 2574480.98 | 366080.45 | 514738.61 | 311097.83 | 449908.47 | 375136.35 | 379175.73 | 419514.35 | 404556.15 |  |  |  |  | 3220207.94 | 5794688.92 | 13524000 |  | 42.85%
| Support for Retail & Customer Facing Activities | 0 | 5005601.87 | 306197.87 | 95130.05 | 351166.17 | 376581.01 | 320831.63 | 494750.91 | 407308.8 | 389603.54 |  |  |  |  | 2741569.98 | 7747171.85 | 19928000 |  | 38.88%
DR CORE E&T | DR Potential Study | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 2000000 |  | 0%
| Budget Category 7 Total | 0 | 10068255 | 976711 | 969754.68 | 977973.63 | 1079837.85 | 924602.27 | 1073583.49 | 979524.97 | 944273.92 |  |  |  |  | 7926261.81 | 17994516.81 | 55615000 | 0 | 32.36%
Category 8: Integrated Programs and Activities (Including Technical Assistance) 2
TECHNOL INCV | Technology Incentives - IDSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 |  | 0%
TECHNOL INCV | Integrated Energy Audits | 0 | 30320.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 30320.82 | 30320.82 |  | 100%
| Residential IDSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 5000000 |  | 0%
| Non Residential IDSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 39969679.18 |  | 0%
| Budget Category 8 Total | 0 | 30320.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 30320.82 | 45000000 | 0 | 0.06738%
| Recovery of DR-related capital costs prior to 2009 (for interval metering as authorized in D.06-03-024/D.06-11-049); and, additionally, for the HAN Integration project (as authorized in D.12-04-045). | 0 | 1992495.07 | 162423.74 | 162280.58 | 161109.12 | 160897.86 | 160313.7 | 158701.25 | 158839.27 | 158607.4 |  |  |  |  | 1283172.92 | 3275667.99 | 0 | 0 | 0%
| Total Incremental Cost 3 | 6547.57 | 24879207.57 | 1841321.74 | 1803172.75 | 2138035.33 | 2215877.56 | 1798209.32 | 2228044.99 | 2119533.01 | 1730718.33 |  |  |  |  | 15874913.03 | 40760668.17 | 384272000 | 0 | 10.61%
| Technical Assistance & Technology Incentives (TA&TI) Identified as of August 2019 | 0
1 The expenditures listed are in support of PG&E's DR programs for large commercial, industrial and agricultural customers.
2 Additional funding for Technology Incentives and Integrated Energy Audits was approved in Energy Efficiency Decision 14-10-046. This funding was to continue through 2025 unless the Commission issues a superseding funding decision. On May 31 2018, the Commission issued a superseding decision via the EE Business Plan which allocated $9m to PG&E for IDSM projects ($1m to Residential and $8m to non-Residential). Since the funding was approved after the cycle had started, PG&E incurred some costs for Integrated Enegy Audits prior to the decision being issued - those funds have now been redirected as per the EE Business Plan decision.
3 Total Incremental Cost excludes incentives (only Admin costs are reported here). Incentives are reported on Table I-5.
2018-22 Funding and Percent Funding includes incentives (reported on Table I-5) to accurately show budget used.
4 Updated adjustement for AutoDR July +$73,000 for accrual and adjustmnet in August to offset accrual
5 Program budgets have been updated to include employee benefits costs approved in the GRC (D.17-05-013) - Decision Authorizing Pacific Gas and Electric Company's General Rate Case Revenue Requirement for 2017-2019, issue date of May 11, 2017.

## 2019 ILP Exp Carryover
| Cost Item 1 | January | February | March | April | May | June | July | August | September | October | November | December | Carry-Over Expenditures incurred in 2019
Category 1: Reliability Programs
BASEINTERRUP | Base Interruptible Program (BIP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
OBMC/SLRP | Optional Bidding Mandatory Curtailment / Scheduled Load Reduction (OBMC / SLRP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
| Budget Category 1 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
Category 2: Price-Responsive Programs
CAPACIT BIDD | Capacity Bidding Program (CBP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
| SmartACTM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
| Budget Category 2 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
Category 3: DR Provider/Aggregator Managed Programs
AGGR MAN PFO | Aggregator Managed Portfolio (AMP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
| Budget Category 3 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
Category 4: Emerging & Enabling Programs
AUTO DR | Auto DR | 19920 | 39539.84 | 51500 | 14350 | 5400 | 6100 | 0 | -50989.84 |  |  |  |  | 85820
EMRGTEK | DR Emerging Technology | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
| Budget Category 4 Total | 19920 | 39539.84 | 51500 | 14350 | 5400 | 6100 | 0 | -50989.84 |  |  |  |  | 85820
Category 5: Pilots
| Supply Side Pilot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
| Excess Supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
| Budget Category 5 Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
Category 6: Evaluation, Measurement and Verification
EM&V_01 | DRMEC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
| DR Research Studies | 20000 | 10000 | 57386.87 | 14763.19 | 14763.19 | 14763.19 | -18579.14 | 10000 |  |  |  |  | 123097.3
| Budget Category 6 Total | 20000 | 10000 | 57386.87 | 14763.19 | 14763.19 | 14763.19 | -18579.14 | 10000 |  |  |  |  | 123097.3
Category 7: Marketing, Education and Outreach
DR CORE MKT | DR Core Marketing and Outreach | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
| SmartACTM ME&O | -383.51 | 5816.75 | -5816.75 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | -383.51
DR CORE E&T | Education and Training | 0 | 0 | 254.99 | 0 | 0 | 62.28 | 0 | 0 |  |  |  |  | 317.27
| Budget Category 7 Total | -383.51 | 5816.75 | -5561.76 | 0 | 0 | 62.28 | 0 | 0 |  |  |  |  | -66.24
Category 8: DR System Support Activities
INTERACT | InterAct / DR Forecasting Tool | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
DR ONLN EROL | DR Enrollment & Support 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
| Notifications | 65.44 | 0 | 0 | -67940.42 | 827.36 | 0 | 0 | 0 |  |  |  |  | -67047.62
| DR Integration Policy & Planning | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
| Budget Category 8 Total | 65.44 | 0 | 0 | -67940.42 | 827.36 | 0 | 0 | 0 |  |  |  |  | -67047.62
Category 9: Integrated Programs and Activities (Including Technical Assistance)
TECHNOL INCV | Technology Incentives - IDSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
INTG ENE AUD | Integrated Energy Audits | -1526.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | -1526.91
| Budget Category 9 Total | -1526.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | -1526.91
Category 10: Special Projects
| Demand Response Auction Mechanism Pilot Phase 1 | January: 0; February: 0; March: 0; April: 0; May: 0; July: 0; August: 0 | 0
| Demand Response Auction Mechanism Pilot Phase 2 | 627.44 | -469.7 | 434.14 | 1133.96 | -752.74 | 756.08 | -168.88 | -131.22 |  |  |  |  | 1429.08
| Demand Response Auction Mechanism Pilot Phase 3 | 7897.08 | 24060.25 | 22066.92 | 7401.47 | 18874.83 | 19750.17 | 9333.17 | 17785.49 |  |  |  |  | 127169.38
| Rule 24 O&M | January: 0; February: 0; March: 0; April: 0; May: 0; July: 0; August: 0 | 0
PERM LOAD_01 | Permanent Load Shifting | 3460.87 | 5671.99 | 700.27 | 1133.96 | 4044.04 | 9781.89 | 4093.19 | 6829.98 |  |  |  |  | 35716.19
| Budget Category 10 Total | 11985.39 | 29262.54 | 23201.33 | 9669.39 | 22166.13 | 30288.14 | 13257.48 | 24484.25 |  |  |  |  | 164314.65
| Total Incremental Cost | 50060.41 | 84619.13 | 126526.44 | -29157.84 | 43156.68 | 51213.61 | -5321.66 | -16505.59 |  |  |  |  | 304591.18
| Technical Assistance & Technology Incentives (TA&TI) Identified as of December 2014. | January: 0
1 Expenditures on this page reflect expenses incurred in 2019 from all prior funding cycles
2 January credit for DR Enrollment & Support is due to the reversal of an accrual and reversal of a prior month incorrect charge.

## Event Summary
Program Name | Month | Zones | Event No. (by Program Type) | Event Date | Program Type | Trigger | # of Accounts | Event Start Time (PDT) | Event End Time (PDT) | Program Tolled Hours | Load Reduction MW (Max Hourly)
Category 1: Reliability Programs
Base Interruptible Program | FEB | SubLap/Zone (1): ZP26 PGZP | 1 | 2019-02-23 | Day Of | Transmission Emergency | 119 | 19:00 | 22:00 | 3 | REDACTED
Base Interruptible Program | MAR | SubLap/Zones (14): Central Coast PGCC, East Bay PGEB, Fresno PGF1, Geysers PGFG, Humbolt PGHB, Kern PGKN, North Bay PGNB, North Coast PGNC, North of Path 15 PGNP, Peninsula PGP2, San Francisco PGSF, Sierra PGSI, South Bay PGSB, Stockton PGST | 2 | 2019-03-12 | Day Of | PG&E Test | 303 | 6:30 | 9:30 | 3 | 170.5
Optional Bidding Mandatory Curtailment (OBMC) / Scheduled Load Reduction (SLRP)
Category 2: Price-Responsive Programs
Capacity Bidding Program | JUL | Sublap/Zones (12): Central Coast PGCC, East Bay PGEB, Geysers PGFG, Kern PGKN, North Bay PGNB, North of Path 15 PGNP, Peninsula PGP2, South Bay PGSB, San Francisco PGSF, Sierra PGSI, Stockton PGST, ZP26 PGZP | 1 | 2019-07-24 | Day Ahead | PG&E Test | 531 | 18:00 | 20:00 | 2 | 13.1
Capacity Bidding Program | JUL | SubLap/Zones (2): South Bay PGSB, Peninsula PGP2 | 1 | 2019-07-24 | Day Ahead | CAISO Market Award | 60 | 18:00 | 19:00 | 1 | REDACTED
Capacity Bidding Program | JUL | SubLap/Zones (1): Fresno PGF1 | 2 | 2019-07-25 | Day Ahead | PG&E Test | 3 | 19:00 | 20:00 | 1 | REDACTED
Capacity Bidding Program | AUG | SubLap/Zones (1): South Bay PGSB | 3 | 2019-08-14 | Day Ahead | CAISO Market Award | 60 | 18:00 | 19:00 | 1 | REDACTED
Capacity Bidding Program | AUG | SubLap/Zones (1): South Bay PGSB | 3 | 2019-08-14 | Day Ahead | CAISO Market Award | 1 | 18:00 | 19:00 | 1 | REDACTED
Capacity Bidding Program | AUG | SubLap/Zones (2): San Francisco PGSF, South Bay PGSB | 4 | 2019-08-15 | Day Ahead | CAISO Market Award | 82 | 17:00 | 19:00 | 2 | REDACTED
Capacity Bidding Program | AUG | SubLap/Zones (2): San Francisco PGSF, South Bay PGSB | 4 | 2019-08-15 | Day Ahead | CAISO Market Award | 2 | 16:00 | 19:00 | 3 | REDACTED
Capacity Bidding Program | AUG | SubLap/Zones (5): Geysers PGFG, North Bay PGNB, Peninsula PGP2, South Bay PGSB, San Francisco PGSF | 5 | 2019-08-27 | Day Ahead | CAISO Market Award | 194 | 18:00 | 19:00 | 1 | 6.9
Capacity Bidding Program | AUG | SubLap/Zones (2): Peninsula PGP2, South Bay PGSB | 5 | 2019-08-27 | Day Ahead | CAISO Market Award | 2 | 18:00 | 19:00 | 1 | REDACTED
NOTE: Readers should exercise caution in interpreting or using the estimated MW values found in this report in either the Ex Post or Ex Ante columns. Ex post estimates reflect historic event(s) that have taken place during specific time periods and actual weather conditions by a mix of customers that participated on event day(s). Ex Ante forecasts account for variables not included in the Ex Post estimate such as normalized weather conditions, expected customer mix during events, expected time of day which events occur, expected days of the week which events occur, and other lesser effects etc. An Ex Ante forecast reflects forecast impact estimates that would occur between 1 pm and 6pm during a specific DR program’s operating season, based on 1-in-2 (normal) weather conditions if all DR programs were called simultaneously on the system peak day. In either case, MW estimates in this report will vary from estimates filed in the PG&E’s annual April Compliance Filing pursuant to Decision 08-04-050 and reporting documents that may be supplied to other agencies e.g. CAISO, FERC, NERC, etc. MW estimates found in the Monthly ILP Report are not used by PG&E for operational reporting, resource planning, and cost effectiveness analysis or in developing regulatory filings.

## Event Summary (b)
Program Name | Month | Zones | Event No. (by Program / Type) | Event Date | Program Type | Trigger | # of Accounts | Event Start Time (PDT) | Event End Time (PDT) | Program Tolled Hours | Load Reduction MW (Max Hourly) 2,3
Category 2: Price-Responsive Programs (continued)
Peak Day Pricing | JUN | System | 1 | 2019-06-11 | Day Ahead | Temperature | 1373 | 14:00 | 18:00 | 4 | 17.9
Peak Day Pricing | JUL | System | 2 | 2019-07-24 | Day Ahead | Temperature | 1361 | 14:00 | 18:00 | 4 | 12.6
Peak Day Pricing | JUL | System | 3 | 2019-07-26 | Day Ahead | Temperature | 1361 | 14:00 | 18:00 | 4 | 12.1
Peak Day Pricing | AUG | System | 4 | 2019-08-13 | Day Ahead | Temperature | 1287 | 14:00 | 18:00 | 4 | 12.9
Peak Day Pricing | AUG | System | 5 | 2019-08-14 | Day Ahead | Temperature | 1287 | 14:00 | 18:00 | 4 | 15.7
Peak Day Pricing | AUG | System | 6 | 2019-08-16 | Day Ahead | Temperature | 1287 | 14:00 | 18:00 | 4 | 18.1
Peak Day Pricing | AUG | System | 7 | 2019-08-26 | Day Ahead | Temperature | 1287 | 14:00 | 18:00 | 4 | 14.3
Peak Day Pricing | AUG | System | 8 | 2019-08-27 | Day Ahead | Temperature | 1287 | 14:00 | 18:00 | 4 | 7.8
SmartAC | JUL | SubLap/Zones (3): Fresno PGF1, Kern PGKN, ZP26 PGZP | 1 | 2019-07-24 | Day Ahead | CAISO Market Award | 25407 | 16:00 | 19:00 | 3 | 3.7
SmartAC | JUL | SubLap/Zones (3): Fresno PGF1, Kern PGKN, ZP26 PGZP | 2 | 2019-07-25 | Day Ahead | CAISO Market Award | 25407 | 15:00 | 18:00 | 3 | 6.2
SmartAC | JUL | System | 3 | 2019-07-27 | Day Ahead | PG&E Test | 103390 | 16:00 | 19:00 | 3 | 38.5
SmartAC | AUG | SubLap/Zones (5): East Bay PGEB, North Bay PGNB, Peninsula PGP2, South Bay PGSB, Sierra PGSI | 4 | 2019-08-14 | Day Ahead | CAISO Market Award | 40323 | 16:00 | 19:00 | 3 | 19
SmartAC | AUG | System | 5 | 2019-08-15 | Day Ahead | PG&E Test | 93774 | 16:00 | 18:30 | 2.5 | 42.1
SmartAC | AUG | SubLap/Zones (3): Fresno PGF1, Kern PGKN, ZP26 PGZP | 6 | 2019-08-16 | Day Ahead | CAISO Market Award | 25407 | 17:00 | 8:00 | 3 | 9.6
SmartAC | AUG | SubLap/Zones (7): Fresno PGF1, Kern PGKN, North Coast PGNC, North of Path 15 PGNP, Sierra PGSI, Stockton PGST, ZP26 PGZP | 7 | 2019-08-26 | Day Ahead | CAISO Market Award | 63306 | 15:00 | 18:00 | 3 | 21.3
SmartAC | AUG | SubLap/Zones (6): Fresno PGF1, Kern PGKN, North of Path 15 PGNP, Sierra PGSI, Stockton PGST, ZP26 PGZP | 8 | 2019-08-27 | Day Ahead | CAISO Market Award | 62733 | 14:00 | 17:00 | 3 | 19.5
SmartAC | AUG | SubLap/Zones (1): North Coast PGNC | 8 | 2019-08-27 | Day Ahead | CAISO Market Award | 573 | 15:00 | 17:00 | 2 | 0
SmartRate | JUN | System | 1 | 2019-06-11 | Day Ahead | Temperature | 66552 | 14:00 | 19:00 | 5 | 15.8
SmartRate | JUL | System | 2 | 2019-07-24 | Day Ahead | Temperature | 66531 | 14:00 | 19:00 | 5 | 17.3
SmartRate | JUL | System | 3 | 2019-07-26 | Day Ahead | Temperature | 66531 | 14:00 | 19:00 | 5 | 7.4
SmartRate | AUG | System | 4 | 2019-08-14 | Day Ahead | Temperature | 66501 | 14:00 | 19:00 | 5 | 15.2
SmartRate | AUG | System | 5 | 2019-08-15 | Day Ahead | Temperature | 66501 | 14:00 | 19:00 | 5 | 17.8
SmartRate | AUG | System | 6 | 2019-08-16 | Day Ahead | Temperature | 66501 | 14:00 | 19:00 | 5 | 14.2
SmartRate | AUG | System | 7 | 2019-08-26 | Day Ahead | Temperature | 66501 | 14:00 | 19:00 | 5 | 16.4
SmartRate | AUG | System | 8 | 2019-08-27 | Day Ahead | Temperature | 66501 | 14:00 | 19:00 | 5 | 13.4

## Incentives 2018-22
Annual Total Cost
Cost Item | 2018 Expenditures | January | February | March | April | May | June | July | August | September | October | November | December | Year-to-Date Total Cost | Program-to-Date Total Cost
Program Incentives
Automatic Demand Response (AutoDR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51851.98 | 60739.84 |  |  |  |  | 112591.82 | 112591.82
Base Interruptible Program (BIP) | 26647119.34 | 1773680.27 | 1375018.44 | 1718461.4 | 2116529.8 | 2222487.94 | 2253181.52 | 1068765.65 | 2830343.37 |  |  |  |  | 15358468.39 | 42005587.73
Capacity Bidding Program (CBP) 1 | 1612847.36 | 4361.22 | 0 | -883.64 | 0 | 59237.04 | 16139.72 | 423551.58 | 315584.64 |  |  |  |  | 817990.56 | 2430837.92
DRAM Phase 4 2 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |  |  |  | REDACTED | REDACTED
Excess Supply Pilot | 213682.59 | 12167.81 | 22650 | -2018.76 | 18560.14 | 27850 | 27850 | 8278.31 | -8764.12 |  |  |  |  | 106573.38 | 320255.97
SmartACTM | 265350 | 1100 | 750 | 23500 | 2550 | 2550 | 150 | 0 | 12750 |  |  |  |  | 43350 | 308700
Supply Side Pilot | 91720.34 | 15465.07 | 9600 | 3135.71 | 5079.47 | 9600 | 9600 | 8347.22 | 5816.67 |  |  |  |  | 66644.14 | 158364.48
Total Cost of Incentives | 28830719.63 | 1806774.37 | 1408018.44 | 1742194.71 | 2142719.41 | 2321724.98 | 2306921.24 | 1560794.74 | 3216470.4 |  |  |  |  | 16505618.29 | 45336337.92
Revenues from Penalties 3 | 646137.6 | 185994 | 0 | 0 | 888 | 136494 | 123090 | 0 | 45680 |  |  |  |  | 492146 | 1138283.6
1 Incentives reported are net of penalties paid by the aggregators.
2 DRAM incentives are confidential and redacted for the public version. The MWs under contract are known, and the costs are being paid under the contracts that won in the RFO.
3 Revenues from Penalties denote penalty/default payments made by aggregators and charges to direct enrolled customers enrolled in BIP programs.

## 2019 ILP Incent Carryover
Annual Total Cost
Cost Item 1 | January | February | March | April | May | June | July | August | September | October | November | December | Carry-Over Incentives incurred in 2019
Program Incentives
Automatic Demand Response (AutoDR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
Base Interruptible Program (BIP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
Capacity Bidding Program (CBP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
DRAM Phase 1 2 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |  |  |  | REDACTED
DRAM Phase 2 2 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |  |  |  | REDACTED
DRAM Phase 3 2 | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED | REDACTED |  |  |  |  | REDACTED
Excess Supply Pilot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
Permanent Load Shift | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
Supply Side Pilot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0
SmartACTM | 1550 | 19.85 | 0 | 1600 | -49.38 | 54.95 | 0 | 1.24 |  |  |  |  | 3176.66
Total Cost of Incentives | 1550 | 19.85 | 0 | 1600 | -49.38 | 54.95 | 0 | 1.24 |  |  |  |  | 3176.66
Revenues from Penalties | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 Incentives on this page reflect incentives paid in 2019 from all prior funding cycles.
2 DRAM incentives are confidential and redacted for the public version. The MWs under contract are known, and the costs are being paid under the contracts that won in the RFO.

## ME&O Actual Expenditures
PG&E's ME&O Actual Expenditures | 2018 Expenditures | 2018-22 Funding Cycle Customer Communication, Marketing, and Outreach | [11 empty] | Year-to-Date 2019 Expenditures | Total Funding Cycle expenditures to date | 2019 Authorized Budget (if Applicable) | 2018-22 Authorized Budget (if Applicable)
|  | January | February | March | April | May | June | July | August | September | October | November | December |  | Total Funding Cycle expenditures to date
I. STATEWIDE MARKETING
IOU Administrative Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Statewide ME&O contract | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I. TOTAL STATEWIDE MARKETING | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
II. UTILITY MARKETING BY ACTIVITY1
TOTAL AUTHORIZED UTILITY MARKETING BUDGET | [15 empty] | 2650000 | 13570000
PROGRAMS, RATES & ACTIVITES WHICH DO NOT REQUIRE ITEMIZED ACCOUNTING
Integrated Demand Side Marketing | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Marketing My Account/Energy and Integrated Online Audit Tools | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
Critical Peak Pricing > 200 kW | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Demand Bidding Program | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
Real Time Pricing | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Permanent Load Shifting | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
Circuit Savers | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small Commercial Technology Deployment | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Enabling Technologies (e.g., AutoDR, TI) 2 | 132684.744 | 6816 | 6512.368 | 9411.852 | 7613.6 | 11240.472 | 5168.792 | 5101.132 | 7892.052 |  |  |  |  | 59756.268 | 192441.012
PeakChoice | N/A | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Customer Awareness, Education and Outreach2 | 199027.126 | 10224.69 | 9768.552 | 14117.778 | 11420.4 | 16860.708 | 7753.188 | 7651.698 | 11838.078 |  |  |  |  | 89635.092 | 288662.218
PROGRAMS & RATES WHICH REQUIRE ITEMIZED ACCOUNTING
SmartAC | 1752947.27 | 10753.21 | 11305.54 | 27357.02 | 16640 | 90293.7 | 98332.74 | 102927.67 | 70643.33 |  |  |  |  | 428253.21 | 2181200.48
Customer Research | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
Collateral- Development, Printing, Distribution etc. (all non-labor costs)3 | 1598611.08 | 786.85 | 3599.08 | 14401.81 | 3734.06 | 63441.85 | 92699.24 | 88573.43 | 36924.47 |  |  |  |  | 304160.79 | 1902771.87
Labor | 137890.43 | 9966.36 | 7706.46 | 12955.21 | 12905.53 | 26851.85 | 5633.5 | 14354.24 | 33718.86 |  |  |  |  | 124092.01 | 261982.44
Paid Media | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
Other Costs | 16445.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 16445.76
Peak Time Rebate (RYU/SPD) |  | 2018-22 Funding Cycle Customer Communication, Marketing, and Outreach January: N/A
Customer Research
Collateral- Development, Printing, Distribution etc. (all non-labor costs)
Labor
Paid Media
Other Costs
Critical Peak Pricing < 200kW |  | 2018-22 Funding Cycle Customer Communication, Marketing, and Outreach January: N/A
Customer Research |  | 2018-22 Funding Cycle Customer Communication, Marketing, and Outreach October: Provided to Commission staff pursuant to General Order 66-D.
Collateral- Development, Printing, Distribution etc. (all non-labor costs)
Labor
Paid Media
Other Costs
II. TOTAL UTILITY MARKETING BY ACTIVITY | 2084659.14 | 27793.9 | 27586.46 | 50886.65 | 35674 | 118394.88 | 111254.72 | 115680.5 | 90373.46 | 0 | 0 | 0 | 0 | 577644.57 | 2662303.71 | 2650000 | 13570000
III. UTILITY MARKETING BY ITEMIZED COST
Customer Research | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
Collateral- Development, Printing, Distribution etc. (all non-labor costs) | 1716183.18 | 839 | 3599.08 | 14401.81 | 4626 | 63525.08 | 92671.93 | 88573.43 | 36924.47 |  |  |  |  | 305160.8 | 2021343.98
Labor4 | 339335.09 | 25600.5 | 22632.63 | 36484.84 | 29693 | 54869.8 | 18582.79 | 25752.32 | 53448.99 |  |  |  |  | 267064.87 | 606399.96
Paid Media | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
Other Costs | 29140.87 | 1354.5 | 1354.75 | 0 | 1355 | 0 | 0 | 1354.75 | 0 |  |  |  |  | 5419 | 34559.87
III. TOTAL UTILITY MARKETING BY ITEMIZED COST | 2084659.14 | 27794 | 27586.46 | 50886.65 | 35674 | 118394.88 | 111254.72 | 115680.5 | 90373.46 | 0 | 0 | 0 | 0 | 577644.67 | 2662303.81 | 2650000 | 13570000
IV. UTILITY MARKETING BY CUSTOMER SEGMENT
Agricultural4 | 49756.784 | 2556 | 2442.138 | 3529.4445 | 2855 | 4215.177 | 1938.297 | 1912.9245 | 2959.5195 |  |  |  |  | 22408.5005 | 72165.2845
Large Commercial and Industrial4 | 281955.086 | 14485 | 13838.782 | 20000.1855 | 16179 | 23886.003 | 10983.683 | 10839.9055 | 16770.6105 |  |  |  |  | 126983.1695 | 408938.2555
Small and Medium Commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
Residential | 1752947.27 | 10753 | 11305.54 | 27357.02 | 16640 | 90293.7 | 98332.74 | 102927.67 | 70643.33 |  |  |  |  | 428253 | 2181200.27
IV. TOTAL UTILITY MARKETING BY CUSTOMER SEGMENT | 2084659.14 | 27794 | 27586.46 | 50886.65 | 35674 | 118394.88 | 111254.72 | 115680.5 | 90373.46 | 0 | 0 | 0 | 0 | 577644.67 | 2662303.81 | 2650000 | 13570000
1Utility Marketing includes all activities to market individual utility programs or rates, demand response concepts, and customer tools, that were approved or directed by Decision 14-05-025, whether or not the marketing budget was approved as a line item in the Decision. For example, PG&E should not include marketing for TOU and PDP because funding was authorized in another proceeding. However, PG&E must document all amounts spent on marketing individual demand response programs even though a specific marketing budget was not approved for the program. This example applies to all of the utilities. The programs and activities listed in item II of the template are meant as examples, and may not be exhaustive. However, the utilities must include all programs or rates that meet this description. The totals for Items II, III and IV should be equal.
2Updated March and May to financial reporting to include only current finding cycle
3Updated April to financial reporting to include only current finding cycle
4Updated March to financial reporting to include only current finding cycle

## Fund Shift Log 2019
FUND SHIFTING DOCUMENTATION PER DECISION 12-04-045 ORDERING PARAGRAPH 4
OP 4: | Pacific Gas and Electric Company, San Diego Gas & Electric Company, and Southern California Edison Company:
May not shift funds between categories with two exceptions as stated in Ordering Paragraphs 4 and 5;
May continue to shift up to 50 percent of a Demand Response program's funds to another program within the same budget category, with proper monthly reporting;
Shall not shift funds within the "Pilots" or "Special Projects" categories without submitting a Tier 2 Advice Letter filing;
May shift funds for pilots in the Enabling or Emerging Technologies category;
Shall continue to submit a Tier 2 Advice Letter to eliminate a Demand Response program;
Shall not eliminate a program through multiple fund shifting events or for any other reason without prior authorization from the Commission; and
Shall submit a Tier 2 Advice Letter before shifting more than 50 percent of a program's funds to a different program within the same budget category.
Program Category | Fund Shift Amount | Programs Impacted | Date | Rationale for Fundshift
Category 1: Supply‐Side DR Programs
Category 2: Load Modifying DR Programs
Category 3: DRAM and Rule 24/32
Category 4: Emerging and Enabling Technology
Category 5: Pilots
Category 6: Marketing, Education, and Outreach (ME&O)
Category 7: Portfolio Support (includes EM&V, Systems Support, and Notifications)
Category 8: Integrated Programs and Activities
Total | 0

## DATAValid (hidden)
JUNE | Central Coast | PGCC | Central Coast PGCC
JULY | East Bay (Bay Area) | PGEB | East Bay (Bay Area) PGEB
AUGUST | Fresno | PGF1 | Fresno PGF1
SEPTEMBER | Geysers | PGFG | Geysers PGFG
OCTOBER | Humboldt | PGHB | Humboldt PGHB
NOVEMBER | Kern | PGKN | Kern PGKN
DECEMBER | North Bay | PGNB | North Bay PGNB
| North Coast | PGNC | North Coast PGNC
| North of Path 15 | PGNP | North of Path 15 PGNP
| Peninsula (Bay Area) | PGP2 | Peninsula (Bay Area) PGP2
| San Francisco (Bay Area) | PGSF | San Francisco (Bay Area) PGSF
| Sierra | PGSI | Sierra PGSI
| South Bay (Bay Area) | PGSB | South Bay (Bay Area) PGSB
| Stockton | PGST | Stockton PGST
| ZP26 | PGZP | ZP26 PGZP
SubLap/Zones (15) : Central Coast PGCC ; East Bay (Bay Area) PGEB ; Fresno PGF1 ; Geysers PGFG ; Humboldt PGHB ; Kern PGKN ; North Bay PGNB ; North Coast PGNC ; North of Path 15 PGNP ; Peninsula (Bay Area) PGP2 ; San Francisco (Bay Area) PGSF ; Sierra PGSI ; South Bay (Bay Area) PGSB ; Stockton PGST ; ZP26 PGZP
N/A