## Cover
Avoided Cost Calculator - Net CONE
2020 ACC Net CONE v1b
Prepared by:
Energy and Environmental Economics, Inc.
44 Montgomery Street, Suite 1500
San Francisco, CA 94104
Phone: 415-391-5100
2020-05-22
Cell Color Coding
Input
Calculated Input
Dropdown Menu Input
Lookup Formula
Yearly Lookup Value
Final Outputs
Values Pasted from Calculation/Macros
The Net CONE spreadsheet included the inputs from the CPUC IRP proceeding and shows the calculations of Net CONE for the battery storage resource.

## IRP Inputs
| Tax Rate |  |  | Cell Color Coding
| Federal Tax Rate | 21% |  | Input
| State Tax Rate | 8.84% |  | Calculated Input
| Effective Tax Rate | 27.98% |  | Dropdown Menu Input
Lookup Formula
| Utility-scale Li-ion Battery Cost (Standalone, No ITC) |  |  | Yearly Lookup Value
| Battery duration (hours) | 4 |  | Final Outputs
| Esacalation rate | 2% |  | Values Pasted from Calculation/Macros
| IRP Pro Forma Dollar Year | 2016
RESOLVE Years Only -->
| RESOLVE Outputs: Storage Build | Capacity Contribution | 2020 | 2021 | 2022 | 2023 | 2024 | 2026 | 2030 | 2045
| CAISO_New_Li_Battery | 100% | 3418.1 | 6047.96 | 6047.96 | 6436.01 | 7312.12 | 7485.23 | 7785.84 | 9021.79
| CAISO_New_Li_Battery_2 | 75.9% | 0 | 0 | 0 | 0 | 916.13 | 3967.55 | 5470.3 | 6333.56
| CAISO_New_Li_Battery_3 | 49.9% | 0 | 0 | 0 | 0 | 0 | 0 | 789.65 | 9483.8
| CAISO_New_Li_Battery_4 | 25.4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6221.3
| CAISO_New_Li_Battery_5 | 6.3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29773.11
| CAISO_New_Li_Battery_6 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cumulative Battery Storage Additions (MW) |  | 3418.1 | 6047.96 | 6047.96 | 6436.01 | 8228.25 | 11452.78 | 14045.79 | 60833.56
| Incremental Additions (compared to prior RESOLVE year) |  | 3418.1 | 2629.86 | 0 | 388.05 | 1792.24 | 3224.53 | 2593.01 | 46787.77
| Effective Capacity (MW) |  | 3418.1 | 6047.96 | 6047.96 | 6436.01 | 8007.4627 | 10496.6004 | 12331.833 | 22017.2944
| ELCC |  | 100% | 100% | 100% | 100% | 97.32% | 91.65% | 87.8% | 36.19%
| Energy Storage Fixed Costs ($2016) | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Capital | Capacity ($/kW) | 26.35 | 26.19 | 27.13 | 23.2 | 19.98 | 17.63 | 15.63 | 13.31 | 11.97 | 11.13 | 10.46 | 9.91 | 9.45 | 9.07 | 8.83 | 8.66 | 8.53 | 8.41 | 8.32 | 8.21 | 8.16 | 8.07 | 8.03 | 7.97 | 7.89 | 7.82 | 7.76 | 7.69 | 7.62 | 7.55 | 7.48 | 7.41 | 7.32 | 7.24 | 7.17
| Energy ($/kWh Installed) | 36.54 | 36.32 | 37.62 | 32.18 | 27.71 | 24.45 | 21.68 | 18.46 | 16.6 | 15.43 | 14.51 | 13.74 | 13.1 | 12.58 | 12.24 | 12.01 | 11.83 | 11.66 | 11.53 | 11.39 | 11.32 | 11.2 | 11.13 | 11.06 | 10.94 | 10.85 | 10.77 | 10.66 | 10.57 | 10.48 | 10.38 | 10.27 | 10.16 | 10.04 | 9.95
Fixed O&M | Capacity ($/kW) | 3.3841 | 3.3841 | 3.3841 | 3.1134 | 2.8643 | 2.6352 | 2.4244 | 2.2304 | 2.0693 | 1.936 | 1.8263 | 1.737 | 1.6656 | 1.6101 | 1.5689 | 1.541 | 1.5256 | 1.5104 | 1.4953 | 1.4803 | 1.4655 | 1.4508 | 1.4363 | 1.422 | 1.4078 | 1.3937 | 1.3797 | 1.3659 | 1.3523 | 1.3388 | 1.3254 | 1.3121 | 1.299 | 1.286 | 1.2731
| Energy ($/kWh Installed) | 4.69 | 4.69 | 4.69 | 4.32 | 3.97 | 3.66 | 3.36 | 3.09 | 2.87 | 2.69 | 2.53 | 2.41 | 2.31 | 2.23 | 2.18 | 2.14 | 2.12 | 2.09 | 2.07 | 2.05 | 2.03 | 2.01 | 1.99 | 1.97 | 1.95 | 1.93 | 1.91 | 1.89 | 1.88 | 1.86 | 1.84 | 1.82 | 1.8 | 1.78 | 1.77
Periodic Replacement and Augmentation | Capacity ($/kW) | 2.71 | 2.72 | 2.7 | 2.5 | 2.33 | 2.16 | 1.99 | 1.85 | 1.72 | 1.6 | 1.5 | 1.42 | 1.35 | 1.3 | 1.25 | 1.22 | 1.22 | 1.21 | 1.19 | 1.18 | 1.17 | 1.16 | 1.15 | 1.14 | 1.12 | 1.11 | 1.1 | 1.09 | 1.08 | 1.07 | 1.06 | 1.05 | 1.04 | 1.03 | 1.01
| Energy ($/kWh Installed) | 16.9 | 16.91 | 16.88 | 15.56 | 14.36 | 13.23 | 12.18 | 11.23 | 10.42 | 9.74 | 9.18 | 8.72 | 8.35 | 8.05 | 7.82 | 7.68 | 7.61 | 7.54 | 7.46 | 7.39 | 7.32 | 7.24 | 7.17 | 7.1 | 7.03 | 6.96 | 6.88 | 6.82 | 6.75 | 6.68 | 6.61 | 6.55 | 6.48 | 6.42 | 6.35
Total Fixed Cost | Capacity ($/kW) | 32.4442 | 32.2942 | 33.2142 | 28.8134 | 25.1743 | 22.4252 | 20.0444 | 17.3904 | 15.7593 | 14.666 | 13.7863 | 13.067 | 12.4656 | 11.9801 | 11.6489 | 11.421 | 11.2756 | 11.1304 | 11.0053 | 10.8703 | 10.7955 | 10.6808 | 10.6163 | 10.532 | 10.4178 | 10.3237 | 10.2397 | 10.1459 | 10.0523 | 9.9588 | 9.8654 | 9.7721 | 9.659 | 9.556 | 9.4531
| Energy ($/kWh Installed) | 58.13 | 57.92 | 59.19 | 52.06 | 46.04 | 41.34 | 37.22 | 32.78 | 29.89 | 27.86 | 26.22 | 24.87 | 23.76 | 22.86 | 22.24 | 21.83 | 21.56 | 21.29 | 21.06 | 20.83 | 20.67 | 20.45 | 20.29 | 20.13 | 19.92 | 19.74 | 19.56 | 19.37 | 19.2 | 19.02 | 18.83 | 18.64 | 18.44 | 18.24 | 18.07
| Capacity | 32.4442 | 32.2942 | 33.2142 | 28.8134 | 25.1743 | 22.4252 | 20.0444 | 17.3904 | 15.7593 | 14.666 | 13.7863 | 13.067 | 12.4656 | 11.9801 | 11.6489 | 11.421 | 11.2756 | 11.1304 | 11.0053 | 10.8703 | 10.7955 | 10.6808 | 10.6163 | 10.532 | 10.4178 | 10.3237 | 10.2397 | 10.1459 | 10.0523 | 9.9588 | 9.8654 | 9.7721 | 9.659 | 9.556 | 9.4531
| Energy x 4 | 232.52 | 231.68 | 236.76 | 208.24 | 184.16 | 165.36 | 148.88 | 131.12 | 119.56 | 111.44 | 104.88 | 99.48 | 95.04 | 91.44 | 88.96 | 87.32 | 86.24 | 85.16 | 84.24 | 83.32 | 82.68 | 81.8 | 81.16 | 80.52 | 79.68 | 78.96 | 78.24 | 77.48 | 76.8 | 76.08 | 75.32 | 74.56 | 73.76 | 72.96 | 72.28
| Total Levelized Fixed Costs ($2016) | 264.9641 | 263.9742 | 269.9742 | 237.0534 | 209.3343 | 187.7852 | 168.9244 | 148.5104 | 135.3193 | 126.106 | 118.6663 | 112.547 | 107.5056 | 103.4201 | 100.6089 | 98.741 | 97.5156 | 96.2904 | 95.2453 | 94.1903 | 93.4755 | 92.4808 | 91.7763 | 91.052 | 90.0978 | 89.2837 | 88.4797 | 87.6259 | 86.8523 | 86.0388 | 85.1854 | 84.3321 | 83.419 | 82.516 | 81.7331
| Total Levelized Fixed Costs Nominal | 264.9641 | 269.2536 | 280.8811 | 251.563 | 226.5902 | 207.33 | 190.2363 | 170.5918 | 158.5482 | 150.7083 | 144.6535 | 139.938 | 136.3431 | 133.7849 | 132.7513 | 132.8924 | 133.868 | 134.8298 | 136.0337 | 137.2175 | 138.8997 | 140.1701 | 141.8844 | 143.5798 | 144.9166 | 146.4793 | 148.0636 | 149.5675 | 151.2119 | 152.7915 | 154.3015 | 155.8111 | 157.2065 | 158.6149 | 160.2522
| ELCC Adjustment | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 97.32% | 94.48% | 91.65% | 90.69% | 89.72% | 88.76% | 87.8% | 84.36% | 80.92% | 77.48% | 74.04% | 70.6% | 67.16% | 63.72% | 60.27% | 56.83% | 53.39% | 49.95% | 46.51% | 43.07% | 39.63% | 36.19% | 32.75% | 29.31% | 25.87% | 22.43% | 18.99%
| ELCC Adjusted Nominal Fixed Costs | 264.9641 | 269.2536 | 280.8811 | 251.563 | 226.5902 | 207.33 | 190.2363 | 170.5918 | 162.9198 | 159.5069 | 157.8306 | 154.3077 | 151.9579 | 150.7252 | 151.202 | 157.5356 | 165.4393 | 174.0268 | 183.7396 | 194.3706 | 206.833 | 219.9949 | 235.3956 | 252.6277 | 271.4087 | 293.2289 | 318.3231 | 347.2395 | 381.5305 | 422.1613 | 471.1156 | 531.5598 | 607.6378 | 707.1099 | 843.8273

## Battery Costs
Generic Resource Cost & Performance Inputs
All costs expressed in 2016 dollars
| Year |  | Total Levelized Fixed Costs ($2016) | $/kW-Yr.
Cost Basis Year | 2016 |  | Result from Pro Forma | 209.337
Select Year | 2020 | 5 | Lookup from Input table | 209.3343
| Resource |  |  |  | Utility-scale Battery - Li [Capacity] - No ITC | Utility-scale Battery - Li [Energy] - No ITC |  | Cell Color Coding
| Category for Cost Reductions |  | Resource Category |  | Battery Storage-Standalone | Battery Storage-Standalone |  | User Input
|  |  | Technology Type |  | Lithium ion (Grid) - Capacity | Lithium ion (Grid) - Energy |  | Calculated Input
|  |  | Techno-Resource Group |  |  |  |  | Dropdown Menu Input
|  |  | Active Cost Trajectory Scenario |  | Mid | Mid |  | Lookup Value
| Performance Inputs |  |  | Units |  |  |  | Yearly Lookup Value
| Plant Output |  | Installed Capacity | MW-ac | 1 | 4 | 4 hours duration | Final Outputs
|  |  | DC - AC derate |  |  |  |  | Values hard-coded by macros
|  |  | Capacity Factor | % | 15%
|  |  | Degradation | %/yr | 0%
Plant Cost Inputs
| Capital Costs |  | Installed Cost, 2016 | $/kW-ac | 225.61 | 312.9162
|  |  | Progress Multiplier | % | 84.64% | 84.64%
|  |  | Installed Cost, 2020 | $/kW-ac | 190.9563 | 264.8523 | $/kWh Installed
| Interconnection Costs |  | Interconnection Fraction of CapEX | %
|  |  | Interconnection Cost | $/kW | 0
| Fixed O&M |  | Annual Fixed O&M, 2016 COD | $/kW-yr | 3.3841 | 4.6937 | $/kWh Installed
|  |  | Progress Multiplier | % | 84.64% | 84.64%
|  |  | Annual Fixed O&M, 2020 COD | $/kW-yr | 2.8643 | 3.9728 | $/kWh Installed
|  |  | Annual Escalation | %/yr | 2%
| Variable O&M |  | Variable O&M | $/MWh | 0
|  |  | Annual Escalation | %/yr | 2%
| Fuel Costs |  | Fuel Type
|  |  | Unit Fuel Cost | $/MMBtu
|  |  | Annual Escalation | %/yr
|  |  | Heat Rate | Btu/kWh
| Warranty & Augmentation Costs |  | Annual Warranty Extension Cost | % | 1.5%
|  |  | Initial Warranty Length | yrs | 2
|  |  | Annual Augmentation Cost | % |  | 4.2%
| Property Tax |  | Property Tax | % | 0%
| Periodic Replacement |  | Term | yrs
|  |  | Cost | %
Financing Selection
| Financing Inputs |  | Financing Lifetime | yrs | 20
|  |  | Debt Period | yrs | 18
|  |  | WACC | % | 9.129%
|  |  | Debt Cost | % | 4.727%
|  |  | Optimize Leverage (Debt Fraction)? |  | FALSE
|  |  | Debt Fraction (if fixed) | % | 20%
|  |  | Max Leverage (if optimized) | %
|  |  | PPA Escalation Rate | %/yr | 2%
|  |  | Minimum DSCR |  | 1.4
|  |  | Variable Cost Pass-Through |  | TRUE
| Manual Equity Specification |  | Equity Share | % | 80%
|  |  | Implied Equity Return | % | 10.56%
Tax Assumptions
| Toggle |  | Enable Tax Credits | - | 1
| ITC |  | Credit | % | 0
|  |  | Capital Costs Eligible | % | 0.95
| PTC |  | Unit Credit | $/MWh | 0
|  |  | Duration | yrs
| MACRS |  | Term | yrs | 7
|  |  | Include Bonus Depreciation? |  | FALSE
Calculated Levelized Costs, 2016
| Levelized Cost of Energy |  | Capital | $/MWh | 99.5576
| (by component) |  | Interconnection | $/MWh | 0
|  |  | Property Tax | $/MWh | 0
|  |  | ITC | $/MWh | 0
|  |  | Fixed O&M | $/MWh | 14.2736
|  |  | Warranty, Augmentation, Periodic Replacement | $/MWh | 45.4816
|  |  | Variable O&M | $/MWh | 0
|  |  | Fuel | $/MWh | 0
|  |  | Carbon | $/MWh | 0
|  |  | PTC | $/MWh | 0
|  |  | Total | $/MWh | 159.3128
| Levelized Fixed Cost |  | Capital | $/kW-yr | 130.8187
| (by component) |  | Interconnection | $/kW-yr | 0
|  |  | Property Tax & Insurance | $/kW-yr | 0
|  |  | ITC | $/kW-yr | 0
|  |  | Fixed O&M | $/kW-yr | 18.7555
|  |  | Warranty, Augmentation, Periodic Replacement | $/kW-yr | 59.7628
|  |  | PTC | $/kW-yr | 0
|  |  | Total | $/kW-yr | 209.337
| Project Finance Details |  | Equity Share | % | 80%
|  |  | Debt Share | % | 20%
|  |  | Equity Return | % | 10.56%
|  |  | Debt Return | % | 4.727%
|  |  | After-Tax WACC | % | 9.129%
|  |  | Levelized Cost Escalation | %/yr
|  |  | NPV Equity Return | $ | 0
|  |  | DSCR (>1.4 desired for IPP) |  | 7.4811
Yearly Lookup Tables
| Investment Tax Credit |  |  | 2016
| (%) |  |  | 2017
2018
2019
2020
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
| Production Tax Credit |  |  | 2016
| ($/MWh) |  |  | 2017
2018
2019
2020
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
Cost Reduction Trajectories
| Active Capital Cost Multipliers |  |  | 2016 | 100% | 100%
| (%) |  |  | 2017 | 100% | 100%
|  |  |  | 2018 | 100% | 100%
|  |  |  | 2019 | 92% | 92%
|  |  |  | 2020 | 84.64% | 84.64%
|  |  |  | 2021 | 77.87% | 77.87%
|  |  |  | 2022 | 71.64% | 71.64%
|  |  |  | 2023 | 65.91% | 65.91%
|  |  |  | 2024 | 61.15% | 61.15%
|  |  |  | 2025 | 57.21% | 57.21%
|  |  |  | 2026 | 53.97% | 53.97%
|  |  |  | 2027 | 51.33% | 51.33%
|  |  |  | 2028 | 49.22% | 49.22%
|  |  |  | 2029 | 47.58% | 47.58%
|  |  |  | 2030 | 46.36% | 46.36%
|  |  |  | 2031 | 45.54% | 45.54%
|  |  |  | 2032 | 45.08% | 45.08%
|  |  |  | 2033 | 44.63% | 44.63%
|  |  |  | 2034 | 44.18% | 44.18%
|  |  |  | 2035 | 43.74% | 43.74%
|  |  |  | 2036 | 43.3% | 43.3%
|  |  |  | 2037 | 42.87% | 42.87%
|  |  |  | 2038 | 42.44% | 42.44%
|  |  |  | 2039 | 42.02% | 42.02%
|  |  |  | 2040 | 41.6% | 41.6%
|  |  |  | 2041 | 41.18% | 41.18%
|  |  |  | 2042 | 40.77% | 40.77%
|  |  |  | 2043 | 40.36% | 40.36%
|  |  |  | 2044 | 39.96% | 39.96%
|  |  |  | 2045 | 39.56% | 39.56%
|  |  |  | 2046 | 39.16% | 39.16%
|  |  |  | 2047 | 38.77% | 38.77%
|  |  |  | 2048 | 38.38% | 38.38%
|  |  |  | 2049 | 38% | 38%
|  |  |  | 2050 | 37.62% | 37.62%
| Active FO&M Cost Multipliers |  |  | 2016 | 100% | 100%
| (%) |  |  | 2017 | 100% | 100%
|  |  |  | 2018 | 100% | 100%
|  |  |  | 2019 | 92% | 92%
|  |  |  | 2020 | 84.64% | 84.64%
|  |  |  | 2021 | 77.87% | 77.87%
|  |  |  | 2022 | 71.64% | 71.64%
|  |  |  | 2023 | 65.91% | 65.91%
|  |  |  | 2024 | 61.15% | 61.15%
|  |  |  | 2025 | 57.21% | 57.21%
|  |  |  | 2026 | 53.97% | 53.97%
|  |  |  | 2027 | 51.33% | 51.33%
|  |  |  | 2028 | 49.22% | 49.22%
|  |  |  | 2029 | 47.58% | 47.58%
|  |  |  | 2030 | 46.36% | 46.36%
|  |  |  | 2031 | 45.54% | 45.54%
|  |  |  | 2032 | 45.08% | 45.08%
|  |  |  | 2033 | 44.63% | 44.63%
|  |  |  | 2034 | 44.18% | 44.18%
|  |  |  | 2035 | 43.74% | 43.74%
|  |  |  | 2036 | 43.3% | 43.3%
|  |  |  | 2037 | 42.87% | 42.87%
|  |  |  | 2038 | 42.44% | 42.44%
|  |  |  | 2039 | 42.02% | 42.02%
|  |  |  | 2040 | 41.6% | 41.6%
|  |  |  | 2041 | 41.18% | 41.18%
|  |  |  | 2042 | 40.77% | 40.77%
|  |  |  | 2043 | 40.36% | 40.36%
|  |  |  | 2044 | 39.96% | 39.96%
|  |  |  | 2045 | 39.56% | 39.56%
|  |  |  | 2046 | 39.16% | 39.16%
|  |  |  | 2047 | 38.77% | 38.77%
|  |  |  | 2048 | 38.38% | 38.38%
|  |  |  | 2049 | 38% | 38%
|  |  |  | 2050 | 37.62% | 37.62%
Financing Cost Trajectories
| Active WACC Assumptions |  |  | 2016 | 10.53% | 10.53%
| (%) |  |  | 2017 | 10.46% | 10.46%
|  |  |  | 2018 | 10.89% | 10.89%
|  |  |  | 2019 | 9.906% | 9.906%
|  |  |  | 2020 | 9.129% | 9.129%
|  |  |  | 2021 | 8.65% | 8.65%
|  |  |  | 2022 | 8.221% | 8.221%
|  |  |  | 2023 | 7.374% | 7.374%
|  |  |  | 2024 | 7.037% | 7.037%
|  |  |  | 2025 | 6.969% | 6.969%
|  |  |  | 2026 | 6.93% | 6.93%
|  |  |  | 2027 | 6.883% | 6.883%
|  |  |  | 2028 | 6.831% | 6.831%
|  |  |  | 2029 | 6.77% | 6.77%
|  |  |  | 2030 | 6.767% | 6.767%
|  |  |  | 2031 | 6.756% | 6.756%
|  |  |  | 2032 | 6.71% | 6.71%
|  |  |  | 2033 | 6.667% | 6.667%
|  |  |  | 2034 | 6.66% | 6.66%
|  |  |  | 2035 | 6.64% | 6.64%
|  |  |  | 2036 | 6.677% | 6.677%
|  |  |  | 2037 | 6.672% | 6.672%
|  |  |  | 2038 | 6.717% | 6.717%
|  |  |  | 2039 | 6.753% | 6.753%
|  |  |  | 2040 | 6.743% | 6.743%
|  |  |  | 2041 | 6.758% | 6.758%
|  |  |  | 2042 | 6.786% | 6.786%
|  |  |  | 2043 | 6.788% | 6.788%
|  |  |  | 2044 | 6.805% | 6.805%
|  |  |  | 2045 | 6.813% | 6.813%
|  |  |  | 2046 | 6.816% | 6.816%
|  |  |  | 2047 | 6.82% | 6.82%
|  |  |  | 2048 | 6.806% | 6.806%
|  |  |  | 2049 | 6.792% | 6.792%
|  |  |  | 2050 | 6.796% | 6.796%
| Active Cost of Debt Assumptions |  |  | 2016 | 8% | 8%
| (%) |  |  | 2017 | 8% | 8%
|  |  |  | 2018 | 8% | 8%
|  |  |  | 2019 | 4.68% | 4.68%
|  |  |  | 2020 | 4.727% | 4.727%
|  |  |  | 2021 | 4.774% | 4.774%
|  |  |  | 2022 | 4.821% | 4.821%
|  |  |  | 2023 | 4.868% | 4.868%
|  |  |  | 2024 | 4.915% | 4.915%
|  |  |  | 2025 | 4.962% | 4.962%
|  |  |  | 2026 | 5.009% | 5.009%
|  |  |  | 2027 | 5.056% | 5.056%
|  |  |  | 2028 | 5.103% | 5.103%
|  |  |  | 2029 | 5.15% | 5.15%
|  |  |  | 2030 | 5.182% | 5.182%
|  |  |  | 2031 | 5.214% | 5.214%
|  |  |  | 2032 | 5.245% | 5.245%
|  |  |  | 2033 | 5.277% | 5.277%
|  |  |  | 2034 | 5.309% | 5.309%
|  |  |  | 2035 | 5.34% | 5.34%
|  |  |  | 2036 | 5.372% | 5.372%
|  |  |  | 2037 | 5.404% | 5.404%
|  |  |  | 2038 | 5.436% | 5.436%
|  |  |  | 2039 | 5.467% | 5.467%
|  |  |  | 2040 | 5.467% | 5.467%
|  |  |  | 2041 | 5.467% | 5.467%
|  |  |  | 2042 | 5.467% | 5.467%
|  |  |  | 2043 | 5.467% | 5.467%
|  |  |  | 2044 | 5.467% | 5.467%
|  |  |  | 2045 | 5.467% | 5.467%
|  |  |  | 2046 | 5.467% | 5.467%
|  |  |  | 2047 | 5.467% | 5.467%
|  |  |  | 2048 | 5.467% | 5.467%
|  |  |  | 2049 | 5.467% | 5.467%
|  |  |  | 2050 | 5.467% | 5.467%
| Active Debt Fraction Assumptions |  |  | 2016 | 20% | 20%
| (%) |  |  | 2017 | 20% | 20%
|  |  |  | 2018 | 20% | 20%
|  |  |  | 2019 | 20% | 20%
|  |  |  | 2020 | 20% | 20%
|  |  |  | 2021 | 20% | 20%
|  |  |  | 2022 | 25% | 25%
|  |  |  | 2023 | 30% | 30%
|  |  |  | 2024 | 35% | 35%
|  |  |  | 2025 | 40% | 40%
|  |  |  | 2026 | 45% | 45%
|  |  |  | 2027 | 50% | 50%
|  |  |  | 2028 | 55% | 55%
|  |  |  | 2029 | 60% | 60%
|  |  |  | 2030 | 65% | 65%
|  |  |  | 2031 | 65% | 65%
|  |  |  | 2032 | 65% | 65%
|  |  |  | 2033 | 65% | 65%
|  |  |  | 2034 | 65% | 65%
|  |  |  | 2035 | 65% | 65%
|  |  |  | 2036 | 65% | 65%
|  |  |  | 2037 | 65% | 65%
|  |  |  | 2038 | 65% | 65%
|  |  |  | 2039 | 65% | 65%
|  |  |  | 2040 | 65% | 65%
|  |  |  | 2041 | 65% | 65%
|  |  |  | 2042 | 65% | 65%
|  |  |  | 2043 | 65% | 65%
|  |  |  | 2044 | 65% | 65%
|  |  |  | 2045 | 65% | 65%
|  |  |  | 2046 | 65% | 65%
|  |  |  | 2047 | 65% | 65%
|  |  |  | 2048 | 65% | 65%
|  |  |  | 2049 | 65% | 65%
|  |  |  | 2050 | 65% | 65%

## Net CONE
Fixed Costs ($2016) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Capacity | 25.1743 | 22.4252 | 20.0444 | 17.3904 | 15.7593 | 14.666 | 13.7863 | 13.067 | 12.4656 | 11.9801 | 11.6489 | 11.421 | 11.2756 | 11.1304 | 11.0053 | 10.8703 | 10.7955 | 10.6808 | 10.6163 | 10.532 | 10.4178 | 10.3237 | 10.2397 | 10.1459 | 10.0523 | 9.9588 | 9.8654 | 9.7721 | 9.659 | 9.556 | 9.4531
Energy x 4 | 184.16 | 165.36 | 148.88 | 131.12 | 119.56 | 111.44 | 104.88 | 99.48 | 95.04 | 91.44 | 88.96 | 87.32 | 86.24 | 85.16 | 84.24 | 83.32 | 82.68 | 81.8 | 81.16 | 80.52 | 79.68 | 78.96 | 78.24 | 77.48 | 76.8 | 76.08 | 75.32 | 74.56 | 73.76 | 72.96 | 72.28
Total Levelized Fixed Costs ($2016) | 209.3343 | 187.7852 | 168.9244 | 148.5104 | 135.3193 | 126.106 | 118.6663 | 112.547 | 107.5056 | 103.4201 | 100.6089 | 98.741 | 97.5156 | 96.2904 | 95.2453 | 94.1903 | 93.4755 | 92.4808 | 91.7763 | 91.052 | 90.0978 | 89.2837 | 88.4797 | 87.6259 | 86.8523 | 86.0388 | 85.1854 | 84.3321 | 83.419 | 82.516 | 81.7331
Total Levelized Fixed Costs Nominal | 226.5902 | 207.33 | 190.2363 | 170.5918 | 158.5482 | 150.7083 | 144.6535 | 139.938 | 136.3431 | 133.7849 | 132.7513 | 132.8924 | 133.868 | 134.8298 | 136.0337 | 137.2175 | 138.8997 | 140.1701 | 141.8844 | 143.5798 | 144.9166 | 146.4793 | 148.0636 | 149.5675 | 151.2119 | 152.7915 | 154.3015 | 155.8111 | 157.2065 | 158.6149 | 160.2522
ELCC Adjustment | 100% | 100% | 100% | 100% | 97.32% | 94.48% | 91.65% | 90.69% | 89.72% | 88.76% | 87.8% | 84.36% | 80.92% | 77.48% | 74.04% | 70.6% | 67.16% | 63.72% | 60.27% | 56.83% | 53.39% | 49.95% | 46.51% | 43.07% | 39.63% | 36.19% | 32.75% | 29.31% | 25.87% | 22.43% | 18.99%
ELCC Adjusted Nominal Fixed Costs | 226.5902 | 207.33 | 190.2363 | 170.5918 | 162.9198 | 159.5069 | 157.8306 | 154.3077 | 151.9579 | 150.7252 | 151.202 | 157.5356 | 165.4393 | 174.0268 | 183.7396 | 194.3706 | 206.833 | 219.9949 | 235.3956 | 252.6277 | 271.4087 | 293.2289 | 318.3231 | 347.2395 | 381.5305 | 422.1613 | 471.1156 | 531.5598 | 607.6378 | 707.1099 | 843.8273
Revenues
Net Energy Revenue ($) | 26256.2604 | 25718.7093 | 26693.7696 | 28570.153 | 27683.2976 | 31458.6845 | 30370.8636 | 37477.1974 | 43905.5025 | 47110.0563 | 57263.3682 | 57873.861 | 57899.3179 | 57893.2523 | 58189.778 | 58257.6119 | 58401.3999 | 58167.6465 | 57567.8796 | 56995.948 | 55972.5186 | 55052.5603 | 54326.3318 | 52967.5441 | 50446.9073 | 48461.3055 | 46501.3461 | 45192.6563 | 42387.2543 | 38582.8235 | 39354.48
Regulation Down Revenues ($) | 9422.3186 | 10423.6113 | 12566.6145 | 13273.2025 | 19600.5116 | 17843.2472 | 18800.1028 | 20641.0038 | 22828.2056 | 23325.7757 | 24747.9065 | 28606.4429 | 33513.1209 | 38871.8216 | 44401.0956 | 50659.6141 | 57465.3808 | 65197.413 | 73942.4189 | 83438.8487 | 94828.1475 | 106961.3292 | 120122.4354 | 135208.1863 | 152715.9973 | 171889.7809 | 192526.7642 | 214864.4494 | 240718.2806 | 270329.6199 | 275736.2123
Regulation Up Reveues ($) | 6595.361 | 4335.94 | 4782.0832 | 8703.4514 | 9968.5903 | 9524.8879 | 11013.2978 | 14234.8344 | 16573.1024 | 17869.8816 | 19703.9131 | 22219.9034 | 25162.9935 | 28525.2162 | 32415.6138 | 36925.8663 | 41891.0668 | 47632.4827 | 54199.6337 | 61494.8504 | 69260.9501 | 78126.3836 | 87942.0132 | 98952.1064 | 111718.3257 | 125127.8653 | 140643.9335 | 156889.1393 | 175468.5744 | 196079.0867 | 200000.6684
Spin Revenues ($) | 4236.401 | 5228.5453 | 6199.703 | 6349.3606 | 7700.0573 | 7154.4624 | 7073.5612 | 8298.9499 | 9529.7404 | 10360.3887 | 12299.8809 | 13334.9706 | 14347.1695 | 15463.9913 | 16629.7365 | 17760.9499 | 18994.0575 | 20302.4757 | 21615.4245 | 23073.2623 | 24497.252 | 26013.0003 | 27635.7036 | 29281.0151 | 30709.7886 | 32410.3363 | 33927.1828 | 36078.7755 | 38003.1685 | 39748.194 | 40543.1579
Total Revenues ($) | 46510.341 | 45706.8059 | 50242.1703 | 56896.1675 | 64952.4568 | 65981.282 | 67257.8254 | 80651.9855 | 92836.5509 | 98666.1023 | 114015.0687 | 122035.1779 | 130922.6018 | 140754.2814 | 151636.2239 | 163604.0422 | 176751.905 | 191300.0179 | 207325.3567 | 225002.9094 | 244558.8682 | 266153.2734 | 290026.484 | 316408.8519 | 345591.0189 | 377889.288 | 413599.2266 | 453025.0205 | 496577.2778 | 544739.7241 | 555634.5186
Net Revenue ($/kW-Yr)
Net Revenue | 46.5103 | 45.7068 | 50.2422 | 56.8962 | 64.9525 | 65.9813 | 67.2578 | 80.652 | 92.8366 | 98.6661 | 114.0151 | 122.0352 | 130.9226 | 140.7543 | 151.6362 | 163.604 | 176.7519 | 191.3 | 207.3254 | 225.0029 | 244.5589 | 266.1533 | 290.0265 | 316.4089 | 345.591 | 377.8893 | 413.5992 | 453.025 | 496.5773 | 544.7397 | 555.6345
After Tax Net Revenue | 33.4951 | 32.9164 | 36.1826 | 40.9746 | 46.7764 | 47.5173 | 48.4367 | 58.0827 | 66.8575 | 71.0558 | 82.1095 | 87.8853 | 94.2857 | 101.3662 | 109.2029 | 117.8217 | 127.2904 | 137.7674 | 149.3083 | 162.039 | 176.1225 | 191.674 | 208.8666 | 227.8663 | 248.8822 | 272.1423 | 297.8593 | 326.2523 | 357.6171 | 392.3019 | 400.148
Net CONE | 193.0952 | 174.4136 | 154.0537 | 129.6172 | 116.1434 | 111.9895 | 109.394 | 96.225 | 85.1004 | 79.6694 | 69.0924 | 69.6503 | 71.1535 | 72.6606 | 74.5367 | 76.5489 | 79.5426 | 82.2275 | 86.0873 | 90.5887 | 95.2862 | 101.5549 | 109.4565 | 119.3733 | 132.6483 | 150.019 | 173.2564 | 205.3075 | 250.0208 | 314.808 | 443.6793
Annual Charge (kWh) | 1432289.5059 | 1432196.3695 | 1431838.7761 | 1431670.0032 | 1431445.4808 | 1430968.2393 | 1430753.4254 | 1430391.2721 | 1430368.9039 | 1430151.9557 | 1429941.5003 | 1429972.1543 | 1429927.566 | 1429881.4195 | 1429888.2026 | 1429801.9205 | 1429840.318 | 1429854.3746 | 1429841.9567 | 1429873.2458 | 1429889.8088 | 1429883.167 | 1429883.9084 | 1429923.6369 | 1429979.7273 | 1429982.7198 | 1429979.3009 | 1429980.0956 | 1430021.4622 | 1429973.839 | 1429973.839
Parasitic Losses (kWh) | 67743.367 | 67801.792 | 68112.814 | 68414.123 | 68782.689 | 69198.042 | 69165.267 | 69576.605 | 69796.393 | 70149.5 | 70437.103 | 70279.993 | 70285.566 | 70353.897 | 70384.599 | 70468.079 | 70518.611 | 70534.814 | 70603.959 | 70630.545 | 70679.011 | 70664.553 | 70652.366 | 70717.261 | 70741.086 | 70747.104 | 70710.617 | 70785.192 | 70772.667 | 70802.694 | 70802.694
Annual Discharge (kWh) | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000 | 1200000
Round Trip Efficiency | 83.78% | 83.79% | 83.81% | 83.82% | 83.83% | 83.86% | 83.87% | 83.89% | 83.89% | 83.91% | 83.92% | 83.92% | 83.92% | 83.92% | 83.92% | 83.93% | 83.93% | 83.92% | 83.93% | 83.92% | 83.92% | 83.92% | 83.92% | 83.92% | 83.92% | 83.92% | 83.92% | 83.92% | 83.92% | 83.92% | 83.92%
Energy Revenue/Annual Discharge ($/MWh) | 21.8802 | 21.4323 | 22.2448 | 23.8085 | 23.0694 | 26.2156 | 25.3091 | 31.231 | 36.5879 | 39.2584 | 47.7195 | 48.2282 | 48.2494 | 48.2444 | 48.4915 | 48.548 | 48.6678 | 48.473 | 47.9732 | 47.4966 | 46.6438 | 45.8771 | 45.2719 | 44.1396 | 42.0391 | 40.3844 | 38.7511 | 37.6605 | 35.3227 | 32.1524 | 32.7954
Cell Color Coding
Input Value
Calculated Input
Lookup Formula
Final Outputs

## Pro Forma
Levelized Cost Calculation - Utility-scale Battery - Li [Energy] - No ITC, IPP Financing
Pro_Forma tab from RESOLVE Resource Costs and Build
Resource Cost, Performance, & Financing
| System Cost |  |  | Income Tax Assumptions |  |  |  |  | Outputs |  | $/MWh | $/kW-yr |  |  | Periodic Replacement
| System Size (MW) | 1 |  | Income Tax - Federal |  |  | 21% |  | Capital |  | 99.5576 | 130.8187 |  |  | Replacement Frequency |  | 0
| Duration (hours) | 4 |  | Income Tax - State |  |  | 8.84% |  | Interconnection Cost |  | 0 | 0
| Capacity Costs ($/kW) | 190.9563 |  | Income Tax - Effective Tax Rate |  |  | 27.98% |  | Property Tax & Insurance |  | 0 | 0 |  |  | Contract Year |  | Repl. Cost
| Energy Costs ($/kWh Installed) | 264.8523 |  | Tax Credit - Federal PTC ($/MWh) |  |  | 0 |  | ITC |  | 0 | 0 |  |  | 0 |  | 0
| System Cost ($/kW) | 1250.3653 |  | Tax Credit - Federal PTC (Years) |  |  | 0 |  | Fixed O&M |  | 14.2736 | 18.7555 |  |  | 0 |  | 0
| Capacity Costs ($) | 190956.304 |  | Tax Credit - Federal PTC Escalator |  |  | 2% |  | Warranty |  | 11.6192 | 15.2676 |  |  | 0 |  | 0
| Energy Costs ($) | 1059409.0071 |  | Tax Credit - Federal ITC (%) |  |  | 0% |  | Augmentation |  | 33.8624 | 44.4952 |  |  | 0 |  | 0
| System Cost ($) | 1250365.3111 |  | Tax Credit - Federal ITC - % of Capital Cost Eligibile |  |  | 95% |  | Periodic Replacement |  | 0 | 0 |  |  | 0 |  | 0
| Initial debt service reserve funding ($) | 0 |  | Tax Depreciation Basis Reduction - % of ITC |  |  | 50% |  | Variable O&M |  | 0
| Total System Cost ($) | 1250365.3111 |  | MACRS Term |  |  | 7 |  | Fuel |  | 0
|  |  |  | Bonus Depreciation |  |  | FALSE |  | Carbon |  | 0
| Interconnection Cost ($/kW) | 0 |  | Bonus Depreciation Amount |  |  | 100% |  | PTC |  | 0 | 0
| Interconnection Cost ($) | 0 | [6 empty] | Total |  | 159.3128 | 209.337
Financing
| Performance Inputs |  |  | Optimize Leverage for IPP Return? |  |  | FALSE
| Capacity Factor (AC) | 15% |  | Equity Share |  |  | 80%
| Annual Output for Year 1 (kWh) | 1314 |  | % Financed w/ debt |  |  | 20%
| Degradation Factor | 0% |  | Cost of Debt |  |  | 4.727%
| System Economic Life (=PPA Term) | 20 |  | Cost of Equity |  |  | 10.56%
|  |  |  | Debt period in years |  |  | 18
| Ongoing Costs |  |  | WACC |  |  | 9.129%
| Fixed O&M Costs Capacity ($/kW-yr) | 2.8643 |  | Interest Rate on DSRF |  |  | 2.364%
| Fixed O&M Costs Energy ($/kWh Installed-yr) | 3.9728 |  | PPA Escalation Rate |  |  | 2%
| Fixed O&M Costs ($/kW-yr) | 18.7555 |  | Variable Cost Pass Through |  |  | TRUE
| Fixed O&M Costs Escalator (%/yr) | 2% |  | Equity Amount |  |  | 1000292.2488
| Variable O&M Costs ($/MWh) | 0 |  | Debt Amount |  |  | 250073.0622
| Variable O&M Costs Escalator (%/yr) | 2%
| Fuel Costs ($/MMbtu) | 0 |  | NPV Equity Return Check |  |  | 0
| Fuel Escalator (%/yr) | 0% |  | Target DSCR |  |  | 1.4
| Heat Rate (Btu/kWh) | 0 |  | Active DSCR |  |  | 7.4811
| CO2 Allowance Price ($/ton) | 0
| CO2 Allowance Price Escalation (%/yr) | 0% |  | Cell Color Coding
| CO2 Emission Rate by Fuel (lb/MMBtu) | 0 |  | Input
| Property Tax (%) | 0% |  | Calculated Input
| Insurance (%) | 0% |  | Lookup Formula
| Warranty (%) | 1.5% |  | Final Outputs
| Warranty Start Year | 2 |  | Not used
| Augmentation (%) (per kWh installed) | 4.2%
IPP Pro Forma
| Levelization of Cost by Category | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Debt costs | Capital Costs | -1000292.2488 | 32369.2835 | 67938.1891 | 43319.0702 | 25691.925 | 13097.0469 | 12916.9715 | 12800.0174 | -2999.5148 | -18771.5794 | -18946.105 | -19128.8806 | -19320.296 | -19520.7597 | -19730.6993 | -19950.5629 | -20180.8194 | -20421.9602 | -20674.4999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interconnection Cost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Property Tax & Insurance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Investment Tax Credit |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Fixed Operations & Maintenance |  | -13777.1617 | -14052.7049 | -14333.759 | -14620.4342 | -14912.8429 | -15211.0997 | -15515.3217 | -15825.6282 | -16142.1407 | -16464.9835 | -16794.2832 | -17130.1689 | -17472.7723 | -17822.2277 | -18178.6723 | -18542.2457 | -18913.0906 | -19291.3524 | -19677.1795 | -20070.7231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Warranty |  | 0 | 0 | -14333.759 | -14620.4342 | -14912.8429 | -15211.0997 | -15515.3217 | -15825.6282 | -16142.1407 | -16464.9835 | -16794.2832 | -17130.1689 | -17472.7723 | -17822.2277 | -18178.6723 | -18542.2457 | -18913.0906 | -19291.3524 | -19677.1795 | -20070.7231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Augmentation |  | -32684.7021 | -33338.3961 | -34005.1641 | -34685.2673 | -35378.9727 | -36086.5521 | -36808.2832 | -37544.4488 | -38295.3378 | -39061.2446 | -39842.4695 | -40639.3189 | -41452.1052 | -42281.1473 | -43126.7703 | -43989.3057 | -44869.0918 | -45766.4736 | -46681.8031 | -47615.4392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Periodic Replacement |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Variable Operations & Maintenance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Fuel |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Carbon Cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Production Tax Credit |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | -1000292.2488 | -14092.5802 | 20547.088 | -19353.6119 | -38234.2107 | -52107.6116 | -53591.7801 | -55038.9092 | -72195.22 | -89351.1986 | -90937.3167 | -92559.9165 | -94219.9526 | -95918.4094 | -97656.3021 | -99434.6777 | -101254.6165 | -103117.2333 | -105023.6784 | -86036.1621 | -87756.8853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Fixed Cost | -1000292.2488 | -14092.5802 | 20547.088 | -19353.6119 | -38234.2107 | -52107.6116 | -53591.7801 | -55038.9092 | -72195.22 | -89351.1986 | -90937.3167 | -92559.9165 | -94219.9526 | -95918.4094 | -97656.3021 | -99434.6777 | -101254.6165 | -103117.2333 | -105023.6784 | -86036.1621 | -87756.8853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Discount Rate | 0: 8.392%
| NPV Energy | 0: 12532.8312
| NPV Capacity | 0: 9537.9233
| Levelized All-In Costs ($/MWh) | 0: 159.3128
| Levelized Fixed Costs ($/MWh) | 0: 159.3128
| Variable Cost Pass Through |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cash Flow | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Energy Production (MWh) |  | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 1314 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capacity (MW) |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cost of Generation ($/MWh) |  | 162.499 | 165.749 | 169.064 | 172.4453 | 175.8942 | 179.412 | 183.0003 | 186.6603 | 190.3935 | 194.2014 | 198.0854 | 202.0471 | 206.088 | 210.2098 | 214.414 | 218.7023 | 223.0763 | 227.5379 | 232.0886 | 236.7304 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Operating Revenue |  | 213523.7058 | 217794.1799 | 222150.0635 | 226593.0647 | 231124.926 | 235747.4246 | 240462.3731 | 245271.6205 | 250177.0529 | 255180.594 | 260284.2059 | 265489.89 | 270799.6878 | 276215.6815 | 281739.9952 | 287374.7951 | 293122.291 | 298984.7368 | 304964.4315 | 311063.7202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Revenue |  | 213523.7058 | 217794.1799 | 222150.0635 | 226593.0647 | 231124.926 | 235747.4246 | 240462.3731 | 245271.6205 | 250177.0529 | 255180.594 | 260284.2059 | 265489.89 | 270799.6878 | 276215.6815 | 281739.9952 | 287374.7951 | 293122.291 | 298984.7368 | 304964.4315 | 311063.7202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Fixed O&M Costs |  | -19130.5893 | -19513.201 | -19903.4651 | -20301.5344 | -20707.5651 | -21121.7164 | -21544.1507 | -21975.0337 | -22414.5344 | -22862.8251 | -23320.0816 | -23786.4832 | -24262.2129 | -24747.4571 | -25242.4063 | -25747.2544 | -26262.1995 | -26787.4435 | -27323.1923 | -27869.6562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Warranty |  | 0 | 0 | -19903.4651 | -20301.5344 | -20707.5651 | -21121.7164 | -21544.1507 | -21975.0337 | -22414.5344 | -22862.8251 | -23320.0816 | -23786.4832 | -24262.2129 | -24747.4571 | -25242.4063 | -25747.2544 | -26262.1995 | -26787.4435 | -27323.1923 | -27869.6562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Augmentation |  | -45385.0819 | -46292.7835 | -47218.6392 | -48163.012 | -49126.2722 | -50108.7976 | -51110.9736 | -52133.1931 | -53175.8569 | -54239.3741 | -55324.1615 | -56430.6448 | -57559.2577 | -58710.4428 | -59884.6517 | -61082.3447 | -62303.9916 | -63550.0714 | -64821.0729 | -66117.4943 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Periodic Replacement |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Variable O&M Cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Fuel Costs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CO2 Abatement Costs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Property Tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Insurance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Costs |  | -64515.6711 | -65805.9845 | -87025.5693 | -88766.0807 | -90541.4023 | -92352.2303 | -94199.275 | -96083.2605 | -98004.9257 | -99965.0242 | -101964.3247 | -104003.6112 | -106083.6834 | -108205.357 | -110369.4642 | -112576.8535 | -114828.3905 | -117124.9583 | -119467.4575 | -121856.8067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Operating Profit |  | 149008.0346 | 151988.1953 | 135124.4942 | 137826.9841 | 140583.5237 | 143395.1942 | 146263.0981 | 149188.3601 | 152172.1273 | 155215.5698 | 158319.8812 | 161486.2788 | 164716.0044 | 168010.3245 | 171370.531 | 174797.9416 | 178293.9004 | 181859.7784 | 185496.974 | 189206.9135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest Expense |  | -11821.0198 | -11390.0116 | -10938.6294 | -10465.9103 | -9970.8457 | -9452.3792 | -8909.4047 | -8340.7636 | -7745.2428 | -7121.5714 | -6468.419 | -5784.3919 | -5068.0307 | -4317.8068 | -3532.1197 | -2709.293 | -1847.571 | -945.1151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Loan Repayment Expense (Principal) |  | -9117.9573 | -9548.9656 | -10000.3477 | -10473.0668 | -10968.1314 | -11486.5979 | -12029.5724 | -12598.2135 | -13193.7344 | -13817.4057 | -14470.5581 | -15154.5852 | -15870.9464 | -16621.1703 | -17406.8574 | -18229.6842 | -19091.4062 | -19993.862 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Debt Service Reserve |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest earned on DSRF |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Net Finance Costs |  | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | -20938.9771 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| State tax refund/(paid) |  | 3667.7326 | 14640.4792 | 8354.0677 | 2546.7645 | -1675.6269 | -1981.0643 | -2271.5327 | -7521.1872 | -12767.3366 | -13091.5095 | -13423.6693 | -13764.0468 | -14112.8809 | -14470.4186 | -14836.9156 | -15212.6365 | -15597.8555 | -15992.8562 | -16397.9325 | -16725.8912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Federal tax refund (paid) |  | 7942.7157 | 31704.9183 | 18091.2817 | 5515.1857 | -3628.6801 | -4290.1246 | -4919.1531 | -16287.6244 | -27648.5051 | -28350.5227 | -29069.8365 | -29806.9464 | -30562.3695 | -31336.6408 | -32130.3141 | -32943.9625 | -33778.1795 | -34633.5795 | -35510.7987 | -36221.0147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tax Credit - Federal PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tax Credit - Federal ITC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Taxes Refunded/(Paid) |  | 11610.4483 | 46345.3976 | 26445.3494 | 8061.9503 | -5304.307 | -6271.1889 | -7190.6858 | -23808.8117 | -40415.8417 | -41442.0321 | -42493.5058 | -43570.9932 | -44675.2504 | -45807.0594 | -46967.2297 | -48156.5991 | -49376.0351 | -50626.4357 | -51908.7312 | -52946.9058 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Equity Investment | 0: -1000292.2488
| After-Tax Equity Cash Flow | -1000292.2488 | 139679.5058 | 177394.6158 | 140630.8664 | 124949.9572 | 114340.2396 | 116185.0282 | 118133.4352 | 104440.5713 | 90817.3085 | 92834.5606 | 94887.3983 | 96976.3085 | 99101.7769 | 101264.288 | 103464.3242 | 105702.3654 | 107978.8883 | 110294.3656 | 133588.2428 | 136260.0077 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Equity Cash Flow per kW | -1000.2922 | 139.6795 | 177.3946 | 140.6309 | 124.95 | 114.3402 | 116.185 | 118.1334 | 104.4406 | 90.8173 | 92.8346 | 94.8874 | 96.9763 | 99.1018 | 101.2643 | 103.4643 | 105.7024 | 107.9789 | 110.2944 | 133.5882 | 136.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10.56%
| Taxes | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
State Taxes
| Taxable operating income |  | 149008.0346 | 151988.1953 | 135124.4942 | 137826.9841 | 140583.5237 | 143395.1942 | 146263.0981 | 149188.3601 | 152172.1273 | 155215.5698 | 158319.8812 | 161486.2788 | 164716.0044 | 168010.3245 | 171370.531 | 174797.9416 | 178293.9004 | 181859.7784 | 185496.974 | 189206.9135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Depreciation schedule (assumes LLP entity) |  | 14.29% | 24.49% | 17.49% | 12.49% | 8.93% | 8.92% | 8.93% | 4.46% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Depreciation Basis | 10.56% 0: 1250365.3111
| Depreciation |  | 178677.203 | 306214.4647 | 218688.8929 | 156170.6274 | 111657.6223 | 111532.5857 | 111657.6223 | 55766.2929 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest |  | -11821.0198 | -11390.0116 | -10938.6294 | -10465.9103 | -9970.8457 | -9452.3792 | -8909.4047 | -8340.7636 | -7745.2428 | -7121.5714 | -6468.419 | -5784.3919 | -5068.0307 | -4317.8068 | -3532.1197 | -2709.293 | -1847.571 | -945.1151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Taxable income |  | -41490.1881 | -165616.2809 | -94503.0282 | -28809.5536 | 18955.0558 | 22410.2292 | 25696.0711 | 85081.3035 | 144426.8845 | 148093.9984 | 151851.4622 | 155701.8869 | 159647.9737 | 163692.5177 | 167838.4113 | 172088.6486 | 176446.3295 | 180914.6633 | 185496.974 | 189206.9135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tax refund/(paid) | 8.84% | 3667.7326 | 14640.4792 | 8354.0677 | 2546.7645 | -1675.6269 | -1981.0643 | -2271.5327 | -7521.1872 | -12767.3366 | -13091.5095 | -13423.6693 | -13764.0468 | -14112.8809 | -14470.4186 | -14836.9156 | -15212.6365 | -15597.8555 | -15992.8562 | -16397.9325 | -16725.8912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal Taxes
| Taxable operating income |  | 149008.0346 | 151988.1953 | 135124.4942 | 137826.9841 | 140583.5237 | 143395.1942 | 146263.0981 | 149188.3601 | 152172.1273 | 155215.5698 | 158319.8812 | 161486.2788 | 164716.0044 | 168010.3245 | 171370.531 | 174797.9416 | 178293.9004 | 181859.7784 | 185496.974 | 189206.9135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Depreciation schedule |  | 14.29% | 24.49% | 17.49% | 12.49% | 8.93% | 8.92% | 8.93% | 4.46% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Depreciation basis | 10.56% 0: 1250365.3111
| Depreciation |  | 178677.203 | 306214.4647 | 218688.8929 | 156170.6274 | 111657.6223 | 111532.5857 | 111657.6223 | 55766.2929 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest |  | -11821.0198 | -11390.0116 | -10938.6294 | -10465.9103 | -9970.8457 | -9452.3792 | -8909.4047 | -8340.7636 | -7745.2428 | -7121.5714 | -6468.419 | -5784.3919 | -5068.0307 | -4317.8068 | -3532.1197 | -2709.293 | -1847.571 | -945.1151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| State taxes rebate/(paid) |  | 3667.7326 | 14640.4792 | 8354.0677 | 2546.7645 | -1675.6269 | -1981.0643 | -2271.5327 | -7521.1872 | -12767.3366 | -13091.5095 | -13423.6693 | -13764.0468 | -14112.8809 | -14470.4186 | -14836.9156 | -15212.6365 | -15597.8555 | -15992.8562 | -16397.9325 | -16725.8912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Taxable income |  | -37822.4555 | -150975.8017 | -86148.9605 | -26262.7891 | 17279.4288 | 20429.165 | 23424.5384 | 77560.1163 | 131659.5479 | 135002.4889 | 138427.7929 | 141937.8401 | 145535.0929 | 149222.0991 | 153001.4957 | 156876.0121 | 160848.4739 | 164921.8071 | 169099.0415 | 172481.0223 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tax refund/(paid) | 21% | 7942.7157 | 31704.9183 | 18091.2817 | 5515.1857 | -3628.6801 | -4290.1246 | -4919.1531 | -16287.6244 | -27648.5051 | -28350.5227 | -29069.8365 | -29806.9464 | -30562.3695 | -31336.6408 | -32130.3141 | -32943.9625 | -33778.1795 | -34633.5795 | -35510.7987 | -36221.0147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Production tax credit |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Investment tax credit | 10.56% 1: 0
| Total tax refund/(paid) |  | 11610.4483 | 46345.3976 | 26445.3494 | 8061.9503 | -5304.307 | -6271.1889 | -7190.6858 | -23808.8117 | -40415.8417 | -41442.0321 | -42493.5058 | -43570.9932 | -44675.2504 | -45807.0594 | -46967.2297 | -48156.5991 | -49376.0351 | -50626.4357 | -51908.7312 | -52946.9058 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Debt Schedule | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Debt Term Flag |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Beginning Balance |  | 250073.0622 | 240955.1049 | 231406.1393 | 221405.7917 | 210932.7249 | 199964.5935 | 188477.9956 | 176448.4232 | 163850.2097 | 150656.4754 | 136839.0697 | 122368.5116 | 107213.9264 | 91342.98 | 74721.8097 | 57314.9523 | 39085.2681 | 19993.862 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11
| Debt Service |  | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 20938.9771 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest |  | 11821.0198 | 11390.0116 | 10938.6294 | 10465.9103 | 9970.8457 | 9452.3792 | 8909.4047 | 8340.7636 | 7745.2428 | 7121.5714 | 6468.419 | 5784.3919 | 5068.0307 | 4317.8068 | 3532.1197 | 2709.293 | 1847.571 | 945.1151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Principal |  | 9117.9573 | 9548.9656 | 10000.3477 | 10473.0668 | 10968.1314 | 11486.5979 | 12029.5724 | 12598.2135 | 13193.7344 | 13817.4057 | 14470.5581 | 15154.5852 | 15870.9464 | 16621.1703 | 17406.8574 | 18229.6842 | 19091.4062 | 19993.862 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Ending Balance | 250073.0622 | 240955.1049 | 231406.1393 | 221405.7917 | 210932.7249 | 199964.5935 | 188477.9956 | 176448.4232 | 163850.2097 | 150656.4754 | 136839.0697 | 122368.5116 | 107213.9264 | 91342.98 | 74721.8097 | 57314.9523 | 39085.2681 | 19993.862 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11 | -7.276e-11
| DSCR | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Cash Flow Available for Debt Service (CFADS) |  | 149008.0346 | 151988.1953 | 135124.4942 | 137826.9841 | 140583.5237 | 143395.1942 | 146263.0981 | 149188.3601 | 152172.1273 | 155215.5698 | 158319.8812 | 161486.2788 | 164716.0044 | 168010.3245 | 171370.531 | 174797.9416 | 178293.9004 | 181859.7784 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Debt Service Coverage Ratio (DSCR) |  | 7.1163 | 7.2586 | 6.4533 | 6.5823 | 6.714 | 6.8482 | 6.9852 | 7.1249 | 7.2674 | 7.4128 | 7.561 | 7.7122 | 7.8665 | 8.0238 | 8.1843 | 8.348 | 8.5149 | 8.6852 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Average of DSCRs | 0: 7.4811
| Minimum DSCR | 0: 7.4811
| Target DSCR | 0: 1.4
| Debt Service Fund | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
| Beginning Balance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Initial Funding | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Withdrawal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Ending Balance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest Rate | 1.4 0: 2.364%
| Earned Interest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Check: CFADS yields sufficient coverage | bar: 1.4 0
| Sum of Debt Service | 1.4 0: 376901.5881
| Target DSCR | 1.4 0: 1.4
| Total CFADS required | 1.4 0: 527662.2233
| CFADS over debt term | 1.4 0: 2819620.2219
| Net | 1.4 0: 2291957.9985
MACRS Schedules
| MACRS Schedules | Term | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
0
|  | 3 | 1: 33.33%; 2: 44.45%; 3: 14.81%; 4: 7.41%
|  | 5 | 1: 20%; 2: 32%; 3: 19.2%; 4: 11.52%; 5: 11.52%; 6: 5.76%
|  | 7 | 1: 14.29%; 2: 24.49%; 3: 17.49%; 4: 12.49%; 5: 8.93%; 6: 8.92%; 7: 8.93%; 8: 4.46%
|  | 10 | 1: 10%; 2: 18%; 3: 14.4%; 4: 11.52%; 5: 9.22%; 6: 7.37%; 7: 6.55%; 8: 6.55%; 9: 6.56%; 10: 6.55%; 11: 3.28%
|  | 15 | 1: 5%; 2: 9.5%; 3: 8.55%; 4: 7.7%; 5: 6.93%; 6: 6.23%; 7: 5.9%; 8: 5.9%; 9: 5.91%; 10: 5.9%; 11: 5.91%; 12: 5.9%; 13: 5.91%; 14: 5.9%; 15: 5.91%; 16: 2.95%
|  | 20 | 1: 3.75%; 2: 7.219%; 3: 6.677%; 4: 6.177%; 5: 5.713%; 6: 5.285%; 7: 4.888%; 8: 4.522%; 9: 4.462%; 10: 4.461%; 11: 4.462%; 12: 4.461%; 13: 4.462%; 14: 4.461%; 15: 4.462%; 16: 4.461%; 17: 4.462%; 18: 4.461%; 19: 4.462%; 20: 4.461%; 21: 2.231%
|  | Active | 14.29% | 24.49% | 17.49% | 12.49% | 8.93% | 8.92% | 8.93% | 4.46% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Periodic O&M | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest Rate | 2%
| Beginning Balance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest Earned |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Contributions |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Expenses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Ending Balance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## References
First Value | Units | Page/Cell | Notes | Name | Header | Section/Sheet | Document Name | Date Accessed | Date Published | Organization | Proceeding | File Name | Proceeding Link | Document Link | Document Parent Site
|  | S14 |  | Utility-scale Battery - Li [Capacity] - No ITC | Generation Resource Cost and Performance Inputs | Resourc_Characteristics | RESOLVE Resource Costs and Build | 2020-04-27 | 2020-02-07 | CPUC | IRP | RESOLVE Resource Costs and Build_2020-02-07.xlsb | https://www.cpuc.ca.gov/General.aspx?id=6442459770 | ftp://ftp.cpuc.ca.gov/energy/modeling/RESOLVE_20200323_public.zip | https://www.cpuc.ca.gov/General.aspx?id=6442464143
|  | T14 |  | Utility-scale Battery - Li [Energy] - No ITC
0.21 | % | K5 |  | Federal | Tax Rates
0.0884 | % | K6 |  | State
0.27984 | % | K7 |  | Combined
|  |  | Pro Forma used here is copy from IRP |  |  | Pro_Forma
26.35 | $/kW-Yr | D19 |  | Utility-scale Battery - Li [Capacity] - No ITC | Capital ($/kW-Yr) | Output_Table
36.54 | $/kW-Yr | D20 |  | Utility-scale Battery - Li [Energy] - No ITC
0.89 | $/kW-Yr | D123 |  | Utility-scale Battery - Li [Capacity] - No ITC | Fixed O&M
4.69 | $/kW-Yr | D124 |  | Utility-scale Battery - Li [Energy] - No ITC
2.71 | $/kW-Yr | D149 |  | Utility-scale Battery - Li [Capacity] - No ITC | Periodic Replacement and Augmentation
16.9 | $/kW-Yr | D150 |  | Utility-scale Battery - Li [Energy] - No ITC
29.95 | $/kW-Yr | D308 |  | Utility-scale Battery - Li [Capacity] - No ITC | Total Fixed Cost
58.13 | $/kW-Yr | D309 |  | Utility-scale Battery - Li [Energy] - No ITC

## Change Log
| Date | Tab | First Cell
Version v1b | 2020-05-20 | Cover |  | Added Cover tab to be consistent with Electric model
Version v1c | 2020-06-23 | Net CONE | D20:AH24; D31:AH31 | Update outputs from ReSTORE using updated AS prices
|  |  | D25:AH25 | Fix the formula in the cell. Originally it was a fixed value, not a sum of the four components above