## SRAC
Calculation
Pn = {Po + Po * [(GPn - GPo) / GPo] * Factor} * TOU
Variables
Winter Po | 0.023973 | $/kwh
Summer Po | 0.018748 | $/kwh
Winter GPo | 1.6394 | $/dth
Summer GPo | 1.4457 | $/dth
Winter Factor | 0.7875
Summer Factor | 0.627
Winter Peak | NA
Winter Partial-Peak | 1.032
Winter Super Off-Peak | 0.95
Summer Peak | 1.065
Summer Partial Peak | 1.022
Summer Super Off-Peak | 0.946
SRAC Calculations
[7 empty] | TOU Factor |  |  | SRAC
Date | Season | Po | GPn | GPo | (GPn - GPo) / GPo | Factor | Peak | Partial Peak | Super Off-Peak | Peak | Partial Peak | Super Off-Peak
October 14-31, 1996 | Summer | 0.018748 | 1.54 | 1.4457 | 0.065228 | 0.627 | 1.065 | 1.022 | 0.946 | 0.020783 | 0.019944 | 0.018461
November 1-10, 1996 | Winter | 0.023973 | 1.54 | 1.6394 | -0.060632 | 0.7875 | NA | 1.032 | 0.95 |  | 0.023559 | 0.021687
November 11 - December 8, 1996 | Winter | 0.023973 | 2.4833 | 1.6394 | 0.51478 | 0.7875 | NA | 1.032 | 0.95 |  | 0.03477 | 0.032007
December 9, 1996 - January 12, 1997 | Winter | 0.023973 | 3.6433 | 1.6394 | 1.2224 | 0.7875 | NA | 1.032 | 0.95 |  | 0.048555 | 0.044697
January 13 - February 9, 1997 | Winter | 0.023973 | 4.1883 | 1.6394 | 1.5548 | 0.7875 | NA | 1.032 | 0.95 |  | 0.055032 | 0.050659
February 10 - March 9, 1997 | Winter | 0.023973 | 2.5733 | 1.6394 | 0.56968 | 0.7875 | NA | 1.032 | 0.95 |  | 0.035839 | 0.032991
March 10 - April 13, 1997 | Winter | 0.023973 | 1.47 | 1.6394 | -0.10333 | 0.7875 | NA | 1.032 | 0.95 |  | 0.022727 | 0.020921
April 14-30, 1997 | Winter | 0.023973 | 1.6017 | 1.6394 | -0.023017 | 0.7875 | NA | 1.032 | 0.95 |  | 0.024292 | 0.022362
May 1-11, 1997 | Summer | 0.018748 | 1.6017 | 1.4457 | 0.10788 | 0.627 | 1.065 | 1.022 | 0.946 | 0.021317 | 0.020457 | 0.018935
May 12 - June 8, 1997 | Summer | 0.018748 | 1.895 | 1.4457 | 0.31078 | 0.627 | 1.065 | 1.022 | 0.946 | 0.023857 | 0.022894 | 0.021192
June 9-30, 1997 | Summer | 0.018748 | 1.9633 | 1.4457 | 0.35805 | 0.627 | 1.065 | 1.022 | 0.946 | 0.024449 | 0.023462 | 0.021717
July 1-31, 1997 | Summer | 0.018748 | 1.875 | 1.4457 | 0.29695 | 0.627 | 1.065 | 1.022 | 0.946 | 0.023684 | 0.022728 | 0.021038
August 1-31, 1997 | Summer | 0.018748 | 1.8717 | 1.4457 | 0.29464 | 0.627 | 1.065 | 1.022 | 0.946 | 0.023655 | 0.0227 | 0.021012
September 1-30, 1997 | Summer | 0.018748 | 2.105 | 1.4457 | 0.45604 | 0.627 | 1.065 | 1.022 | 0.946 | 0.025676 | 0.024639 | 0.022807
October 1-31, 1997 | Summer | 0.018748 | 2.6767 | 1.4457 | 0.85147 | 0.627 | 1.065 | 1.022 | 0.946 | 0.030626 | 0.02939 | 0.027204
The SRAC Calculator
Enter the Season (Summer or Winter) and the current gas price (GPn). SRAC is calculated at far right and displayed below.
[7 empty] | TOU Factor |  |  | SRAC
| Season | Po | GPn | GPo | (GPn - GPo) / GPo | Factor | Peak | Partial Peak | Super Off-Peak | Peak | Partial Peak | Super Off-Peak
Test Date | Summer | 0.018748 | 1.5 | 1.4457 | 0.03756 | 0.627 | 1.065 | 1.022 | 0.946 | 0.020437 | 0.019612 | 0.018153
Peak SRAC | 0.020437 | $/kwh
Partial Peak SRAC | 0.019612 | $/kwh
Super Off-Peak SRAC | 0.018153 | $/kwh
Increments
[7 empty] | TOU Factor |  |  | SRAC |  |  | Gas
Date | Season | Po | GPn | GPo | (GPn - GPo) / GPo | Factor | Peak | Partial Peak | Super Off-Peak | Peak | Partial Peak | Super Off-Peak | Price
Test Date | Summer | 0.018748 | 1 | 1.4457 | -0.30829 | 0.627 | 1.065 | 1.022 | 0.946 | 0.016107 | 0.015457 | 0.014307 | 1
Test Date | Summer | 0.018748 | 1.1 | 1.4457 | -0.23912 | 0.627 | 1.065 | 1.022 | 0.946 | 0.016973 | 0.016288 | 0.015077 | 1.1
Test Date | Summer | 0.018748 | 1.2 | 1.4457 | -0.16995 | 0.627 | 1.065 | 1.022 | 0.946 | 0.017839 | 0.017119 | 0.015846 | 1.2
Test Date | Summer | 0.018748 | 1.3 | 1.4457 | -0.10078 | 0.627 | 1.065 | 1.022 | 0.946 | 0.018705 | 0.01795 | 0.016615 | 1.3
Test Date | Summer | 0.018748 | 1.4 | 1.4457 | -0.031611 | 0.627 | 1.065 | 1.022 | 0.946 | 0.019571 | 0.018781 | 0.017384 | 1.4
Test Date | Summer | 0.018748 | 1.5 | 1.4457 | 0.03756 | 0.627 | 1.065 | 1.022 | 0.946 | 0.020437 | 0.019612 | 0.018153 | 1.5
Test Date | Summer | 0.018748 | 1.6 | 1.4457 | 0.10673 | 0.627 | 1.065 | 1.022 | 0.946 | 0.021303 | 0.020443 | 0.018922 | 1.6
Test Date | Summer | 0.018748 | 1.7 | 1.4457 | 0.1759 | 0.627 | 1.065 | 1.022 | 0.946 | 0.022169 | 0.021274 | 0.019692 | 1.7
Test Date | Summer | 0.018748 | 1.8 | 1.4457 | 0.24507 | 0.627 | 1.065 | 1.022 | 0.946 | 0.023035 | 0.022105 | 0.020461 | 1.8
Test Date | Summer | 0.018748 | 1.9 | 1.4457 | 0.31424 | 0.627 | 1.065 | 1.022 | 0.946 | 0.023901 | 0.022936 | 0.02123 | 1.9
Test Date | Summer | 0.018748 | 2 | 1.4457 | 0.38341 | 0.627 | 1.065 | 1.022 | 0.946 | 0.024767 | 0.023767 | 0.021999 | 2
Test Date | Summer | 0.018748 | 2.1 | 1.4457 | 0.45258 | 0.627 | 1.065 | 1.022 | 0.946 | 0.025633 | 0.024598 | 0.022768 | 2.1
Test Date | Summer | 0.018748 | 2.2 | 1.4457 | 0.52175 | 0.627 | 1.065 | 1.022 | 0.946 | 0.026498 | 0.025429 | 0.023538 | 2.2
Test Date | Summer | 0.018748 | 2.3 | 1.4457 | 0.59092 | 0.627 | 1.065 | 1.022 | 0.946 | 0.027364 | 0.02626 | 0.024307 | 2.3
Test Date | Summer | 0.018748 | 2.4 | 1.4457 | 0.6601 | 0.627 | 1.065 | 1.022 | 0.946 | 0.02823 | 0.027091 | 0.025076 | 2.4
Test Date | Summer | 0.018748 | 2.5 | 1.4457 | 0.72927 | 0.627 | 1.065 | 1.022 | 0.946 | 0.029096 | 0.027922 | 0.025845 | 2.5
Test Date | Summer | 0.018748 | 2.6 | 1.4457 | 0.79844 | 0.627 | 1.065 | 1.022 | 0.946 | 0.029962 | 0.028753 | 0.026614 | 2.6
Test Date | Summer | 0.018748 | 2.7 | 1.4457 | 0.86761 | 0.627 | 1.065 | 1.022 | 0.946 | 0.030828 | 0.029584 | 0.027384 | 2.7
Test Date | Summer | 0.018748 | 2.8 | 1.4457 | 0.93678 | 0.627 | 1.065 | 1.022 | 0.946 | 0.031694 | 0.030415 | 0.028153 | 2.8
Test Date | Summer | 0.018748 | 2.9 | 1.4457 | 1.0059 | 0.627 | 1.065 | 1.022 | 0.946 | 0.03256 | 0.031246 | 0.028922 | 2.9
Test Date | Summer | 0.018748 | 3 | 1.4457 | 1.0751 | 0.627 | 1.065 | 1.022 | 0.946 | 0.033426 | 0.032077 | 0.029691 | 3
Test Date | Summer | 0.018748 | 3.1 | 1.4457 | 1.1443 | 0.627 | 1.065 | 1.022 | 0.946 | 0.034292 | 0.032908 | 0.03046 | 3.1
Test Date | Summer | 0.018748 | 3.2 | 1.4457 | 1.2135 | 0.627 | 1.065 | 1.022 | 0.946 | 0.035158 | 0.033738 | 0.03123 | 3.2
Test Date | Summer | 0.018748 | 3.3 | 1.4457 | 1.2826 | 0.627 | 1.065 | 1.022 | 0.946 | 0.036024 | 0.034569 | 0.031999 | 3.3
Test Date | Summer | 0.018748 | 3.4 | 1.4457 | 1.3518 | 0.627 | 1.065 | 1.022 | 0.946 | 0.03689 | 0.0354 | 0.032768 | 3.4
Test Date | Summer | 0.018748 | 3.5 | 1.4457 | 1.421 | 0.627 | 1.065 | 1.022 | 0.946 | 0.037756 | 0.036231 | 0.033537 | 3.5
Test Date | Summer | 0.018748 | 3.6 | 1.4457 | 1.4901 | 0.627 | 1.065 | 1.022 | 0.946 | 0.038622 | 0.037062 | 0.034306 | 3.6
Test Date | Summer | 0.018748 | 3.7 | 1.4457 | 1.5593 | 0.627 | 1.065 | 1.022 | 0.946 | 0.039488 | 0.037893 | 0.035076 | 3.7
Test Date | Summer | 0.018748 | 3.8 | 1.4457 | 1.6285 | 0.627 | 1.065 | 1.022 | 0.946 | 0.040354 | 0.038724 | 0.035845 | 3.8
Test Date | Summer | 0.018748 | 3.9 | 1.4457 | 1.6977 | 0.627 | 1.065 | 1.022 | 0.946 | 0.04122 | 0.039555 | 0.036614 | 3.9
Test Date | Summer | 0.018748 | 4 | 1.4457 | 1.7668 | 0.627 | 1.065 | 1.022 | 0.946 | 0.042086 | 0.040386 | 0.037383 | 4
Test Date | Winter | 0.023973 | 1 | 1.6394 | -0.39002 | 0.7875 | NA | 1.032 | 0.95 |  | 0.017141 | 0.015779 | 1
Test Date | Winter | 0.023973 | 1.1 | 1.6394 | -0.32902 | 0.7875 | NA | 1.032 | 0.95 |  | 0.01833 | 0.016873 | 1.1
Test Date | Winter | 0.023973 | 1.2 | 1.6394 | -0.26802 | 0.7875 | NA | 1.032 | 0.95 |  | 0.019518 | 0.017967 | 1.2
Test Date | Winter | 0.023973 | 1.3 | 1.6394 | -0.20703 | 0.7875 | NA | 1.032 | 0.95 |  | 0.020707 | 0.019061 | 1.3
Test Date | Winter | 0.023973 | 1.4 | 1.6394 | -0.14603 | 0.7875 | NA | 1.032 | 0.95 |  | 0.021895 | 0.020155 | 1.4
Test Date | Winter | 0.023973 | 1.5 | 1.6394 | -0.085031 | 0.7875 | NA | 1.032 | 0.95 |  | 0.023083 | 0.021249 | 1.5
Test Date | Winter | 0.023973 | 1.6 | 1.6394 | -0.024033 | 0.7875 | NA | 1.032 | 0.95 |  | 0.024272 | 0.022343 | 1.6
Test Date | Winter | 0.023973 | 1.7 | 1.6394 | 0.036965 | 0.7875 | NA | 1.032 | 0.95 |  | 0.02546 | 0.023437 | 1.7
Test Date | Winter | 0.023973 | 1.8 | 1.6394 | 0.097963 | 0.7875 | NA | 1.032 | 0.95 |  | 0.026649 | 0.024531 | 1.8
Test Date | Winter | 0.023973 | 1.9 | 1.6394 | 0.15896 | 0.7875 | NA | 1.032 | 0.95 |  | 0.027837 | 0.025625 | 1.9
Test Date | Winter | 0.023973 | 2 | 1.6394 | 0.21996 | 0.7875 | NA | 1.032 | 0.95 |  | 0.029026 | 0.026719 | 2
Test Date | Winter | 0.023973 | 2.1 | 1.6394 | 0.28096 | 0.7875 | NA | 1.032 | 0.95 |  | 0.030214 | 0.027813 | 2.1
Test Date | Winter | 0.023973 | 2.2 | 1.6394 | 0.34195 | 0.7875 | NA | 1.032 | 0.95 |  | 0.031402 | 0.028907 | 2.2
Test Date | Winter | 0.023973 | 2.3 | 1.6394 | 0.40295 | 0.7875 | NA | 1.032 | 0.95 |  | 0.032591 | 0.030001 | 2.3
Test Date | Winter | 0.023973 | 2.4 | 1.6394 | 0.46395 | 0.7875 | NA | 1.032 | 0.95 |  | 0.033779 | 0.031095 | 2.4
Test Date | Winter | 0.023973 | 2.5 | 1.6394 | 0.52495 | 0.7875 | NA | 1.032 | 0.95 |  | 0.034968 | 0.032189 | 2.5
Test Date | Winter | 0.023973 | 2.6 | 1.6394 | 0.58595 | 0.7875 | NA | 1.032 | 0.95 |  | 0.036156 | 0.033283 | 2.6
Test Date | Winter | 0.023973 | 2.7 | 1.6394 | 0.64694 | 0.7875 | NA | 1.032 | 0.95 |  | 0.037344 | 0.034377 | 2.7
Test Date | Winter | 0.023973 | 2.8 | 1.6394 | 0.70794 | 0.7875 | NA | 1.032 | 0.95 |  | 0.038533 | 0.035471 | 2.8
Test Date | Winter | 0.023973 | 2.9 | 1.6394 | 0.76894 | 0.7875 | NA | 1.032 | 0.95 |  | 0.039721 | 0.036565 | 2.9
Test Date | Winter | 0.023973 | 3 | 1.6394 | 0.82994 | 0.7875 | NA | 1.032 | 0.95 |  | 0.04091 | 0.037659 | 3
Test Date | Winter | 0.023973 | 3.1 | 1.6394 | 0.89094 | 0.7875 | NA | 1.032 | 0.95 |  | 0.042098 | 0.038753 | 3.1
Test Date | Winter | 0.023973 | 3.2 | 1.6394 | 0.95193 | 0.7875 | NA | 1.032 | 0.95 |  | 0.043287 | 0.039847 | 3.2
Test Date | Winter | 0.023973 | 3.3 | 1.6394 | 1.0129 | 0.7875 | NA | 1.032 | 0.95 |  | 0.044475 | 0.040941 | 3.3
Test Date | Winter | 0.023973 | 3.4 | 1.6394 | 1.0739 | 0.7875 | NA | 1.032 | 0.95 |  | 0.045663 | 0.042035 | 3.4
Test Date | Winter | 0.023973 | 3.5 | 1.6394 | 1.1349 | 0.7875 | NA | 1.032 | 0.95 |  | 0.046852 | 0.043129 | 3.5
Test Date | Winter | 0.023973 | 3.6 | 1.6394 | 1.1959 | 0.7875 | NA | 1.032 | 0.95 |  | 0.04804 | 0.044223 | 3.6
Test Date | Winter | 0.023973 | 3.7 | 1.6394 | 1.2569 | 0.7875 | NA | 1.032 | 0.95 |  | 0.049229 | 0.045317 | 3.7
Test Date | Winter | 0.023973 | 3.8 | 1.6394 | 1.3179 | 0.7875 | NA | 1.032 | 0.95 |  | 0.050417 | 0.046411 | 3.8
Test Date | Winter | 0.023973 | 3.9 | 1.6394 | 1.3789 | 0.7875 | NA | 1.032 | 0.95 |  | 0.051605 | 0.047505 | 3.9
Test Date | Winter | 0.023973 | 4 | 1.6394 | 1.4399 | 0.7875 | NA | 1.032 | 0.95 |  | 0.052794 | 0.048599 | 4

## SRAC Sensitivity
Summer Season |  |  |  | Winter Season |  |  | Combined Seasons
$/dth | SRAC ($/kwh) |  |  | $/dth | SRAC ($/kwh) |  | $/dth | SRAC ($/kwh)
Gas Price | Peak | Partial Peak | Super Off-Peak | Gas Price | Partial Peak | Super Off-Peak | Gas Price | Summer Peak | Summer Partial Peak | Summer Super Off-Peak | Winter Partial Peak | Winter Super Off-Peak
1 | 0.016107 | 0.015457 | 0.014307 | 1 | 0.017141 | 0.015779 | 1 | 0.016107 | 0.015457 | 0.014307 | 0.017141 | 0.015779
1.1 | 0.016973 | 0.016288 | 0.015077 | 1.1 | 0.01833 | 0.016873 | 1.1 | 0.016973 | 0.016288 | 0.015077 | 0.01833 | 0.016873
1.2 | 0.017839 | 0.017119 | 0.015846 | 1.2 | 0.019518 | 0.017967 | 1.2 | 0.017839 | 0.017119 | 0.015846 | 0.019518 | 0.017967
1.3 | 0.018705 | 0.01795 | 0.016615 | 1.3 | 0.020707 | 0.019061 | 1.3 | 0.018705 | 0.01795 | 0.016615 | 0.020707 | 0.019061
1.4 | 0.019571 | 0.018781 | 0.017384 | 1.4 | 0.021895 | 0.020155 | 1.4 | 0.019571 | 0.018781 | 0.017384 | 0.021895 | 0.020155
1.5 | 0.020437 | 0.019612 | 0.018153 | 1.5 | 0.023083 | 0.021249 | 1.5 | 0.020437 | 0.019612 | 0.018153 | 0.023083 | 0.021249
1.6 | 0.021303 | 0.020443 | 0.018922 | 1.6 | 0.024272 | 0.022343 | 1.6 | 0.021303 | 0.020443 | 0.018922 | 0.024272 | 0.022343
1.7 | 0.022169 | 0.021274 | 0.019692 | 1.7 | 0.02546 | 0.023437 | 1.7 | 0.022169 | 0.021274 | 0.019692 | 0.02546 | 0.023437
1.8 | 0.023035 | 0.022105 | 0.020461 | 1.8 | 0.026649 | 0.024531 | 1.8 | 0.023035 | 0.022105 | 0.020461 | 0.026649 | 0.024531
1.9 | 0.023901 | 0.022936 | 0.02123 | 1.9 | 0.027837 | 0.025625 | 1.9 | 0.023901 | 0.022936 | 0.02123 | 0.027837 | 0.025625
2 | 0.024767 | 0.023767 | 0.021999 | 2 | 0.029026 | 0.026719 | 2 | 0.024767 | 0.023767 | 0.021999 | 0.029026 | 0.026719
2.1 | 0.025633 | 0.024598 | 0.022768 | 2.1 | 0.030214 | 0.027813 | 2.1 | 0.025633 | 0.024598 | 0.022768 | 0.030214 | 0.027813
2.2 | 0.026498 | 0.025429 | 0.023538 | 2.2 | 0.031402 | 0.028907 | 2.2 | 0.026498 | 0.025429 | 0.023538 | 0.031402 | 0.028907
2.3 | 0.027364 | 0.02626 | 0.024307 | 2.3 | 0.032591 | 0.030001 | 2.3 | 0.027364 | 0.02626 | 0.024307 | 0.032591 | 0.030001
2.4 | 0.02823 | 0.027091 | 0.025076 | 2.4 | 0.033779 | 0.031095 | 2.4 | 0.02823 | 0.027091 | 0.025076 | 0.033779 | 0.031095
2.5 | 0.029096 | 0.027922 | 0.025845 | 2.5 | 0.034968 | 0.032189 | 2.5 | 0.029096 | 0.027922 | 0.025845 | 0.034968 | 0.032189
2.6 | 0.029962 | 0.028753 | 0.026614 | 2.6 | 0.036156 | 0.033283 | 2.6 | 0.029962 | 0.028753 | 0.026614 | 0.036156 | 0.033283
2.7 | 0.030828 | 0.029584 | 0.027384 | 2.7 | 0.037344 | 0.034377 | 2.7 | 0.030828 | 0.029584 | 0.027384 | 0.037344 | 0.034377
2.8 | 0.031694 | 0.030415 | 0.028153 | 2.8 | 0.038533 | 0.035471 | 2.8 | 0.031694 | 0.030415 | 0.028153 | 0.038533 | 0.035471
2.9 | 0.03256 | 0.031246 | 0.028922 | 2.9 | 0.039721 | 0.036565 | 2.9 | 0.03256 | 0.031246 | 0.028922 | 0.039721 | 0.036565
3 | 0.033426 | 0.032077 | 0.029691 | 3 | 0.04091 | 0.037659 | 3 | 0.033426 | 0.032077 | 0.029691 | 0.04091 | 0.037659
3.1 | 0.034292 | 0.032908 | 0.03046 | 3.1 | 0.042098 | 0.038753 | 3.1 | 0.034292 | 0.032908 | 0.03046 | 0.042098 | 0.038753
3.2 | 0.035158 | 0.033738 | 0.03123 | 3.2 | 0.043287 | 0.039847 | 3.2 | 0.035158 | 0.033738 | 0.03123 | 0.043287 | 0.039847
3.3 | 0.036024 | 0.034569 | 0.031999 | 3.3 | 0.044475 | 0.040941 | 3.3 | 0.036024 | 0.034569 | 0.031999 | 0.044475 | 0.040941
3.4 | 0.03689 | 0.0354 | 0.032768 | 3.4 | 0.045663 | 0.042035 | 3.4 | 0.03689 | 0.0354 | 0.032768 | 0.045663 | 0.042035
3.5 | 0.037756 | 0.036231 | 0.033537 | 3.5 | 0.046852 | 0.043129 | 3.5 | 0.037756 | 0.036231 | 0.033537 | 0.046852 | 0.043129
3.6 | 0.038622 | 0.037062 | 0.034306 | 3.6 | 0.04804 | 0.044223 | 3.6 | 0.038622 | 0.037062 | 0.034306 | 0.04804 | 0.044223
3.7 | 0.039488 | 0.037893 | 0.035076 | 3.7 | 0.049229 | 0.045317 | 3.7 | 0.039488 | 0.037893 | 0.035076 | 0.049229 | 0.045317
3.8 | 0.040354 | 0.038724 | 0.035845 | 3.8 | 0.050417 | 0.046411 | 3.8 | 0.040354 | 0.038724 | 0.035845 | 0.050417 | 0.046411
3.9 | 0.04122 | 0.039555 | 0.036614 | 3.9 | 0.051605 | 0.047505 | 3.9 | 0.04122 | 0.039555 | 0.036614 | 0.051605 | 0.047505
4 | 0.042086 | 0.040386 | 0.037383 | 4 | 0.052794 | 0.048599 | 4 | 0.042086 | 0.040386 | 0.037383 | 0.052794 | 0.048599

## Gas Prices
Gas Price Calculations
| Gas Prices: Malin |  |  |  | Gas Prices: Topock |  |  |  | Cal. Border | Reported by
Date | Gas Daily | NGI | NGW | Avg. | Gas Daily | NGI | NGW | Avg. | Average | PG&E
October 14-31, 1996 | 1.35 | 1.34 | 1.35 | 1.3467 | 1.75 | 1.73 | 1.72 | 1.7333 | 1.54 | 1.54
November 1-10, 1996 | 1.35 | 1.34 | 1.35 | 1.3467 | 1.75 | 1.73 | 1.72 | 1.7333 | 1.54 | 1.54
November 11 - December 8, 1996 | 2.34 | 2.33 | 2.39 | 2.3533 | 2.62 | 2.62 | 2.6 | 2.6133 | 2.4833 | 2.4833
December 9, 1996 - January 12, 1997 | 3.62 | 3.62 | 3.56 | 3.6 | 3.66 | 3.7 | 3.7 | 3.6867 | 3.6433
January 13 - February 9, 1997 | 4.21 | 4.11 | 4.08 | 4.1333 | 4.3 | 4.27 | 4.16 | 4.2433 | 4.1883 | 4.1883
February 10 - March 9, 1997 | 2.56 | 2.5 | 2.5 | 2.52 | 2.63 | 2.65 | 2.6 | 2.6267 | 2.5733 | 2.5734
March 10 - April 13, 1997 | 1.38 | 1.33 | 1.33 | 1.3467 | 1.61 | 1.61 | 1.56 | 1.5933 | 1.47 | 1.47
April 14-30, 1997 | 1.46 | 1.45 | 1.47 | 1.46 | 1.75 | 1.74 | 1.74 | 1.7433 | 1.6017 | 1.6017
May 1-11, 1997 | 1.46 | 1.45 | 1.47 | 1.46 | 1.75 | 1.74 | 1.74 | 1.7433 | 1.6017 | 1.6017
May 12 - June 8, 1997 | 1.77 | 1.73 | 1.76 | 1.7533 | 2.04 | 2.05 | 2.02 | 2.0367 | 1.895 | 1.895
June 9-30, 1997 | 1.72 | 1.72 | 1.72 | 1.72 | 2.19 | 2.2 | 2.23 | 2.2067 | 1.9633 | 1.9634
July 1-31, 1997 | 1.59 | 1.57 | 1.56 | 1.5733 | 2.18 | 2.19 | 2.16 | 2.1767 | 1.875 | 1.875
August 1-31, 1997 | 1.52 | 1.54 | 1.51 | 1.5233 | 2.21 | 2.22 | 2.23 | 2.22 | 1.8717 | 1.8717
September 1-30, 1997 | 1.73 | 1.72 | 1.73 | 1.7267 | 2.49 | 2.5 | 2.46 | 2.4833 | 2.105 | 2.105
October 1-31, 1997 | 2.28 | 2.28 | 2.29 | 2.2833 | 3.03 | 3.08 | 3.1 | 3.07 | 2.6767 | 2.6767