963

1   SAN FRANCISCO, CALIFORNIA, MAY 12, 2000 -- 9:05 A.M.

2                         * * * * *

3       ALJ COOKE:  The Commission will be in order.

4            This is the time and place for the

5  continuation of the evidentiary hearings in

6  Rulemaking 99-11-022.

7            At this point we're going to have a witness

8  for SDG&E to respond to some of the questions that

9  Mr. Abed deferred on the Table 2 -- Table 12 from

10  Exhibit 70.

11            I need to swear you in.  Please stand.  Raise

12  your right hand.

13            DANIEL LAIRD SULLIVAN, called as a by

San Diego Gas & Electric Company,

14       having been sworn, testified as follows:

15       ALJ COOKE:  Please be seated.  State your name and

16  place of business for the record.

17       WITNESS SULLIVAN:  My name is Daniel Lawrence

18  Sullivan.  San Diego Gas & Electric Company.

19       ALJ COOKE:  Thank you, Mr. Sullivan.

20       MR. BARNES:  Your Honor, Mr. Sullivan will provide

21  qualifications and I will serve them by email, but just

22  briefly if I could have him state his background.

23                          DIRECT

24  BY MR. BARNES:

25       Q    Mr. Sullivan, could you state your pertinent

26  and profession training and background for the record,

27  please?

28       A    Yes.  I've worked for San Diego Gas &

964

1  Electric since 1978.  I've been working the energy

2  supply department since roughly 1981.  I've been

3  working with QF contracts since 1984.  And I have a

4  Bachelor's Degree from Nashville University in

5  management 1998, and Master's Degree from Nashville

6  University, 1993 in finance.

7       Q    Thank you, Mr. Sullivan.  Did you assist

8  Mr. Abed in the preparation of Table 12?

9       A    I did.

10       MR. BARNES:  Your Honor, do you want to ask the

11  questions at this point or do you want me to examine

12  him?

13       ALJ COOKE:  Why don't I ask the questions.

14                        EXAMINATION

15  BY ALJ COOKE:

16       Q    Mr. Sullivan, on Table 12, which is a four

17  column table which compares the costs using various

18  methodologies for the line loss factors.

19            What was the time period over which those

20  calculations were performed?

21       A    Over 1999.

22       Q    And generally, what was the approach that was

23  used in terms of developing the inputs to those

24  calculations?

25       A    I took hourly data 8,760 hours over the

26  course of the years and I time differentiated the

27  actual SRAC payments over that time plus the line loss

28  factors, plus the factors in Table 3 of the exhibit of

965

1  Abed's testimony, and I also used actual GMMs for an

2  hourly basis for the same time period.

3       Q    Okay.  So were the calculations performed

4  hourly or were they lumped into time differentiated

5  periods?

6       A    In his testimony he has heavy load, medium

7  load and light loads.  They're in the heavy loads I use

8  those as on our on peak hours same as I would use in

9  our shore run away cost filing.

10            Medium load I used during the semi peak

11  hours, and then for light load I used during all other

12  hours, so that's how I time differentiated the hours

13  for each individual hour over the year, and then I

14  aggregated that into a savings -- or the numbers that

15  you have there in Exhibit 12.

16       ALJ COOKE:  Okay.  I think those were all my

17  questions.

18       MR. BARNES:  Yesterday the parties indicated no

19  interest in any examination.  Is your Honor going to

20  permit cross on the scope of what you just asked?  I

21  have no questions, of course.

22       ALJ COOKE:  Does anybody have any questions?

23       MR. KARP:  Do you mind if I ask a few follow-up

24  questions?

25       MR. BARNES:  I mind terribly, but it's your right,

26  I guess.

27       MR. KARP:  As I indicated yesterday I didn't

28  really have much.  I just have a few questions.

966

1       ALJ COOKE:  Okay.

2                     CROSS-EXAMINATION

3  BY MR. KARP:

4       Q    Good morning, Mr. Sullivan.  My name is Joe

5  Karp and I'm representing the California Cogeneration

6  Counsel.

7            Mr. Abed in his testimony compares the

8  figures in the new study TLFs column to the use 1.0 TLF

9  column.

10            Are those figures comparable in terms of the

11  way they were calculated, the derivation of those

12  figures?

13       A    What I used for the computation of -- it's

14  done in a similar way, but I didn't use 1.0, I simply

15  multiplied the generation times the avoided cost

16  without adjusting for line losses, but in essence they

17  were done in a similar way.

18       Q    And is the derivation of the fourth column,

19  GMMs, is that also done in a manner comparable to the

20  way you calculated the new study TLFs column?

21       A    Did you say GMMs.

22       Q    Yeah.

23       A    Yes, they are.

24       Q    Okay.  And as I understand the corrected

25  testimony would show that comparing the payments made

26  to QFs under the new study TLF to payments that would

27  made if the line loss factor was 1.0 you would have a

28  reduction in QF payments of $174,000 annually; is that

967

1  correct?

2       A    I think that's correct.

3       Q    And then if the GMMs were used as opposed to

4  the new study TLFs you would have a difference of

5  $420,000 annually; is that correct?

6       A    Mine show about $395,000.

7       Q    Well, my math is really poor, but basically

8  what we're doing is trying to subtract from $1.2

9  million $780,000 to get the difference, correct?

10       MR. BARNES:  Mr. Sullivan may be looking at an

11  uncorrected version.

12       WITNESS SULLIVAN:  Okay.  Maybe I'm not looking at

13  the same version that you're looking at.

14       ALJ COOKE:  The table was corrected.  For the new

15  study column the number is .780 so subtracting $1.2

16  million or $1.2 million minus 780,000 should be

17  420,000.

18       MR. KARP:  That's what I said, I think.

19       WITNESS SULLIVAN:  Sorry.

20       MR. KARP:  Q   That's okay.  You're subtracting,

21  say again, you're subtracting?

22       ALJ COOKE:  1.2 million, that's the GMM cost, from

23  the corrected number in the new study column, .780.

24       WITNESS SULLIVAN:  Mines rounded off to the

25  nearest point, so 1.2 million is -- in my numbers is

26  much more detailed, but I understand you're looking at

27  the testimony, yes.

28       MR. KARP:  Q   So just to summarize.  If the GMMs

968

1  were used as the line loss factor as opposed to the new

2  study TLFs, QFs would be paid $420,000 less?

3       A    Yes.

4       MR. KARP:  Thank you.  I have no further

5  questions.

6       ALJ COOKE:  Do you have any redirect, Mr. Barnes?

7       MR. BARNES:  No, your Honor.

8       MR. CRAGG:  I have just one question.

9       ALJ COOKE:  All right.

10                     CROSS-EXAMINATION

11  BY MR. CRAGG:

12       Q    Mr. Sullivan, good morning.  I'm Brian Cragg

13  representing Caithness Energy in this proceeding.

14            You mentioned that in developing the figures

15  in the column New Study TLFs you had used the data from

16  Table 3?

17       A    Yes.

18       Q    Did you use the data in the form it is

19  presented in Table 3; in other words, with these

20  specific figures with numbered figures to right of the

21  decimal point six places?

22       A    To the decimal place, I did.

23       Q    These are the figures you used?

24       A    Those are the figures I used in Table 3.

25       MR. CRAGG:  Thank you.  No further questions.

26       ALJ COOKE:  Mr. Barnes?

27       MR. BARNES:  No questions.

28       ALJ COOKE:  All right.  Thank you, Mr. Sullivan.

969

1       WITNESS SULLIVAN:  You're welcome.

2       ALJ COOKE:  You're excused.  We'll be off the

3  record.

4                     (Off the record)

5       ALJ COOKE:  Let's be back on the record.

6                       RICHARD DAVIS

7       resumed the stand and testified further as

follows:

8

9       ALJ COOKE:  At this point we'll begin with

10  Southern California Edison, and Mr. Davis, I remind you

11  that you remain under oath from your prior testimony.

12            Mr. Woodruff?

13                           DIRECT

14  BY MR. WOODRUFF:

15       Q    Good morning, Dr. Davis.

16       A    Good morning.

17       Q    You are sponsoring Edison's compliance

18  exhibit, which has been marked as Exhibit No. 67; is

19  that correct?

20       A    I am testifying to the one exhibit number,

21  I'm not sure of the number.

22       Q    I think we've marked it as Exhibit 67.

23       ALJ COOKE:  That's correct.

24       MR. WOODRUFF:  Q   Do you have that exhibit before

25  you?

26       A    Yes, I do.

27       Q    Do you have any changes that you would like

28  to make to the exhibit this morning?

970

1       A    No, I do not.

2       Q    Also, you are appearing this morning to

3  sponsor Section 7 of Edison's line loss testimony,

4  which has been marked as Exhibit No. 68, correct?

5       A    Yes, I am.

6       Q    Do you have any changes that you need to make

7  to that testimony at this time?

8       A    Yes.  Two.  The first change is in the Table

9  of Contents under Section 7, the number there 85,000

10  should be replaced with the number 80,000.

11            And on page 13, line 5, the word "or" should

12  be replaced with a semicolon.

13       Q    Is that the extent of your changes?

14       A    Yes.

15       MR. WOODRUFF:  Dr. Davis is available for

16  cross-examination.

17       ALJ COOKE:  Let's be off the record.

18                     (Off the record)

19       ALJ COOKE:  Let's be back on the record.

20            Ms. Sherif?

21       MS. SHERIF:  Thank you.

22                     CROSS-EXAMINATION

23  BY MS. SHERIF:

24       Q    Good morning, Dr. Davis.  My name is Linda

25  Sherif and I'm here today on behalf of Cogeneration

26  Association of California and Energy producers and

27  Users Collation, and a few other individual QFs in

28  California.

971

1            If I could please direct your attention to

2  the Edison comparison exhibit, which has been marked

3  No. 67.  On the first page there's a table entitled

4  Megawatt-Hour Weighted Average Price.

5            Is it correct that the average price paid to

6  a QF selling one megawatt-hour of energy to Edison in

7  each hour during the month of December 1998  would not

8  be for $30.36 megawatt-hours as shown in this table?

9       A    This is a megawatt-hour weighted price.  That

10  will not be necessarily the same at the time weighted

11  price, but that would reflected in, for instance, the

12  posting.

13       Q    Are QFs paid the time weighted price?

14       A    They were paid on a time delivery basis.

15       Q    Is that a yes answer?

16       A    The price they are paid is determined by time

17  and delivery.  The average price they are paid on a

18  weighted hour basis would be equal to the time weighted

19  basis if, in fact, they generate at the same level for

20  every hour of the month.  To the extent that they

21  generate mainly in the peak period, then they weighted

22  megawatt-hour price is going to be slightly higher than

23  the time weighted price.

24       MS. SHERIF:  Thank you.  At this time I would like

25  to approach the witness with an exhibit.

26       ALJ COOKE:  Let's be off the record.

27                     (Off the record)

28       ALJ COOKE:  Let's be back on the record.

972

1            At this time I will mark for identification

2  as Exhibit 25 a one-page document with a table entitled

3  SRAC Transition Formula Prices And Edison Proposed New

4  Entrant SRAC Prices.

5            (Exhibit No. 25 was marked for

identification.)

6

7       ALJ COOKE:  Ms. Sherif?

8       MS. SHERIF:  Thank you.

9       Q    Dr. Davis, would you take subject to check

10  that the numbers shown in columns one and two of the

11  table I just handed you are the same as the numbers

12  contained in the spreadsheet provided by Edison in

13  support of the Edison comparison exhibit?

14       A    They match the numbers that we show in the

15  section of the compliance exhibit labeled Time Weighted

16  Average.

17       Q    Thank you.  Dr. Davis, based on Edison's

18  assumptions, the new entrant method would result in

19  over a 17 percent reduction to QFs with SO-2 and SO-4

20  contracts; is that correct?

21       A    No.

22       Q    How much of a reduction would they result in

23  then?

24       A    Our assumption is that the reduction would be

25  one minus the ratio  of 25.43 to 30.67 and --

26       ALJ COOKE:  Let's be off the record.

27                     (Off the record)

28       ALJ COOKE:  Let's be back on the record.

973

1            The result of that calculation, Mr. Davis,

2  is?

3       WITNESS DAVIS:  If one looks over the entire time

4  period of interest, December '98 through November of

5  '99, the ratio of 25.43 to 30.67 is .829, so the

6  discount is 17.085.

7       MS. SHERIF:  Q   Dr. Davis, would you agree that

8  17.085 is greater than 17, is a larger number than the

9  number 17?

10       A    Yes.

11       Q    Thank you.  So let me repeat my last

12  question.

13            Based on Edison's assumptions, the new

14  entrant method would result in over a 17 percent

15  reduction to QFs with SO-2 and SO-4 contracts; is that

16  correct?

17       A    Yes.  For the time period December of '98 to

18  November of '99.

19       Q    Thank you.  Assuming that the reduction for

20  that time period was consistent for future time periods

21  with that assumption in mind, is it possible that some

22  QFs might reduce their generation output to the minimum

23  contract levels in response to such a reduction in

24  energy prices?

25       A    I think that possibility exists regardless of

26  what the pricing market is.

27       Q    Is it possible that in response to a price

28  reduction some QFs might reduce their generation output

974

1  to the minimum contract levels?

2       A    Yes, it is possible.

3       Q    Thank you.  Is it further possible under the

4  same assumptions of the prior question, that adoption

5  of the Edison proposal and resulting reduction in price

6  could result in some QFs being forced out of business?

7       MR. WOODRUFF:  I'm going to object that the

8  question calls for speculation in the sense that

9  Dr. Davis is familiar with the unique operational

10  characteristics of every QF that might be affected by

11  this proposal.

12       ALJ COOKE:  Can you lay some foundation.

13       MS. SHERIF:  Actually, I'll withdraw the question.

14       Q    Dr. Davis, would you agree that if QF

15  generation is reduced in a given hour, with all other

16  things being equal, same level of demand, no new

17  entrants, that the PX price will tend to increase?

18       A    If it -- it is possible for the PX price to

19  increase, although, I would expect that that would be a

20  very likely a short term phenomenon simply because as

21  certain generators leave the market, new generators

22  could come into the market.

23       Q    With the understanding that the question was

24  prefaced on the assumption that there would be no new

25  entrants, would you agree that the PX price will tend

26  to increase?

27       A    With no possibility of new entrants at the

28  preface, I would agree.

975

1       MS. SHERIF:  Thank you.

2            Your Honor I have a second exhibit.

3       ALJ COOKE:  Let's be off the record.

4                     (Off the record)

5       ALJ COOKE:  Let's be back on the record.

6            At this point I'll mark for identification as

7  Exhibit 26 a one-page document entitled Comparison of

8  QF Payments for Edison.

9            (Exhibit No. 26 was marked for

identification.)

10

11       ALJ COOKE:  Ms. Sherif?

12       MS. SHERIF:  Q   Dr. Davis, could you please

13  direct your attention to the table I just handed you,

14  which has been labeled Exhibit No. 26.

15            Subject to the check are the numbers in

16  columns one and two the same of those calculated in the

17  spreadsheet supporting the second table in the Edison

18  comparison exhibit?

19       A    With respect to the notes I have in front of

20  me here, I cannot locate those numbers specifically, so

21  let's make them subject to check.

22       Q    Okay.  Thank you.  Assuming the numbers are

23  correct, is it true that Edison has provided the data

24  in this additional table to subject that adoption of

25  the new entrant method will result in a reduction of

26  about $59 million in QF payments?

27       A    Yes.

28       Q    Would you accept, subject to check, that

976

1  Mr. Macarthy's testimony in Exhibit 50 on page 10

2  states the 27 billion killowatt hours of QF purchases

3  represents about 30 percent of Edison's annual energy

4  requirements?

5       A    That reference was on page?

6       Q    Page 10.

7       A    Page 10, sorry line?

8       Q    I'm not sure of the line.  It's line 9

9  through 11.

10       A    Could you repeat the question, please?

11       Q    Yes.  Would you take, subject to check, that

12  Mr. Macarthy's testimony in Exhibit 50 on page 10,

13  states that 27 billion killowatt hours of QF purchases

14  represents about 30 percent of Edison annual energy

15  requirements?

16       A    Yes.

17       Q    So this would mean that Edison's energy

18  requirements are about 90 million megawatt hours; is

19  that correct?

20       A    I think it's closer to about 80, 80,000

21  gigawatt hours.

22       Q    Dr. Davis, if you could consider the

23  following hypothetical.

24            Assume that Edison's PX purchases are

25  81 million megawatt hours.  Further assume, that an

26  annual average Edison SRAC payment of $25.12 per

27  megawatt hour will result in a reduction of QF

28  generation, which will further result in a $1.47

977

1  megawatt -- per megawatt hour increase in the annual

2  average PX price Edison pays for energy purchased from

3  the PX.

4            Under these assumptions, and all other things

5  being equal, does a $1.47 per megawatt-hour increase in

6  the annual average price Edison pays for energy from

7  the PX result in a $119 million dollar increase in the

8  Edison payments for energy?

9       A    The -- I don't have a problem subject to

10  check with the math, I simple have a problem with the

11  underlying assumption.

12       Q    Thank you.  Dr. Davis, is it true that the

13  new entrant numbers sponsored by you, and by this I

14  mean, things like heat rate, average gas price,

15  variable O&M, that these numbers are not the only

16  numbers which a party could propose with some

17  reasonable basis?

18       MR. WOODRUFF:  Objection.  Vague.

19       MS. SHERIF:  Let me rephrase it.

20       Q    Dr. Davis, in the comparison exhibit

21  submitted by you for Edison, certain numbers have been

22  provided to support what a new entrant's cost would be.

23       A    Yes.

24       Q    Are the numbers that you used in some way

25  unique in the sense that my phone number might be

26  unique, the only way you could get me at home is by

27  dialing my phone number.  If you changed even one

28  digit, you wouldn't get my phone.

978

1            In that same way are these numbers unique, or

2  could different parties propose other numbers that

3  would have some basis and reason that would be

4  different?

5       ALJ COOKE:  Ms. Sherif, do you mean with respect

6  to a new entrant, the characteristics of a new entrant?

7       MS. SHERIF:  Yes.

8       ALJ COOKE:  Mr. Davis, do you have the question in

9  mind?

10       WITNESS DAVIS:  Yes, I do.

11            The numbers that were used to generate our

12  new entrant prices were selected to be representative

13  of data that we had observed from the licensing cases

14  for three new combined cycle plants that, in fact, are

15  either in the planning stages or actually being

16  constructed presently in California.  So the numbers we

17  have are not necessarily unique, are not the numbers

18  reflecting any one plant and would not necessarily be

19  appropriate numbers at any one plant, although, that

20  could be the case.

21       MS. SHERIF:  Thank you.

22       Q    In fact, Dr. Davis, hasn't ORA proposed a new

23  entrant methodology utilizing a different set of

24  assumptions and numbers from those presented in your

25  supporting spreadsheet?

26       A    I believe so.

27       Q    In fact, didn't Edison's testimony presented

28  in Exhibit 50 suggest some different entrant numbers

979

1  then you used in developing the comparison exhibit?

2       A    Well, we showed the data for three different

3  plants.  It is true that there was no one 7300 heat

4  rate, for instance.

5       MS. SHERIF:  Your Honor, I have my last exhibit.

6       ALJ COOKE:  Let's be off the record.

7                     (Off the record)

8       ALJ COOKE:  Let's be back on the record.

9            At this time I will identify -- mark for

10  identification Exhibit 27, a one-page document entitled

11  New Entrant Assumptions.

12            (Exhibit No. 27 was marked for

identification.)

13

14       ALJ COOKE:  Ms. Sherif?

15       MS. SHERIF:  Yes.

16       Q    Dr. Davis, with reference to the table which

17  has been marked as Exhibit No. 27, can you tell me, are

18  the assumptions shown on line 1 the assumptions you

19  used to develop the new entrant numbers shown in the

20  comparison exhibit?

21       A    The heat rate is the one that we used.  The

22  Variable O&M and ERCC factors are identical.  The gas

23  price that we used was a monthly gas price.  For

24  instance, in the first month it was 2.726.  2.5 may be

25  the annual average, I don't know.

26       Q    Okay.  Thank you.  With regards to line 2,

27  would you accept, subject to check, that ORA has

28  proposed a heat rate of 6300?

980

1       A    Yes.

2       Q    And with regards to the average gas price,

3  would you accept, subject to check, that Edison in its

4  Exhibit 50 proposed a range of gas prices which would

5  encompass the number 2.32?

6       A    Yes.

7       Q    Could you please verify, Dr. Davis, that the

8  field cost is a calculated number that if you know the

9  heat rate and the average price you can calculate the

10  field cost?

11       A    The field cost is a calculated number.  Are

12  you asking me to verify this field cost number here?

13       Q    No, just that if you know the first doing it

14  to the third.

15       A    Yes.

16       Q    With regard to Variable O&M, would you

17  accept, subject to check, that Edison in Exhibit 50

18  proposed the number 1.5?

19       A    Yes.

20       Q    Dr. Davis, were you present yesterday when I

21  questioned Pearlie Sabino from ORA?

22       A    I do not recall.

23       Q    Okay.  Would you accept, subject to check,

24  that she testified that ORA added an outer of 0 for

25  ERCC in calculating the energy component of the PX

26  price?

27       A    Yes.

28       Q    Dr. Davis, would you agree that the

981

1  assumptions in line 1 lead to a different total entrant

2  energy cost than the assumptions in line 2 would lead

3  to?

4       A    Yes.

5       Q    And that, in fact, it's a somewhat dramatic

6  difference?

7       MR. WOODRUFF:  Objection.  Vague.

8       MS. SHERIF:  That's all.  Thank you.

9       ALJ COOKE:  All right.  Thank you Ms. Sherif.

10  Let's move on to Mr. Karp.

11       MR. KARP:  Thank you, your Honor.

12                     CROSS-EXAMINATION

13  BY MR. KARP:

14       Q    Good morning, Dr. Davis.  My name is Joe

15  Karp.  I'm representing the California Cogeneration

16  Counsel.  I just have a few questions for you about the

17  gas costs underlying your calculation of the new

18  entrant energy costs.

19            It's my understanding that Edison determined

20  the gas cost based upon a border price and an

21  intrastate gas transportation rate; is that correct?

22       A    Yes.

23       ALJ COOKE:  I'm sorry, did you answer that

24  question?

25       WITNESS DAVIS:  Yes.

26       MR. KARP:  Q   And the border price was derived

27  from a number of published border gas indices, correct?

28       A    I believe the border price was taken from our

982

1  best requisition postings, which I believe is related

2  to these indices, but I did not personally review those

3  indices.

4       Q    And do you know how the intrastate

5  transportation rate was derived?

6       A    It was derived by our gas expert.

7       Q    And do you know how he derived the intrastate

8  transportation rate?

9       A    No, I do not.

10       Q    Well, let me ask you, would Edison propose to

11  calculate the gas costs of a new entrant assuming its

12  new methodology is adopted by the Commission on a going

13  forward basis in the same manner that Edison employed

14  in determining the comparison exhibit?

15       A    Not necessarily.

16       MR. KARP:  Your Honor, I would like to find out

17  how the gas costs were calculated, and Dr. Davis I

18  don't think can testify about that.

19       Q    Do you know -- let me ask a question.  Do you

20  know who the person was who calculated the gas costs?

21       A    Yes, I do.

22       Q    Can you tell me who that was?

23       A    Eric Lovich, an employee at Edison who works

24  for me.

25       MR. KARP:  I'm not sure what to do, your Honor.

26       ALJ COOKE:  Let's be off the record.

27                     (Off the record)

28       ALJ COOKE:  Let's be back on the record.

983

1            Mr. Davis, do you have a belief about how

2  that intrastate transportation rate was used?

3       WITNESS DAVIS:  Yes, I do.

4       ALJ COOKE:  Can you for the record state that?

5       WITNESS DAVIS:  I believe that the basis for the

6  intrastate rates used was the SoCal gas tariff rates

7  for the appropriate month.

8       ALJ COOKE:  And we've had an indication from

9  counsel that they will verify that that is the accurate

10  source of the intrastate rate from the table.

11       MR. WOODRUFF:  Yes, your Honor.

12       MR. KARP:  Q   And as I understood your prior

13  answer, Edison would not necessarily employee the SoCal

14  gas transportation rate if its proposal was adopted; is

15  that right?

16       A    Correct.

17       MR. KARP:  I have no further questions.  Thank

18  you, Dr. Davis.

19       ALJ COOKE:  All right.  Let's be off the record.

20                     (Off the record)

21       ALJ COOKE:  Let's be back on the record.

22            Mr. Cragg?

23       MR. CRAGG:  Thank you, your Honor.

24                     CROSS-EXAMINATION

25  BY MR. CRAGG:

26       Q    Good morning, Dr. Davis.  My name is Brian

27  Cragg and I'm representing Caithness Energy in this

28  proceeding.

984

1       A    Good morning.

2       Q    My questions all relate to your testimony in

3  Exhibit 68, which is generally on the top of your line

4  losses, and I'd first like to find out whether or not

5  the summary that appears in Mr. Bergmann's testimony on

6  page 2, lines 4 through 8 is based on the testimony

7  that you presented in -- or do present in Exhibit 68?

8       A    Could you be more explicit, please?

9       Q    All right.  On page 2, lines 4 through 8,

10  there's a summary of testimony that refers to a

11  calculation of line loss methodology increased payments

12  resulting from the current line loss methodology of 1.2

13  billion, and the next bullet refers to higher annual

14  payments of approximately 30 million, and I was just

15  wondering if that was based on the testimony that you

16  present in this proceeding?

17       A    Yes.

18       Q    The 30 million dollar annual figure does not

19  appear in the text of your testimony on pages 12

20  through 13.  Is that derived from the $250 million net

21  present value that you've calculated and presented on

22  line 3 of page 13?

23       A    Yes, the $250 million is for the period from

24  the year 2000 to the year 2025, and we looked at the

25  approximate line loss factor impact in dollars for the

26  first ten years or so, and they -- it's about

27  30 million a year.

28       Q    And is the $80,000 per day figure that you

985

1  present in the heading of your testimony, which is I

2  guess line 13 on page 12, is that also based on that

3  same figure?

4       A    Approximately, yes.

5       Q    Now, as I understand it, the $1.24 billion

6  figure that you've calculated is based on applying the

7  GMMs that were in existence for 1999 to QF purchases by

8  Edison going back to 1982 through 1998; is that

9  correct?

10       A    Yes, they were applied to the QF energy

11  purchases.

12       Q    Thank you.  Before 1998 the ISO did not

13  exist, did it?

14       A    No.

15       Q    And the power exchange did not exist?

16       A    Correct.

17       Q    And there were no GMMs calculated by the ISO

18  at that time; is that correct?

19       A    Correct.

20       Q    Do you happen to know and -- sorry, one more

21  question.  And prior to 1998 or prior to the

22  establishment of the ISO, each individual investor

23  owned utility operated its own transmission system; is

24  that correct?

25       A    Correct.

26       Q    Do you happen to know how line losses were

27  accounted for during that period when individual IOUs

28  operated their own transmission systems?

986

1       MR. WOODRUFF:  Objection.  Vague.

2       ALJ COOKE:  I'll allow it.

3       WITNESS DAVIS:  No.

4       MR. CRAGG:  Q   During the period from 1982

5  through 1998, is it true that low growth increased?

6       A    I have not reviewed those types of figures.

7  I'm not the appropriate person to respond to that

8  question.

9       Q    Would you know whether or not increased

10  demand, increased load, would have an affect on line

11  losses?

12       A    I can't respond to that.  I don't have the

13  where-with-all to respond.

14       Q    So your analysis consisted simply of the

15  calculation of applying GMMs to QF energy purchases

16  during that period; is that correct?

17       A    Correct.

18       MR. CRAGG:  I have no further questions, your

19  Honor.

20       ALJ COOKE:  Thank you, Mr. Cragg.

21       MR. CRAGG:  Thank you, Dr. Davis.

22       ALJ COOKE:  Let's be off the record.

23                     (Off the record)

24       ALJ COOKE:  Let's be back on the record.

25            Ms. Grueneich?

26                     CROSS-EXAMINATION

27  BY MS. GRUENEICH:

28       Q    Yes.  My question is also on the same page,

987

1  page 12, and specifically line 13 with the $80,000

2  figure.

3            Dr. Davis, are you able to identify of that

4  $80,000 a day figure, which portions would attributable

5  to paying its two wind QFs?

6       A    With the appropriate data I would be able to

7  hazard a guess.

8            Are you asking for an approximation?

9       Q    Yes.

10       A    The theoretical way to do that would be to

11  simply take the 80,000, multiply it times the ratio of

12  the wind generation, divided by the total generation.

13       Q    Okay.  I'm sorry, I wanted to know if you

14  have that number available that you are able to provide

15  it right now, not how one would calculate it.

16            My question was, do you know now what amount

17  is attributable to the wind QFs?

18       A    Not precisely, no.

19       Q    And would the same answer apply with regard

20  to run-of-the-river hydro?

21       A    Yes, it would.

22       MS. GRUENEICH:  Thank you.  Those are all the

23  questions I have.

24       ALJ COOKE:  Thank you.  Let's be off the record.

25                     (Off the record)

26       ALJ COOKE:  Let's be back on the record.

27            Edison indicates that they do not have any

28  redirect for Mr. Davis.

988

1            Thank you, Mr. Davis.  You're excused.

2            Let's be off the record.

3                     (Off the record)

4       ALJ COOKE:  Let's be back on the record.

5                       LARS BERGMANN

6       resumed the stand and testified further as

follows:

7

8       ALJ COOKE:  At this time we will take up

9  cross-examination for Mr. Bergmann.

10            I remind you that you remain under oath from

11  your prior testimony.

12            Mr. Woodruff?

13                          DIRECT

14  BY MR. WOODRUFF:

15       Q    Good morning, Mr. Bergmann.

16       A    Good morning.

17       Q    You are sponsoring Sections 1 and 2 of Edison

18  Exhibit 68, which is opening line loss testimony.

19            Do you have any changes to that?

20       A    No, I do not.

21       Q    You are also sponsoring Sections 1, 2, B, C,

22  D and E, as well as Section 4 of Edison's rebuttal

23  testimony, which is Exhibit 72.

24            Do you have any changes to that portion of

25  your testimony?

26       A    No, I do not.

27       MR. WOODRUFF:  Mr. Bergmann is available for

28  cross-examination.

989

1       ALJ COOKE:  All right.

2            Mr. Cragg?

3       MR. KARP:  Thank you, your Honor.

4                     CROSS-EXAMINATION

5  BY MR. KARP:

6       Q    Good morning, Mr. Bergmann.  My name is Joe

7  Karp.  I'm representing the California Cogeneration

8  Counsel.

9            As I understand Edison's proposal, Edison

10  would have the Commission adopt as the transmission

11  line loss factors the ISO's GMMs; is that correct?

12       A    That's correct.

13       Q    So for a transmission level QF in Edison's

14  territory, the payment would be on an hourly basis, the

15  adopted SRAC price times the QF production, times the

16  GMM for the QF; is that correct?

17       A    That's correct.

18       MR. KARP:  Thank you.  I have no further

19  questions.

20       ALJ COOKE:  Thank you, Mr. Karp.

21            Mr. Cragg?

22       MR. CRAGG:  Thank you, your Honor.

23                     CROSS-EXAMINATION

24  BY MR. CRAGG:

25       Q    Good morning, Mr. Bergmann.  I'm Brian Cragg

26  representing Caithness Energy in this proceeding.

27       A    Good morning.

28       Q    Do you happen to know how many megawatts of

990

1  QF power is currently under contract with Southern

2  California Edison Company?

3       A    Approximately.

4       Q    And how much is that?

5       A    Subject to check, approximately 5000

6  megawatts.

7       Q    And of that 5000 -- roughly 5000 megawatts,

8  do you know how many megawatts would be attributable to

9  generation from facilities that are powered by

10  renewable resources?

11       A    I couldn't provide a precise figure.

12       Q    Is there another witness who might be

13  testifying today who could for Southern California

14  Edison?

15       A    I think Dr. Davis could probably provide that

16  information if requested.  Seems to me that some of the

17  that information was presented in prior hearings and

18  prior testimony.

19       Q    Turning now to the sections of the rebuttal

20  testimony, Exhibit 72, that you have sponsored.

21            In the passage that spans pages 5 through 6,

22  you make a distinction between a QF that does not

23  exist --

24       ALJ COOKE:  Just a moment.  Let's be off the

25  record.

26                     (Off the record)

27       ALJ COOKE:  Let's be back on the record.

28            I think what we're looking at is page 6 of

991

1  Exhibit 72.

2            Mr. Cragg?

3       MR. CRAGG:  That's correct.  Thank you, your

4  Honor.

5       Q    In that passage you make a distinction

6  between a QF that does not exist on the one hand, and a

7  QF from whom the utility does not buy energy on the

8  other.

9            Does that distinction make a difference in

10  terms of the electrical system?

11       A    Yes, it does.

12       Q    And what is that difference?

13       A    It's significant whether or not the

14  generators exist at all versus whether or not you make

15  purchases from those generators.

16       Q    What is significant about it?

17       A    For one, the capacity would otherwise not be

18  there, and so that would have an affect as to what the

19  available capacity was for the system.

20       Q    If Edison is not buying any power from the

21  QF, how old that affect the available capacity on the

22  system?

23       A    Well, assuming that the QF's still exist,

24  then that capacity would otherwise be available to the

25  system.

26       Q    Otherwise, in what -- what circumstances?

27       A    What other available markets or transactions

28  would occur for a QF or other generator that's not

992

1  under contract with the utility.

2       Q    Would that distinction that you've drawn have

3  an affect on the calculation of GMMs for any particular

4  hour?

5       A    Yes, I believe it would.

6       Q    What affect would it have?

7       A    I believe it's appropriate to consider the

8  affect as if an additional increment of generation was

9  not purchased from a QF, and is otherwise purchased

10  from the available market versus looking at the

11  alternative in a hypothetical, which is what Caithness

12  is proposing in which QFs didn't exist at all and

13  considering what purchases would have to be made in the

14  complete absence of QFs.  And then with a hypothetical

15  construct that there be purchases and deliveries from

16  hypothetical resources.

17       Q    Well.  Let me ask the question this way.

18            The ISO calculates the GMMs; is that correct?

19       A    That is correct.

20       Q    And it both estimates GMMs for a particular

21  bus and a pick hour in advance about, I think, seven

22  days in advance, and it also calculates the actual GMMs

23  after the pick hour of transaction has occurred; isn't

24  that correct?

25       A    I'm not really the expert.  I would agree

26  with your first statement generally, but the second

27  part that's not my understanding.

28       Q    Would it make any difference in the

993

1  calculation of or the estimation of GMMs as you

2  understand it, if there were no QF or if the QF was not

3  operating?

4       A    In a given instant?

5       Q    For a particular hour, yes.

6       A    So a particular hour the QF no longer

7  existed?

8       Q    Either the QF no longer exists or the QF is

9  not providing energy for that hour.

10       A    But the QF reappears the following hour?

11       Q    You can assume that or you cannot assume it.

12  I'm referring to the calculation of the GMMs for the

13  hour the QF is not operating.

14       ALJ COOKE:  Mr. Cragg, is your question, is there

15  a difference in the output of the GMM model if the QF

16  doesn't exist in a given hour, or if the QF is simply

17  not operating in a given hour?

18       MR. CRAGG:  Yes.

19       ALJ COOKE:  Can you answer that question,

20  Mr. Bergmann?

21       WITNESS BERGMAN:  If you could just restate the

22  question one more time so I'm clear as to what you're

23  asking.

24       MR. CRAGG:  All right.

25       Q    I'm trying to find out whether it makes any

26  difference in terms of the calculation of GMMs or the

27  estimates of GMMs as you understand it whether a QF

28  does not exist or -- that's one situation versus the

994

1  same calculation when a QF is simply not operating for

2  the hour for which the calculations were performed.

3       A    Well, I think the question, and I think the

4  hypothetical, if it's a hypothetical, is a situation

5  that the ISO would not take into account of its

6  calculation of GMMs.  So it's probably a question

7  that's better directed at our witness Ms. Mayfield on

8  this issue, but I don't believe that the ISO would go

9  through a calculation without the existence of the

10  generator that is interconnected to the ISO's grid, if

11  that answers your question.

12       Q    Okay.  Turning now to page 7.

13       A    Of the --

14       Q    Of the rebuttal testimony, which is

15  Exhibit 72.  In the sentence beginning on line 11 and

16  continuing on to line 12, you state that in the

17  circumstance described in the earlier sentence, a

18  utility will buy power through the power exchange.

19       A    We're working from different versions.

20       ALJ COOKE:  Let's be off the record.

21                     (Off the record)

22       ALJ COOKE:  Let's be back on the record.

23       MR. CRAGG:  Q   What happens in circumstances when

24  the power exchange is unable to provide sufficient

25  energy to meet the needs of the utility?

26       MR. WOODRUFF:  I'm sorry, can I have that question

27  again?

28       ALJ COOKE:  Could you repeat the question?

995

1       MR. CRAGG:  Yes.

2       Q    I was referring to the sentence here that in

3  certain circumstances the utility would buy power

4  through the power exchange, and I was asking

5  Mr. Bergmann if he knows, what would happen if the

6  power exchange was unable to provide enough power to

7  meet the needs of the utility?

8       A    Can you put that into a particular context?

9       Q    Well, if we -- if we restrict this to a

10  simple case of a single utility, suppose the utilities

11  demand within the utilities control area exceeded the

12  available power from the power exchange, what happens

13  in those circumstances?

14       A    Again, I think it would help with a little

15  more detail.

16       Q    All right.  Well, let's make this assumption.

17  Again, it's a simplified system.  The demand within the

18  utilities control area is 5000 megawatts, the power

19  that the power exchange can provide from all bidders is

20  only 4000 megawatts.

21       A    And what sort of timing are we talking about,

22  this is instantaneously, that's 5000 megawatts of

23  demand would otherwise be imposed on the system, but

24  only 4000 megawatts of generation is able to satisfy

25  that demand?

26       Q    From the power exchange, yes.

27       A    At a particular instant?

28       Q    For a particular hour, yes; in other words,

996

1  the power exchange is an hour ahead option.  There's

2  not enough resources available from the power exchange

3  for that -- for the expected demand for that hour.

4       A    And is that the only available market that

5  can be purchased?

6       Q    Well, that's what I'm trying to get at.  Do

7  you know what happens in that circumstance?

8       A    In the circumstance in which the hour head

9  market arrives and there is 5000 megawatts demanded,

10  4000 megawatts available?

11       Q    Yes.

12       A    And I'm assuming that when the real time

13  comes the same condition exists?

14       Q    Yes.

15       A    And there is no other available supply?

16       Q    Well, in a way, that's the question.

17       ALJ COOKE:  Let's be off the record.

18                     (Off the record)

19       ALJ COOKE:  Let's be back on the record.

20            The question is, do you know in today's

21  market if the situation that Mr. Cragg was describing

22  were to come into play, where Edison would need --

23  Edison's supply needs would be met?

24       WITNESS BERGMAN:  From the real time market, if I

25  understand his --

26       ALJ COOKE:  Which is operated by?

27       WITNESS BERGMAN:  The independent system operator.

28       ALJ COOKE:  Thank you.

997

1       MR. CRAGG:  Q   On page 8 of Exhibit 72 on lines 9

2  through 10, you seem to question the assertion that

3  Caithness made in its testimony that -- I'm sorry, I

4  have the wrong reference, your Honor.

5       ALJ COOKE:  Let's be off the record.

6                     (Off the record)

7       ALJ COOKE:  Let's be back on the record.

8       MR. CRAGG:  Q   I'm sorry, I meant to refer to

9  page 7 of that exhibit the passage spanning from

10  line 17 through 19 where you seem to challenge the

11  assertion attributed to Caithness that GMM methodology

12  was not designed to quantify QF loss savings.

13            Do you see that?

14       A    Yes.

15       Q    I wasn't clear from the wording, but are you

16  contending that the GMM methodology was designed to

17  quantify QF loss savings?

18       A    No.

19       Q    In fact, is it your understanding that GMMs

20  were developed as a way of allocating system line

21  losses on the ISO control system among generators?

22       A    That is my understanding, yes.

23       Q    And the GMMs are scaled to avoid over

24  collection of allocated line loss costs; is that

25  correct?

26       A    I would not agree with that statement, no.

27       Q    Would you agree with the statement that there

28  is some sort of adjustment to arrive at the GMMs used

998

1  to allocate line loss costs that reduces the amount of

2  the incremental line losses?

3       A    No.

4       Q    Have you heard the term scaled GMMs and

5  unscaled GMMs used in this proceeding?

6       A    Yes, I have.

7       Q    And what do you understand that to refer to?

8       A    I understand that it is the process that the

9  ISO goes through in determining its GMMs in taking

10  those marginal rates of loss and equating those, or

11  making those equal to the actual losses incurred.

12       Q    So you understand that to be an adjustment of

13  estimated losses to reflect actual losses?

14       A    That's general my understanding, yes.

15       Q    If the GMM methodology were designed to

16  determine avoided line losses, would there be any need

17  to make that sort of adjustment?

18       A    I believe there would still be a need to make

19  that adjustment, yes.

20       Q    When bidders are bidding their resources into

21  the power exchange, the information on line losses that

22  they have available are the preliminary estimates of

23  GMMs; is that correct?

24       A    I don't know that I would call it the

25  preliminary estimate, but it is based upon an

26  expectation of what the GMM would be, and I believe

27  that our proposal in this -- the use of GMMs is to use

28  those same values for adjusting payments to true ups

999

1  without subsequent true up in the settling process.

2       ALJ COOKE:  Mr. Bergmann, did you just say you

3  would use the forecast GMMs?

4       WITNESS BERGMANN:  That's correct.

5       MR. CRAGG:  I have no further questions.  Thank

6  you, Mr. Bergmann.

7       ALJ COOKE:  Let's be off the record.

8                     (Off the record)

9       ALJ COOKE:  Let's be back on the record.

10            Ms. Grueneich?

11       MS. GRUENEICH:  Thank you.

12                     CROSS-EXAMINATION

13  BY MS. GRUENEICH:

14       Q    Good morning.  I'm appearing in this

15  proceeding on behalf of the FPL Energy.

16            If I could turn your attention to Exhibit 68,

17  your direct testimony, and specifically page 2, and on

18  line 8 there is the figure of $30 million.

19            Can you tell me what portion of that

20  $30 million is attributable to wind QFs in the Edison

21  territory?

22       A    No, I cannot, and I cannot tell you how much

23  is run-of-the-river hydro either.

24       Q    Okay.  Thank you.  I'm correct, am I not,

25  that you are familiar with Edison's recommendation in

26  the other portion of this proceeding with regard to how

27  to move to PX pricing, and specifically, the hourly

28  pricing?

1000

1       A    Yes.

2       Q    In developing the recommendation on how to

3  proceed with the line loss methodology, did Edison take

4  into account the cumulative impact on revenues

5  specifically for renewable resources from the two major

6  portions of this case, as I understand it, that would

7  affect revenues in the line loss methodology that we're

8  discussing today, and the move to PX pricing in the

9  former portion of this case?

10       A    Did we specifically look at the affect on

11  renewables?

12       Q    Yes.

13       A    No, we did not.

14       Q    If I could turn your attention to Exhibit 72,

15  your rebuttal.

16            Let me make sure --

17       ALJ COOKE:  Let's be off the record.

18                     (Off the record)

19       ALJ COOKE:  Let's be back on the record.

20       MS. GRUENEICH:  Q   Page 10, please, and

21  specifically the discussion on lines 12 through 19.

22            Do you have that in front of you?

23       A    Yes, I do.

24       Q    Am I correct that you are not an attorney?

25       A    You are correct.

26       Q    Are you familiar with the phrase, Rules of

27  Statutory Construction?

28       A    I have heard that, yes.

1001

1       Q    What is your understanding of that?

2       MR. WOODRUFF:  Object that I don't see how this

3  relates to this particular phase of the proceeding.

4  Does seem to be outside the scope of this witness'

5  knowledge, he's not an attorney.

6       MS. GRUENEICH:  Let me ask another question.

7       Q    On that paragraph, specifically lines 12

8  through 19, are you presenting your belief on how

9  AB 1890 should be interpreted?

10       A    I don't know so much that it's an

11  interpretation of AB 1890.  It's just merely my plain

12  reading of what the statute does, and the other

13  provisions contained within the statute.  I'm not

14  offering any sort of interpretation as to what the

15  legislature thought at the time, or anything other than

16  that.

17       Q    Would you agree that you are offering your

18  views as to how this Commission should read AB 1890?

19       A    Again, I'm offering my opinion as to what I

20  believe AB 1890 states.

21       Q    Would you agree that you are -- if you could

22  answer my question, and if you don't know the answers,

23  that's fine.

24            But would you agree that you are offering

25  your views as to how the Commission should read

26  AB 1890?

27       A    Sure.

28       Q    Okay.  And you have testified that you are

1002

1  generally familiar with the term Rules of Statutory

2  Construction?

3       A    Generally, as a layperson.

4       Q    As a hypothetical if Rules of Statutory

5  Construction are inconsistent with your plain reading

6  of AB 1890, do you have any opinion as to which the

7  Commission should rely upon?

8       MR. RAMOS:  I'd have to object.  I think that

9  calls for a legal conclusion on the way the question's

10  structured.

11       MS. GRUENEICH:  I'm simply asking if he has an

12  opinion, and I understand he's not a lawyer.

13       ALJ COOKE:  I will allow the question.

14       MR. WOODRUFF:  I'm going to join the objection,

15  and also object that it calls speculation on this

16  witness.

17       ALJ COOKE:  If the witness doesn't know the answer

18  to the question, he can say so.

19       WITNESS BERGMANN:  Can you restate the question,

20  I'm not sure which part of it is a hypothetical.

21       MS. GRUENEICH:  Okay.  Let me start again.

22       Q    As a hypothetical -- let me rephrase it so it

23  is clear.

24            If Rules of Statutory Construction lead to a

25  different plain reading of AB 1890 from the plain

26  reading you have set forth here, that's the

27  hypothetical, do you have an opinion as to whether the

28  Commission should rely upon your plain reading here

1003

1  versus the reading that would come from the Rules of

2  Statutory Construction --

3       MR. RAMOS:  My objection --

4       MS. GRUENEICH:  -- do you have an opinion?

5       ALJ COOKE:  I've already overruled the objection.

6            The witness can answer the question.

7       MR. RAMOS:  My objection, your Honor, is to the

8  form of question.  If you would allow me.  She's asking

9  for his opinion about statutory construction.

10  Statutory construction, part of it, an element, a sub

11  set of it, is plain text analysis of a statute.  He's

12  not given any other option to analysis the question

13  with regards to statutory construction.   Plain

14  meaning, legislative history, or some other form of

15  what constitutes statutory construction.  He's given

16  the question --

17       ALJ COOKE:  Your objection is overruled.

18            Do you know the answer to the question,

19  Mr. Bergmann?

20       WITNESS BERGMANN:  No, I don't.

21       MS. GRUENEICH:  Thank you.  That's all the cross I

22  have.

23       ALJ COOKE:  Let's be off the record.

24                     (Off the record)

25       ALJ COOKE:  Let's be back on the record.

26            Mr. Woodruff has indicated he has no

27  redirect.

28            Thank you for your testimony, Mr. Bergmann.

1004

1  You may step down.

2            At this point we will take a 15-minute recess

3  and be back at 20 to 11:00.

4                      (Recess taken)

5       ALJ COOKE:  Let's be on the record.

6            At this time I will -- we will move into

7  evidence Exhibit 20, which is the FPL Exhibit in

8  response to ALJ requests, and Exhibit 71, which is the

9  PG&E Exemplary Exhibit.

10            Are there any objections to receiving those

11  two documents into evidence?

12            Hearing none, those documents are now in

13  evidence.

14            (Exhibit Nos. 20 and 71 were received.

into evidence.)

15

16       ALJ COOKE:  Let's be off the record.

17                     (Off the record)

18       ALJ COOKE:  Let's be back on the record.

19            At this time will you please stand, let me

20  swear you.

21            PATRICIA MAYFIELD, was called as a witness

by Southern California Edison Company,

22

has been sworn, testified as follows:

23

24       ALJ COOKE:  Please be seated.  State your name and

25  place of business for the record.

26       WITNESS MAYFIELD:  My name is Patricia L.

27  Mayfield, M-a-y-f-i-e-l-d, and I work for Southern

28  California Edison Company.

1005

1       ALJ COOKE:  Mr. Woodruff?

2                          DIRECT

3  BY MR. WOODRUFF:

4       Q    Good morning, Ms. Mayfield.  You are

5  sponsoring today Sections 3, 4 and 6 of Edison's

6  opening line loss testimony, which is Exhibit 68.

7            Do you have any changes to that testimony?

8       A    No, I don't.

9       Q    You are also sponsoring jointly with

10  Dr. Stern Section 2-A of Edison's rebuttal testimony

11  and Section 3 of Edison's rebuttal testimony.

12            Do you have any changes to any portion of

13  that testimony?

14       A    Yes, I do.  On -- in Section 2-A on page 4,

15  line 12 I would like to strike the sentence that begins

16  with "FERC in it's March 29, 2000" --

17       ALJ COOKE:  Let's be off the record.

18                     (Off the record)

19       ALJ COOKE:  Let's be back on the record.

20            Ms. Mayfield, can you go over what it is that

21  you would strike again?

22       WITNESS MAYFIELD:  On page 4 I would strike to

23  sentence on line 14 that begins "FERC in its March 29th

24  decision," and I would also strike the continuation of

25  that sentence on page 5 lines 1 and 2.

26       MR. WOODRUFF:  Q   Do you have any other changes

27  to your testimony?

28       A    No, I don't.

1006

1       MR. WOODRUFF:  Witness is available for

2  cross-examination.

3       ALJ COOKE:  Thank you, Mr. Woodruff.

4            Mr. Karp?

5       MR. KARP:  Thank you, your Honor.

6                     CROSS-EXAMINATION

7  BY MR. KARP:

8       Q    Good morning, Ms. Mayfield.

9       A    Good morning.

10       Q    If I could direct you to your rebuttal

11  testimony, Exhibit 72 at page 12 and particular

12  lines 16 and 17.

13            In referring to the remote QF proposal, you

14  state that the CTC proposes that the line loss factor

15  for remote QFs serving remote load should be the system

16  average GMM.

17            Do you see that?

18       A    Yes.

19       Q    Do you have a copy of Mr. Beach's opening

20  testimony?

21       A    Not with me.

22       MR. KARP:  Could we have one provided for the

23  witness?

24       ALJ COOKE:  Let's be off the record.

25                     (Off the record)

26       ALJ COOKE:  Let's be back on the record.

27       MR. KARP:  If you could turn to Table 2 of

28  Mr. Beach's opening testimony, Exhibit 17.

1007

1       Q    Have you reviewed this table before?

2       A    Yes, I have.

3       Q    Do you have any reason to believe that this

4  is something other than an example of how Mr. Beach

5  would employ his remote QF proposal?

6       A    I would assume no.

7       Q    And if you look at the fourth column on this

8  table, that reflects the ISO average GMM, correct?

9       A    Yes.

10       Q    If you look at the second to last column from

11  the right, that would show the remote line loss factor

12  for the US Border; is that correct?

13       A    That's the label, yes.

14       Q    And do you have any reason to believe that

15  the numbers in that column were derived from any other

16  methodology other than Mr. Beach's proposed

17  methodology?

18       A    No, I have no reason to believe that.

19       Q    And the remote LLF shown in the second to

20  last column from the right is different from the ISO

21  GMM numbers; isn't that right?

22       A    Yes, it is different.

23       Q    And the last column on the right is the

24  average LLF for the US Border; is that correct?

25       A    That's the label on the chart.

26       Q    And those numbers are also different from the

27  ISO average GMM, correct?

28       A    Yes.

1008

1       Q    You referred to page 17 in Mr. Beach's

2  testimony in support of our statements that the CCC

3  proposes the remote QFs line loss factor to be equal to

4  the system average GMM.

5            Can you please point me to the place on

6  page 17 that you're referring to?

7       A    The sentence beginning on line 18, Thus the

8  QFs presence in a remote area reduces the average

9  losses on the grid by an amount ML QF times P QF.

10       ALJ COOKE:  Let's be off the record.

11                     (Off the record)

12       ALJ COOKE:  Back on the record.

13       MR. KARP:  Q   May I direct your attention now to

14  your direct testimony, Exhibit 68, page 8 at line 18.

15  You state, The generator's hourly GMM will be higher

16  relative to the average GMM when the energy it delivers

17  to is ISO grid decreases average transmission losses

18  and lower than the average when the energy it delivers

19  increases transmission losses.

20            Now, as I understand it, this would mean that

21  when a QFs GMM is higher than the ISO average GMM, the

22  QF is providing line loss savings to the utility; is

23  that right?

24       A    Yes.

25       Q    And under PURPA, the QF should be compensated

26  for those savings, correct?

27       A    That's my understanding.

28       Q    And the ISO's system average GMM is something

1009

1  in the neighborhood of .98; is that fair?

2       A    Yeah.

3       Q    Now, if a QF had a GMM of .99, it's providing

4  roughly 1 percent savings to the ISO for line losses,

5  correct?

6       A    Relative to what?

7       Q    If the grid wasn't there?

8       A    I'm sorry, I don't understand your construct

9       Q    If the system average GMM is .98, and the QFs

10  GMM is .99, the QF has a 1 percent -- the GMM is

11  1 percent higher than system average GMM, correct?

12       A    Yes, it's 1 percent higher than the system

13  average.

14       Q    Now, if Edison's line loss proposal is

15  adopted, and the QFs payment, as Mr. Bergmann described

16  the methodology, is SRAC price times quantity times

17  GMM, application of the GMM of .99 would result in a

18  1 percent decrease in the QFs payment as compared to if

19  the GMM wasn't used, correct?

20       A    Yes, that's correct.

21       MR. KARP:  Thank you.  I have no further questions

22  at this time.

23       ALJ COOKE:  All right.

24            Mr. Kerner?

25       MR. KERNER:  Thank you, your Honor.

26                     CROSS-EXAMINATION

27  BY MR. KERNER:

28       Q    Good morning, Ms. Mayfield.

1010

1       A    Good morning.

2       Q    I'm Douglas Kerner and I'm one of the lawyers

3  IEP in this case.  My questions pertain to your direct

4  testimony in Sections 3 and 4.

5            One of the -- is it fair to say that among

6  other things, that you lament that the current line

7  loss factors are based on old transmission loss

8  studies?

9       A    Yes, that's one of the problems with the

10  current line loss factors.

11       Q    Have you redone those transmission loss

12  studies as part of this proceeding?

13       A    No, we have not.

14       Q    At page --

15       ALJ COOKE:  Let's be off the record.

16                     (Off the record)

17       ALJ COOKE:  Let's be back on the record.

18       MR. KERNER:  Q   Do you have Section 4 at page 8

19  of direct testimony, Ms. Mayfield, you note at line 10

20  that the GMM is a factor calculated and used for market

21  settlement purposes.

22            Do you see that?

23       A    Yes.

24       Q    Is it correct that the GMMs are not used in

25  scheduling generation?

26       A    The GMMs are made available to the market in

27  advance of the scheduling hour.

28       Q    Are the GMMs made available to the market in

1011

1  advance the same as the GMMs which are used to settle

2  the price?

3       A    I'm sorry, will you ask the question, again?

4       Q    Are the GMMs you referred to, which are made

5  available to the market in advance, the same as the

6  GMMs which you've used for what you call market

7  settlement purposes?

8       A    They are updated every day, and as you move

9  toward the scheduling day, if you will.  So there's a

10  series of forecast GMMs that are published culminating

11  with the ex post GMMs, which are actually produced an

12  hour in advance of the scheduling hour.

13       Q    And the GMMs which are used for market

14  settlement purposes, are they not, calculated after the

15  market is closed; is that right?

16       A    No, my understanding of the ex post GMMs is

17  that they're produced at the end of the scheduling

18  hour, which actually takes place two hours in advance

19  of the operating hour, so for example, if your

20  operating hour is 1:00 o'clock in the afternoon and

21  your scheduling hour is 11:00 o'clock in the morning,

22  then be your ex post factors are calculated at the end

23  of that scheduling hour, which would take place at noon

24  time.  And that's what is used for settlement purposes.

25       Q    So it's before operation, but prior to the

26  committed schedule -- excuse me, it's prior to

27  operation, but after the submission of the committed

28  schedule?

1012

1       A    That's correct.

2       Q    All right.  At approximately lines 14 through

3  16 you describe GMMs as a transmission loss factor, and

4  then you quote, In order to take into account the

5  electrical distance between the point at which the

6  generator's energy is injected into the grid, and where

7  the energy leaves the grid.

8            Is that a fair paraphrase of that material?

9       A    I'm sorry, would you paraphrase that again?

10       Q    I'll just read it.  The ISO, beginning at

11  line 14, "The ISO essentially calculates a transmission

12  loss factor to determine for settlement purposes the

13  hourly energy deliveries of each generator..." then

14  this is the part I'm interested in, "In order to take

15  into account the electrical distance between the point

16  at which the generator's energy is injected into the

17  ISO grid and the point where the energy leaves the

18  grid..."

19            Do you see that?

20       A    Yes.

21       Q    That's your testimony.  What, if anything,

22  does the -- what measurement, if any, does the GMM make

23  or reflect with regard to line losses which would occur

24  if the generator didn't put the energy into the grid at

25  all?

26       A    Ask the question again.  I'm sorry, I'm not

27  sure I understood it.

28       Q    Does the calculation you refer to tell you

1013

1  anything about what line losses would be on the system

2  if one of these generators was not inputting energy

3  into the grid?

4       A    Well, GMMs are calculated regardless of

5  whether the unit is producing power or not, and they're

6  basically provided for all buses on a scheduling basis.

7  And even on an hour ahead basis they're made available,

8  so whether or not a unit a operating doesn't really

9  change the allocation of losses to the units that are

10  operating.  So the GMMs aren't going to be affected

11  since they're produced for every unit anyway regardless

12  of whether they're actually operated.

13            What happens in the allocation, the final

14  step is that that particular unit that is not operating

15  is not allocated any of the total losses on the system.

16       Q    So the GMMs don't have anything to do with

17  the presence or absence of any particular generator at

18  any particular hour?

19       A    No, they do.  But you can calculate a GMM for

20  a scheduling point on the grid, and your assumption

21  there is you can calculate a GMM with a unit that's

22  scheduled at 0.

23       Q    And they do that is your understanding?

24       A    Yes.

25       Q    For every unit that's interconnected?

26       A    Right.

27       Q    So whether or not the unit is operating in

28  the absence of the generator, the calculation is the

1014

1  same?

2       A    It is because that generator is really

3  essentially allocated 0 losses in the end.

4       Q    Now, the GMMs you recommend using here are

5  determined using a power flow model; is that right?

6       A    That's right.

7       Q    What analysis or evaluation, if any, of that

8  power flow model have you done in preparation for your

9  testimony here?

10       A    You mean the program itself, the tool itself?

11       Q    Yes.

12       A    We use the tool on a daily basis.  We didn't

13  do anything in particular in preparing for testimony

14  today.

15       Q    You have access to the power flow model you

16  referred to on page 8?

17       A    Right.  It's a tool that we use every day.

18  In fact, we use two power flow models.  We use a

19  product that's produced by General Electric and we use

20  a product that's produced by Power Technologies,

21  Incorporated.

22       Q    And is that the same power flow model that

23  that ISO uses to calculate GMMs?

24       A    You need to define what you mean by the model

25  a little more carefully.

26       Q    In your testimony on page 8, at line 24, you

27  say, the ISO determines GMMs by using it's power flow

28  model.

1015

1            That's what I'm referring to.  Is that the

2  model that you use?

3       A    We regularly exchange electrical

4  representations of the system, so unless you're

5  building a new transmission facility, or unless you

6  have electrical line out, your electrical

7  representation isn't going to really vary that much.

8  It's the assumptions on the schedules of generators and

9  the actually loads that are the conditions that really

10  vary from hour to hour.  That's information that we

11  don't have available, and have not validated in any

12  calculation of GMM.

13       Q    And do you have access to the model you

14  referred to here which would allow you to do that?

15       A    Not directly, although, we have been able to

16  discuss the -- using the GMM output kind of as a common

17  dialog between us on when or not we think it's

18  appropriately producing the right numbers.

19       Q    Okay.  And your recommendation to use the GMM

20  output from this is the output of this power flow model

21  that the ISO uses, is that right?

22       A    That's correct.

23       Q    But you do not use this yourself and do not

24  have direct access to it; is that right?

25       A    That's right.

26       Q    Do you know whether under applicable

27  Commission rules that recommendations or testimony

28  which are based on computer outputs are required to be

1016

1  accompanied by access and submission of the computer to

2  the participants in the case?

3       A    That's my belief, yes.

4       Q    And that has not happened here, has it?

5       A    We're not the ones that are running the

6  model, it's the ISO that's actually running the model.

7       Q    But your recommendation based on the output

8  of that model?

9       A    That's correct.

10       MR. KERNER:  I think we have a problem, your

11  Honor, because under Rule --

12       COMMISSIONER NEEPER:  Is this an argument or is it

13  a request?

14       MR. KERNER:  I won't accompany it with a motion,

15  so --

16       COMMISSIONER NEEPER:  Okay.  So it's a motion?

17       MR. KERNER:  Well, I think under Rule 74.3 is

18  quite clear, that a party who submits testimony based

19  on a computer output is required to provide access to

20  it.

21            I think the testimony is clear that the

22  recommendation to us GMMs is based on a computer model.

23  Access has not been provided.  I would suggest that

24  that probably merits a motion to strike the

25  recommendation, but within a minimum request, at least,

26  notice that under the circumstances the way it quoted

27  to the recommendation, these GMMs should be reduced to

28  essentially exemplary, and something not eligible for

1017

1  adoption by the Commission.

2       COMMISSIONER NEEPER:  Can we go off the record?

3       ALJ COOKE:  Let's be off the record.

4                     (Off the record)

5       ALJ COOKE:  Let's be back on the record.

6            We'll take that under submission and you can

7  certainly make those arguments more fully in your

8  briefs.

9       MR. KERNER:  Thank you, your Honor.  Those are all

10  my questions.

11            Thank you, Ms. Mayfield.

12       ALJ COOKE:  Let's be off the record.

13                     (Off the record)

14       ALJ COOKE:  Let's be back on the record.

15            Mr. Cragg?

16       MR. CRAGG:  Thank you, your Honor.

17                     CROSS-EXAMINATION

18  BY MR. CRAGG:

19       Q    Good morning, Ms. Mayfield.  I'm Brian Cragg

20  representing Caithness Energy in this proceeding.

21            I would like to begin by following up on some

22  of the questions that Mr. Kerner had posed to you and

23  your responses to those questions.

24            Mr. Kerner asked whether or not you had

25  performed transmission loss studies in preparing this

26  testimony, and you indicated you had not.

27            My question is, would it be possible for

28  Edison to perform transmission loss studies along the

1018

1  lines of the old studies at this time?

2       A    Yes, it would be.

3       Q    Do you have any sense of how long that might

4  take to perform those studies?

5       A    Actually, we are periodically asked this

6  question and we all give our stock answer, it's a

7  six-month time period.

8       Q    And what would those studies consist of, or

9  what would be the scope of those studies within that

10  time frame?

11       A    You're talking about the update of the

12  current loss factors?

13       Q    Yes.

14       A    Right.  Basically, the scope of what we do is

15  we have to go through a complete energy accounting on

16  the grid for a year, and so we would have to take a

17  sample year and go back and look at the various

18  transactions that took place, consumption on the part

19  of consumers, time of use, there's just a lot of

20  information that goes into the studies.

21       Q    How detailed would the resulting -- would the

22  results of the study be; in other words, would you be

23  able to produce transmission line losses for individual

24  generators?

25       A    For generators that are connected to the ISO

26  grid, we probably wouldn't be able to produce a similar

27  kind of line loss factor that is in place right now

28  because a lot of the transaction information that takes

1019

1  place is no longer available to us since it's under the

2  operating control of the ISO.  But for non ISO

3  jurisdictional facilities we could go back and do

4  updated loss factors for those QFs.

5       Q    Who are the non ISO jurisdictional

6  facilities?

7       A    It would be any facility basically not under

8  operating control of the ISO.  So what is under the

9  control of the ISO right now is all of all 500 KB and

10  all of our 230 KB, and there is some sub transmission

11  that operates in parallel with those facilities that's

12  also under the control of the ISO.

13       Q    Mr. Kerner had asked you some questions about

14  the use of GMMs for scheduling purposes.

15            Do you know whether or not GMMs are taken

16  into account in dispatching generation?

17       A    Well, it's my understanding that in the

18  dispatch the ISO uses the GMM of 1.0.

19       Q    You also had a discussion with Mr. Kerner

20  about the calculation of the ex post GMM figures, and

21  if I understood you correctly, that calculation of the

22  ex post GMMs actually takes place before the operating

23  hour that they're calculated for; is that correct?

24       A    That's correct.

25       Q    Does the ISO, or anybody else for that

26  matter, ever go back and calculate the GMMs for the

27  system as it actually operated during that operating

28  hour?

1020

1       A    It's my understanding that they do not.

2       Q    If that understanding is correct, and I

3  certainly have no reason to doubt it, would it be

4  possible that a generating unit that had been

5  scheduled, and was in fine condition as recently as a

6  couple of hours before the operating period, could have

7  a sudden shut down and not operate during the operating

8  hour.

9       A    Not at all unusual for that kind of thing to

10  happen.

11       Q    And if and when that happens because the

12  timing of calculation of the GMMs, that would have no

13  affect on the ex post GMMs; is that correct?

14       A    My understanding is that the ISO does not go

15  back and recalculate based upon the actual conditions.

16       Q    Turning now to your reference and your

17  discussion with Mr. Kerner again, about the power flow

18  models that are available to you.

19            Are those models capable of calculating on

20  the basis of power flows, line losses for specific

21  generator units?

22       A    I'm not understanding your question.

23       Q    Well, I'm probably not saying it very well.

24            Could those models be used to calculate line

25  losses for individual generating units?

26       A    The power flow programs that we run?

27       Q    Yes.

28       A    You mean any line loss factor for a

1021

1  generator, or are you asking me if we can duplicate the

2  ISO's GMMs?

3       Q    Well, it's more a question of could you

4  perform a line loss calculation for individual

5  generators for a specific hour, for example?

6       A    We can make all kinds of assumptions and come

7  up with all kinds of results, but I'm not sure that --

8  I'm not sure what to make of that.

9       Q    It would depend on the assumptions going into

10  the model?

11       A    Right.  I mean we understand what the

12  methodology is.  We run the same tools that the ISO

13  uses.  We basically use the same electrical equivalent

14  for the network.  We can make assumptions about load in

15  generation.  We can produce line loss factor GMMs, but

16  I can't guarantee you that that would duplicate the

17  ISO's numbers.

18       Q    Well, would it be possible to perform a line

19  loss study similar to that performed by the GMM

20  methodology, but perhaps using some different

21  assumptions?  For example, would it be possible to

22  program the model so that some sort of transmission

23  constraints, expected transmission constraints were

24  taken into account?

25       A    I see no reason why that couldn't be done.

26       Q    Could you also program the model to assume

27  power flows other than what I understand to be the

28  assumption of the GMM model, which is that 1 megawatt

1022

1  is distributed proportionately to all loads throughout

2  the ISO control area?

3       A    We certainly could do that, but I want to

4  emphasize that what we produce when we run the model

5  would not be what the ISO would be using in the market.

6  So what we would produce as a set of GMMs would really

7  be irrelevant as far as the market is concerned.

8       Q    How long would it take to calculate a set of

9  GMMs for a six -- I'm sorry.

10            How long would it take to calculate a set of

11  line losses for generators in Edison's territory, for

12  example, for a particular hour using your available

13  models?

14       A    The difficulty of doing that would be setting

15  up your assumptions on what your load conditions are,

16  and what your other market conditions are.  And other

17  than that, I would presume we would be able to run the

18  power flow analysis similar to what the ISO does in a

19  relative brief period of time for an individual

20  generator.

21            If you're going to suggest that we do that

22  for every QF generator, then that becomes very

23  burdensome as far as the analytical work, cranking all

24  the numbers out and all of that.

25       Q    If you attempted to do that for all QFs on

26  the Edison system, do you have any sense for how long

27  it would take both to set up the assumptions and to

28  operate the model?

1023

1       A    I wouldn't even want to begin to estimate

2  that.  That would -- might take one of your engineers

3  weeks on end to produce one hour.

4       Q    Now, in your position as manager of grid

5  planning, do you have some familiarity with the

6  operation of the grid in the Western United States?

7       A    Yes, I do.

8       Q    Would you know -- would you happen to know

9  what typical line losses might be associated with

10  imports from, for example, BPA to the Los Angeles load

11  center?

12       A    Not off hand, I don't.

13       Q    Do you happen to know any line losses

14  associated with imports of power from out of state

15  sources to any particular point in California?

16       A    I'd really have to go back and research the

17  question.

18       Q    All right.  Do you know off hand whether it

19  would be more or less than 4 percent?

20       A    No, I can't.

21       MR. WOODRUFF:  Can I object that it's not clear

22  what the antecedent of "it" is in that question,

23  whether we're talking about BPAs, some other point, or

24  the point in California where the import is occurring.

25       ALJ COOKE:  Can you clarify, Mr. Cragg?

26       MR. CRAGG:  Yes.  Let's begin with BPA to

27  Los Angeles.

28       Q    Do you have a sense of whether or not the

1024

1  line losses associated with that transaction would be

2  more or less than 4 percent?

3       A    I'd really have to go back and research the

4  question before I could give you an answer there.  It's

5  so variable.  It depends on line loadings, the

6  conditions, and I'd really -- in order to feel

7  confident about any kind of response, I would need to

8  spend some time examining the question.

9       Q    Would that be the same answer for imports

10  from the southwest?

11       A    Yes.

12       Q    I'm going to try to pose this question

13  without testifying, but I happen to notice that the ISO

14  on Wednesday, I believe, kicked off a program to have

15  voluntary load reduction as a part of that material

16  indicated that peak loads exceed internal California

17  generation by, if I recall correctly, around the order

18  of 4- to 5000 megawatts.

19            I wont's testify that that is the fact, but

20  if that is the fact, do you have any sense for where

21  the out of state power would come from in that

22  situation?

23       A    Well, I'm assuming that the reason why the

24  ISO is issuing a request for voluntary load reductions

25  is because their assumption is it's not available, and

26  they would need to prepare to decide what load is not

27  served in the market.

28       Q    That was part of the announcement.  The other

1025

1  part of it includes some materials that indicated that,

2  I think, it was projecting for next summer, in state

3  resources were insufficient to meet demand, and that a

4  certain amount, and as I recall it was in the

5  neighborhood of 4- to 5000 megawatts would have to be

6  procured from out of the state, but that's sort of the

7  second part of the question.  I'm sorry if I confused

8  you.

9            Assuming all that to be true, do you have any

10  sense for where the likely sources of that out of state

11  power?

12       A    I have no idea what the ISO is looking at as

13  sources of out of state power.

14       MR. CRAGG:  I have no further questions.

15            Thank you very much, Ms. Mayfield.

16       ALJ COOKE:  Thank you, Mr. Cragg.

17            Let's be off the record.

18                     (Off the record)

19       ALJ COOKE:  Let's be back on the record.

20            Mr. Woodruff, would you like to make the

21  representation of Counsel with respect to the IEP data

22  request about the model?

23       MR. WOODRUFF:  Yes.  Southern California Edison

24  did receive a data request from Mr. Kerner's office

25  seeking information related to the model referred to in

26  Ms. Mayfield's testimony at page 8.

27            Southern California Edison did respond to

28  that.  The response was that we did not have that model

1026

1  or the input or assumptions underlying that model, so

2  the response was we had nothing to provide.

3       ALJ COOKE:  All right.

4       MR. WOODRUFF:  I believe that was provided on

5  May 8th to Mr. Kerner.

6                        EXAMINATION

7  BY ALJ COOKE:

8       Q    Ms. Mayfield, I have one question for you.

9            In Edison's testimony it does not indicate

10  what its current WDAT is.

11            If Edison's proposal were adopted today, what

12  would be the distribution loss factors?

13       A    Right.  The -- for any QF that is connected

14  to non ISO controlled facilities, there's two loss

15  factors that we would propose to use.  And the first

16  would be for those QFs hooked up to sub transmission

17  would be our DLF about 1.1 percent.

18            And for those QFs that are hooked up at lower

19  voltages, distribution voltages, it would be about

20  3.3 percent, something like that.

21            So those would be essentially be credits that

22  would be applied as an assumption of avoiding losses

23  for any QF hooked up at those voltages.

24       Q    And those factors that you just described,

25  those are the -- would be the WDAT?

26       A    Right.  The W datas are wholesale

27  distribution access tariff.  And contained in that

28  tariff are distribution loss factors, and we refer to

1027

1  as DLFs.  In our proposal that would be basically

2  multipliers of the GMM.  So if you have a GMM 1.0 and

3  you have a QF that's hooked up to a distribution

4  facility, let's say a tub trans facility, that would be

5  a loss factor of 1.01.  So the two would multiply

6  together and yield the 1.01, if you will.

7       Q    And so at this point in time the sub

8  transmission level DLF within the WDAT tariff is 1.01?

9       A    The loss factor is about 1 percent.  When you

10  convert that to a multiplier, since it's a credit, it

11  would be converted to a similar factor like a GMM, so

12  it would be become 1.01.

13       Q    Okay.  And similarly for a distribution level

14  interconnection, it would be 3 percent, so for the most

15  part it would be 1.03?

16       A    Right.

17       Q    And that again comes from the tariff?

18       A    Right.

19       Q    Okay.

20       A    And those are loss factors that are applied

21  to any generation hook up at that voltage level that

22  are real to the ISO controlled grid.

23       ALJ COOKE:  All right.  Thank you.

24            Did you have any redirect?

25       MR. WOODRUFF:  No, your Honor.

26       ALJ COOKE:  All right.

27       MR. CRAGG:  Could I ask just one follow-up

28  question on what you just asked?  I'm sorry.

1028

1       ALJ COOKE:  Okay.  Go ahead.

2                     CROSS-EXAMINATION

3  BY MR. CRAGG:

4       Q    Ms. Mayfield, if I understand your testimony

5  correctly, the DLF is multiplied times to the GMM to

6  arrive at the loss factor for these QFs?

7       A    An effective loss factor, yes.

8       Q    If the GMM for a particular QF is, for

9  example, .  -- I'm sorry.  I'm sorry.  I think I

10  misunderstand the testimony.

11            I have no further questions.

12       ALJ COOKE:  Let's be off the record.

13                     (Off the record)

14       ALJ COOKE:  Let's be back on the record.

15                        GARY STERN

16       resumed the stand and testified further as

follows:

17       ALJ COOKE:  At this time we've brought back

18  Mr. Stern.

19            I remind you that you remain under oath from

20  your prior testimony.

21       WITNESS STERN:  Thank you.

22       ALJ COOKE:  At this point I think we have

23  questions from Mr. Karp for the panel.

24       MR. KARP:  Yes, your Honor.  Thank you.

25                     CROSS-EXAMINATION

26  BY MR. KARP:

27       Q    Good morning, again.  If you could turn to

28  page 3 of Exhibit 72 --

1029

1       ALJ COOKE:  Let's be off the record.

2                     (Off the record)

3       ALJ COOKE:  Let's be back on the record.

4            Mr. Woodruff, do you want to take Mr. Stern

5  to see whether he has any corrections?

6       MR. WOODRUFF:  Yes.

7                          DIRECT

8  BY MR. WOODRUFF:

9       Q    Dr. Stern, do you have any corrections to the

10  testimony that you're sponsoring?

11       A    Actually, I do have a correction, although

12  it's associated with the testimony that I'm sponsoring

13  individually in Exhibit 68.  If now's the best time

14  I'll go ahead and give that correction.

15       Q    Why don't we do that now.

16       A    On page 10, in the sentence that begins on

17  line 15.  On line 16, the word "exceed" should be

18  replaced with the words "differ from."  And at the end

19  of that sentence after the word PX should be inserted

20  the words "unless the QF GMM is equal to 1.0."

21            That's the only correction or modification I

22  have to my testimony.

23       MR. WOODRUFF:  Okay.  Dr. Stern --

24       ALJ COOKE:  Let's be off the record.

25                     (Off the record)

26       ALJ COOKE:  Let's be back on the record.

27            Mr. Woodruff?

28       MR. WOODRUFF:  Q   Are those the only changes to

1030

1  your testimony?

2       A    Yes, they are.

3       MR. WOODRUFF:  Witness is available for

4  cross-examination.

5       ALJ COOKE:  Thank you.  Sorry for jumping the gun

6  earlier.

7            Mr. Karp?

8       MR. KARP:  Thank you, your Honor.

9                     CROSS-EXAMINATION

10  BY MR. KARP:

11       Q    In your rebuttal testimony at page 3, line 25

12  you state regardless of whether the marginal loss rates

13  are scaled appropriately or not, the result in GMMs are

14  the appropriate factors to use for all market pricing

15  loss calculations as the current market is using these

16  factors in bidding and settlement decisions.

17            Do you agree that a QF located right in the

18  middle of Edison's load center would have a GMM at or

19  above 1.0?

20       WITNESS MAYFIELD:  A   It varies.

21       Q    It varies.  So a GMM right in the middle of

22  Edison's load center, what would the range be for the

23  GMMs for such a QF?

24       A    You can't really make a conclusion because it

25  depends upon the power flow in that area, and I don't

26  have a set of GMMs in front of me.

27       Q    Okay.  Could you make an assumption on

28  average over the course of the given day on what a QFs

1031

1  GMM would be if it was located in the middle of

2  Edison's load center?

3       A    I can't do that.

4       Q    Well, let's take a hypothetical, and let's

5  assume that a given QFs GMM on average was 1.0.  Okay.

6  And let's further assume that when the ISO applied the

7  scaler to the QF's marginal loss factors, or marginal

8  loss rates to determine the QFs GMM in a given hour,

9  there's somer error at the ISO, and the GMM produced

10  comes out to be .5.

11            Do you have that in mind?

12       A    No, I'm sorry.  I lost you after the average

13  GMM --

14       Q    The QFs average GMM is 1.0.

15       A    Over the course of 24-hour period?

16       Q    That's over the course of a year.

17       A    Over the course of a year the GMM is 1.0?

18       Q    Yes.  And now we're determining for a

19  particular hour what the QFs GMM is.  Let's say the

20  very next hour after the end of the year we just talked

21  about.

22       A    Okay.

23       Q    And when the ISO calculates the GMM for that

24  QF, it applies the scaling factor to the marginal loss

25  rates for the QF, there's an error of some sort at the

26  ISO, and the GMM that's resulting comes out to be .5.

27            Do you have that in mind?

28       A    I need to understand the nature of the error

1032

1  that you're speculating.

2       Q    Let's say it's a computer error.

3       A    There's a computer error and the resulting

4  GMM is .5?

5       Q    That's right.  And the ISO won't change the

6  factor for the QF.  The ISO insists that the .5 is the

7  factor that should be used for the GMM.

8       A    Well, I disagree with the hypothetical

9  because any market participant apartment has the

10  opportunity to challenge that GMM factor questioned.

11       Q    Okay.

12       A    What's the outcome of that, you know, through

13  the dispute resolution proceeding is something I can't

14  speculate.

15       Q    That's all right.  And I'm not asking you to

16  agree with the hypo, I'm just asking to you accept it.

17            So let's assume that you have challenged the

18  GMM, or for whatever reason it stays, the GMM remains

19  at .5.

20            Do you have that in mind?

21       A    Yes.

22       Q    In that context would Edison still believe

23  that the line loss factor for the QF for that hour

24  should be .5 for the GMM?

25       A    I would say absolutely because it's what's

26  being applied to that QF production in the market, so

27  customers are going to be affected by that

28  miscalculation on the part of the ISO and will pay the

1033

1  consequence of that through either a higher rate or

2  having to pay for a higher volume of electricity to

3  replace those losses.  So there is an impact in the

4  market that Edison's customers will experience.  That's

5  a real impact if the ISO sticks with that position, and

6  so my position would be that should in turn apply to

7  that QF as far as avoided line losses.

8       MR. KARP:  Okay.  Thank you.  I have no further

9  questions of the panel.

10       ALJ COOKE:  All right.  Let's be off the record.

11                     (Off the record)

12       ALJ COOKE:  Let's be back on the record.

13            This is not actually for the panel, but I

14  think it's for Ms. Mayfield herself.

15                        EXAMINATION

16  BY ALJ COOKE:

17       Q    At some point earlier in your

18  cross-examination there was discussion of the various

19  forecasts of the GMMs that take place up through the

20  final GMM, which you indicated is calculated prior to

21  the actual operation, but used for the ex post

22  settlement purposes.

23            Is it that GMM that Edison proposes to use

24  here, or one of the earlier forecast GMMs?

25       A    Well --

26       MR. WOODRUFF:  Actually, I think this question may

27  better go to some other witness if it --

28       ALJ COOKE:  Let's be off the record.

1034

1                     (Off the record)

2       ALJ COOKE:  Let's be back on the record.

3            We will determine who the proper witness for

4  Edison is to respond to that question and take this

5  question up after the lunch hour.  Okay.

6            At this point we will excuse Ms. Mayfield,

7  assuming that Mr. Woodruff has no redirect on the panel

8  of questions.

9       MR. WOODRUFF:  I have none.

10       MR. CRAGG:  Could we be off the record?

11       ALJ COOKE:  Let's be off the record.

12                     (Off the record)

13       ALJ COOKE:  Let's be back on the record.

14            During cross-examination Mr. Cragg referred

15  to a document that he had reviewed from the ISO.

16            Can you give us a site.  It's a publicly

17  available document.  Can you give us a location of that

18  document?

19       MR. CRAGG:  It's more difficult than I thought,

20  your Honor, it didn't print out on this particular

21  copy, but I got this off the California ISO web site,

22  which I believe is www.caiso.com.  It was under the sub

23  heading of News Releases, and the documents I referred

24  to consist of a news release dated May 10th entitled

25  Search and Electricity Consumption Squeezes Surplus

26  Power, and an attachment, I think, to that news

27  release, which is a chart entitled Projected Loads and

28  Resources.  And a separate document entitled News

1035

1  Advisory, with the title, California ISO Warns of Slim

2  Electric Power Reserves.

3            And those were the one I was attempting to

4  paraphrase in my questions to Ms. Mayfield.

5       ALJ COOKE:  Thank you, Mr. Cragg.  All right.

6            Let's be off the record.

7                     (Off the record)

8       ALJ COOKE:  Let's be back on the record.

9            Mr. Cragg?

10       MR. CRAGG:  Thank you, your Honor.

11                     CROSS-EXAMINATION

12  BY MR. CRAGG:

13       Q    Good morning, Mr. Stern.  My name is Brian

14  Cragg.  I'm representing Caithness Energy in this

15  proceeding.

16       A    Good morning.

17       Q    My questions refer to footnote 14 on page 11

18  of Exhibit 68, the direct testimony, and at the bottom

19  of that footnote, the last sentence you state that a

20  particular generators GMM reflects its marginal effect

21  on system losses, and thus, is entirely consistent with

22  PURPA, P-U-R-P-A, and FERC, F-E-R-C regulations.

23            Do you see that?

24       A    Yes, I see that.

25       Q    Is it your understanding that GMMs reflect

26  the marginal cost of line losses?

27       A    Subject to the scaling to ensure that overall

28  GMMs collect average losses, I think the answer is yes.

1036

1       Q    So the scaling effect essentially reduces the

2  GMMs from the full marginal cost of line losses; is

3  that your belief?

4       A    Yes.

5       Q    Now, to be completely consistent with the

6  requirements of PURPA and the FERC regulations,

7  shouldn't the full marginal avoided line losses be

8  reflected in the prices to QFs?

9       A    What my understanding of what PURPA requires

10  is to look at the calculation of avoided cost based on

11  the cost that the utility would incur, but for the

12  purchase from the QFs, the line losses are used in

13  order to establish how much energy is basically

14  purchased to the system, purchased by Edison from the

15  QF in part.  The PURPA language gets at the avoided

16  cost measure, but for the purchase from the QF, the

17  power would be purchased from the market and the GMM

18  costs would be incurred.  So I don't think there's any

19  inconsistency between the use of GMMs and the -- any a

20  stricter reading of the PURPA languages you want to

21  apply.

22       Q    When you in that same sentence refer to the

23  marginal effect of a particular generator under the

24  MMM -- I'm sorry, the GMM methodology, as I understand

25  it, that marginal effect is calculated based on an

26  increment of 1 megawatt; is that correct?

27       A    I'm not sure of the specifics for how the GMM

28  is calculated, whether that's an increment that's used

1037

1  or not, so I don't know.

2       Q    If you wanted to calculate the marginal

3  effect of a particular generator in terms of avoided

4  costs, wouldn't you want to calculate the effect of the

5  entire generation of the particular QF?

6       A    I think that's a subject of question and

7  debate depending on the context and the specific

8  meaning and use of the word marginal.  For example,

9  earlier in this proceeding there was significant debate

10  whether the QFs in/out methodology, which takes the QF

11  under short run-of-river cost or some other definition,

12  in aggregate take those out of the system and prepare

13  those in the system that goes in and call that an

14  application in PURPA an avoided cost of marginal cost

15  concept.

16            Generally, as an economist we view marginal

17  as being the last increment which would be more

18  consistent with a much smaller definition of the value

19  on the margin, so I believe it's subject to debate and

20  perhaps interpretation by this Commission what exactly

21  the measure of margin should be for such a calculation.

22       Q    Is it correct from -- am I correct in

23  concluding from your answer that marginal, as you have

24  used it, and avoided as used in the PURPA and FERC

25  regulations are not necessarily identical?

26       A    They can be interpreted differently.  Again,

27  it depends on the context and the use of the word.  I

28  tend to use the word marginal as an economist the way

1038

1  an economist would use it, which would be the last

2  increment of a small value.

3            The cost avoided can be interpreted to mean

4  that the marginal cost can also be interpreted to mean

5  the cost of the entire resource avoided as it has at

6  times been the case in proceedings like these, as well.

7       MR. CRAGG:  Thank you, Mr. Stern.  I have no

8  further questions.

9       ALJ COOKE:  Anybody else with questions?

10            All right.  Any redirect?

11       MR. WOODRUFF:  No, your Honor.

12       ALJ COOKE:  All right.  At this time then we will

13  adjourn for lunch and reconvene at 12:45.

14            Off the record.

15            (Whereupon, at the hour of 12:02 p.m., a

recess was taken until 12:45 p.m.)

16

17                         * * * * *

18

19

20

21

22

23

24

25

26

27

28

1039

1  SAN FRANCISCO, CALIFORNIA, MAY 12, 2000 - 12:45 P.M.

2             ALJ COOKE:  All right.  Let's be on the record.

3             Before we broke I had asked a question of

4  Southern California Edison, and Mr. Woodruff has the

5  response to my question at this time.

6             Mr. Woodruff?

7             MR. WOODRUFF:  Yes.  The GMMs that would be used

8  in connection with the new market entrance methodology

9  proposed by Edison for SRAC would be the day prior GMM --

10  hourly GMM published at 6:00 o'clock a.m.

11             ALJ COOKE:  The day prior hourly GMM published at

12  6:00 a.m?

13             MR. WOODRUFF:  Yes.

14             ALJ COOKE:  Thank you.

15             All right.  At this point we will proceed with

16  cross examination for Caithness Energy, and we have a panel

17  for this witness.

18             I will swear you in at this time.  Please stand.

19           HARRISON CLARK and MOHAMMED M. EL-GASSEIR,

20             having been duly sworn by ALF Cooke,

21             were examined and testified as follows:

22             ALJ COOKE:  Please be seated and individually

23  state your name and place of business for the record.

24             MR. EL-GASSEIR:  My name is Mohamed El-Gasseir.

25  I'm a principal of Rumla, Inc., and my company is in

26  Lafayette, California.

27             MR. CLARK:  I'm Harrison Clark, independent

28  consultant, and I'm from Granite Bay, California.

1040

1             ALJ COOKE:  Mr. Cragg?

2             MR. CRAGG:  Thank you, Your Honor.

3                       DIRECT EXAMINATION

4             BY MR. CRAGG:  Q.  Mr. El-Gasseir and Mr. Clark,

5  do you have before you the documents that have been

6  identified as Exhibit 19 and Exhibit 22 in this proceeding?

7             MR. EL-GASSEIR:  Yes, I do.

8             MR. CLARK:  Yes.

9       Q.    And are those respectively your prepared

10  testimony and prepared rebuttal testimony of Caithness

11  Energy?

12             MR. CLARK and MR. EL-GASSEIR:  Yes.

13             MR. CRAGG:  Q.  Do you have any corrections or

14  changes to those two pieces of testimony at this time?

15             MR. EL-GASSEIR:  Yes.  I have some corrections to

16  the testimony.  Unfortunately I don't have line numbers, but

17  I'll refer to the pages and the paragraphs and see how we

18  can identify them.

19             Page 3, at the top of the page, where it starts:

20  "Thus, the PURPA regulations do not permit the calculation

21  of line loss saving," et cetera.  There is the letter "s"

22  missing from "line loss saving."  Should be "line loss

23  savings."

24             And in the third line in the same paragraph, it

25  says, "regulations also reflects."  Just remove the "s" and

26  make it "regulations also reflect."

27             Moving on to page No. 5 -- actually, that's not

28  -- page No. 6.  I'm sorry about that.  Page No. 6, the

1041

1  second full paragraph, or the bottom paragraph.  It starts

2  with: "even for the limited purposes for which the GMM

3  concept was conceived."  The third line in that paragraph

4  says: "estimate market clearing prices inclusive of marginal

5  losses."  Please remove the word "marginal" out.

6             And the same page, the last line in the page,

7  says: "arbitrarily adjusted loss factors," and then the

8  sentence starts:  "Thus, the use of the GMMs," and strike

9  out the rest of the words: "may not be an ideal or optimal,"

10  and replace them with: "is not as sound."  So the sentence

11  would now be:  "The use of the GMMs is not as sound," and it

12  continues on the next page.

13             And these are my corrections.

14             ALJ COOKE:  At this point we should also remove

15  the clause that I neglected to indicate was also struck

16  following Edison's motion to strike yesterday.

17             On page 8, the bottom of the page, the first

18  clause:  "Contrary to the assertions of the workshop

19  report."  That clause would be removed.

20             MR. CRAGG:  Q.  And with those changes and

21  corrections, is the testimony presented in Exhibits 19 and

22  22 true and correct to the best of each of your

23  acknowledges?

24             MR. EL-GASSEIR:  Yes.

25             MR. CLARK:  Yes.

26             MR. CRAGG:  Your Honor, the witnesses are

27  available for cross examination.

28             ALJ COOKE:  All right.  At this point we'll start

1042

1  with Mr. Barnes.

2                  CROSS EXAMINATION

3             BY MR. BARNES:  Q.  Good afternoon, Dr.

4  El-Gasseir and Mr. Clark.  Could I ask if there's any

5  division of responsibility among the two you -- and I

6  address this question to both of you -- for the prepared and

7  rebuttal testimony you submit here.

8             MR. EL-GASSEIR:  Well, generally speaking, my

9  area will be focussed more on the economics, and the policy

10  will be more toward the load flow loss issues.

11             MR. BARNES:  That's very helpful.

12             Your Honor, in fairness, I don't want to deprive

13  the Commission of the benefit of either of these witnesses'

14  views.  I would like to direct the question along those

15  lines to a specific witness and have that witness answer.

16  If that witness feels the other witness is more appropriate,

17  then the other witness can answer; but I don't think we

18  should have both witnesses answering a single question.

19             ALJ COOKE:  I agree.  That would be fine.

20             MR. BARNES:  Q.  So those will be the

21  groundrules, then, gentlemen.  So please, if I've directed

22  it to the wrong witness, let me know, and the other can

23  answer.

24             Most of my questions in fact do concern load flow

25  issues, so I believe I'll be directing all my questions to

26  Mr. Clark.  And I would just like to as a foundation

27  establish some understanding of some basic principles.

28             Let's assume you have a closed electric system

1043

1  that has load transmission distribution and generation.  As

2  a general principle, if you were to add generation to this

3  closed system, would that have the tendency to decrease

4  losses?

5             MR. CLARK:  No.

6       Q.    Would it have the tendency to increase losses?

7             MR. CLARK:  A tendency.

8             ALJ COOKE:  Is the answer yes, it would have that

9  tendency?

10             MR. CLARK:  There are many, many assumptions I'm

11  making.  For instance, are you replacing other generation or

12  are you serving new load?  Generally when you're serving new

13  load, the tendency would be when you have generation of new

14  load, you would have higher losses.

15       Q.    This would be, all other things being equal, so

16  there would be no increase in load, you're just adding

17  generation, building a new generating unit?

18             MR. CLARK:  Every case would be different.  Some

19  would add losses; some would reduce losses.

20       Q.    You would need to do a study, then?

21             MR. CLARK:  (Nodding.)

22       Q.    So the reporter can -- she can't read nods of the

23  head.  If you could --

24             MR. CLARK:  Yes.

25       Q.    What about the effect of -- you have this, again,

26  this closed system, and you would take some of the existing

27  transmission and place it underground.  Would that tend to

28  increase or decrease losses?

1044

1             MR. CLARK:  You said transmission?

2       Q.    Transmission.

3             MR. CLARK:  Not just distribution and not

4  subdivision?

5       Q.    If the distinction is important, please explain.

6             MR. CLARK:  The impact would be very, very small.

7  But because underground transmission is very costly, you

8  would use techniques which have very high levels of flow,

9  which would tend to increase losses.

10       Q.    Isn't it true that the impedence in underground

11  tends to be less in an overhead by a substantial margin?

12             MR. CLARK:  The reactance tends to be less.  The

13  resistance would depend on the diameter of the conductor and

14  the cooling method and it would depend on the design.  There

15  are two elements to impedence, and they cannot be -- you

16  have to treat them separately to make any sense.

17       Q.    Are you familiar with the California electric

18  system generally?

19             MR. CLARK:  Yes.

20       Q.    And have some general exposure to the history of

21  its development over the last 20, 25 years?

22             MR. CLARK:  Yes.

23       Q.    Would you agree that at present the peak load of

24  the San Diego Gas and Electric area is roughly 3700

25  megawatts?

26             MR. CLARK:  Yes.

27       Q.    In your review, did the addition of the San

28  Onofre generating units in 1983 and 1984 have the tendency

1045

1  to reduce transmission losses on the SDG&E system?

2             MR. CLARK:  I could only give you an educated

3  guess.

4       Q.    We'll accept that.

5             MR. CLARK:  That it would be somewhat higher

6  losses.

7       Q.    So your guess is that by adding 2200 megawatts of

8  generation at the north end of the San Diego Gas and

9  Electric system, that would tend to increase transmission

10  losses?

11             MR. CLARK:  Well, you haven't told me what

12  generation you considered to have been removed, but there

13  would be --

14       Q.    None was removed.

15             MR. CLARK:  Well, then what was shut down.

16  Because the day those plants came on line, they obviously

17  had to -- didn't see a two thousand megawatt load growth in

18  the day the plants came on line, so you would have had to

19  shut something down.  And not knowing what that is, it would

20  be a very wild guess that there was somewhat higher losses.

21       Q.    Is it possible that existing generation just ran

22  less?

23             MR. CLARK:  Ran less or it was shut down.

24  Doesn't matter.

25       Q.    And what is your view of the addition of the

26  southwest power link to the SDG&E system?  Would that have

27  tended to reduce or increases losses at the time the

28  southwest power link was energized?

1046

1             MR. CLARK:  The day it went into service, there

2  were reduced losses.  Sometime later when it was fully

3  utilized, it may have increased or decreased losses.

4       Q.    You would need to do a study to figure that out?

5             MR. CLARK:  Yes.

6       Q.    Do you recall when the line loss study which

7  established SDG&E's existing transmission loss factors was

8  performed?

9             MR. CLARK:  No.

10       Q.    If you could turn to your Exhibit 19, page 5.

11  There you discuss certain issues with SDG&E's study of QF

12  line losses.  On page 5, does that refer to Mr. Abed's

13  study, address Mr. Abed's testimony, which is Exhibit 70?

14             MR. CLARK:  Certainly the early part of that

15  bullet refers to his study.

16       Q.    And you felt that the study should have

17  considered the losses associated with off-system purchases?

18             MR. CLARK:  Yes.

19       Q.    And you felt that the analysis performed

20  neglected off-system purchases; is that correct?

21             MR. CLARK:  There was an indication that it had,

22  but clearly it had not in my analysis.

23       Q.    Would you explain, please.

24             MR. CLARK:  Yes.  The figures would have been

25  dramatically different.  The figures that were generated in

26  the study would have been dramatically different had

27  off-system purchases been properly considered.  The study

28  indicated that they were not different; therefore, clearly

1047

1  there was an error.  And as Mr. Abed said in his testimony,

2  he neglected losses north of San Diego's system, assuming

3  that I presume PG&E or ESEN would pay for those losses to

4  bring Northwest Power, as he indicated, to the San Diego

5  system.

6       Q.    Did you perform a study to confirm your view?

7             MR. CLARK:  No.

8             MR. BARNES:  Your Honor, I have no further

9  questions.

10             ALJ COOKE:  All right.  Mr. Woodruff?

11             MR. WOODRUFF:  Thank you, Your Honor.

12             Actually, it turns out that I've misplaced a

13  couple of pages of my notes.  I can start, but I may have to

14  use a laptop for part of this.

15                  CROSS EXAMINATION

16             BY MR. WOODRUFF:  Q.  Good afternoon, gentlemen.

17  My name is Jim Woodruff.  I represent Southern California

18  Edison Company.  Based on the groundrules that you set up

19  with Mr. Barnes, I would appreciate it if either or one or

20  the other of you could respond to specific questions.  I'm

21  not sure exactly where to direct them, so I'll send them out

22  there indiscriminately, and you can decide who wants to

23  answer.

24             Do you have in front of you a copy of exhibit --

25  Edison Exhibit 75?

26             MR. CLARK:  No.

27             ALJ COOKE:  Let's be off the record.

28             (Off the record discussion.)

1048

1             ALJ COOKE:  Let's be back on the record.

2             Exhibit 75 has been provided to the witnesses,

3  and it's a map which is also represented behind you.

4             Go ahead, Mr. Woodruff.

5             MR. WOODRUFF:  Q.  The testimony in rebuttal

6  testimony which you filed in this proceeding was filed on

7  behalf of Caithness Energy, LLC; is that correct?

8             MR. EL-GASSEIR:  Yes.

9       Q.    What QF projects does Caithness own or have an

10  interest in within the California borders?

11             MR. EL-GASSEIR:  I believe there was a list of

12  them in your testimony.  There was a list in one of the

13  parties' testimony.  It was a solar project.  The Coso

14  geothermal, among others.

15       Q.    What other projects, if you know?

16             Are you aware of all of the projects owned by

17  Cathness or in which Caithness has an interest in

18  California?

19             MR. EL-GASSEIR:  I have seen the list.  I can't

20  tell you that I remember all of them.

21       Q.    And when you say you've seen the list, you're

22  referring to the list in Edison's --

23             MR. EL-GASSEIR:  I've seen that, yes.

24       Q.    -- rebuttal testimony?

25             MR. EL-GASSEIR:  Yes.

26       Q.    Are you aware of whether that is a partial or

27  complete list?

28             MR. EL-GASSEIR:  With respect to California, I

1049

1  believe that's a partial list.

2       Q.    Okay.  So at the least, the interest that

3  Caithness has would be those projects and then possibly some

4  others as well?

5             MR. EL-GASSEIR:  Possibly some others, yes.

6       Q.    As you sit here today, are you aware of what any

7  of the projects are in which Caithness has an interest that

8  are not referred to in Edison's rebuttal testimony?

9             MR. EL-GASSEIR:  I can't say that I'm aware of

10  that.  I don't know.

11       Q.    You would agree, then, that Caithness does have

12  an interest in flow 1, 3 and 4?

13             MR. EL-GASSEIR:  I can't say.  My focus is really

14  on the principles of whether the GMMs is a problem

15  methodology or not, whether there are line loss savings in

16  association with the operation of the QF plans.

17       Q.    Did your analysis of the principles of the line

18  loss methodology which should be taken into account -- I'm

19  sorry -- in any way take into account the location of

20  generation assets owned by Caithness in California?

21             MR. EL-GASSEIR:  Yes.  I mean, that's -- we're

22  talking about principles here, so they are applicable no

23  matter where the allocation is.

24       Q.    Did you do any specific analysis of what the

25  impact of any of the various proposals which have been made

26  in this proceeding would have on Caithness generation assets

27  in California?

28             MR. EL-GASSEIR:  We looked at a list of GMMs for

1050

1  specific hours and we spotted what the GMMs for various

2  generators, including those that are of interest, Caithness

3  and others as well, some remote and some even the plants

4  that were formerly owned by your company and other, PG&E gas

5  and electric.  We looked at a cross section of GMM values,

6  including tie points.

7       Q.    In connection with this analysis, did you look at

8  every Caithness generation asset in California?

9             MR. EL-GASSEIR:  No.

10       Q.    Did you look at the GMMs -- I'm sorry.  Let me

11  start again.

12             Did you do an analysis of what the dollar impact

13  of applying GMMs would be for the Coso projects, the three

14  Coso projects?

15             MR. EL-GASSEIR:  No, we did not do that.

16       Q.    Do you know what the GMMs are for the Navy 1, and

17  Navy 2 and BLM?

18             MR. EL-GASSEIR:  Well, I don't know if anybody

19  would know at this point, because as I told you, we looked

20  at a slice of a particular set of hours.  You need to look

21  at the entirety here, and you may want to do an analysis,

22  and the data on GMMs only started sometime in April of 1998,

23  so you only have about two years at this point.

24       Q.    Do you know what --

25             MR. EL-GASSEIR:  And so if you want to do an

26  impact analysis, you have to move forward in the future.

27  You have to do some sort of a study that will tell you where

28  these GMMs are going to generate as the system changes in

1051

1  terms of not only the infrastructure but as well as where

2  the power is coming from.

3             ALJ COOKE:  Let's be off the record.

4             (Off the record discussion.)

5             ALJ COOKE:  Let's be back on the record.

6             Mr. Woodruff?

7             MR. WOODRUFF:  Q.  If I understood the answer to

8  my question, there are a number of things that you would

9  have to look at to determine the dollar impact.  One

10  distinction you're making is on an historic basis, and the

11  other you're comparing that to a forecast.  So let's just

12  look at that for a moment.

13             Did you do any analysis for the three Coso

14  projects -- C-o-s-o -- as to what the historical dollar

15  impact would have been had GMMs been applied in lieu of the

16  current line loss factor of 1.023 at the transmission level?

17             MR. EL-GASSEIR:  First of all, there was no time

18  to do any type of analysis.

19             Secondly, I  would not used the GMMs at all to do

20  historic -- assessment of the historic, what would be the

21  compensation for losses positive or negative over the last

22  20 years or 15 years or whatever number of years, because

23  the GMM is, as I told you, is only two years old.  When I

24  spoke about 1998 and 1999, I was using that in the context

25  of using that historical information to establish a trend

26  analysis of how the GMMs might change in the future, but the

27  real concern was what they might be next year and the year

28  after and so on and so forth if you want to use GMMs.  I

1052

1  don't approve of the use of GMMs period for assessing the

2  losses in conjunction with QFs.  We have a fundamental

3  difference of opinion on that.

4             ALJ COOKE:  So is the answer to Mr. Woodruff's'

5  question, no, you did not conduct an analysis?

6             MR. EL-GASSEIR:  We did not.  As I said there was

7  no time to do that.

8             ALJ COOKE:  Thank you.

9             MR. WOODRUFF:  Q.  Okay.  So if I understand the

10  answer, you did not conduct any historical analysis.

11             Is it also fair to say you didn't conduct any

12  forecast analysis?

13             MR. EL-GASSEIR:  No.

14       Q.    Another distinction you made was that hourly --

15  that GMMs are hourly and that they fluctuate.  Do you have

16  any idea what the average GMM for any of the Coso projects

17  is on an annual basis?

18             ALJ COOKE:  You need to say it out loud.

19             MR. EL-GASSEIR:  No.

20             MR. WOODRUFF:  Q.  Have you yourself conducted

21  any analysis to determine whether the GMMs used for the Coso

22  projects accurately reflect the line losses, fiscal line

23  losses associated with transmission of energy from those

24  projects to the L.A. basin?

25             MR. CLARK:  In the context of an overall review

26  of GMMs by inspection and using our experience, we have

27  formulated opinions that apply to every generator in the

28  system and therefore would apply to those generators.   As I

1053

1  indicated to counsel for San Diego Gas and Electric, no, we

2  didn't do studies.  I consider a study to be an analytical

3  process which is thorough.  In the time we had, we could

4  look at GMMs, we could look at the system, and with our

5  knowledge of the system see that GMMs have had a very little

6  relationship to a loss comparison of QFs and other sources

7  on any utility system in California.  And I can give you

8  examples if you wish.

9       Q.    Can you give me an example for Coso, the three

10  Coso projects?

11             MR. CLARK:  No.

12             Pardon me.  Actually, I can, if you wish,

13  because an example could apply really to any generator in

14  the system.

15       Q.    Right.

16             MR. CLARK:  Those units, wherever they're located

17  in the calculation of the GMM, are assumed to send power all

18  over the state.  PURPA didn't intend that when they wrote

19  their regulations.  Their focus was on a particular utility

20  which has a standard offer contract with a QF, and I believe

21  that they expected to have the QF reimbursed for any lost

22  costs or savings associated with the power to that utility.

23  The GMMs do not know because on any one utility.  For

24  instance, the Coso units being in the Edison system will

25  send about a third of their power to the northern California

26  area because a third of the load in California is in

27  northern California in the GMM calculation.   That power

28  will flow north against prevailing southerly flows and will

1054

1  reduce losses significantly between the core of the Edison

2  system and upstate California.  That in itself says that the

3  GMM is not an accurate measure of those units -- Coso units

4  impact on the Edison system losses.

5       Q.    If I understood the answer, your critique of GMMs

6  is that it assumes that a third of the power flows to

7  northern California, or it doesn't reflect a fact that a

8  third actually does flow to northern California?

9             MR. CLARK:  It treats the power from any

10  generator as moving uniformly -- moving proportionately

11  through the system to loads throughout the system.  Since

12  Edison only has half the load in the state, half the output

13  from any generator which is being tested according to GMM

14  process flows outside of Edison.  Some down to San Diego,

15  some up to PG&E.  That process results in losses,

16  significant loss differences outside of the Edison system

17  which are then attributable to that unit, and that is not a

18  proper analytical process to determine losses associated

19  with a generator on the Edison system.

20             MR. EL-GASSEIR:  Maybe I can explain it just a

21  little bit.  The ISO methodology has been designed for the

22  settlement process.  Every generator serving is controlling

23  the ISO.  That's how ISO sees the generator.  The problem is

24  the contract is with Edison.  The power, the output of the

25  generator, is dedicated to the Edison territory.  That's a

26  major breakdown.  What you need to do to meet the PURPA

27  guidelines and what the ISO uses is the GMMs.  That's just

28  one.

1055

1             The other one, which actually I think is even

2  more fundamental, it measures the marginal losses and then

3  scales them down and at the same time it really measures the

4  losses associated with the generator.  It's not the losses

5  associated with the savings with respect to the replacement

6  power that would have been there had it not been for the QF.

7             That's a major difference between the two

8  methodologies.  It's fine for ISO for settlement purposes,

9  but it's not fine for this application.

10             And there is even a third flaw in the methodology

11  in that it takes marginal losses and then scales them down,

12  and the PX, when it sends the price signal, when it

13  estimates the market payment price, the PX bases it on GMMs

14  that equal one, and so the -- the ISO, and so you don't get

15  the true marginal cost signal at that price.  The market

16  payment price does not have more marginal losses as a

17  component of it.  So that's another big problem.

18       Q.    All right.  Well, let's turn to that for a

19  moment.  You talk about that in your rebuttal testimony at

20  page 3.  You state that, quote, "GMMs do not send efficient

21  price signals."  Is that one of the problems with GMMs, in

22  your opinion?

23             MR. EL-GASSEIR:  Yes.  In that sense, San Diego

24  is correct.

25       Q.    Okay.  And the reason, if I understand it, that

26  the ISOs GMMs are not efficient price signals is they're not

27  full marginal loss factors?

28             MR. EL-GASSEIR:  They are not full marginal loss

1056

1  factors when the PX determines the dispatch.  When the PX

2  chooses the market payment price, it doesn't do that.  In

3  fact, it sets all GMMs equal to one.  There are no losses.

4       Q.    For purposes of dispatch?

5             MR. EL-GASSEIR:  For purposes of dispatch.  For

6  purposes of determining the market payment price.

7             The payment to any generator basically has two

8  components.  The magawatts the generator delivers to the

9  system and the price.  And I'm saying the price is not

10  correct.  The price is estimated based on GMMs that equal to

11  one.  And it's a very little known fact.  It's hidden in the

12  market rules of the PX and the ISO, and it's a source of a

13  big contention between San Diego and a number of other

14  parties.

15       Q.    Have you read Mr. Beach's testimony?

16             MR. EL-GASSEIR:  I have read Mr. Beach's

17  testimony, yes.

18       Q.    Mr. Beech makes a proposal that the GMMs should

19  be unscaled so they would reflect for marginal losses.  Are

20  you familiar with that proposal?

21             MR. EL-GASSEIR:  I know of that proposal.  And if

22  you want to apply price theory and the principles of micro-

23  economics, you should reflect the full marginal losses in

24  the bidding scheme.  You should do that.  But it's not done.

25  And if you interpret the PURPA regulation which talks about

26  incremental, it does not say marginal in the PURPA, and

27  incremental could be in terms of either way.  In some

28  respects what he says is correct.  You should apply it to

1057

1  everybody.

2       Q.    So I take it, then, if we -- if the Commission

3  were to adopt Mr. Beach's proposal, that would eliminate

4  your one criticism that you have of GMMs; is that right?

5             MR. EL-GASSEIR:  No, no.  You didn't hear what

6  I'm saying.  You have also to go and tell the PX to dispatch

7  everybody with full marginal losses.

8       Q.    Okay.

9             MR. EL-GASSEIR:  What Mr. Beech did not say, he

10  confined his comment proposal only to the QFs.  And I'm

11  saying if you want to do it right, you have to apply it to

12  the entire market.  And I'm not so sure if the Commission

13  wants to do that, you know.  It involves a major change.

14       Q.    Well, if the market were to use unscaled GMMs, as

15  far as you're concerned that would be a more accurate

16  portrayal of actual losses?  That would eliminate that

17  particular criticism that you have of GMMs?

18             MR. EL-GASSEIR:  That particular criticism with

19  respect that it does not honestly represent marginal losses,

20  yes, it will eliminate.  But there are other issues as well.

21       Q.    I understand that.  But as to that particular

22  criticism, if the proposal were adopted, you think they

23  would be more accurate, GMMs?

24             MR. EL-GASSEIR:  If the PX uses them in the

25  dispatch.

26       Q.    In your opinion, do bidders in the current market

27  take GMMs into account in making their bids?  Do you have an

28  opinion one way or the other on that?

1058

1             MR. EL-GASSEIR:  I would think they do, because

2  if a bidder gets an idea about a week in advance of what the

3  GMM is, for instance, if somebody says he sees that a

4  particular hour of the ISOs is saying you are at .9, he

5  knows that he must roughly speaking raise his price by about

6  10 percent in order to be even, to break even.  But again,

7  that's scaled, so it doesn't reflect the true marginal cost

8  of delivering power.

9       Q.    I understand that.  I guess I'm turning to a

10  different issue that you've raised, which is that the PX

11  clearing price doesn't reflect GMMs because of the 1.0

12  being used for dispatch purposes.  What you've described is

13  that I think a rational bidder, knowing that it's going to

14  have a GMM applied to the quantity which it's delivered to

15  market will have ulimately an impact on the per unit price

16  that it receives, will either bid a higher quantity or bid a

17  higher price to account for that; is that correct?

18             MR. EL-GASSEIR:  Yeah, he would bid a higher

19  price or a hight quantity, that's right.

20       Q.    And do you have any reason to believe that that

21  wouldn't be the bidding strategy that the price setting

22  bidder would use?

23             MR. EL-GASSEIR:  Under those circumstances, yes.

24       Q.    In fact, it's reasonable to assume that every

25  generator bidding into the market will account for the

26  impact of GMMs; correct?

27             MR. EL-GASSEIR:  Those who can -- who do count

28  and those who do influence the market in the sense that they

1059

1  are not a must take like the QFs, as far as generation.

2       Q.    Okay.  At page 3 of your rebuttal testimony, you

3  state, quote, "The advantages of GMM methodology disappear

4  under scrutiny."  Do you see that?

5             ALJ COOKE:  Let's be off the record.

6             (Off the record discussion.)

7             ALJ COOKE:  Let's be back on the record.

8             MR. WOODRUFF:  Q.  What are the advantages that

9  you are referring to there?

10             MR. EL-GASSEIR:  The GMM methodology?

11       Q.    Yes.

12             MR. EL-GASSEIR:  That they are done by a neutral

13  party, the ISO, an independent party.  That they are what I

14  call the cookie cutter, really, of the elbow calculator

15  which relieves you of the burden of computing it, and they

16  produce values that are attractive to your management so

17  they appear to be on your side.  So these are advantages.

18       Q.    Are the values not attractive to your client's

19  management?

20             MR. EL-GASSEIR:  Well, I think you can see some

21  of these values.  There is no secret.  You made the

22  statement that some of these -- the GMM methodologies apply.

23  You're going to have a setback to the renewables, a

24  substantial one and an unfair one at that.  The reduction in

25  revenues may be 10, 15, 20 percent.

26             MR. CLARK:  Could I interject at this point?

27       Q.    Sure.

28             MR. CLARK:  My responsibility is not to determine

1060

1  so much the value to our client or to anyone else, but to

2  determine their -- from an analytic standpoint, do they

3  represent what needs to be represented when comparing losses

4  of a QF and alternative sources.  And when it comes to that

5  test, they fail miserably.

6       Q.    Okay.  Let's move on.  At page 4 of your rebuttal

7  testimony, you indicate that out-of-state suppliers have

8  average loss rates of 4 to 10 percent or more.

9             MR. EL-GASSEIR:  Okay.

10       Q.    Do you see that?

11             MR. EL-GASSEIR:  Yes.

12       Q.    I just want to make sure I understand what your

13  testimony is saying there.  Are you referring to an

14  aggregate average loss rate for all out-of-state suppliers,

15  or are you referring to different average loss rates for

16  different suppliers?

17             MR. EL-GASSEIR:  Do you want to restate that?

18             MR. CLARK:  Which words in particular?

19       Q.    You say there is an average loss rate of 4 to 10

20  percent or more, and I'm simply trying to figure out what

21  those numbers refer to.

22             MR. CLARK:  Yes.  The power generally comes in

23  over lines from Arizona, where it comes in from the

24  northwest, over lines in north California; and those long,

25  heavily loaded lines exhibit losses of 4 to 10 percent on

26  average.  This is not incremental or marginal when they are

27  used, as they traditionally are, to bring power into

28  California.

1061

1       Q.    So the average loss rate you're talking about is

2  not for all imports, it's for different lines that are being

3  used?

4             MR. EL-GASSEIR:  I think -- Let me just pitch in

5  here.  The bottom one has actually used.  They use pre-set

6  values, and they don't change very much.  These are the

7  losses as they apply in the contracts.  When they deliver

8  power to Malin, the California Oregon border, they apply a

9  factor, and as I recall, 4 percent is actually specific to

10  the southern enterprise at least some in the past.  I don't

11  know whether it's still the same value or not.  But this is

12  something not to ignore and substantial, and it's something

13  that you have to apply above and beyond the GMM that the ISO

14  shows at Midland, which is from one hour we saw, what, .94

15  or something like that.

16       Q.    Does the ISO have a GMM at the entry point at the

17  border of California and Oregon, published GMM?

18             MR. CLARK:  What we interpret in the context of

19  the GMMs, power coming in at the border and being delivered

20  proportionately throughout California.  Some of it goes to

21  Eureka, Yreka, Redding.  Some of it reaches Edison.  Some of

22  it reaches San Diego.  In that context, the number in the

23  afternoon is typically around 94 percent, .94, which applies

24  a 6 percent loss of getting that energy just within

25  California to the customers.  And probably above that to get

26  it to San Diego, less than that to get to the PG&E.

27       Q.    Do you know how the published GMM at that point

28  compares to the published GMM for any of the Coso projects?

1062

1             MR. CLARK:  Yes.  I don't remember the numbers

2  for those plants, but because the GMM has a bias, it applies

3  higher numbers to southern California, lower numbers to

4  northern California, QF or otherwise.  There is a bias,

5  unfortunately.  It's a separate problem.  But in looking at

6  that, most numbers, most GMMs for plants in southern

7  California tend to be above the average, around 1, 102, in

8  that range.  Some are slightly below 1, some are both 102,

9  but the bulk of them are in the 1, say, .9 to 103 range.

10  Whereas in northern California they tend to be lower because

11  of the way GMMs are calculated.  And when we compare that

12  with the border number of 94, then you can have your

13  comparison.

14       Q.    Okay.  I don't think you answered my question.

15  My question went specifically to the Coso projects and

16  whether or not you know whether or not those GMMs are higher

17  or lower than the published GMM at the California border.

18             MR. CLARK:  To the best of my recollection, the

19  numbers for those units and units in that area run around

20  one or somewhat above, somewhat below.  At Malin the number

21  is 94.  There is a difference of about 6 percent.  I don't

22  need to know the exact numbers for COB.  Just if you know

23  where they are, you know approximately what the GMM is.  If

24  you want to be precise, if you say want to know down to the

25  nearest 10 percent, no, I do not.

26             ALJ COOKE:  Mr. Clark, in the example you gave of

27  the difference between northern California and southern

28  California, did you say that it was your understanding that

1063

1  the GMMs for southern California are in the range of .99 to

2  1.03?

3             MR. CLARK:  The bulk of it.

4             ALJ COOKE:  And then the northern California ones

5  are generally less than 1.0?

6             MR. CLARK:  Yes.

7             ALJ COOKE:  Thank you.

8             MR. WOODRUFF:  Q.  Would it surprise you to know

9  that the average annual published GMM for Navy 1, which I

10  believe ties into Edison's in your current substation, is

11  significantly lower than the GMM at the California Oregon

12  border?

13             MR. CLARK:  That particular plant we did notice

14  has some local situation which causes extremely high losses

15  and takes a cut of the norm, yes.

16       Q.    Isn't it the local situation that it's at the end

17  of a 26 mile radial line?

18             MR. CLARK:  That's typical.

19       Q.    Is there any local load there?

20             MR. CLARK:  I would guess not.  Otherwise, the

21  losses would be lower on that line.

22       Q.    Okay.  So it's not serving any load other than

23  potentially it's own aux load?

24             ALJ COOKE:  Let's be off the record.

25             (Off the record discussion.)

26             ALJ COOKE:  Let's be back on the record.

27             Do you have the question in mind, Mr. Clark, or

28  would you like him to repeat it?

1064

1             MR. CLARK:  It would depend on what analytical

2  process you use.  If you decide the GMM has some validity

3  for it, you find the losses associated with that plant, then

4  you would use the GMMs.  If you wanted to know in fact what

5  losses actually are, you would define the load and run a

6  power flow which would study the plant.

7             MR. WOODRUFF:  Q.  I guess my question assumed

8  simply for purposes of this question that the GMM model is

9  correct, and I understand that both of you disagree with it

10  in principle.  My question really goes to whether or not

11  you're aware of the GMM -- I actually have the number now --

12  the GMM for Navy 1 is 88.2.

13             MR. CLARK:  I did see that.  I couldn't recall

14  it; but yes, I remember seeing that.

15       Q.    Sounds about right?

16             MR. CLARK:  Yeah.

17             MR. KARP:  Your Honor, could we get clarified

18  whether that -- is that an average annual GMM for what year?

19             ALJ COOKE:  Let's be off the record.

20             (Off the record discussion.)

21             ALJ COOKE:  Let's be back on the record.

22             MR. WOODRUFF:  Q.  I'll represent to you that

23  that is an annual average based on '99 data.  Does that

24  sound about right to you?

25             MR. CLARK:  I have no basis on which to -- I

26  looked at some spot checks, and that is the only basis I

27  have, so I cannot confirm if that's correct.

28       Q.    Do you know whether any of the Coso projects have

1065

1  GMMs that are higher than the published GMM for the border?

2             MR. CLARK:  My job was to evaluate the GMM as a

3  whole, and I did not look at specific plants in any great

4  depth nor sufficient enough to offer an opinion on that.

5       Q.    On page 4 of your rebuttal testimony, there's a

6  fairly lengthy passage I'd like to focus on for a little

7  bit.  And I don't want to burden the record with reading it

8  all in, so I'll tell you where it starts and where it ends.

9  It starts with the sentence: "If we narrow the question of

10  where the replacement power would come from."  Do you see

11  that?  And the passage I want to focus on ends with the

12  words, "the sources are likely to be located in remote

13  areas."  That sentence starts:  "And if enough in-kind

14  generation."  I want to end with that sentence.  That's the

15  passage I want to focus on.  Do you have that in mind now?

16             ALJ COOKE:  Let's be off the record.

17             (Off the record discussion.)

18             ALJ COOKE:  Let's be back on the record.

19             MR. WOODRUFF:  Q.  Now, what you indicate here is

20  that we should focus or narrow the question to where

21  replacement power would come from to compensate for the

22  absence of currently operating renewable resources.  Are you

23  suggesting that the analysis that the Commission should

24  undertake is to consider where utilities would buy energy if

25  there were no operating renewable resources?

26             MR. EL-GASSEIR:  What we are suggesting is that

27  the Commission take into consideration the state's policy

28  for encouraging renewables and that switching to a GMM

1066

1  methodology may actually create a setback, a loss of market

2  share of the renewables, and that that be taken into account

3  before you make a decision, that GMM methodology is full of

4  holes.  If you want to err -- I mean, the only reason you

5  are bringing the GMMs is because they are convenient, they

6  are easy to use and they give you a favorable treatment,

7  and you say there is -- those numbers of existing and the

8  contracts are too old and stale.  Now, it's two wrongs.  If

9  there is two wrongs, do you want to correct one wrong with

10  another wrong?  If you want to err, err on the good policy

11  side.

12       Q.    So your concern here -- and I don't think you

13  answered my question, actually.  Are you advocating that the

14  way the methodology should be performed is that the

15  Commission should assume that there is no renewable

16  generation in California and then look at how it would be

17  replaced?

18             MR. EL-GASSEIR:  No, I'm not saying that.  I'm

19  saying actually if you want to evaluate it from the

20  perspective of maintaining a healthy renewable -- renewable

21  generation industry, look at the alternatives, including in-

22  state, see if you can replace these resources if you cause

23  them to be shut down within the state of California, and

24  beyond the state of California if you have to.  And I'm

25  saying these locations are going to be remote as well.  You

26  know, there is no choice.  Where you put a power plant is

27  you go where you determine the resources are.  They are in

28  Idaho.  Some of them are in British Columbia.  It's what's

1067

1  left.  And you are under --

2       Q.    Well, I guess you're getting to the answer to my

3  question.  My question really is about PURPA and avoided

4  cost analysis.  What I'm trying to get to, because that's

5  what this proceeding is about here, is avoided costs.  So

6  what I'm trying to get to is what your proposal is for how

7  we would -- what resource we're looking to to determine what

8  the QF is replacing, and I'm simply asking you whether in

9  that methodology where you're proposing that all of the QFs

10  be taken out of the resource mix.  So that's actually the

11  way I understood your opening testimony, is you said that

12  was the fundamental principle that had to be followed, that

13  the Commission should assume that QFs don't exist.

14             MR. EL-GASSEIR:  Where is the -- Where did you

15  see that?

16             ALJ COOKE:  Let's be off the record.

17             (Off the record, 2:45 -- 2:50 p.m.)

18             ALJ COOKE:  Let's be back on the record.

19             At this point we will give Exhibit No. 28 to what

20  we're expecting to be a late filed exhibit from FPL.

21             Can you explain, Ms. Dunlop?

22             MS. DUNLOP:  Yes.  FPL Energy submitted a data

23  request to Edison, and we have not received a reply from

24  Edison, but we have agreed to stipulate that Edison does not

25  have the data that FPL Energy requested; and we will be

26  submitting the data request itself as a late filed exhibit.

27             ALJ COOKE:  And that exhibit we will identify as

28  Exhibit 28, and we will consider that exhibit received into

1068

1  evidence when it comes in.  And let's set that date for next

2  Friday, May 19th.

3             MS. DUNLOP:  Yes.

4             ALJ COOKE:  Is that agreeable, Mr. Woodruff?

5             MR. WOODRUFF:  Yes, it is.

6             Let me just clarify for the record that the data

7  requests might have been viewed as being ambiguous.  We

8  understood it to be mean has Edison conducted any line loss

9  studies for resource studies in Edison's territory, and the

10  answer to that question, which I think was how it was meant,

11  was no.

12             MS. DUNLOP:  Yes.  That's our understanding too.

13             ALJ COOKE:  All right.  So we'll have that

14  exhibit come in on the 19th, and we'll mark it as received

15  as of that date.

16             At this point we'll resume with the cross from

17  Mr. Woodruff of the witnesses for Caithness.  And I believe

18  you were looking for a citation for a question, but I don't

19  recall what that was.

20             MR. WOODRUFF:  Q.  Yes.  We were talking about

21  the existence of QFs, and I was asking you whether what you

22  proposed as part of the line loss aspect of avoided cost

23  methodology was that the Commission should assume for

24  purposes of that analysis that renewable resources don't

25  exist, and I had said that I think that was what you had

26  testified to in your direct testimony.  And I want to give

27  you a reference to that.  That's at page 8.  And it is

28  stated there, quote:

1069

1             "For the situation at hand, a careful reading of

2       the FERC regulation that specifically addresses the

3       evaluation of the losses avoided by QF generation

4       pinpoints the right questions:  One, 'if a qualifying

5       facility did not exist, where would the replacement

6       power come from.'"

7             Do you see that?

8             MR. EL-GASSEIR:  Yes.

9       Q.    Is that what you advocate the Commission do, to

10  assume that the QF doesn't exist?

11             MR. EL-GASSEIR:  If you take a power plant that

12  has a renewable that was started in 1985, one method of

13  looking at how much savings it created for you in the future

14  is to say what if this power plant was not there, what would

15  have happened.  As a matter of evaluating, you claim a $1.2

16  billion loss.  All we're saying is that what would have

17  happened in the absence of this investment.  You would have

18  had to buy power from another source at higher losses.

19       Q.    So what you're saying here is that this

20  particular statement was meant to address Edison's statement

21  that there had been an historical $1.2 billion in losses?

22             MR. EL-GASSEIR:  That's in part that.  And it

23  also will address also the future.  If one of these

24  facilities that you want to lower their payment by applying

25  these GMMs to the extent that you find another buyer or shut

26  down, where would you get the generation for it?

27       Q.    Were you aware that Edison contended that there

28  had been a $1.2 billion historic loss as a result of the

1070

1  application of the current line loss factors at the time you

2  filed this testimony?

3             MR. EL-GASSEIR:  Can you repeat that question.

4       Q.    Had you seen Edison's direct testimony before you

5  filed your direct testimony?

6             MR. EL-GASSEIR:  No, I have not.

7       Q.    Okay.  Is your testimony still the same, that the

8  intention in making this statement was to respond to

9  Edison's analysis of historic losses resulting from

10  application of the current line loss factors compared to

11  GMMs?

12             MR. EL-GASSEIR:  No.  What I'm saying, the claim

13  that your current heavy losses came in your direct testimony

14  and it also came in our look at the workshop reports.  We

15  examined the workshop reports, and we've seen some claims

16  that there have been excessive payments of QFs historically,

17  and that's what we're basing this statement on.

18       Q.    Do you have a copy of the line loss workshop

19  report there?

20             MR. EL-GASSEIR:  I believe I do, yeah.

21             ALJ COOKE:  Let's be off the record.

22             (Off the record discussion.)

23             ALJ COOKE:  Let's be back on the record.

24             MR. WOODRUFF:  Q.  Do you now have a copy of the

25  line loss workshop report?

26             MR. EL-GASSEIR:  I have a copy of it, yes.

27       Q.    And is there a specific reference there to --

28             MR. EL-GASSEIR:  I can't find it now nor recall.

1071

1  It would take me time.  But I seem to remember there was

2  something there.

3       Q.    I'd like to get back to methodology for a moment,

4  as opposed to policy.  All I want to understand here is if

5  the proposed methodology for determining line loss costs or

6  savings associated with the transmission of QF power is to

7  take the existing QFs out of the system.

8             MR. EL-GASSEIR:  I can't say I will advocate this

9  at this point.  We have not gone that far to actually think

10  carefully what will be the alternative methodology for how

11  to evaluate -- how to resolve this issue.

12       Q.    Do you have a proposed methodology for

13  consideration by the Commission as to, to comply with PURPA,

14  what increment, if any, of QF energy should be taken out of

15  the mix to determine line losses?

16             MR. EL-GASSEIR:  We don't have a specific

17  methodology, no, not at this time.

18       Q.    Would you agree with the statement that in order

19  to determine the line loss costs or savings associated with

20  the transmission of QF energy, that the Commission should

21  consider what would happen if the utilities did not purchase

22  QF power?

23             MR. EL-GASSEIR:  Yes.  What would happen if the

24  QF generation was not available?  Where would the

25  replacement power come from?  That's one of the main issues.

26       Q.    Okay.  I'm not sure you agreed with my statement.

27  My question was not whether the QF power is available.  The

28  focus is on whether or not the utility buys the power from

1072

1  the QF.

2             Would you agree that the current avoided cost

3  analysis is the Commission should ask the question where

4  would the utility buy its power if it did not buy the power

5  from the QF?  Is that a correct statement of avoided cost

6  methodology?

7             MR. EL-GASSEIR:  I would say that's acceptable,

8  yes.

9       Q.    All right.  And using that methodology, if a

10  utility such as Edison did not buy its power from, let's

11  just take one of the Caithness plants, SEGS IX, and it chose

12  to replace that power to serve its load demands or its

13  demand, wouldn't Edison simply buy the power from the power

14  exchange?

15             MR. EL-GASSEIR:  If Edison's management is

16  foolish, yes.  I don't think your management is foolish

17  enough to buy it entirely from the power exchange.  Let me

18  expand a little bit on that.

19             I would expect that for the next year or two, you

20  will still remain under that requirement that you purchase

21  everything from the power exchange.  As soon as that

22  requirement expires, your management, then, if it has a good

23  risk management program, it will have a portfolio.  It will

24  buy some from the power exchange and some from the bilateral

25  contracts.  And my expectation is what will happen to the

26  marketplace, you'd better look into bilateral contracts,

27  because there's a shortage of supply.  It will be for while

28  demand is rising, the main shifts in the economy of the

1073

1  state encourage more consumption and electricity.  There are

2  more transactions to transmission of the system, and the

3  power exchange prices are likely to be highly volatile as

4  customers leave it, but right now it has a captive market.

5  Your management will go and sign contracts immediately, some

6  months, some seasonal and some years.  In the absence of any

7  other information, I will say 50/50.  That's the normal.  50

8  percent from the power exchange.  50 percent from the

9  bilateral market.

10       Q.    Are you done with your answer?

11             MR. EL-GASSEIR:  Yes.

12       Q.    Until the transmission period ends and the

13  buy-all/sell-all requirement ends, Edison really doesn't

14  have any choice.  In other words, its management doesn't

15  have any choice about where to go to replace that QF power

16  that it just lost, if you will, or it's not now buying from

17  the SEGS IX project, and in my hypothetical it would have to

18  buy it out of the power exchange; isn't that right?

19       A.    Yes, it would have to buy it from the power

20  exchange.

21       Q.    Okay.  Now, if that happened, what do you think

22  SEGS IX would do with its power?  Just stop generating?

23             MR. EL-GASSEIR:  I have no idea.

24             MR. KARP:  Your Honor, I'm not sure what the

25  question is presuming.  If what happened?

26             MR. WOODRUFF:  Q.  All right.  Well, let's make

27  it more explicit.  I want you to assume for the sake of this

28  argument that Edison and the SEGS IX project no longer have

1074

1  a contract whereby Edison is obligated to purchase directly

2  from SEGS IX.  SEGS IX is now relieved of that obligation,

3  as is Edison.  Edison, as you've now indicated, at least

4  during the transition period would have to buy the

5  replacement power from the power exchange.

6             My question to you:  Given those circumstances,

7  where do you think SEGS IX would sell its power, if

8  anywhere?

9             MR. EL-GASSEIR:  It's premature to make any

10  speculation about that.  It may shut down.  It may find

11  another market.

12       Q.    Let's assume for the sake of argument that they

13  don't shut down.

14             MR. EL-GASSEIR:  Yes.

15       Q.    What are the other available market options for

16  SEGS IX if let's say tomorrow, in my hypothetical, if we put

17  all this in place Monday, as a generator in California,

18  wouldn't it have to sell into its power exchange?

19             MR. EL-GASSEIR:  No, it doesn't have to.  As a

20  private seller, it's not under a must-sell policy.

21       Q.    So you could enter into an over-the-fence or

22  bilateral contract with some other party; correct?

23             MR. EL-GASSEIR:  If that's possible.  If they

24  they could find somebody who will buy, yes.

25       Q.    So let's refine my hypothetical a little bit

26  further.  Assume that it's unable to find a willing buyer

27  for its power in a bilateral contract.  Does it have any

28  other choices other than the power exchange?

1075

1             MR. EL-GASSEIR:  It may or may not.  I don't know

2  if it has other choices or not.  It depends on the price.

3  There may be no choice if the price offered is too low.

4       Q.    So the only variable as far as you're concerned

5  about whether it would sell into the power exchange would be

6  the price?

7             MR. EL-GASSEIR:  The price and the duration of

8  the contract, because the guarantee of an income stream is

9  also a factor.

10       Q.    To your knowledge, is there anything in PURPA

11  that guarantees that a renewable resource will be ablve to

12  cover its capital costs, recover its capital cost?

13             MR. EL-GASSEIR:  No, not to my knowledge.

14       Q.    Is there anything in PURPA that requires a

15  utility to buy electricity from a renewable resource if the

16  cost of doing so would exceed the displacement resource?

17             MR. EL-GASSEIR:  No.

18       Q.    Now, in the hypothetical we were just talking

19  about, I want you to now assume that the clearing price is

20  good enough that SEGS IX decides it's going to sell into the

21  market and it decides, given it's operational

22  characteristics, that it's able to get an adequate income

23  stream for its purposes.  In that hypothetical, would the

24  resource mix in California have changed in any way the

25  proportion of renewables to thermal?

26             MR. EL-GASSEIR:  Well, it depends where it is

27  selling the power.  If it's selling out of state, yes, it

28  will be changed.

1076

1       Q.    My hypothetical assumed that it was selling into

2  the market in California.

3             MR. EL-GASSEIR:  If it's selling into California,

4  it's low in California such that there's no thermal

5  generation displacement, then the mix doesn't change.

6       Q.    Okay.  So in my hypothetical, it wouldn't be

7  necessary for the utility to go out of state to buy energy

8  from some other renewable resource in order to keep the mix

9  of resources balanced in California; is that right?

10             MR. EL-GASSEIR:  If you can find it, yes.

11             ALJ COOKE:  Let's be off the record.

12             (Off the record discussion.)

13             ALJ COOKE:  Back on the record.

14             We clarified that Mr. El-Gasseir said, "If you

15  can find it."

16             MR. WOODRUFF:  Q.  Maybe I didn't understand the

17  answer to my question.  The hypothetical assumed that the

18  SEGS IX resource would continue to operate at the same level

19  that it's currently operating.  Did you understand my

20  hypothetical the same way?

21             MR. EL-GASSEIR:  Well, at this point, what will

22  maintain operating if it doesn't have the right price?  It

23  cannot even be in business.  You're assuming it has already

24  a guaranteed contract from somewhere else.

25       Q.    No.  I'm assuming that it will -- In my

26  hypothetical I assumed that it will recover all of its --

27  it's only going to get paid by the market.  That's its  sole

28  source of payment.  Either it chooses to run or it doesn't

1077

1  choose to run.  My hypothetical assumes, I thought it did,

2  that the market clearing price is sufficient that SEGS IX

3  would make a management decision that it was wise to

4  continue to operate and sell into that market.

5             So my question is:  Under those circumstances,

6  would a utility have to go outside of California to find a

7  replacement or renewable to keep the resource mix the same?

8             MR. EL-GASSEIR:  The state's resource mix will

9  stay the same.  The utility's resource mix or goals for

10  renewables may not be the same.

11       Q.    So I think I understand your answer.  What you're

12  saying is that the utility's resource mix will now be

13  different?

14             MR. EL-GASSEIR:  Might be different, yes.

15       Q.    Okay.  But as far as the renewable resource mix

16  within the state of California, it's identical to conditions

17  before my hypothetical?

18             MR. EL-GASSEIR:  Well --

19             MR. KARP:  Your Honor, I'm going to object.  I

20  don't understand the relevance of this anymore to the

21  proceeding.  We're assuming that the contract has expired,

22  is not receiving payments under PURPA anymore.  So I don't

23  see how this is related to the proceeding.

24             ALJ COOKE:  Would you like to respond?

25             MR. WOODRUFF:  No.  That's fine.  I can move on.

26             ALJ COOKE:  Why don't you do so, then.

27             MR. WOODRUFF:  I think the point is made.

28             ALJ COOKE:  Thank you.

1078

1             MR. WOODRUFF:  Q.  In the same passage we were

2  focusing on, you make a reference to substitute renewable

3  resources, and then you refer to, quote, "in-kind

4  generation."  Do you see that?

5             MR. EL-GASSEIR:  Which page, now, is that?

6       Q.    We're still at page 4.

7             MR. EL-GASSEIR:  Page 4.

8             ALJ COOKE:  Let's be off the record.

9             (Off the record discussion.)

10             ALJ COOKE:  Let's be back on the record.

11             We're looking at Exhibit 22, page 4 and 5.

12             Mr. Woodruff?

13             MR. WOODRUFF:  Yes.

14       Q.    Do you see the reference there to in-kind

15  generation?

16             MR. EL-GASSEIR:  Yes.  An in-kind generation.

17       Q.    Okay.  Is it your position that PURPA or the

18  PURPA implementing regulations require the Commission in

19  determining avoided costs to determine the avoided costs by

20  looking to -- avoided costs for a renewable resource by

21  looking to an alternate renewable resource that the utility

22  could purchase from?

23             MR. EL-GASSEIR:  No, that's not my position.

24  PURPA does not require that.

25       Q.    Turning to page 11 of your rebuttal testimony.

26  Again, I'm sorry.  I don't have a line reference.  You make

27  the statement, quote:

28             "Caithness believes that there are substantial

1079

1       indications that the proper allocation of a

2       rational methodology and the use of new data under the

3       applicable federal standard, taking into account

4       established state policies on renewable energy may

5       result in TLF values higher than the current parameters

6       embedded in the contract."

7             Do you see that?

8             MR. EL-GASSEIR:  I don't see it, but I remember

9  that paragraph, yes.

10             ALJ COOKE:  Let's be off the record.

11             (Off the record discussion.)

12             ALJ COOKE:  Back on the record.

13             Do you see that, Mr. El-Gasseir?

14             MR. EL-GASSEIR:  I see it.

15             MR. WOODRUFF:  Q.  What are the current

16  parameters embedded in the contract that you refer to?  Let

17  me state it differently.

18             What contract are you referring to?

19             MR. EL-GASSEIR:  Talking about the standard offer

20  contract.

21       Q.    What line loss parameters are you then referring

22  to?

23             MR. EL-GASSEIR:  The 1.023 line loss factor.

24       Q.    Okay.  Is that number stated anywhere in the

25  standard offer contract, to your knowledge?

26             MR. EL-GASSEIR:  I can't say that at this point.

27  It's been a while since I've seen the contract.

28       Q.    Do you know one way or the other?

1080

1             MR. EL-GASSEIR:  I imagine that they are embedded

2  in the contract, yes.  That's what the dispute is about,

3  those changes.

4       Q.    Isn't the line loss factor something that was

5  determined by the Commission after the standard offer was

6  finalized?

7             MR. EL-GASSEIR:  I can't say so.  I was not

8  involved at that time, when that debate was going on.

9       Q.    Do you know whether the line loss factors are

10  published in the utility's tariffs?

11             MR. EL-GASSEIR:  There are line loss factors that

12  are published in the utility's distribution tariffs.

13       Q.    Do you know whether it's contained, for example,

14  for Edison, in Edison's posted avoided cost posting for

15  transmission level factors?

16             MR. EL-GASSEIR:  Can you repeat that question?

17       Q.    Do you know whether the transmission level

18  factors are contained in Edison's posted avoided costs?

19             MR. EL-GASSEIR:  I can't say.  My understanding

20  is that that's the ISO or the line loss factors of the ISO,

21  at this point after the restructuring of the industry, the

22  line loss factor projections and estimations of the ISO.

23       Q.    I take it it's not your testimony, then, that

24  the QFs have a contractual right to a particular rate.  Is

25  that a fair statement?

26             MR. EL-GASSEIR:  No, that's not.

27             MR. KARP:  Can I ask a clarifying question?

28             Are you saying all QFs?

1081

1             MR. WOODRUFF:  Let me ask the question

2  differently.

3       Q.    I take it it's not your testimony that a QF which

4  has an unmodified standard offer contract has a contractual

5  entitlement to a specific numeric rate of loss?

6             MR. EL-GASSEIR:  I can't answer that question.

7  It's not my field.

8       Q.    Okay.  Now, in the sentence that I quoted to you,

9  you also refer to new data.  Do you see that?

10             MR. EL-GASSEIR:  Which one is that?

11       Q.    It's the one we were just talking about, on page

12  11.

13             MR. EL-GASSEIR:  Uh-huh.

14       Q.    And you talk about a rational methodology that

15  was used in data.

16             MR. EL-GASSEIR:  In the use of new data.

17       Q.    What new data are you referring to there?

18             MR. EL-GASSEIR:  I was referring to data that

19  will take into account the changes that happen in the

20  marketplace in order to make long-term projections, because

21  that in my view would be part of the methodology.  In order

22  to make a decision, you have to project over the remaining

23  life of the contracts what would be the impact of one policy

24  or another, one decision or another, and that requires some

25  data about the market, about prices, and services, things

26  that are -- I don't see them present in any of the work that

27  I've seen so far.  I haven't seen it in the workshop report,

28  and I haven't seen any of that in the evidence of the San

1082

1  Diego study.

2       Q.    Okay.  So --

3             MR. EL-GASSEIR:  If you want me to give you a

4  specific example, I can give you a specific example.

5       Q.    Yeah.  I'd like to have a specific example of the

6  type of data you're talking about.

7             MR. EL-GASSEIR:  Well, the thing we just talked

8  about a little bit earlier, which is where does the power

9  come from.  The power exchange a hundred percent or from the

10  bilateral contracts.  Where are these bilateral contracts?

11             ALJ COOKE:  Slow down.  Off the record.

12             (Off the record discussion.)

13             ALJ COOKE:  Let's be back on the record.

14             MR. EL-GASSEIR:  I have not seen that.  The

15  example that I'm talking about, which is very important,

16  where would the replacement power come from.  There have to

17  be some assumptions made about the source in the long run.

18  So far you are assuming it comes only from the power

19  exchange.  I argue that in not even the long run, within a

20  year or two will come from other sources as well.

21             MR. WOODRUFF:  Q.  Wouldn't the current

22  methodology take that into account if the energy flows into

23  the California border?

24             MR. EL-GASSEIR:  No, it would not.  You're

25  talking about the GMM.  No, it would not.

26       Q.    Okay.  Why would you want to do a long run

27  analysis that took into account these forecasts and

28  assumptions we're talking about when what we're looking at

1083

1  is an adjustment to a short-run avoided cost which is

2  determined hourly?

3             MR. EL-GASSEIR:  Well, it's as I said earlier.

4  The payment to the QF has two components:  The megawatts or

5  megawatt hours, and the price.  And the megawatt hours is

6  what is delivered, which incorporates the line loss, and

7  that line loss you have to interpret.  If you want to see

8  what the savings are, whether this is a good decision for

9  the Commission to adopt one methodology or another, it has

10  to do some projections to see if this is really a good

11  decision for the public, public policy purposes.  You have

12  to do some studies over the future.  And the line losses,

13  they depend on the topology of the system and the demand and

14  the supply, et cetera.  Even if they are -- Even if you go

15  down to the methodology that evaluates them hour by hour,

16  you still have to evaluate a trend, a drift in the line

17  losses over the remaining life of the contract.

18       Q.    Why do you need to do that without --

19             MR. EL-GASSEIR:  You need to do that--

20       Q.    Excuse me.  I'm not done with my question yet.

21             Do you need to do that to validate the

22  reliability of methodology, or is it a determination that

23  you need to make in order to calculate a number that should

24  be applied?

25             MR. EL-GASSEIR:  You need to do that to support,

26  to show the Commission whether the decision that will

27  involve many years -- the application of methodology for

28  many years is a good public policy decision or not.  You did

1084

1  that when you put this $1.2 billion assessment.  You

2  projected into the past to support the decision.  I'm saying

3  the proper methodology must go into the future to see the

4  impact of what you're doing.

5       Q.    So one of the things the Commission should take

6  into account is the rate payer impact of using one

7  methodology over another?

8             MR. EL-GASSEIR:  That will be part of that

9  analysis, yes.

10       Q.    All things being equal, do you have an opinion as

11  to whether or not, all things being equal, the Commission

12  should adopt a methodology that results in rate payer

13  savings?

14             MR. EL-GASSEIR:  Yes, the Commission should adopt

15  a methodology that results in rate payer savings everything

16  else being equal, yes.

17       Q.    Now, in the sentence we've been focussing on,

18  you also described a rational methodology.  Do you see that?

19             MR. EL-GASSEIR:  Uh-huh.

20       Q.    Is there some methodology that you have in mind?

21             MR. EL-GASSEIR:  No.  I think this methodology is

22  -- I don't have anything particular in mind because there

23  are a number of things going on.  But talking about actual

24  methodologies that all of the people who have an interest in

25  resolving this issue, they have -- there is enough reason

26  between them and they can come up with something that will

27  be comfortable to everybody.  It's a consensus methodology.

28  It's not something that one side would do in the absence of

1085

1  everybody else's contribution.  And it's not something that

2  you import canned and wrapped up into some title like GMM

3  from the ISO.  That's not the proper way to do things.  It's

4  a very complex issue, and no wonder the Commission couldn't

5  resolve it for about -- you know, for more than ten years.

6       Q.    On page 11 of your testimony, you state that,

7  quote:

8             "The Commission may take into account the

9       Legislature's determination that renewables should be

10       encouraged in applying the rate payer in different

11       standard."

12             Do you see that?

13             MR. EL-GASSEIR:  Now, which one is this?

14       Q.    "The Commission may take into account the

15       Legislature's determination that renewables should be

16       encouraged in applying the rate payer in different

17       standard."

18             ALJ COOKE:  Let's be off the record.

19             (Off the record discussion.)

20             ALJ COOKE:  Let's be back on the record.

21             MR. EL-GASSEIR:  Yeah, I see that now.

22             MR. WOODRUFF:  Q.  Okay.  In what way can the

23  Commission take the Legislature's determination concerning

24  renewables into account in applying the rate payer in

25  different standard, in your opinion?

26             MR. EL-GASSEIR:  Now, can you repeat that

27  question.  I'm sorry.  I was reading.

28       Q.    Okay.  How should the Commission take into

1086

1  account the Legislature's determination that renewables

2  should be encouraged in the Commission's application of the

3  rate payer in different standard in this proceeding?

4             MR. EL-GASSEIR:  Quite simply what I mean by

5  that, if the Commission reaches an impasse and it cannot be

6  determined one way or the other whether there is -- the

7  impact, one policy or the other cannot be determined on the

8  rate payers, there's too much noise, in other words, in the

9  data, or the lack of an agreed methodology, I'm saying the

10  Commission should err on the good side, the side of the

11  state's policy to encourage renewables.

12       Q.    Okay.

13             MR. EL-GASSEIR:  The last resort principle for

14  me, is that, you know, if you can't decide, then encourage

15  the renewables.

16       Q.    So all things being equal and balances equal

17  between two opposing methodologies, that's the policy the

18  Commission can take into account?

19             MR. EL-GASSEIR:  If you can actually have two

20  equal methodologies.

21       Q.    At page 13 of your rebuttal testimony, you state

22  that after the end of the transition period, Edison will be

23  forced to seek an alternate source of supply.

24             MR. EL-GASSEIR:  Where is that, now?

25             ALJ COOKE:  Let's be off the record.

26             (Off the record discussion.)

27             ALJ COOKE:  Let's be back on the record.

28             Do you see that, Mr. El-Gasseir?

1087

1             THE WITNESS:  Yes, I see it.  13 and 14.

2             MR. WOODRUFF:  Q.  What is the basis of that

3  statement?

4             MR. EL-GASSEIR:  The basis for that statement is

5  that when the power exchange is not guaranteing customers

6  anymore, I expect the prices to be quite volatile, and any

7  rational utility will seek to hedge its risks by going to

8  bilateral contracts.

9       Q.    In your opinion, are there any risks associated

10  with long term bilateral contracts?

11             MR. EL-GASSEIR:  There are risks.

12       Q.    Forecast risks?

13             MR. EL-GASSEIR:  What's that?

14       Q.    Forecast risks.

15             MR. EL-GASSEIR:  Forecast risks, yes.

16       Q.    For example, IS04 in the first period might be a

17  good example.

18             MR. KARP:  Objection.  What is the relevance of

19  this question?  We're not here to examine whether IS04 was a

20  good deal or a bad deal for the rate payers.

21             MR. WOODRUFF:  Q.  I'm not commenting on whether

22  it's a good deal or bad deal.  I'm asking for your opinion

23  of whether that would be a good example of forecast risk.

24             MR. EL-GASSEIR:  I don't think so.

25       Q.    Do you have any knowledge on the subject of

26  whether the forecast pricing in the first period of IS04

27  exceeded market prices?

28             MR. EL-GASSEIR:  Without going into any

1088

1  specifics, I can give you a concrete example.  The LADWP had

2  a standard officer contract, it might not have been a good

3  investment as it made now, and unless you are the LADWP, Los

4  Angeles Department of Water and Power, has invested in the

5  InterMountain power project and it's heavily in debt and

6  still suffering.  Its rate payers are suffering from that.

7  So you have to do a real thorough evaluation of the life of

8  the contract.

9       Q.    But you concede, would you not, that there is

10  risk associated with long term bilateral contracts?

11             MR. EL-GASSEIR:  Absolutely.

12       Q.    Is one way for a utility such as Edison to

13  insulate itself from risk to buy power in the pool markets?

14             MR. EL-GASSEIR:  Yes.  The ideal thing is some

15  sort of a mixture between short term purchases and from the

16  pool and long term purchases, and that's because both of

17  them have risks and you hedge one with the other.

18       Q.    Do you have any idea how many megawatts worth of

19  licensing applications are currently pending at the

20  California Energy Commission?

21             MR. CRAGG:  Your Honor, I'm having a hard time

22  seeing how that relates to any of the testimony.

23             ALJ COOKE:  Can you relate that, Mr. Woodruff?

24             MR. WOODRUFF:  If I understand the witness's

25  testimony, it's that Edison and other utilities will be

26  forced at the end of the transition period to go to the far

27  reaches of the planet to buy power, and the reason for that

28  is that in this witness's opinion, the demand in the

1089

1  foreseeable future is going to exceed supply.  My question

2  goes to that witness's knowledge of the likely supply and

3  increase of supply in the foreseeable future.  I'm testing

4  the witness's statement.

5             ALJ COOKE:  I'll allow the question.

6             MR. EL-GASSEIR:  First of all, I did not say to

7  the far corners of the earth.  And the problem is now only a

8  shortage of -- the demand supply balance.  In fact, I said

9  Edison will be forced to buy bilateral in the immediate

10  future, immediately meaning within a year or two, as soon as

11  the transition period is over, because of the volatility in

12  the price of the power exchange.  Edison has to cover itself

13  and its rate payers and shareholders.

14             As far as what's before the CEC in terms of

15  licensing, the number runs somewhere between, depending how

16  serious the projects are, how you consider them, somewhere

17  between 10,000 and 20,000 megawatts.

18             MR. WOODRUFF:  Q.  Do you have any forecast as to

19  what the likely annual increase over the next five years in

20  demand will be in the state of California?

21             MR. EL-GASSEIR:  Very vaguely.  But I would not

22  even speculate as to what it is at this point, but it is

23  quite strong.  And all I can tell is it supplies quite a lot

24  of people.

25       Q.    Are you familiar with recent CEC reports

26  available on the website that predict a thousand megawatt

27  annual increase over the next five years?

28             MR. EL-GASSEIR:  I have not looked at that, no.

1090

1       Q.    When the transition period ends, is there any

2  prohibition to your knowledge against a utility like Edison

3  entering into a bilateral contract with a new in-state plant

4  such as those that are under licensing consideration at the

5  CEC?

6             MR. EL-GASSEIR:  I can't say -- I can't answer

7  that question.  I don't know what will happen as a condition

8  at the end of the transition.

9       Q.    So you can't state for a fact that there would be

10  a prohibition against that; is that true?

11             MR. EL-GASSEIR:  Well, it depends on which Edison

12  you're talking about.

13       Q.    Southern California.  I'm sorry.

14             MR. EL-GASSEIR:  The regulated utility?  Which

15  part of Edison International are you talking about?

16       Q.    The utility.  The regulated utility.

17             MR. EL-GASSEIR:  The utility.  I don't know.

18  There may be restrictions on that.  I don't know.

19       Q.    Okay.  At page 13, again, of your -- Well, let me

20  ask you a slightly different question.

21             Would you say that it is a fair statement that

22  the utilities such as Edison, when the transition period

23  ends, will only go out of the California market to buy

24  energy if it's economic for them to do that?

25             MR. EL-GASSEIR:  Can you repeat that again?  I

26  think I missed a word or two there.

27       Q.    Yeah.  Would you say that it is a fair statement

28  that once the transition period ends, that utilities such as

1091

1  Southern California Edison will only go out of state to

2  purchase electricity if it is economic for them to do so?

3             MR. EL-GASSEIR:  Yes, it's a fair statement.

4       Q.    Let me refine that slightly.  Would you say that

5  it would be a fair statement that utilities such as Southern

6  California Edison will only go out of state to buy

7  electricity when the transition period ends if the price of

8  that energy is lower than available prices in state?

9             MR. EL-GASSEIR:  That sounds a little bit too

10  simplistic for me to say yes or no.

11       Q.    What else would you need to know?

12             MR. EL-GASSEIR:  Depends on the cost of the

13  contract or even how long.  It's an assessment.  Edison will

14  make a decision that will be in the interests of its

15  shareholders and rate payers and will choose from that

16  criteria.  There's a number of factors.

17       Q.    Well, I think that's a fair statement, and so

18  I'll just leave it at that.  It would be -- They would only

19  do it if it were economic to do so?

20             MR. EL-GASSEIR:  Yes.

21       Q.    And there would be a number of factors they would

22  have to take into account to make that determination.

23             MR. EL-GASSEIR:  Yes.

24       Q.    Now, turning to page 13, you propose an

25  illustration -- it starts on page 13 of my copy and goes to

26  page 14.  And this is the one where you're making an

27  assumption about the GMM for a particular QF generator, and

28  it makes some assumptions about line losses for imports.

1092

1  The first question I have for you is whether or not the

2  number that you refer to there of the net result of a loss

3  of .7 percent is correct.

4             MR. EL-GASSEIR:  Using the numbers there as far

5  as the percent, roughly, yes.

6       Q.    Shouldn't the number be .03 percent?  I'm sorry.

7  3 percent.

8             MR. EL-GASSEIR:  3 percent?

9             ALJ COOKE:  Let's be off the record.

10             (Off the record discussion.)

11             ALJ COOKE:  Let's be back on the record.

12             Mr. Woodruff, that calculation should be 3

13  percent.

14             Mr. Woodruff has amended that calculation to be

15  the net result is a loss of 3 percent.

16             MR. EL-GASSEIR:  Yeah.  I think -- I guess it is

17  3 percent, yes.  I have to look on that.  Could be an

18  arithmetical mistake.

19             MR. WOODRUFF:  Q.  Wouldn't the points of

20  comparison be the QFs GMM of .93 and an assumed GMM import

21  of .90, consisting of a 4 percent loss to the border and an

22  assumed GMM of .94?

23             MR. EL-GASSEIR:  If that's what the numbers add

24  up to, that's correct.  But the point is that import GMMs

25  only start at the border at that time.  You have to add

26  whatever percentage the -- for example, if you buy from

27  Bonneville, you have to add the percentage from Mid-C to the

28  Malin border, and Bonneville will tack that on to the

1093

1  southern net losses as well.

2       Q.    I agree with that, and I was assuming that for

3  purposes of my question.  Just to put things on an equal

4  footing, I'm just describing it in terms of GMMs.  My

5  understanding was that you had a loss of 4 percent to the

6  border and a GMM of .94 from the border to the load, so that

7  the effect of GMM, if you will, putting things on equal

8  footing, would be .9.

9             MR. EL-GASSEIR:  Remember, the GMM is designed to

10  compute losses for the entire ISO control area.  So it's not

11  accurate in the first place.

12             ALJ COOKE:  Let's be off the record.

13             (Off the record discussion.)

14             ALJ COOKE:  Let's be back on the record.

15             Did you have any additional comment on your

16  response to Mr. Woodruff's question?

17             MR. EL-GASSEIR:  My response to him is that the

18  GMM itself is inaccurate as far as evaluating losses because

19  evaluation of losses is not only to the entire ISO control

20  area, not to Edison, not to the utility that's holding the

21  QF contract.  So what I'm saying, we're using the wrong

22  currency here.

23             MR. WOODRUFF:  Q.  I understand that.  But for

24  purposes of your illustration, we're comparing apples to

25  apples, even if they're the wrong apples.  So should the

26  number be 3 percent?

27             ALJ COOKE:  Let's be off the record.

28             (Off the record discussion.)

1094

1             ALJ COOKE:  Let's be back on the record.

2  Mr. El-Gasseir, have you clarified what the calculation

3  should be?

4             MR. EL-GASSEIR:  Yes.  Assuming that the GMM --

5  well, ignoring the problems with using the GMM, a comparison

6  will be an effective GMM for both resources with a

7  difference of .3.

8             MR. WOODRUFF:  Q.  Thank you.

9             Now, this illustration that you have put into

10  your testimony, is it price sensitive?  In other words --

11  Well, let me ask you this differently.

12             Implicit in your illustration is an assumption

13  that the price paid to the QF is the same as the border

14  price; isn't that correct, for purposes of calculating a net

15  loss or gain?

16             MR. EL-GASSEIR:  Yeah.  The prices are not part

17  of the analysis.  This is just comparing quantities.

18       Q.    Okay.  So the answer to my question is yes, it

19  essentially assumes the same price, the price is a constant

20  through this for purposes of comparison?

21             MR. EL-GASSEIR:  You can assume that, that's

22  right.

23       Q.    Okay.  If I were to assume a lower price for the

24  import, that would affect your analysis, would it not?

25             MR. EL-GASSEIR:  Yeah.  In that case what you

26  will do, you will basically renew on a net payment basis the

27  price times the loss factor times the megawatts, and the

28  bottom line is that the amount of dollars that you will pay

1095

1  the delta and that delta will be provided by the megawatts,

2  and you see what the difference is.

3       Q.    So in terms of computing cost or savings

4  associated with the application of a particular line loss

5  factor, you have to -- you can't just look at quantity

6  analysis, you have to look at quantity and price; correct?

7             MR. EL-GASSEIR:  Yes, you have to look at both.

8       Q.    All right.  I'm almost done.  If you'd just bear

9  with me, I have one hypothetical I'd like to go through.

10             MR. EL-GASSEIR:  Harrison just reminded me.  I

11  misspoke.  If I may.  It's .03, not .3.

12             MR. CLARK:  It's 3 percent.

13             ALJ COOKE:  Let's be off the record.

14             (Off the record discussion.)

15             ALJ COOKE:  Let's be back on the record.

16             We're going to make a correction to Exhibit 22.

17  On page 14, the last line of the first partial paragraph,

18  where it says .0.7, that should be replaced with 3.0.

19             MR. WOODRUFF:  Yes.  Thank you for clarifying.

20             ALJ COOKE:  All right.  I think there was a

21  different question pending, though.  Can you repeat the

22  question, Mr. Woodruff?

23             MR. WOODRUFF:  Actually, I don't think there was

24  a question.  I was just saying I was going to go through a

25  hypothetical here, and we're almost done.

26       Q.    The hypothetical is I want you to assume that --

27  using your illustration, I just want to put some prices into

28  this.  I want you to assume that the import price -- this is

1096

1  making all the assumptions in your hypothetical, that the

2  import price that Edison pays is $8 a megawatt hour.  Okay.

3  I want you to assume that Edison has a thousand dollars to

4  spend on import.

5             Would you agree with me that the unit cost to

6  Edison in that purchase is a $125 a megawatt hour?

7             MR. EL-GASSEIR:  Yes.

8       Q.    Using the line loss assumptions that you have

9  indicated of 4 percent to the border and a GMM of .94 for a

10  total loss factor of .9, would you agree that the unit cost

11  -- I'm sorry -- that the effective delivery to the load is

12  112.5 megawatt hours?  In other words, what I'm doing is

13  dividing 125 by .9.  Multiplying 125, I'm sorry, by .9.

14             MR. EL-GASSEIR:  Start from the beginning.  You

15  started with $8 a megawatt hour?

16       Q.    Right.  $8 a megawatt hour.  You got a thousand

17  dollars to spend.

18             MR. EL-GASSEIR:  Multiplying 125 megawatt hours.

19  Okay.

20       Q.    And there's a loss rate assumed in your

21  illustration of .9.

22             MR. EL-GASSEIR:  Yes.

23       Q.    Is the megawatt hours delivered at the load 112.5

24  megawatt hours?

25             MR. EL-GASSEIR:  9 times 125 --

26             ALJ COOKE:  Let's be off the record.

27             (Off the record discussion.)

28             ALJ COOKE:  Let's be back on the record.

1097

1             Did you agree with that calculation?

2             MR. EL-GASSEIR:  Yes, I would agree with that

3  calculation, stipulate to it.

4             MR. WOODRUFF:  Q.  Would you agree with me that

5  the correct way to calculate the per unit cost on a megawatt

6  hour basis of that transaction would then be to divide 112.5

7  by a thousand, which was the total purchase price?

8             MR. EL-GASSEIR:  It would give you the price of

9  the delivered unit.

10       Q.    I'm sorry.  I got it backwards again.  1,000 over

11  112.5.

12             MR. EL-GASSEIR:  Yeah.  You'll get the effective

13  price.

14       Q.    Okay.  And would you agree with me that the

15  effective price in that transaction on a megawatt hour basis

16  is 8.88?  $8.88?

17             MR. EL-GASSEIR:  It's basically 1.09 times your

18  $8 originally, so that's right.

19       Q.    And that would be another way to calculate?

20             MR. EL-GASSEIR:  Yeah.  A faster way to do it.

21       Q.    Okay.  Now I'd like to, in your illustration you

22  assume a GMM for a hypothetical QF of .93.

23             MR. EL-GASSEIR:  Yeah.  That's what the example

24  says there.

25       Q.    Okay.  I want you to assume that Edison has the

26  same thousand dollars to spend.

27             MR. EL-GASSEIR:  Uh-huh.

28       Q.    If it spends that money and buys the energy from

1098

1  the QF, what is the per unit cost?

2             ALJ COOKE:  Let's be off the record.

3             (Off the record discussion.)

4             ALJ COOKE:  Let's go back on the record.

5             Was there some additional information in the

6  hypothetical, Mr. Woodruff?

7             MR. WOODRUFF:  Yes, there are.

8       Q.    I want you to assume that in this proceeding the

9  economics sets a SRAC that is equal to the market clearing

10  price, the market clearing price, and in this hypothetical

11  the market clearing price in the hour of transaction is $10.

12             Assuming now that Edison's expends $1,000 to

13  purchase energy from the QF, can you calculate what the per

14  unit cost is if you assume a .93 GMM?

15             MR. EL-GASSEIR:  As I said, it is faster to say

16  1. -- what -- 1.07 times the $10 -- did you say $10?  Right?

17       Q.    $10, yeah.

18             MR. EL-GASSEIR:  Yes.  Okay.  Would be $10.70.

19       Q.    This is if the GMM is --

20             MR. EL-GASSEIR:  93 percent.

21       Q.    And if the GMM is .93 and it's not applied to the

22  transaction.

23             MR. EL-GASSEIR:  Right.

24       Q.    If Edison buys this energy from this QF, there's

25  a loss factor of .93; right?

26             MR. EL-GASSEIR:  Right.

27       Q.    So it only receives .93 percent of the generation

28  at the level; correct?

1099

1             MR. EL-GASSEIR:  Yes.

2       Q.    Okay.  My first question is if you don't apply a

3  GMM to that transaction, what is the unit cost?

4             MR. EL-GASSEIR:  $10.

5       Q.    Isn't the -- Sorry.

6             If you don't apply a GMM to that transaction,

7  isn't the unit cost, $10.75?

8             MR. EL-GASSEIR:  Why would it be?  There's no

9  losses.  You're generating, delivering the same amount.  The

10  $10 is the market price.  Still remains the price.

11       Q.    And if you do apply a GMM to that transaction?

12             MR. EL-GASSEIR:  It would be $10.70.  Except you

13  forgot one little fact.  You're using two different prices.

14  Selling in the northwest and all things equal, selling on

15  the short run, there is no reason to sell at a lower price.

16  You will sell at the same price as the northwest, as the

17  power exchange.  So sell at $10.

18       Q.    Wouldn't the seller in the northwest take into

19  account the losses associated with transmission of its power

20  to the south?

21             MR. EL-GASSEIR:  To the Malin Midland border.

22  But he has no control over that.  He has no control over

23  that power exchange market price.  The market policy, he

24  cannot influence that.  Assuming they are not a marginal

25  bidder, they would have to accept their price and accept the

26  $10.  In both cases, both sellers, the power plant in

27  California and the northwest producers, they are looking at

28  a power exchange where neither of them can influence its

1100

1  prices.  They both see $10.  They both want to sell at $10

2  in the short run.

3       Q.    Wouldn't the bidder in the northwest -- assuming

4  it wants to attract a buyer in the southern part of

5  California, wouldn't it need to take into account the

6  application of GMMs in its pricing in order to attract that

7  buyer or induce that buyer to buy their's instead of from

8  the power exchange?

9             MR. EL-GASSEIR:  Well, in that case, it makes the

10  northwest -- I mean, why would they?  If it's the same kind

11  of contract, short run, unless there's a long term deal,

12  there's something else going on, but we're assuming it's the

13  same kind of transaction here, why should they attract a

14  customer in California versus selling to a power exchange?

15  Why should they underbid the power exchange, whether its

16  losses of losses or not?  They sell at the same price.

17       Q.    So you're saying is that over time the border

18  price and the power exchange price will equilibrate?

19             MR. EL-GASSEIR:  What I'm saying is that the

20  seller who comes to the Oregon California border looks at

21  the power exchange and sees another customer who wants to

22  buy bilateral.  Unless there's something else going on like

23  a long term deal, some other advantages, transmission,

24  whatever, but if it is selling, you know, in the day ahead

25  market or the hour ahead market, they will charge the same

26  price exactly if they are smart.

27             Now, if they have something else in mind, they

28  want to catch a customer, they want a guaranteed market

1101

1  place, goodwill, et cetera, you know, we're not taking that

2  into account.  We're saying everything equal, there should

3  be no difference in price.

4       Q.    In the hypothetical we just went through where

5  the unit cost for the purchase was $8.88 in the state and

6  the unit cost in the power exchange -- or, I'm sorry, from

7  the QF was either $10 or $10.75, depending on whether you

8  applied GMMs or not, what's the appropriate avoided cost for

9  the determining SRAC?

10             MR. KARP:  I object.  I thought there was an

11  assumption that the SRAC was the PX and PX was 10.

12             ALJ COOKE:  I'm going to sustain that objection.

13             MR. WOODRUFF:  I don't have any more questions.

14             ALJ COOKE:  All right.  Why don't we take a ten

15  minute break for the reporter.  We'll be off the record.

16            (Off the record, 2:55 - 3:10 p.m.)

17             ALJ COOKE:  Let's be back on the record.  We will

18  proceed with cross examination by Mr. Ramos for ORA.

19                      EXAMINATION

20             BY MR. RAMOS:  Q.  I'd refer you to page 5 of the

21  direct testimony.

22             I would say that these questions are more policy

23  oriented.  So whoever may -- whoever feels qualified to

24  answer, please go ahead.

25             When you discus the study, where you state

26  There's no indication that the study did anything other than

27  compare QFs with nearby SD&G generation, what city are you

28  referring to there?

1102

1             MR. CLARK:  What city?

2       Q.    What city?

3             MR. CLARK:  Oh.  The San Diego.

4       Q.    Where was that study filed?  Do you know in what

5  proceeding?

6             MR. CLARK:  By the workshop.

7       Q.    I'm looking at the workshop report.  Is that the

8  study filed by -- authored by Abaas M. Abed, dated February

9  8, 2000?

10             MR. CLARK:  It was.

11       Q.    Okay.  Again, on page 5, you state that, quote:

12             "San Diego Gas and Electric makes substantial

13       off-system purchases and has for many years.  The

14       losses associated with the off-system purchases

15       should have been recognized in the analysis," end of

16       quote.

17             Can you define for me "off-system" as used by

18  you.

19             MR. CLARK:  Roughly it would be something north

20  of SONGS or something that power comes in over the southwest

21  power line, outside their traditional service territory.

22       Q.    Can you specifically define the losses you

23  referred to there.

24             MR. CLARK:  The losses in --

25       Q.    In that quotation.

26             MR. CLARK:  The losses that would occur between

27  the source of power and the edge of their system on the

28  study didn't say exactly where they do the line.  Abed did

1103

1  testify that he only considered on-system losses.  If he

2  shut down a QF and started up some units in the northwest,

3  actually he spoke of the northwest, he assumed that the

4  losses that affected him were only losses on his own system,

5  that he would not have to pay in some way for losses that

6  occurred north of his system.

7       Q.    Let me see if I can be a little bit more precise.

8  With respect to the losses that should have been recognized,

9  would those be all losses of off-system purchases, or only

10  off-system losses that would vary due to the absence of QFs?

11             MR. CLARK:  That would replace the QFs.

12       Q.    So the second -- the latter of the two?

13             MR. CLARK:  Yes.

14       Q.    Assume for a second, all things being equal, if

15  an existing contract for an off-system purchase had a

16  variable price that was well below the PX price, would San

17  Diego Gas and Electric maximize how much it could purchase

18  pursuant to that contract?

19             MR. EL-GASSEIR:  Yeah.  It would try to buy as

20  much as possible, yeah.

21       Q.    Would that purchasing behavior be impacted in any

22  way by the amount of QFs within the California market?

23             MR. EL-GASSEIR:  Because if the QFs for San Diego

24  is a must take, it will limit their ability to how much they

25  buy from the northwest, right.

26       Q.    Let me ask the question again.  Given the

27  hypothetical that was part of the previous question and

28  keeping that hypothetical in mind, if we change that

1104

1  hypothetical by taking out some of the QFs within the

2  California marketplace, would that impact the previous

3  hypothetical in their purchasing behavior?

4             MR. EL-GASSEIR:  I'm getting too many

5  hypotheticals.  Can you summarize again, or restate it.

6       Q.    I'll restate the question.

7             So in the instance of the previous question,

8  purchases from that contract, the hypothetical contract,

9  meaning that there was a variable price that was well below

10  the PX price.  Okay.  So in that instance, purchases from

11  that contract, would they vary if there were fewer QFs?

12             MR. EL-GASSEIR:  Would what?

13       Q.    Would they vary if there were fewer QFs?

14             MR. EL-GASSEIR:  If there was fewer QFs, they

15  will buy more, yes.  Possibly, yes.

16       Q.    On page 6, the testimony states, basically, that

17  a substantial portion of avoided generation would have come

18  from remote, out of state resources, on the top of page 6.

19             MR. EL-GASSEIR:  Uh-huh.

20       Q.    Were those resources -- Can you identify what out

21  of state resources you mean there.

22             MR. EL-GASSEIR:  Let me see for a minute.

23             I believe the sentence was talking about what

24  would have happened if we didn't have QF generation, and in

25  that case, I can actually give you specific examples.  White

26  Pine would probably have not constructed in Nevada.

27  Thousand Springs would probably have been constructed in

28  Nevada.  Before that, a little bit earlier, although it had

1105

1  some time to survive --

2             ALJ COOKE:  Let's be off the record.

3             (Off the record discussion.)

4             ALJ COOKE:  Let's be back on the record.

5             You can start your answer again if you would like

6  to.

7             MR. EL-GASSEIR:  Okay.  Just to repeat, among the

8  projects that would actually solicit California support and

9  would reject it because of the QF program are White Pine

10  coal power plant in Nevada, Thousand Springs coal power

11  plant in Nevada.  Washington Public Power Supply System

12  Units 1, 3, 4 and 5 is a nuclear power plant out in the

13  state of Washington.  They had rejected it.  In particular I

14  remember Commissioner Chairman Leonard Grimes at that time

15  specifically rejected a solicitation from northwest

16  investors to California to take over the projects 4 and 5.

17             MR. RAMOS:  Q.  So would the generators that you

18  just described, that you just identified, would those be --

19  and looking at your testimony, would those be the remote,

20  out-of-state resources that were planned --

21             MR. EL-GASSEIR:  No.

22       Q.    -- before the growth of QF power?

23             MR. EL-GASSEIR:  Those are the ones that

24  probably, at least one of them, or two, may have -- we would

25  have been involved in long term contracts with it had it not

26  been for the QF -- the emergence of the QF sector in the

27  state.

28       Q.    One or two, but not all of them?

1106

1             MR. EL-GASSEIR:  You know, I can't say.  Probably

2  not likely all of them, for a variety of reasons.  It's not

3  just California, did not -- was controlling things, but

4  California gave them a warm reception.  Maybe two of them

5  would have been constructed.  And there are other examples I

6  didn't cite, by the way.

7             MR. CLARK:  Two would be J.R. Simplot, the potato

8  King in Idaho, was looking seriously at plants to serve in

9  California; and Canada was going to build a combination of

10  nuclear, hydro and thermal plants in Canada, central Canada,

11  to serve southern California.  They invested a lot of money

12  in studies.

13       Q.    Well, let me ask you whether at the time that you

14  formulated your testimony, you had those specific generating

15  entities in mind when you formulated this particular

16  testimony.

17             MR. CLARK:  To the extent this testimony

18  considers alternatives that would have come on line or might

19  have come on line in the '80s, yes.  The thought is that

20  they would still be there today if it was going to be

21  generating power today.  The losses would still be there

22  today and for some time in the future.

23             MR. EL-GASSEIR:  May I add something here?

24       Q.    Sure.  Go ahead.

25             MR. EL-GASSEIR:  As a matter of fact, I think we

26  named some of them as well in the testimony.  I also, as I

27  said earlier, take the example of another measure that they

28  did not have, a program that the investor only had, which is

1107

1  the Los Angeles Department of Water and Power and the

2  municipal satellites, and in Glendale they did invest in a

3  measure called Power Plants, and they're paying heavily for

4  that.  Quite expensive.

5       Q.    I'll move on.

6             In the construction of these -- well, I guess

7  what I'm trying to say is the fact that you didn't detail

8  those specific plants, the generating units that you're

9  describing to me now.  You say that they are within your

10  testimony.  Can you identify them within your testimony?

11             MR. EL-GASSEIR:  I think if you give us time,

12  we'll identify it before this is over, but . . .

13             MR. CRAGG:  Your Honor, I notice there's some

14  reference to page 8 in the direct testimony.

15             ALJ COOKE:  Let's be off the record.

16             (Off the record discussion.)

17             ALJ COOKE:  Let's be back on the record.

18             MR. RAMOS:  Q.  Speaking of the generating

19  resources that you've identified, have those been built?

20             MR. EL-GASSEIR:  Well, four or five, they were

21  partially built and abandoned.  They couldn't find a buyer.

22  You can still see the ghost structure they have.  The

23  cooling towers are there.  White Pine and Thousand Springs

24  went through extensive development.  I believe one of them

25  may still actually be reactivated recently or has been

26  activated.  I'm not so sure what's happening to it.  But

27  there was a very extensive campaign at the CUC and PUC to

28  continue to have these projects adopted and planned updates.

1108

1  There were people actually lobbying for them in Sacramento

2  and here.

3       Q.    So some were partially built, some abandoned?

4             MR. EL-GASSEIR:  No, not White Pine and Thousand

5  Springs; but they spent quite a few million dollars doing

6  the groundwork.

7       Q.    In planning?

8             MR. EL-GASSEIR:  Planning and studying and

9  lobbying.

10       Q.    Would those resources that were planned but not

11  built have required transmission to be built as well?

12             MR. CLARK:  Yes.

13             MR. EL-GASSEIR:  They came with their

14  transmission plants.

15       Q.    Was transmission built for -- developed for the

16  out-of-state resources that were never placed on line?

17             MR. EL-GASSEIR:  In the case of WPPSS, I believe

18  at least part of it was built because there is one unit

19  operating WPPSS, number 2, unit 2, is still operating there

20  and has to be transmission.  It's in the high desert in

21  Washington.  So must have had some transmission there.

22       Q.    But you're not 100 percent sure about that?

23             MR. EL-GASSEIR:  I'm not 100 percent sure that

24  what was built is enough to accommodate the five units that

25  were planned originally.

26       Q.    So as I understand your testimony, then, there's

27  been minimal actual building of these generating resources

28  commensurate with minimal transmission development, so it

1109

1  seems to me that your statement in that first paragraph of

2  page 6 where you state:

3             "The transmission line losses associated with

4       these remote plants are with imports from out of state

5       are considerably higher than those for QF generation,"

6       end of quote.

7             MR. EL-GASSEIR:  What page is that?

8       Q.    Yeah.  That's page 6.

9             MR. EL-GASSEIR:  And is that on the bottom?

10       Q.    It's the first paragraph, page 6.  It starts,

11  "The transmission line losses."

12             MR. EL-GASSEIR:  I think there's a mistake.

13             ALJ COOKE:  Let's be off the record.

14             (Off the record discussion.)

15             ALJ COOKE:  Let's be back on the record.

16             Mr. Ramos, you can complete your question.

17             MR. RAMOS:  Q.  For purposes of clarification,  I

18  will read the sentence in question.  On page 6 of the direct

19  testimony, second complete sentence of the continued

20  paragraph, where it states, quote:

21             "The transmission line losses associated with

22       these remote plants are with imports from out of state

23       are considerable higher than those for QF generation,"

24       end of quote.

25             That statement there, that's a hypothetical

26  statement; isn't that correct?

27             MR. EL-GASSEIR:  Yes.

28             I would like to make a correction to the language

1110

1  there, the text.

2       Q.    Okay.

3       A.    Should have said, "would have been considerably

4  higher than those for remote generation."

5             ALJ COOKE:  Rather than "are?"

6             MR. EL-GASSEIR:  Rather than "are."  Unless I

7  look at it from a point of view that I'm modeling and I'm

8  looking at the losses and I'm saying they are considerable

9  higher; and in that sense I say yes, they are.

10             ALJ COOKE:  All right.  We'll make that change to

11  the testimony on page 6.  The word "are," a-r-e, in the

12  fifth line will be replaced with "would have been."

13             MR. RAMOS:  Q.  So then upon instruction from ORA

14  staff, looking at the subsequent sentence, would you amend

15  the statement where -- and I'll quote:

16             "Therefore, the question is not whether QF

17       investments reduced transmission losses in the long

18       run, but rather by how much," end of quote.

19             Do you want to amend that statement also?

20  Because that seems it flows from the previous sentence

21  there.

22             MR. EL-GASSEIR:  No.  That's all.

23       Q.    My question, then, is how can that statement

24  stand when what we're talking about is hypotheticals,

25  unbuilt plants and unbuilt transmission.

26             MR. EL-GASSEIR:  Well, that's what I can afford.

27  If I am a QF operator, I'll claim that because of me, I

28  saved you.  You didn't get stuck with one of these

1111

1  albatrosses.

2             MR. RAMOS:  No further questions, Your Honor,

3             ALJ COOKE:  Thank you, Mr. Ramos.

4             Mr. Cragg, do you have any redirect?

5             MR. CRAGG:  I think I have only one question,

6  Your Honor.

7             ALJ COOKE:  Please proceed.

8                  RE-DIRECT EXAMINATION

9             BY MR. CRAGG:  Q.  I think a question was

10  directed to Mr. El-Gasseir earlier about the source of his

11  information concerning excess costs attributed to QFs by

12  Southern California Edison Company.  And you mentioned I

13  believed that you had read something to that effect in the

14  line loss workshop report.  Do you recall that question?

15             MR. EL-GASSEIR:  Yeah, I do recall the question.

16       Q.    Have you been able to locate the reference in the

17  workshop line loss -- I'm sorry -- the line loss workshop

18  report that you had in mind?

19             MR. EL-GASSEIR:  Yes.  It's in the only bullet on

20  the top of page 5, which reads:  "Overpayments resulting

21  from the current methodology totals approximately 26 million

22  annually for Edison and San Diego rate payers."

23       Q.    And was that what you had in mind when you

24  answered the question in that way?

25             MR. EL-GASSEIR:  That's what I had in mind.

26             MR. CRAGG:  That's all I have, Your Honor,

27             ALJ COOKE:  Any re-cross?

28             Thank you.  Mr. El-Gasseir and Mr. Clark, you're

1112

1  excused.

2             We'll be off the record.

3             (Off the record, 3:30 -- 3:40 p.m.)

4             ALJ COOKE:  Let's be on the record.

5             What we decided off the record is that assuming

6  that the transcripts get to everybody by next Wednesday,

7  that transcript corrections should be included in a letter

8  which would be served on the full service list, addressed to

9  me, copied to the chief hearing reporter, Lynne

10  Stanghellini, by May 24th.

11             To the extent that there are any objections to

12  those corrections, let's do that within -- by the 30th of

13  May.  And I'll send out a ruling identifying what the

14  corrections are that we're adopting.

15             The briefing schedule, will be opening briefs,

16  are due May 30th.  Reply briefs are due June 13th.

17             If there's any problem with receipt of

18  transcripts related to this portion of the proceeding,

19  parties will contact me, and we will re-assess at that point

20  whether there should be a change in the briefing schedule.

21  After consulting with Commissioner Neeper, we'll make that

22  ruling, but don't expect it at this point.

23             At this point in time, I will receive into

24  evidence in -- and I'm just going to do it in block --

25  Exhibits 15, 16, 17, 18, and 19.  We previously received

26  Exhibit 20.  Also received into evidence, Exhibit 21, 22,

27  23, 24, 25, 26, and 27.

28             Are there any objections to receipt into evidence

1113

1  of those items?

2             Those will be received into evidence.

3             At this point we will consider receipt into

4  evidence of Exhibit 67, 68, 69, 70, and Exhibits 72 through

5  78.  We previously received Exhibit 71.  Are there any

6  objections to receipt into evidence of those exhibits?

7             Hearing none, those exhibits are received.

8             At this time we will consider receipt into

9  evidence of Exhibits 103, 104 and 105.  Are there any

10  objections to receipt into evidence of those exhibits?

11             Hearing none, those items will be received.

12             And I just want to remind people that we marked

13  two documents as reference exhibits which are not evidence,

14  so we won't receive them as such.

15             Let's be off the record.

16             (Off the record discussion.)

17             ALJ COOKE:  Let's be back on the record.

18             There are still some potential -- potentially

19  some outstanding motions to strike testimony, so to the

20  extent that those come in and the commissioner and I rule in

21  favor of motions to strike, then portions of the testimony

22  that have previously been admitted will be removed from

23  evidence; but we'll take those up if those motions come in

24  at that point in time.

25             Let's be off the record.

26             (Off the record discussion.)

27             ALJ COOKE:  Let's be back on the record.

28             I want to remind the parties to serve the rule

1114

1  making 9911022 service list with their opening briefs and

2  reply briefs, but especially the opening briefs, given the

3  short turnaround, concurrent with hard copy service.

4             In addition, there was a question to the extent

5  that if there's any law and motion matters that come up

6  during my absence between now and when the briefs are due,

7  how to handle that, and I've asked the parties to contact

8  both me by phone as well as the law and motion judge, Kirk

9  McKenzie, and we will figure out a way to be responsive to

10  any law and motion matters that come up.

11             Let's be off the record.

12             (Off the record discussion.)

13             ALJ COOKE:  Let's be back on the record.

14             Thank you all for your participation, and we are

15  adjourned.

16             (Matter adjourned at 3:45 p.m.)

17

18

19

20

21

22

23

24

25

26

27

28

INDEX

Witnesses:

Direct

Cross

Re-

Direct

Re-

Cross

By

ALJ

SULLIVAN, DANIEL LAIRD

By Mr. Barnes

963

By ALJ Cooke

964

By Mr. Karp

966

By Mr. Cragg

968

DAVID, RICHARD  (rec)

By Mr. Woodruff

969

By Ms. Sherif

970

By Mr. Karp

981

By Mr. Cragg

983

By Ms. Grueneich

986

BERGMANN, LARS  (rec)

By Mr. Woodruff

988

By Mr. Karp

989

By Ms. Grueneich

999

MAYFIELD, PATRICIA L.

By Mr. Woodruff

1005

By Mr. Karp

1006

By Mr. Kerner

1009

By Mr. Cragg

1017

By ALJ Cooke

1026

By Mr. Cragg

1028

STERN, GARY  (rec)

By Mr. Karp

1028

By Mr. Woodruff

1029

By Mr. Karp

1030

By ALJ Cooke

1033

By Mr. Cragg

1035

I N D E X

(continued)

Witnesses:

Direct

Cross

Re-

Direct

Re-

Cross

By

ALJ

CLARK, HARRISON

EL-GASSIER, MOHAMMED M.

By Mr. Cragg

1040

1111

By Mr. Barnes

1042

By Mr. Woodruff

1047

By Mr. Ramos

1101

Exhibits:

Iden.

Evid.

25

972

26

975

27

979

15 - 19, 21 - 27

1112

28 (late-filed)

1067

1067

67 - 70

1113

72 - 78

1113

103 - 105

1113

Recesses:

Page

Morning

Noon

1038

Afternoon

1067

Afternoon

1112