## CALIFORNIA ELECTRICITY GENERATION

### FACILITIES STANDARDS COMMITTEE

## RESOLUTION NO. 1

## Adopted May 2, 2003

## WHEREAS the People of the State of California and the California Legislature have found, declared, and enacted the following in Senate Bill No. X2 39 (Chapter 19, Statutes of 2001-2002, Second Extraordinary Session):

## (a)   Electric generating facilities and powerplants in California are essential facilities for maintaining and protecting the public health and safety of California residents and businesses.

## (b)   It is in the public interest to ensure that electric generating facilities and powerplants located in California are effectively and appropriately maintained and efficiently operated.

## (c)   Owners and operators of electric generating facilities and powerplants provide a critical and essential good to the California public.

## (d)   To protect the public health and safety, and to ensure electrical service reliability and adequacy, the California Electricity Generation Facilities Standards Committee (Committee) is established to develop and adopt standards for the maintenance and operation of facilities for the generation of electric energy owned by an electrical corporation or located in California, except those specifically exempted in California Public Utilities Code Sections 761.3(d) and 761.3(h).

WHEREAS the Committee desires to adopt General Duty Standards for Operation and Maintenance which complement the specific Standards that the Committee has adopted or is now developing.

WHEREAS the Committee seeks to have both general and specific Operation and Maintenance Standards in place for Summer 2003, which may be revised or supplemented by later Committee adoption of revised or supplemental standards.

WHEREAS the Committee’s Presiding Officer on April 16, 2003, distributed a proposed Resolution and General Duty Standards for comment.

WHEREAS on or before April 23, 2003, comments were received from Pacific Gas and Electric Company, Southern California Edison Company, Mirant Americas Inc., West Coast Power, California Municipal Utilities Association, Duke Energy North America, AES Generators, Elk Hills Power, and Reliant Energy, and, on April 28, 2003, reply comments were received from Constellation Generation Group.

And WHEREAS the comments and reply comments have guided revisions now contained in Attachment A.

THEREFORE, IT IS RESOLVED AND ORDERED by the California Electricity Generation Facilities Standards Committee (Committee) that:

1.	The General Duty Standards for Operation and Maintenance stated in Attachment A are adopted.

2.	The General Duty Standards for Operation and Maintenance are established as the general operation and maintenance standards of facilities used for the generation of electric energy owned by an electrical corporation or located in California, except to the extent specifically exempted by California Public Utilities Code Sections 761.3(d) and 761.3(h).  The General Duty Standards for Operation and Maintenance complement the more specific Standards that the Committee has adopted, or may subsequently adopt.  To the extent addressed by a more specific Standard, compliance with the specific Standard shall satisfy compliance with the general Standard.

3.	Committee Staff shall both (a) file this Resolution and adopted General Duty Standards for Operation and Maintenance with the California Public Utilities Commission, and (b) see that a copy is served on the service list of participants before the Committee, as soon as reasonably possible.

4.	This Resolution is effective today.

Dated May 2, 2003, at San Francisco, California.

Certification of Staff Director:

I certify that the foregoing resolution was duly introduced, passed, and adopted at a meeting of the California Electricity Generation Facilities Standards Committee held on May 2, 2003, the following members voting favorably thereon:

Carl W. Wood, Presiding Officer

Michael Kahn, Member

Glenn Bjorklund, Member

/s/  RICHARD CLARK

Richard Clark

Committee Staff Director

##### ATTACHMENT A

##### GENERAL DUTY STANDARDS

# FOR OPERATION AND MAINTENANCE

Adopted May 2, 2003, by the

California Electricity Generation Facilities Standards Committee

Pursuant to California Public Utilities Code § 761.3, each facility used for the generation of electricity owned by an electrical corporation or located in California (Facility) shall be operated and maintained in accordance with the following standards:

- Each Facility shall be operated and maintained in a safe, reliable, and efficient manner that reasonably protects the public health and safety of California residents, businesses, employees, and the community.

- Consistent with prudent industry practice, each Facility shall be operated and maintained so as to be reasonably available to meet the demand for electricity, and promote electric supply system reliability.

- Each Facility shall comply with the protocols of the California Independent System Operator for the scheduling of powerplant outages.

Pursuant to California Public Utilities Code 761.3(a), the California Public Utilities Commission shall implement and enforce these General Duty Standards for Operation and Maintenance.  Pursuant to the provisions of California Public Utilities Code Section 761.3(f), nothing in these General Duty Standards for Operation and Maintenance shall modify, delay, or abrogate any deadline, standard, rule or regulation that is adopted by a federal, state, or local agency for the purposes of protecting public health or the environment, including, but not limited to, any requirements imposed by the California State Air Resources Board, an air pollution control district, or an air quality management district pursuant to Division 26 (commencing with Section 39000) of the California Health and Safety Code.

These General Duty Standards for Operation and Maintenance apply to all facilities used for the generation of electric energy owned by an electrical corporation or located in California with the following exceptions (see California Public Utilities Code Sections 761.3(d) and 761.3(h)):

- Nuclear-powered generating facilities that are federally regulated and subject to standards developed by the Nuclear Regulatory Commission, and that participate as members of the Institute of Nuclear Power Operations;

- Qualifying small power production facilities or qualifying cogeneration facilities within the meaning of §§ 201 and 210 of Title 11 of the federal Public Utility Regulatory Policies Act of 1978 (16 U.S.C. Secs. 796(17), 796(18), and 824a-3), and the regulations adopted pursuant to those sections by the Federal Energy Regulatory Commission (18 C.F.R. Secs. 292.101 to 292.602, inclusive).

- Generation units installed, operated, and maintained at a customer site, exclusively to serve that customer’s load.

- Facilities owned by a local publicly owned electric utility as defined in California Public Utilities Code Section 9604(d).

- Any public agency that may generate electricity incidental to the provision of water or wastewater treatment.

- Facilities owned by a city or county operating as a public utility, furnishing electric service as provided in California Public Utilities Code Section 10001.

(END OF ATTACHMENT A)