BEFORE THE
PUBLIC UTILITIES COMMISSION
OF THE
STATE OF CALIFORNIA

| Order Instituting Rulemaking to Establish Policies and Rules to Ensure Reliable, Long- Term Supplies of Natural Gas to California. | R.04-01-025 |
| --- | --- |
| Informational Proceeding and Preparation of the California Energy Commission 2005 Integrated Energy Policy Report. | CEC Docket No. 04-IEP-01 |

_______________________________________

COMMENTS OF
SHELL TRADING GAS & POWER ON THE
APRIL 4 GAS QUALITY WORKSHOP REPORT

_______________________________________

John W. Leslie

Luce, Forward, Hamilton & Scripps LLP

11988 El Camino Real, Suite 200

San Diego, California 92130

Tel: (858) 720-6352

Fax: (858) 523-4320

E-Mail: jleslie@luce.com

Attorneys for Shell Trading Gas & Power

Date:  April 25, 2005

BEFORE THE
PUBLIC UTILITIES COMMISSION
OF THE
STATE OF CALIFORNIA

| Order Instituting Rulemaking to Establish Policies and Rules to Ensure Reliable, Long- Term Supplies of Natural Gas to California. | R.04-01-025 |
| --- | --- |
| Informational Proceeding and Preparation of the California Energy Commission 2005 Integrated Energy Policy Report. | CEC Docket No. 04-IEP-01 |

_______________________________________

COMMENTS OF
SHELL TRADING GAS & POWER ON THE
APRIL 4 GAS QUALITY WORKSHOP REPORT

- _______________________________________

Pursuant to the procedural schedule set forth in the Presiding Judge’s December 23, 2004 Ruling in the above-referenced proceeding, Shell Trading Gas & Power (“Shell”) files its comments on the “Workshop Report” that was issued jointly on April 4, 2005 by the California Public Utilities Commission’s (“Commission”) Energy Division and the Staff of the California Energy Commission (“CEC”), in collaboration with the California Air Resources Board (“CARB”) and the California Department of Conservation (Division of Oil, Gas and Geothermal Resources).  Shell also provides comments herein on the two “straw” proposals that were identified at the April 5 all-party meeting that was held at the offices of Southern California Gas Company (“SoCalGas”).

The first straw proposal, which Shell generally supports, was presented by SoCalGas and is based upon the recommendations in the National Gas Council work group’s (“NGC+”) “white paper” that was submitted to the Federal Energy Regulatory Commission (“FERC”) on February 28, 2005.

The second straw proposal was presented by Calpine Corporation through its reply comments submitted in this proceeding on March 4, 2005.  Calpine’s straw proposal does not have scientific support.  Rather, Calpine’s proposal reflects a narrowly focused compilation of the most restrictive parameters applicable to Calpine’s own turbine inventory.  Calpine’s proposal should not be adopted as the overall gas quality standard for the California gas utilities.

Shell also recommends a procedural approach for addressing the gas quality issue.  Shell proposes that the Presiding Judge direct the Commission’s Energy Division, along with the CEC staff, to preside over an intensive negotiation process over the next month in order to enable all interested stakeholders to agree upon a consensus position on gas quality issues.  This consensus position can and should be reflected in a settlement agreement that will be submitted to the Commission in June of this year.

- OVERVIEW

A critical misunderstanding in the Workshop Report  - - a misunderstanding that must be corrected - - is that sponsors of new gas supplies, including prospective LNG suppliers, are proposing to “relax” the current gas quality specifications in the gas utilities’ tariffs.  See Workshop Report at pp. 27-28.  This is simply not true.  For its part, Shell would be perfectly sanguine if the Commission were to maintain the current gas quality specifications in SoCalGas Rule 30.  The natural gas that Shell intends to deliver to the Costa Azul regasification facility in Baja California meets current gas quality specifications.  However, maintaining current gas quality specifications would not be in the best interests of end-use customers and ratepayers.  SoCalGas’ current specifications, as well as CARB’s current specifications, are so broad as to accommodate a range of gas supplies that may not be completely compatible with all existing end-use applications.

Accordingly, Shell supports SoCalGas’ proposal to tighten the Rule 30 specifications.  Shell believes that the Commission must modify SoCalGas’ Rule 30 specifications now in order to provide new and existing gas suppliers, as well as end-use customers, with certainty respecting the gas quality standards that will be in place on a long-term basis.

As Shell explained at the workshop and again in its March 4 reply comments in this joint proceeding, Shell and Sempra LNG must make decisions by July 2005 regarding the financing, engineering and construction of a nitrogen injection facility at the Costa Azul regasification facility, with associated costs on the order of  $100 million.  The current gas quality specifications would not require installation of nitrogen (N2) injection facilities at Costa Azul. The N2 injection facilities will only be required to meet the maximum 1400 Wobbe number that has been proposed herein by SoCalGas. Critical decisions respecting the N2 injection facility will be fraught with great risk and subject to tremendous uncertainty, however, unless the Commission soon adopts an overall gas quality standard that can be relied upon by prospective new gas suppliers.

In general, SoCalGas’ proposed gas quality specifications are consistent with the breadth of analysis that was presented through the workshop process herein, consistent with the NGC+ white paper’s findings and recommendations, and consistent with industry research that has been undertaken to date.  SoCalGas’ proposed Rule 30 modifications and SoCalGas’ proposed CARB standards are based upon “good science.”  Moreover, SoCalGas’ proposed gas quality standards will provide clarity and certainty to gas suppliers, as well as to all end-users and ratepayers.

It should be recognized that the NGC+ white paper, upon which SoCalGas’ proposed is based, reflects a significant amount of experience, testing and analysis undertaken by all segments of the natural gas industry.  The NGC+ white paper reflects input by engine, appliance and equipment manufacturers, industrial and power generation end-users, operators of stationary and vehicle engines, as well as producers, pipelines and utilities.  The findings, recommendations and interim guidelines in the NGC+ white paper reflect an enormous amount of time and effort by experts throughout the gas industry.  The white paper provides a solid foundation for applying gas quality specifications.  The interim guidelines in the NGC+ white paper also provide a solid foundation for SoCalGas’ proposal.

The Commission should adopt SoCalGas’ proposed modifications to Rule 30, with one exception discussed below.  In addition, the CARB should adopt SoCalGas’ proposed modifications to the current CARB gas quality specifications.  If future studies reveal that specific gas quality parameters should be adjusted, the Commission can address these technical adjustments on a prospective basis.

- THE WORKSHOP REPORT

The joint agency Workshop Report provided a summary of many of the issues that were addressed in the February 17-18 workshop and in individual parties’ opening and reply comments.  As noted above, however, the Workshop Report failed to capture the essence of the presentations.  The Workshop Report stated that “[t]he core of the discussion around natural gas quality standards is . . . [h]ow far can the constraints imposed by current specifications be relaxed in order to accommodate delivery into our systems from . . . potential new sources . . . .”  Workshop Report at p. 27 (emphasis added).  The core issue is not, however, whether the utilities’ existing gas quality specifications should be relaxed, but rather whether, and if so how, the gas utilities’ specifications should be tightened in order to ensure that new and existing gas supplies can be accommodated by all gas users.

  - Current Gas Quality Specifications Must be Modified

The Workshop Report correctly observed that “[c]urrent natural gas composition and performance standards . . . reflect an historic compromise.” Workshop Report at p. 7.  This “historic compromise” can remain in place only as long as the gas supplies serving the State remain relatively static.  The Workshop Report acknowledged that with the introduction of new gas supplies, the mix of gas supplies in different geographic areas of SoCalGas’ system could change to a greater degree than they have in the past.  See Workshop Report at p. 8 .  SoCalGas Rule 30 is broad enough to accommodate these new gas supplies, but as engine and appliance manufacturers, owners of electric turbines, and representatives of other end-use applications pointed out, the expanded mix of gas supplies, and the resulting variability in gas quality, could present problems for some end-users without more specific gas quality standards.

Accordingly, the “null hypothesis” (Workshop Report at p. 26) is not an option on the SoCalGas system.  As is noted above, Shell and other LNG suppliers can meet SoCalGas Rule 30, but maintaining these current requirements is not in the best interests of end-use customers.  The “historic compromise” that is the foundation of Rule 30 must be changed  in order to provide long-term certainty to gas suppliers and end-use customers alike.

Similarly, although CARB’s current compositional specifications do provide protection for natural gas vehicle performance, CARB’s specifications do not provide adequate protection for stationary sources because they fail to address natural gas interchangeability.  Changes should be made both to SoCalGas Rule 30 and to the CARB specifications in order to ensure a consistent approach for all end-use applications.

  - The Workshop Process Highlighted a Consensus Around Certain Key Principles

The Workshop Report mentioned that participants in the workshop process did not develop proposals that are intended to serve the broad public interest.  Specifically, the Workshop Report stated that “[e]ach modification proposed by a stakeholder would change the system, likely counter to the interests of other stakeholders.”  Workshop Report at p. 4.  In this connection, the Workshop Report expressed concern that the participants’ recommendations reflected the parties’ “parochial interests.” Workshop Report at p. 5.

The skepticism expressed in the Workshop Report is misplaced.  As the Workshop Report acknowledged, the workshop presentations coalesced around a few key principles that will guide all of the stakeholders in their negotiations toward an agreed upon gas quality standard.  If these key principles are adopted, all interested parties will benefit.  The key principles include the following:

- Adoption of a Wobbe number (and range) as the primary measure of natural gas interchangeability;

- Adopt one or more secondary measures of interchangeability, such as heating value and/or compositional limitations; and

- Replace CARB’s current compositional specifications with a minimum Methane Number.

The Workshop Report acknowledged that a consensus developed among the stakeholders around the use of the Wobbe number as a “primary metric.”  Workshop Report at p. 29.  As a number of parties stated throughout the workshop process, and as is indicated in the NGC+ white paper, “the Wobbe number provides the most efficient and robust single index and measure of gas interchangeability.” See White Paper at p. 17.

The Workshop Report also noted that most, if not all parties recognized that the Wobbe number is not sufficient, “in and of itself, to evaluate natural gas quality . . . .” Workshop Report at p. 30.  This view is shared in the NGC+ white paper, which provides that “[t]here are limitations to the applicability of the Wobbe number, and additional specifications are required to address combustion performance, emissions and non-combustion requirements.”  White Paper at p. 17.  The NGC+ white paper states that “[t]he Work Group found that based on current and projected available gas supply, at least two interchangeability specifications are required to adequately address the end use effects.”  White Paper at p. 19.

The Workshop Report also stated that a consensus developed around the use of a minimum Methane Number (“MN”) as a replacement for existing CARB specifications.  The Workshop Report stated:

Consensus held that [MN] is a viable performance standard for natural gas-based motor fuel, and stakeholders interested in changing the CARB standard almost uniformly support its adoption as a determinant of quality.

Workshop Report at p. 35.  The Workshop Report properly noted that “consensus among the stakeholders started to form that a new standard should include both Wobbe and [MN] specifications.”  Workshop Report at p. 36.

  - Adoption of Modified Gas Quality Specifications Will Serve the Interests of All Stakeholders

The Workshop Report urged interested parties to develop, in their comments on the Workshop Report, recommendations on gas quality that “accommodate the broadest range of interests.”  Workshop Report at p. 39.  The principles set forth above, which are broadly supported among stakeholders, will serve the interests of all end-use customers as well as existing and potential suppliers.  These are the principles upon which a compromise can be achieved.

Specifically, all end-use customers will benefit from lower gas prices if the gas quality standards are established in a manner that accommodates gas supplies from different areas.  Chevron-Texaco reported, for example, that the total benefit to the California economy resulting from a $1.00 per MMBtu reduction in the California border gas price would be approximately $2 billion per year.  See  Chevron-Texaco March 4, 2005 Reply Comments at pp. 1-2.  This benefit is more likely to be achieved if the gas quality standards allow multiple sources of gas supplies to compete to serve the California market.

In addition, adoption of a maximum Wobbe number will provide the potential for reduced NOx emissions.  The Workshop Report stated that the “CPUC Staff recognizes the importance of air quality and the need not to see it degraded by any increment.”  Workshop Report at p. 38.  A modified gas quality specification that reduces the maximum Wobbe number as compared to SoCalGas’ current tariff is the best means by which to ensure against air quality degradation.  In fact, the increased availability of natural gas supplies at reasonable prices resulting from these modified gas quality standards will encourage energy users to convert their end-use processes to natural gas, thereby improving overall air quality in the State.

In addition, replacing CARB’s current compositional specifications with a minimum MN will ensure compatibility between new (and existing) gas supplies and natural gas vehicle (“NGV”) engines.  SoCalGas’ proposal to replace CARB’s current specifications appears to be supported by CARB (see Workshop Report at pp. 24-25), does not undermine the air quality objectives underlying the current CARB specifications, and does not jeopardize the performance of the existing fleet of compressed natural gas (“CNG”) vehicles.

The Workshop Report asked:  “[W]ho should bear the costs of any changes to gas quality specifications.”   Workshop Report at p. 5.  Because the proposed changes are designed to tighten the utilities’ existing gas quality standards, by far the most, if not all of the costs of the proposed changes will be borne by new gas suppliers that seek to deliver gas to the SoCalGas system.  The approximately $100 million in costs associated with N2 injection at the Costa Azul regasification plant is a good example of how the costs of gas quality compliance will be allocated.

It is important to note that N2 injection is only required to meet the 1400 maximum Wobbe number, which  should ensure that end-users of natural gas will not have to re-tune their burners, and therefore will not be faced with additional costs, with the possible exception of some power plants. The costs that may be incurred by power plant gas users in order to re-tune their equipment to accommodate new gas supplies will be insignificant compared to the costs that will be borne by Shell and other LNG suppliers in meeting the amended gas quality specifications.  Moreover, power plant users’ costs will be insignificant compared to the gas cost savings that all customers will enjoy as a result of greater access to worldwide supplies.

  - The Consensus Principles Should Carry Forward to an Intensive Negotiation Process

The seeds of a negotiated settlement on gas quality include an agreed upon Wobbe range, and agreed upon “secondary” measures of gas interchangeability (such as a minimum MN, C4 plus hydrocarbon limits, and maximum heating value).  All of these elements are included in SoCalGas’ proposal and should form the basis for a settlement that can be approved by the Commission.

The agencies should encourage all stakeholders to work together to coalesce around a single proposal so that the Commission can approve a tariff modification for SoCalGas as quickly as possible.  SoCalGas’ proposal, which embraces the recommendations in the NGC+ white paper, provides a sound basis for an agreed upon modified gas quality tariff.  Shell believes that through negotiation, all interested stakeholders (including affected agencies) can reach a settlement that can be approved by the Commission.

Contrary to the Workshop Report, the settlement process should not take a year.  The Workshop Report acknowledged that the State does not “need to wait for the development of a federal standard before moving to modify, if necessary, California specifications.”  Workshop Report at p. 39.  The Commission, the CEC, the CARB and other affected agencies should provide a deadline for negotiations in order to encourage all stakeholders to engage actively in the negotiation process.  Shell recommends that the Presiding Judge direct the Commission’s Energy Division and the CEC Staff to convene a series of intensive, directed negotiation sessions, based upon sound science, in order to reach a settlement by the end of May.  This will enable the parties to submit a proposed settlement to the Commission by June of this year.

- WITH ONE EXCEPTION, SOCALGAS’ PROPOSAL SHOULD BE ADOPTED

SoCalGas Rule 30, which is summarized in the Workshop Report, currently provides substantial flexibility for gas supplies that are delivered to the SoCalGas system.  As discussed during the April 5 all-party meeting in Los Angeles, SoCalGas Rule 30 provides a heating value range of 970 to 1150 Btu/scf, and a Wobbe range of plus/minus 10 percent (measured against SoCalGas’ system average).  This 20 percent “swing” means that with a system average Wobbe number of 1325, the minimum Wobbe number is approximately 1200 and the maximum Wobbe number is approximately 1450.  In addition, it is important to note that SoCalGas Rule 30 does not include a maximum percentage of “C4 (i.e. butane) plus” hydrocarbons.

SoCalGas’ proposal in this proceeding includes the following changes to Rule 30:

- Reduces the maximum heating value from 1150 Btu/scf to 1110 Btu/scf.

- Adopts a Wobbe number range of 1290 to 1400, calculated in accordance with AGA Bulletin No. 36.

- Imposes a new requirement of a maximum of 1.5 percent “C4 (butane) plus” hydrocarbons.

- Provides an “exception” to the gas quality limits, in portions of SoCalGas’ service territory, based upon actual end-use experience, in order to allow SoCalGas to continue to receive historic supplies.

SoCalGas also proposes to replace CARB’s compositional specifications with an interim minimum MN of 80, to be reduced to a minimum MN of 73 by January 1, 2008.  SoCalGas proposes that the minimum MN also may be reduced on a regional basis “as soon as possible.”

Shell supports most of SoCalGas’ proposal.  SoCalGas’ proposal incorporates the key interim recommendations in the NGC+ white paper, including the following:

- “The Wobbe Number provides the most efficient and robust single index and measure of gas interchangeability” (NGC+ White Paper at p. 17);

- “There are limitations to the applicability of the Wobbe Number, and additional specifications are required to address combustion performance, emissions and non-combustion requirements.” (Id.)

- “Overly broad limits in the interchangeability specifications may result in reduced reliability, increased emissions, and decreased safety on end-use equipment, and consequently, higher costs to consumers.” (Id. at p. 20); and

- “Complete management of gas interchangeability requires specification of both minimum and maximum limits for Wobbe numbers.”  (Id.)

Equally important, SoCalGas’ proposal is consistent with the NGC+ white paper’s interim guidelines.  The interim guidelines set forth in the NGC+ white paper include a maximum Wobbe number of 1400.  The NGC+ white paper’s proposed guidelines also include additional compositional limits for C4 (butane) plus hydrocarbons equal to 1.5 mole percent, and maximum total inerts equal to 4 mole percent.  NGC+ White Paper at p. 26 (footnotes omitted).

SoCalGas’ proposal provides the foundation for a gas quality standard that will benefit all segments of the California gas industry.  SoCalGas’ proposed Wobbe range (1290 to 1400) increases the minimum Wobbe number and reduces the maximum Wobbe number (compared to SoCalGas’ existing tariff).  A narrower Wobbe range reduces the potential for adverse impacts to end-use equipment related to variations in gas quality, and provides better protection against NOx emissions than either SoCalGas’ current Rule 30 or the CARB’s current compositional specifications.

In addition, SoCalGas’ proposal for a maximum of 1.5 percent for “C4 plus” hydrocarbons represents a new tariff standard that will improve air quality by limiting the heavy hydrocarbon content of natural gas-supplies.  In addition, this new standard will address turbine dynamics issues.

Finally, SoCalGas’ proposal to replace CARB’s compositional specifications with a minimum MN is consistent with the comments and concerns of virtually all stakeholder groups, including the CARB itself.  The Workshop Report noted that the change from a compositional specification to a performance-based specification “could allow more flexibility in providing motor vehicle fuel.”  Workshop Report at p. 33.  The Workshop Report also stated that a “consensus held that [MN] is a viable performance standard for natural gas-based motor fuel.”  Id. at p. 35.  And, the Workshop Report stated that among the stakeholders that expressed interest in changing the CARB standard, these entities “almost uniformly” support the adoption of an MN as a measure of gas quality.  Id.

During the workshop process, it was made clear that CNG vehicle engines built after 2001 can accommodate natural gas with an MN as low as 65-73.  SoCalGas’ proposal, which is to move from a minimum MN of 80 to a minimum MN of 73 by January 2008, is designed to protect the limited number of “legacy” CNG vehicles that cannot accept higher MN gas fuel.  It should be pointed out, however, that several fleets of CNG vehicles have operated successfully for many years on gas that does not meet the current CARB specifications.  In any event, CNG vehicles represent an extremely small percentage of the gas demand in SoCalGas’ service territory.  Mitigation measures can and should be taken to protect these legacy vehicles (perhaps on a regional basis) without skewing the gas quality specifications for all other end-users.

Shell does object to one element of SoCalGas’ gas quality proposal.  In view of the multiple measures of interchangeability that are included in SoCalGas’ proposal (Wobbe index, minimum MN standard, and C4 plus hydrocarbon content), it would be redundant to also include a modification to SoCalGas’ current maximum heating value of 1150 Btu/scf.  The interim guidelines in the NGC+ white paper, which include a maximum heating value of 1110 Btu/scf, provide that the interim guidelines were “developed for new gas supplies to those market areas without extended experience with gas supplies characterized by . . . gross heating values higher than 1110 Btu/scf.”  NGC+  White Paper at p. 25.  Although Shell’s current gas supply would meet a maximum heating value of 1110 Btu/scf, such a requirement could inhibit future supplies and also could limit the delivery of historical in-state supplies to the SoCalGas system.  Because the minimum MN will limit changes in gas composition within the Wobbe range, a reduced maximum heating value is not required.

With this modification, SoCalGas’ proposal should be adopted by the Commission.  SoCalGas’ proposal, if adopted, will modify Rule 30 and will pave the way for the CARB to replace its existing gas quality specifications.  As the Workshop Report requested, SoCalGas’ proposal incorporates the interests of a broad cross-section of interests.  See Workshop Report  at p. 39.  SoCalGas’ proposal will provide certainty to suppliers and end-use customers.  SoCalGas’ proposal also will support and preserve the protections under current CARB policy for “legacy” CNG-fueled vehicles.

- THE CALPINE PROPOSAL SHOULD NOT BE CONSIDERED

Calpine’s proposal, like SoCalGas’ proposal, includes a Wobbe number range and a minimum/maximum heating value.  The specific ranges in Calpine’s proposal deviate from the ranges in the NGC+ white paper, however.  Calpine’s proposal is not supported by scientific findings and fails to provide an explanation for deviation from the NGC+ interim guidelines.

Calpine’s proposal focuses on Calpine’s expressed concern that “once a turbine is designed and constructed based on an expected gas quality, … there is a narrow range of variability in the quality of gas that can be consumed without causing problems with operations and emissions.”  Calpine Comments at p. 2.  Calpine’s proposal is focused, however, on the most restrictive provisions in the specifications for its turbine inventory.  Calpine essentially promotes a gas quality standard that meets the “lowest common denominator” for any of its turbine manufacturers.  Contrary to the direction of the Workshop Report, Calpine’s proposal fails to consider the broad range of interests in the California gas market.

The lowest common denominator for any of Calpine’s turbine manufacturers cannot be the standard for the entire SoCalGas system.  Calpine’s proposal should not be considered further.  Calpine’s concerns should be taken into account, however, in conjunction with the ongoing negotiation process.  Calpine’s concerns can be incorporated into the discussion regarding SoCalGas’ gas quality proposal.

- CONCLUSION

The SoCalGas proposal should be the focus of intensive negotiations over the next month, led by the Commission’s Energy Division and the CEC Staff, with the objective of submitting a settlement to the Commission in June 2005.  SoCalGas’ proposal takes into account a broad range of interests.  SoCalGas’ proposal is based upon a strong foundation of research and analysis in the NGC+ white paper.  Ultimately, through the negotiation process, the parties should submit a settlement to the Commission that incorporates the SoCalGas proposal.

Respectfully submitted,

John W. Leslie

Luce, Forward, Hamilton & Scripps LLP

11988 El Camino Real, Suite 200

San Diego, California 92130

Tel: (858) 720-6352

Fax: (858) 523-4320

E-Mail: jleslie@luce.com

Attorneys for Shell Trading Gas & Power

Date:  April 25, 2005

- CERTIFICATE OF SERVICE

I hereby certify that I have served, this day, a copy of the foregoing COMMENTS OF SHELL TRADING GAS & POWER ON THE APRIL 4 GAS QUALITY WORKSHOP REPORT on the service list for R.04-01-025 by electronic mail to each party.

Executed on April 25, 2005, at San Diego, California.

Roberta Vinson

See R.04-01-025, CEC Docket No. 04-IEP-01, “Reply Comments of Shell Trading Gas & Power on Gas Quality Issues” (filed March 4, 2005).

The Costa Azul regasification facility is on schedule to meet an in-service date of January 2008.  In order to construct a nitrogen injection facility that will commence operation in January 2008, the Costa Azul project must begin detailed engineering, procurement and construction by July 2005.

The Workshop Report stated repeatedly that parties were in agreement that the Wobbe number should be “the primary metric of natural gas performance . . . .”  Workshop Report at p. 3 (emphasis added), see also Workshop Report at pp. 4, 29.  The Wobbe number reflects gas “interchangeability,” not just “performance.”  “Interchangeability” refers to “the  ability to substitute one gaseous fuel for another in a combustion application without materially changing operational safety, efficiency, performance or materially increasing air pollutant emissions.”  NGC+ White Paper at p. 2.

With a maximum Wobbe  number of 1400, it is possible that some individual end-use applications will experience an initial increase in NOx emissions due to set-up and calibration.  Overall NOx emissions will increase only slightly at first, but will decline considerably thereafter as some end-use applications are re-tuned.  Over the longer term, NOx emissions and other air pollutants will decline further as increased supply competition will enable natural gas to replace more polluting fuels.

Calpine’s proposal is included in the “Comments of Calpine Corporation on Gas Quality Specifications,” which were filed in this joint docket on March 4, 2005.