Guide for Load-Serving Entities (LSEs)

on the

“2006 Resource Adequacy Resource Reporting Template”

LSEs shall complete and submit separate templates for each of the four Summer months in 2006:  June, July, August, and September by January 27, 2006 via advice letter filing.  The filing must include the RA template and the LD baseline table, filed as excel spreadsheets.

To complete the template LSEs must determine the qualifying capacity of each resource and its resource type.  To qualify, capacity contracts must meet the following requirements:

- Capacity must meet the counting protocols adopted by the CPUC in D.04-10-035, D.05-10-042, and as modified in subsequent Commission decisions.

- Capacity must meet the deliverability requirements as determined by the CAISO. The CAISO plans to post these requirements on its website within the next two weeks.

- Capacity cannot be sold to more than one buyer.  Buyer has exclusive right to count the Capacity towards buyer’s Resource Adequacy Requirements.

- Capacity must be subject to CAISO Tariff.

- Capacity must be made available to the CAISO as described in D05-10-042.

Qualifying Rules:

Demand Response:

Demand response programs must be dispatchable and available at least 48 hours during the Summer.  In addition, programs that operate no more than 2 hours per day are limited to 0.89% of the LSE’s RA obligation.

Wind and Solar Resources without Backup:

Performance of solar and wind generation is a three-year rolling average of the units performance history.  For example, for June 2006 the generation production during the Noon to 6PM period for June 2003, 2004, and 2005 would be averaged.  If 2005 data is not available, the most recent available data from the previous three years shall be used. For 2006 only, this is increased by a 3% for newer wind technologies installed in calendar 2004 or later.  For 2006 only wind resources count as baseload category 4 resources and solar count as peak category 3 resources.

All Resources except Demand Response:

Qualifying resources must 1) be able to run for a minimum of four hours per day for three consecutive days and 2) be able to run a minimum aggregate number of hours per month based on the number of hours that loads in the CAISO control area exceed 90% of peak demand in that month.  For Summer 2006 those minimums are June - 78 hrs, July - 60 hrs, August - 39 hrs, Sept - 31 hrs.

Qualifying resources can not have a planned outage for more than one week to qualify for that month (7 calendar days and 5 working days).  If a resource has a planned outage for more than one week, it can only count for the time period it is available and other resources must be obtained for the rest of the month.  For example if a 100 MW resource has a 10 day planned outage in June 20-30th, the resource counts for the month only if an additional 100 MW resource is available June 20-30.

Imports:

Qualifying capacity for import contracts is the contract amount if the contract:

(1) is an Import Energy Product with operating reserves,

(2) cannot be curtailed for economic reasons, and either (a) is delivered on transmission that cannot be curtailed in operating hours for economic reasons or bumped by higher priority transmission or (b) specifies firm delivery point (i.e., is not seller’s choice).

In addition, the CAISO must verify that imports are feasible.

RMR:

Resource Types:

Resources are split into 5 categories depending on their ability to meet RA needs.

Dispatchable Demand Response DR = any qualifying DR resource

Baseline 4 = Any resource that is available to produce energy at least (June 416, July 400, August 432, September 400) hours per month, and including all wind,.

Peak 3 = Any resource available to produce energy for at least (June 176, July 160, August 184, September 160) hours per month but not qualifying for 4, and including all solar.

Super Peak 2 = Any resource available to produce energy for at least (June 88, July 80, August 92, September 80) hours per month but not qualifying for 3 or 4

Critical Peak 1 = Any resource that qualifies for RAR, but not qualifying for 4, 3, or 2.