Appendix B  --  Summary of Implied Market Heat Rate Data

PG&E Average Implied Market Heat Rates

August 1, 2004 to July 31, 2005

0

2,000

4,000

6,000

8,000

10,000

12,000

14,000

Aug-04

Sep-04

Oct-04

Nov-04

Dec-04

Jan-05

Feb-05

Mar-05

Apr-05

May-05

Jun-05

Jul-05

10,000 to

7,000

On Peak Heat Rate

Off Peak Heat Rate

Daily Heat Rate

derived from daily average NP-15 power and PG&E City Gate gas prices.

|  | On-Peak |  | Off-Peak |  |
| --- | --- | --- | --- | --- |
| Average TOU IMHR | No. Days | Average IMHR | No. Days | Average IMHR |
| greater than 10,000 | 91 | 10,766 | - | NA |
| between 7,000 and 10,000 | 211 | 8,779 | 162 | 7,793 |
| less than 7,000 | 2 | 6,887 | 203 | 5,906 |