Assumptions:

- Meter Characteristics form will only be used for identifying new meter types to be used within a specific UDC’s service territory.

- Low volume of activity expected; preliminary recommendation is to not develop an EDI transaction for this process.

| Title |  | Description |
| --- | --- | --- |
| UDC where meter will be installed |  | The UDC area where the meter(s) is to be installed as follows: PG&E: Pacific Gas and Electric Company SCE: Southern California Edison SDG&E: San Diego Gas and Electric SP: Sierra Pacific |
| ESP Name |  | Name of the Energy Service Provider. |
| ESP Contact Name |  | Name of the Energy Service Provider’s contact person. |
| ESP Contact Phone |  | Phone number of the Energy Service Provider’s contact person. |
| E-mail |  | E-mail address of the Energy Service Provider’s contact person. |
| Meter Attributes |  |  |
| AEP standard code Prefix |  | American Electric Power code identifies service type and manufacturer (3 character code). AEP code includes Form, Wires, Phase, Volts, Test Amps, and Kh. |
| Manufacturer |  | Manufacturer of the meter. |
| Model/Mtr Type |  | Meter or recorder type listed on the plate. |
| Meter Class |  | Meter rating in Amps. |
| Meter Voltage |  | Voltage of the meter. Note if auto ranging. |
| Test Amps |  | Amps at which the meter is calibrated. |
| Register Type |  | The type of register designated by the manufacturer that the meter uses to record and store energy usage. |
| Number of Dials/Display Segments |  |  |
| Meter Ke3 |  | Disk constant watthours per disk revolution (Ke where applicable). |
| Pulse Multiplier |  | The factor used to convert pulses of energy to kilowatt usage per hour (also known as the pulse constant). Formula (for meters with Ke values): Billing Constant x Ke / 1000 = Pulse Multiplier |
| Meter Kh3 |  | Disk constant watthours per disk revolution (Kh where applicable). |
| Dial K (Rgstr Cnstnt) |  | Constant applied to meter display to obtain correct values. Includes CT and VT ratios. |
| Register ratio |  | Register ratio where applicable. |
| Form |  | Meter Form that contains condensed meter characteristics for the meter. |
| Phase |  | Number of phases of the service and/or meter. |
| Number of Wires |  | Number of wires of the service and/or meter. |
| Meter Capability |  |  |
| kWh | Unit of measure in kilowatthours (1000 watthours). |  |
| kW | Unit of measure in kilowatts (1000 watts) (Demand). |  |
| kVARH | Unit of measure in kilo volt ampere reactive hours. |  |
| kVAR | Unit of measure in kilo volt ampere reactive (Reactive Demand). |  |
| Demand Data |  |  |
| - Demand is the measured energy usage over a specified interval of time divided by that interval of time. |  |  |
| - Interval length | The time increment, in minutes, used to record demand data; for example, energy usage may be recorded every 5, 15, or 30 minutes. |  |
| Full Scale Maximum Read | The highest capacity of the meter to measure demand. Show the decimal. |  |
| TOU Reads for the following rate periods |  |  |
| Enter the Time of Use time periods for the meter readings by kilowatthours (kWh) and kilowatts (kW) as follows: (Being Investigated; Possibly Backend) |  |  |
| On | On peak time period. |  |
| Off | Off peak time period. |  |
| Mid |  |  |
| Super Off |  |  |
| IDR (Interval Data Recorder) |  |  |
| Interval Data | Energy usage. |  |
| # of Channels | The number of channels on the recorder. |  |
| Interval Length | The time increment, in minutes, used to record interval data; for example, energy usage may be recorded every 5, 15, or 30 minutes. |  |
| Memory Size (K) | The memory size of the meter/recorder in kilobytes (thousands). |  |