CEC STAFF LOAD PROFILING PROPOSAL

Interim Design Methodology

- The short time frame between now and 1/1/98 necessitates using an interim methodology

Permanent Design Methodology

- A more permanent design should be implemented in January of 1999

- A more permanent design should reflect what has happened in the restructured marketplace

- Variation in PX prices

- Penetration of direct access into residential and commercial sectors

- Data on energy imbalance costs due to using load profiles

- CPUC’s reevaluation in 2000 will have a year’s worth of data on based on the more permanent methodology

Load Profile Eligibility

- Customers with peak demand less than 20 kW

- Customers should be identified from utility rate schedules

- If in a commercial group (defined by customer account SIC codes as of 7/1/97) more than 75 percent of the customers are eligible for load profiling then an exemption should be made for the remaining customers that group that have maximum demand 20 kW < 50 kW

Applications Using Customer Metering Data

- Energy Imbalance Settlements

- Settlements between the ISO and SCs

- ISO requires that settlement-ready estimates of loads be provided

- A general requirement is that interval metered and load profiled loads be separated

- Settlements between each SC and its retailers (ESPs) or end-use customers

- Zonal metering or ISO grid take out points can be used as control totals

- Customer Billing

- UDCs billing for generation and other components

- Retailers’ billing for generation

- Load Forecasting

- Load scheduling with the ISO

- Preparing load schedules will make use of recent load data, end-use customer specific data, weather forecasts, and major events

- Load bidding into the PX

- UDC will be major participants

- ESPs may participate and will want to be able to track responsibility of overall PX energy imbalances

Principles For The Use Of Load Profiles

- Load profiles used in determining direct access charges should be the same as those used in determining the power exchange credit.

- A single methodology should be used in developing and applying load profiles for use in all applications.

- The application of load profiles should result in statistically accurate representation of actual load based on established criteria.

- The application of load profiles should result in statistically accurate representation of actual load based on established criteria.

- Validation criteria of the appropriateness of a customer’s load profile should be available from billing records.

- Load profiling should be designed so that retailers and the UDCs can use information from the samples to improve the accuracy of the day-ahead forecasts.

- Retailers should be able to petition the reviewing agency for establishment of a segmented load profile.

Design Of Load Profiles

- The methodology should progress along a continuum from what is implemented on 1/1/98 towards the eventuality of real time meters for many, if not all, customers

- One important point along the continuum is moving from the static load profiles implemented on 1/1/98 to being more dynamic in nature

Entity or Entities Responsible For Developing Load Profiles

- UDCs have the necessary data and infrastructure to develop the load profiles needed for implementation

- When a single and verifiable procedure for screening, processing, and developing load profiles is established then individual retailers should be allowed to produce the load profiles for their aggregated customers

Mechanism for dispute resolution

- Some public entity needs to be responsible for oversight and dispute resolution.

- Given the ISO tariff language, only the local regulatory authority    (e.g., CPUC, Municipal Boards) has this power.

- Segmentation

- Identifiable cost-of-service differences among segmented customers groups

- cost-of-service differences on a per customer basis

- aggregate energy imbalance settlement costs imposed on a segmented group which has a unique load profiles

- Natural sub-populations with obvious differences in the level and pattern of use

- Sub-populations may be candidates for aggregation, therefore promoting direct access penetration into the residential and commercial sectors

- Sub-populations are natural candidates for collecting additional information on specific sub-groups for use in a more permanent methodology