Proposals For The Load Profiling Workshop Report

by

Michael Parti

Applied Econometrics, Inc.

619 – 755 – 1266 (voice)

619 – 455 – 1511 (fax)

mparti@inetworld.net

Section 3.1.1: Proposal For An ISO Settlement Feature.

The kWh billed to each retailer (UDC’s and ESP’s) by the ISO should equal the kWH billed by the retailer to all of its customers.  There should be an auditing entity (the CPUC?) that assures that this equality holds for each retailer; otherwise, retailers would have an incentive to understate their energy use to the ISO.

Section 5.1: Proposal for a Definition Of Load Profiling.

The most important point to stress is that a load profile is a proportionate breakdown of hourly electricity consumption over the course of a billing period.  This breakdown may be applied to a single customer or to a group of customers.  Each customer's hourly load estimate can be computed by multiplying the hourly proportion, shown on the load profile, by the total kWh, shown on the billing meter.

The most common application of this idea seems to be for estimating hourly consumption when we have no direct readings on the hourly consumption of many individual customers.  For this reason we may redefine the definition as follows:

A load profile is an estimate of the proportionate breakdown of hourly electricity consumption over the course of a billing period.  By contrast, a load shape is measured in kWh, not hourly proportions.

Note, however, that there may be errors in readings from hourly meters due to inaccurate estimates of line losses, losses due to theft and losses due to calibration problems and other metering errors.  As a practical matter therefore, readings from hourly meters may also be considered an estimate of the actual load.

Section 5.2: Proposal For Design Of Load Profiles

To obtain load profiles we can use regression methods and/or a dynamic (continuously read) sample of hourly meters.   Each of these methods, if properly implemented, can yield estimates of the proportion of a bill attributable to each hour’s consumption.  Each method has its advantages, but a combination of the two methods will give us a system with the ability to improve the accuracy of the load profiles over time as well as the ability to accommodate the load profiles to new customer groups.  Each retailer should be able to choose its most cost-effective design and implementation method for load profiling, using regression and/or pure meter/sampling methods.  Note, however, that the load profiles developed should be evaluated for adequacy by an independent evaluation entity (CPUC?, CEC?, other?), and any retailer's load profile might be contested by its competitors.

The pure dynamic sampling approach has the advantage that it yields a set of observed loads that can track consumption movements over the hours of a billing month.  The load profiles developed from these sample loads are, of course, estimates of the true population load shapes.  The disadvantage of the pure sampling approach is that it is difficult to adapt it to reflect changes in customer characteristics over time.  For example, a marketing program by an ESP may have market transformation spillover effects on air-conditioning efficiency for customers of a UDC.  The pure sampling approach would have to take an extra factor into account to model this effect accurately.  Unfortunately, this type of alteration in the meter sample would require a lengthy and relatively expensive sample selection, meter purchase, installation, and calibration procedure.  This point emphasizes another general disadvantage of the pure sampling approach: viz., it is relatively expensive and time-consuming to implement.

The pure regression approach, like the pure dynamic sampling approach, has the advantage that it yields loads that can track consumption movements over time.  Although the pure regression approach requires a sample of hourly meter readings, it does not require a dynamic (continuous) metering sample. In addition, the regression can take into account variations in the weather as well as very detailed differences in customer characteristics that would be impractical in a pure sampling approach.  Regression analysis, particularly the end-use oriented conditional demand analysis, can be easily used to test for and quantify any differences in appliance efficiencies (AC, refrigerator, etc.)  that may be occurring over time. This method was introduced in Parti, M., Parti, C., The Total and Appliance-Specific Conditional Demand for Electricity in the Household Sector, The Bell Journal of Economics, Spring 1980 (see M. Parti for a reprint).

A further advantage of the regression approach is that it can be based upon a larger number of observations than would be economically justified with the pure sampling approach.   Note that the load profiles regressions can be based upon a sample in which hourly load metered data are leveraged with a combined monthly billing meter sample.  This is feasible because the regression parameters of the monthly model must bear well-defined relationships to the hourly parameters.  This method is introduced in Parti, M., Sebald, A. V., Chaudhury, I. B., Integrated Load and Time of Day Models for Electricity in Residence, Performance Measurement & Analysis, American Council for an Energy-Efficient Economy, Washington, DC, August, 1986 (see M. Parti if you have any difficulty obtaining a reprint).

Section 5.3: Proposal For Design Of Load Profiles

Because of probable conflicts of interest, no retailer should be forced to use a load profile designed by a competing retailer except through a formal dispute resolution proceeding (see Section 5.8).   Each retailer should be responsible for developing its own load profiles using pure load metering and/or regression methods approved by an independent auditing agency (CPUC?, CEC?).

Section 5.4: Proposal For Stratification Of Load Profiles

Each retailer should be required to submit to the ISO only an aggregate load profile for all of its customers.  There may, however, be some advantage in breaking down the load profile so that the interval metered and estimated portions can be treated separately.  Note, however, that each retailer should be allowed to substratify its own customers as it pleases for purposes of competitive rate, or marketing, differentiation and/or to optimize its sampling accuracy.

Load profiles may be used to set CTC charges as well as PX charges, and each type of charge may require a different load shape.  The CTC charge requires load shapes referring to the entire distribution system of a UDC, with some possible subsegmentation of its customers.  The calculation of PX charges requires load shapes that show the hourly loads of just the energy customers of each retailer.

Section 5.5: Proposal For Reconciliation

The pre-reconciliation estimated load for each retailer (UDC’s and ESP’s) for each hour would be the hourly-metered portion of the retailer’s load plus the profiled portion of the retailer’s load.  In addition, we would add any associated line losses plus any associated losses due to theft or metering mistakes.

The line losses can be estimated for each geographic area using engineering methods.  This information should be estimated for each retailer using engineering methods sanctioned by a regulator (CEC or CPUC).  The resulting line losses should be calculated for each hour and transmitted to the ISO.  It can be argued that charging different marginal fees for these line losses may not be fair.  Even if there are no cross-customer differences in the marginal fees charged for these line losses, we would still want to file the estimates of these losses with the ISO to reduce the unaccounted hourly error in total loads.

Net metering errors can be estimated from the current utility experience, and this information should be made available to the ISO.   We can probably expect the net metering errors to be small.  If these net errors are large, however, we may want to perform an analysis to search for any underlying regularities in such errors.

Outright theft may also lead to hourly differences between estimated and actual loads.  Unfortunately, little seems to be known about the theft problem.  Of course, it would be possible to send trained investigators on meter reading routes to examine wiring in (randomly?) selected areas to ascertain the extent of the problem.  Although this portion of load losses may be small, some entities may feel that it would be worth an investigation.

Once the pre-reconciliation estimated loads for all the retailers have been filed and totaled, a correction factor can be applied to all the retailers’ loads.  The overall correction factor can simply be computed as the actual system load divided by the sum of the estimated loads for all the retailers for the hour.  In this case, we could apply the same correction factor to all the retailers’ loads.  A further refinement could be made if we feel that some of the estimated load estimates are more accurate than others.  For example, if we feel that the hourly metered loads and the line losses are exactly right, we can subtract these loads from the actual total and then compute the correction factor as the ratio of this difference to the remaining loads.  This more tailored correction factor can then be applied to the remaining loads.  An alternative, more general, approach would be to take into account the differing variances in the retailers’ load estimates in computing the correction factors.  Finally, the retailer load allocation method described in Technical Appendix I can be used to obtain a correction factor for each retailer's claimed loads.

Section 5.6: Proposal For Interim Methodologies

The default load profiles can be initiated using the current interval metering the UDC’s have on hand.  Any ESP that wishes should, however, have the right to file its own load profiles.  The independent evaluation entity (CPUC?, CEC?, other?) should be set up and running by 11/1/97 so that some study of the load profile plans can proceed before 1/1/98.

Section 5.7: Proposal For Transition To Permanent Methodologies

1.	Notification of a request for modification of a retailer's load profile scheme can be initiated by the retailer itself, any competing retailer in the same distribution system, or a load profile evaluation entity (CPUC?, CEC?, other?).  A retailer can initiate the revision by sending a notice to the evaluation entity.

2.	The load shape evaluation entity will notify all the retailers in the affected distribution system of any revision request.

3.	Any transfer of customers from one retailer to another can be expected to affect the PX load shape scheme of both retailers.  This means that the PX load shapes of both retailers should be examined whenever there is a transfer of customers.  Nonetheless, the transfer of a particular customer may not affect the load shape enough to justify a change.  For this reason, evaluation of the implications of every retail customer transfer should include the aggregate effects of all previous transfers that were ignored because of claims that the effect was too small.

Section 5.8: Proposal For Dispute Resolution Methods

Discussion:  Load Profile Dispute Resolution

The PX load profiles have great implications for the PX costs that retailers incur and for the price competition that may result from industry restructuring.   Given the expected restructuring, the CTC load profiles will determine the CTC charges.  The goal of any analysis should be to identify retailer load shapes that result in fair CTC charges and in a fair distribution of retailer PX charges.

Since it is unlikely that any load shape estimate will ever be free from problems, any load shape disputes should always take the form of a contest between competing estimates, rather than a rejection of a particular estimate on theoretical grounds.  In addition, the party initiating the dispute should be able to show that the alternative load shapes would actually lead to significantly different estimates of the average PX or CTC charge.

A straightforward approach to the problem of dispute resolution is to review the statistical properties of the sample design and the resulting load shapes.  A goodness-of-fit test (see Technical Appendix I) for the opposing load shape forecasts should be the primary criterion used for the decision.  If this is not possible, then we can  employ criteria such as the variance of the load estimates.

Proposal:  Load Profile Dispute Resolution

1.	An independent load profile evaluation entity (CPUC?, CEC?, other?) should resolve each dispute.

2.	Each side in the dispute should present its own load profile and should be able to show that its load profile differs materially from the alternatives.

3.	The load profile with the best goodness-of-fit characteristics should prevail.  If this comparison is not possible, the load profile with the best sample design or regression properties should prevail.  If none of this is conclusive, average the competing load profiles.

Section 6.0: Proposal For Segmentation Definition

Discussion: There are two primary reasons for customer segmentation: 1) to set PX charges in settlement proceedings; and, 2) to set CTC charges.

Proposed Customer Segment Definitions:

A CTC customer segment is a group of customers having the same CTC level.

A PX customer segment is a group of customers having the same PX charges for the purpose of ISO settlements.

Section 6.1: Proposal For Establishment of Segmentation Criteria

Discussion:  CTC Customer Segments

The CTC debate has thus far centered on the magnitude of CTC payments to the UDC’s.  Little attention has been paid to the question of who should bear the cost of the CTC payments.  For example, traditional criteria such as the ability to pay are not taken into account.  The outcome is a structure in which the total CTC payments rise with the number of kWh's consumed.

It may be argued that there is some rough justice to this procedure.  However, for a given number of kWh's consumed, we would not want to charge a higher CTC payment for customers with a relatively low proportion of consumption at the time of the system peak.  This, however, is what would happen if we were to increase the CTC charge for customer segments with relatively low PX charges.

Proposal:  CTC Customer Segments

Implement a single CTC charge (in cents per kWh) for all customers.

Discussion:  PX Customer Segments

For the purpose of ISO/PX/retailer settlements, the ISO need know only the metered loads and the aggregate load-profile-customer loads for each retailer at every hour.  Although each retailer may have several rate classes, for its own purposes, the hourly loads for these classes should be aggregated for the purpose of ISO settlements.  We should not dictate to the retailer how its own rate classes should be defined.

Proposal:  PX Customer Segments

Each retailer should file a single aggregate PX load profile with the ISO for settlement purposes.

Section 6.2: Proposal For Sample Metering of Segments

Discussion:  CTC Customer Segment Metering

If there is a single CTC charge for each UDC, we simply need to obtain a random sample of all of the UDC’s current customers.  Some stratification may be useful for obtaining greater accuracy for a given budget.

Proposal: CTC Customer Segment Metering

Implement a stratified random meter sample of each UDC’s service territory.

Discussion:  PX Customer Segment Metering

For PX settlement purposes we need a random sample of each retailer’s customers.   Each retailer may choose to stratify its own customers for increasing accuracy and for purposes of its own rate setting procedures.  These rate setting procedures do not have to concern us, we merely need to require reasonable accuracy in the loads shapes for each retailer.

Proposal: PX Customer Segment Metering

Implement a stratified random meter sample of each retailer’s customers.  Note that the UDC’s original customers must all be included in its population for the CTC segment metering.  The UDC’s original customers that are served by other retailers must not be included in the UDC population to be sampled for purposes of PX charges.

Section 6.3: Proposal For Segmentation Plan Development and Evaluation

Discussion:  Segmentation Plan Evaluation Entity – CTC Segments

The CTC segmentation plan can be developed by the UDC’s with the advice and consent of a sample evaluation governing body.  The CEC would be a good candidate for this because 1) they have the expertise; and. 2) if they are selected, we would not have to design and build another such body.  The goal of this body should be to assure that the sample design is adequate to yield an accurate estimate of the average UDC load shape for each day.  Given the planned structure of CTC payments, I am unsure whether this evaluation body also needs to guard against samples that are designed for gaming the system to garner larger CTC payments than are warranted in a particular time period.  In addition, since the CTC payment is not avoidable, the ratepayers should have access to all the information used in developing the CTC charges.

Proposal: Segmentation Plan Evaluation Entity – CTC Segments

Allow the UDC’s to design the CTC segment samples.  Set up a group in the CEC that is responsible for evaluating CTC sample design.  Allow the CEC sample evaluation group to have access to all the data and analyses underlying the CTC sample selection.  Allow ratepayers to have access to all the data and analyses underlying the CTC sample selection.

Discussion:  Segmentation Plan Development and Evaluation Entities – PX Segments

The PX segmentation plan can also be developed by the UDC’s and ESP’s with the advice and consent of a sample evaluation governing body.  Note, however, that many of the ESP’s will be very inexperienced in this area and so they should receive advice about this issue when they register with the CPUC.  Again, the CEC would be a good candidate for the sample evaluation governing body because they have the expertise and we would not have to design and build another such body.  The goal of this body should be to assure that the aggregate sample design (for all retailers) for a UDC's territory is adequate to yield an accurate estimate of the average UDC load shape for each day.

Given the potential for gaming the system by UDC’s and ESP’s, the governing body needs to guard against either type of retailer claiming a smaller proportion of consumption during peak period than is warranted.  The ESP’s have an incentive to claim an artificially smaller proportion of consumption during peak periods to control their PX costs.  The UDC’s may have an incentive to claim an artificially smaller proportion of consumption during peak periods to increase CTC charges, and to reduce any PX cost advantage by the ESP’s.  This latter tactic could be used by UDC’s for long-term strategic marketing reasons to retain as many energy customers as possible.  Under no circumstances should the UDC’s be responsible for any analysis underlying any ESP’s PX charges, without the consent of the ESP or a formal conflict resolution procedure.

Proposal: Segmentation Plan Development and Evaluation Entities – PX Segments

Allow each retailer to design its own PX segment samples.  Set up a group in the CEC that is responsible for evaluating the PX sample segments.

Section 6.4: Proposal For Interim Segmentation Schemes For 1/1/98

Discussion:  Interim Segmentation Plan – CTC and PX Segments

The default segmentation plans for the CTC and PX samples can be initiated using the current interval metering the UDC’s have on hand.  Any ESP that wishes should, however, have the right to file its own PX segment sample plan.  The independent sample plan evaluation entity (CEC?) should be set up and running by 11/1/97 so that some study of the sampling plans can proceed before 1/1/98.

For the UDC sample evaluation, relatively relaxed criteria should be used for this first round.  We simply need to know whether the existing hourly (or better) customer meters and the remaining sampled loads seem to track the system level loads after adjusting for estimates of line losses, faulty meter readings and theft.  If estimates of these last two categories of load are unavailable from the UDC’s, they are probably small enough to be ignored, at first.  The UDC’s, however, should be able to file believable engineering estimates of line losses for their customers, by 11/1/97.

The primary information we need is whether there seems to be any persistent bias in the hourly breakdown of loads given the current metering data.  Are there any broad classes of customers for whom we have insufficient load information?

The PX sample segments for the UDC’s  should be adjusted for the loads transferred to the ESP’s.  A simple test for the adequacy of an ESP’s load shape is to add it to the adjusted UDC load shape.  If the resulting aggregate load fits the data as well as the original UCD load shape, the ESP’s load shape cannot be outlandish in comparison to the UDC load shape. We can go quite a bit further with this concept and actually test the accuracy of all the retailers’ claimed hourly loads.   Technical Appendix I contains a suggestion for an econometric technique that could be used to assess the accuracy of these loads.

Proposal: Interim Segmentation Plan– CTC and PX Segments

1.	Staff the independent sample plan evaluation entity (CEC, CPUC, or another independent entity)  by 11/1/97

2.	Use the current metering samples that the UDC's have on hand as default samples, but allow ESP's the option to substitute their own PX segment samples at any time after approval by the sample plan evaluation entity.

3.	The UDC's should file their CTC and PX segment sample plans with the plan evaluation entity by 11/1/95

4.	The UDC's should show how they will adjust their PX segmentation design for every transfer of customers to ESP's.  Any disputes between the ESP's and the UDC's about the resulting load shapes should be resolved by the sample plan evaluation entity using goodness-of-fit statistical criteria (see Technical Appendix I).

Section 6.5: Proposal For Segmentation Revision Schemes

Discussion: Segmentation Revision Schemes – CTC and PX Segments

The CTC and PX segmentation schemes should be changed over time to reflect any load-related changes in customer characteristics in the original distribution service territory.  Several complementary approaches could be used: 1) use an econometric approach as described in Technical Appendix I to evaluate the adequacy of the load shapes resulting from the retailers' CTC and PX segments; and, 2) resample the customers when two years have passed, or there is any evidence that energy-related customer characteristics have changed.

The impetus to revise the sample can arise from the retailers or the sample evaluation entity.  In either case, a revision request should be publicly posted by the sample evaluation entity and sent to all the retailers that are part of the UDC territory that would be affected.  In the case of disputes, the competing segment designs should be submitted to the sample evaluation entity for resolution.  Whenever possible, the resolution should be based upon goodness-of-fit statistical criteria (see Technical Appendix I).

Proposal: Segmentation Revision Schemes – CTC and PX Segments

1.	Notification of a request for retailer's segmentation scheme revision can be initiated by the retailer or the sample evaluation entity.  A retailer can initiate the revision by sending a notice to the sample evaluation entity.

2.	The sample evaluation entity will notify all the retailers in the affected distribution system of the revision request.

3.	Any transfer of customers from one retailer to another can be expected to affect the PX segmentation scheme of both retailers.  This means that the PX customer segments of both retailers should be examined whenever there is a transfer of customers.  Nonetheless, the transfer of a particular customer may not affect the segmentation strategy enough to justify a change.  For this reason, evaluation of the implications of every retail customer transfer should include the aggregate effects of all previous transfers that were ignored because of claims that the effect was too small.

Technical Appendix 1: How to Check The Claimed Load Shapes Of Electricity Retailers  -- A Retailer Load Allocation Equation

A simple measure for testing whether the retailers’ claimed loads fit the observed system loads would be a standard R2 that we could compute using a regression of the actual system loads on the claimed loads for all the retailers added together.   A more detailed analysis could be run at the system level to assess the adequacy of each retailer’s individual load estimates.  In this case we would run a regression of the system load on the individual loads of all the retailers.  The coefficients of these loads would tell us whether any particular retailer was over- or under-predicting on the average.  These coefficients should be approximately 1, if the retailers predictions were generally correct.  The standard error of these coefficients would indicate the extent of noise associated with the predictions of each retailer.

A still more detailed analysis can be performed to investigate the hourly adequacy of each retailer's load predictions.   In this case we would regress the actual system loads against the claimed system loads for peak and off-peak periods.   The coefficients of this regression would tell us how the accuracy of each retailer’s claimed loads varied by peak v. off-peak hours.  Of particular importance in this case would be the question of whether any retailer was trying to economize on PX costs by claiming lower loads at peak than were warranted.  The format of this regression (ignoring the error term) would be as follows:

,

where Lh represents the observed system load at hour h, r,h represents the coefficient of the claimed load of retailer r at hour h, Lr,h represents the claimed load of retailer r at hour h, and dh is a 0,1 dummy variable that has the value 1 for hour h and the value 0 for all other hours.

In some of the energy analysis literature, these r,h's would be called realization coefficients and they may be viewed as corrections to the claimed loads of the retailers.  Note that if the estimated value of r,h were equal to 1, that would indicate that the claimed load of retailer r at hour h was correct on the average. If the estimated value of r,h were less than 1, that would indicate that the claimed load of retailer r at hour h tended to be less than the actual load.

After we gain some experience with this retailer load allocation equation, we may want to modify it to account for econometric issues such as serial correlation, multicollinearity, and unequal error variance across observations.  In addition, we may wish to assign a higher regression weight to the peak hours in view of the higher PX prices at those hours.  One approach to this would be to multiply both sides of the regression equation by the hourly price.  In this case the dependent variable would be the PX value of the hourly system load, rather than the system load itself.

[Talk to M. Parti if any of this is too turgid, or to get suggestions on how to estimate this model with relatively few parameters (Almon polynomial substitution, etc.), or how to estimate different hourly correction factors for special conditions.  Implementing this regression should be fairly straightforward for the segment-sampling/load-profile evaluation entity (CEC?, CPUC?).]