A.	Separate Metering

Separate premises, even though owned by the same customer, will not be supplied through the same meter, except as may be specifically provided for in the tariff schedules.

B.	Furnishing and Metering of Electricity

1.	Residential Service

a.	Existing Residential Service

(1)	Where an existing customer receives electricity through a single utility meter to a multi-family accommodation, such customer may continue to master-meter, provided:

(a)	The cost of electricity is absorbed in the rent for each individual dwelling unit; there is no separate identifiable charge by such customer to the tenants for electricity; and the rent does not vary with electric consumption; or

(b)	The customer submeters and furnishes electricity to residential tenants at the same rates and charges that would apply if the tenants were purchasing such electricity directly from the utility.

b.	New Residential Service

ADD

(1)	Each new single or multi-family residential dwelling unit shall be individually metered by the utility, except as provided for in Rule 25, Direct Access Rules.

ADD

ADD

Delete

(2)	Each space or lot in mobilehome parks or manufactured housing communities for which construction has commenced prior to January 2, 1997 shall be individually metered by the utility or submetered by the owner or operator of the mobilehome park  or manufactured housing community (if construction of the mobilehome park or manufactured housing community had commenced prior to January 2, 1997) and Electricity shall be furnished at the same rates and charges that would apply if the tenants were purchasing such electricity directly from the utility.  Each space or lot in new mobilehome parks or manufactured housing communities, for which construction has commenced after January 1, 1997, shall be individually metered by the utility, except as provided for in Rule 25.

B.	Furnishing and Metering of Electricity  (Continued)

1.	Residential Service (Continued)

c.	Existing and New Submetered Service

(1)	The master-meter customer must provide each submetered tenant with an itemized bill similar in form and content to the serving utility's bill.  Items to be included on the bill are the tenant's beginning and ending meter readings, the dates of the meter readings and identification of the rate schedule being used.  If the rate schedule has a block rate, the bill must show the rate for each block and the amount of electricity used in each block.

(2)	The master-meter customer shall post the utility's current applicable residential rate schedules in a conspicuous place on the premises.

(3)	The utility, without charge, will provide submetered residential tenants the same public safety services it provides its own individually metered residential customers.  The utility will provide to the master-meter customer, a list of these services which must be posted in a conspicuous place on the premises.

2.	Non-Residential Service

a.	Existing Non-Residential Service

Where an existing multi-tenant, non-residential facility receives electricity through a single meter, such customer may continue to supply electricity to tenants but shall not submeter non-residential service, provided the cost of electricity is absorbed in the rent for each individual tenant; there is no separate identifiable charge by such customer to the tenants for electricity and the rent does not vary with electric consumption.

B.	Furnishing and Metering of Electricity (Continued)

2.	Non-Residential Service (Continued)

b.	New Non-Residential Service

ADD

New multi-tenant, non-residential facilities may receive electricity supplied through either of the following for revenue billing:

Delete

(1)	An individual utility meter for each tenant space or facility; or

Delete

(2)	A single utility meter .  Submetering of non-residential service is prohibited.

3.	Marinas and Small Craft Harbors

a.	The utility will furnish electrical service to a privately or publicly owned marina or small craft harbor through a master-meter. The master-meter customer may submeter tenant usage aboard a vessel moored in an individual boat slip or berth at the marina or harbor but may not submeter any other tenant usage e.g., stores, gas pumps on docks, or any land-based facility.

b.	If the master-meter customer submeters and furnishes electricity to individual boat slips or berths for tenant usage aboard a vessel, the rates and charges to the tenant must not exceed those charges that would apply if the tenant were purchasing electricity directly from the utility.

C.	Testing and Maintenance of Submeters and Submeter System

Reformat

Where the customer is the owner or operator of a marina, mobilehome park, marina or existing multi-family accommodation and submeters and furnishes electricity to tenants in accordance with Sections B.1.a. (1)(b) or B.3.b. above, said customer shall furnish, install, own, maintain and test the submeters and submeter system.

D.	Other Uses and Premises

1.	A customer shall not furnish or use electricity received from the utility upon other premises, except for the utility's operating convenience, or for other purposes than those specified in the customer's application for service or in the applicable rate schedule.

2.	Commercial submetering  of electricity is prohibited except as provided in Section B.3.b., above.

3.	In the event such electricity is submetered other than as provided for above, the utility may either discontinue service to the customer, or furnish electricity directly to the tenant at the option of the utility.

E.	Direct Access

ADD

Refer to Rule 25, Direct Access Rules, for situations involving submetering and resale.