Schedule TOU-PA-SOP	Sheet 5 of 7

TIME-OF-USE

AGRICULTURAL AND PUMPING

SUPER OFF-PEAK

DEMAND METERED

(Continued)

SPECIAL CONDITIONS (Continued)

7.	Power Factor Adjustment:  (Continued)

b.	Determining the Reactive Demand:

(2)		Service delivered and metered at voltages Less than 4 kV, except for Cogeneration and Small Power Production customers:

The kilovars of reactive demand shall be calculated by multiplying the kilowatts of measured maximum demand by the ratio of the kilovar-hours to the kilowatthours.  Demands in kilowatts and kilovars shall be determined to the nearest unit.  A ratchet device will be installed on the kilovar-hour meter to prevent its reverse operation on leading power factors.

8.	Voltage Discount:  The monthly Facilities Related Demand Charge will be reduced by 23.2% for service delivered and metered at voltages of 2 kV through 50 kV and by 100.0% for service delivered and metered at voltages over 50 kV.  The discount applied to Energy Charges is calculated by taking the Base Rate Energy Charge in effect on June 10, 1996 of $0.00100 per kWh and multiplying by 100.0% for service delivered and metered at voltages of 2 kV through 50 kV, and by 100.0% for service delivered and metered at voltages over 50 kV.

9.	Temporary Discontinuance of Service:  Where the use of energy is seasonal or intermittent, no adjustments will be made for a temporary discontinuance of service.  Any customer prior to resuming service within twelve months after such service was discontinued will be required to pay all charges which would have been billed if service had not been discontinued.

10.	Supplemental Visual Demand Meter:  Subject to availability, and upon written application by the customer, the Company will, within 180 days, supply and install a Company-owned supplemental visual demand meter.  The customer shall provide the required space and associated wiring beyond the point of interconnection for such installation.  Said supplemental visual demand meter shall be in parallel with the standard billing meter delineated in Special Condition 3 above.  The readings measured or recorded by the supplemental visual demand meter are for customer information purposes only and shall not be used for billing purposes in lieu of meter readings established by the standard billing meter.  If a meter having visual capability of displaying real time demand is installed by Edison as the standard billing meter, no additional metering will be installed pursuant to this Special Condition.

One of the following types of supplemental visual demand meters will be provided in accordance with provisions above at no additional cost to the customer:  Dial Wattmeter or Electronic Demand Monitor.

(Continued)