Rule 22	Sheet 1 of 5

METERING FACILITIES

A.	General

1.	The provisions of Rule 22 apply to both Edison Bundled Service Customers and Direct Access Customers as set forth below.

2.	Only Edison shall provide Metering Facilities and services for Small Customers who are Direct Access Customers and Edison Bundled Service Customers.

3.	For other than Small Customers, Direct Access Customers may choose Edison or an Energy Service Provider (ESP) to provide Metering Facilities and services.

4.	The following optional metering service packages shall be provided by Edison and charged for in accordance with Section A.5 below:

a.	Meter installation, removal, calibration, testing, and maintenance.

b.	Meter reading, demand and energy calculation, and data communication/management.

5.	All charges applicable to Edison’s metering services are set forth in the Direct Access and Bundled Services (DABS) Catalogue.

6.	An ESP who provides metering services shall execute a Commission-approved ESP Metering Services Attachment with Edison.

7.	Meters that are capable of providing hourly data shall do so in intervals as specified by Edison.

B.	Hourly Metering

1.	Except where the use of Statistical Load Profiling is permitted, Direct Access Customers shall have meters capable of recording and providing hourly data and be responsible for the cost of installing such meters.

2.	Customers eligible for Statistical Load Profiling may have Edison install, own, and maintain meters capable of recording and providing hourly data at the customer’s option and expense.

(Continued)

Rule 22	Sheet 2 of 5

METERING FACILITIES

(Continued)

C.	Meter Procurement and Ownership

1.	For other than Small Customers, Direct Access Customers or such customers’ ESPs, may assume ownership of Metering Facilities, either through purchase of the existing Metering Facilities from Edison or through purchase of new Metering Facilities from a State-approved vendor provided such metering is consistent with all applicable state, local, and Edison requirements.

2.	For Direct Access Customers, Edison will continue to own existing Edison Metering Facilities and any new Metering Facilities installed by Edison under the provisions of Rule 2.H or J or other applicable tariff provisions.

3.	If a Direct Access Customer returns to Edison as an Edison Bundled Service Customer, Edison may, at its option, purchase existing ESP Metering Facilities if compatible with Edison standards or install Edison Metering Facilities if necessary.  For customers whom Edison Metering Facilities were previously removed and replaced with other Metering Facilities, Edison shall charge for reinstallation of Edison Metering Facilities as follows:

Meter Installation	Zone 1 - $ 93/meter

Zone 2 - $119/meter

Zone 3 - $___/meter

Shipment of Removed Meter	$8/shipment

4.	The ESP shall provide and Edison may maintain basic meter  information for meters owned by ESPs.

D.	Meter Installation

1.	Only Edison and certified ESPs or their certified agents shall install and remove Metering Facilities for Direct Access Customers.  However, only duly authorized employees of Edison or its certified agents are allowed to disconnect and restore electric service or energize new Metering Facilities.

2.	Edison may install meters in accordance with the provisions of Rule 2.H or J or such other applicable tariff schedules as may be authorized.

3.	The ESP shall provide prior notification to Edison of its intent to install ESP Metering Facilities and shall provide Edison with the installation read(s) of the new meter(s) within three calendar days.  At Edison’s discretion, a meeting at the meter location between Edison and the ESP may be required to obtain the last meter read and remove metering equipment.  IF such meeting occurs, Edison shall charge the ESP as set forth in the Direct Access and Bundled Services (DABS) Catalogue.

4.	The ESP shall notify Edison, and Edison shall notify the ESP, of all meter changes that affect the data capabilities of the meter.

(Continued)