APPLICABILITY:

ADD

This rule is applicable to extension of electric Distribution Lines of utility's standard voltages (less than 69 kV) necessary to furnish Permanent electric service to Applicants, and will be made in accordance with the following provisions stated in this rule.  All the provisions of this rule are applicable to all utility customers, including those who elect Direct Access or the hourly PX pricing options.

A.	GENERAL

1.	Extension Basis

a.	Design:  Utility will be responsible for planning, designing, and engineering extensions using utility's standards for material, design, and construction.

b.	Ownership:  The extension facilities installed under the provisions of this rule, shall be owned, operated, and maintained by utility, except for Substructures and enclosures that are on, under, within, or part of a building or structure.

c.	Private Lines:  Utility shall not be required to serve any Applicant from extension facilities that are not owned, operated, and maintained by utility.

2.	Extension Locations

a.	Rights Of Way:  Utility will own, operate and maintain extension facilities only:

(1)	along public streets, alleys, roads, highways and other publicly dedicated ways and places which utility has the legal right to occupy (franchise areas), and,

(2)	on public lands and private property across which rights of way and permits satisfactory to utility may be obtained without cost to or condemnation by utility.

b.	Normal Route of Line:  The length and normal route of an extension will be determined by utility and considered as the distance along the shortest, most practical, available, and acceptable route which is clear of obstructions from utility's nearest permanent and available distribution facility to the point from which the service facilities will be connected.

A.	GENERAL  (Continued)

3.	Underground Extensions

a.	Underground Required:  Underground extensions shall be installed where required to comply with applicable laws and ordinances or similar requirements of governmental authorities having jurisdiction and where utility maintains or desires to maintain underground distribution facilities.  For example, underground extensions are required for all new:  (1) Residential Subdivisions (except as provided for in Section G), (2) Residential Developments, (3) Commercial Developments, (4) Industrial Developments, and (5) locations that are in proximity to and visible from designated Scenic Areas.

b.	Underground Optional:  When requested by Applicant and agreed upon by utility, underground extensions may be installed in areas where it is not required, as provided in Section A.3.a.

4.	Overhead Extensions:  Overhead extensions may be installed only where underground extensions are not required as provided in Section A.3.a.

5.	Special or Added Facilities:  Any special or added facilities utility agrees to install at the request of Applicant will be installed at Applicant's expense in accordance with Rule 2, Description of Service.

6.	Temporary Service:  Facilities installed for temporary service or for operations of speculative character or questionable permanency shall be made in accordance with the fundamental installation and ownership provisions of this rule, except that all charges and refunds shall be made under the provisions of Rule 13, Temporary Service.

7.	Services:  Service facilities connected to the Distribution Lines to serve an Applicant's premises will be installed, owned and maintained as provided in Rule 16, Service Extensions.

8.	Conversions of Overhead to Underground:  The replacement of existing overhead Distribution Lines with underground Distribution Lines will be made in accordance with Rule 20, Replacement of Overhead With Underground Electric Facilities.

9.	Street Lights:  Street lights and appurtenant facilities shall be installed in accordance with the service provisions of the applicable street light schedule.

10.	Contracts:  Each Applicant requesting an extension may be required to execute a written contract(s), prior to utility performing its work on the extension. Such contracts shall be in the form on file with the California Public Utilities Commission (Commission).

B.	Installation Responsibilities

1.	Underground Extensions

a.	Applicant Responsibility:  In accordance with utility's design, specifications, and requirements, Applicant is responsible for:

(1)	Excavation:  All necessary trenching, backfilling, and other digging as required;

(2)	Substructures and Conduits:  Furnishing, installing, and upon acceptance by utility, conveying to utility ownership of all necessary installed Substructures and Conduits, including Feeder Conduits and related Substructures required to extend to and within subdivisions and developments; and,

(3)	Protective Structures:  Furnishing, installing, and upon acceptance by utility, conveying to utility ownership of all necessary Protective Structures.

b.	Utility Responsibility:  Utility is responsible for furnishing and installing cables, switches, transformers, and other distribution facilities required to complete the extension.

2.	Overhead Extensions:  Utility is responsible for furnishing and installing all facilities required for the Pole Line Extension.

3.	Installation Options:

a.	Utility-Performed Work:  Where requested by Applicant and mutually agreed upon, utility may perform that portion of the new extension work normally installed by Applicant according to Section B.1.a., provided Applicant pays utility its total estimated installed cost.

b.	Applicant-Performed Work:  Applicant may elect to install that portion of the new extension normally installed by utility in accordance with utility's design and specifications, using qualified contractors.  (See Section F, Applicant-Installation Options).

C.	EXTENSION ALLOWANCES

1.	General:  Utility will complete an extension without charge provided utility's total estimated installed cost (excluding transformers, meters and services) does not exceed the allowances as determined, from permanent, bona-fide loads to be served by the extension within a reasonable time, as determined by utility.

C.	EXTENSION ALLOWANCES (Continued)

2.	Basis of Allowances:  Allowances shall be granted to an Applicant for Permanent Service, or to an Applicant for a subdivision or development under the following conditions:

a.	Utility is provided evidence that construction will proceed promptly and financing is adequate, and,

b.	Applicant has submitted evidence of building permit(s) or fully-executed home purchase contract(s) or lease agreement(s), or,

c.	Where there is equivalent evidence of occupancy or electric usage satisfactory to utility.

The allowances in Sections C.3 and C.4 are based on a revenue-supported methodology using the following formula:

ALLOWANCE  =		NET REVENUE______

COST OF SERVICE FACTOR

ADD

3.	Residential Allowances:  The allowance for Permanent Residential Service is ____ per meter or residential dwelling unit.

4.	Non-Residential Allowances: The allowance for Permanent Non-Residential Service is determined by utility using the formula in Section C.2.  The utility, at its election, may apply a Non-Residential Allowance Net Revenue Multiplier as defined in Section I.

Where the extension will serve a combination of residential and non-residential meters, residential allowances will be added to non-residential allowances.

5.	Seasonal, Intermittent, And Insignificant Loads:  When an Applicant requests service that requires an extension to serve loads that are seasonal or intermittent, the allowance for such loads shall be determined using the formula in Section C.2.  No allowance will be provided where service is used only for emergency purposes, or for Insignificant Loads.

D.	CONTRIBUTIONS OR ADVANCES BY APPLICANT

1.	General:  Contributions or advances by an Applicant to utility for the installation of an extension to receive utility service consists of such things as cash payments, the value of facilities deeded to utility, and the value of Excavation performed by Applicant.

D.	CONTRIBUTIONS OR ADVANCES BY APPLICANT (Continued)

2.	Utility's Unit Cost:  Utility's total estimated installed cost to complete the extension to supply residential loads will be determined by multiplying the length of an overhead Pole Line footage and underground Distribution Trench Footage times the applicable costs per foot, published periodically by utility (published unit cost).  The published unit cost is applicable where the project specific estimated cost of the installation is within two times (2x) of the unit cost estimate.

3.	Project-Specific Cost Estimates:  Where the unit cost is not applicable, the utility's total estimated installed cost will be based on a project-specific estimated cost.

4.	Cash Advance:  A cash advance will be required only if Applicant's allowance is less than utility's total estimated installed cost to complete an extension (excluding transformers, meters and services).

5.	Tax:  All contributions and advances by Applicant are taxable and shall include an Income Tax Component of Contribution (ITCC) at the rate provided in the utility's Preliminary Statement.  ITCC will be either refundable or non-refundable in accordance with the corresponding contribution.

6.	Refundable and Non-Refundable Amounts:  Applicant shall contribute or advance, before the start of utility's construction, the following:

a.	Underground Refundable Amount:  Applicant's refundable amount is the portion of the utility's total estimated installed cost, including ITCC, to complete the underground extension (excluding transformers, meters, services and Betterments) that exceeds the amount of extension allowance determined in Section C for:

(1)	Cabling:  The estimated installed cost of any necessary Cabling (excluding transformers, meters and services) installed by utility to complete the underground extension. This includes the cost of conversion of existing single-phase lines to three-phase lines, if required; plus

(2)	Substructures:  Utility's estimated value of Substructures installed by Applicant and deeded to utility as required.

D.	CONTRIBUTIONS OR ADVANCES BY APPLICANT (Continued)

6.	Refundable and Non-Refundable Amounts (Continued)

b.	Overhead Refundable Amount:  Applicant's refundable amount is the portion of the utility's total estimated installed cost, including ITCC, to complete the overhead extension (excluding transformers, meters, services and Betterments) that exceeds the amount of extension allowance determined in Section C for:

(1)	Pole Line:  All necessary facilities required for an overhead extension and, if required, the conversion of existing single-phase lines to three-phase lines; plus,

(2)	Transmission Underbuilds:  Utility's total estimated installed cost of the underbuild, where all or a portion of an overhead extension is to be constructed on existing transmission poles of utility.

c.	Non-Refundable Discount Option:  In lieu of contributing the refundable amount determined in Section D.6.a or D.6.b, Applicant has the option of contributing, on a non-refundable basis, fifty percent (50%) of such refundable amount; plus

d.	Other Non-Refundable Amounts:  Applicant's non-refundable amount is utility's estimated value of Excavation, Conduits, and Protective Structures required by utility for the extension under Section B.1.a.

7.	Joint Applicants:  The total contribution or advance from a group of Applicants will be apportioned among the members of the group in such manner as they may mutually agree.

8.	Payment Adjustments:

a.	Contract Compliance:  If, after six (6) months following the date utility is first ready to serve residential loads for which allowances were granted, one (1) year for non-residential loads, Applicant fails to take service, or fails to use the service contracted for, Applicant shall pay to utility an additional contribution or advance, based on the allowances for the loads actually installed.

b.	Excess Facilities:  If the loads provided by Applicant(s) results in utility having installed facilities which are in excess of those needed to serve the actual loads, and utility elects to reduce such excess facilities, Applicant shall pay utility its estimated total costs to remove, abandon, or replace the excess facilities, less the estimated salvage of any removed facilities.

E.	REFUNDS

1.	General:  Refunds are based on the allowances and conditions in effect at the time the contract is signed.

2.	Total Refundable Amount:  The total amount subject to refund is the sum of the refundable amounts made under Section D.6.

3.	Refund Period:  The total refundable amount is subject to refund for a period of 10 years after the extension is first ready for service.

4.	Residential:  Refunds will be made on the basis of a new customer's Permanent Load which produces additional revenues to utility.  The refund will be deducted from the total refundable amount, and the remaining amount subject to refund represents that portion of the extension cost not supported by revenues.  (See Section E.11 for Series Refunding Provisions.)

5.	Non-Residential:  Utility shall be responsible to review Applicant's actual base annual revenue for the first three years from the date utility is first ready to serve. Applicant shall be responsible for notifying utility if new, permanent load is added the fourth through tenth year from the date utility is first ready to serve.  Such review shall determine if additional revenue supports any refunds to Applicant.  (See Section E.11 for Series Refunding Provisions.)

6.	Unsupported Extension Cost:  When any portion of a refundable amount has not qualified for a refund at the end of twelve (12) months from the date utility is first ready to serve, Applicant will pay to utility an ownership charge on the remaining refundable balance.  Monthly ownership costs are in addition to the refundable amount and will normally be accumulated and deducted from refunds due to Applicant.  This provision does not apply to individual residential Applicants.

7.	Refund Timing:  Refunds will be made without interest within 90 days after the date of first service to new permanent loads, except that refunds may be accumulated to a $50 minimum or the total refundable balance, if less than $50.

8.	Maximum Refund:  No refund shall be made in excess of the refundable amount nor after a period of ten (10) years from the date utility is first ready to serve.  Any unrefunded amount remaining at the end of the ten-year period shall become property of utility.

9.	Previous Rules:  Refundable amounts contributed or advanced under conditions of a rule previously in effect will be refunded in accordance with the provisions of such earlier rule.

E.	REFUNDS (Continued)

10.	Joint Applicants:  When two (2) or more parties make joint contributions or Advances on the same extension, refunds will be distributed to these parties in the same proportion as their individual contributions or Advances bear to the total refundable amount, or as they mutually agree.

11.	Series of Extensions:  Where there is a series of extensions, commencing with an extension having an outstanding amount subject to refund, and each extension is dependent on the previous extension as a direct source of supply, a series refund will be made as follows:

a.	Additional service connections supplied from an extension on which there is a refundable amount will provide refunds first to the extension to which they are connected; and,

b.	When the amount subject to refund on an extension in a series is fully refunded, the excess refundable amount will provide refunds to the extension having the oldest outstanding amount subject to refund in the series.

F.	APPLICANT INSTALLATION OPTIONS

1.	Competitive Bidding:  When Applicant selects competitive bidding, the extension may be installed by Applicant's qualified contractor or sub-contractor in accordance with utility's design and specifications.  Under this option, the following applies:

a.	Once Applicant chooses competitive bidding, the choice is final.

b.	The utility's estimated installed project-specific cost will apply regardless of whom Applicant selects to perform the installation.

c.	Upon acceptance by utility, ownership of all such facilities will transfer to utility;

d.	Applicant shall pay to utility, subject to refund, any utility costs associated with the extension, including the estimated costs of design, administration, and installation of any additional facilities and labor necessary to complete the extension;

e.	Utility's total estimated installation cost is subject to the refund and allowance provisions of the applicable rule;

f.	Applicant shall pay to utility, as a non-refundable amount, the cost of inspection;

g.	Only duly authorized employees of utility are allowed to connect to, disconnect from, or perform any work upon utility's facilities.

F.	APPLICANT INSTALLATION OPTIONS (Continued)

2.	Minimum Contractor Qualifications:  Applicant's contractor or subcontractor (QC/S) shall:

a.	Be licensed in California for the appropriate type of work (electrical and general, etc.);

b.	Employ workmen properly qualified for specific skills required (Qualified Electrical Worker, Qualified Person, etc.) as defined in State of California High Voltage Safety Orders (Title 8, Chapter 4, Subchapter 5, Group 2); and,

c.	Comply with applicable laws (Equal Opportunity Regulations, OSHA, EPA, etc.)

3.	Other Contractor Qualifications:  An Applicant for service who intends to employ a QC/S also should consider whether the QC/S:

a.	Is technically competent;

b.	Has access to proper equipment;

c.	Demonstrates financial responsibility commensurate with the scope of the contract;

d.	Has adequate insurance coverage (workers compensation, liability, property damage); and,

e.	Is able to furnish a surety bond for performance of the contract, if required.

G.	OVERHEAD EXTENSIONS FOR SUBDIVISIONS OR DEVELOPMENTS

1.	Overhead extensions may be constructed in Residential Subdivisions or Developments only where either a. or b. below are found to exist:

a.	The lots within the Residential Subdivision or Development existed as legally described parcels prior to May 5, 1970, and significant overhead lines exist within the subdivision or development.

b.	The minimum parcel size within the new Residential Subdivision or real estate development, identifiable by a map filed with the local government authority, is three (3) acres and Applicant for the extension shows that all of the following conditions exist:

(1)	Local ordinances do not require underground construction;

(2)	Local ordinances or land use policies do not permit further division of the parcels involved such that parcel sizes less than three (3) acres could be formed;

(3)	Local ordinances or deed restrictions do not allow more than one single-family dwelling or accommodation on a parcel of less than three (3) acres, or any portion of a parcel of less than three (3) acres;

G.	OVERHEAD EXTENSIONS FOR SUBDIVISIONS OR DEVELOPMENTS (Continued)

1.	b.	(Continued)

(4)	Exceptional circumstances do not exist which, in utility's opinion, warrant the installation of underground distribution facilities.  Whenever utility invokes this provision, the circumstances shall be described promptly in a letter to the Commission, with a copy to Applicant for the extension; and,

(5)	Utility does not elect to install the extension underground for its operating convenience.  Whenever utility elects to install the extension underground for its operating convenience, the extra cost compared with overhead shall be borne by utility.

H.	SPECIAL CONDITIONS

1.	Facility Relocation or Rearrangement:  Any relocation or rearrangement of utility's existing facilities, at the request of, or to meet the convenience of an Applicant or customer, and agreed upon by utility, normally shall be performed by utility.  Where new facilities can be constructed in a separate location, before abandonment or removal of any existing facilities, and Applicant requests to perform the new construction work, it can be performed under the applicable provisions of Section F, Applicant Installation Options.

In all instances, utility shall, at its option, abandon or remove its existing facilities.  Applicant or customer shall be responsible for the costs of all related relocation, rearrangement and removal work.

2.	Periodic Review:  utility will periodically review the factors it uses to determine its residential allowances, non-refundable discount option percentage rate, Unit Cost, and Cost of Service Factor stated in this rule.  If such review results in a change of more than five percent (5%), utility will submit a tariff revision proposal to the Commission for review and approval.  Such proposed changes shall be submitted no sooner than six (6) months after the last revision.

3.	Exceptional Cases:  When the application of this rule appears impractical or unjust to either party or the ratepayers, utility or Applicant may refer the matter to the Commission for a special ruling or for special condition(s), which may be mutually agreed upon.

I.	DEFINITIONS

Advance:  Cash payments made to the utility prior to the initiation of any work done by the utility which is not covered by allowances.

Applicant:  A person or agency requesting utility to supply electric service.

Betterment:  Facilities installed by Applicant at the request of utility in addition to those required under Section B.1.a.

Cabling:  Conductors (including cable-in-conduit, if used), connectors, switches, as required by utility for primary, secondary, and service installations.

Commercial Development:  Two (2) or more enterprises engaged in trade or the furnishing of services, (e.g., shopping centers, sales enterprises, business offices, professional offices, and educational or governmental complexes) and located on a single parcel or on two (2) or more contiguous parcels of land.

Conduit:  Ducts, pipes or tubes of certain metals, plastics and other materials acceptable to utility (including pull wires and concrete encasement where required) for the installation and protection of electric wires or cables.

Contribution:  In-kind services and the value of all property conveyed to the utility at any time during the utility's work on an extension which is part of the utility's total estimated installed cost of its facilities, or cash payments not covered by Applicant's allowances.

Cost of Service Factor:  The factor as stated in Rule 2 that includes taxes, return and depreciation that is applied to the Net Revenue to determine the utility's investment in distribution facilities.

Distribution Lines:  Overhead and underground lines which are operated at distribution voltages, and which are designed to supply two (2) or more services.

Distribution Trench Footage:  The total trench footage used for calculating cabling costs.  It is determined by adding the total length of all new and existing trench for the installation of underground primary and secondary Distribution Lines designed to supply two (2) or more services (excluding service trench footage under Rule 16).

Excavation:  All necessary trenching, backfilling, and other digging to install extension facilities, including furnishing of any imported backfill material and disposal of spoil as required, surface repair and replacement, landscape repair and replacement.

I.	DEFINITIONS (Continued)

Feeder Conduit:  Conduit for such uses as part of a backbone system to provide for future anticipated load growth outside the subdivision involved, to provide for future anticipated load growth in the existing subdivision and the existing subdivisions in close proximity, to balance loads between substations, to interconnect the service to the subdivision with service to subsequent developments outside the subdivision, and to provide the flexibility and versatility of modifying or supplying emergency backup power to the area involved.

Franchise Area:  Public streets, roads, highways and other public ways and places where the utility has a legal right to occupy under franchise agreements with governmental bodies having jurisdiction.

Industrial Development:  Two (2) or more enterprises engaged in a process which creates a product or changes material into another form or product and located on a single parcel or on two (2) or more contiguous parcels of land.

Insignificant Loads:  Small operating loads such as gate openers, valve controls, clocks, timing devices, fire protection equipment, alarm devices, etc.

Intermittent Loads:  Loads which, in the opinion of the utility, are subject to discontinuance for a time or at intervals.

Line Extension:  New distribution facilities of utility that are a continuation of, or branch from, the nearest available existing permanent Distribution Line (including any facility rearrangements and relocations necessary to accommodate the extension) to the point of connection of the last service.  Utility's Line Extension includes transmission underbuilds and converting an existing single-phase line to three-phase in order to furnish three-phase service to an Applicant, but excludes transformers, meters and services.

ADD

Net Revenue:  That portion of the total rate that supports the utility's distribution line extension costs and excludes such items as fuel costs, generation, transmission, Competition Transition Charges (CTCs), public purpose programs, and other energy adjustment costs that do not support the distribution line extension costs.

Non-Residential Allowances Net Revenue Multiplier:  This is a revenue-supported factor determined by the utility that is applied to the net revenues expected from non-residential load to determine non-residential allowances.

Ownership Charge:  Monthly charge as a percentage rate applied against the outstanding unrefunded refundable balance after twelve (12) months from the date the utility is first ready to serve.  Serves to recover the cost of operating and maintaining customer-financed facilities that are not fully utilized.

I.	DEFINITIONS (Continued)

Permanent Service:  Service which, in the opinion of utility, is of a permanent and established character. This may be continuous, intermittent, or seasonal in nature.

Pole Line:  Poles, cross-arms, insulators, conductors, switches, guy-wires, and other related equipment used in the construction of an electric overhead line.

Protective Structures:  Fences, retaining walls (in lieu of grading), sound barriers, posts, or barricades and other structures as required by utility to protect distribution equipment.

Residential Development:  Five (5) or more dwelling units in two (2) or more buildings located on a single parcel of land.

Residential Subdivision:  An area of five (5) or more lots for residential dwelling units which may be identified by filed subdivision plans or an area in which a group of dwellings may be constructed about the same time, either by a builder or several builders working on a coordinated basis.

Seasonal Service:  Electric Service to establishments which are occupied seasonally or intermittently, such as seasonal resorts, cottages, or other part-time establishments.

Scenic Areas:  An area such as a scenic highway, a state or national park or other area determined by a governmental agency to be of unusual scenic interest to the general public. Scenic highways are officially designated under the California Scenic Highway Program established pursuant to Paragraph 320 of the Public Utilities Code and applicable sections of the Streets and Highways Code. State or national parks or other areas of unusual scenic interest to the general public are determined by the appropriate governmental agency. "In proximity to" shall mean within 1,000 feet from each edge of the right-of-way of designated scenic highways and from the boundaries of designated parks and scenic areas. "Visible from" shall mean that overhead distribution facilities could be seen by motorists or pedestrians traveling along scenic highways or visiting parks or scenic areas.

Substructures:  The surface and subsurface structures which are necessary to contain or support utility's electric facilities. This includes, but is not limited to, such things as splice boxes, pull boxes, equipment vaults and enclosures, foundations or pads for surface-mounted equipment.

Trenching:  See Excavation.

Certain words beginning with capital letters are defined either within the provisions of this rule or in Section I.

Allowance amount to be addressed in the Line Extension Orider Instituting Rulemaking.