# MDMA Acceptance and Performance Criteria

# APPENDIX C

One of the goals of this workshop process was to recommend statewide standards applicable to DA metering, including MDMA service functions.  We believe that these standards, once developed, will clarify and facilitate MDMA provider efforts to develop integrated and inter-operable systems.

Purpose of the Appendix

This appendix is intended to establish a framework for further dialogue that will facilitate the development of uniform MDMA acceptance and performance criteria.  These criteria must be developed collaboratively with affected market participants.  We recommend this process be completed by September 15.  Once developed, clear and consistent process validation and performance standards will ensure the desired performance levels and integration needed between affected participants.

MDMA Acceptance and Performance Criteria

Assumptions

- No such thing as a “standard” MDMA software package

- Every MDMA applicant would need a system which handles agreed upon industry standard record layouts and MDMA system interface protocols.

- Input and output records

- Meter data/characteristics

- Possibly also for archived information

- Every MDMA applicant would need to comply with standard algorithms for usage calculation

- Published set of rules for validating, estimating, and editing

- For security purposes, UDC’s may, at its option, decide not to use its production server for MDMA certification tests

- MDMA applicant will be charged an appropriate fee to participate in any certification test

- Every MDMA applicant would need to comply with data timelines standards.

- Every MDMA would need to comply with server availability standards.

General Certification Requirements

- 100% of MDMA applicant’s meter reading force must be certified, as evidenced by having passed MDMA sponsored course work and or examinations

- MDMA applicant’s data processing staff must be adequately trained and supervised, and must participate in ongoing technical training

- Confidentiality (etc.) agreements must be in place

- Applicable to the MDMA as a whole, as well as to its individual employees and agents

- For assessment purposes only, UDC’s may contact other UDC’s served by the MDMA

System Availability Certification Requirements

- MDMA applicant must have adequate system redundancy and an acceptable disaster recovery plan

- For a minor disaster (TBD), no more than a two-hour outage is acceptable

- For a major disaster (TBD), no more than a 24-hour outage is acceptable

- Plan may include arrangements for processing responsibilities to be (temporarily or permanently) assumed by another, previously approved MDMA

- Plan must include a worst-case provision to ensure that no data is lost (even if another set of physical meter reads must be taken)

- MDMA server must operate on a 24/365 basis

- If not a mirrored system, outages must be regularly scheduled during lowest use periods

- System backups must be stored off-site in a secured facility

- Additional scheduled down time (which must be prearranged with UDC’s) must total less than eight hours per month, and may only occur between the hours of 2am and 5am.

- MDMA applicant must provide 24/365 access to technical assistance (contact names, beeper numbers, help desk phone number, e-mail address, etc.) including a 1800 number and staff to field questions and concerns on :

- Data availability

- Data corruption and adjustments

- systems technical support

Technical Certification Requirements for MDMA Facilities (remove word facilities)

- The MDMA applicant must provide adequate system access controls

- The MDMA applicant must provide UDC’s with all necessary system access information, depending on actual transport medium

- Dial-up line: Phone number, access code, modem characteristics, HTTP (or other) software version, etc.

- Internet: URL, public/private key - An Internet addressable MDMA server is a minimum requirement.

- Direct (dedicated) lines: Only required if warranted by expected volumes otherwise probably prohibitive to support

- Encryption will be used in all situations where data is being transmitted over a common carrier

- UDC’s technical staff will assess the adequacy of these controls

- MDMA must enforce physical access restrictions to its data processing center

- The clock on the MDMA server must be synchronized to be within 60 seconds of the time reported by UTC (Universal Coordinated Time)

- MDMA applicant’s hardware and software platforms must show proof of scale-ability to meet the throughput requirements outlined in the MDCS.

- MDMA network transport will have adequate bandwidth to support transfer of maximum daily data volume within a 2 hour window.

MDMA Certification Test Procedure

- UDC’s will develop standard test data representing “typical” hourly reads for two meter reading periods.  Should be done by a State Agency.

- 10 to 100 cases

- Different start/end dates and times

- Cases will run the full gamut of possibilities and contain a wide range of problems (complete with high/low issues, missing/corrupted data, duplicate reads, no-reads, removal reads, failed meters, different record intervals, etc.)

- For each test period, UDC’s will prepare three test files

- Meter file, consisting of the meter ID code, meter characteristics, etc.

- “Raw” data file corresponding to input provided by the meter read

- All read detail (e.g., record interval) will be consistent with corresponding meter characteristics

- “Processed” data file consisting of records to be made available on the server

- All applicable usage calculations, exception processing (using standard algorithms), and formatting rules will have been exercised

- Tolerances (if any) applicable to any algorithms will be as small as possible

- Processed data file will never be made directly available to the MDMA applicant

- Transport medium of the “raw” data may take one of two physical forms

- An actual meter reading hand-held, loaded with test read data

- A magnetic medium (diskette, tape) containing a file in UTS HHF format.

- Acceptance testing procedure—Phase 1

- UDC’s sends the MDMA the meter file (meter ID code, characteristics, etc.) for the first test period

- Data is shipped with return receipt requested

- Approximately three days later, UDC’s sends the first period of raw test data (physical format to be determined) to the MDMA applicant

- Data is shipped with return receipt requested

- MDMA has three business days from date of receipt until usage information must become available on their server

- Using access information provided by MDMA applicant, UDC’s will make three attempts to read information from their server

- Access will be attempted during peak usage time (2 PM - 6PM)

- UDC’s will download information from the MDMA applicant’s server and compare it to its predefined “processed” record layout

- Separately, the MDMA must send UDC’s a copy of this file on magnetic media using an overnight delivery service

- UDC’s technical staff will evaluate alternative file transfer compatibility in event of phone line or network problems

- Files must have 100% correspondence

- Tolerances (if any) will be considered during this evaluation

- Exception reports (if any) must accompany the MDMA submission

- Acceptance testing procedure—Phase 2

- If and only if phase 1 is completed successfully

- UDC’s sends the MDMA the meter file for the second test period

- May differ from the first file in order to mimic meter removals, additions, etc.

- Data is shipped with return receipt requested

- UDC’s then forwards the second month of raw test data to the MDMA applicant, and the testing process is repeated

- The second period of test data includes some additional specific conditions to be tested (less than previous read, reads for meters flagged as removed, change to daylight savings time, etc.)

- Data is shipped with return receipt requested

- MDMA has three business (calendar?) days from date of receipt until usage information must become available on their server

- Using access information provided by MDMA applicant, UDC’s will make three attempts to read information from their server

- Access will be attempted during peak usage time (2 PM - 6PM)

- UDC’s will download information from the MDMA applicant’s server and compare it to its predefined “processed” record layout

- Separately, the MDMA must send UDC’s a copy of this file on magnetic media using an overnight delivery service

- UDC’s technical staff will evaluate alternative file transfer compatibility in event of phone line problems

- Files must have 100% correspondence

- Tolerances (if any) will be considered during this evaluation

- Exception reports (if any) must accompany the MDMA submission

- MDMA only gets two total tries

- For third try, wait six months and pay another fee

Ongoing Performance Criteria

- Ongoing adherence to General Acceptance Requirements, defined above

- Recertification will be required if the MDMA discontinues service for any period of time exceeding one month, regardless of reason

- UDC’s may periodically perform sample tests of any set of meters it desires

- MDMA applicant required to participate (with appropriate advanced notice) in any user conferences hosted by UDC’s

- Each meter must be read every 27 to 33 days, as defined in an agreed schedule

- Server must contain 3 days of (rolling) read history

- After 30 days, information must be archived for three years

- All meter reads will be in whole days

- Information must be posted to the server at least once per day.

- UDC’s will periodically:

- Submit requests for archived usage information, which must subsequently be honored within 24 hours of receipt

- Contact the MDMA technical support staff at various times throughout the 24/365 operating period

- The MDMA applicant must test its disaster plan every two years