DIRECT ACCESS IMPLEMENTATION WORKSHOP

METERING AND METERING COMMUNICATIONS STANDARDS

WORKSHOP REPORT OUTLINE

I.	Executive Summary

A.	Purpose of the workshop and relationship to the Retail Settlements and Information Flow (RSIF) workshop.

1.	The RSIF workshop defined the critical information needs of market participants under the new structure.  The focus was on the minimum needs to make the market structure work; other needs should be left to the market to work out.

- what information is required (and in what form)

- who requires the information

- when the information is required

2.	This workshop will then focus on the technical specifications and systems to meet those requirements.

- gathering the information (e.g., metering, metering standards, data extraction from the meter, customer records, etc.)

- transforming the data into the necessary forms/formats

- ensuring that the data are communicated to the market participants in the form and on time to meet their needs.

B.	Key findings resulting from this workshop

C.	Significant areas of agreement and disagreement among the UDC’s and among/between the other participants.

D.	Organization of the remainder of the report

II.	Background

A.	Summary of the new market structure

1.	changes in market participants

2.	their roles and responsibilities (regardless of whether they contract out actual work to others)

B.	Relevant CPUC decisions to date

C.	The workshop process, including pre-workshop activities

D.	Summary of the critical information needs of the market participants (from the RSIF workshop)

1.	ISO requirements

2.	Scheduling coordinator/PX requirements

3.	non-UDC ESP/aggregator requirements

4.	UDC requirements

E.	Principles

III.	Assumptions

A.	Instrument Transformers

B. 	Service Entrance Equipment

C.	UDC Wires Responsibility

D.	Service Connection and Disconnection

E.	Meter testing

F.	UDC as default provider

IV.	Metering and Data Requirements of Market Participants

A.	Customers with demand under 20 kw - No special metering 				required beyond metering required under UDC tariff

B.	Customers with demand over 20 kw

1.	Hourly energy consumption recording, and

2.	Metering capability as required under UDC tariff

C.	Virtual Direct Access

D.	Data to be recorded (as required by tariffs or contracts)

1.	Kilowatts (kw)

2.	Kilowatt-hours (kwhr)

3.	Other data, i.e. kvars

E.	Time interval for recording

F.	Meter read frequency

1.	Monthly

2.	Daily

3.	Other frequency

G.	Timeliness requirements

H.	Metering communications requirements

1.	Local read capability

2.	Remote read capability

3.	Multiple party read capability

4.	Formats and protocols

I.	Data Transfer requirements

1.	Parties requiring data

2.	Timeliness requirements

3.	Communications methods

4.	Communications protocols

J.	ISO/PX metering requirements for end use customers

1.	ANSI Standards

2.	Hourly read capability

3.	Meter read frequency

V.	Who Will Be Allowed To Install And Maintain Metering

A.	UDC

B.	Qualified Energy Service Providers (ESP)

C.	Other qualified parties

VI.	Who Will Be Allowed To Read Meters

A.	UDC

B.	Qualified Energy Service Providers (ESP)

C.	Other qualified parties

VII.	Existing Metering Standards

A.	Meters

B.	Communications

C.	Installation and maintenance

D.	Reading

E.	Records

F.	Programming

G.	Security

H.	Testing

I.	Vendor certification

J.	Service Entrance equipment

K.	Instrument transformers

L.	Service connect/disconnect

M.	Data transfer capabilities

M.	ANSI C12 Standards

VIII.	Evaluation Of Existing Metering Standards Suitability For Direct Access

A.	Data types

B.	Data recording interval

C.	Meter read frequency

D.	Communications capability

E.	ISO/PX requirements

F.	Data transfer capability

G.	ANSI C12 compliance

IX. 	Proposed Metering Standards - Applicable to new and existing customers

A.	Revenue Meters

1.	Accuracy

2.	Safety

3.	Reliability

4.	Compatibility

5.	Voltage rating

6.	Current rating

7.	Form - Physical parameters

8.	Communications interface	(protocols, etc.)

9.	Register types and programs

10.	Data storage

B.	Communications devices

1.	Accuracy

2.	Safety

3.	Reliability

4.	Compatibility

5.	Communications interface

6.	Meter interface

7. 	Data storage

8.	Data Formats

9. 	Transmission speed

10.	Mounting

C.	Installation and maintenance

1.	Accuracy

2.	Safety

3.	Reliability

4.	Qualifications of meter installer

5.	Certification of meter installers

6.	Code, ordinance, and other legal requirements

7.	Quality

8.	Mounting

9.	Security

10.	Coordination with local jurisdiction authorities (i.e. 					electrical inspections)

D. 	Reading

1.	Accuracy

2.	Safety

3.	Reliability

4.	Efficiency

5.	Timeliness

6.	Data transfer systems

7.	Security

E.	Programming

1.	Program accuracy

2.	Safety

3.	Reliability

4.	Efficiency

5.	Timeliness

6.	Security

F.	Open Architecture

1.	Definition

2.	Implementation plan

G.	Meter Records

1.	Meter number assignment

2.	Meter specification documentation

H.	Security

I.	Vendor certification

1.	Business certification

2.	Technical certification

a.	Manufacturing processes

b.	Testing procedures

c.	Specifications and standards used

3.	Evaluation procedure

J.	Meter testing

1.	Frequency

2.	Calibration responsibility

K.	Inspection and checkout of metering prior to placing in service

1.	Meter installation inspection

2.	Program verification

3.	Installation test when required

4.	Communications test

5.	Meter characteristics documentation

X. 	Certification Process For Meters And Metering Communications Vendors

A.	Vendor certification

B.	Equipment evaluation

C.	Equipment testing

D.	Performance standards

1.	Safety

2.	Quality

3.	Accuracy

E.	Enforcement provisions

XI. 	Certification Process For Meter Installation And Maintenance Vendors

A.	Vendor certification

B.	Licensing - Electrical Contractor

C.	Liability and financial

D.	Experience and training

E.	Performance standards

1.	Safety

2.	Quality

3.	Accuracy

F.	Enforcement provisions

XII. 	Certification Process For Meter Reading Vendors

A.	Vendor certification

B.	Liability and financial

C.	Experience and training

D.	Performance standards

1.	Safety

2.	Quality

3.	Accuracy

4.	Timeliness

E.	Enforcement provisions

XIII.	Data Transformation

A.	Estimating/editing consumption data to render it validated where required by market participants

B.	Transforming usage/other data into common forms/formats, as necessary

XIV.	Collection of data from sources other than meters/meter communication systems

XV.	Data Communication

A.	Communications methods/processes

B.	Technical specifications/requirements

XVI.	Storage/retrieval of information

A.	Which data are stored, and for how long, to meet market participant needs

B.	How the stored data are to be accessed