# MDMA/MRSP Qualifications

Purpose

Pursuant to Decision 97-______ [the MDCS decision], any ESP wishing to be a Meter Data Management Agent (MDMA) and/or Meter Reading Services Provider (MRSP) must meet certain qualifications in order to perform MDMA and/or MRSP functions. The purpose is to ensure that meters are being read in an accurate and safe manner. This document describes the standards that must be met by an MDMA or MRSP in order to meet this requirement.

MRSP Services by ESPs and Other Entities

- Training Manuals. The UDCs shall require the potential MRSP to provide all pertinent training manuals and materials which describe the training in meter reading and safety that all of its employees have received or will undergo before the employee is allowed to perform MRSP-related activities.

- Education. The MRSP must establish and maintain minimum educational requirements, if any, for meter readers. Such requirements are at the MRSP’s discretion, but must be consistent with the job duties to be performed.

- Training Requirements. The MRSP’s meter readers must be trained in the following areas:

  - Read meters proficiently, including physical reads (may be just as backup), for the type of meters for which that MRSP provides services

  - Be aware of and follow the MRSP’s rules to ensure that meter readers clearly identify what company they are from and what the purpose of their visit to the customer’s site is

  - Know that they must carry MRSP-issued identification cards and a letter or some other writing which describes which ESP the services are being rendered for

  - Be trained in personal interactions with customers, including responses to routine questions about MRSP services, as well as procedures for handling unusual or difficult situations

  - Know how to detect and report meter, safety, and hazardous conditions to the UDC and ESP

  - Be trained in safety procedures related to meter reading, including familiarity with applicable OSHA safety requirements and any relevant training in electrical safety

MDMA Services by ESPs and Other Entities

- Training Manuals. The UDCs shall require the potential MDMA to provide all pertinent training manuals and materials which describe the training in meter data management that all of its employees have received or will undergo before the employee is allowed to perform MDMA-related activities.

- Education. The MDMA must establish and maintain minimum educational requirements for meter data management employees. At a minimum, such employees will have completed high school and either two years of college or two years of on-the-job training. Additional educational requirements are at the MDMA’s discretion, but must be consistent with the job duties to be performed.

- Training Requirements. The MDMA’s meter data management employees must be trained in the following areas:

  - CPUC requirements for editing, estimation, and validation of the raw meter reading data collected from the meters, including the following quality and other checks:

    - Missing interval data, spike check, high-low average daily usage check, sum check, hardware check, zero consumption for active meters, usage for inactive meters, and, if applicable, the kvarh check for consumption data, the high-low demand check, and the time-of-use check.

    - Meter configuration checks, including the meter reading dial quantity difference, the meter reading dial decimal quantity, and validation of the external meter identification.

    - Estimation of missing data for consumption and demand meters.

  - Data transformation into the PG&E Metering Exchange Protocol format.

  - Operation and maintenance of the MDMA Server, including the following:

    - Data publishing to the MDMA Server

    - Data exchange with the UDC or ESP

    - Data archiving

    - Retrieval of data from archives and re-posting to MDMA Server

    - Compliance with the following CPUC rules:

      - Validation results will be stored with and at the same interval frequency as the source data

      - Estimated usage data is to be identified, along with the estimation technique used

      - Usage data will be represented in the appropriate engineering units at the same interval length that was captured in the meter.

    - Understanding of, and ability to implement, disaster recovery plan.

  - Any appropriate safety measures associated with the provision of MDMA services.