# MDMA/MRSP Acceptance Test

Purpose

Pursuant to Decision 97-10-087, any ESP wishing to be a Meter Data Management Agent (MDMA) and/or Meter Reading Services Provider (MRSP) must demonstrate the ability to perform MDMA and/or MRSP functions. This document describes the tests to be performed to meet this requirement. The test may be performed for MRSP services only, MDMA services only, or both. This document assumes MDMAs/MRSPs will perform self-tests, with the results submitted to UDCs. Please see the companion document, “MDMA/MRSP Acceptance Process” for further details.

Retest

Should an MDMA or MRSP perform and fail the acceptance test, the MDMA or MRSP must wait three months prior to being tested again.

Definitions

- “Demonstrate” means conducting an activity and creating tangible evidence that the activity has been performed, such as a written or photographic record. When referring to an “ability” to perform, “demonstrate” means having written processes and procedures in place along with appropriate training of personnel that ensure that the activity can and will be performed as necessary (an example would be a disaster recovery plan).

- “Documentation” means a physical copy of a written, photographic, or other record that describes test results, processes and procedures, training programs, or other items as required by the acceptance  tests described below. Such documentation must be available for inspection in accordance with the audit provisions of the MDMA Service Agreement.

MRSP Acceptance  Test

- The MRSP must verify and document that meters and communications systems to be used by the MRSP to provide MRSP services have been inspected in accordance with Appendix B of the Meter and Data Communications Standards Workshop Report of July 25, 1997.

- Testing. The MRSP must conduct tests to demonstrate the following:

  - Read meters proficiently, including physical reads (may be just as backup)

  - Demonstrate ability to manage the meter reading schedule

  - Demonstrate that meter readers will clearly identify what company they are from and what the purpose of their visit to the customer’s site is, and will carry MRSP-issued identification cards and a letter or some other writing which describes which ESP the services are being rendered for

  - Demonstrate ability to detect and report meter, safety, and hazardous conditions to the UDC and ESP

  - Transport data to the MDMA in a secure fashion

  - Maintain the communication link between the meter and MDMA (this does not necessarily mean performing the actual work, but being responsible for the link and ensuring that repair or maintenance work is done when necessary)

MDMA Acceptance Test Requirements

[Note: shifted to “Process” document.]

- The MDMA must have and follow a policy for retention of business records to ensure the ability to comply with the audit provisions of the ESP Service Agreement.

- The MDMA must verify and document that meters and communications systems to be used by the MDMA to provide MDMA services have been inspected in accordance with Appendix B of the Meter and Data Communications Standards Workshop Report of July 25, 1997.

- The MDMA must ensure that the MDMA Server can interface with the systems the ESP and UDC (this is done by performing the data exchange test described below).

- MDMAs must demonstrate that they can provide the succeeding ESP’s MDMA with the most recent 12 months (or the maximum available) of historical consumption data 10 days prior to the ESP switch date or other date agreed to by the succeeding ESP, but in no case in less than five days after the data has been requested.

- MDMA Server Availability Certification Tests

  - Disaster Recovery Plan. The MDMA must have adequate system redundancy and a documented disaster recovery plan:

    - For a minor disaster, which consists of a hardware failure, no more than a two-hour outage is acceptable

    - The MDMA must have a disaster recovery plan in place that provides a means for resuming service within 24 hours in the event of a major disaster, including a building fire or telecommunications interruption, by having access to a back-up MDMA Server located at a geographically separated site (at least 50 miles) and a means to publish data on the back-up server. This 24-hour recovery requirement would not apply in the event of a large-scale disaster that destroys both the primary and back-up MDMA Server sites.

    - The plan may include arrangements for processing responsibilities to be (temporarily or permanently) assumed by another, previously approved MDMA

    - The plan must include a worst-case provision to ensure that no data is lost (even if another set of physical meter reads must be taken)

  - Operational Capabilities. The MDMA must document the following operational capabilities:

    - MDMA server must operate on a 24/365 basis except for scheduled outages

    - If not a mirrored system, outages must be regularly scheduled during lowest use periods

    - System backups must be stored off-site in a secured facility

    - Additional scheduled down time (which must include advance notification to all potentially affected parties ) must total less than eight hours per month, must be no more than four consecutive hours, and must occur during the lowest use periods

  - The MDMA must provide to all users 24/365 access to technical assistance (contact names, beeper numbers, help desk phone number, e-mail address, etc.) including a toll-free number and staff to field questions and concerns on :

- Data and MDMA Server availability

Other support, including questions regarding data corruption and adjustments will be provided during normal business hours, local California time.

Certification Tests for MDMA Facilities

- The MDMA applicant must have in place the following system access controls:

  - Secure-sockets layer or other security mechanism agreed upon by the parties  for all situations where data is being transmitted from the MDMA Server to other parties over a common carrier

- Physical access restrictions to the MDMA’s data processing center.

- The clock on the MDMA server must be synchronized to be within 60 seconds of the time reported by UTC (Universal Coordinated Time)

- The MDMA’s hardware and software platforms must show proof of scale-ability to ship out data in accordance with the throughput and connectivity performance  requirements in Appendix D (Item 1) of the July 25, 1997 MDCS Report, without regard to restrictions that might result from the equipment used to receive the data.

MDMA Certification Test Procedure

- Accept Meter Reads and Exchange Data (Integrated System Test). The MDMA shall perform a test to demonstrate that the MDMA accurately receives and stores raw meter data as received from all its MRSP(s) and publishes the data to the MDMA Server.

  - This test shall include each type of meter the MDMA supports, and shall demonstrate that the MDMA interprets and stores all meter values related to revenue data accurately.  This could include usage, interval, demand, time-of-use, and other data, depending on the services offered by the MDMA.

  - The meter data stored on the MDMA Server shall be verified by comparison with an independent reading of the meter(s), such as by using the meter manufacturer's test software.

  - The MDMA will perform validation, editing, and estimation  processing of the raw meter reading data and publish the output file to the MDMA Server in the California Meter Exchange Protocol format

      - The MDMA will verify that a UDC or ESP can read information from their server, by having a UDC or ESP actually retrieve data

      - Access will be  during peak Internet usage time (2 PM - 6PM)

- Validation, Editing, Estimation (VEE). The MDMA Users Group will provide standard test data representing “typical” hourly reads for two meter reading periods.

  - 10 to 100 cases

  - Different start/end dates and times

  - Cases will contain good data as well as a wide range of problems to exercise the validation, editing, and estimation procedures agreed to by the MDMA Users Group and which are in compliance with current CPUC-approved validation, editing, and estimation procedures (for example,  high/low issues, missing/corrupted/failed meter data, duplicate reads (same data submitted by MRSP twice), no-reads, removal reads, different record intervals, etc.). Until the CPUC approves such procedures, the certification test will use the majority validation, editing, and estimation procedures described in the July 25, 1997 Meter and Data Communications Standards Workshop Report Section VII.B.1 through VII.B.8. and VII.B.13(d).

  - For each test period, the MDMA User’s Group  will prepare three test files

    - Meter file, consisting of the meter ID code, meter characteristics, etc.

    - “Raw” data file corresponding to input provided by the meter read

      - All read detail (e.g., record interval) will be consistent with corresponding meter characteristics

    - “Processed” data file consisting of records to be made available on the server

      - All applicable usage calculations, exception processing (using standard algorithms), and formatting rules will have been exercised

      - Tolerances (if any) applicable to any algorithms will be as small as possible

  - Acceptance testing procedure

    - The MDMA will begin with the meter file (meter ID code, characteristics, etc.) and raw test data in format agreed to by MDMA Users Group

    - The MDMA perform validation, editing, and estimation processing of the raw meter reading data.

    - The MDMA  will compare the output file  to its predefined “processed” record layout

      - Files must have 100% correspondence or generate an exception report if applicable

- Data Archiving. The MDMA should have the ability to archive meter reading data for the time specified by the MDCS documents on MDMA certification. The MDMA should test its ability to store data to a backup storage media. The MDMA should also test the retrieval of data from the backup storage media. The MDMA should be able to readily provide its backup and retrieval procedures for proof of meeting MDMA standards.

Ongoing Acceptance Tests

- The MDMA applicant must test its disaster plan every two years

Performance Standards

- The MDMA must document continuing compliance with CPUC-approved standards for accuracy, timeliness, and data retention through production and retention of monthly performance reports, Until the CPUC approves such performance standards, the certification test will use the majority standards described in the July 25, 1997 Meter and Data Communications Standards Workshop Report Section VII.B.9 through VII.B.13(c) for MDMAs and VI.B.1(a), (b), and (d) for Meter Readers.

- Each meter must be read every 27 to 33 days, as defined by the UDC’s meter reading schedule.

- The MDMA Server must contain 3 days of (rolling) read history.

- Information must be archived for three years.

- Information must be posted to the MDMA Server at least once per business day.