MDMA Acceptance Process and Performance Standards

Purpose

Pursuant to Decision 97-______ [the MDCS decision], any ESP wishing to be a Meter Data Management Agent (MDMA) must meet certain qualifications in order to perform MDMA functions, including the meter reading service provider function. The purpose is to ensure that meters are being read in an accurate and safe manner and that the meter usage data is processed consistently and provided on the server in a timely manner. This document describes the process by which an MDMA is initially [accepted/certified] in order to meet this requirement and the ongoing standards and requirements and ESP must meet in order for the ESPMDMA to remain [accepted/certified] to offer MDMA services.be able to continue offering services.

Existing Regulated Utilities

The existing regulated utilities, as of November 1997, are deemed qualified to perform MDMA services. All utility employees who have successfully completed the utility’s training programs regarding meter reading, and related safety programs, shall be permitted to carry out the meter reading activities required of an MDMA. All utility employees who have successfully completed the utility’s training programs regarding meter data management (validation, editing, etc.) and entry shall be permitted to carry out the meter data management activities required of an MDMA. [SCE: strike next two sentences.] The UDCs are not required to perform and acceptance test. However, they must also meet the performance CPUC-approved standards and requirements for MDMAs as enumerated in Sections 3 and 4 below.

Acceptance Procedure: MDMA Services by ESPs and Other Entities

Written Request. All non-utility entities and ESPs seeking to offer MDMA services shall be required to submit a written request to each UDC in whose service territory the ESP or entity seeks to offer such services. A non-utility entity that is not an ESP must submit its request to the UDC jointly with the ESP for which it will be subcontractor to provide MDMA services. The written request shall include the following information: name of the person or entity; business address and telephone number; a description of the requesting party’s experience in meter reading; and a description of what educational and training requirements in meter reading and related electrical safety the MDMA will require of its employees before they are allowed to carry out the MDMA functions (see document, MDMA Qualifications). The UDCs will verify that the request has been received by notifying the MDMA in writing within five business days.

Training Manuals. The potential MDMA shall attach all requiredpertinent training manuals and materials which describe the training that all of its employees have received or will undergo before the employee is allowed to perform MDMA-related activities. These documents will also describe the MDMA’s educational requirements for its employees. Specific training manual requirements will be worked out between the MDMA and the UDC.

Acceptance Test. The MDMA must successfully carry out and document the MDMA Acceptance Test (see document), and provide the test report to the UDC along with the agreed-upon training manuals.

UDC Review. Upon receipt of the request, the UDC shall review the written documents and any attached materials, and to confirm in writing with the potential MDMA whether the proposed educational and training requirements are comparable with the UDC’s requirements and whether the MDMA has carried out the required acceptance testing. If the UDC states that the proposed MDMA’s educational and training requirements are not comparable or has failed the acceptance test, the person or entity may file a formal complaint with the CPUC with regard to such qualifications. The UDC must accept the proposed MDMA’s acceptance test report unless the test report shows the test was not passed successfully, the test was done improperly or was incomplete, or the UDC finds another material reason to reject the report or the training material.. Unless the reason for rejection was failing the test, the MDMA may immediately correct the deficiency and resubmit the test report. If the MDMA failed the acceptance test twice, the MDMA must wait three months before resubmitting a new test report.

If the UDC states that the proposed MDMA’s educational and training requirements are sufficient and the MDMA Acceptance Test has been performed, passed, and documented, then the MDMA may begin offering MDMA services so long as it has signed a valid MDMA Service Agreement with the UDC. [SCE: strike the next sentence.] Once one UDC has accepted the MDMA’s educational and training requirements and MDMA Acceptance Test, the other UDC’s will consider the MDMA’s educational and training program to be adequate without performing their own, independent review. The UDC has the option of accepting another UDC’s approval or reviewing the report and training material at their (UDC) own cost.

The UDC will be reimbursed for the costs associated with MDMA reviews.

Ongoing Acceptance

New Acceptance. Submission of a new written request for acceptance, including copies of documentation and a complete test report, is required in the following circumstances:

If the MDMA discontinues service for any period of time exceeding one month, regardless of reason

If the MDMA replaces its current technology with entirely new technology, such as converting from one communications technology to another, or makes other changes to its technology or systems that significantly affect the MDMA's ability to meet the performance standards. Such resubmission of a request for acceptance is required within 30 days prior to of implementing such new or changed technology.

If the MDMA sub-contracts any portion of its MDMA tasks to a third party.

Disaster Recovery Test. The MDMA must test its disaster recovery plan every two years and provide a copy of the test report to each UDC in whose service territory the MDMA provides MDMA services. The UDC has the option of rejecting the test plan and to re-review the disaster recovery plan.  If the disaster recovery plan is unacceptable the certification will be withdrawn.

Performance Standards. The MDMA must meet certain performance standards and provide a monthly report to each UDC in whose service territory the MDMA provides MDMA services documenting that the MDMA is meeting the standards. Failure to meet the standards will result in the actions described in Section H.8 of Appendix A of the Direct Access Tariffs Decision (97-10-087). Standards are as follows:

Each meter must be read at least once each month, every 27 to 343 days, as defined by the UDC’s meter reading schedule

Timeliness For Validated Meter Reading Data. The following standards shall be used to establish the time requirements for posting validated meter reading data on the MDMA server.

Interval Data:

(i) 80% of all usage data must be available by 5:00 p.m. on the first day after the scheduled reading date of the meter.

(ii) 90% of all usage data must be available by 5:00 p.m. on the first working day within two days after of the scheduled reading date of the meter.

(iii) 99.99% of all usage data must be available by by 5:00 p.m. on the first working day within five four days after of the scheduled reading date of the meter.

Non-Interval (Monthly) Data:

(i) 8590% of all monthly meter readings must be available by 6:00 a.m. on the 1st working day after the scheduled meter reading date.

(ii) 95% must be available by 6:00 a.m. on the 2nd working day after the scheduled meter reading date.

(iii) 99.99% must be available by 6:00 a.m. on the 54th working day after the scheduled meter reading date.

The MDMA Server must contain 3 days of (rolling) read history.

The MDMA is required to keep the most recent 12 months of customer consumption data for each Direct Access customer. This information must be archived for three years and released on request to the customer or UDC, via the ESP, or, if authorized by the customer to any other ESP or to the UDC. [SCE: Is this raw meter reads or usage calculations?]

Information must be posted to the server at least once per business day, assuming the MDMA has meter data that is due to be posted that day.

Reads must be posted according to the time and date of the meter read. [Monthly reads may be posted according to the time and date of the meter read; interval reads must be posted in whole calendar days??]

Either no more than 10% of the accounts will contain estimated data, or no more than 1% of all the data (e.g. the 720 hourly reads per month times the number of meters) will be estimated monthly. No more than 10% of the meter readings for a single account may be estimated each year.

Within five days after installation of a meter, the MDMA must confirm that the meter and meter reading system are is working properly and that the billing data gathered is valid.

Other Performance Requirements. Additionally, tThe MDMA must meet the followingcertain other performance requirements, which do not need to be reported to the UDC monthly. Failure to meet these requirements will result in the actions described in Section H.8 of Appendix A of the Direct Access Tariffs Decision (97-10-087). The requirements are as follows:

MDMAs must report meter, safety, and hazardous conditions to the UDC and ESP, and keep site-specific information

Whenever the MDMA becomes aware of any non-conforming meters or errors in the provision of meter services affecting billing, it shall promptly notify the ESP and UDC.

The MDMAs who are not public utilities must be sure that their employees do not represent themselves as public utility employees. They must clearly identify what company they are from and what the purpose of their visit is, as well as carry company-issued identification cards and a letter or some other writing which describes which ESP the services are being rendered for.

MDMAs must meet applicable Cal OSHA and the following UDC safety requirements

:

[To be provided by the UDCs].

Validation, editing and estimation must be performed in accordance with current CPUC requirements per (see Decision 97-12____, pp. 40-44 [draft]).

Meter reads must be published to the MDMA Server in the California PG&E Meter Exchange Protocol (CMEP) format until such other format is adopted by the CPUC. In addition:

Validation results must be stored with and at the same interval frequency as the source data

Estimated usage data must be identified, along with the estimation technique used

Usage data must be represented in the appropriate engineering units at the same interval length that was captured in the meter.

Technical assistance must be provided to the UDC and ESP as needed to access data published on the MDMA Server and resolve other technical questions that may arise.

The MDMA data on the server awaiting transport to the MDMA user must be protected from unauthorized access by outside entities by a firewall, encryption, or some other reasonable security measure(s).

Systems, processes, and procedures must be in place to protect data confidentiality, including the execution of a confidentiality agreement as part of the MDMA Service Agreement with the UDC.

The MDMA shall provide ESPs and UDCs with reasonable data access sufficient to allow them to provide Scheduling Coordinators reasonable and timely access to meter data as required to allow the proper performance of billing, settlement, scheduling, forecasting and other functions, including the daily sample reporting of a random sample of customers’ usage for the creation of dynamic statistical load profiles as required in Decision 97-10-086. The UDCs shall pay for the cost of providing data for use in developing dynamic statistical load profiles. [SCE: The ESP should provide the Schedule Coordinator the metering data.  This could be from the ESP or from the ESP contacted MDMA agent.   Edison is NOT set-up to handle access to customer data from Schedule Coordinators.]

Both UDC and ESP shall have access to the MDMA Server.

The MDMA shall maintain a database containing a history of meter and meter device management (i.e. when the meter/device was installed, what the device type is, what the service history has been, what the service parameters of the meter are, etc.).][Note: is this an MDMA function or MSP?][Comment: The MSP should perform this function. The MSP shall provide the ESP, MDMA and UDC this data upon request.]

The MDMA data on the server awaiting transport to the MDMA user must be protected from unauthorized access by outside entities by a firewall, encryption, or some other reasonable security measure(s).