MDMA Qualifications and Performance Standards

1	Purpose

Pursuant to Decision 97-12-048, any ESP wishing to be a Meter Data Management Agent (MDMA), including the meter reading services function, must meet certain qualifications in order to perform MDMA services. The following standards were established to ensure that meters are read in an accurate and safe manner, and meter usage data is processed consistently and provided within the appropriate time frame. This document describes the standards that must be met by an MDMA in order to meet this requirement.

2	Qualifications for Meter Reading Services by ESPs and Other Entities

Training Manuals. The UDCs shall require the potential MDMA haveto provide all pertinent training manuals and materials which describe the training in meter reading and safety that all of its employees have received or will undergo before the employee is allowed to perform MDMA-related activities. At a minimum there must be annual safety education (hazardous materials).

Education. The MDMA must establish and maintain minimum educational requirements, if any, for meter readers. This education must be consistent with the job duties to be performed and the requirements of the UDC.  At a minimum there must be annual safety education (hazardous materials).

Training Requirements. Training must be provided to insure that meter readers perform their duties in a safe and hazard free work environment.  Specifically, training must include the following areas:

Read meters proficiently, including physical reads (may be just as backup), for the type of meters for which that MDMA provides services

Be aware of and follow the MDMA’s rules to ensure that meter readers clearly identify what company they are from and the purpose of their visit.

Know that they must carry MDMA-issued identification cards and a letter or some other writing which describes which ESP the services are being rendered for

Be trained in personal interactions with customers (customer service), including responses to routine questions about MDMA services, as well as procedures for handling unusual or difficult situations and providing customers with UDC and ESP contact numbers

Know how to detect and report meter abnormalities (e.g. broken meter glass, missing seal), safety, theft, and hazardous conditions to the UDC and ESP

Be trained in safety procedures related to meter reading, including familiarity with applicable Cal OSHA; the following UDC safety requirements: animal training, route safety, driver safety, and hazardous chemicals safety; and any relevant training in electrical safety

Know how to retrieve readings from all types of meters for which the MDMA is responsible, including, if applicable, different types of meters in different UDC service territories.

Training shall include the following quality checks performed in association with meter reading: meter configuration checks, including the meter reading dial quantity difference, the meter reading dial decimal quantity, and validation of the external meter identification; in addition: the following hardware checks: ensure synchronization to the national time standard before data collection begins, a time tolerance check to verify that the time difference in the meter and the collection device is within 180 seconds for a 30-day time period, and a pulse overflow check to determine whether the meter is able to record all the pulses in a single interval.

If applicable, proper use of hand-held devices, including changing protocols and resetting demand meters.

3	Meter Data Management Services by ESPs and Other Entities

Training Manuals. The UDCs shall require the potential MDMA to provide all pertinent training manuals and materials which describe the training in meter data management that all of its employees have received or will undergo before the employee is allowed to perform MDMA-related activities.

Education. The MDMA must establish and maintain minimum educational requirements for meter data management employees to be consistent with the job duties to be performed.

Training Requirements. The MDMA’s meter data management employees must be trained in the following areas:

CPUC requirements for editing, estimation, and validation of the raw meter reading data collected from the meters and flagging the data appropriately.  Specific training shall include the following quality checks and estimation procedures:

For interval data: missing interval data, spike check, high-low average daily usage check, sum check, hardware check, zero consumption for active meters, usage for inactive meters, and, if applicable, the kvarh check for consumption data, the high-low demand check, and the time-of-use check.

For monthly data: high-low usage check, zero consumption for active meters check, usage for inactive meters check, and, if applicable, high-low demand check, and time-of-use check; as well as, estimation of missing data for consumption and demand meters.

Data transformation using the California Metering Exchange Protocol (CMEP) format.

Operation and maintenance of the MDMA Server, including the following:

Data publishing to the MDMA Server

Data exchange with the UDC and ESP

Data archiving

Retrieval of data from archives and re-posting to MDMA Server

Compliance with the following CPUC rules:

Validation results will be stored with and at the same interval frequency as the source data

Estimated usage data is to be identified, along with the estimation technique used

Usage data will be represented in the appropriate engineering units at the same interval length that was captured in the meter.

Understanding of, and ability to implement, disaster recovery plan.

Any appropriate safety measures associated with the provision of MDMA services.

Processes and procedures to apply, in a consistent manner, adjustments to data and to re-frame data for billing and settlements.

4 	Performance Standards

The MDMA must meet certain performance standards and provide a monthly report to each UDC in whose service territory the MDMA provides MDMA services documenting that the MDMA is meeting the standards. Failure to meet the standards will result in the actions described in Section H.8 of Appendix A of the Direct Access Tariffs Decision (97-10-087). Standards are as follows:

Each meter must be read at least once each month, every 27 to 34 days, as defined by the UDC’s meter reading schedule

Timeliness For Validated Meter Reading Data. The following standards shall be used to establish the time requirements for posting validated meter reading data on the MDMA server:

4.2.1	Interval Data:

(i) 80% of all usage data must be available on the first day after the scheduled reading date of the meter.

(ii) 90% of all usage data must be available on the first day two days after  the scheduled reading date of the meter.

(iii) 99.99% of all usage data must be available on the first day five days after  the scheduled reading date of the meter.

4.2.2	Non-Interval (Monthly) Data:

(i) 85% of all monthly meter readings must be available by 6:00 a.m. on the 1st working day after the scheduled meter reading date.

(ii) 95% must be available by 6:00 a.m. on the 2nd working day after the scheduled meter reading date.

(iii) 99.99% must be available by 6:00 a.m. on the 5th working day after the scheduled meter reading date.

The MDMA Server must contain 3 days of (rolling) read history.

The MDMA is required to keep the most recent 12 months of customer consumption data for each Direct Access customer, including raw data; validated, estimated, and edited data; and usage calculations. This information must be archived for three years and released on request to the customer or UDC, via the ESP, or, if authorized by the customer to any other ESP.

Information must be posted to the server at least once per business day, assuming the MDMA has meter data that is due to be posted that day.

Reads must be posted according to the time and date of the meter read unless otherwise required by the UDC’s tariffs.

Either no more than 10% of the accounts will contain estimated data, or no more than 1% of all the data (e.g. the 720 hourly reads per month times the number of meters) will be estimated monthly.

Within five days after installation of a meter, the MDMA must confirm that the meter and meter reading system are  working properly and that the billing data gathered is valid.

5	Other Performance Requirements

Additionally, the MDMA must meet the following performance requirements, which do not need to be reported to the UDC monthly. Failure to meet these requirements will result in the actions described in Section H.8 of Appendix A of the Direct Access Tariffs Decision (97-10-087). The requirements are as follows:

5.1 	MDMAs performing meter reading in the field must meet the following requirements:

MDMAs must report meter, safety, and hazardous conditions to the UDC and ESP, and keep site-specific information

Whenever the MDMA becomes aware of any non-conforming meters or errors in the provision of meter services affecting billing, it shall promptly notify the ESP and UDC.

The MDMAs who are not public utilities must be sure that their employees do not represent themselves as public utility employees. They must clearly identify what company they are from and what the purpose of their visit is, as well as carry company-issued identification cards and a letter or some other writing which describes which ESP the services are being rendered for.

MDMAs must establish and follow guidelines and procedures for meter readers operating in the field. These guidelines and procedures must be consistent with UDC meter reading guidelines and procedures. They must ensure that meters are read properly, that customers and their property are respected, that steps are taken to gain access to difficult-to-access meters, that meter readers carry necessary supplies, and related matters.

MDMAs must meet applicable Cal OSHA and UDC safety requirements as follows:

5.2.1 	Electrical safety, animal training, route safety, driver safety, and hazardous chemicals safety.

Validation, editing and estimation must be performed in accordance with current CPUC requirements per Decision 97-12-048.

Meter reads must be published to the MDMA Server in the California Meter Exchange Protocol (CMEP) format until such other format is adopted by the CPUC. In addition:

Validation results must be stored with and at the same interval frequency as the source data

Estimated usage data must be identified, along with the estimation technique used

Usage data must be represented in the appropriate engineering units at the same interval length that was captured in the meter.

Technical assistance must be provided to the UDC and ESP as needed to access data published on the MDMA Server and resolve other technical questions that may arise.

The MDMA data on the server awaiting transport to the MDMA user must be protected from unauthorized access by outside entities by a firewall, encryption, or some other reasonable security measure(s).

Systems, processes, and procedures must be in place to protect data confidentiality, including the execution of a confidentiality agreement as part of the MDMA Service Agreement with the UDC.

The MDMA shall provide ESPs and UDCs with reasonable access, consistent with CPUC-mandated performance standards,  to meter data as required to allow the proper performance of billing, settlement, scheduling, forecasting and other functions. MDMAs are required to provide meter reading data only and are not required to, but may, provide additional functions such as applying statistical load profiles to monthly usage data, adding line loss factors, and forecasting loads. ESPs are responsible for providing data to Scheduling Coordinators.

Both UDC and ESP shall have access to the MDMA Server. Their rights to meter reading data shall be consistent with regulatory mandates.

The MDMA shall maintain a database containing a history of meter and meter device management (i.e. when the meter/device was installed, what the device type is, what the service history has been, what the service parameters of the meter are, etc.).