BEFORE THE PUBLIC UTILITIES COMMISSION

OF THE STATE OF CALIFORNIA

______________________________

Order Instituting Rulemaking on the	)

Commission’s Proposed Policies	)

Governing Restructuring California’s	)	R. 94-04-031

Electric Services Industry and	)

Reforming Regulation			)

______________________________)

Order Instituting Investigation on	)

the Commission’s Proposed Policies	)

Governing Restructuring California’s	)	I. 94-04-032

Electric Services Industry and	)

Reforming Regulation			)

)

______________________________)

Distribution Loss factors

SUPPLEMENT TO THE JULY 25, 1997 WORKSHOP REPORT ON RETAIL SETTLEMENTS AND INFORMATION FLOWS

Submitted by Pacific Gas and Electric Company (U 39E)

San Diego Gas and Electric Company (U 902E)

Southern California Edison Company (U 338E)

ROGER J. PETERS

PETER OUBORG

Law Department

PACIFIC GAS AND ELECTRIC COMPANY

P. O. Box 7442

San Francisco, CA  94120

Telephone:  (415) 973-2286

Fax: (415) 973-5520

Attorneys for

PACIFIC GAS AND ELECTRIC COMPANY

August 19, 1997

Table of Contents

1. Overview

1.1 Report Background

1.2 Recommendations to the CPUC

2. DLF Definition and Utilization

2.1 DLF Definition

2.2 DLF Utilization

3. DLF Criteria and Methodologies

3.1 DLF Design Criteria

3.2 Proposed UDC DLF Methodologies

3.2.1 PG&E’s Proposed DLF Methodology

3.2.2 Edison’s Proposed DLF Methodology

3.2.3 SDG&E’s Proposed DLF Methodology

4. The Relationship of Imbalance Energy and UFE to DLFs

4.1 Definition of Imbalance Energy (IE)

4.2 Definition of Actual Imbalance (AI)

4.3 Definition of UFE

4.3.1 UFEDLL - DLFs Correspond to Distribution Line Losses Only

4.3.2 UFETDL - DLFs Correspond to Distribution Line Losses, Meter Error, and Energy Theft

4.3.3 Comparison of UFE Formulae

4.3.4 Allocation of UFE

4.4 DLF Effects on Imbalance Energy

5. DLF Data Communication Proposal

5.1 Assumptions and Allowances

5.2 Protocols for Communication -  A Starting Point

5.3 Distribution Loss Factors Communication

5.4 Accessing the Distribution Loss Factors

5.5 File Structure and Filenames

5.6 Timing and File Availability

5.7 Data Format

Overview

The estimation and utilization of Distribution Loss Factors (DLFs) is critical to the integrity of the scheduling and settlements processes.  The presence of large numbers of market participants, new complex processes and procedures, and new metering and data communications systems create a potential for increased lost energy in the distribution system.  Minimizing the potential for such increases requires development of sound methodologies for estimating DLFs, and implementation of appropriate monitoring and enforcement procedures to ensure compliance with market rules.  This report addresses the DLF methodologies and their utilization, while monitoring and oversight procedures are addressed more fully in the Retail Data Quality and Integrity Supplement filed in conjunction with this report.

Report Background

On May 6, 1997, the California Public Utilities Commission (CPUC) issued Decision No. 97-05-040 in its Electric Restructuring proceeding.  The decision, among other things, directed Pacific Gas and Electric Company (PG&E), Southern California Edison Company (Edison), and San Diego Gas and Electric Company (SDG&E) to meet with interested parties to discuss issues surrounding retail settlement and information flows necessary to implement direct access.

A workshop was convened on July 7, and a workshop report was submitted to the CPUC on July 25, 1997.  The workshop report recommended that several sub-committees continue collaborative efforts on a number of high-priority areas and file supplemental reports on August 15, 1997.  Methods for calculating DLFs was one of these high-priority areas.  Through a series of sub-committee meetings, the parties identified potential processes for estimation and utilization of DLFs in the new energy market.

On August 1, 1997, the Commission issued Decision No. 97-08-056 in the Ratesetting Proceeding, which, among other things, directed the Utility Distribution Companies (UDCs) to implement a process to calculate hourly DLFs.  The Commission also directed that compliance tariffs implementing hourly DLFs be filed by each UDC.

The purpose of this supplemental workshop report is to:

discuss how DLFs are used for scheduling and settlement purposes;

describe the proposed UDC methodologies for estimating hourly DLFs;

discuss the significance of DLFs and Unaccounted For Energy (UFE) in the ISO Imbalance Energy calculation; and

provide the technical specifications (e.g., protocols and data formats) for DLF information flows.

Recommendations to the CPUC

This report is the result of a collaborative effort involving various end-users, scheduling coordinators, energy service providers, the Office of Ratepayer Advocates, and the UDCs.  Based on the sub-committee’s input, the UDCs recommend that the Commission approve the following:

the UDC-specific DLF methodologies proposed herein;

the provision of specific DLF formulae by October 15, 1997;

the information flow process (communication protocols and data formats) necessary to make the DLF information readily available for use by market participants; and

the potential enhancement of the UDC-specific proposed DLF methodologies prior to 1/1/99.

DLF Definition and Utilization

DLF Definition

The general definition of the DLF is the following:

The DLF, when multiplied by a distribution level end-use meter measurement, provides an estimate of the load at the corresponding ISO/UDC interface (grid level).

In equation form this is shown as,

Egrid = DLF ( Edist	(1)

where Egrid represents an energy measurement at corresponding ISO/UDC grid interface and Edist represents a distribution level end-use meter measurement.

The DLF may be characterized via two distinct approaches: 1) distribution line losses only and 2) total distribution system losses.  The primary difference between the two alternatives involves the treatment of meter error and energy theft, as described below.

Distribution system line losses (DLL) represent:

losses due to resistance in the distribution lines; and

transformer core losses.

Total distribution system losses (TDL) represent:

distribution system line losses (see DLL above);

metering error: the difference between the actual electric usage at the meter and the recorded meter read plus any differences due to malfunctioning meters; and

energy theft: the deliberate and unauthorized use of energy.

DLFs can be produced using either approach.  If the DLF corresponds to distribution system line losses (DLFDLL), then the following equation provides the relationship between the distribution system line losses and the DLF:

EDLL = (DLFDLL - 1) ( Edist	(2)

where EDLL represents the energy corresponding to distribution system line losses.  The application of DLFDLL to applicable end-use meter data will be called the DLFDLL-Methodology.

Similarly, if the DLF corresponds to total distribution system losses (DLFTDL), then the following equation provides the relationship between the total distribution system loss and the DLF:

ETDL = (DLFTDL - 1) ( Edist	(3)

where ETDL represents the energy corresponding to total distribution system losses.  The application of DLFTDL to applicable end-use meter data will be called the DLFTDL-Methodology.

DLF Utilization

The uses of DLFs may include:

the ISO and PX mandated use of DLFs to adjust end-use meter data up to a grid level measure (for submittal to the PX and ISO by PX participants and Scheduling Coordinators);

the potential use of DLFs by Scheduling Coordinators to estimate and prepare balanced grid level generation and load schedules; and

the potential use of DLFs by UDCs to prepare average PX prices for billing and CTC calculation.

In anticipation of these uses, the DLFs will be posted for use following the submittal of the UDC demand bid to the PX in the day ahead market (the DLFs are based on the UDC internal system load forecast), and prior to the time when SCs are required to submit their preferred schedules.  This process results in the day ahead posting of daily DLF tables, by UDC, consisting of 24 hourly DLFs based on the UDC’s system load forecast, for each service voltage level.  The UDC’s system load forecast includes all bundled and direct access customers on the UDC’s distribution system.  The DLF timing process is illustrated in Figure 1.

Figure 1:  Timeline for DLF posting and usage

DLF Criteria and Methodologies

In the RSIF sub-committee sessions held during July and August, 1997, the parties supported the development of interim, implementable methods for DLFs as of 1/1/98.  These interim methods could be utilized for up to one year while the parties study enhancements to the various DLF calculation formulae currently under consideration.  These enhancements could then be incorporated into the calculation process and information flow.  (See Section 5 for more details on the information flow designs being considered for 1/1/98 implementation.)

DLF Design Criteria

Based on feedback obtained during RSIF sub-committee sessions, the parties reached consensus on the criteria that a DLF estimation methodology should meet.  These criteria are shown below:

The calculations should be based upon hourly UDC system loads.

The calculations should vary by service voltage levels (i.e., subtransmission as appropriate, primary and secondary).

The calculations can vary by UDC as long as the output is provided in a consistent manner (e.g., communication protocols and data formats).

The calculations can be based solely on either engineering-modeled distribution line losses, or on historical distribution system losses which also include meter error and energy theft estimates.

The DLFs should be available prior to the trading day for use as day-ahead scheduling tools.

The DLFs based on the day ahead UDC system load forecast will be used for settlement purposes and may be used for scheduling purposes as well.

The UDCs considered providing two daily sets of DLFs.  The first set, based on day-ahead UDC forecasted system load, could be used for scheduling and by UDCs to prepare an average PX energy price for billing and CTC calculation.  The second set, based on UDC actual system load, would be used for settlement purposes.  Utilizing this practice would minimize the small amount of error introduced into settlements by the difference in DLFs based on system load forecast vs. system load actual.  However, during the sub-committee collaborative process, the majority of parties felt that the added complexity associated with using two sets of DLFs overshadowed the small increase in accuracy.  Therefore, it was decided to base DLFs on the UDC forecasted system load.  The UDCs agreed to reevaluate this decision during the overall review of the DLF methodologies prior to 1/1/99.

Proposed UDC DLF Methodologies

The following UDC methodologies are for use in the respective UDC service areas.  The UDCs recognize the desirability of adopting a single DLF methodology.  However, in the interest of implementing DLFs by 1/1/98, and with the concurrence of the sub-committee, each UDC is proposing a method based on that UDC’s previously approved general rate cases.

The UDCs reached consensus on providing DLFs:

for each hour;

by service voltage level; and

based on the day-ahead UDC system load forecasts.

PG&E’s Proposed DLF Methodology

PG&E will construct an annualized hourly system load duration curve reflecting 8760 hourly loads.  The data will be drawn from a representative year of historical data and show hourly loads ranging from system peak to minimum loading.

From these data, PG&E will select a sample of hourly loads (based on heuristics) and calculate system DLFs for each sample hourly load level, using the same approach approved in prior rate cases (TY1993 D. 92-12-057/TY1996 D. 95-12-055).  From these data points, system distribution loss factors can be interpolated for any system hourly load.  This calculation can be accomplished for each of the appropriate PG&E service levels.

The interpolated DLFs can then be applied to UDC system load forecasts to determine distribution loss factors by hour and voltage level.  These factors will include only distribution line losses and will not be adjusted by estimates for meter error and energy theft .

PG&E will investigate implementation of this methodology during August and September, 1997.  If the method proves reasonable, the resulting data will be analyzed for accuracy and reasonableness during October.  This analysis is expected to improve our understanding of how distribution losses vary with loads.  The analysis will include, at a minimum, plots of projected losses versus loads, of projected loss percentages versus loads, of the slope between each two successive points versus loads, and of the implied "M" factor between each two successive points versus loads.  In each case, the focus would be on identifying irregularities or inconsistencies in the data.  In the event the proposed methodology proves unworkable, then PG&E will implement an alternative DLF methodology based on the M factor method.  This “fall back” strategy could be utilized during the interim period (i.e., 1998) to allow PG&E an opportunity to structure an improved approach.

Edison’s Proposed DLF Methodology

Edison’s distribution loss factors will be determined by a formula for each service voltage level that relates hourly losses to hourly system loads.  These formulae are based on Edison’s 1992 Loss Allocation Study, which calculates energy losses during the entire year and demand losses at the time of system peak.

This methodology uses load flow models to calculate peak and annual losses by subtracting the total output of the system from the total input of the system at the subtransmission, primary distribution, and secondary distribution levels.  These data will be used to derive a formula for each of the three service voltage levels that will estimate hourly distribution losses for any level of hourly load.

Edison models hourly distribution losses as three components:  1) resistance line losses, which vary with the square of load; 2) core transformer losses, which are a function of transformer inventories and are constant with respect to load; and 3) “other” losses, assumed to be a linear function of load (constant percentage).  These other losses reflect unmeasured usage, such as energy theft and meter error, as well as the error associated with estimating the first two terms in the formula.  Mathematically, for each hour i:

(4)

where C represents core transformer losses, R ( Loadi2 represents resistance line losses, and A ( Loadi represents other losses including errors associated with estimating the first two terms.

The formula can be solved iteratively for R and A using loss and load data at the time of system peak from the 1992 study, such that annual energy losses estimated using the formula match actual annual energy losses measured in the 1992 study. The second term of the formula assumes that resistance on the system is constant throughout the year.  In reality, load and generation patterns vary throughout the year, so resistance of the system, the R value, also varies.  Therefore, the value of A includes the effects of errors in estimating R in addition to energy theft , meter error, and other unmeasured usage.

Losses can be expressed as a percentage of load by dividing each term by load:

(5)

Once the values of C, R, and A have been estimated using the historical data, hourly percentage loss factors at different voltage levels can readily be calculated by inputting hourly load forecasts and actuals into the formulae.

SDG&E’s Proposed DLF Methodology

SDG&E’s proposed a methodology for defining hourly DLFs is based on the average hourly loss factors that are implicit in the currently adopted SDG&E rates.  These DLFs will include distribution line losses and estimates of meter error and energy theft that can be identified (to the extent possible).

The distribution line losses for Substation Transformers, Distribution Transformers, Primary Circuits, and Secondary Circuits will be used to develop separate load based formulae for service voltage levels of Primary at Substation, Primary, and Secondary.  Forecasted hourly loads can be input into each of the service voltage level formulae to calculate a DLF for each hour.

SDG&E will develop and test the above methodology during August and September, 1997.  If the methodology proves reasonable, then the details of the DLF methodology will be proposed in October, 1997.  In the event this proposed methodology proves unworkable, then SDG&E will implement an alternate dynamic DLF methodology.  This “fall-back” strategy could be utilized during the interim period (i.e., 1998) to allow SDG&E an opportunity to structure an improved approach.

The Relationship of Imbalance Energy and UFE to DLFs

As a result of the application of DLFs to end-use meter data, the DLFs are an implicit component of the ISO Imbalance Energy equation and the UFE equation.  This section provides the following:

definition of Imbalance Energy (IE);

definition of Actual Imbalance (AI);

definition of UFE; and

DLF Effects on Imbalance Energy.

Definition of Imbalance Energy (IE)

Imbalance Energy represents the generation or demand the ISO must dispatch from generation or loads to meet generation and demand imbalances to insure grid reliability.  For each Scheduling Coordinator, Imbalance Energy is equal to that Scheduling Coordinator’s Actual Imbalance plus its ISO allocated share of UFE, as shown below for Scheduling Coordinator i:

IESCi = AISCi + UFESCi	(6)

Definition of Actual Imbalance (AI)

Actual Imbalance is defined as the deviation at the UDC/ISO interface boundary between scheduled generation and metered generation minus the deviation between scheduled load and metered load.  AI represents either the excess or deficit of energy actually provided by the SC compared to what was scheduled.  AI is illustrated by the following formula:

AISCi =	(total scheduled generation - total actual generation)

-	(total scheduled load - total actual load)	(7)

Definition of UFE

UFE represents the difference between the energy entering a UDC at the ISO/UDC interface minus the total UDC metered demand.  More specifically, UFE is calculated by the ISO as the difference between the net energy into a specific UDC service area, adjusted for UDC service-area Transmission Losses and local generation, minus the total UDC metered load (settlement ready data with all distribution system demand adjusted by DLFs).

The ISO Tariff definition of UFE attributes the above calculated difference to the combination of: a) DLL deviations (corresponding to DLF deviations), b) meter errors, c) energy theft and d) statistical load profile errors.  This definition is consistent with the DLFDLL methodology.

If the DLFTDL methodology is used, the ISO calculated difference described above would be attributable to a combination of a) deviations in DLL, b) deviations in meter error, c) deviations in energy theft and d) statistical load profile errors.  The effects on UFE of the two DLF methodologies are described in the following sections.

UFEDLL - DLFs Correspond to Distribution Line Losses Only

As shown in Section 2.1, in the case where the DLFs correspond to the distribution system line losses only, the relationship between the DLFDLL and the line losses is given by equation (2).  This particular representation of DLFs is adopted by the ISO Tariff.  This is shown in equation form as:

UFEDLL

=

Distribution line loss deviation

+

Meter error

+

Energy theft

+

| Load profile deviation (8) |
| --- |
|  | = | (DLLdev) | + | (MEactual) | + | (Tactual) | + | (LPdev) |

UFETDL - DLFs Correspond to Distribution Line Losses, Meter Error, and Energy Theft

As shown in Section 2.1, in the case where the DLFs correspond to the aggregation of distribution system line losses, energy theft and meter error; the relationship between the DLF and these losses is given by equation (3).  Here the UFE calculation would represent the deviation in the aggregate estimate of DLL, meter error and energy theft, together with the deviation in the statistical load profile estimate.  UFETDL can then be represented as follows:

UFETDL

=

(Distribution line loss + Meter error + Energy theft) deviation

+

| Load profile deviation (9) |
| --- |
|  | = | (DLL + ME + T)dev | + | (LPdev) |

Comparison of UFE Formulae

The primary difference between the two UFE formulae (UFEDLL and UFETDL) involves the treatment of meter error and energy theft.  Under the first, the actual amounts of meter error and energy theft are included in UFE, whereas in the second, meter error and energy theft are included as a single component in system loss and thus, UFE includes only the deviations between these estimates and their actual amounts.

Because the ISO calculation of UFE is independent of which DLF methodology is used, the deviations between actual losses in the UDC distribution system and the UDC system losses that are accounted for in the DLFs are implicitly “picked up” as part of the UFE calculation.  Thus, where meter error and energy theft are included into DLFs (DLFTDL), the calculated UFE will tend to be slightly smaller, as compared to where DLFs represent distribution line losses only (DLFDLL).

These alternative definitions of DLFs and corresponding UFE are illustrated in Figure 2.

Figure 2:  Comparison of DLFs and UFEs

Allocation of UFE

Each Scheduling Coordinator’s share of UFE will be allocated based on the ratio of the Scheduling Coordinator’s demand (interval metered and estimated using load profiles) within the UDC service area to total demand within the UDC service area (regardless of which type of DLF is applied).  The ISO Tariff states that UFE calculations and allocations will be made on a “best-estimate basis,” using a methodology approved by the ISO Governing Board.  To the extent possible, UFE associated with load profiling error will be allocated only to demand where load profiles have been applied.

DLF Effects on Imbalance Energy

ISO calculated Imbalance Energy is affected by the implicit effects of DLFs in its individual components.  As discussed above, depending on the DLFs used, the UFE may be expected to be higher or lower depending on the UDC service area.  Since the DLFs are known, Scheduling Coordinators may adjust their AI by increasing or decreasing their schedules (energy procurement) in the day ahead market, to minimize their share of Imbalance Energy.  For example, where DLFs represent distribution line losses only, Scheduling Coordinators who wish to minimize Imbalance Energy, may choose to slightly increase their schedules (i.e., procure more energy) to compensate for UFE associated with meter error and energy theft .

DLF Data Communication Proposal

This section suggests the protocols and procedures for the communication of the DLFs to those market entities who need it (primarily ESPs).  Each UDC will utilize this same set of protocols and procedures.  The format stated in Section 5.7 of this report will be the format that will used for the communication of the DLFs and supersedes the format suggested in the UDC-ESP Communications Report Supplement to the RSIF, dated August 18, 1997.

Assumptions and Allowances

The following assumptions apply to this information flow proposal.  If any of the assumptions/allowances are invalid, no warranty is made on any aspects of the proposal that were based on the invalid assumptions/allowances.  The protocols and procedures listed in this section:

allow for one set of DLFs (assuming the DLFs will be dynamic); and

assume that the data needed to determine the DLFs will be available within the set time frames listed so that the DLFs can be made available in time to meet market requirements.

Protocols for Communication -  A Starting Point

The proposed starting point for the posting of DLFs is the examination of the protocols and procedures setup for the generic meter data management agent (MDMA).

The MDMA protocols were developed through the MADAWG process and have been included into the Meter Data and Communications Standards Workshop Report.  MDMA functions include the following: collect meter data, validate, estimate and edit meter data, manage meter data (e.g., data storage), disseminate meter data, and ensure the security of the meter data.  The application of distribution loss factors to metered data is not one of the minimal requirements, nor does this set of requirements prohibit this application from being performed at the MDMA level.

In disseminating and ensuring the security of meter data, various protocols were established.  These protocols represent minimal requirements that must be established by the MDMA.  To summarize:

MDMA Communication Protocols:

meter data will be posted on a data server (logically directory based);

authorized entities will dial-in to the server;

data will be retrieved in a pre-defined file format;

the data transfer protocol will be HyperText Transfer Protocol on top of TCP/IP, with Secure Sockets Layer added for data security (encryption); and

the transport medium will be the Internet.  (This actually makes the server a Web server).

MDMA Security Protocols:

all parties accessing data must have an user id and password; and

only data authorized to an entity will be accessible by that entity.

Distribution Loss Factors Communication

It is recommended that the communication of DLFs follow in a similar manner the protocols and procedures setup for the generic MDMA.  In other words, all the protocols and procedures used for the MDMA will also be used for the DLF communication.  The reasons for this are:

all three UDCs are already implementing these basic protocols and procedures for their own MDMA function; and

the communication of the DLFs is basically similar to that of the meter data and thus the use of the MDMA protocols and procedures seems appropriate.

However, because the DLFs are not proprietary and are for public viewing, the security restrictions can be relaxed.  Therefore, the five communication protocols listed above will be adopted for the DLF communication standards with security relaxation in protocols 2 and 4.  The DLF communication protocols at a minimum must include:

DLF Communication Protocols:

DLF data will be posted on a data server (logically directory based);

entities will dial-in to the server;

data will be retrieved in a pre-defined file format;

the data transfer protocol will be HyperText Transfer Protocol on top of TCP/IP (see Section 5.4); and

the transport medium will be the Internet.  (This does not prohibit the use of other types of transport mediums such as WEnet).

Accessing the Distribution Loss Factors

Since HTTP is the transfer protocol and the system is logically a commercial Web server platform, general Web-based services can be utilized to obtain the DLFs.  At a minimum, the data should be accessible through two methods:

a Web browser, such as the Internet Explorer or Netscape; and

a command line driven program/script.  (This will accommodate an automated process).

Each UDC will provide the address (IP number) of the server upon which these DLFs will be posted.

File Structure and Filenames

The proposed file structure convention will be the following:

there will be one file for DLFs;

one day’s set of DLFs will reside in an individual file;

the filename will reflect the date of the day for which these DLFs correspond; and

there will be one yearly file that holds all DLF data up to the current time.

The proposed file naming convention is the following:

For the daily file, the name will be:

fccyymmdd.dlf	This is the file name for the daily DLFs file.  The ccyymmdd stands for century, year, month and day.  An example would be f19981215.dlf.

For the yearly file, the name will be:

fccyy.dlf	This the file name for the yearly accumulated DLFs file.  The ccyy stands for century and year.  An example would be f1998.dlf.

Timing and File Availability

The primary purpose of the DLFs is to provide guidance for forecasting/scheduling load and the application to the actual meter data for settlement with the ISO.  Since forecasting/scheduling load must be completed early the day before the trading day, the DLFs must be posted before this.  Therefore, the DLFs will be posted shortly after the UDCs provide the UDC demand bid to the PX (the DLFs are based on the internal UDC system load forecast) and before the Scheduling Coordinators are required to provide their preferred schedule in the day prior to the trading day.  Since the meter data does not need to be submitted to the ISO until 41 (PX until 38) days after the trading day, it must stay posted for 42 days.

The yearly accumulating DLF file will be posted for at least one more year.

Data Format

The format of the DLF file (both daily and yearly) will be a sequence of ASCII text lines, terminated with ASCII carriage return characters.  Each text line in the file will consist of a series of free format fields with individual fields comma delimited.  Each text line has the form:

record/version type,	UDC name,	date/hour,	DLF type,	subtransmission voltage DLF,	primary voltage DLF,	secondary voltage DLF

where, the each field has the following definition:

record/version type	this is the record/version type for this record.  This field is 6 characters long and must start at the beginning of this text line.  The first 3 characters must be “DLF” and the next three characters represent the record type version number (e.g., 001).

UDC name	this is the name of the UDC for which these factors correspond.  This field must not exceed 16 characters and the UDC names will be those used in the California Metering Exchange Protocol.

date/hour	this is the date/hour for which these factors correspond.  The date/hour format is CCYYMMDDHH.  CCYYMMDDHH stands for century, year, month, day and hour, e.g., 1999100315.  The date/hour must be provided in Universal Coordinated Time (UTC) with the minute component absent.  The hour (HH) component is a two digit integer in the sequence, 00, 01, . . ., 22, 23.  The hour component will represent the start of the hourly period, e.g., HH = 01 represents the hour from 1:00 AM to 2:00 AM (GMT) and HH = 23, the hour from 11:00 PM to 12:00 AM (GMT).

DLF type	the default key character is “F”.

DLFs	The DLF values will be real numbers and will be in floating point notation.  The subtransmission voltage DLF in the fourth field, the primary voltage DLF in the fifth field and the secondary voltage DLF in the sixth (last) field.  If a given UDC does not have one of the voltage level types listed, the field will be empty.

The following is a partial example of a daily DLF file from a UDC for May 22nd, 1998 for 3:00 AM Pacific Daylight Time.

DLF001,	UDCNAME,	1998052210,	F,	,	1.041,	1.052

For this example, this UDC does not have subtransmission voltage DLFs so this field is left blank.  Also, the Pacific Daylight Time is converted to UTC time (in this case adding 7 hours).

# Footnotes

Edison’s proposed DLF methodology is set forth in an Advice Filing dated August 18, 1997.

This recommendation is not applicable to Edison as it has proposed a specific DLF formula in its August 18, 1997 advice filing.

The “M” factor method was proposed by CLECA in  the Ratesetting  Proceeding (A.96-12-009/011/019), and had been used by Edison for hourly calculation of loss factors.  The method proposes a relationship between hourly losses and hourly loads based on the relationship (restated for clarity):

peak loss/hourly lossi = (peak load/hourly loadi)M

where M is calculated for each UDC based on its load and loss data from work papers.  Rearranging the equation:

hourly lossi = peak loss ( (hourly loadi/peak load)M

Comparing any two hour’s loads and losses allows an estimate of M:

lossi/lossj = [peak loss ( (loadi/peak load)M]/ [peak loss ( (loadj/peak load)M]

= (loadi/loadj) M

or    M = log(lossi/lossj)/log(loadi/loadj)

The scheduled generation and actual generation will have Generator Meter Multipliers (GMMs) applied to account for transmission system level losses.

Meter And Data Access Working Group

In practice UTC is the same as Greenwich Mean Time (GMT), i.e., the local time at the Greenwich meridian (zero degrees longitude).